File List for SeaBird Data          Cruise Number: _2019-023____

[osdcommon\cruise_data\2019-023\ARCHIVE]

[osdcommon\cruise_data\2019-023\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2019-023\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2019-023\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2019-023\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2019-023\ARCHIVE\DOC\TSG] TSG documents

[osdcommon\cruise_data\2019-023\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2019-023\ARCHIVE\Underway] TSG data

[osdcommon\cruise_data\2019-023\PROCESSING]

[osdcommon\cruise_data\2019-023\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2019-023\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2019-023\PROCESSING\DOC]

2019-023-recal1.ccf – calibration control files

2019-023_file.doc - this document

2019-023_Processing_Report.doc - processing notes

2019-023-ctd.xmlcon – configuration file used in processing

2019-023-ctd-final.rpt – CTD file header check including channel summary

2019-023-ctd-xref.lis – cross reference list of CTD files

2019-023-altimeter-ctd.xlsx – report on header entries for altimetry

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2019-023\PROCESSING\DOC\hydro]

2019-023chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2019-023NH4.csv – Ammonium data simplified from analyst’s s/s

2019-023nuts.csv – nutrients simplified from analyst’s s/s

2019-023oxy.csv – nutrients simplified from analyst’s s/s

2019-023sal.csv – salinity data from Autosal, simplified from analyst’s s/s

20119-005-mrh-water-depth-bottles.csv – s/s with corrected water depths

2019-023-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2019-023-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2019-023-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2019-023-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2019-023-sal-comp1.csv & xlsx –initial comparison of rosette bottle and CTD salinity

2019-023-sal-comp2.csv & xlsx –comparison of rosette bottle and CTD after initial recal

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2019-023-bottles-final.xslx – summary of bottle data in CHE files

2019-023-altimeter-che.xlsx – altimetry and water depth information

2019-023-che-final.rpt – final header check of bottle files

2019-023-che-xref.lis – cross-reference listing of bottle files

Events 44 (LC11) and 69(LD06) samples…. – email notice of sample # problem

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2019-023\PROCESSING\DOC\tsg]

2019-023-ctd-tsg-loop-rosette-comp.xlsx – comparisons of TSG data, loop, CTD, rosette

*.txt – header comments for TSG files

[osdcommon\cruise_data\2019-023\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.ed1 and *.log – output of CTDEDIT for 6 files that were edited

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgrem – after removal of unneeded channels

*.mrgreo – just before final step running Head Edit

*.NH4 -ammonium files converted from simplified version of analyst’s spreadsheet

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

[osdcommon\cruise_data\2019-023\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2019-023\PROCESSING\TSG] before conversion to IOS SHELL

*.csv – spreadsheet versions of raw files

*Raw – original files

[osdcommon\cruise_data\2019-023\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding Julian time

*.avg2 – files averaged over 6 records for comparison with CTD data

*.cln – after adding positions and times to headers and time/date channels

*.dqt – after reordering channels & derivation of salinity

*.edt & *.log – editing output files

*.ios – after conversion to IOS HEADERS

*.rem – after deriving sigma-T and removing  unnecessary files – just before final step

*.tob – Final TSG files