## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 26 Feb 2025 | Removed original Silicate & Flag:Silicate channels and renamed corrected versions of those channels. TSG channel names/units updated. G.G. |
| 20 Aug 2021 | Added DO data to 2019-023-0170.che. Revised event # in DO QF file. |

## PROCESSING NOTES

Cruise: 2019-023

Agency: OSD

Location: North-East Pacific

Project: La Perouse

Chief Scientist: Sastri A.

Platform: John P. Tully

Date: 29 August 2019 –  9 September 2019	Processed by: Germaine Gatien

Date of Processing: 27 January 2020 – 25 March 2020

Number of original HEX files: 111		Number of CTD files: 109

Number of rosette files:	 65 (1 test)		Number of bottle casts processed: 62

Number of original TSG files: 4	 (2 tests)	Number of processed TSG files:  11

# INSTRUMENT SUMMARY

CTD #0506 was mounted in a rosette and attached were 2 Wetlabs CSTAR transmissometer (1185DR & #1883DG), a SBE 43 DO sensor (#3234), a SeaPoint Fluorometer (#3640), a Biospherical QSP-400 PAR sensor (#70613) and an altimeter.

A thermosalinograph (SeaBird 45 S/N 0620) was mounted with a Wetlab/Wetstar fluorometer (WS3S-953P) and flow meter.

Seasave version 7.26.7.107 was used for acquisition.

The data logging computer was the Tully Laptop - Silver.

The deck unit was a Seabird model 11+ #425.

A Guildline model 8400B Autosal serial # 68572 was used to analyze salinity samples.

An IOS rosette with 24 10L bottles was used.

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science Log Book had no entries in the personnel section. The equipment list was completed.

The rosette log sheets included comments about problems encountered.  There were a number of occasions when changes were made to the order of events at a single station. In some cases the sampling log event number was not corrected. This leads to many errors in the chemistry files as some samplers and analysts trust the log sheet while others are aware there was a change.

Deployment scheme for the CTD: The rosette was brought to the surface. Pumps were turned ON.  The rosette was brought down to 10m and kept there for 30 seconds.  Once back at the surface, the data started to be archived with the rosette at the surface for 30 seconds longer.  Then the cast would start.

There were 2 WetLabs CStar transmissometers in use during this cruise:

Channel Transmissometer refers to sensor #1883DG (530nm - green)

Channel Transmissometer2 refers to sensor #1185DR (650nm - red)

For comparison with other Institute of Ocean Sciences cruises, note that the transmissometer wavelength is 650nm unless otherwise stated.

It was noted during the previous cruise that there were problems with the sounder underestimating water depths by up to 20m while some of the shallower casts had an overestimate. Changes were made to water depth for some casts based on the sum of the maximum depth sampled plus the altimetry header value. While the altimetry was often noisy at the bottom, values appear to be within ±2m.

While CTD fluorescence data are expressed in concentration units, they do not always compare well to extracted chlorophyll samples. It is recommended that users check extracted chlorophyll values where available.

The primary temperature and salinity channels were chosen for most casts, but for event #108 there was a problem with the primary conductivity so the secondary channels were prepared for archival.

The SBE DO sensor has a fairly long response time so data accuracy is not as high when it is in motion as it is during stops for bottles. This will be especially true when vertical DO gradients are large. To get an estimate of the accuracy of the SBE DO data during downcasts (after recalibration) a rough comparison was made between downcast SBE DO and upcast titrated samples. Some of the difference will be due to problems with flushing of Niskin bottles and/or analysis errors, so the following statement likely underestimates SBE DO accuracy.

Downcast (CTD files) Oxygen:Dissolved:SBE data for this cruise are considered, very roughly, to be:

±0.7 mL/L from 0 to 10db

±0.4 mL/L from 10 to 125db

±0.1 mL/L from 125db to 300db

±0.08 mL/L from 300db to 500db

±0.03 mL/L below 500db

The thermosalinograph operated throughout the cruise. As noted during the previous use of this equipment the fluorescence signal was unusually smooth and values did not compare well with CTD fluorescence, loop chlorophyll samples or 5m-rosette chlorophyll samples. Values rose steadily through the cruise; the fluorescence channel was removed. Position data had some odd spikes; fortunately, they occur during times when the ship was stopped so interpolation was used to provide reliable values.

The TSG conductivity sensor had begun to drift significantly before this cruise and the cell was replaced during servicing in January 2020, but there was no mention that the cell was damaged, just drifting excessively. Comparisons of salinity with CTD data and loop samples indicate that the TSG values were very low. While there is variability in the differences from CTD and loop values, there is no consistent trend. Recalibration was applied to the TSG salinity channel by adding 0.422 C degrees based on a median difference found during offshore casts deeper than 200m. The salinity is given with 3 decimal places to reflect the uncertainty in the calibration.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained.

- Nutrients, extracted chlorophyll, dissolved oxygen, salinity and NH4 data were obtained in QF spreadsheet format from the analysts.

- The cruise summary sheet was completed.

- The histories of the pressure sensor, conductivity and dissolved oxygen sensors were checked. Since their last calibration most of these sensors have been used on 11 previous casts (just 10 for the DO sensor).

- There were 2 transmissometers mounted on the CTD. For several previous cruises the configuration file did not match the way the sensors were actually mounted. After cruise 2019-069 the mounting was adjusted to the planned configuration but the configuration file was also changed so that it was still wrong. For this cruise the configuration file is correct and the order of sensors is the one planned with the Red sensor on Voltage 2 and Green on Voltage 3.

- The calibration control files were checked and no problems were found.

##### BOTTLE FILE PREPARATION

The ROS files were created using files 2019-023-ctd.xmlcon. Depth was included.

The ROS files were converted to IOS format.

The IOS files were put through CLEAN to create BOT files.

Temperature and salinity were plotted for all BOT files to check for outliers. 10 casts were opened in

CTDEDIT. In some cases there is a lot of noise in the signal but it looks real, so no editing was applied. One or both salinity channels were cleaned in casts 47, 58, 60, 61, 62, 63, 84 and 89.

The output files from both salinity and DO editing were copied to *.BOT.

A preliminary header check was run and no problems were found.

The BOT files were bin-averaged on bottle number.

The output was used to create file ADDSAMP.csv. First, the file was sorted on event number and Bottle Position order. Then sample numbers were added based on the rosette logs.

There were a few problems found in the sample numbers:

- Event #44 – The sample #s on the rosette sheets were 139 to 159, but the labels were 137-157. Since 137 and 138 were both used on a previous cast, the sample #s from the rosette sheets will have to be used.

- Event 69 – there was no sample 255 on the rosette sheet – the analysis labels agree with that.

Other errors found in the analysis spreadsheets: Events 99 and 129 were mislabelled as 98 and 130.

The ADDSAMP file was used to add sample numbers to the BOT files – output *.SAM.

The SAM files were bin-averaged on bottle # and called SAMAVG.

The addsamp.csv file was converted to CST files, which will form the framework for the bottle files.

Next, each of the analysis spreadsheets were examined to see what comments the analysts wanted included in the header file. These were used to create file 2019-023-bot-hdr.txt which will be updated as needed during processing.

DISSOLVED OXGYEN

Dissolved oxygen data were provided in spreadsheet QF 2019-023 OXY*.xlsx which includes flags, comments and a precision study. Draw temperatures are available. The spreadsheet page with the final data was simplified and saved as 2019-023oxy.csv. That file was converted into individual *.OXY files.

At this point note was made of all comments in the DO file that had comments starting with “ALL:”. The rosette sheets were checked to note what other samples were taken from the same bottle so the flags will be applied to all samples from the other csv files that are affected by the DO analysts observation.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll and phaeo-pigment data were obtained in file 2019-023 CHL QF*.xlsx. The file included comments and flags and a precision study. A simplified version of the spreadsheet was prepared and saved as 2019-023chl.csv. Flags were changed to 3 for 2 bottles noted as ALL by the DO analyst. The csv file was then converted to individual CHL files.

SALINITY

Salinity analysis was obtained in file QF2019-023SAL.xlsx which included a precision study. The analyses were carried out in a temperature-controlled lab 8 to 19 days after collection. The files were simplified and saved as 2019-023sal.csv. That file was then converted to individual SAL files.

NUTRIENTS

The nutrient data were obtained in spreadsheet NUTS_QF2019-023*.xlsx. This includes a precision study. The file was simplified, saved as 2019-023nuts.csv and converted to individual NUT files.

The flags were changed to 3 for the samples noted by the oxygen analyst as having a problem that would affect all samples.

AMMONIUM

NH4 data were obtained in spreadsheet 2019-23 QF NH4*.xlsx. This includes a precision study. The file was simplified and saved as 2019-023NH4.csv. This file was converted to NH4 files.

The SAL, CHL, OXY, NUT and NH4 files were merged with CST files in 5 steps.

After the 5th step the files were put through CLEAN to reduce the headers to File and Comment sections only.

The files were then put through CLEAN to reduce the headers to File and Comment sections only.

These files are ordered on sample number, but the SAMAVG files are ordered on bottle number, so one or the other set needs to be reordered in order to merge them. The MRGCLN1 files were reordered on Bottle_Number and saved as *. MRGCLN1s.

The MRGCLN1s files were then merged with SAMAVG files using merge channel Bottle_Number.

The output of the MRG files were exported to a spreadsheet and compared to the rosette log sheets to look for omissions.

Discrepancies found:

- Event 28 – Sample 77 has a salinity sample not indicated on the rosette log.

- Some flags were found to have been misplaced – ones with the comment ALL.

- The sampling Log had event #36 but it should have been #35. This affected only the nutrients.

- The samples for event #35 had sample # 128 while the log says 127. The labels confirm it was 128. The nutrients had flag 2 attached because of this.

- Event #47 is missing Salinity sample 177 – presumed to be the extra sample (77) from event 28.

- Event #66 was identified as #67 on the NH4 spreadsheet.

- Event 89 – DO was missing because it was identified as event 90.

- Event #129 was saved as 130 at sea. So the merge failed until it was renamed.

The problems were fixed in the working files and analysts were notified of problems that affect their documents.

Errors were later found and corrected in nutrient samples 484 and 493.

Loop data in the Nutrients, CHL and Salinity spreadsheets were copied to file 2019-023-tsg-ctd-loop.xls.

##### Compare

Salinity

Compare was run with pressure as reference channel.

When points were excluded if the standard deviation in the CTD salinity was >0.0008psu many outliers disappeared as did most points above 150m. However, most points above that level do show evidence of incomplete flushing of bottles, so all records above 175m were removed.

Outliers were examined and it was found that the sample from 2000m in event 121 had been mislabelled. It was reassigned to a deeper bottle but the difference between that bottle and CTD suggests that the bottle closed late or leaked, so that sample and the frozen nutrients should be flagged 5.

3 samples from 100 to 150m during event #76 were examined and 1 had a high standard deviation in the CTD salinity and the other 2 showed signs of large shed wakes that had settled down by the time of firing but it is very likely that the contents of the Niskin bottle had been affected. No flags are recommended since the bottle analysis was likely fine and so values likely reflect Niskin contents.

The bottle files were rebuilt and COMPARE rerun. The points included in the fit show the CTD primary salinity to be low by an average of -0.0082psu with standard deviation of 0.0015 while the secondary salinity is high by an average of 0.0008psu with a standard deviation of 0.0013. There is no evidence of drift through the cruise. This implies that the primary salinity is lower than the secondary by ~0.0090psu.

Dissolved Oxygen

COMPARE was run with pressure as the reference channel.

When outliers were removed based on residuals the fit was:

CTD DO Corrected = CTD DO * 1.0384 + 0.0167

This is slightly higher than the fits found the last 4 times this sensor has been used.

Outliers were investigated in casts 13, 28, 58, 62, 69, 89, 94, 121, 195.  There was only 1 case where it is clear that the sample value is out of line. The CTD profiles show a variety of problems with noisy CTD dissolved oxygen during the stop, a local DO reversal or high local gradients making incomplete flushing of bottles significant. These issues can explain the differences between bottles and CTD.

Sample 432 from event #121 is a problem. The sample came from Niskin 1 according to the rosette sheet and the bottle value is consistent with that being true. But Niskin #1 misfired and the sample # was used for Niskin #23 at 2000db. All samples planned for Niskin #1 were taken from Niskin #23 EXCEPT for dissolved oxygen and silicate. To fix this a sample number 9432 was assigned for that bottle, and the merge process was repeated.

Samples flagged 3 by the analyst were studied:

- Event 32, sample 105 –This was a slight outlier with the sample DO value a little higher than predicted by the general fit. This is consistent with a slight leak. But there was a lot of variability during the stop and the local DO gradient is reversed so incomplete flushing could explain a higher DO value.

- Event 99, sample 386 –This is an outlier but in the direction that would suggest the sample value is too low. However, there are many other factors for shallow samples (20m) and the local gradient is reversed above 30m.

- Event 121, sample 445 – This sample was not an outlier in the comparison.

There is no evidence to recommend flag changes.

A hysteresis check was done by comparing differences above and below 1000db. There were no obvious problems with deeper values in line with shallower ones in the same DO range. There was one deep value out of line but the CTD data were very noisy for that depth

Plots of Titrated DO and CTD DO against CTD salinity were examined. No further outliers were found.

Fluorescence

COMPARE was run with extracted chlorophyll and CTD Fluorescence using pressure as the reference variable.

The ratio of FL/CHL versus CHL had the shape typical of these sensors with fluorescence much higher than CH for low CHL values and then dropping to lower ratios as CHL rises with values between 0.4 and 1.2 for CHL>4ug/L.

The fit of CTD fluorescence versus extracted CHL has a slope of 0.94 when the fit is forced through the origin.

##### Conversion of Full Files from Raw Data

All files were converted using 2019-023-ctd.xmlcon. The Tau function and the hysteresis function were selected since there was deep sampling. Depth was included in the conversion.

A few casts were examined and all expected channels are present. The T and C pairs were reasonably close during downcasts with upcasts quite noisy, as usual. The green transmissometer generally reads higher than red, as expected. Fluorescence, PAR and Dissolved Oxygen profiles looked normal. The altimetry looked fine near the bottom.

File 2019-023-0011 contains only surface data. The file was restarted with name 2019-023-0012. Event 11 will not be processed further.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, depth, conductivity & temperature only in the full cast files (*.CNV).

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 100

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

##### ALIGN DO

A few casts were examined; both temperature channels were noisy during upcasts so the tests were not easy to interpret, but using +2.5s certainly improves the alignment and overall looks like a good choice for both sensors. That setting has worked well for many SBE DO sensors in recent years.

ALIGNCTD was run on all casts using +2.5s.

##### CELLTM

The noise in the upcast data makes tests for the best parameters for this routine very difficult to interpret. In the past when upcast data were not so noisy, the default setting of (α = 0.0245, β=9.5) was generally found to be the best choice. A few casts were checked for this cruise and the default setting does improve the data. CELLTM was run using (α = 0.0245, β=9.5) for both the primary and secondary conductivity.

##### DERIVE and Channel Comparisons

Program DERIVE was run on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

DERIVE was run a second time on 3 of the deeper casts to find differences between the pairs of temperature, conductivity and salinity channels. The values entered are very rough estimates as the differences are extremely noisy. Lines highlighted in grey are from other cruises using the same equipment before and after this one.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2019-005-0051 | 1000 | -0.0010 | +0.00015 | +0.0028 | High, V.Noisy |
| “ | 1900 | -0.0006 | +0.00015 | +0.0025 | “ |
| 2019-005-0159 | 1000 | -0.0009 | +0.00020 | +0.0034 | F.High, Noisy |
| “ | 1900 | -0.0007 | +0.00018 | +0.0030 | “ |
| 2019-006-0032 | 1000 | -0.0007 | +0.00025 | +0.0040 | High, XNoisy |
| “ | 1900 | -0.0004 | +0.00025 | +0.0035 | “ |
| “ | 2900 | -0.0003 | +0.00026 | +0.0035 | “ |
| 2019-006-0077 | 1000 | -0.0007 | +0.00021 | +0.0032 | High, XNoisy |
| “ | 1900 | -0.0004 | +0.00021 | +0.0030 | “ |
| “ | 2900 | -0.0006 | +0.00021 | +0.0030 | “ |
|  | 3900 | -0.0005 | +0.00022 | +0.0032 | “ |
| 2019-014-0002 | 1000 | -0.0008 | +0.00028 | +0.0040 | High, Noisy |
| “ | 1900 | -0.0003 | +0.00028 | +0.0035 | “ |
| “ | 2500 | -0.0002 | +0.00030 | +0.0048 | “ |
| 2019-014-0033 | 1000 | -0.0009 | +0.00034 | +0.0048 | High, Noisy |
| “ | 1900 | -0.0005 | +0.00033 | +0.0044 | “ |
| “ | 2500 | -0.0002 | +0.00032 | +0.0043 | “ |
| 2019-014-0049 | 1000 | -0.0009 | +0.00034 | +0.0050 | High, V.Noisy |
| “ | 1900 | -0.0003 | +0.00033 | +0.0045 | “ |
| “ | 2500 | -0.0004 | +0.00033 | +0.0045 | “ |
| 2019-069-0030 | 1000 | -0.0004 | +0.00041 | +0.0054 | High, Noisy |
| “ | 1900 | -0.0003 | +0.00040 | +0.0052 | “ |
| 2019-069-0051 | 1000 | -0.0009 | +0.00041 | +0.0059 | High, F Noisy |
| “ | 1900 | -0.0004 | +0.00039 | +0.0053 | “ |
| 2019-008-0016 | 1000 | -0.0009 | +0.00063 | +0.0085 | High, F. Noisy |
|  | 1900 | -0.0004 | +0.00060 | +0.0078 | “ |
| 2019-008-0048 | 1000 | -0.0008 | +0.00064 | +0.0085 | High, Noisy |
|  | 1900 | -0.0004 | +0.00064 | +0.0082 | “ |
|  | 2900 | -0.0004 | +0.00064 | +0.0082 | “ |
| 2019-008-0090 | 1000 | -0.0005 | +0.00068 | +0.0088 | High, X Noisy |
|  | 1900 | -0.0004 | +0.00068 | +0.0086 | “ |
|  | 2900 | -0.0004 | +0.00069 | +0.0088 | “ |
|  | 3900 | -0.0004 | +0.00071 | +0.0090 | “ |
| 2019-023-0041 | 1000 | -0.0009 | +0.00081 | +0.0105 | High, Noisy |
|  | 1900 | -0.0003 | +0.00078 | +0.0100 | “ |
| 2019-023-0079 | 1000 | -0.0007 | +0.00075 | +0.0098 | High, Moderate |
|  | 1900 | -0.0003 | +0.00073 | +0.0093 | “ |
| 2019-023-0132 | 1000 | -0.0007 | +0.00079 | +0.0102 | High, Noisy |
|  | 1900 | -0.0003 | +0.00077 | +0.0098 | “ |

The temperature differences are similar to previous cruises using these sensors. Conductivity and salinity differences are slightly larger, showing a continuing drift as seen over previous cruises. The salinity differences are slightly larger than the 0.0090psu difference found in the comparison with bottles; the underway data examined here may have some error due to imperfect alignment of sensors that would not affect observations while stopped.

##### Conversion to IOS Header Format

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

##### Checking Headers

- A cross-reference listing was checked against log entries and errors were found in station names for events 2, 29, 51, 88, 96, 99, 100, 118 and 139.  Some errors were in format only. These were fixed in the all files. The same things were fixed in the bottle files.

- A header check was run and showed potential trouble with fluorescence going off-scale in file #62. This occurred very briefly during the upcast, and plots show no problems in downcasts. There were also cases of salinity and DO off-scale during file #184; these occurred at the end of the upcast so should not be a problem.

- Cruise tracks were plotted and added to the end of this report.

- Checks were made of pressure calibration:

  - A surface check was run and shows an average surface pressure for the cruise was 3.0db which is slightly low for the Tully but come casts were in protected areas.

  - The minimum pressure measured during the cruise was at the end of cast #74. The pressure minimum was 0.8db and the conductivity shows that the CTD was in water.

  - Recent uses of this CTD system have not suggested any problem with pressure. No recalibration will be applied.

##### Shift

Fluorescence

SHIFT was run on the SeaPoint fluorescence channel in all casts using the usual advance of +24 records. Plots show that the fluorescence offset is much closer to the temperature offset after this step.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked to see if the alignment looked ok, and it did. No further alignment is needed for the DO concentration channel,

Conductivity

Tests were run on 2 casts to assess whether the same settings used for 2019-023 to align conductivity with temperature (as judged by the effect on salinity as seen in T-S space) were appropriate for this cruise and they were. The best setting for both sensors was -0.7records.

SHIFT was run twice on all SBE911 casts using -0.7 records for the primary and secondary conductivity. Salinity was recalculated for both channels. Both primary and secondary T-S plots show much smoother traces with the primary being the best overall.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings.

The checks of altimeter and water depth readings from the headers of the CLN files were exported to a spreadsheet. During the previous cruise it was noted that the sounder was not working well with readings that were often low by up to 20m, though in some cases they appeared to be too high.

A check value was calculated by subtracting water depth from maximum depth sampled plus altimetry header.  The altimetry header was removed from cast 94 because the CTD did not get close to the bottom and the header reading must have come from spikes. In many other cases the check value is >4m so plots were made to see if the header altimetry reading is reliable and it was; it is assumed there was some change in depth between the start of the cast and the CTD reaching bottom and/or the sounder was unreliable. For those casts the water depth was changed to the sum of Maximum Depth Sampled + Altimetry Header. These changes were made to the DEL files. For details see file 2019-023-altimeter-ctd.xlsx.

Altimetry data from the SAMAVG files were also adjusted with the header being removed from cast #29, 94, 174 and 190 as the bottle file contains no data near the bottom. For many other casts the water depth was changed to the sum of Maximum Depth Sampled + Altimetry Header. Where the water depth varied slightly from the results of the CTD check, the CTD value was used; the differences were never more than 2m.. For details see file 2019-023-altimeter-che.xlsx. The merge with MRGCLN1s was rerun plus CLEAN.

##### Other Comparisons

Experience with these sensors since last factory service –

The pressure, temperature and conductivity sensors have been used on 11 cruises since they were last serviced. No problems were found in the pressure calibration.

Two of the cruises did not have useful calibration sampling.

Results for salinity were:

- 2018-030 - the primary salinity was found to read low by 0.002 & the secondary by 0.001.

- 2018-032  - there were problems with the salinometer so the comparison was not trusted.

- 2019-003 and 2019-001 - primary salinity low by ~0.002 & secondary low by <0.001psu.

- 2019-016 – Primary low by 0.0008 & secondary high by 0.0005

- 2019-038 – results not trusted

- 2019-005 – Primary low by 0.0023 & secondary very close to bottles

- 2019-006 – Primary low by 0.0032 & secondary low by 0.0006

- 2019-014 – Primary low by 0.0029 & secondary high by 0.0010

- 2019-069 – Primary low by 0.0051 & secondary high by 0.0007

- 2019-008 -  Primary low by 0.0083 & secondary high by 0.0004

The dissolved oxygen sensor was used on 10 previous cruises since the last service and the fits against bottles have not varied much from cruises with enough DO sampling for a good fit, with corrections having slopes that started at about 1.03 and increased to about 1.035 between May and June 2019. The slope was  quite steady though it is slightly higher for this cruise at 1.038. The offsets vary between 0.010 and 0.028 with no temporal pattern.

Historic ranges – Profile plots were made with 3-standard deviation climatology ranges of T and S superimposed. Most temperature values fell within those ranges except for some high temperatures in the top 30 to 50m near the shelf break on the LB, LC and LD lines. There were a few low salinity values near the surface at near-shore stations and one cast with low values at the bottom, but most data fell within the climatology. There is no evidence of severe calibration problems.

Repeat Casts –None available.

Post-Cruise Calibration – There were no post-cruise calibrations available.

##### DETAILED EDITING

The primary channels were selected for editing for most casts because there was more noise in the secondary channels and more unstable features in T-S space. However, cast #108 had poor data in the primary channels. The secondary temperature and salinity channels were selected for cast #108.

Cast #197 had odd salinity between 150 and 210db with some instabilities in T-S space. The features were the same in both channels and the dissolved oxygen and transmissivity show similar features. The data were left in place as these instabilities are not large and may be the results of a mixing event.

All DEL files were copied to *.EDT.

After editing T-S plots were examined for all casts. There are some small unstable features that are likely real. No further editing was done.

##### Recalibration

There is no indication of drift in the pressure calibration.

File 2019-023-SBE911-recal.ccf was prepared to recalibrate by adding 0.0082psu to channel Salinity:T0:C0 and subtracting 0.0008psu from channel Salinity :T1:C1 and applying the following correction to channel Oxygen:Dissolved:

CTD DO Corrected = CTD DO * 1.0384 + 0.0167

This correction was first applied to the SAM and MRGMRH files.

COMPARE was rerun for salinity to ensure that corrections were appropriate and they were. The primary salinity was found to be low by an average of 0.00001psu and the secondary low by 0.0005psu. See file 2019-023-sal-comp2.xls for details.

COMPARE was rerun for dissolved oxygen and shows that the correction was applied properly. When data are excluded using the same points as in the original fit, the CTD DO was low by an average of 0.00005mL/L. This shows that the recalibration was done correctly. See file 2019-023-DO-comp2.xls for details.

CALIBRATE was then run on the EDT files using the same recalibration file.

##### Final Calibration of DO

The initial recalibration of dissolved oxygen corrects for sensor calibration drift. Alignctd corrects for transit time errors. Those 2 steps may partly correct for response time errors, but to see if a further correction is needed, a comparison is made of downcast CTD data to bottle data from the same pressure. Small differences are expected due to ship drift, temporal changes, incomplete flushing of Niskin bottles and delayed response and noise in CTD data.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned and compared to the bottle values in the MRG files. COMPARE was run to study the differences between the downcast CTD DO data and the titrated samples from upcast bottles.

The fits were very noisy which is due to so many samples coming from high gradient levels some sub-surface maxima and frequent reversals in DO gradients. When outliers were removed based on standard deviations in the CTD data, the SBE DO was higher than the titrated samples by an average of ~0.03mL/L (standard deviation of 0.05mL/L). The CTD DO is likely reading a little too high (on average) due to slow response and the bottles likely contain water from a little lower in the water column (again, on average) due to incomplete flushing, so reading a little lower than ambient waters. The comparison from areas with lower DO vertical gradients looks better. For DO<2mL/L the SBE DO was high by 0.01mL/L.

No further recalibration is justified. See 2019-023-dox-comp3.xls for details.

##### Fluorescence Processing

A median filter, size 11, was applied to the fluorescence channel in the COR1 files. Plots of a few casts showed that the filter was effective. (Output:*.FIL)

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

On-screen T-S plots were examined.

Profile plots were examined to see if there any problems. No problems were noted.

##### Final CTD File Steps (REMOVE and HEADEDIT)

For all casts except #108 REMOVE was run to remove the following channels:

Scan_Number, Temperature:Secondary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T1:C1 and Flag.

For cast #108  REMOVE was run to remove the following channels:

Scan_Number, Temperature:Primary, Conductivity:Primary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T0:C0 and Flag.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names, to fix the project name and to add the comments about processing.

The Standards Check routine was run and no problems were found.

The Header Check was run – 1 problem was found and resolved in cast #13.

Profile and T-S plots were examined. No problems were found.

The sensor history was updated.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. Values ranged from ~60% to 130% with the lowest values in well-mixed waters and highest values near shore. For off-shore casts in deep water values were between 101% and 107% with most between 101% and 104%, typical levels for the offshore area.

##### Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

For all casts REMOVE was run to remove the following channels:

Scan_Number, Temperature:Secondary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T1:C1 and Flag.

A second SBE DO channel with mass units was added for both the CTD DO and titrated DO and REORDER was run to get the pairs of DO channels together.

HEADER EDIT was run to ensure formats and units are correct, correct the vessel name, change the channel name Bottle_Number to Bottle:Firing_Sequence and the name Bottle:Position to Bottle_Number and to add a comment about quality flags and analysis methods and a few notes about the CTD data processing.

Data were exported from the CHE files to file 2019-023-bottles-final.xls. The entries were compared with the rosette log sheets. A few problems were found:

Cast #28 – Has pad value for sample #77 because it was not noted on the rosette log but the label is very clear about it coming from this Niskin so the value was put back in place.

Cast #35 – There is a comment for the nutrients about the sample being 127 on the rosette sheet but 128 on the sample label. The 2 bottles were at the same level. The comment was changed from NUTS to ALL as it also applies to CHL.

Cast #47 – Sample #177 – There is no such sample on the rosette sheet. Sample #77 had been thought to be mislabelled and likely from 177. But #77 clearly comes from event #28 as noted above.

Cast #60 – Sample 227 has a flag 9 but no comment. A comment was added.

Cast #69 – There was an error in the ADDSAMP file – sample 255 should have been 254. Sample #255 was missed on the rosette log and the labels matched the rosette log.

Cast 143 – Sample #499 has a flag 9 but no comment. A comment was added.

Standards check turned up no problems.

The track plot looks fine.

Plots of each file were examined and no problems were found.

A cross-reference listing and header check were produced for the CHE files.

##### Thermosalinograph Data

An IOS TSG45 was used for this cruise.

The IOS SBE TSG45 data were in 4 raw files but the first 2 contained only 30s and 2minutes worth of data respectively, so they will not be processed.

The files have extensions RAW but are in csv format, so the files were opened in EXCEL and saved as CSV files. In opening use DELIMITED, deselect TAB, select COMMA and OTHER entering *.

It was necessary to choose TEXT for the time on the 2nd page of the text import wizard.

The spreadsheet was adjusted as follows:

- 2 lines of headers were added – channel names and units.

- The file was then saved in CSV format – the name is not critical at this point.

- A column with pressure was added with all values set to 4.5 (to enable derivation of salinity).

- A temperature difference column was added (Lab-Intake).

- The fluorescence channel is in volts. It was moved to column M. Then a concentration value was calculated in column F using offset -0.04 and scale 13.1 as determined in the most recent recalibration of the fluorometer.

- Copy/Special Paste was used to save the values and then the voltage channel was removed.

- A file break column was filled with the cruise #-data/time info from the original file name.

- Time and Date formats are a problem – when converting from RAW choose TEXT but once open in EXCEL set Time Format  to HH:MM:SS and save the file again. (Any time the file is opened in EXCEL the time format may have to be set again before saving.)

- The first 6 records were moved from the 2nd file to the first to get the full day in a single file.

The temperature, conductivity and fluorescence channels were padded at the beginning of the 2nd file until the flow started. More padding will be needed later in the editing process.

The file was then converted to IOS format with header info added.

CLEAN was run to reset the number of records, min and max values, set the start and end times, and latitude and longitude limits.

Track plots showed that there are some bad values. The problem values all occur when the ship is stopped making it easy to find appropriate values to use as replacements. There were many such bad values in both latitude and longitude. They were corrected using plots to find them. After this process the conversion and CLEAN routines were rerun.

ADD TIME CHANNEL was used to add Julian dates – i.e. Decimal Year. (To do this tick “Add offset from Time Zero in Days” and enter Time Zero as the last day in the previous December at 00:00:00.)  A record number was also added to enable averaging (for use in comparison to CTD files).

DERIVED QUANTITIES was run to derive salinity using the lab temperature.

REORDER was run to move the Julian date to after the Time/Date channels and to put salinity and fluorescence after the lab temperature. Also the record # was moved to the end.

a.) Plots

A track plot was produced and added to the end of this document.

Time-series plots were examined on screen. There were some problems:

- August 30 – The flow rate was high for the first few minutes but soon settled to a fairly steady rate of 1.

- Sept. 1 – The flow rate goes to 0 at 03:58 but the data do not look as though the flow had stopped. Temperature differences look steady at a point when we would expect a gradual rise.  Eventually they rise a little but that is at a point when the intake temperature dropped significantly. The temperature drop itself looks suspicious but a quick check against CTD values suggests it is real. The last record looks odd as salinity drops very suddenly from 32 to 18psu. This looks like a spike that can be removed later.

- September 6 – The intake temperature is noisy at the end of the file but the ship was in an area of high variability.

- September 9 needs editing at the end where the flow went to 0 and temperature differences did rise.

The flow rate was mostly very steady.

b.)  Checking Time Channel

The CTD files were thinned to reduce the files to a single point from the downcast at or within 0.5db of 4.5db. These were exported to a spreadsheet which was saved as 2019-023-ctd-tsg-loop-comp.xlsx. There were 107 CTD casts that overlapped with the TSG record.

The TSG files were averaged over 6 records and then Header Edit was used to change the formats of the standard deviations. Data were then exported to a CSV file which was opened in EXCEL. The data for the times of CTD casts were extracted and add to file 2019-023-ctd-tsg-loop-comp.xlsx.

To check for problems in the TSG clock or bad matches of TSG and CTD data, the differences between latitudes and longitudes were found. There were no differences greater than 0.0005º while the median differences were 0.0000º for both.

c.) Comparisons

- Comparison of T, S and fluorescence from TSG and CTD data

The initial comparison showed the TSG intake temperature to be higher than the CTD intake temperature by a median value of 0.0087Cº. This is a little higher than the 0.0067Cº found during the previous cruise. The standard deviations in the TSG data were often high in the near-shore areas so a subset of casts was examined from the offshore area  in water deeper than 200m. Using those casts the temperature difference between the TSG and CTD was much smaller and the standard deviations very much lower. This makes sense because the vertical temperature gradients were higher near shore so slight mismatches in the depths of the 2 sources would lead to large differences. Offshore those effects should be less significant.

Differences based on Offshore Casts

|  | Tint-Tctd | Tlab-Tctd | TSGsal-CTDsal | TSG FL/CTD FL |
| --- | --- | --- | --- | --- |
| Maximum | 0.0775 | 0.2905 | -0.4163 | 10.220 |
| Minimum | -0.0428 | 0.0561 | -0.4298 | 1.223 |
| Median | 0.0025 | 0.1805 | -0.4224 | 5.796 |
| Std. Dev | 0.0202 | 0.0565 | 0.0035 | 2.173 |

The intake temperature is higher than the CTD temperature by a median of 0.0025C° which is a very good result. The heating in the loop (Temp Lab – Temp Intake) had a median value of ~0.18C° which is much lower than during 2019-008 when heating in the loop was ~0.32C°. The difference is likely due mainly to the intake waters being generally warmer than during the earlier cruise. When intake is close to ambient ship temperatures the heating in the loop is lower.

The TSG salinity was low by a median of 0.4263psu using all data and 0.4224psu using just the offshore data. During 2019-008 it was found that the salinity drifted significantly late in the cruise ending at about -0.044psu. A plot of salinity versus event # for this cruise has too much noise to determine whether that trend continued, though there is some suggestion of a slight continuing drop. However, the median value is likely the best guide as to how to recalibrate, as there does not seem to be as significant a drop as noted during 2019-008. When the sensor went back to the factory it was found to have drifted excessively, though no estimate was made of the size of that drift.

As noted during 2019-008 the TSG fluorescence increased smoothly throughout the cruise with no reflection of what was happening in the CTD fluorescence which had a lot of variability as expected in this region. The TSG fluorescence looks unreliable and will not be archived.

A check was made of the data from September 1st. At about 0400 the flow appears to drop to 0 but the time-series traces look ok. Fortunately, there were 16 CTD casts during that time. The median difference between the TSG intake and CTD temperature through that period was 0.0093 C° which is similar to the median for all data. The salinity difference is a good match to the full comparison as well. And the heating in the loop had a median of 0.24 C° which is again similar to the median for all data. If the flow had been off we would expect that the lab temperature would gradually rise, approaching the ambient temperature of the ship. There is one outlier in the plot below that suggests a problem, but that occurred as the ship went through a front with changes of 1C° in 15s (Juan de Fuca eddy perhaps), so slight time mismatches will lead to significant differences. Overall the variations look completely normal, so it appears that the flow meter failed or got corrupted. In contrast to that when the flow rate is 0 at the end of the file for September 9th the lab temperature rises as expected when the flow is stopped.

- Comparisons of loop samples with rosette samples

There were  just 2 cases of loop salinity samples being taken during at the same time as a surface sampled from the rosette. For those two the Loop salinity was higher by 0.0015 and 0.0007psu which is a good comparison.

There were 5 points of comparison for the extracted chlorophyll. The range of the ratio Loop CHL/Rosette CHL was 0.77 to 1.19 with a median of 0.91. The differences ranged from -0.47 to +0.05 with all but one of the loop values being lower than the rosette samples. While few data are available these results suggest that the loop sample data are likely reading slight low but not by much.

- Comparisons of loop samples and TSG data

There were 8 loop Salinity samples of which 4 were taken during rosette casts and 3 while underway. There is uncertainty about the other case – the ship was likely stopped for a drifter launch but might have just started moving. There are 9 Loop CHL samples of which 5 were taken during rosette casts.

The TSG salinity is lower than the loop samples by a median of 0.415psu if all samples are included but there is one outlier that had been flagged 4 by the analyst. If that is not included the median is -0.420psu. This is good agreement with the comparison between TSG and CTD. The underway cases have slightly lower differences.

The ratio of TSG fluorescence to Loop CHL looks random which is not surprising as the ratio always varies with fluorescence level. However, the differences show a clear increase with time. The loop values compared well with the rosette, so an increase in TSG Fluorescence that is not in line with the variations in Loop CHL does confirm that the sensor was not performing well and grew worse through the cruise.

For details on comparisons see document 2019-023-ctd-tsg-loop-rosette-comp.xlsx.

d.) Calibration History

- During 2018-026 this system was used for the first time. The intake temperature sensor read higher than the CTD temperature by a median of 0.03C°. The lab temperature was higher than the intake temperature by more than expected (~0.5) based on previous experience with heating in the loop on the Tully. The salinity traces were quite smooth with only a few very small spikes. Salinity read lower than the CTD by a median of 0.009psu. The differences were not sufficiently consistent to allow recalibration. The data were archived but with a warning that there was insufficient calibration sampling to assess quality.

- The results from 2018-025 suggest that there were problems with flow in the loop.

- During 2018-034 Salinity was lower than the CTD by a median of 0.030psu. Lab temperatures were higher than CTD temperatures by a median of 0.66 C°. The intake temperatures were high by a median of 0.072 C° using all data or 0.058 C° in a “quiet section”. Fluorescence from the TSG was lower than the CTD fluorescence except in areas where CHL was low. The comparisons have a lot of scatter and recalibration was not attempted. The data were archived but with a comment about the intake temperature being further from the CTD data than expected and heating in the loop being higher than when the SBE21 was in use. Because of the limitations only 3 decimal places will be shown for temperature and salinity.

- During 2018-040 the TSG fluorescence was removed as it looked unreliable, starting with values close to the CTD but increasing until it was 60 times the CTD values. Salinity was lower than that from the CTD by a median of 0.032 and lower than loop samples by 0.034psu. The intake temperature was higher than the CTD temperature by a median of 0.0032C°.  The lab temperature was higher than the intake temperature by ~0.28 C°.

- During 2019-001 the TSG fluorescence values started unbelievably high, but the values dropped through the cruise getting closer to CTD and loop values. The TSG intake temperature was higher than the CTD by about 0.05C°. The lab temperature was higher than the intake temperature by ~0.5C°. Salinity was lower than CTD and loop by between 0.003 and 0.009psu.

- During 2019-005 the TSG fluorescence values were about 50% of those from the CTD and ~40% of loop extracted chlorophyll samples. The pattern of variability is similar to that from the CTD. The TSG intake temperature was higher than the CTD by about 0.19C°. The lab temperature was higher than the intake temperature by ~0.5C°. Salinity was higher than CTD and loop by 0.4 and 0.34psu, respectively. The salinity is usually lower than the CTD and loop and the two TSG temperature channels are way out of line with expected values. TSG data were not archived.

- During 2019-006 the TSG fluorescence had a large temporal drift that was not related to chlorophyll level. The data were not archived. The TSG intake temperature was higher than the CTD by 0.013C°. The lab temperature was higher than the CTD by ~0.32C° and higher than the intake by ~0.28°. TSG salinity was reading lower than the CTD by about 0.057psu and lower than loop samples by 0.061psu.

- During 2019-014  The TSG intake temperature was higher than the CTD by ~0.057C°. TSG Salinity read lower than the CTD salinity by a median of 0.10psu. The differences grew with time from between ~0.07 and 0.08psu until event #27 after which it rose steadily to 0.14psu. Fluorescence also appeared to be drifting upward relative to CTD values which might be due to biological contamination.

- During 2019-008 the TSG fluorescence values were considered unreliable, increasing with time, so that channel was not archived. Heating in the loop was about 0.32C°. The TSG intake temperature was higher than the CTD by ~0.067C°. TSG Salinity read lower than the CTD salinity by a median of 0.408psu and lower than loop salinity by a median of 0.407psu until event #80. After that the TSG salinity drifted lower until it is low by 0.44psu near the end of the cruise. A linear fit against Julian Date was derived to be applied to files from August 22nd to the end of the cruise.

e.) Conclusions re IOS TSG

1. The TSG clock worked well.

2. There were 107 points of comparison with CTD.

3. After an initial period with no flow and then high flow, the flow rate was steady with values 1L/min to 1.1L/min except at the end of the file for Sept. 9 where some editing will be needed. Also the file for Sept. 1 has a few salinity spikes near the end though the flow looks ok.

4. The intake temperature is reading higher than the CTD by a median difference of 0.0087C°.

5. TSG Salinity is reading lower than the CTD by a median of ~0.0425psu and lower than loop salinity by a median of 0.42psu (2 loops only). The difference is slightly smaller than at the end of the previous cruise and there is evidence of continuing drift noted during this cruise.

6. The lab temperature is higher than the CTD temperature by a median of 0.181C° and higher than the intake temperature by a median of ~0.178C°.

7. The history of the instrument shows the intake temperature always reading higher than the CTD but the differences were generally small. Heating in the loop varies greatly from cruse to cruise. TSG salinity is usually lower than CTD salinity with the only exception being 2019-005 in May. Since June salinity has been reading much lower than the CTD.

8. The TSG fluorescence is reading higher than the CTD fluorescence early in the cruise and drifts even higher. This appears to be due to a temporal drift rather than a dependence on chlorophyll level.  The overall pattern does not look reliable including the very smooth traces, so this channel should be removed.

9. Neither the lab not the intake temperature need to be recalibrated but 0.422 will be added to the TSG Salinity channel.

g.) Editing

The REO files were then edited.

CTDEDIT was used to edit salinity lightly in the files for August 31st and near the end of September 1st and to pad data from the end of the September 9th in channels Temperature: Lab, Temperature: Intake, Conductivity and Salinity:T0:C0 from the section when the flow in the loop was off.

h.) Recalibration

CALIBRATE was run using file 2019-023-tsg-recal.ccf to increase salinity by 0.0422psu.

A check was made against CTD data to ensure the corrections were appropriate and they were.

Sigma-T was derived using the intake temperature and corrected salinity.

i.) Preparing Final Files

REMOVE was used to remove channel Pressure, Fluorescence:URU:Wetlabs, Temperature:Difference , and record #.

HEADER EDIT was used to change the DATA DESCRIPTION to THERMOSALINOGRAPH and add the depth of sampling to the header and to change channel names to standard names and formats and to add comments.

The files were save as 2019-023-MMDD-HHMMSS.TOB.

The TSG sensor history was updated.

As a final check plots were made of the cruise track and time-series an all looks fine.

General Comments

PAR off:

Casts with bottle fired out of order: 36, 54, 79, 121, 150, 188,

Particulars

1. Test cast – all bottles fired but no sample #s, rosette file not needed.

2. stopped at 161 on way down

11. File started with wrong file name – started again as 12.

14. Pump turned on at 10m soak.

44. Altimeter didn’t kick in – stopped at 1441. Some noise in fluorometer at ~1350

44. Errors in some sample labels. CHL, and NUTS ok

62. Bottle depth 36m not entered into header.

69. Errors in some sample labels.

99. Chemistry files incorrectly saved as event 98 which was a NET cast..

110. Bottle fired as test – no sampling – do not process bottle file.

121. Passed 175m on way up so went back down. Niskin 1 misfired – Niskin 23 was fired at the bottom but mistakenly drained before all samples taken.

123. hold up at 500m for lube

125. Aborted.

126. Sample #s wrong on labels.

130. Files Misnamed – should be 129. Sample numbers wrong on labels.

139. Header mislabelled as CS1B – changed to CS05

190. Called #191 on rosette log.

2019-023

CRUISE SUMMARY – CTD

| CTD# | Make | Model |  | Serial# |  | Used with Rosette? |  | CTD Calibration Sheet Competed? |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ |  | 0506 |  | Yes |  | Yes |  |  |  |
| Calibration Information - 0506 |  |  |  |  |  |  |  |  |  |  |  |
| Sensor |  |  |  |  | Pre-Cruise |  |  |  | Post Cruise |  |  |
| Name |  |  | S/N |  | Date |  | Location |  | Date | Location |  |
| Temperature |  |  | 2023 |  | 06Sep2017 |  | Factory |  |  |  |  |
| Conductivity |  |  | 1763 |  | 06Sep2017 |  | Factory |  |  |  |  |
| Secondary Temp. |  |  | 5013 |  | 02Sep2017 |  | Factory |  |  |  |  |
| Secondary Cond. |  |  | 3394 |  | 6Sep2017 |  | Factory |  |  |  |  |
| Transmissometer |  |  | 1185DR |  | 16Dec2018 |  | IOS |  |  |  |  |
| Transmissometer |  |  | 1883DG |  | 21Nov2018 |  | Factory |  |  |  |  |
| SBE 43 DO sensor |  |  | 3234 |  | 16Feb2018 |  | Factory |  |  |  |  |
| PAR |  |  | 70613 |  | 21Mar2016 |  | Factory |  |  |  |  |
| SeaPoint Fluor. |  |  | 3640 |  | Jan 2019 |  |  |  |  |  |  |
| Pressure Sensor |  |  | 0506 |  | 2Sept2017 |  | Factory |  |  |  |  |
| Altimeter |  |  | 62355 |  |  |  | Factory |  |  |  |  |

# TSG Make/Model/Serial#:	SEABIRD/45/0620

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 0620 | 2Aug17 | Factory |  |  |
| Conductivity | 0620 | 2Aug17 | Factory |  |  |
| Temperature SBE38 | ? | ? | Factory |  |  |
| WETStar Fluorometer | 953 | 5May2017 | Factory |  |  |