## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6 | Run at 2019/08/19 15:58:56 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2019-038-0002.mrg | 2019-038-0002.thn1 | 2 | 39.987 | 39.4495 | 0.65125 | -0.5375 | 4.301 | 4.2385 | 0.019092 | -0.062501
2019-038-0002.mrg | 2019-038-0002.thn1 | 1 | 30.118 | 30.004 | 0 | -0.114 | 4.281 | 4.305 | 0 | 0.024
2019-038-0002.mrg | 2019-038-0002.thn1 | 1 | 19.721 | 20.004 | 0 | 0.283 | 4.435 | 4.626 | 0 | 0.191
2019-038-0002.mrg | 2019-038-0002.thn1 | 2 | 10.164 | 10.493 | 0.70145 | 0.329 | 5.176 | 5.788 | 0.12304 | 0.612
2019-038-0002.mrg | 2019-038-0002.thn1 | 3 | 5.004 | 5.0133 | 0.97607 | 0.0093331 | 6.528 | 8.9027 | 0.63977 | 2.3747
2019-038-0002.mrg | 2019-038-0002.thn1 | 1 | 2.15 | 2.529 | 0 | 0.379 | 7.671 | 9.42 | 0 | 1.749
2019-038-0004.mrg | 2019-038-0004.thn1 | 1 | 33.563 | 33.398 | 0 | -0.165 | 4.942 | 4.958 | 0 | 0.016
2019-038-0004.mrg | 2019-038-0004.thn1 | 1 | 29.726 | 30.014 | 0 | 0.288 | 5.064 | 5.058 | 0 | -0.006
2019-038-0004.mrg | 2019-038-0004.thn1 | 1 | 20.291 | 19.992 | 0 | -0.299 | 5.153 | 5.217 | 0 | 0.064
2019-038-0004.mrg | 2019-038-0004.thn1 | 2 | 10.252 | 10.498 | 0.72408 | 0.246 | 5.325 | 5.4485 | 0.020506 | 0.1235
2019-038-0004.mrg | 2019-038-0004.thn1 | 2 | 4.977 | 4.5025 | 0.7064 | -0.4745 | 5.647 | 8.018 | 0.19657 | 2.371
2019-038-0004.mrg | 2019-038-0004.thn1 | 1 | 2.038 | 2.526 | 0 | 0.488 | 8.258 | 8.765 | 0 | 0.507
2019-038-0006.mrg | 2019-038-0006.thn1 | 2 | 49.287 | 49.2455 | 0.34578 | -0.0415 | 4.592 | 4.509 | 0.04384 | -0.083
2019-038-0006.mrg | 2019-038-0006.thn1 | 1 | 29.965 | 29.985 | 0 | 0.020001 | 4.903 | 4.974 | 0 | 0.071
2019-038-0006.mrg | 2019-038-0006.thn1 | 1 | 20.112 | 20 | 0 | -0.112 | 5.164 | 5.248 | 0 | 0.084
2019-038-0006.mrg | 2019-038-0006.thn1 | 2 | 10.011 | 10.505 | 0.69862 | 0.494 | 5.387 | 5.436 | 0.011314 | 0.049
2019-038-0006.mrg | 2019-038-0006.thn1 | 2 | 5.047 | 5.4925 | 0.70499 | 0.4455 | 6.15 | 5.6845 | 0.04879 | -0.4655
2019-038-0006.mrg | 2019-038-0006.thn1 | 1 | 2.206 | 2.117 | 0 | -0.089 | 7.065 | 6.36 | 0 | -0.705
2019-038-0008.mrg | 2019-038-0008.thn1 | 2 | 38.801 | 39.1425 | 0.17183 | 0.3415 | 4.304 | 4.2735 | 0.0063638 | -0.0305
2019-038-0008.mrg | 2019-038-0008.thn1 | 1 | 30.197 | 29.985 | 0 | -0.212 | 4.395 | 4.516 | 0 | 0.121
2019-038-0008.mrg | 2019-038-0008.thn1 | 1 | 20.328 | 19.986 | 0 | -0.342 | 4.61 | 4.653 | 0 | 0.043
2019-038-0008.mrg | 2019-038-0008.thn1 | 2 | 10.045 | 10.5175 | 0.71488 | 0.4725 | 4.747 | 5.0775 | 0.0049497 | 0.3305
2019-038-0008.mrg | 2019-038-0008.thn1 | 2 | 4.96 | 4.502 | 0.71984 | -0.458 | 5.194 | 5.228 | 0.057983 | 0.034
2019-038-0008.mrg | 2019-038-0008.thn1 | 2 | 3.087 | 3.4925 | 0.70781 | 0.4055 | 5.136 | 5.323 | 0.076367 | 0.187
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 4
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2019-038-0002.mrg | 2019-038-0002.thn1 | 11 | 16 | 2019-038-0002.mrg & 2019-038-0002.thn1
2 | 2019-038-0004.mrg | 2019-038-0004.thn1 | 18 | 23 | 2019-038-0004.mrg & 2019-038-0004.thn1
3 | 2019-038-0006.mrg | 2019-038-0006.thn1 | 25 | 30 | 2019-038-0006.mrg & 2019-038-0006.thn1
4 | 2019-038-0008.mrg | 2019-038-0008.thn1 | 32 | 37 | 2019-038-0008.mrg & 2019-038-0008.thn1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (DOX_CTD - DOX_BOT) | DOX_CTD | 4
2 | (DOX_CTD - DOX_BOT) | Pressure | 4

## Fit_1
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.11639 |  | X | CALC Y
m= | 0.080061 | 0.063679 |  | Std Dev of Resid |  | 0.09698 |  | 4.2385 | 0.023019
b= | -0.31632 | 0.31051 |  | Resid Sum of Squares |  | 0.11286 |  | 5.4485 | 0.11989
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 39.4495 | 4.2385 | 0.019092 | -0.062501 | 0.023019 | 0.08552 |  | 4.2385 | -0.062501
1 | YES | 30.004 | 4.305 | 0 | 0.024 | 0.028343 | 0.0043435 |  | 4.305 | 0.024
1 | YES | 20.004 | 4.626 | 0 | 0.191 | 0.054043 | -0.13696 |  | 4.626 | 0.191
1 | NO | 10.493 | 5.788 | 0.12304 | 0.612 | 0.14707 | -0.46493 |  | 4.958 | 0.016
1 | NO | 5.0133 | 8.9027 | 0.63977 | 2.3747 | 0.39644 | -1.9782 |  | 5.058 | -0.006
1 | NO | 2.529 | 9.42 | 0 | 1.749 | 0.43786 | -1.3111 |  | 5.217 | 0.064
2 | YES | 33.398 | 4.958 | 0 | 0.016 | 0.080623 | 0.064623 |  | 5.4485 | 0.1235
2 | YES | 30.014 | 5.058 | 0 | -0.006 | 0.088629 | 0.094629 |  | 4.974 | 0.071
2 | YES | 19.992 | 5.217 | 0 | 0.064 | 0.10136 | 0.037359 |  | 5.248 | 0.084
2 | YES | 10.498 | 5.4485 | 0.020506 | 0.1235 | 0.11989 | -0.0036069 |  | 5.436 | 0.049
2 | NO | 4.5025 | 8.018 | 0.19657 | 2.371 | 0.32561 | -2.0454 |  | 4.2735 | -0.0305
2 | NO | 2.526 | 8.765 | 0 | 0.507 | 0.38542 | -0.12158 |  | 4.516 | 0.121
3 | NO | 49.2455 | 4.509 | 0.04384 | -0.083 | 0.044676 | 0.12768 |  | 4.653 | 0.043 | average | std dev
3 | YES | 29.985 | 4.974 | 0 | 0.071 | 0.081904 | 0.010904 |  | 5.0775 | 0.3305 | 0.072714 | 0.099123
3 | YES | 20 | 5.248 | 0 | 0.084 | 0.10384 | 0.019841
3 | YES | 10.505 | 5.436 | 0.011314 | 0.049 | 0.11889 | 0.069893
3 | NO | 5.4925 | 5.6845 | 0.04879 | -0.4655 | 0.13879 | 0.60429
3 | NO | 2.117 | 6.36 | 0 | -0.705 | 0.19287 | 0.89787
4 | YES | 39.1425 | 4.2735 | 0.0063638 | -0.0305 | 0.025821 | 0.056321
4 | YES | 29.985 | 4.516 | 0 | 0.121 | 0.045236 | -0.075764
4 | YES | 19.986 | 4.653 | 0 | 0.043 | 0.056204 | 0.013205
4 | YES | 10.5175 | 5.0775 | 0.0049497 | 0.3305 | 0.09019 | -0.24031
4 | NO | 4.502 | 5.228 | 0.057983 | 0.034 | 0.10224 | 0.06824
4 | NO | 3.4925 | 5.323 | 0.076367 | 0.187 | 0.10985 | -0.077155
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.4722 |  | X | CALC Y
m= | -0.0067944 | 0.0020736 |  | Std Dev of Resid |  | 0.074953 |  | 10.498 | 0.16808
b= | 0.23941 | 0.054677 |  | Resid Sum of Squares |  | 0.067415 |  | 39.4495 | -0.028626
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 39.4495 | 4.2385 | 0.019092 | -0.062501 | -0.028626 | 0.033875 |  | 39.4495 | -0.062501
1 | YES | 30.004 | 4.305 | 0 | 0.024 | 0.035551 | 0.011551 |  | 30.004 | 0.024
1 | YES | 20.004 | 4.626 | 0 | 0.191 | 0.1035 | -0.087505 |  | 20.004 | 0.191
1 | NO | 10.493 | 5.788 | 0.12304 | 0.612 | 0.16812 | -0.44388 |  | 33.398 | 0.016
1 | NO | 5.0133 | 8.9027 | 0.63977 | 2.3747 | 0.20535 | -2.1693 |  | 30.014 | -0.006
1 | NO | 2.529 | 9.42 | 0 | 1.749 | 0.22223 | -1.5268 |  | 19.992 | 0.064
2 | YES | 33.398 | 4.958 | 0 | 0.016 | 0.012491 | -0.0035096 |  | 10.498 | 0.1235
2 | YES | 30.014 | 5.058 | 0 | -0.006 | 0.035483 | 0.041483 |  | 29.985 | 0.071
2 | YES | 19.992 | 5.217 | 0 | 0.064 | 0.10358 | 0.039577 |  | 20 | 0.084
2 | YES | 10.498 | 5.4485 | 0.020506 | 0.1235 | 0.16808 | 0.044583 |  | 10.505 | 0.049
2 | NO | 4.5025 | 8.018 | 0.19657 | 2.371 | 0.20882 | -2.1622 |  | 39.1425 | -0.0305
2 | NO | 2.526 | 8.765 | 0 | 0.507 | 0.22225 | -0.28475 |  | 29.985 | 0.121
3 | NO | 49.2455 | 4.509 | 0.04384 | -0.083 | -0.095184 | -0.012184 |  | 19.986 | 0.043
3 | YES | 29.985 | 4.974 | 0 | 0.071 | 0.03568 | -0.03532 |  | 10.5175 | 0.3305
3 | YES | 20 | 5.248 | 0 | 0.084 | 0.10352 | 0.019522
3 | YES | 10.505 | 5.436 | 0.011314 | 0.049 | 0.16804 | 0.11904
3 | NO | 5.4925 | 5.6845 | 0.04879 | -0.4655 | 0.20209 | 0.66759
3 | NO | 2.117 | 6.36 | 0 | -0.705 | 0.22503 | 0.93003
4 | YES | 39.1425 | 4.2735 | 0.0063638 | -0.0305 | -0.02654 | 0.00396
4 | YES | 29.985 | 4.516 | 0 | 0.121 | 0.03568 | -0.08532
4 | YES | 19.986 | 4.653 | 0 | 0.043 | 0.10362 | 0.060618
4 | YES | 10.5175 | 5.0775 | 0.0049497 | 0.3305 | 0.16795 | -0.16255
4 | NO | 4.502 | 5.228 | 0.057983 | 0.034 | 0.20882 | 0.17482
4 | NO | 3.4925 | 5.323 | 0.076367 | 0.187 | 0.21568 | 0.028681
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE