## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6.1 | Run at 2020/04/14 13:31:57 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | Oxygen_Dissolved_SBE | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2019-043-0006.mrg | 2019-043-0006.sam | 241 | 30.992 | 30.9924 | 0.028384 | 0.0004425 | 4.614 | 4.0732 | 0.036941 | -0.54078
2019-043-0006.mrg | 2019-043-0006.sam | 241 | 20.013 | 20.0126 | 0.030596 | -0.00041962 | 4.567 | 4.3603 | 0.0039116 | -0.20674
2019-043-0006.mrg | 2019-043-0006.sam | 241 | 10.007 | 10.0069 | 0.026745 | -5.8174e-05 | 5.798 | 5.3798 | 0.010095 | -0.41824
2019-043-0006.mrg | 2019-043-0006.sam | 241 | 5.033 | 5.0334 | 0.027568 | 0.00034857 | 6.646 | 6.2777 | 0.0093073 | -0.36829
2019-043-0006.mrg | 2019-043-0006.sam | 241 | 1.991 | 1.9906 | 0.030881 | -0.00041914 | 6.851 | 6.5372 | 0.0065809 | -0.31381
2019-043-0015.mrg | 2019-043-0015.sam | 241 | 38.592 | 38.5922 | 0.026065 | 0.00015259 | 3.79 | 3.0828 | 0.011699 | -0.70718
2019-043-0015.mrg | 2019-043-0015.sam | 241 | 30.032 | 30.032 | 0.03308 | -3.2425e-05 | 4.371 | 4.3479 | 0.0093142 | -0.023128
2019-043-0015.mrg | 2019-043-0015.sam | 241 | 20.015 | 20.0151 | 0.028884 | 7.0572e-05 | 4.773 | 4.6285 | 0.015111 | -0.14451
2019-043-0015.mrg | 2019-043-0015.sam | 241 | 10.018 | 10.018 | 0.027118 | -3.8147e-06 | 6.191 | 5.991 | 0.091433 | -0.20003
2019-043-0015.mrg | 2019-043-0015.sam | 241 | 5.044 | 5.0442 | 0.027764 | 0.00021982 | 7.505 | 7.5847 | 0.019774 | 0.079705
2019-043-0015.mrg | 2019-043-0015.sam | 241 | 1.992 | 1.9922 | 0.028474 | 0.00015354 | 7.696 | 7.744 | 0.12561 | 0.048041
2019-043-0021.mrg | 2019-043-0021.sam | 241 | 41.973 | 41.9734 | 0.023407 | 0.00041199 | 3.501 | 2.9515 | 0.0074314 | -0.5495
2019-043-0021.mrg | 2019-043-0021.sam | 241 | 30.074 | 30.0745 | 0.034703 | 0.00045395 | 4.348 | 4.2834 | 0.011027 | -0.064639
2019-043-0021.mrg | 2019-043-0021.sam | 241 | 19.995 | 19.9952 | 0.034391 | 0.00020599 | 4.605 | 4.4017 | 0.0070588 | -0.20326
2019-043-0021.mrg | 2019-043-0021.sam | 241 | 10.013 | 10.0128 | 0.028211 | -0.00022316 | 6.497 | 6.7004 | 0.014964 | 0.20338
2019-043-0021.mrg | 2019-043-0021.sam | 241 | 5.029 | 5.0289 | 0.026534 | -6.1989e-05 | 8.461 | 8.1653 | 0.24792 | -0.2957
2019-043-0021.mrg | 2019-043-0021.sam | 241 | 1.933 | 1.9335 | 0.028185 | 0.00049388 | 8.703 | 7.8193 | 0.10941 | -0.8837
2019-043-0031.mrg | 2019-043-0031.sam | 241 | 36.971 | 36.9712 | 0.074691 | 0.00020599 | 4.063 | 3.4406 | 0.010449 | -0.62242
2019-043-0031.mrg | 2019-043-0031.sam | 241 | 30.047 | 30.0469 | 0.053492 | -0.00012207 | 3.973 | 3.8718 | 0.0068322 | -0.1012
2019-043-0031.mrg | 2019-043-0031.sam | 241 | 20.024 | 20.0242 | 0.044292 | 0.00016212 | 4.471 | 4.2515 | 0.010627 | -0.21946
2019-043-0031.mrg | 2019-043-0031.sam | 241 | 10.015 | 10.015 | 0.03266 | -9.5367e-07 | 5.368 | 5.5942 | 0.034492 | 0.22622
2019-043-0031.mrg | 2019-043-0031.sam | 241 | 5.098 | 5.0976 | 0.034663 | -0.00043154 | 7.573 | 8.7686 | 0.048228 | 1.1956
2019-043-0031.mrg | 2019-043-0031.sam | 241 | 1.727 | 1.7271 | 0.034453 | 0.00010371 | 8.52 | 7.9403 | 0.020223 | -0.57974
2019-043-0035.mrg | 2019-043-0035.sam | 241 | 43.398 | 43.3982 | 0.028042 | 0.00022888 | 4.024 | 3.6335 | 0.0082513 | -0.39053
2019-043-0035.mrg | 2019-043-0035.sam | 241 | 30.196 | 30.1955 | 0.04114 | -0.00047302 | 3.991 | 3.911 | 0.017513 | -0.079967
2019-043-0035.mrg | 2019-043-0035.sam | 241 | 20.015 | 20.0147 | 0.058563 | -0.00029373 | 5.148 | 4.9855 | 0.011521 | -0.16252
2019-043-0035.mrg | 2019-043-0035.sam | 241 | 10.029 | 10.0292 | 0.02596 | 0.00020695 | 7.81 | 8.59 | 0.047838 | 0.77996
2019-043-0035.mrg | 2019-043-0035.sam | 241 | 5.055 | 5.0553 | 0.067031 | 0.00024939 | 8.725 | 8.2606 | 0.069648 | -0.46442
2019-043-0035.mrg | 2019-043-0035.sam | 241 | 1.434 | 1.4336 | 0.029495 | -0.00042319 | 8.359 | 7.8269 | 0.017796 | -0.53208
2019-043-0038.mrg | 2019-043-0038.sam | 241 | 46.487 | 46.4866 | 0.032119 | -0.00044632 | 4.334 | 3.7853 | 0.0077359 | -0.54866
2019-043-0038.mrg | 2019-043-0038.sam | 241 | 40.016 | 40.0158 | 0.029413 | -0.00020218 | 4.282 | 4.2263 | 0.0095438 | -0.055681
2019-043-0038.mrg | 2019-043-0038.sam | 241 | 30.03 | 30.0301 | 0.02828 | 7.0572e-05 | 4.611 | 4.5149 | 0.0075254 | -0.09605
2019-043-0038.mrg | 2019-043-0038.sam | 241 | 19.972 | 19.9722 | 0.086891 | 0.00024796 | 4.903 | 4.7959 | 0.0093359 | -0.1071
2019-043-0038.mrg | 2019-043-0038.sam | 241 | 10.016 | 10.0163 | 0.040084 | 0.00034904 | 6.167 | 6.6431 | 0.02288 | 0.4761
2019-043-0038.mrg | 2019-043-0038.sam | 241 | 5.036 | 5.036 | 0.031645 | -3.8147e-06 | 8.038 | 7.7584 | 0.025768 | -0.27965
2019-043-0038.mrg | 2019-043-0038.sam | 241 | 2.11 | 2.1099 | 0.024945 | -0.00010371 | 8.259 | 7.8252 | 0.0187 | -0.43376
2019-043-0042.mrg | 2019-043-0042.sam | 241 | 36.21 | 36.21 | 0.037796 | 1.5259e-05 | 4.889 | 4.2493 | 0.0089315 | -0.63972
2019-043-0042.mrg | 2019-043-0042.sam | 241 | 29.973 | 29.9731 | 0.04854 | 0.0001049 | 4.631 | 4.4662 | 0.0069276 | -0.16482
2019-043-0042.mrg | 2019-043-0042.sam | 241 | 20.031 | 20.0312 | 0.037129 | 0.00019836 | 4.876 | 4.8476 | 0.071128 | -0.028377
2019-043-0042.mrg | 2019-043-0042.sam | 241 | 10.023 | 10.0228 | 0.093791 | -0.00021934 | 6.519 | 6.7217 | 0.016962 | 0.20268
2019-043-0042.mrg | 2019-043-0042.sam | 241 | 5.023 | 5.0231 | 0.053122 | 0.00011206 | 7.103 | 6.7601 | 0.010757 | -0.34291
2019-043-0042.mrg | 2019-043-0042.sam | 241 | 2.152 | 2.1521 | 0.028907 | 0.00012875 | 7.142 | 6.8735 | 0.02716 | -0.26853
2019-043-0044.mrg | 2019-043-0044.sam | 241 | 37.208 | 37.208 | 0.027925 | 3.0518e-05 | 4.918 | 4.4454 | 0.010922 | -0.47262
2019-043-0044.mrg | 2019-043-0044.sam | 241 | 20.004 | 20.0037 | 0.030056 | -0.00030708 | 5.349 | 5.2933 | 0.0089792 | -0.055722
2019-043-0044.mrg | 2019-043-0044.sam | 241 | 10.001 | 10.0012 | 0.05589 | 0.00016975 | 6.432 | 6.1964 | 0.0090445 | -0.23558
2019-043-0044.mrg | 2019-043-0044.sam | 241 | 4.957 | 4.9566 | 0.14717 | -0.00036478 | 7.242 | 6.8901 | 0.10796 | -0.3519
2019-043-0044.mrg | 2019-043-0044.sam | 241 | 1.952 | 1.9516 | 0.028718 | -0.00043988 | 7.409 | 6.9892 | 0.059004 | -0.41979
2019-043-0046.mrg | 2019-043-0046.sam | 241 | 53.884 | 53.8844 | 0.030401 | 0.0003624 | 4.658 | 4.2467 | 0.010731 | -0.41127
2019-043-0046.mrg | 2019-043-0046.sam | 241 | 40.099 | 40.0987 | 0.030862 | -0.00032425 | 4.586 | 4.6152 | 0.0081471 | 0.029241
2019-043-0046.mrg | 2019-043-0046.sam | 241 | 29.972 | 29.9722 | 0.031946 | 0.00017738 | 4.976 | 4.7801 | 0.0094152 | -0.19587
2019-043-0046.mrg | 2019-043-0046.sam | 241 | 20.011 | 20.0111 | 0.028191 | 9.1553e-05 | 5.317 | 5.3242 | 0.023556 | 0.0072117
2019-043-0046.mrg | 2019-043-0046.sam | 241 | 10.019 | 10.0188 | 0.024156 | -0.00024891 | 6.757 | 6.4502 | 0.016422 | -0.30675
2019-043-0046.mrg | 2019-043-0046.sam | 241 | 4.97 | 4.9701 | 0.030734 | 6.2466e-05 | 6.953 | 6.7448 | 0.012266 | -0.20814
2019-043-0046.mrg | 2019-043-0046.sam | 241 | 1.793 | 1.7926 | 0.031031 | -0.00040245 | 7.035 | 6.6599 | 0.0088059 | -0.3751
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 9
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2019-043-0006.mrg | 2019-043-0006.sam | 11 | 15 | 2019-043-0006.mrg & 2019-043-0006.sam
2 | 2019-043-0015.mrg | 2019-043-0015.sam | 17 | 22 | 2019-043-0015.mrg & 2019-043-0015.sam
3 | 2019-043-0021.mrg | 2019-043-0021.sam | 24 | 29 | 2019-043-0021.mrg & 2019-043-0021.sam
4 | 2019-043-0031.mrg | 2019-043-0031.sam | 31 | 36 | 2019-043-0031.mrg & 2019-043-0031.sam
5 | 2019-043-0035.mrg | 2019-043-0035.sam | 38 | 43 | 2019-043-0035.mrg & 2019-043-0035.sam
6 | 2019-043-0038.mrg | 2019-043-0038.sam | 45 | 51 | 2019-043-0038.mrg & 2019-043-0038.sam
7 | 2019-043-0042.mrg | 2019-043-0042.sam | 53 | 58 | 2019-043-0042.mrg & 2019-043-0042.sam
8 | 2019-043-0044.mrg | 2019-043-0044.sam | 60 | 64 | 2019-043-0044.mrg & 2019-043-0044.sam
9 | 2019-043-0046.mrg | 2019-043-0046.sam | 66 | 72 | 2019-043-0046.mrg & 2019-043-0046.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (DOX_CTD - DOX_BOT) | DOX_CTD | 9
2 | (DOX_CTD - DOX_BOT) | Pressure | 9

## Fit_1
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.47895 |  | X | CALC Y
m= | -0.029071 | 0.0091423 |  | Std Dev of Resid |  | 0.037418 |  | 4.2515 | -0.18666
b= | -0.063063 | 0.052926 |  | Resid Sum of Squares |  | 0.015401 |  | 7.7584 | -0.28861
# of Values Extracted = |  |  | 54
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 30.9924 | 4.0732 | 0.036941 | -0.54078 | -0.18148 | 0.3593 |  | 4.3603 | -0.20674
1 | YES | 20.0126 | 4.3603 | 0.0039116 | -0.20674 | -0.18982 | 0.016923 |  | 6.5372 | -0.31381
1 | NO | 10.0069 | 5.3798 | 0.010095 | -0.41824 | -0.21946 | 0.19879 |  | 5.991 | -0.20003
1 | NO | 5.0334 | 6.2777 | 0.0093073 | -0.36829 | -0.24556 | 0.12273 |  | 4.4017 | -0.20326
1 | YES | 1.9906 | 6.5372 | 0.0065809 | -0.31381 | -0.25311 | 0.060699 |  | 4.2515 | -0.21946
2 | NO | 38.5922 | 3.0828 | 0.011699 | -0.70718 | -0.15268 | 0.5545 |  | 4.9855 | -0.16252
2 | NO | 30.032 | 4.3479 | 0.0093142 | -0.023128 | -0.18946 | -0.16633 |  | 7.7584 | -0.27965
2 | NO | 20.0151 | 4.6285 | 0.015111 | -0.14451 | -0.19762 | -0.053108 |  | 4.4662 | -0.16482
2 | YES | 10.018 | 5.991 | 0.091433 | -0.20003 | -0.23723 | -0.037194 |  | 6.8735 | -0.26853
2 | NO | 5.0442 | 7.5847 | 0.019774 | 0.079705 | -0.28356 | -0.36326 |  | 6.1964 | -0.23558
2 | NO | 1.9922 | 7.744 | 0.12561 | 0.048041 | -0.28819 | -0.33623 |  | 4.7801 | -0.19587
3 | NO | 41.9734 | 2.9515 | 0.0074314 | -0.5495 | -0.14887 | 0.40063 |  | 6.4502 | -0.30675
3 | NO | 30.0745 | 4.2834 | 0.011027 | -0.064639 | -0.18758 | -0.12295 |  | 6.7448 | -0.20814
3 | YES | 19.9952 | 4.4017 | 0.0070588 | -0.20326 | -0.19103 | 0.012235
3 | NO | 10.0128 | 6.7004 | 0.014964 | 0.20338 | -0.25785 | -0.46123
3 | NO | 5.0289 | 8.1653 | 0.24792 | -0.2957 | -0.30044 | -0.0047398
3 | NO | 1.9335 | 7.8193 | 0.10941 | -0.8837 | -0.29038 | 0.59332
4 | NO | 36.9712 | 3.4406 | 0.010449 | -0.62242 | -0.16308 | 0.45934
4 | NO | 30.0469 | 3.8718 | 0.0068322 | -0.1012 | -0.17562 | -0.074417
4 | YES | 20.0242 | 4.2515 | 0.010627 | -0.21946 | -0.18666 | 0.032801
4 | NO | 10.015 | 5.5942 | 0.034492 | 0.22622 | -0.22569 | -0.45191
4 | NO | 5.0976 | 8.7686 | 0.048228 | 1.1956 | -0.31797 | -1.5135
4 | NO | 1.7271 | 7.9403 | 0.020223 | -0.57974 | -0.29389 | 0.28584
5 | NO | 43.3982 | 3.6335 | 0.0082513 | -0.39053 | -0.16869 | 0.22184
5 | NO | 30.1955 | 3.911 | 0.017513 | -0.079967 | -0.17676 | -0.096794
5 | YES | 20.0147 | 4.9855 | 0.011521 | -0.16252 | -0.208 | -0.045473
5 | NO | 10.0292 | 8.59 | 0.047838 | 0.77996 | -0.31278 | -1.0927
5 | NO | 5.0553 | 8.2606 | 0.069648 | -0.46442 | -0.30321 | 0.16122
5 | NO | 1.4336 | 7.8269 | 0.017796 | -0.53208 | -0.2906 | 0.24148
6 | NO | 46.4866 | 3.7853 | 0.0077359 | -0.54866 | -0.17311 | 0.37555
6 | NO | 40.0158 | 4.2263 | 0.0095438 | -0.055681 | -0.18593 | -0.13025
6 | NO | 30.0301 | 4.5149 | 0.0075254 | -0.09605 | -0.19432 | -0.098268
6 | NO | 19.9722 | 4.7959 | 0.0093359 | -0.1071 | -0.20248 | -0.095381
6 | NO | 10.0163 | 6.6431 | 0.02288 | 0.4761 | -0.25618 | -0.73229
6 | YES | 5.036 | 7.7584 | 0.025768 | -0.27965 | -0.28861 | -0.0089543
6 | NO | 2.1099 | 7.8252 | 0.0187 | -0.43376 | -0.29055 | 0.14321
7 | NO | 36.21 | 4.2493 | 0.0089315 | -0.63972 | -0.18659 | 0.45312
7 | YES | 29.9731 | 4.4662 | 0.0069276 | -0.16482 | -0.1929 | -0.028083
7 | NO | 20.0312 | 4.8476 | 0.071128 | -0.028377 | -0.20399 | -0.17561
7 | NO | 10.0228 | 6.7217 | 0.016962 | 0.20268 | -0.25847 | -0.46115
7 | NO | 5.0231 | 6.7601 | 0.010757 | -0.34291 | -0.25959 | 0.083323
7 | YES | 2.1521 | 6.8735 | 0.02716 | -0.26853 | -0.26288 | 0.005645
8 | NO | 37.208 | 4.4454 | 0.010922 | -0.47262 | -0.19229 | 0.28033
8 | NO | 20.0037 | 5.2933 | 0.0089792 | -0.055722 | -0.21694 | -0.16122
8 | YES | 10.0012 | 6.1964 | 0.0090445 | -0.23558 | -0.2432 | -0.0076224
8 | NO | 4.9566 | 6.8901 | 0.10796 | -0.3519 | -0.26337 | 0.088536
8 | NO | 1.9516 | 6.9892 | 0.059004 | -0.41979 | -0.26625 | 0.15355
9 | NO | 53.8844 | 4.2467 | 0.010731 | -0.41127 | -0.18652 | 0.22475
9 | NO | 40.0987 | 4.6152 | 0.0081471 | 0.029241 | -0.19723 | -0.22647
9 | YES | 29.9722 | 4.7801 | 0.0094152 | -0.19587 | -0.20203 | -0.0061554
9 | NO | 20.0111 | 5.3242 | 0.023556 | 0.0072117 | -0.21784 | -0.22506
9 | YES | 10.0188 | 6.4502 | 0.016422 | -0.30675 | -0.25058 | 0.056177
9 | YES | 4.9701 | 6.7448 | 0.012266 | -0.20814 | -0.25914 | -0.050998
9 | NO | 1.7926 | 6.6599 | 0.0088059 | -0.3751 | -0.25667 | 0.11843
NO
YES
NO
NO
YES
NO
NO
NO
YES
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
YES
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.030223 |  | X | CALC Y
m= | -0.0041525 | 0.0032619 |  | Std Dev of Resid |  | 0.3485 |  | 1.4336 | -0.13033
b= | -0.12437 | 0.076262 |  | Resid Sum of Squares |  | 6.3154 |  | 53.8844 | -0.34813
# of Values Extracted = |  |  | 54
# of Values Used in Fit = |  |  | 54
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 30.9924 | 4.0732 | 0.036941 | -0.54078 | -0.25307 | 0.28771 |  | 30.9924 | -0.54078
1 | YES | 20.0126 | 4.3603 | 0.0039116 | -0.20674 | -0.20748 | -0.00073286 |  | 20.0126 | -0.20674
1 | YES | 10.0069 | 5.3798 | 0.010095 | -0.41824 | -0.16593 | 0.25232 |  | 10.0069 | -0.41824
1 | YES | 5.0334 | 6.2777 | 0.0093073 | -0.36829 | -0.14528 | 0.22302 |  | 5.0334 | -0.36829
1 | YES | 1.9906 | 6.5372 | 0.0065809 | -0.31381 | -0.13264 | 0.18116 |  | 1.9906 | -0.31381
2 | YES | 38.5922 | 3.0828 | 0.011699 | -0.70718 | -0.28463 | 0.42256 |  | 38.5922 | -0.70718
2 | YES | 30.032 | 4.3479 | 0.0093142 | -0.023128 | -0.24908 | -0.22595 |  | 30.032 | -0.023128
2 | YES | 20.0151 | 4.6285 | 0.015111 | -0.14451 | -0.20749 | -0.062976 |  | 20.0151 | -0.14451
2 | YES | 10.018 | 5.991 | 0.091433 | -0.20003 | -0.16597 | 0.034059 |  | 10.018 | -0.20003
2 | YES | 5.0442 | 7.5847 | 0.019774 | 0.079705 | -0.14532 | -0.22503 |  | 5.0442 | 0.079705
2 | YES | 1.9922 | 7.744 | 0.12561 | 0.048041 | -0.13265 | -0.18069 |  | 1.9922 | 0.048041
3 | YES | 41.9734 | 2.9515 | 0.0074314 | -0.5495 | -0.29867 | 0.25083 |  | 41.9734 | -0.5495
3 | YES | 30.0745 | 4.2834 | 0.011027 | -0.064639 | -0.24926 | -0.18462 |  | 30.0745 | -0.064639
3 | YES | 19.9952 | 4.4017 | 0.0070588 | -0.20326 | -0.2074 | -0.0041426 |  | 19.9952 | -0.20326
3 | YES | 10.0128 | 6.7004 | 0.014964 | 0.20338 | -0.16595 | -0.36933 |  | 10.0128 | 0.20338
3 | YES | 5.0289 | 8.1653 | 0.24792 | -0.2957 | -0.14526 | 0.15044 |  | 5.0289 | -0.2957
3 | YES | 1.9335 | 7.8193 | 0.10941 | -0.8837 | -0.1324 | 0.7513 |  | 1.9335 | -0.8837
4 | YES | 36.9712 | 3.4406 | 0.010449 | -0.62242 | -0.2779 | 0.34453 |  | 36.9712 | -0.62242
4 | YES | 30.0469 | 3.8718 | 0.0068322 | -0.1012 | -0.24914 | -0.14794 |  | 30.0469 | -0.1012
4 | YES | 20.0242 | 4.2515 | 0.010627 | -0.21946 | -0.20752 | 0.011937 |  | 20.0242 | -0.21946
4 | YES | 10.015 | 5.5942 | 0.034492 | 0.22622 | -0.16596 | -0.39218 |  | 10.015 | 0.22622
4 | YES | 5.0976 | 8.7686 | 0.048228 | 1.1956 | -0.14554 | -1.3411 |  | 5.0976 | 1.1956
4 | YES | 1.7271 | 7.9403 | 0.020223 | -0.57974 | -0.13155 | 0.44819 |  | 1.7271 | -0.57974
5 | YES | 43.3982 | 3.6335 | 0.0082513 | -0.39053 | -0.30458 | 0.085944 |  | 43.3982 | -0.39053
5 | YES | 30.1955 | 3.911 | 0.017513 | -0.079967 | -0.24976 | -0.16979 |  | 30.1955 | -0.079967
5 | YES | 20.0147 | 4.9855 | 0.011521 | -0.16252 | -0.20748 | -0.044962 |  | 20.0147 | -0.16252
5 | YES | 10.0292 | 8.59 | 0.047838 | 0.77996 | -0.16602 | -0.94598 |  | 10.0292 | 0.77996
5 | YES | 5.0553 | 8.2606 | 0.069648 | -0.46442 | -0.14537 | 0.31906 |  | 5.0553 | -0.46442
5 | YES | 1.4336 | 7.8269 | 0.017796 | -0.53208 | -0.13033 | 0.40176 |  | 1.4336 | -0.53208
6 | YES | 46.4866 | 3.7853 | 0.0077359 | -0.54866 | -0.31741 | 0.23125 |  | 46.4866 | -0.54866
6 | YES | 40.0158 | 4.2263 | 0.0095438 | -0.055681 | -0.29054 | -0.23486 |  | 40.0158 | -0.055681
6 | YES | 30.0301 | 4.5149 | 0.0075254 | -0.09605 | -0.24907 | -0.15302 |  | 30.0301 | -0.09605
6 | YES | 19.9722 | 4.7959 | 0.0093359 | -0.1071 | -0.20731 | -0.1002 |  | 19.9722 | -0.1071
6 | YES | 10.0163 | 6.6431 | 0.02288 | 0.4761 | -0.16597 | -0.64207 |  | 10.0163 | 0.4761
6 | YES | 5.036 | 7.7584 | 0.025768 | -0.27965 | -0.14529 | 0.13437 |  | 5.036 | -0.27965
6 | YES | 2.1099 | 7.8252 | 0.0187 | -0.43376 | -0.13314 | 0.30063 |  | 2.1099 | -0.43376
7 | YES | 36.21 | 4.2493 | 0.0089315 | -0.63972 | -0.27473 | 0.36498 |  | 36.21 | -0.63972
7 | YES | 29.9731 | 4.4662 | 0.0069276 | -0.16482 | -0.24884 | -0.084019 |  | 29.9731 | -0.16482
7 | YES | 20.0312 | 4.8476 | 0.071128 | -0.028377 | -0.20755 | -0.17918 |  | 20.0312 | -0.028377
7 | YES | 10.0228 | 6.7217 | 0.016962 | 0.20268 | -0.16599 | -0.36867 |  | 10.0228 | 0.20268
7 | YES | 5.0231 | 6.7601 | 0.010757 | -0.34291 | -0.14523 | 0.19768 |  | 5.0231 | -0.34291
7 | YES | 2.1521 | 6.8735 | 0.02716 | -0.26853 | -0.13331 | 0.13522 |  | 2.1521 | -0.26853
8 | YES | 37.208 | 4.4454 | 0.010922 | -0.47262 | -0.27888 | 0.19374 |  | 37.208 | -0.47262
8 | YES | 20.0037 | 5.2933 | 0.0089792 | -0.055722 | -0.20744 | -0.15172 |  | 20.0037 | -0.055722
8 | YES | 10.0012 | 6.1964 | 0.0090445 | -0.23558 | -0.1659 | 0.069673 |  | 10.0012 | -0.23558
8 | YES | 4.9566 | 6.8901 | 0.10796 | -0.3519 | -0.14496 | 0.20694 |  | 4.9566 | -0.3519
8 | YES | 1.9516 | 6.9892 | 0.059004 | -0.41979 | -0.13248 | 0.28731 |  | 1.9516 | -0.41979
9 | YES | 53.8844 | 4.2467 | 0.010731 | -0.41127 | -0.34813 | 0.063143 |  | 53.8844 | -0.41127
9 | YES | 40.0987 | 4.6152 | 0.0081471 | 0.029241 | -0.29088 | -0.32012 |  | 40.0987 | 0.029241
9 | YES | 29.9722 | 4.7801 | 0.0094152 | -0.19587 | -0.24883 | -0.052962 |  | 29.9722 | -0.19587
9 | YES | 20.0111 | 5.3242 | 0.023556 | 0.0072117 | -0.20747 | -0.21468 |  | 20.0111 | 0.0072117
9 | YES | 10.0188 | 6.4502 | 0.016422 | -0.30675 | -0.16598 | 0.14078 |  | 10.0188 | -0.30675
9 | YES | 4.9701 | 6.7448 | 0.012266 | -0.20814 | -0.14501 | 0.063133 |  | 4.9701 | -0.20814
9 | YES | 1.7926 | 6.6599 | 0.0088059 | -0.3751 | -0.13182 | 0.24328 |  | 1.7926 | -0.3751
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE