## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2020/04/14 13:31:02 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_BOT | Sal0 |  | Sal0 - Sal_BOT
Comp 2 | Sal_BOT | Sal1 |  | Sal1 - Sal_BOT
Average Size: | 0.2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_BOT | Sal0 | Sal0 | (S-P) | Sal_BOT | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2019-043-0006.mrg | 2019-043-0006.sam | 241 | 20.013 | 20.0126 | 0.030596 | -0.00041962 | 29.602 | 29.6299 | 0.00096052 | 0.027937 | 29.602 | 29.6279 | 0.00077844 | 0.025881
2019-043-0015.mrg | 2019-043-0015.sam | 240 | 30.032 | 30.0311 | 0.030509 | -0.00086594 | 29.7282 | 29.7366 | 0.002713 | 0.0084305 | 29.7282 | 29.7347 | 0.0011141 | 0.006546
2019-043-0021.mrg | 2019-043-0021.sam | 241 | 30.074 | 30.0745 | 0.034703 | 0.00045395 | 29.7303 | 29.7346 | 0.00045409 | 0.0042858 | 29.7303 | 29.7332 | 0.00035756 | 0.0029221
2019-043-0031.mrg | 2019-043-0031.sam | 241 | 30.047 | 30.0469 | 0.053492 | -0.00012207 | 29.7242 | 29.7234 | 0.00033049 | -0.0008316 | 29.7242 | 29.7214 | 0.00045677 | -0.0027771
2019-043-0035.mrg | 2019-043-0035.sam | 240 | 30.196 | 30.1965 | 0.038523 | 0.00047111 | 29.7402 | 29.735 | 0.0006237 | -0.0051975 | 29.7402 | 29.735 | 0.0012907 | -0.0051537
2019-043-0038.mrg | 2019-043-0038.sam | 241 | 46.487 | 46.4866 | 0.032119 | -0.00044632 | 29.7764 | 29.773 | 0.0014697 | -0.0033894 | 29.7764 | 29.7738 | 0.00047668 | -0.0026207
2019-043-0042.mrg | 2019-043-0042.sam | 236 | 29.973 | 29.9777 | 0.037104 | 0.0046902 | 29.7572 | 29.7598 | 0.0011742 | 0.0026016 | 29.7572 | 29.7607 | 0.0012106 | 0.0035267
2019-043-0044.mrg | 2019-043-0044.sam | 241 | 20.004 | 20.0037 | 0.030056 | -0.00030708 | 29.5902 | 29.523 | 0.0016816 | -0.067207 | 29.5902 | 29.5259 | 0.0014201 | -0.064289
2019-043-0046.mrg | 2019-043-0046.sam | 241 | 40.099 | 40.0987 | 0.030862 | -0.00032425 | 29.9289 | 29.872 | 0.0033425 | -0.056894 | 29.9289 | 29.8717 | 0.0042887 | -0.057198
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 9
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2019-043-0006.mrg | 2019-043-0006.sam | 12 | 12 | 2019-043-0006.mrg & 2019-043-0006.sam
2 | 2019-043-0015.mrg | 2019-043-0015.sam | 14 | 14 | 2019-043-0015.mrg & 2019-043-0015.sam
3 | 2019-043-0021.mrg | 2019-043-0021.sam | 16 | 16 | 2019-043-0021.mrg & 2019-043-0021.sam
4 | 2019-043-0031.mrg | 2019-043-0031.sam | 18 | 18 | 2019-043-0031.mrg & 2019-043-0031.sam
5 | 2019-043-0035.mrg | 2019-043-0035.sam | 20 | 20 | 2019-043-0035.mrg & 2019-043-0035.sam
6 | 2019-043-0038.mrg | 2019-043-0038.sam | 22 | 22 | 2019-043-0038.mrg & 2019-043-0038.sam
7 | 2019-043-0042.mrg | 2019-043-0042.sam | 24 | 24 | 2019-043-0042.mrg & 2019-043-0042.sam
8 | 2019-043-0044.mrg | 2019-043-0044.sam | 26 | 26 | 2019-043-0044.mrg & 2019-043-0044.sam
9 | 2019-043-0046.mrg | 2019-043-0046.sam | 28 | 28 | 2019-043-0046.mrg & 2019-043-0046.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_BOT) | Pressure | 9
2 | (Sal1 - Sal_BOT) | Pressure | 9

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.17085 |  | X | CALC Y
m= | -0.00022356 | 0.00028435 |  | Std Dev of Resid |  | 0.0041744 |  | 29.9777 | 0.00024913
b= | 0.0069509 | 0.0096667 |  | Resid Sum of Squares |  | 5.2277e-05 |  | 46.4866 | -0.0034416
# of Values Extracted = |  |  | 9
# of Values Used in Fit = |  |  | 5
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid | bottle | X | Y
1 | NO | 20.0126 | 29.6299 | 0.00096052 | 0.027937 | 0.0024769 | -0.02546 | 29.602 | 30.0745 | 0.0042858
2 | NO | 30.0311 | 29.7366 | 0.002713 | 0.0084305 | 0.00023719 | -0.0081933 | 29.7282 | 30.0469 | -0.0008316
3 | YES | 30.0745 | 29.7346 | 0.00045409 | 0.0042858 | 0.00022749 | -0.0040583 | 29.7303 | 30.1965 | -0.0051975
4 | YES | 30.0469 | 29.7234 | 0.00033049 | -0.0008316 | 0.00023366 | 0.0010653 | 29.7242 | 46.4866 | -0.0033894
5 | YES | 30.1965 | 29.735 | 0.0006237 | -0.0051975 | 0.00020022 | 0.0053977 | 29.7402 | 29.9777 | 0.0026016 | -0.00050621
6 | YES | 46.4866 | 29.773 | 0.0014697 | -0.0033894 | -0.0034416 | -5.2208e-05 | 29.7764
7 | YES | 29.9777 | 29.7598 | 0.0011742 | 0.0026016 | 0.00024913 | -0.0023525 | 29.7572
8 | NO | 20.0037 | 29.523 | 0.0016816 | -0.067207 | 0.0024789 | 0.069686 | 29.5902
9 | NO | 40.0987 | 29.872 | 0.0033425 | -0.056894 | -0.0020135 | 0.054881 | 29.9289
NO
NO
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.11067 |  | X | CALC Y
m= | -0.00022628 | 0.00032071 |  | Std Dev of Resid |  | 0.0048079 |  | 29.9777 | 0.0010463
b= | 0.0078296 | 0.010702 |  | Resid Sum of Squares |  | 9.2465e-05 |  | 46.4866 | -0.0026892
# of Values Extracted = |  |  | 9
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y |  | Sal0 | Sal1 | sal1-sal0
1 | NO | 20.0126 | 29.6279 | 0.00077844 | 0.025881 | 0.0033012 | -0.02258 |  | 30.0311 | 0.006546 |  | 29.6299 | 29.6279 | -0.002
2 | YES | 30.0311 | 29.7347 | 0.0011141 | 0.006546 | 0.0010343 | -0.0055118 |  | 30.0745 | 0.0029221 |  | 29.7366 | 29.7347 | -0.0019
3 | YES | 30.0745 | 29.7332 | 0.00035756 | 0.0029221 | 0.0010244 | -0.0018976 |  | 30.0469 | -0.0027771 |  | 29.7346 | 29.7332 | -0.0014
4 | YES | 30.0469 | 29.7214 | 0.00045677 | -0.0027771 | 0.0010307 | 0.0038078 |  | 30.1965 | -0.0051537 |  | 29.7234 | 29.7214 | -0.002
5 | YES | 30.1965 | 29.735 | 0.0012907 | -0.0051537 | 0.00099683 | 0.0061505 |  | 46.4866 | -0.0026207 |  | 29.735 | 29.735 | 0
6 | YES | 46.4866 | 29.7738 | 0.00047668 | -0.0026207 | -0.0026892 | -6.8521e-05 |  | 29.9777 | 0.0035267 | 0.00040722 | 29.773 | 29.7738 | 0.0008
7 | YES | 29.9777 | 29.7607 | 0.0012106 | 0.0035267 | 0.0010463 | -0.0024804 |  |  |  |  | 29.7598 | 29.7607 | 0.0009
8 | NO | 20.0037 | 29.5259 | 0.0014201 | -0.064289 | 0.0033032 | 0.067592 |  |  |  |  | 29.523 | 29.5259 | 0.0029
9 | NO | 40.0987 | 29.8717 | 0.0042887 | -0.057198 | -0.0012438 | 0.055954 |  |  |  |  | 29.872 | 29.8717 | -0.0003
[13 empty] | average | -0.00033333
NO
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE