File List for SeaBird Data          Cruise Number: _2019-050____

[osdcommon\cruise_data\2019-050\ARCHIVE]

[osdcommon\cruise_data\2019-050\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2019-050\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2019-050\ARCHIVE\CTD_Photos] Equipment photos

[osdcommon\cruise_data\2019-050\ARCHIVE\DOC] documents from RAW and PROCESSING

[osdcommon\cruise_data\2019-050\ARCHIVE\DOC\HYDRO] COMPARE files and reports

[osdcommon\cruise_data\2019-050\ARCHIVE\DOC\TSG]

[osdcommon\cruise_data\2019-050\ARCHIVE\LOGS] scanned logs

-----------------------------------------------------------------------------------------------------------------------------------

[osdcommon\cruise_data\2019-050\PROCESSING]

[osdcommon\cruise_data\2019-050\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2019-050\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2019-050\PROCESSING\DOC]

2019-050-recal1.ccf – calibration control file for SBE911

2019-050-ctd.xmlcon – configuration file used in processing for SBE911

2019-050_File.doc - this document

2019-050_Processing_Report.doc - processing notes

2019-050-ctd-final.rpt – CTD file header check including channel summary

2019-050-ctd-xref.txt – cross reference list of CTD files –both CTDs

2019-050-altimeter-ctd.xlsx – report on header entries for altimetry

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2019-050\PROCESSING\DOC\hydro]

2019-050chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2019-050nuts.csv – nutrients simplified from analyst’s s/s

2019-050oxy.csv – nutrients simplified from analyst’s s/s

2019-050sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2019-050-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2019-050-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2019-050-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2019-050-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2019-050-sal-comp1.csv & xlsx –initial comparison of bottle salinity & CTD salinity

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2019-050-bottles-final.xlsx – summary of bottle data in CHE files

2019-050-che-final.rpt – final header check of bottle files

2019-050- altimeter-che.xlsx – altimetry and water depth information

2019-050-che-xref.txt – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2019-050\PROCESSING\DOC\TSG]

2019-050-ctd-tsg-comp.xlsx – Comparison of TSG and CTD (2m) data

2019-050 TSG.xmlcon – configuration file

2019-050-tsg-recal1.ccf – calibration control file

*.txt –header comments

[osdcommon\cruise_data\2019-050\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.ed1 & log – output from editing of file 98

*.mrg – after addition of bottle data to BOT files

*.mrgrem – last step before Change Units for DO

*.mrgreo – just before final head edits – use if need to adjust comments/formats

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2019-050\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd-  final files

*.del – after DELETE

*.edt & *.log- editing output (EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.rem – after REMOVE

*.reo– just before final Header Edit – use if need to update comments

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2015-17\PROCESSING\TSG] before conversion to IOS SHELL

*.cnv – files after Sea-Bird conversion

[osdcommon\cruise_data\2015-17\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.add – after addition of time/date channel

*.atc – after adding positions and times to headers

*.cor1 – after recalibration

*.ed1 & *.log – editing files

*.rem- just before header editing

*.ios – after conversion to IOS HEADERS

*.tob – final TSG files