File List for SeaBird Data          Cruise Number: _2019-068____

[osdcommon\cruise_data\2019-068\ARCHIVE]

[osdcommon\cruise_data\2019-068\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2019-068\ARCHIVE\DOC] documents from RAW and PROCESSING

[osdcommon\cruise_data\2019-068\ARCHIVE\LOGS] scanned log

-----------------------------------------------------------------------------------------------------------------------------------

[osdcommon\cruise_data\2019-068\PROCESSING]

[osdcommon\cruise_data\2019-068\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2019-068\PROCESSING\DERIVE]*.CNV – after derive

[osdcommon\cruise_data\2019-068\PROCESSING\DOC]

2019-068-recal1-sbe25.ccf – calibration control file for SBE25 pressure correction

2019-068-recal1-sbe911.ccf – calibration control file for SBE911 DO correction

2019-068-ctd1.xmlcon – configuration files used in processing SBE25

2019-068-ctd2.xmlcon – configuration files used in processing SBE911

2019-068_File.doc - this document

2019-068_Processing_Report.doc - processing notes

2019-068-ctd-final.rpt – CTD file header check including channel summary

2019-068-ctd-xref.txt – cross reference list of CTD files –both CTDs

2019-068-altimeter-ctd.csv – report on header entries for altimetry (SBE911 only)

Clip.csv – spreadsheet of # of “soak” records to remove from start of SBE25.

Study of SBE25 pressure calibration.xlsx – how to correct for error in pressure range

2019-068-hdr*.txt – header files with comments for each type of CTD

[osdcommon\cruise_data\2019-068\PROCESSING\IOS] after conversion to IOS SHELL

*.atc – files after correction of time zones (SBE25 only)

*.avg - data after metre-averaging using BINAVE

*.clip – after removing 10m soak data (SBE25 only)

*.cln - data after conversion to IOS HEADERS and CLEAN (and CLIP for sbe25)

*.cor1 – after recalibration (Press for SBE25; DO for SBE911 files)

*.ctd-  final files

*.del – after DELETE

*.edt & *.log- editing output (EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.rem – after removing depth (SBE25 only)

*.rem2 – after bin-average - final REMOVE

*.reo– just before final Header Edit – use if need to update comments

Delete.log - log from routine DELETE