## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 27 March 2023 | Added HPLC data J.R. |

## PROCESSING NOTES

Cruise: 2020-007

Agency: IOS, Ocean Sciences Division, Sidney BC

Chief Scientist: Young K.  		Platform: Neocaligus

Location: Strait of Georgia		Project: Strait of Georgia Zooplankton

Date: 16 March 2020 – 20 March 2020

Processed by: Germaine Gatien

Date of Processing: 4 August 2020 –   12 August 2020

Number of original HEX files: 28

Number of CTD files: 28		Number of BOT files: 16

# INSTRUMENT SUMMARY

A SeaBird Model SBE-25 CTD (s/n 0334) was used with temperature sensor #5130, conductivity sensor #3500, Wetlabs ECO Fluorometer #4185, dissolved oxygen sensor #3234 and pressure sensor 0573.

# SUMMARY OF QUALITY AND CONCERNS

The log book was in good order.

File names were non-standard –the events numbers were 3 digits instead of 4.

Header information was entered in the raw files in a format that enabled easy conversion into IOS Header format.

The times in the log book were UTC. The file times were in PST but also a day later than recorded in the log book. Processed files have UTC times and corrected dates.

The downcast data were poor near the surface for event #26, so upcast data were selected for the archive.

There were surface bottles fired at 16 sites; they were given separate event numbers from the CTD casts. At 5 of those sites there was also a Niskin mounted 1m above the CTD to collect near-bottom samples. In the BOT files all sample data are identified by the event number of the corresponding CTD cast.

Bottle samples were available for salinity, chlorophyll and nutrients. They suggest that the CTD salinity was reading a little high, but incomplete flushing of Niskin bottles probably explains the differences seen so no recalibration was applied to CTD salinity. Salinity accuracy is considered ±0.003psu, though errors are likely larger in regions of high vertical gradient.

Extracted chlorophyll samples were taken at the surface. The CTD fluorescence near the surface compared well with the samples.

# PROCESSING SUMMARY

1. Seasave - This step was completed at sea. The file names were in non-standard format.

The names were corrected after conversion to CNV format.

2. Preliminary Steps

The Daily Log, rosette logs and a spreadsheet of sampling done were obtained.

The deployment method used was as follows:

- The CTD was switched on, a 2-minute timer was started and the CTD was put in the water. It was taken down to 10m and after 30s returned to the surface where there was a wait until the 2 minutes were up. The full cast was then started. This method can be helpful as by removing the first 940 records the initial soak can be removed in most cases.

- Bottle deployments for most stations were taken at 0m only. For 5 stations there was sampling using a Niskin bottle mounted 1m above the CTD frame; there were notes in the log about the distance between the Niskin and CTD frame for each cast.

The cruise summary sheet was completed.

No instrument problems were noted in the log.

## 3. Conversion of Raw Data

The configuration file used at sea was correct. It was saved as 2020-007-ctd.xmlcon and used to convert all HEX files..

Plots of a selection of casts showed that surface pressures look good with upcast conductivity falling to about 0 when pressure is <0.1db. The deep fluorescence values are about 0.3ug/L and there is no sign of the deep spikes noted during some 2020-047 casts when this equipment was last used. All expected variables are present and values look reasonable.

There is the usual steppy pressure which leads to unusual profiles.

4. WILDEDIT

The only spikes noted in the data occurred at the beginning or end of the casts and will be removed in the normal course of processing. WILDEDIT was not run.

5. FILTER

Normally pressure is filtered later in processing when running DELETE, but the poor resolution of this instrument means it is necessary to do this early to make sense of the other data which update more often than pressure. So program FILTER was used to apply a low-pass filter with a time constant of 0.5 seconds to pressure. The results were excellent.

Next the temperature and conductivity were examined and the usual approach of applying a cosine filter size 5 in routine WFILTER did a good job of removing small reversals.

6. ALIGNCTD

Based on tests run for other cruises in this project using the same DO sensor, ALIGNCTD was run on all casts to advance the DO channel by 2.5s. Plots were examined after this step and the results look excellent.

7. CELLTM

CELLTM was run on all casts using the SeaBird recommended parameters, (α, 1/β) = (0.04, 8).

8. DERIVE

Program DERIVE was run to calculate salinity, dissolved oxygen concentration (tau correction included) and descent rate. Plots were examined and confirmed that steps 5, 6 and 7 had improved the data.

9.  Conversion to IOS Headers

The IOSSHELL routine was used to convert the CNV files to IOS Headers.

CLEAN was run to add event numbers and replace pad values in the pressure channel with interpolated values.

A header check was run and found no positions for the 2 casts, so the header format was fixed in the CNV files (adding missing hemisphere entries) and conversion rerun.

There were no negative fluorescence values.

The next step is to remove the data collected during soaks at 10m. Plots were examined to see how many records needed to be removed. There was considerable variability in this with about 940 records looking right for about half the casts.

CLIP was run to remove 940 records from all casts and then individual files were clipped with appropriate settings for those identified as having shorter or longer initial sections.

Plots made after running CLIP until no further adjustments were needed.

10. Checking Headers

A cross-reference list was produced and compared with the log book entries. The only error found was that the dates in the log book are 1 day earlier than those in the files. The project chief was consulted and says that the logs are correct. So 1 day needs to be subtracted from the file times and 8 hours added to change to UTC, for a net correction of -16 hours.

ADD TIME CHANNEL was run to subtract 16 hours.

Track plots looked ok so were added to the end of this report.

HEADER CHECK was run. There only negative values found appear to be pressure values at the end of casts; those are very small and are not in the downcasts so are no problem.

The pressure sensor has a 2800db range so the resolution is only 0.45db and accuracy is ±2.6db so even with surface data it is difficult to assess. The surface check shows an average of 0.3db before CLIP was run. The range was from 0.05 to 0.92db.

##### 11. SHIFT

Conductivity

Tests were run to see what shift to conductivity made the best improvement to stability in T-S space. A shift of +0.5 records was found to be best for 2020-047 and worked well with these data too.

SHIFT was run applying a shift of +0.5 records to all casts.

Fluorescence

The fluorometer was not pumped, so a shift in alignment is expected to be small or unnecessary. Profile plots of temperature and fluorescence were examined and confirm that the alignment is reasonably good.

Dissolved Oxygen

This channel was aligned earlier, but checks were made by examining plots of temperature and dissolved oxygen. The alignment looks good. No further adjustment was made.

##### 12. DELETE

DELETE was run on all casts using the following parameters:

Surface Record Removal: Last Press Min.	Surface Swell Pressure Tolerance: 1.0

Swells deleted. Warning message if pressure difference of 2.00

Drop rates < 0.3m/s (calculated over 5 points) was deleted from 10db to 10db above the maximum pressure.

COMMENTS ON WARNINGS: The only warnings pertain to the upcast and will not affect downcasts.

REVERSE was run on all casts followed by a second run of DERIVE to produce DELREV files. This will enable a choice of upcast data.

13. DETAILED EDITING

All DEL files were copied to *.EDT.

The data look good on T-S plots except at the surface and bottom of many casts, so all files were opened in CTDEDIT for further assessment possible editing.

26 of 28 casts were edited lightly, mostly removing some corrupted records near the top and bottom of casts.

Cast #26 had very poor data in the top 6db. The upcast data look better, so the data from the DELREV file were edited instead.

Notes of editing details were made in the headers.

T-S plots were examined after this step and no significant problems were found; there are small unstable features but this is an area where some instability is expected.

##### 14. Initial Bottle Data Steps

There was no rosette available for this cruise. There were surface bottles fired at 16 sites; they were given separate event numbers from the CTD casts. At 5 of those sites there was also a Niskin mounted above the CTD to collect near-bottom samples.

BOT files were prepared with the sample data plus CTD data gathered at the same site.

The event numbers will be those of the CTD cast at the site.

Each of the analysis spreadsheets were examined to see what comments the analysts wanted included in the header file. These were used to create file 2020-007-bot-hdr.txt which will be updated as needed during processing. The spreadsheets for chlorophyll and nutrients include a precision study.

- Extracted chlorophyll and phaeo-pigment data were obtained in file QF 2020-007 CHL*.xlsx.

- Salinity analysis was obtained in spreadsheet QF 2020-007 SAL*.xlsx.

- Nutrient analysis was obtained in spreadsheet QF2020-007 nuts*.xlsx.

Workbook 2020-007-bottles_CTD_comparison.xlsx was created. Data from the QF worksheets were added to one sheet of the workbook. A separate sheet with a 6-line header was prepared which combined entries from the event log relevant to Niskin sampling, bottle data and CTD data at bottle depths. Another sheet was used to do a comparison of CTD and bottle data for salinity and extracted CHL.

To select CTD data to go with the bottle samples, a list of depths sampled in increasing order was prepared. For the deep samples there is an estimate of height above the CTD frame. CTD salinity and fluorescence data were then compared with bottle data in the Comparisons worksheet.

On one worksheet the data were organized with a 6-line header which was saved separately as a CSV file, 2020-007-bottle-plus_CTD-6linehdr.csv.

##### 15. Compare

One sheet in workbook 2020-007-bottle_plus_CTD.xlsx was used to do a comparison between the bottles and CTD. At the end of CTD processing this step was updated by choosing edited, bin-averaged data. For events 13 and 32 there were no data close enough to the surface for a good comparison so upcast data were selected.

Salinity Comparison

CTD salinity was found to be higher than bottle salinity by an average of 0.0036psu with a range 0.0015 to 0.0050psu. This is similar to results from cruise 2020-047.

Given that these data came from the bottom of a cast we expect that incomplete flushing of Niskin bottles would lead to bottle contents having fresher water than the ambient water measured by the CTD. A quick examination of vertical gradients in the bottom 10m indicates an average difference of 0.002psu per 10m. It is also noted that the smallest differences between bottle and CTD were from casts in the central Strait of Georgia where conditions might lead to better flushing. So the CTD salinity calibration looks to be within ±0.003psu.

For more details see the “comparisons” worksheet in file 2020-007-bottles_CTD_comparison.xlsx.

Fluorescence

The only extracted chlorophyll sampling was at the surface. Fluorescence data were taken from between 1db and 2db, The fit of CTD Fluorescence against Extracted Chlorophyll from surface bottles was very good. For more details see the “comparisons” worksheet in file 2020-007-bottle_plus_CTD.xlsx.

16. Other calibration checks

Sensor History – The pressure sensor had been used on 4 previous cruises with no problems noted. Temperature, conductivity, fluorescence and dissolved oxygen sensors had been used during cruise 2020-047 in February. Limited calibration information suggested that salinity was within expected accuracy. There was no dissolved oxygen calibration sampling and the range of chlorophyll was small and values too low to provide significant information about the fluorometer.

Historic Ranges – Temperature data all fell within the historic range. All salinity values were within the climatology except for the near-shore cast at station 56 which had notably high salinity below 100db. The temperature was very well mixed at this cast and the T-S plot looks stable. This excursions from the climatology looks real and not indicative of calibration problems.  The climatology is old and this type of climatology is not recommended for near-shore casts.

Post-cruise calibrations – None were available.

17. CALIBRATE

The pressure and salinity appear to be within expected accuracy.

For dissolved oxygen there is insufficient evidence upon which to base any recalibration. There was no calibration sampling; the surface saturation values look reasonable. See section 19 for details.

18. Fluorescence Filter

The fluorescence data was not filtered as it had little effect on the data.

19. Bin Average, Remove, Derive DO in mass units, Reorder

The files were bin averaged using 1db bins.

REMOVE was run to remove Scan_Number, Oxygen:Voltage, Descent Rate and Flag channels.

Dissolved Oxygen was derived in mass units and that was used to calculate DO saturation. Plots of near-surface saturation show a range of 85 to 140% with most between 100% and 120%. Temperature profiles showed that casts were mostly well-mixed in the top 50m or had temperature increasing slightly with depth. But for the cases with high DO saturation there was a shallow surface layer with temperature decreasing with depth.

REORDER was used to get the 2 dissolved oxygen channels together.

20. HEADER EDIT and final checks of CTD files.

Header Edit was used to fix headers, fix formats and to add comments about processing.

A cross-reference listing was produced.

A header check and standards check were run on the CTD files and no errors were found.

The sensor history was updated.

Plots of CTD casts were examined and no problems were found.

##### 20. Final BOT file preparation

To enable searching of bottle data, BOT casts were created that contain sample data and CTD data from the downcast at the same site. The event number will match the CTD cast.

Near-surface data from the *.CTD files were selected for the bottle files.

The spreadsheet file 2020-007-bottle-plus_CTD-6linehdr.csv was converted to IOS Header files for each cast. The time and date are present as channels as these cannot be converted directly into header entries.

CLEAN was run to add START and END time. The END TIME is identical so the START time so it will be removed later. CLEAN was also used to enter 0 flags where the flag channels are empty and to remove channels with only pad values.

REMOVE was run to remove the DATE and TIME channels.

DERIVE was run to get DO in mass units.

SORT was run to order records on increasing pressure.

HEADEDIT was used to add comments and to remove the END time since it is the same as START TIME.

The final files have extensions BOT.

The standards check was run until all errors had been corrected.

A cross-reference list and header check were run on the BOT files and no problems were found.

Plots were made of all BOT casts. No problems were found.

Finally all data from BOT files were extracted to a spreadsheet and compared to the rosette sheets; no problems were found.

PARTICULARS –

- All times are UTC in the log book but in PST in the files.

- CTD Deployment method: Timer set to 2 minutes. CTD down to 10m for soak until 1m 30s mark, bought back to surface to sit until 2 minutes are up. Then full cast begins.

- BOTTLES: For 16 stations there was a single surface bottle fired as a separate event using 1.7L bottles. During 5 of the CTD casts there was a Niskin bottle mounted 1m above the CTD frame which was fired 10m above the bottom.

26. Downcast data poor near surface, so upcast chosen for archive.

43. Sampling log for samples at station 39 labelled as events 39/40. Identified as event 43/44 in Daily Science Log and analysis spreadsheets. There is also a note about an empty vial for CHL labelled as #15 but data were found for #15.

CRUISE SUMMARY

| Cruise ID#: 2020-007 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Dates: Start: 16 March 2020 End: 16 March 2020 |  |  |  |  |  |  |
| Location: Strait of Georgia Zooplankton |  |  |  |  |  |  |
| Chief Scientist: Young K. |  |  |  |  |  |  |
| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |  |
| 1 | SEABIRD | 25 | 573 | No | Yes |  |

CTD CALIBRATION INFORMATION

Make/Model/Serial#:	SEABIRD/SBE25/0334	Cruise ID#:		2020-007

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 5130 | 12Dec2019 | Factory |  |  |
| Conductivity | 3500 | 17Dec2019 | Factory |  |  |
| ECO Fluorometer | 4185 | 11Dec2019 | Factory |  |  |
| SBE43 Oxygen | 3234 | 6Dec2019 | Factory |  |  |
| Pressure | 0573 | 1Feb2019 | Factory |  |  |