File List for SeaBird Data          Cruise Number: _2020-028____

[osdcommon\cruise_data\2020-028\ARCHIVE]

[osdcommon\cruise_data\2020-028\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2020-028\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2020-028\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2020-028\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2020-028\ARCHIVE\DOC\TSG] TSG documents

[osdcommon\cruise_data\2020-028\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2020-028\ARCHIVE\Underway] TSG, Loop file, SCS file

[osdcommon\cruise_data\2020-028\PROCESSING]

[osdcommon\cruise_data\2020-028\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2020-028\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2020-028\PROCESSING\DOC]

2020-028 Sampling notes.doc – notes from Chief Scientist

2020-028-recal1.ccf – calibration control files

2020-028-ctd.xmlcon –configuration file used in processing

2020-028_File.doc - this document

2020-028_Processing_Report.doc - processing notes

2020-028-ctd-final.rpt – CTD file header check including channel summary

2020-028-ctd-xref.lis – cross reference list of CTD files

2020-028-altimeter-ctd.xlsx – report on header entries for altimetry

*hdr.txt – header files with comments for CTD files

[osdcommon\cruise_data\2020-028\PROCESSING\DOC\hydro]

2020-028chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2020-028nuts.csv – nutrients simplified from analyst’s s/s

2020-028oxy.csv – nutrients simplified from analyst’s s/s

2020-028sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2020-028-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2020-028-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2020-028-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2020-028-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2020-028-sal-comp1.csv & xlsx –initial comparison of rosette bottle and CTD salinity

2020-028-sal-comp2.csv & xlsx –comparison of rosette bottle and CTD after initial recal

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2020-028-bottles-final.xslx – summary of bottle data in CHE files

2020-028-che-final.rpt – final header check of bottle files

2020-028-che-xref.lis – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2020-028\PROCESSING\DOC\tsg]

2020-028-ctd-tsg-loop-rosette-comp.xlsx – comparison of TSG, loop, rosette and CTD data

2020-028-tsg-xref.lis – cross-reference list

2020-028-tsg-hdr.txt – header file with comments for TSG files

[osdcommon\cruise_data\2020-028\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgreo – after REORDER of DO channels – just before final step

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

[osdcommon\cruise_data\2020-028\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2020-028\PROCESSING\Loop] 5m rosette plus loop data

2020-028*.atc – che files with sigma-T derived, clipped to 7m, End Time added

2020-028-surface.loop – final file in IOS Header format with comments

2020-028-che-surface.csv – surface data from CHE files including CTD & bottle data.

2020-028-surface-6linehdr.csv – as above but with 6-line headers and loop data added

2020-028-0001.ios –6linehdr csv file converted to IOS Header format

2020-028-loop-hdr-comments.txt – header comments for the final loop file

[osdcommon\cruise_data\2020-028\PROCESSING\TSG] before conversion to IOS SHELL

*.csv – spreadsheet combining all raw files

[osdcommon\cruise_data\2020-028\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding Julian time

*.avg – averaged over 6 records to enable easy plotting

*.cln – after adding positions and times to headers and time/date channels

*.dqt2 – after 2 runs to derive salinity and sigma-T

*.ios – after conversion to IOS HEADERS

*.reo – after moving Time of Year channel lower in list

*.rem – after removing fluorescence, pressure, T difference and record # -2nd last step

*.tob – final TSG files