## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 19 March 2025 | Updated channel names & formats in TOB files. G.G. |
| 23 March 2023 | Added HPLC data. J.R. |

## PROCESSING NOTES

Cruise: 2020-031

Agency: OSD

Location: Strait of Georgia / Juan de Fuca Strait

Project: Strait of Georgia Water Properties Survey

Party Chief: Belton M.

Platform: Vector

Date: 7 October 2020 – 18 October 2020

Processed by: Germaine Gatien

Date of Processing: 18 December 2020 – 26 April 2021

Number of original HEX files: 90		Number of CTD files: 89 (1 file upcast only)

Number of original ROS files: 37		Number of CHE files: 37

Number of original TSG files: 2	 		Number of TOB files:  2

# INSTRUMENT SUMMARY

CTD #0550 was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#953DR), a SBE 43 DO sensor (#0997), a SeaPoint Fluorometer (#3949), a Biospherical QSP-400 PAR sensor (#4565), an SBE pH sensor (692) and an altimeter (43281). A Biosperical/Licor Surface PAR (#20518) was in use.

SeaBird SBE21 Thermosalinograph #2488 was used.

Seasave version 7.26.7.121 was used for CTD acquisition and 7.26.7.110 was used for TSG acquisition.

The data logging computer was Rowan’s “New gaming Laptop”.

The deck unit was a Seabird model 11+, serial number 0424.

The salinometer used at IOS was a Guildline model,  8400B Portasal, serial # 68572.

The oxygen kit was SIO-UV based Kit #1.

An IOS rosette with 24 10L bottles was used.

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science and Sampling Logs were in good order with comments on problems encountered.

The SBE DO sensor has a fairly long response time so data accuracy is not as high when it is in motion as it is during stops for bottles. This will be especially true when vertical DO gradients are large. To get an estimate of the accuracy of the SBE DO data during downcasts (after recalibration) a rough comparison was made between downcast SBE DO and upcast titrated samples. Some of the difference will be due to problems with flushing of Niskin bottles and/or analysis errors, so the following statement likely underestimates SBE DO accuracy.

Downcast (CTD files) Oxygen:Dissolved:SBE data are considered, very roughly, to be:

±0.50 mL/L from 0 to 50db

±0.20 mL/L from 50 to 200db

±0.05 mL/L below 200db

While CTD fluorescence data are expressed in concentration units, they do not always compare well to extracted chlorophyll samples. It is recommended that users check extracted chlorophyll values where available.

The pH:SBE:Nominal data should be used with caution; no field calibration data are available.

Calibration is required for each cast to get absolute values, although general trends within a cast are likely real. There are no pH:SBE data for cast #90 because the cap was left on the sensor.

No PAR:Reference data were acquired; the channel contained only noise.

There was no flow meter, intake thermistor or loop sampling. The thermosalinograph data were compared with data from co-incident CTD casts. The comparisons had a lot of scatter especially for salinity. A proxy for intake temperature was derived by subtracting 0.2C° from the lab temperature. Salinity was not recalibrated since it was the first use of these sensors since the last factory service and some casts showed only small differences between CTD and TSG salinity..

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

- The Log Book and rosette log sheets were obtained and contained details about problems encountered. Photos of CTD sensors were provided.

- Nutrients, extracted chlorophyll, dissolved oxygen and salinity data were obtained in QF spreadsheet format from the analysts.

- The cruise summary sheet was completed.

- The pressure, temperature, conductivity, transmissivity, pH and dissolved oxygen sensors had not been used since they were last serviced.

- The configuration file used for the 1st cast had the SPAR missing but that was fixed and there were no other errors. A configuration file that included the SPAR parameters was saved as 2020-031-ctd.xmlcon.

##### BOTTLE FILE PREPARATION

The ROS files were created using file 2020-031-ctd.xmlcon.

The ROS files were converted to IOS format. They were put through CLEAN to create BOT files.

Temperature and salinity were plotted for all BOT files and no significant outliers were found.

The BOT files were bin-averaged on bottle number and the output was used to create file ADDSAMP.csv. First, the file was sorted on event number and Bottle Position order. Then sample numbers were added based on the rosette logs.

Note that event 4 was changed to 3 since the cast was split due to a computer crash at the bottom.

The ADDSAMP file was sorted on event number & then sample number.

It was used to add sample numbers to the BOT files – output *.SAM.

The SAM files were bin-averaged on bottle # and called SAMAVG.

The addsamp.csv file was converted to CST files, which will form the framework for the bottle files.

Next, each of the analysis spreadsheets were examined to see what comments the analysts wanted included in the header file. These were used to create file 2020-031-bot-hdr.txt which will be updated as needed during processing.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll and phaeo-pigment data were obtained in file QF2020-031chl*.xlsx. The file included comments and flags and a precision study. A simplified version of the spreadsheet was prepared and saved as 2020-031chl.csv. The csv file was then converted to individual CHL files.

DISSOLVED OXGYEN

Dissolved oxygen data were provided in spreadsheet QF2020-031oxy.xlsx which includes flags, comments and a precision study. Draw temperatures are available. The spreadsheet page with the final data was simplified and saved as 2020-031oxy.csv. That file was converted into individual *.OXY files.

Some bottles were flagged due to problems that will affect other samples but only nutrients were collected from those bottles. The nutrient spreadsheet was checked and those flags added where appropriate.

SALINITY

Salinity analysis was obtained in file QF2020-031SAL*.xlsx. The analyses were carried out in a temperature-controlled lab 37 to 46 days after collection. The files were simplified and saved as 2020-031sal.csv. That file was then converted to individual SAL files.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2020-031NUTS*.xlsx. This includes a precision study. The file was simplified and the saved as 2020-031-nuts.csv. The file was converted to individual NUT files. Flag 3 was added to samples 34, 35 and 193 based on notes from the dissolved oxygen analyst.

(* - indicates date of creation for the files from analysts.)

The SAL, CHL, OXY and NUT files were merged with CST files in 4 steps.

After the 4th step the files were put through CLEAN to reduce the headers to File and Comment sections only.

The merged files are ordered on sample number, but the SAMAVG files are ordered on bottle number, so one or the other set needs to be reordered in order to merge them. The MRGCLN1 files were reordered on Bottle_Number. The output files were named MRGCLN1s. Those files were then merged with SAMAVG files choosing the Bottle_Number from the SAMAVG files.

The output of the MRG files were exported to a spreadsheet and compared to the rosette log sheets to look for omissions. Some samples were missing because they had the wrong event numbers.

##### Compare

Salinity

Compare was run with pressure as reference channel.

When 8 cases with high standard deviations in the CTD salinity and 3 other outliers with differences >0.009psu are excluded, the primary CTD salinity was found to be high by an average of 0.0001psu (std. dev. 0.0028psu) and the secondary low by 0.0010psu (std. dev. 0.0029psu). When only the 5 bottles from below 300db were included the primary was low by 0.0001psu and the secondary was low by 0.0013psu.

Including only the westernmost 4 bottle casts the primary is high by an average of 0.0027psu and the secondary is high by 0.0020psu; those casts tend to have noisy descent rates which are associated with good flushing of Niskin bottles. Cast #80 was in a quiet area where flushing can be poor, but the vertical gradient was extremely low and the primary was found to be high by 0.0015psu and the secondary low by 0.0010psu. So it appears that both salinity channels are within ±0.003psu and the secondary within ±0.002psu. No recalibration is justified.

All of the outliers are associated with large vertical salinity gradients.

For full details for the COMPARE run see file 2020-031-sal-comp1.xls.

Dissolved Oxygen

COMPARE was run with pressure as the reference channel.

There is a lot of scatter in the plot.

The initial fit using all casts but excluding outliers based on residuals and standard deviations in the CTD DO was:

CTD DO Corrected = CTD DO * 1.0584 +0.0013 (R2 = 0.94) 	(1)

The slope is surprisingly high given that the sensor had been serviced in January 2020. This region is also expected to be subject to incomplete flushing of bottles given fairly protected waters. The CTD sensors are expected to read low, but the effect is somewhat reduced in areas where Niskin bottles don’t flush well since bottle contents tend to come from deeper in the water column. However, the descent rate of casts does show that there were somewhat rougher conditions than often seen in this area.

The one area from this cruise that usually has the roughest waters, and hence better flushing, is the western end of Juan de Fuca Strait. When only the 2 westernmost casts were included the slope is higher with a fit of:

CTD DO Corrected = CTD DO * 1.0618 -0.0086 (R2 = 0.98) 	(2a)

There were no bottle values <1.5mL/L in that fit, so a second fit was done including the 100m bottle from the cast in Saanich Inlet. At that depth the CTD sensor has had adequate time to equilibrate and the Niskin should have flushed given the very low vertical DO gradient in the anoxic layer.

CTD DO Corrected = CTD DO * 1.0582 -0.0015 (R2 = 0.98) 	(2b)

Using 3 casts from the central Strait of Georgia, the fit was:

CTD DO Corrected = CTD DO * 1.0591 +0.0035 (R2 = 0.96)	(3)

Fits (1), (2b) and (3) are remarkably close reflecting the stormier than usual conditions in the Strait of Georgia.

Fit (2b) will be used to recalibrate. The offset looks most appropriate given the results in the anoxic layer.

The only significant outliers are associated with very noisy CTD dissolved oxygen data during the bottle stop, so no adjustments to flag channels are recommended.

For details see 2020-031-DO-comp1.xls.

Plots of Titrated DO and CTD DO against CTD salinity were examined. No further outliers were found.

Fluorescence

COMPARE was run with extracted chlorophyll and CTD Fluorescence using pressure as the reference variable.

As usual the CTD fluorescence is higher than extracted CHL values when CHL values are very low, but for CHL>2 fluorescence is about 50% of the extracted CHL values.

For full details of the comparison see file 2020-031-fl-chl-comp1.xls.

##### Conversion of Full Files from Raw Data

All files were converted using 2020-031-ctd. The Tau function was selected but not the hysteresis function as there was no deep sampling. Depth was included in the conversion.

A few casts were examined and all expected channels are present. SPAR values looks bad – all very low even when PAR values are high. Fluorescence was very noisy at depth during the upcast of file #94.  As usual the T, C and Sal channel pairs track well on downcasts while upcasts are much noisier. The Dissolved Oxygen, transmissivity, fluorescence, pH and PAR profiles look normal. The SPAR channel has no signal, only noise and should be removed later. The altimetry looked fine near the bottom.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, conductivity & temperature only in the

full cast files (*.CNV).

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

Most spikes noted before were removed successfully.

##### ALIGN DO

When this equipment was used during 2019-003 and 2019-001 the best choice for aligning dissolved oxygen with temperature was found to be +2.5s. A few casts were examined to see if this is the best choice for this cruise. Both temperature channels were noisy during upcasts so the tests were not easy to interpret, but using +2.5s certainly improves the alignment and overall looks like a good choice.

ALIGNCTD was run on all casts using +2.5s.

##### CELLTM

CELLTM was run using the default setting (α = 0.0245, β=9.5) for both the primary and secondary conductivity. A few casts were checked and this step does improve the data.

##### DERIVE and Channel Comparisons

Program DERIVE was run on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

DERIVE was run a second time on 3 of the deeper casts to find differences between the pairs of temperature, conductivity and salinity channels.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2020-031-0029 | 230 | -0.0004 | -0.00020 | -0.0015 | High, F.Steady |
| 2020-031-0053 | 290 | -0.0005 | -0.00018 | -0.0015 | High, Noisy |
| 2020-031-0094 | 170 | -0.0005 | -0.00010 | -0.0008 | High, F.Steady |

These are shallow values but suggest that the 2 salinity channels are close.

##### Conversion to IOS Header Format

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

##### Checking Headers

The header check was run. A few odd values were investigated but most pertained to surface spikes at the beginning or end of casts. The only problem found was there is no SPAR signal for any cast. This channel should be removed.

The cross-reference list was printed and checked against the log book.

Two discrepancies were found and fixed in the IOS and CLN files:

- The station name for event #17 is said to be 74 in the log and 64 in the header. The header appears to be correct based on use during previous cruises for this project.

- The station name for event #49 was 49 in the header and 109 in the log. The log is correct.

- The format of 3 station names were changed.

The cruise tracks (event #s and stn names) were plotted and added to the end of this report.

The altimeter and water depth readings from the headers of the CLN files were exported to spreadsheets. A check was made by subtracting maximum depth sampled plus altimetry header from the water depth. Where that number exceeded ±5m the altimetry was plotted. In all cases the altimetry header looked appropriate. In 4 cases replacing the bottom depth in the headers with the one in the log book made an improvement. For 5 others the water depth in the headers is obviously wrong so a depth based on maximum depth sampled plus altimetry was used to replace the depth in the header. For 3 casts no obvious problem was found and the difference is not large, so may well be due to a shoaling bottom.

Appropriate changes were made to the DEL files after the SHIFT and DELETE steps were run.

2 bottle files (71 and 94) also needed changes; those were made to the SAMAVG files and MERGE with MRGCLN1s was rerun.

A surface check was run and shows an average surface pressure for the cruise was 2.0db which is reasonable. The lowest value was 1.1db in Saanich Inlet.

There are negative pressures at the end of many casts. The pumps were off so it is hard to tell whether the CTD was out of water or not. For a few casts the transmissivity drops to near-zero at about -0.02 to -0.1db, but then rises again -0.4db. In one casts the secondary conductivity drops to near zero when pressure becomes negative. There are some patches of extremely noisy pressure at the end of casts and it seems likely that the CTD was running in air.

##### Shift

Fluorescence

SHIFT was run on the SeaPoint fluorescence channel in all casts using the usual advance of +24 records. Plots show that the fluorescence offset is reasonably close to the temperature offset after this step.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked to see if the alignment looked ok, and it did. No further alignment is needed for the DO concentration channel,

pH

Tests were run on a few casts to determine the best setting to align pH with temperature. A setting of +35 records looked good and was applied to all casts.

Conductivity

For preliminary processing tests were run on a few casts. Most casts had few unstable features. The best for primary was -0.5 and for secondary was +0.7.

SHIFT was run twice on all SBE911 casts using those settings. Salinity was recalculated for both channels.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were many warnings but all pertained to the upcast so will not affect profiles.

##### Other Comparisons

Previous experience with these sensors –

The pressure, temperature, conductivity and oxygen sensors have had factory calibration since they were used last.

Historic ranges – Profile plots were made with 3-standard deviation climatology ranges of T and S superimposed. There were no excursions in temperature and only a few near-surface excursions in salinity with some low values above 10db plus slightly low salinity around 40db for station 94. There was no local climatology available for Vancouver Harbour and Indian Arm. There is no evidence of calibration problems.

Repeat Casts – There were no repeat casts and nearby casts are too shallow to provide a reasonable test of repeatability.

Post-Cruise Calibration – There were no post-cruise calibrations available.

##### DETAILED EDITING

A general examination of T-S plots suggests that the secondary data have fewer unstable features than the primary so will be easier to edit. The secondary salinity data  also appear to be closer to bottles in the areas where poor flushing of Niskin bottles is not a big problem. So secondary T and S were selected for editing and eventual archiving.

CTDEDIT was used to remove records that appear to be corrupted by shed wakes or ship effects. Most of the data removed are from near the top and bottom of casts. Salinity was cleaned to remove unstable features that appear to be due to small misalignment or instrumental noise.

All casts required some editing except event #98.

After editing T-S plots were examined for all casts. There are some small unstable features which could be real as they come from areas of active mixing. No further editing was applied.

##### Recalibration

Pressure appears to be accurate within 0.1db at the surface.

Both salinity channels appear to be accurate to within 0.002psu. the fits against bottles are too noisy to justify recalibration.

File 2020-031-recal1.ccf was prepared to apply the following correction to SBE Dissolved Oxygen:

CTD DO Corrected = CTD DO * 1.0582 -0.0015

This correction was first applied to the SAM and MRGCLN2 files.

COMPARE was rerun for dissolved oxygen. When  the same data were included as in the original fit, the average of differences in the DO fit was <0.001mL/L and the standard deviation was 0.015mL/L. Plots of differences against pressure, DO concentration and file pair #s were examined. These show that most cases of the CTD DO reading higher than bottles came from either Indian Arm or Saanich Inlet, both areas with well protected waters where flushing errors tend to be large especially near the surface where local gradients are higher. Local gradients are especially high in Saanich Inlet through most of the profile except in the anoxic layer.

See file 2020-031-DO-comp2.xls for details.

CALIBRATE was then run on the EDT files using the same recalibration file.

##### Final Calibration of DO

The initial recalibration of dissolved oxygen corrects for sensor calibration drift. Alignctd corrects for transit time errors. Those 2 steps may partly correct for response time errors, but to see if a further correction is needed, a comparison is made of downcast CTD data to bottle data from the same pressure. Small differences are expected due to ship drift, temporal changes, incomplete flushing of Niskin bottles and delayed response and noise in CTD data.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned and compared to the bottle values in the MRG files. COMPARE was run to study the differences between the downcast CTD DO data and the titrated samples from upcast bottles. The fit of differences versus DO_SBE was very flat.

When outliers were removed based on standard deviation in CTD DO > 0.075mL/L plus 3 points that stood out in the plot, the CTD DO was lower than the titrated samples by an average of ~0.014mL/L (standard deviation of 0.072mL/L). Two of the outliers came from ~2m and one from ~5m.

Based on the fit of differences against pressure Oxygen:Dissolved:SBE data are considered, very roughly, to be:

±0.50 mL/L from 0 to 50db

±0.20 mL/L from 50 to 200db

±0.05 mL/L below 200db

No further recalibration is justified. See 2020-031-dox-comp3.xlsx for details.

##### Fluorescence Processing

A median filter, size 11, was applied to the fluorescence channel in the COR1 files. Plots of a few casts showed that the filter was effective. (Output:*.FIL)

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

On-screen T-S plots were examined.

Profile plots were examined to see if there any problems. No problems were noted.

##### Final CTD File Steps (REMOVE and HEADEDIT) –

For all casts REMOVE was run to remove the following channels:

Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary,  Oxygen:Voltage:SBE, PAR:Reference, Altimeter, Status:Pump, Descent_Rate and Flag.

For channel #90 channel pH:SBE was also removed due to the cap being left on during the cast.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names and to add header comments about the data processing.

The Standards Check routine was run and no problems were found.

The Header Check was run; no problems were found.

Profile and T-S plots were examined. There are some unstable features in T-S space where waters are well-mixed, but those are very small and may be real.

The sensor history was updated.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The values ranged from ~50% to 150% with most being quite low. Plots of near-surface DO show small gradients where saturation is low and the highest saturation came from Saanich Inlet where there was a large gradient. A few casts in the central Strait of Georgia that had surface values ~100%; those were casts that were not very well-mixed near the surface.

There is no evidence of a problem with the DO sensor calibration.

##### Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

For all casts REMOVE was run to remove the following channels:

Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary,  Oxygen:Voltage:SBE,  PAR:Reference, Altimeter, PAR:Reference, Status:Pump, Descent_Rate and Flag.

For event #90 pH:SBE was also removed because the cap was left on.

A second SBE DO channel with mass units was added for both the CTD DO and titrated DO and REORDER was run to get the pairs of DO channels together.

HEADER EDIT was run to ensure formats and units are correct, change the channel name Bottle_Number to Bottle:Firing_Sequence and the name Bottle:Position to Bottle_Number and to add a comment about quality flags and analysis methods and a few notes about the CTD data processing.

Data were exported from the CHE files to file 2020-031-bottles-final.xls. The entries were compared with the rosette log sheets. No errors were found.

Standards check was run and a few problems were found and resolved.

The track plot looks ok.

Plots of each file were examined and no problems were found.

A cross-reference listing and header check were produced for the CHE files. No problems were found.

##### Thermosalinograph Data

There were 2 thermosalinograph files.

There were no loop samples, flow meter or intake thermistor. The intake is at about 2m. The only method to check calibration is to compare with the CTD casts.

a.) Checking calibrations

The latest factory calibration documentation could not be found, so the configuration file used at sea could not be checked.

b.) Conversion of Files

The cnv files were converted to IOS HEADER format.

CLEAN was run to add End times and Longitude and Latitude minima and maxima to the headers.

ADD TIME CHANNEL was used to add Time and Date channels.

A time-series plot was produced. There was obviously no flow at the beginning and 1 drop-out early in the record. The traces look good with good detail and no suspicious spikes.

The track plot looks fine and was added to the end of this report.

c.)  Checking Time Channel

- The CTD files were thinned to reduce the files to a single point from the downcast within 0.5db of 2db. These were exported to a spreadsheet which was saved as 2020-031-ctd-tsg-comp.xls. There were 81 CTD casts with data available from 2m; 80 overlapped with TSG data.

- For the first file flow in the loop was obviously off for the first 188 records and unstable for a few more. This file will need to be edited.

- The TSG files were opened in EXCEL, median and standard deviations (over 5 records) were calculated for lab temperature and salinity and the files were reduced to the times of CTD files. Those data were added to 2020-031-ctd-tsg-comp.xls.

- To check for problems in the TSG clock or bad matches of TSG and CTD data, the differences between latitudes and longitudes were found. The median and average differences were both <0.0001º with no difference >0.0007º.

d.) Comparison of T and S from TSG and CTD data

When all casts are included the TSG temperature is higher than the CTD temperature by an average of 0.19 C° and a median of 0.20C° with standard deviation of 0.22C°.  Salinity is lower by an average of 0.81 and median of 0.63psu and standard deviation of 1.21psu. Plots against casts numbers show that the largest differences were in Vancouver Harbour and Indian Arm where near-surface gradients were high.

When casts were selected with the 10 lowest and 20 lowest standard deviations in temperature the median differences were 0.1890 C° and 0.2027 C° respectively, and standard deviations were much lower at about 0.03 C° so the median using all data looks reasonable. It is also close to values generally found for the Vector loop heating though this will vary according to ambient ship temperatures and flow rate in the loop. Subtracting 0.2 C° from the lab temperature to produce a proxy intake temperature looks reasonable.

Checks on some of the largest differences shows that there were very high near-surface gradients. Possibly the TSG is drawing water from a little higher than 2m which would lead to temperatures looking high and salinity low. The temperature gradients are not as significant as those in salinity.

The salinity differences vary greatly with the largest differences in Vancouver Harbour and Indian Arm.

The casts near the mouth of Juan de Fuca Strait (~0.03 to 0.18psu) had lower differences than to the east (~0.53 to 0.78psu). There are also many differences close to 0.11psu in the southern part of Georgia Strait. This could be due to better near-surface mixing in those areas so slight mismatches in sampling levels of CTD and TSG are not as significant. Because there are few reliable CTD data above 2m this is not clear. But given that the sensors were recently recalibrated it is likely that the salinity error is small.

Sources of error in the comparisons include:

- The TSG may draw water from higher in the water column than the CTD data used in the comparison.

- Some CTD data were rejected in editing due to obvious corruption by ship effects or shed wakes, while other data seemed ok and were left in place. This is a subjective process.

- The flow rate in the loop can vary; this error affects temperature differences most.

See 2020-031-ctd-tsg-comp.xls for details.

Calibration History

The TSG temperature and conductivity were recalibrated in December 2019 and this is the 1st known use of it since then. In the past heating in the loop on the Vector has ranged from about 0.13Cº to 0.37 Cº  with 0.2 Cº being most common. Salinity differences varied greatly and are not relevant given recent recalibration.

Conclusions

1. The TSG clock worked well.

2. The TSG lab temperature was higher than the CTD temperature by a median of ~0.20C°. This is a reasonable value for the Vector based on previous cruises though flow rate and ambient ship temperatures will vary among cruises. Some of the difference may be due to the TSG drawing water from higher in the water column than the CTD data used in the comparison. A proxy for intake temperature will be derived by subtracting 0.20C° from the lab temperature.

3. The TSG Salinity is lower than the CTD salinity at almost all casts, but the differences vary too greatly to provide evidence suitable for recalibration. There are very small differences near the mouth of the Strait of Juan de Fuca and at many casts in the southern Georgia Strait. Those results plus the fact that this was the first use of these sensors since the last factory calibration suggests that the salinity errors are small. No recalibration will be applied.

f.) Editing

The first file required editing as the flow was clearly not established for the first 193 records; conductivity and salinity were cleaned to remove 1 spike.

The second file did not need editing but a copy was saved as *.ed1 to simplify processing.

g.) Recalibration

Add Channels was used to add Channel Temperature:Lab with values set equal to Temperature:Primary.

Calibrate was run using file 2020-031-tsg-recal1.ccf to subtract 0.2 from Temperature:Primary.

h.) Preparing Final Files

REMOVE was used to remove the following channels: Scan Number, Record Number and Flag channels.

HEADER EDIT was used to change the DATA DESCRIPTION to THERMOSALINOGRAPH and add the depth of sampling to the header and to change channel names to standard names and formats.

The TSG sensor history was updated.

As a final check plots were made of the cruise track and time-series and all look fine.

The cruise plot was added to the end of this report.

Particulars

Par:Reference – no data acquired throughout cruise.

2. Fluorometer cable cleaned since signal appeared noisy.

3. Computer crash at bottom of cast. File contains downcast only.

4. Upcast data only – bottle file renamed as 2020-031-0003.

17. Log station name 74, Header 64 – Header looks right.

23. Fluorometer cable cleaned – noisy channel.

27. Lot of wire going out and pressure not increasing – stopped 10m above bottom – very large lead on wire.

41. Sampling out of order.

48. Long time at surface while trying to hold position.

49. Header station name wrong – should be 109 to match log. Fixed.

90. pH cap left on.

94. Hit bottom. Flushed sensors.

CRUISE SUMMARY – CTD

| CTD# | Make | Model |  | Serial# |  | Used with Rosette? |  | CTD Calibration Sheet Competed? |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ |  | 0443 |  | Yes |  | Yes |  |  |  |
| Calibration Information - 0506 |  |  |  |  |  |  |  |  |  |  |  |
| Sensor |  |  |  |  | Pre-Cruise |  |  |  | Post Cruise |  |  |
| Name |  |  | S/N |  | Date |  | Location |  | Date | Location |  |
| Temperature |  |  | 2106 |  | 12Dec2019 |  | Factory |  |  |  |  |
| Conductivity |  |  | 2280 |  | 03Jan2020 |  | Factory |  |  |  |  |
| Secondary Temp. |  |  | 2663 |  | 12Dec2019 |  | Factory |  |  |  |  |
| Secondary Cond. |  |  | 2754 |  | 17Dec2019 |  | Factory |  |  |  |  |
| Transmissometer |  |  | 983DR |  | 1Oct2020 |  | Factory |  |  |  |  |
| SBE 43 DO sensor |  |  | 997 |  | 23Jan2020 |  | Factory |  |  |  |  |
| PAR |  |  | 4565 |  | 16Mar2011 |  | Factory |  |  |  |  |
| pH |  |  | 692 |  | 14Jan2020 |  |  |  |  |  |  |
| SPAR |  |  | 20518 |  | 21Mar2016 |  |  |  |  |  |  |
| SeaPoint Fluor. |  |  | 3949 |  |  |  |  |  |  |  |  |
| Pressure Sensor |  |  | 0550 |  | 09Jan2020 |  | Factory |  |  |  |  |
| Altimeter |  |  | 43281 |  |  |  | Factory |  |  |  |  |

# TSG Make/Model/Serial#:	SEABIRD/21/2488

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 3411 | 14Nov18 | Factory |  |  |
| Conductivity | 3411 | 14Nov18 | Factory |  |  |