## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 6 Dec 2021 | Replaced NO3 and SIL with data corrected to AA3 instrument salinity correction factor. G.G. |

## PROCESSING NOTES

Cruise: 2020-083

Agency: OSD

Location: WCVI / Hecate Strait / BC Inlets / Johnstone Strait

Project: North Coast Oceanographic Monitoring

Chief Scientist: Page S.

Platform: John P. Tully

Date: 6 October 2020 –  20 October 2020

Processed by: Germaine Gatien

Date of Processing: 16 December 2020 – 22 July 2021

Number of original HEX files: 242

Number of original CTD files: 238		Number of processed CTD files: 237

Number of rosette files:	86			Number of processed CHE files: 83

# INSTRUMENT SUMMARY

CTD #0443 was mounted in a rosette and attached were 2 Wetlabs CSTAR transmissometer (1185DR & #1883DG), a SBE 43 DO sensor (#3791) on the secondary pump, SeaPoint Fluorometers (#3950) on the primary pump, a Biospherical QSP-400 PAR sensor (#70613), a Reference PAR (#20518) and an altimeter (#62355).

A thermosalinograph (SeaBird 45 S/N 0620) was mounted with a Wetlab/Wetstar fluorometer (WS3S-953P) and flow meter.

Seasave version 7.26.7.121was used for acquisition.

The data logging computer WP #102 Mini Lenovo.

The deck unit was a Seabird model 11+ #425.

A Guildline model 8400B Autosal serial # 68572 was used to analyze salinity samples.

An IOS rosette with 24 10L bottles was used.

# SUMMARY OF QUALITY AND CONCERNS

As of July 2021 the Thermosalinograph data were not available. They may be added at a later date.

The Daily Science Log Book and rosette log sheets were in excellent order with comments about problems encountered.

There were 2 WetLabs CStar transmissometers in use during this cruise:

Channel Transmissometer refers to sensor #1185DR (650nm - red)

Channel Transmissometer2 refers to sensor #1883DG (530nm - green)

For comparison with other Institute of Ocean Sciences cruises, note that the transmissometer wavelength is 650nm unless otherwise stated.

While CTD fluorescence data are expressed in concentration units, they do not always compare well to extracted chlorophyll samples. It is recommended that users check extracted chlorophyll values where available.

For many of the bottle casts the pumps were shut off very quickly after firing of the last Niskin. If there is an operational reason for doing this, then it would be helpful to make note of it in the log book. The usual method for preparing the bottle files is to collect 10s worth of CTD data centred around the firing time but a different window could be selected. In most cases the data collected with pumps off was only for 1 or 2s so the effect is not likely to be significant; affected data were removed from 1 cast with pumps off for more than 2s.

The CTD was deployed without a 10m soak but generally there was a wait around 1m to 2m at which level the pumps were turned on. Data were removed from above that level. For cast #163 the pumps never came on so pumped channels were removed from the file. For cast #172 the pumps did not come on until the CTD was at about 9db so data from pumped channels were removed but unpumped sensor data were left in the files.

The pumps did not come on for cast #267 until the CTD was at 14db. Cast #266 had not been processed because it was aborted at 20db on orders from the bridge. Since #266 was at the same site as #267 and close in time, the two were merged to produce a full cast.

As the CTD began its descent there was sometimes a hint of an increase in dissolved oxygen data around 5db. While this could be caused by bubble release, it does not appear to be a significant concern.

The SBE DO sensor has a fairly long response time so data accuracy is not as high when it is in motion as it is during stops for bottles. This will be especially true when vertical DO gradients are large. To get an estimate of the accuracy of the SBE DO data during downcasts (after recalibration) a rough comparison was made between downcast SBE DO and upcast titrated samples. Some of the difference will be due to problems with flushing of Niskin bottles and/or analysis errors and small mismatches in depth in the presence of large DO gradients, so the following statement likely underestimates SBE DO accuracy. An analysis of well-mixed surface waters suggests that DO is within 0.05mL/L in low vertical DO gradients.

Downcast (CTD files) Oxygen:Dissolved:SBE data for this cruise are considered, very roughly, to be:

±0.40 mL/L from 0-100db

±0.02 mL/L below 100db

A comparison was made between the data from the SBE CTD and an RBR Concerto that was strapped to the rosette during 20 casts. For details see section 23.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

The deployment protocol was not described in the log, but it is known that there was no 10m soak. A few test files were converted and data from about -0.4db were recorded that look to be very close to the surface with many pad values that likely arose by having the CTD come out of the water very briefly. At about -0.1db the pumps were turned on. The post-cruise pressure calibration indicated that the CTD was reading low by ~0.4db in December, so with that correction applied pressures should be good.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained.

- Nutrients, extracted chlorophyll, dissolved oxygen and salinity data were obtained in QF spreadsheet format from the analysts.

- The cruise summary sheet was completed.

- The histories of the pressure sensor, conductivity and dissolved oxygen sensors were checked. The temperature, conductivity and dissolved oxygen sensors had been used during 4 previous cruises since the last factory recalibrations. The 2 transmissometers had been recalibrated at IOS a few days before this cruise.

##### BOTTLE FILE PREPARATION

The ROS files were created using files 2020-083-ctd.xmlcon for all casts.

The ROS files were converted to IOS format.

The depths in the headers were adjusted for 8 IOS files based on the study described in section 11.

The IOS files were put through CLEAN to create BOT files.

There were a few split casts:

- Event 213 was split into 2 parts but there was no sampling and the full downcast is in file 213.

- Event 244 was split into 2 parts. File 2020-083-0244.ios was renamed as *.iosa and file 2020-083-0244-1.ios was renamed as *.iosb. Program JOIN was used join them into file 220-083-0244.ios.

- Event 195 had 3 files created but one file captured the whole cast and there was no sampling.

File 2020-083-0001.ios was deleted since it was a test cast with no sampling.

CTDEDIT was used to clean a few points in Salinity:T1:C1 at about 150db and 250db in event #46.

The output files were copied to *.BOT.

A preliminary header check was run. The only problem noted was that the pumps were off for about 1/3 of the data captured in the window for the last bottle of cast #17. Similarly a few records for many casts  had pumps off. A text editor was used to remove that part of the data in the first few files investigated. But so many casts were thus affected that it was not practical to fix them all. Plots were made to see how many casts had as many affected scans as cast #17 and no others did. Given that the effects of pumps being off for a second or two is unlikely to be significant, no attempt was made to edit all affected casts. It would be possible to start over and pick a different window for the files but it would mean redoing a lot of work and the differences are likely insignificant.

The BOT files were bin-averaged on bottle number.

The output was used to create file ADDSAMP.csv. First, the file was sorted on event number and Bottle Position order. Then sample numbers were added based on the rosette logs.

The file was used to add sample numbers to the BOT files – output *.SAM.

The SAM files were bin-averaged on bottle # and called SAMAVG.

The addsamp.csv file was converted to CST files, which will form the framework for the bottle files.

Next, each of the analysis spreadsheets were examined to see what comments the analysts wanted included in the header file. These were used to create file 2020-083-bot-hdr.txt which will be updated as needed during processing.

DISSOLVED OXGYEN

Dissolved oxygen data were provided in spreadsheet QF2020-083_OXY*.xlsx which includes flags, comments and a precision study. Draw temperatures are available. The spreadsheet page with the final data was simplified and saved as 2020-083oxy.csv. That file was converted into individual *.OXY files.

At this point note was made of all comments in the DO file that had comments starting with “ALL:” so that other variables could be flagged appropriately. There were no such comments.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll and phaeo-pigment data were obtained in file QF2020-083_CHL QF*.xlsx. The file included comments and flags and a precision study. A simplified version of the spreadsheet was prepared and saved as 2020-083chl.csv. Flags were changed to 3 for 2 bottles noted as ALL by the DO analyst. The csv file was then converted to individual CHL files.

SALINITY

Salinity analysis was obtained in file QF2020-083_SAL.xlsx which included a precision study. The analyses were carried out in a temperature-controlled lab 26 to 39 days after collection. The files were simplified and saved as 2020-083sal.csv. That file was then converted to individual SAL files.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2020-083_NUTS*.xlsx. This includes a precision study. The file was simplified, saved as 2020-083nuts.csv and converted to individual NUT files.

The flags were changed to 3 for the samples noted by the oxygen analyst as having a problem that would affect all samples.

The SAL, CHL, OXY and NUT files were merged with CST files in 4 steps.

After the 4th step the files were put through CLEAN to reduce the headers to File and Comment sections only.

The files were then put through CLEAN to reduce the headers to File and Comment sections only.

These files are ordered on sample number, but the SAMAVG files are ordered on bottle number, so one or the other set needs to be reordered in order to merge them. The MRGCLN1 files were reordered on Bottle_Number and saved as *. MRGCLN1s.

The MRGCLN1s files were then merged with SAMAVG files using merge channel Bottle_Number.

The output of the MRG files were exported to a spreadsheet and compared to the rosette log sheets to look for omissions. A few problems were found:

- Event #47 had an extra salinity sample (#129), not on rosette sheet but close to CTD so looks ok.

- Event 68 – 2 samples from 50m got miss-assigned in the Addsamp file. Fixed.

- Event #73 – Samples 390 and 393 got mislaid – QF file not in usual order. Fixed Addsamp file.

- Event 98 had problems in addsamp file. Fixed.

- Event 271 was read as 274 by the nutrient and chl analysts. Fixed.

- A few nutrient samples indicated on rosette sheets were not found, but the raw data do not have those sample numbers, so it is assumed no samples were actually gathered.

The Addsamp file was reconverted, the NUT and CHL file names fixed and the merge process repeated.

##### Compare

Salinity

Compare was run with pressure as reference channel.

The first run turned up a few problems in the addsamp file and in the ordering of the salinity sample data.

On the 2nd run bottles were excluded for cases with standard deviation in the CTD salinity >0.001. This removed all cases with CTD salinity differing from bottles by >0.07psu except for the following 3:

- Sample 446, Event 83 – The bottle value of 33.3789psu is higher than any CTD salinity from this profile. It was supposedly from 60m in a cast that went to 120m. It looks like a labelling error.

- Samples 603 and 604, event 207 – It looks like these samples were reversed.

Compare was rerun. When cases were excluded with the standard deviation in the CTD salinity >0.2 there was a fairly tight fit but a few obvious outliers were identified:

- Event 79 Sample 423 is way out of line – it was a bottom sample so possibly due to extremely poor flushing.

- Event 83, Sample #446 planned for 60db had a salinity value higher than any seen by the CTD even at 120db.

- Event 207 – Samples #603 & 604 compare quite well with the CTD salinity after reversing them.

When bottles above 500db and 1 other outlier were excluded the primary salinity was found to be low by an average of 0.0040psu, standard deviation 0.0028 and the secondary was found to be high by 0.0020, standard deviation 0.0026.

Incomplete flushing of bottles is still likely a small issue, so a few casts were examined to see how large an influence this is likely to be below 300db. If only the 8 bottles from the bottom are included the primary salinity is low by an average of 0.003psu while if only the 8 above the bottom are included the average is -0.005psu. The standard deviations are both ~0.003psu. This confirms that there is a small error due to flushing as the bottom bottles contain some water from above and the others have water from below; however, the 2 errors appear to cancel each other in the full comparison, so the result is likely reliable to within +/- 0.003. That error would include any errors from the analysis.

For full details for the COMPARE run see file 2020-083-sal-comp1.xls.

Dissolved Oxygen

COMPARE was run with pressure as the reference channel.

The scatter in the fit of differences versus CTD DO was greater than usual, which is not terribly surprising given that most samples were taken in protected waters where flushing of Niskin bottles would be poor. That would lead to the SBE DO readings being higher than expected except for bottom samples where the opposite would be the case. When the sensor was returned to the factory for service it was found to have poor resolution and the membrane was replaced. So any results from cruise 2020-083 are expected to be of poorer quality than usual. The result is that neither the bottles nor the CTD sensor data are as likely to reflect ambient conditions as usual. The bottle data are likely a good representation of the bottle contents, but the depth from which the bottle contents derive is questionable.

There was also no 10m soak so CTD DO values may be somewhat high in the top 15m as bubbles escape. Given the large scatter it is not obvious how large an error this might cause; 5 casts had 10m values that appear to have higher CTD values than expected compared to bottles plus 2 at 20m, but no reliable conclusion is possible with so much scatter.

When all casts were included and outliers were removed based on residuals the fit was:

CTD DO Corrected = CTD DO * 1.0226 - 0.0024 R2 = 0.76	(1)

When only the 5 casts from more open waters were included in the fit, there was still considerable scatter which may be due to sensor malfunction. The fit found was:

CTD DO Corrected = CTD DO * 1.0288 - 0.0224 R2 = 0.61	(2)

Cast #233 which had quite a noisy descent rate had the fit:

CTD DO Corrected = CTD DO * 1.0378 - 0.0256 R2 = 0.97	(3)

That result is much closer to what has been observed in other recent cruises though the slope still looks a little lower than during 2020-009:

CTD DO Corrected = CTD DO * 1.0505 - 0.0301

Poor flushing will reduce the slope of the fit except for bottles at the bottom of casts.

Fluorescence

COMPARE was run with extracted chlorophyll and CTD Fluorescence using pressure as the reference variable.

The fit of CTD Fluorescence against Extracted CHL samples shows that Fluorescence reads considerably higher than CHL when CHL is low and falls relative to CHL as the latter values increase. This is typical of these fluorometers..

##### Conversion of Full Files from Raw Data

The altimeter parameters were corrected in the configuration file after cast #1. Thereafter the same file was used throughout the cruise. The corrected file was saved as 2020-083-ctd.xmlcon and was used to convert all files. The Tau function was selected but not the hysteresis function since there was no sampling deeper than 1000m.

A few casts were examined and all expected channels are present. The T and C pairs were reasonably close during downcasts with upcasts very noisy. Fluorescence, PAR, and Dissolved Oxygen profiles looked normal. Fluorescence has deep values <0.1ug/L. The “Green” transmissometer was higher than the “Red”; the profiles had similar shapes. The altimetry looked good.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, depth, conductivity & temperature only in the full cast files (*.CNV).

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

##### ALIGN DO

A few casts were examined; both temperature channels were noisy during upcasts so the tests were not easy to interpret, but using +2.5s certainly improves the alignment and overall looks like a good choice for both sensors. That setting has worked well for many SBE DO sensors in recent years.

ALIGNCTD was run on all casts using +2.5s.

##### CELLTM

The noise in the upcast data makes tests for the best parameters for this routine very difficult to interpret. In the past when upcast data were not so noisy, the default setting of (α = 0.0245, β=9.5) was generally found to be the best choice. A few casts were checked for this cruise and the default setting does improve the data. CELLTM was run using (α = 0.0245, β=9.5) for both the primary and secondary conductivity.

##### DERIVE and Channel Comparisons

Program DERIVE was run on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

DERIVE was run a second time on the 2 deepest casts to find the differences between the pairs of temperature, conductivity and salinity channels. There were no very deep casts. The 2 deepest casts have conductivity and salinity differences that are much smaller than seen during the previous few cruises. They look more like cruises 2020-005 and 2020-069. This could mean that there was a pump or plumbing problem during 2020-008 and 2020-009 that was resolved or perhaps both sensors are now drifting. A quick check of salinity bottles suggest that the secondary channel looks much as it did during all previous cruises while the primary salinity seems to have improved.

.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2020-001-0025 | 1000 | 0 | +0.00060 | +0.0075 | High, V Noisy |
|  | 1900 | -0.0004 | +0.00063 | +0.0080 | “ |
| 2020-005-0075 | 1000 | -0.0006 | +0.0004 | +0.0055 | High, Noisy |
| “ | 1900 | -0.0005 | +0.00046 | +0.0060 | “ |
| “ | 500 | -0.0003 | +0.0004 | +0.0050 | High, X Noisy |
| 2020-005-0140 | 1000 | -0.0002 | +0.00043 | +0.0055 | “ |
| “ | 1900 | -0.0002 | +0.00048 | +0.0060 | “ |
| “ | 500 | -0.0004 | +0.00042 | +0.0055 | High, Moderate |
| 2020-005-0218 | 1000 | -0.0005 | +0.00046 | +0.0060 | “ |
| 2020-069-0043 | 1000 | -0.0006N | +0.00040N | +0.0054 | High, Mod |
|  | 1900 | -00002 | +0.00046 | +0.0058 | “ |
| 2020-069-0122 | 1000 | -0.0002 | +0.00051 | +0.0064 | High, Mod |
|  | 1900 | -0.0002 | +0.00053 | +0.0068 | “ |
|  | 2900 | -0.0003 | +0.00055 | +0.0072 | “ |
| 2020-008-0015 | 1000 | -0.0005 | +0.00058 | +0.0073 | High, F Steady |
| 2020-008-0027 | 1000 | -0.0003 | +0.00073 | +0.0089 |  |
| 2020-008-0036 | 1000 | -0.0005 | +0.00072 | +0.0095 | High, V Noisy |
| “ | 2000 | -0.0003 | +0.00075 | +0.097 | High, X Noisy |
| “ | 3000 | -0.0005 | +0.00078 | +0.0100 | “ |
| 2020-008-0044 | 1000 | -0.0005 | +0.00072 | +0.0092 | High Noisy |
| “ | 2000 | -0.0004 | +0.00076 | +0.0097 | “ |
| “ | 3000 | -0.0006 | +0.00077 | +0.0102 | “ |
| 2020-008-0060 | 1000 | -0.0004 | +0.00081 | +0.0101 | High Noisy |
| “ | 2000 | -0.0004 | +0.00084 | +0.0107 | “ |
| “ | 3000 | -0.0006 | +0.00084 | +0.0111 | High F Noisy |
| 2020-008-0078 | 1000 | -0.0006 | +0.00097 | +0.0120 | High V Noisy |
| “ | 2000 | -0.0005 | +0.00099 | +0.0126 | “ |
| “ | 3000 | -0.0006 | +0.00100 | +0.0130 | High Noisy |
| 2020-009-0033 | 1000 | -0.0006 | +0.00130 | +0.0160 | High Noisy |
| 2020-009-0078 | 1000 | -0.0006 | +0.00128 | +0.0162 | High Mod |
|  | 1900 | -0.0005 | +0.00132 | +0.0165 | “ |
| 2020-009-0115 | 1000 | -0.0004 | +0.00130 | +0.0158 | High X Noisy |
|  | 1900 | -0.0006 | +0.00130 | +0.0164 | “ |
| 2020-009-0171 | 1000 | -0.0006 | +0.00122 | +0.0154 | High X Noisy |
|  | 1900 | -0.0005 | +0.00126 | +0.0160 | “ |
| 2020-083-0006 | 475 | -0.0006 | +0.00060 | +0.0062 | High Mod |
| 2020-083-0017 | 675 | -0.0003 | +0.00050 | +0.0058 | High Steady |
| 2020-083-0216 | 560 | -0.0004 | +0.00050 | +0.0060 | High F. Steady |
| 2020-083-0093 | 500 | -0.0004 | +0.00048 | +0.0056 | High Steady |

The change in differences is very surprising. The configurations were rechecked and had not changed between cruises. The CTD was serviced at IOS before this cruise so some cable connection issues might have cleared up at that point.

##### Conversion to IOS Header Format

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values.

The altimeter and water depth readings from the headers of the CLN files were exported to spreadsheets. A check value was calculated by subtracting water depth from maximum depth sampled plus altimetry header -1 (since the altimetry averages over 2m the value may be high by 1m.). Where that number was > 5 or <-5 plots of the altimetry were checked. If using the depth in the log book improved that result, the header entry was changed to match the log; for 5 casts it was clear that the header had not been updated. Many of the casts were in inlets with steep slopes so the sounder and altimeter are not expected to correspond as well as in open areas, so those header entries were not adjusted. See file 2020-083-altimeter-ctd.xlsx.

At this point plots were made of pressure versus scan number to determine if it is necessary to remove any records from a preliminary sub-surface soak. None appear to be necessary for that purpose, but there were many data in the opening sections of files with pumps not yet turned on. So CLIP was run to remove records until pump status becomes 1. This will ensure that no records selected in the DELETE process have pumps off at he surface.

There were 2 casts for which this procedure worked badly:

- CLIP removed too many records from cast #232 because the pumps were off and on at the end of the cast. A text editor was used to remove the initial section of the CLN file with pumps off; the output was saved as *.CLIP.

- Cast #163 had to be treated separately due to pumps being off throughout. The CLEAN file was saved as *.CLIP

- Cast #172 had to be treated separately due to pumps coming on at 8.8db. The CLEAN file was saved as *.CLIP

##### Checking Headers

The cross-reference check and header check were run. 6 casts had the wrong station names so those were fixed in the CLIP files and in the 2 affected bottle files.

Surface Check was run. The average was 1.1db which is reasonable for this type of cruise with many very shallow inlet casts. In unprotected waters the minimum pressures were higher.

Cruise tracks were plotted and added to the end of this report – separate ones for North & South areas.

At this point an error was discovered in the derivation of dissolved oxygen concentration (full files only, not bottle files). The following steps were run to fix the IOS files and MRG files.

- Step DERIVE was rerun and those files converted to *.IOS2.

- Channel Oxygen:Dissolved:SBE was then removed from the *.CLIP and saved as *.CLIPREM.

- Add channel was used to add the dissolved oxygen channel from *.IOS2 to *.IOSREM.

##### Shift

Fluorescence

SHIFT was run on the SeaPoint fluorescence channel in all casts using the usual advance of +24 records. Plots show that the fluorescence offset is reasonably close to the temperature offset after this step.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked to see if the alignment looked ok, and it did, though as usual results vary from feature to feature. No further alignment is appropriate for the DO concentration channel,

Conductivity

Tests were run on a few casts to assess what settings are best to align conductivity with temperature (as judged by the effect on salinity as seen in T-S space). The best settings were -0.4records for the primary and -1.2records for the secondary.

SHIFT was run twice on all SBE911 casts using -0.4 records for the primary and -1.2 records for the secondary conductivity. Salinity was recalculated for both channels.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings.

In editing file 2020-083-0267 it was discovered that the pumps had not come on until the CTD was at about 14db and it took a few metres for pumped channels to equilibrate. Cast #266 had not been processed because it was aborted at 20db on orders from the bridge. Since #266 was at the same site as #267 and close in time, the two were merged to produce a full cast. First cast #266 was put through CONVERT to IOS, CLEAN, CLIP, 3 runs of SHIFT and DELETE. The 2 DEL files were then joined. The match is not perfect but does provide better data in the top 15db.

Note that #266 has fewer steps since the DO derivation was done correctly at the DERIVE stage, so didn’t need to be corrected.

##### Other Comparisons

Experience with these sensors since last factory service – The pressure, temperature, dissolved oxygen and conductivity sensors were used a lot during 2020.

- 2020-001 – Primary salinity was low by 0.0035 and secondary performed poorly. Dissolved oxygen was recalibrated using slope/offset =1.0242/-0.00222020-028 – Shallow sampling not trusted for recalibration. Autosal problem discovered after initial processing but result was not trusted anyway. Used 2020-005 result. Dissolved oxygen was recalibrated using slope/offset=1.0308/-0.0085. Pressure was recalibrated during 2020-028 by increasing the offset to -0.8db. The same offset was used for cruises that followed.

- 2020-005 –Primary high by 0.0026 and secondary high by 0.0086. Made small allowance for flushing error in recalibration. Dissolved oxygen was recalibrated using slope/offset=1.0308/-0.0085.

- 2020-069 – Dissolved oxygen correction 1.0369/-0.0197. Salinity comparison not trusted due to only near-bottom samples from the few deep casts; recalibration based on 2020-005.

- 2020-008 – Pressure found to be low by 0.4db (new offset should be -0.4db), 0.0018psu subtracted from secondary salinity, oxygen slope/offset = 1.0449/-0.0298. Primary conductivity looked poor – not calibration problem.

- 2020-009 – Pressure was increased by 0.4db, 0.0018psu was subtracted from secondary salinity, 0.139 added to primary salinity, oxygen slope/offset = 1.0505/-0.0301. Primary conductivity looked poor but not like a calibration drift issue; primary channels were selected for only 1 cast.

Historic ranges – Profile plots were made with 3-standard deviation climatology ranges of T and S superimposed. Climatology was not available for most casts and for many others it was not appropriate because the casts were close to shore or in inlets. The temperature was frequently found to be a little high at about 20 to 30m and sometimes salinity was slightly low at that level; these could be due to deeper mixing than previously seen. None of these excursions suggest calibration drift.

Post-Cruise Calibration – Post-cruise calibration information from December 2020 and January 2021 were available. One cast was studied using that information. The primary and secondary temperatures had drifted lower using the post-cruise calibrations by 0.0007C° and 0.0003C°. The primary conductivity drifted downwards by 0.00064S/m while the secondary conductivity had drifted upwards by 0.004815S/m.

The post-calibration primary salinity was lower by0.0064psu while the secondary was higher by 0.0034psu. The differences between salinity channels throughout this cruise was ~0.006psu while it is ~0.016psu using the post-cruise calibration from December. This indicates that there was significant

drift in conductivity after this cruise with more in the primary than the secondary. The SBE Dissolved Oxygen sensor was found to be damaged in December. The membrane was replaced during the December 2020 service. The pressure offset was increased by 0.4db based on the post-cruise calibration.

##### DETAILED EDITING

Both channel pairs have good quality data. Overall the primary T-S plots look slightly more stable so primary temperature and salinity were selected for editing and archiving.

All DEL files were copied to *.EDT.

CTDEDIT was used to remove records that appear to be corrupted by shed wakes. Salinity was cleaned to remove spikes that appear to be due to small misalignment or instrumental noise. Surface records needed to be removed from most casts since the pumps had just turned on.

All files required some editing, mostly near the surface, except:  #113, 148, 151, 163 (all pumped channels will be removed later)

Cast #172 had pumps off until the CTD was at 8.8db. So CLIP was not run on this file. Two runs of CTDEDIT was used to remove pumped channels to 9.2db, the level at which the pumped channels were equilibrated. The pressure, PAR and transmissivity channels were left in place.

In most cases data were removed from the top because pumps had not yet come on or flow had not been well established yet. Near the bottom there are frequent cases of shed wake corruption as the CTD slowed suddenly.

Notes about editing applied were added to the files.

The edited files were copied to *.EDT.

After editing, T-S plots were examined for all casts. Some unstable features remain but come from areas where such features are expected and likely real or where it is impossible to say which data are poor. No further editing was done.

A T-S plot was made to compare 13 casts at station JPS1 (#249-260)  run over a 7 hour period and with some westward drift during the series. The traces are very close except in the top 10m where there is a little wider spread. Temporal and horizontal variation is likely to be higher at that level. Below 100db the temperature and salinity differences along lines of constant density were on the order of 0.01C° and 0.002psu before metre-averaging and 0.005C° and 0.001psu after averaging.

##### Corrections to Pressure, Salinity and Dissolved Oxygen Concentration

The pressure offset was changed at the conversion stage to add 0.4db based on a post-cruise calibration. No further adjustment has been found necessary.

Primary salinity was found to be low by about 0.004psu and secondary high by 0.002. The difference between the 2 salinity channels is consistent with what has been observed through many cruises. The secondary difference is very close to the one found during 2020-009. The primary salinity was poor from both 2020-008 and 2020-009 (likely due to a cable connection issue). The post-cruise calibration values indicate that the primary salinity was low by 0.0064psu while the secondary was higher by 0.0034psu. The difference between those 2 is larger than seen even near the end of this cruise, so the post-cruise values are not suitable for recalibration.

The comparison of SBE dissolved oxygen values with bottles is not considered reliable because the flushing of bottles is likely to have been poor. The post-cruise report from the factory mentions some damage that may have occurred during or after this cruise. So there is little to guide choices in recalibrating these data. Applying the result of 2020-009 comparison is the best we can do, but checks will be done later by examining the near-surface DO saturation.

File 2020-083-SBE911-recal.ccf was prepared to recalibrate by adding 0.004psu to channel Salinity:T0:C0 and subtracting 0.002psu from channel Salinity :T1:C1 and to apply the following correction to channel Oxygen:Dissolved:

CTD DO Corrected = CTD DO * 1.0505 - 0.0301

This correction was first applied to the SAM and MRGCLN2 files.

COMPARE was rerun for salinity. When the same outliers were removed as in the original comparison, both salinity channels were found to be high by an average of <0.0001psu with standard deviations ~0.003psu. See file 2020-083-sal-comp2.xls for details.

COMPARE was rerun for dissolved oxygen and shows that the correction was applied properly. Given that the recalibration was based on sampling from another cruise due to Niskin flushing likely to be poor, the fit does not look very good.

- For DO>3.5mL/L the CTD DO is higher than bottles by about 0.09mL/L (Std dev 0.22mL/L).

- For DO<3.5mL/L the CTD DO is higher than bottles by about 0.03mL/L (Std dev 0.04mL/L).

Bottles fired at the bottom of casts the CTD was low by an average of 0.0014mL/L; this is reasonable since flushing errors lead to CTD looking lower than bottles but vertical gradients tend to be very low. For bottles fired one spot above bottom, excluding those above 100db, the CTD read high by an average of 0.034mL/L but these bottles are higher in the water column where vertical gradients are generally higher. These results do show that the recalibration is reasonable. Given the lack of deep sampling in areas with noisy descent rates, there is not much chance of finding a better recalibration.

CALIBRATE was then run on the EDT files using the same recalibration file.

##### Final Calibration of DO

The initial recalibration of dissolved oxygen corrects for sensor calibration drift. Alignctd corrects for transit time errors. Those 2 steps may partly correct for response time errors, but to see if a further correction is needed, a comparison is made of downcast CTD data to bottle data from the same pressure. Small differences are expected due to ship drift, temporal changes, incomplete flushing of Niskin bottles and delayed response and noise in CTD data.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned and compared to the bottle values in the MRG files. COMPARE was run to study the differences between the downcast CTD DO data and the titrated samples from upcast bottles.

The CTD DO was higher than the titrated samples by an average of ~0.07mL/L (standard deviation 0.22mL/L) when data were excluded based on high standard deviations in the CTD data. The differences are small at depth and gradually rise towards the surface. There are some cases where the CTD is lower than bottles; a few of those were investigated and came from areas where there were local DO reversals. The positive differences are likely due primarily due to incomplete flushing of Niskin bottles, an error that would grow larger as local gradients increase. Another source of positive differences is response time errors in the downcast data from the SBE sensor.

Three casts were found that had surface waters well-mixed to 12db. The difference between CTD and bottle DO for those 9 samples ranged from -0.02mL/L to +0.04mL/L with an average of +0.015mL/L. So after recalibration the CTD DO values appear to be reliable to within ±0.05mL/L in low-gradient areas, but in large gradient areas the errors will be larger due to response time errors.

No further recalibration of CTD DO is appropriate.

Based on a plot of differences versus pressure a rough estimate of SBE DO accuracy is:

±0.40 mL/L from 0-100db

±0.02 mL/L below 100db

This is likely an underestimate of accuracy particularly in areas of low DO vertical gradient.

##### Fluorescence Processing

A median filter, size 11, was applied to the fluorescence channel in the COR1 files. Plots of a few casts showed that the filter was effective. (Output:*.FIL)

##### BIN AVERAGE of CTD files –

The following Bin Average values were applied to the FIL files for all casts except 75-95:

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

For casts #75-95 the averaging interval was 0.5db to provide more near-surface detail.

On-screen T-S plots were examined.

Profile plots were examined. No problems were noted.

##### Final CTD File Steps (REMOVE and HEADEDIT)

For all casts REMOVE was run to remove the following channels:

Scan_Number, Temperature:Secondary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T1:C1 and Flag.

For cast #163 all pumped channels were also removed.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the comments about processing.

The Standards Check routine was run and no problems were found.

The Header Check was run. A problem was found in file #267; when it was created by joining 2 files, the channels were not in the same order in both parts. The steps were repeated for that file and the header check was rerun. No further problems were found.

Profile and T-S plots were examined. No problems were found.

Groups of casts were examined in T-S plots and no suspicious outliers were found.

Cast #172 was found to have dissolved oxygen out of line with other casts in the same region and an outlier in the RBR-SBE comparison. So the SBE oxygen channels were removed.

The sensor history was updated.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. Values at 2 to 3m ranged between ~65% to 105% except for one high value for cast #1 (113%). The offshore casts ranged from 99% to 103% which is in the expected range. Most values from inlets were low ranging from about 80% to 95%. The lowest values are in areas that are likely tidally mixed. In Douglas Channel the range was about 94%-97%. These values suggest that the recalibration applied is reasonable.

##### Final Bottle Files

SORT was run to arrange casts in pressure order.

For all casts REMOVE was run to remove the following channels:

Scan_Number, Temperature:Secondary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T1:C1 and Flag.

For cast #163 all pumped channels were also removed.

A second SBE DO channel with mass units was added for both the CTD DO and titrated DO and REORDER was run to get the pairs of DO channels together.

EDIT HEADERS was run to fix formats and channel names and to add comments about analyses and CTD processing. A comment was added to file #163 about pumps not being on.

Data were exported from the CHE files to file 2020-083-bottles-final.xlsx. The entries were compared with the rosette log sheets. No problems further were found.

Standards check and a header check were run. No problems were found.

The track plot looks ok.

Plots of each file were examined and no problems were found.

A cross-reference listing and header check were produced for the CHE files.

##### Comparison of RBR and SBE casts

An RBR CTD was strapped to the rosette during 20 casts between events #148 and 178.

The RBR files were processed by Lu Guan. A few adjustments had to be made to enable the comparison:

- The file names had the wrong format for some files and the event numbers were sequential rather than matching those in the log book. So file names were adjusted.

- The log appears to indicate that the RBR was first attached to the SBE CTD for event #147, but the note in the log just records the RBR serial number so this may not have been intended to suggest that it was in use for this cast. In fact, the first file corresponds in depth to event #148 and if that is assumed to be the first file then renaming proceeds in reasonable order.

- A spreadsheet with positions, station names and event numbers was prepared and used to merge with the RBR file headers. Then CLEAN was used to change the file names so that the final 4 digits match the event numbers in the header.

The CTD files from the SBE processing were adjusted by deriving oxygen saturation.

Comparisons were done using COMPARE to look at the whole data set together and by comparing some individual casts.

COMPARE:

- The CTD files from both sources were thinned to <50 points.

- Data above 175db were excluded from comparisons because there was a lot of variability, likely due to small vertical offsets.

- The RBR temperature below 175db was lower than that from the SBE by an average of 0.0026C° with a standard deviation of 0.0003C°.

- The RBR conductivity below 175db was higher than that from the SBE by an average of 0.00058S/m with a standard deviation of 0.00007S/m.)

- The RBR salinity below 175db was higher than that from the SBE by an average of 0.0047psu with a standard deviation of 0.0008psu.

- Fluorescence from the RBR was generally higher, especially so near the surface. When outliers were removed that had RBR values of 0 (very close to the surface), the fit was:

The offset is very small; setting it to 0 leads to RBR FL = 2.27 * SBE FL

Given that the SBE fluorescence was about 50% of the chlorophyll samples, the RBR values may be more reliable, though that is a matter left for chlorophyll specialists to determine.

- Comparing dissolved oxygen sampling produced an odd fit, with the RBR generally reading lower than the SBE but sometimes higher. Most of the higher cases came from a single cast, #172. While the RBR could have been in a slightly different position from the other casts the vertical offset required is too large to explain that way. The pumps were late coming on for the SBE system but, once operating, the temperature and salinity differences do not look different from other casts, so there does not appear to be a general pump problem with the SBE.  But the dissolved oxygen looks lower than all other casts in that region, so that channel was removed from the CTD file.

When that cast is excluded from the comparison the RBR reads lower than the SBE by an average of 2.7% below 20db and 2.2% below 175db (std. dev. 0.2%).

The dissolved oxygen values from the SBE sensor on cast #172 were found to have low values compared to all other sites in the region, so the outliers in this fit are due to the SBE and the RBR data are likely fine.

There is not clear evidence of which sensor is producing better results. The SBE sensor was recalibrated based on a previous cruise because most casts from this cruise were in areas with poor flushing of Niskin bottles.

COMPARISON OF PAIRS

Plots were made of RBR and SBE data together for individual casts to check the profile and T-S plot shapes:

- Because RBR temperature is lower and salinity higher than SBE values, the question is whether the differences are due to vertical offsets. If they are they should look the same in T-S space, but they do not. In shallow water there is too much variability but in deeper water when matching density the RBR data are generally warmer and saltier.

- Looking at profiles in pairs there is good correspondence in shapes of the profiles, but matching pressures the temperatures are lower by about 0.0025 and salinity higher by about 0.004psu, similar to results found in COMPARE. RBR Conductivity is higher by ~0.0005 S/m.

CONCLUSIONS:

- There was insufficient information to compare pressure readings since the RBR data had been averaged. Even with complete files this is difficult to judge, but it is unlikely to be a significant factor in the differences found between the 2 CTDs in deeper water.

- The RBR temperature is low and conductivity is high, both of which contribute to salinity reading high by about 0.005psu. The SBE salinity had been recalibrated by adding 0.004psu. We can conclude that either the SBE salinity required a larger correction or the RBR is reading too high. The post-cruise factory check of the SBE sensors indicated the primary salinity was low by 0.006psu in December 2020, so assuming all of that drift had occurred by the time of this cruise, the RBR would be reading high by only 0.003psu. However, the bottle comparison suggests that some of the SBE drift did occur either late in this cruise or after this cruise. So the RBR likely has salinity that is a little high (0.003 to 0.005psu) and temperature a little low (~0.0026C°).

- The dissolved oxygen values from the RBR appear to be slightly low, but there is some doubt about the accuracy of the SBE DO. The recalibration was based on previous cruises with some support from the few offshore casts from this cruise. We would normally expect that  the choice made for recalibration of the SBE data is an underestimate since drift is generally towards DO values reading lower, especially since the membrane needed replacing in December 2020. There is also evidence that the near-surface oxygen saturation from the SBE is in the expected range in the offshore casts. It is likely that the RBR is reading low by 3% but that is far from certain.

Particulars  - Notes from Daily Science Log

PAR off: None.

Casts with bottle fired out of order: 4, 8, 40, 65, 67, 69, 77, 222

1. All bottles tripped. No sampling. No CHE file needed.

1. Altimeter failed to respond – reconfigured before event #3.

3. Bottom depth 500m. Header value changed in raw files.

17. Niskin 1 bottom cap leaking slightly.

38. Sewage likely dumped just before station.

98. Original Sampling log sheet has wrong sample numbers – corrected sheet has sample #s 510-532.

148-178. RBR CTD mounted on rosette.

163. Pumps off. Process since transmissivity could be useful. Removed pumped channels.

164. Lots of wood pieces in water at station.

170. Soft bottom?

172. Pumps on late (~9db). DO values look low compared to nearby casts until the bottom of the cast. DO channel removed.

175. Debris in water.

178. Descent rate high to avoid debris in water.

184. Steep slope so pressure and sounder disagree.

195. 3 files -computer crash. Renamed 195b as 195. No bottle file.

212. downcast stopped at 19m to correct inboard lead.

213/214 – split cast 213 for downcast, 214 for upcast. No sampling so just use 213 for CTD file.

217. Interesting steps.

232. Pumps off and on at end of upcast – don’t run CLIP based on when pumps come on.

237. Log note about change to con file, but no change found so probably just involved choosing wrong one for that cast.

244-1. File started after end of 244 – Join to 244 for bottle file only.

254. No NMEA lat/long – values from previous cast at same site placed in header.

263. When pressure sensor read 134.8db (equivalent ~133.6m), depth sounder read 132m.

266. Cast aborted at 20db. Joined to 267 to create full cast.

267. Cast 266 replacement but pumps not on until about 14db. Joined with 266 to create full cast which is called 267.

281. Logs in the water.

2020-083

CRUISE SUMMARY – CTD

| CTD# | Make | Model |  | Serial# |  | Used with Rosette? |  | CTD Calibration Sheet Competed? |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ |  | 443 |  | Yes |  | Yes |  |  |  |
| Calibration Information - 0443 |  |  |  |  |  |  |  |  |  |  |  |
| Sensor |  |  |  |  | Pre-Cruise |  |  |  | Post Cruise |  |  |
| Name |  |  | S/N |  | Date |  | Location |  | Date | Location |  |
| Temperature |  |  | 4700 |  | 11Dec2019 |  | Factory |  | 12Dec2020 | Factory |  |
| Conductivity |  |  | 3531 |  | 12 ec2019 |  | Factory |  | 6Jan2021 | Factory |  |
| Secondary Temp. |  |  | 4888 |  | 11Dec2019 |  | Factory |  | 12Dec2020 | Factory |  |
| Secondary Cond. |  |  | 4513 |  | 28Jan2020 |  | Factory |  | 18Dec2020 | Factory |  |
| Transmissometer |  |  | 1883DG |  | 8Feb2020 |  | Factory |  | 1 Oct2020 | IOS |  |
| Transmissometer |  |  | 1185DR |  | 8Feb2020 |  | IOS |  | 1 Oct2020 | IOS |  |
| SBE 43 DO sensor |  |  | 3791 |  | 7Dec2019 |  | Factory |  |  |  |  |
| PAR |  |  | 70613 |  | 21Mar2016 |  | Factory |  |  |  |  |
| SPAR |  |  | 20518 |  | 21Mar2016 |  | Factory |  |  |  |  |
| pH:SBE |  |  | 692 |  | 14Jan2020 |  | Factory |  |  |  |  |
| SeaPoint Fluor. |  |  | 3950 |  |  |  | Factory |  |  |  |  |
| Pressure Sensor |  |  | 0443 |  | 9Jan2020 |  | Factory |  |  |  |  |
| Altimeter |  |  | 62355 |  | 23Sep2020 |  | Factory |  |  |  |  |

# TSG Make/Model/Serial#:	SEABIRD/45/0620

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 0620 | 21Jan20 | Factory |  |  |
| Conductivity | 0620 | 21Jan20 | Factory |  |  |
| WETStar Fluorometer | 953 | 30Dec2019 | Factory |  |  |