File List for SeaBird Data          Cruise Number: _2021-006____

[osdcommon\cruise_data\2021-006\ARCHIVE]

[osdcommon\cruise_data\2021-006\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2021-006\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2021-006\ARCHIVE\CTD Pictures] *.CTD

[osdcommon\cruise_data\2021-006\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2021-006\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2021-006\ARCHIVE\DOC\TSG] TSG documents

[osdcommon\cruise_data\2021-006\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2021-006\ARCHIVE\Underway] TSG and Loop data

[osdcommon\cruise_data\2021-006\PROCESSING]

[osdcommon\cruise_data\2021-006\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2021-006\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2021-006\PROCESSING\DOC]

2021-006-recal1.ccf – calibration control files

2021-006_File.doc - this document

2021-006_Processing_Report.doc - processing notes

2021-006 Sampling notes.docx – notes from chief scientist

Sample#-correction.txt – note from Mark Belton re sample # order that doesn’t affect CHE files

2021-006-ctd*.xmlcon – configuration files used in processing

2021-006-ctd-teste35.xmlcon –con file used for hysteresis test

2021-006-ctd-final.rpt – CTD file header check including channel summary

2021-006-ctd-xref.lis – cross reference list of CTD files

2021-006-altimeter-ctd.xlsx – report on header entries for altimetry

*.png – various plots

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2021-006\PROCESSING\DOC\hydro]

2021-006chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2021-006DMS.csv – DMS data simplified from analyst’s s/s

2021-006dmsp.csv – DMSP data simplified from analyst’s s/s

2021-006nuts.csv – nutrients simplified from analyst’s s/s

2021-006oxy.csv – dissolved oxygen data simplified from analyst’s s/s

2021-006sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2021-006-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2021-006-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2021-006-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2021-006-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2021-006-sal-comp1.csv & xlsx –initial comparison of rosette bottle and CTD salinity

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2021-006-bottles-final.xslx – summary of bottle data in CHE files

2021-006-che-final.rpt – final header check of bottle files

2021-006-che-xref.lis – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2021-006\PROCESSING\DOC\tsg]

2021-006-tsg-ctd-loop-rosette-comp.xlsx – comparisons of TSG data, loop, CTD, rosette

2021-0060-hdr-tsg.txt – header with with comments for TOB files.

2021-006-tsg_xref.txt – summary of starting times and positions for TOB files

2021-006-tsg-recal1.ccf – recalibration file for TSG files

TSG_fluorescence_offset_stduy.xlsx – study to determine appropriate offset for calibration

[osdcommon\cruise_data\2021-006\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.dms – DMS files converted from simplified version of analyst’s spreadsheet

*.dmsp – DMSP files converted from simplified version of analyst’s spreadsheet

*.ed1 & .log – cast 106 CTDEdit output

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgcln2 – MRG after filling flag channels

*.mrgrem – after removal of unneeded channels

*.mrgreo – just before final step running Head Edit

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

[osdcommon\cruise_data\2021-006\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.clip – after removal of records with pumps off (casts 91-141 only)

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.cor1 –after recalibration of SBE DO

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2021-006\PROCESSING\Loop] before conversion to IOS SHELL

2021-006-ros.csv – surface data from CHE files (with sigma-T) including CTD & bottle data.

2021-006-end-times.csv – end times calculated for bottle files to use for loop file

2021-006-surface.loop – final file in IOS Header format with comments

2021-006-surface-6linehdr.csv – as above but with 6-line headers and loop data added

2021-006-0001.ios –6linehdr csv file converted to IOS Header format

2021-006-0001.cln – as above with start and end times added

*.dqt – che files with sigma-T added

2021-006-loop-hdr.txt – header comments for the final loop file

[osdcommon\cruise_data\2021-006\PROCESSING\TSG] before conversion to IOS SHELL

2021-006-tsg.csv – RAW file in csv format

[osdcommon\cruise_data\2021-006\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.cln – after adding positions and times to headers and time/date channels

*.cor – after recalibration

*.dqt2 – after recal & derivation of salinity and then Sigma-T

*.edt – after light editing of salinity for 6 files; others same as *.reo.

*.ios – after conversion to IOS HEADERS

*.rem – after removing fluorescence, pressure, T difference and record #

*.reo –TSG files after REORDER

*.tob – final files