File List for SeaBird Data          Cruise Number: _2021-021____

[osdcommon\cruise_data\2021-021\ARCHIVE]

[osdcommon\cruise_data\2021-021\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2021-021\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2021-021\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2021-021\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2021-021\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2021-021\PROCESSING]

[osdcommon\cruise_data\2021-021\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2021-021\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2021-021\PROCESSING\DOC]

2021-021-recal1.ccf – calibration control files

2021-021-ctd.xmlcon –configuration file used in processing

2021-021_File.doc - this document

2021-021_Processing_Report.doc - processing notes

2021-021-ctd-final.rpt – CTD file header check including channel summary

2021-021-ctd-xref.txt – cross reference list of CTD files

2021-021-altimeter-ctd.xlsx – report on header entries for altimetry

*hdr.txt – header files with comments for CTD files

[osdcommon\cruise_data\2021-021\PROCESSING\DOC\hydro]

2021-021chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2021-021nuts.csv – nutrients simplified from analyst’s s/s

2021-021oxy.csv – nutrients simplified from analyst’s s/s

2021-021sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2021-021-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2021-021-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2021-021-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2021-021-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2021-021-sal-comp1.csv & xlsx –initial comparison of rosette bottle and CTD salinity

2021-021-sal-comp2.csv & xlsx –comparison of rosette bottle and CTD after initial recal

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2021-021-bottles-final.xslx – summary of bottle data in CHE files

2021-021-che-final.rpt – final header check of bottle files

2021-021-che-xref.lis – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2021-021\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.ed1 & *.log – output of CTDEDIT for cast #42

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgrem – after addition of DO mass units and REMOVE

*.mrgreo – after REORDER of DO channels – just before final step

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

[osdcommon\cruise_data\2021-021\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE