## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 28 March 2023 | Added HPLC data. J.R. |

## PROCESSING NOTES

Cruise: 2021-021

Agency: OSD

Location: Strait of Georgia / Juan de Fuca Strait

Project: Salish Sea Biophysical Survey

Chief Scientist: Chandler P.

Platform: Vector

Date: 16 June 2021 – 21 June 2021

Processed by: Germaine Gatien

Date of Processing:  30 June 2021 – 18 October 2021

Number of HEX files: 70 (2 split casts)		Number of CTD files processed: 68

Number of rosette files:	 28 (1 split cast)		Number of bottle casts processed: 27

Number of original TSG files: 0 (instrument malfunctioned)

# INSTRUMENT SUMMARY

CTD #1222 was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (983DR), a SBE 43 DO sensor (#1483) on the secondary pump, a SeaPoint Fluorometer (#3685) on the primary pump, a Biospherical PAR sensor (#4565), a SPAR sensor (16504), an altimeter (#73171) and an SBE pH sensor (#692).

Seasave version 7.26.7.121was used for acquisition.

The data logging computer was WP Gamer Laptop.

The deck unit was a Seabird model 11+ #508.

A Guildline model 8400B Autosal serial # 68572 was used to analyze salinity samples.

An IOS rosette with 24 10L bottles was used.

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science Log Book and rosette log sheets were in good order with comments about problems encountered.

The standard procedure was used for all CTD casts was: The rosette was brought to the surface.  Pumps were turned ON.  The rosette was brought down to 10m and kept there for 30 seconds.  Once back at the surface, the data started to be archived, with the rosette at the surface for 30 seconds longer.  Then the cast would start.

The Reference PAR and Thermosalinograph produced no useful data.

The Science Sounder was not working, so water depths in the headers were based on messages from the bridge. There is evidence that those values were systematically high with the error roughly proportional to depth (high by about 1.1% of total depth). This could be due to a faulty sound speed entry.

The SBE DO sensor has a fairly long response time so data accuracy is not as high when it

is in motion as it is during stops for bottles. This will be especially true when vertical

DO gradients are large. To get an estimate of the accuracy of the SBE DO data during

downcasts (after recalibration) a rough comparison was made between downcast SBE DO and upcast

titrated samples. Some of the difference will be due to problems with flushing of Niskin

bottles and/or analysis errors and small mismatches in depth in the presence of large DO

gradients, so the following statement likely underestimates SBE DO accuracy.

Downcast (CTD files) Oxygen:Dissolved:SBE data for this cruise are considered, very roughly, to be:

±0.25 mL/L from 0-50db

±0.08 mL/L from 50-2000db

±0.04 mL/L below 200db

The pH:SBE:Nominal data should be used with caution; no field calibration data are available.     Calibration is required for each cast to get absolute values, although general trends within a cast are likely real.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

- The configuration file used at sea was checked and an error in the PAR sensor offset was fixed. The file was saved as 2021-021-ctd.xmlcon.

- The Log Book and rosette log sheets were obtained.

- Nutrients, extracted chlorophyll, dissolved oxygen and salinity data were obtained in QF spreadsheet format from the analysts.

- The cruise summary sheet was completed.

- The histories of the pressure sensor, conductivity and dissolved oxygen sensors were checked. The temperature and conductivity sensors were used during 1 previous cruise. and dissolved oxygen sensors had not been used since the last factory recalibration.

##### BOTTLE FILE PREPARATION

The ROS files were created using files 2021-021-ctd.xmlcon.

They were converted to IOS Header format with extension *.IOS.

The IOS files were put through CLEAN to create BOT files.

Temperature and salinity were plotted for all BOT files to check for outliers. Cast #42 was opened in

CTDEDIT. Secondary salinity had a spike at about 74db; some points were padded. The output file was copied to *.BOT.

Next JOIN was used to combine BOT files for events 49 and 50. Events 49 and 50 were renamed as 50.bota and 50.botb and the joined file was saved as 2021-021-0050.BOT.

A preliminary header check was run and no problems found.

The BOT files were bin-averaged on bottle number.

The output was used to create file ADDSAMP.csv. First, the file was sorted on event number and Bottle Position order. Then sample numbers were added based on the rosette logs.

The file was sorted on sample number.

The ADDSAMP file was adjusted and used to add sample numbers to the BOT files – output *.SAM.

The SAM files were bin-averaged on bottle # and called SAMAVG.

The addsamp.csv file was converted to CST files, which will form the framework for the bottle files.

Next, each of the analysis spreadsheets were examined to see what comments the analysts wanted included in the header file. These were used to create file 2021-021-bot-hdr.txt which will be updated as needed during processing.

DISSOLVED OXGYEN

Dissolved oxygen data were provided in spreadsheet QF2021-021_OXY*.xlsx which includes flags, comments and a precision study. Draw temperatures are available. The spreadsheet page with the final data was simplified and saved as 2021-021oxy.csv. That file was converted into individual *.OXY files.

At this point note was made of all comments in the DO file that had comments starting with “ALL:”. There was only 1. The rosette sheets were checked to note what other samples were taken from the same bottle so the flags will be applied to all samples from the other csv files that are affected by the DO analysts observation, but there was only DO and DIC sampling from that Niskin . No DIC data were available at the time of initial processing.

EXTRACTED CHLOROPHYLL NOT AVAILABLE AT TIME OF ORIGINAL PREP

Extracted chlorophyll and phaeo-pigment data were obtained in file QF2021-021_CHL QF*.xlsx. The file included comments and flags and a precision study. A simplified version of the spreadsheet was prepared and saved as 2021-021chl.csv. The csv file was then converted to individual CHL files.

SALINITY

Salinity analysis was obtained in file QF2021-021_SAL.xlsx which included a precision study. The analyses were carried out in a temperature-controlled lab 40 to 45 days after collection. The files were simplified and saved as 2021-021sal.csv. That file was then converted to individual SAL files.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2021-021_NUTS*.xlsx. This includes a precision study. The file was simplified, saved as 2021-021nuts.csv and converted to individual NUT files.

The flags were changed to 3 for the 1 sample noted by the oxygen analyst as having a problem that would affect all samples. The file was then converted to individual files.

The SAL, CHL, OXY and NUT files were merged with CST files in 4 steps.

The files were then put through CLEAN to reduce the headers to File and Comment sections only.

These files are ordered on sample number, but the SAMAVG files are ordered on bottle number, so one or the other set needs to be reordered in order to merge them. The MRGCLN1 files were reordered on Bottle_Number and saved as *. MRGCLN1s.

The MRGCLN1s files were then merged with SAMAVG files using merge channel Bottle_Number.

The output of the MRG files were exported to a spreadsheet and compared to the rosette log sheets to look for omissions. Problems were found for 2 events where samples had the wrong event # due to errors in rosette sheets. The analysts were notified.

##### Compare

Salinity

Compare was run with pressure as reference channel.

There were 20 salinity bottles from depths 100db to 350db.

Of those 6 were associated with very noisy CTD salinity data and 2 others were clear outliers (casts #33 and 68).

The two salinity channels were very close to each, on average, and when plotted against time the differences from bottles have a very similar pattern. The primary was found to be high by an average of 0.0022psu and the secondary high by 0.0024psu when outliers were excluded; standard deviations were 0.0014psu and 0.0012, respectively.

Salinity analysis was done about 6 weeks after analysis so we would normally expect some increase in bottle salinity due to desorption of glass into the samples, by ~00013psu. There may also be a rise in salinity due to evaporation of samples, an effect that we expect to be small and random. We also expect that due to very steady descent rates in much of the cruise, the Niskin bottles may not flush well, so may contain water from lower in the water column which would also lead to Niskin bottles containing water that is higher than ambient waters. These 3 effects would all lead to the CTD looking lower than bottles, so the CTD may be reading higher than it appears. However, the bottles were all fired near the bottom, far enough above for normal conditions, but the descent rate was extremely steady for many of these casts, so some of the Niskin bottles could possibly contain water from higher in the water column. In several cases the CTD initially stopped a little above the firing level and then dropped a few metres before firing. That would help Niskin flushing somewhat. So flushing errors may be lower than would be the case for sampling higher in the water column.

The 2 outliers that are were not removed due to noisy CTD data during the 10s window have differences of +0.013 and -0.010psu. Examination of the data during the bottle stop shows there were CTD salinity values found that would produce those differences during the stops but not during the 10s windows. The Niskin bottles might well contain salinity with those values. There is no evidence that the outliers are due to analysis problems and no change to quality flags are recommended.

For full details for the COMPARE run see file 2021-021-sal-comp1.xls.

Dissolved Oxygen

COMPARE was run with pressure as the reference channel.

There was a lot of scatter in the plots of (CTD DO – Bottle CTD) versus CTD DO with the most severe outliers being at the high DO end where most indicate the CTD was reading higher than the bottles.

When outliers were removed based on standard deviation in the CTD DO in the comparison being >0.04mL/L and then gradually removing outliers based on residuals until a reasonably high R2 was achieved the fit found was:

CTD DO Corrected = CTD DO * 1.031 - 0.0298 R2 = 0.78

The best flushing of Niskin bottles for this project is usually found using bottles near the mouth of Juan de Fuca Strait and examination of CTD descent rates confirm that most other areas had very calm conditions. A fit based on just events #10 and #13 (stations 102 and 75). Outliers were identified in the same way and the fit was very similar but tighter:

CTD DO Corrected = CTD DO * 1.0284 - 0.0309 R2 = 0.92

For the fit using all bottle casts the outliers were fairly evening distributed above and below the general fit except that there were many cases of the CTD reading higher near the surface.

For the fit using only events #10 and #13 the outliers were mostly in the highest gradient area (50 to 100db). One is easily explained as being due to incomplete flushing but 3 others have differences that cannot be explained that way. Examination of profiles suggests that these occurred near local reversals in the DO gradients. In one case the CTD DO fell steadily through the bottle stop changing by 0.1mL/L. In another the CTD rose above the target depth and then was lowered to the firing level. So unusual results are not surprising.

Plots of Titrated DO and CTD DO against CTD salinity were examined. No further outliers were found.

No outliers were identified that require further flagging of DO samples.

Fluorescence

COMPARE was run with extracted chlorophyll and CTD Fluorescence using pressure as the reference variable.

The fit of CTD fluorescence versus extracted CHL samples indicates that fluorescence was about 41% of CHL.

As usual, there is a lot of scatter in the fit. This may be due to variations in how well the Niskin bottles flush. In areas of poor flushing the Niskin bottle may contain water from lower in the water column and so might have lower than ambient values if below the CHL peak, or higher if above. The depth of the fluorescence peaks are often around 10db but there is great variability in that.

The ratio of FL/CHL vs CHL looks unusual. Usually we see that ratio being large for low CHL and dropping to about 0.4 to 0.5 for large values of CHL. For these data the general pattern is similar in having the ratio drop gradually, but there is a lot of scatter and there are very few cases of the ratio exceeding 1. This may be partly because there are few very low CHL values in this data set which is where high FL/CHL ratios are common. There was one major outlier with a ratio of 14, but that was from Saanich Inlet which often has odd results due to very high vertical gradients. Most ratios are between 0.2 and 0.8 for CHL<4 and between 0.1 and 0.6 for CHL>4ug/L.

##### Conversion of Full Files from Raw Data

All files were converted using 2021-021-ctd.xmlcon.

The Tau function was selected but not the hysteresis function since there was no deep sampling. Depth was included in the conversion.

A few casts were examined and all data look reasonable except for the Surface PAR data which had no signal. Convert was rerun without that channel. The T and C pairs were reasonably close during downcasts with upcasts very noisy. Fluorescence, PAR and Dissolved Oxygen profiles looked normal. The altimetry data look excellent.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, depth, conductivity & temperature only in the full cast files (*.CNV).

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

##### ALIGN DO

A few casts were examined; both temperature channels were noisy during upcasts so the tests were not easy to interpret, but using +2.5s certainly improves the alignment and overall looks like a good choice for both sensors. That setting has worked well for many SBE DO sensors in recent years.

ALIGNCTD was run on all casts using +2.5s.

##### CELLTM

The noise in the upcast data makes tests for the best parameters for this routine very difficult to interpret. In the past when upcast data were not so noisy, the default setting of (α = 0.0245, β=9.5) was generally found to be the best choice. A few casts were checked for this cruise and the default setting does improve the data. CELLTM was run using (α = 0.0245, β=9.5) for both the primary and secondary conductivity.

##### DERIVE and Channel Comparisons

Program DERIVE was run on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

DERIVE was run a second time on 3 casts to find the differences between the pairs of temperature, conductivity and salinity channels. The differences were very noisy so these are very rough estimates.  The shaded values come from 2020-017 which are included for comparison. However, all casts are shallow so comparisons are of limited value.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2021-017-0075 | 320 | -0.0002 | -0.00035 | -0.0035 | High, Steady |
| 2021-017-0108 | 340 | -0.0002 | -0.00030 | -0.0035 | High, Steady |
| 2021-021-0010 | 250 | -0.0008 | -0.00002 VN | 0.0008 | High, X Noisy |
| 2021-021-0013 | 190 | -0.0008 | ~0 XN | 0.0007 | High, Moderate |
| 2021-021-0036 | 360 | -0.0008 | 0.00003 | 0.0010 | High, F. Steady |
| 2021-021-0055 | 400 | -0.0006 | 0.00003 | 0.0008 | High, Steady |

The conductivity and salinity differences are lower than during 2021-017.

##### Conversion to IOS Header Format

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

##### Checking Headers

- The cross-reference check was run. The format for the station name for cast 3 was incorrect and was fixed in the profile and bottle files.

- The header check was run and turned up no problems. The minimum pressure recorded was 0.98db during the upcast of event #40. The pumps were on and the associated salinity was low (16-21psu between 1 and 2db).

- Surface check was run and found an average  of 2.7db which is fairly deep for this project but the values include a wide range from 1.7db to 8.4db. The deepest value came from a cast that did not start until that depth and there is no explanation in the log for this.

- Cruise tracks were plotted and look fine; they were added to the end of this report.

The altimeter and water depth readings from the headers of the CLN files were exported to spreadsheets. A check value was calculated as follows:

CHECK VALUE = Max Depth Sampled + (Altimetry Header – 1) - Water Depth from Header

The altimetry averages over 2m so the header values are likely high by ~1m.

There are bound to be small variations due to water depth changes through the cast, but those changes should be fairly random.

The differences were investigated as they look systematic. The header depths were checked against the log entries; for events #72 and #79 the log entry is different and using the log entry produces a lower check value, so the headers were changed to the log values. The *.SAM file was also adjusted for cast #72. For event #3 the difference was very large (16m) so the header depth was changed to the Check Value. For all other events the check values ranged from -6.9m to +3.8m with a median value of -1.5m. The check values are largest in deep water. The altimetry was excellent near the bottom so the altimetry headers are likely reliable.

The Science sounder was not working during this cruise, so the water depth entries are based on reports from the bridge. It appears that the bridge sounder was reading high by an amount that is roughly proportional to depth. The fit of estimated depth versus sounder depth was used to estimate error versus depth. At 100db the water depth appears to be high by ~1.1m; at 400 it is high by ~4.4m. No corrections were made to water depth but a note will be added to the headers mentioning the sounder problem.

##### Shift

Fluorescence

SHIFT was run on the SeaPoint fluorescence channel in all casts using the usual advance of +24 records. Plots show that the fluorescence offset is reasonably close to the temperature offset after this step.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked to see if the alignment looked ok, and it did. No further alignment is needed for the DO concentration channel,

Conductivity

Tests were run on a few casts to assess what settings are best to align conductivity with temperature (as judged by the effect on salinity as seen in T-S space). The best settings were -0.3records for the primary and +0.4 for the secondary, although for a few features +0.5 to 0.7 looked better.

SHIFT was run twice on all SBE911 casts using -0.3 records for the primary and +0.4 records for the secondary conductivity. Salinity was recalculated for both channels.

pH:SBE

During previous uses of this sensor an advance of about +30 records was used to bring the SBE:pH sensor data into better alignment with temperature. But tests on a few of the current casts shows that setting is too large and +18 records looks suitable.

SHIFT was run on channel pH:SBE to advance the records by 18 records.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings.

##### Other Comparisons

Experience with these sensors since last factory service –

The pressure, temperature and conductivity sensors were used during 2020-017 when there were only 3 salinity samples that suggested the  primary salinity was high by ~0.0033psu and the secondary high by <0.001psu. This was the first use for the dissolved oxygen sensor since it was serviced at the factory.

Historic ranges – Profile plots were made with 3-standard deviation climatology ranges of T and S superimposed. There was only 1 excursion from the temperature climatology with a small section of high temperature between 90 and 125db at station 70 in Juan de Fuca Strait. Salinity was low near the surface of a few casts at the mouth of Juan de Fuca Strait and south of Texada Island and between 90 and 120db at stations 69 to 72 in Juan de Fuca Strait. It was high near the bottom at two sites in the southern Strait of Georgia. The excursions do not suggest any problems with calibration given rapidly varying conditions in this region and the lack of any systematic excursions.

Post-Cruise Calibration – There were no post-cruise calibrations available.

##### DETAILED EDITING

The decision on which channels to use is not obvious but comparing T-S plots show that the secondary salinity would require slightly less editing than the primary, so T1, S1 were selected. However, for 4 casts (72, 73, 75 and 79) the secondary salinity was very noisy so the primary were selected.

CTDEDIT was used to remove records that appear to be corrupted by shed wakes. Salinity was cleaned to remove spikes that appear to be due to small misalignment or instrumental noise. All files required some editing, mostly removing some records near the top and bottom of casts and some light editing of salinity. Notes about editing applied were added to the files.

The edited files were copied to *.EDT.

After editing T-S plots were examined for all casts. The only unstable features found were from areas where some unstable features are expected and could be real. No further editing was done.

##### Corrections to Pressure, Salinity and Dissolved Oxygen Concentration

There is no indication of a problem with pressure calibration.

The salinity channels were found to be higher than bottles by 0.0022psu and 0.0024psu, but given some delay in analysis and the possibility of incomplete flushing for some bottles, they may be reading higher than the comparison would indicate. The only previous use of these sensors involved only 3 samples from 1 cast, so offers little guidance; though the best guess was that the primary might be high by 0.003psu and the secondary by 0.001psu. Given that the sensors have had little use, subtracting 0.003psu is reasonable. If they are actually high by between 0.002 and 0.005, then the recalibrated results would range from low by 0.001 to high by 0.002, bringing values within ±0.002psu.

File 2021-021-SBE911-recal.ccf was prepared to subtract 0.003psu from channel Salinity:T0:C0 and channel Salinity:T1:C1 and to apply the following correction to channel Oxygen:Dissolved:

CTD DO Corrected = CTD DO * 1.0284 - 0.0309

This correction was first applied to the SAM and MRGCLN2 files.

COMPARE was rerun for salinity to ensure that corrections were made properly and they were. When the same outliers were removed as in the original comparison, the salinity channels were found to be low by an average of 0.0008 and 0.0005psu. See file 2021-021-sal-comp2.xls for details.

COMPARE was rerun for dissolved oxygen and shows that the correction was applied properly. When data are excluded using the same criteria as in the original fit, the CTD DO was low by an average of 0.011mL/L but low by only 0.00005mL/L for the mouth of Juan de Fuca. This shows that the recalibration was done correctly. See file 2021-021-DO-comp2.xls for details.

CALIBRATE was then run on the EDT files using the same recalibration file.

##### Final Calibration of DO

The initial recalibration of dissolved oxygen corrects for sensor calibration drift. Alignctd corrects for transit time errors. Those 2 steps may partly correct for response time errors, but to see if a further correction is needed, a comparison is made of downcast CTD data to bottle data from the same pressure. Small differences are expected due to ship drift, temporal changes, incomplete flushing of Niskin bottles and delayed response and noise in CTD data.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned and compared to the bottle values in the MRG files. COMPARE was run to study the differences between the recalibrated downcast CTD DO data and the titrated samples from upcast bottles.

When outliers were removed based on standard deviations in the CTD DO data, the CTD DO was higher than the titrated samples by an average of ~0.011mL/L and the standard deviation was 0.076mL/L. When only the 2 casts from the mouth of Juan de Fuca were included the CTD DO was found to be high by an average of 0.004mL/L with a standard deviation of 0.073.

Since the Juan de Fuca casts likely have the best flushing of Niskin bottles, accuracy of the CTD DO was estimated based on  those data. Plots against pressure suggest that the CTD DO data are good to roughly ±0.25mL/L from 0 to 50db, ±0.08 from 50 to 200 and ±0.04 below 200db. These are very rough estimates.

##### Fluorescence Processing

A median filter, size 11, was applied to the fluorescence channel in the COR1 files. Plots of a few casts showed that the filter was effective. (Output:*.FIL)

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

On-screen T-S plots were examined. There are some small unstable features but from this region of active mixing they may well be real.

Profile plots were examined to see if there any problems. No problems were noted.

##### Final CTD File Steps (REMOVE and HEADEDIT)

For all casts except #72, 73, 75 and 79 REMOVE was run to remove the following channels:

Scan_Number, Temperature:Primary, Conductivity:Primary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T0:C0 and Flag.

For casts #72, 73, 75 and 79 REMOVE was run to remove the following channels:

Scan_Number, Temperature:Secondary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T1:C1 and Flag.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the comments about processing.

The Standards Check routine was run and no problems were found.

The Header Check was run; no problems were found.

Profile and T-S plots were examined. No problems were found.

The sensor history was updated.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. Values at 2 to 3m ranged between ~65% to 130%. The lowest values were in Haro Strait and eastern Juan de Fuca Strait.

Values in the Strait of Georgia and Saanich Inlet were higher. These observations look typical of this region in June with low values where there is strong vertical mixing and higher where the near-surface gradients are higher. There is no evidence of a problem with CTD dissolved oxygen calibration.

##### Final Bottle Files

MRGSORT was run to get files in pressure order.

For all casts except #72 and 75 REMOVE was run to remove the following channels:

Scan_Number, Temperature:Primary, Conductivity:Primary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T0:C0 and Flag.

For casts #72 and 75 REMOVE was run to remove the following channels:

Scan_Number, Temperature:Secondary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T1:C1 and Flag.

A second SBE DO channel with mass units was added for both the CTD DO and titrated DO and REORDER was run to get the pairs of DO channels together.

HEAD EDIT was run to add comments to the headers.

Data were exported from the CHE files to file 2021-021-bottles-final.xlsx. The entries were compared with the rosette log sheets and no data were missing but one dissolved oxygen value and flag were obviously wrong. The correct value was in the processing sheet, just not on the final QF sheet. The analyst was notified and the bad value was replaced and the calculation in mass units rerun.

A Header Check and Standard Check were prepared and no problems were found.

The track plot looks ok.

Plots of each file were examined and no problems were found.

A cross-reference listing and header check were produced for the CHE files.

##### Thermosalinograph Data

The thermosalinograph malfunctioned during this cruise.

Particulars  - Notes from Daily Science Log and Sampling Notes

1. Bottles didn’t fired. Stopped upcast at 20m and started new file.

2. 2nd cast at SI  - Just for bottles. Use 1 for CTD, 2 for CHE.

49/50.Full downcast in 49. Some bottles in 49 and 1 in 50. For CHE file join 49 and 50.

78. Downcast did not start until ~8db. No note in log to explain this. Upcast data not suitable substitute given many stops for bottles.

2021-021

CRUISE SUMMARY – CTD

| CTD# | Make | Model |  | Serial# |  | Used with Rosette? |  | CTD Calibration Sheet Competed? |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ |  | 1222 |  | Yes |  | Yes |  |  |  |
| Calibration Information - 0443 |  |  |  |  |  |  |  |  |  |  |  |
| Sensor |  |  |  |  | Pre-Cruise |  |  |  | Post Cruise |  |  |
| Name |  |  | S/N |  | Date |  | Location |  | Date | Location |  |
| Temperature |  |  | 5013 |  | 5Dec2019 |  | Factory |  |  |  |  |
| Conductivity |  |  | 4434 |  | 12Dec2019 |  | Factory |  |  |  |  |
| Secondary Temp. |  |  | 5725 |  | 3Dec2019 |  | Factory |  |  |  |  |
| Secondary Cond. |  |  | 4448 |  | 12Dec2019 |  | Factory |  |  |  |  |
| Transmissometer |  |  | 983DR |  | Oct2020 |  | Factory |  |  |  |  |
| SBE 43 DO sensor |  |  | 1438 |  | 19Feb2021 |  | Factory |  |  |  |  |
| SBE43 pH |  |  | 692 |  | 14 Jan2020 |  | Factory |  |  |  |  |
| PAR |  |  | 4565 |  | 24Feb2021 |  | Factory |  |  |  |  |
| SPAR |  |  | 16504 |  | 30Mar2016 |  | Factory |  |  |  |  |
| SeaPoint Fluor. |  |  | 3685 |  |  |  | Factory |  |  |  |  |
| Altimeter |  |  | 73171 |  | 20Jan2021 |  |  |  |  |  |  |
| Pressure Sensor |  |  | 1222 |  | 15Mar2019 |  | Factory |  |  |  |  |