## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2021/10/12 14:32:57 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 0.5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2021-021-0007.mrg | 2021-021-0007.sam | 241 | 201.042 | 201.042 | 0.12501 | -0.00022888 | 32.0441 | 32.0449 | 0.0076397 | 0.00082016 | 32.0441 | 32.0472 | 0.0085434 | 0.0031052
2021-021-0010.mrg | 2021-021-0010.sam | 240 | 250.12 | 250.118 | 0.22451 | -0.0020752 | 33.9141 | 33.9162 | 0.00019354 | 0.0021248 | 33.9141 | 33.9162 | 0.00022534 | 0.0021324
2021-021-0013.mrg | 2021-021-0013.sam | 240 | 200.27 | 200.268 | 0.19832 | -0.002182 | 33.8995 | 33.9026 | 0.00023263 | 0.0031395 | 33.8995 | 33.9027 | 0.00020729 | 0.0031967
2021-021-0017.mrg | 2021-021-0017.sam | 241 | 176.132 | 176.132 | 0.1919 | 1.5259e-05 | 33.8832 | 33.8863 | 0.00023998 | 0.003128 | 33.8832 | 33.8866 | 0.00022323 | 0.0033836
2021-021-0020.mrg | 2021-021-0020.sam | 207 | 149.326 | 149.425 | 0.19356 | 0.099045 | 33.8425 | 33.845 | 0.00026794 | 0.0025368 | 33.8425 | 33.8452 | 0.00027441 | 0.0027504
2021-021-0021.mrg | 2021-021-0021.sam | 241 | 100.234 | 100.234 | 0.066935 | -7.6294e-06 | 32.8204 | 32.8219 | 0.00041602 | 0.0014915 | 32.8204 | 32.8221 | 0.00051501 | 0.001709
2021-021-0022.mrg | 2021-021-0022.sam | 241 | 101.149 | 101.149 | 0.16915 | -0.0002594 | 32.5241 | 32.526 | 0.0009382 | 0.0018539 | 32.5241 | 32.5264 | 0.0012161 | 0.0022888
2021-021-0023.mrg | 2021-021-0023.sam | 241 | 124.525 | 124.525 | 0.18221 | 0.00017548 | 32.3823 | 32.3786 | 0.0034676 | -0.0037079 | 32.3823 | 32.38 | 0.0042096 | -0.0022964
2021-021-0026.mrg | 2021-021-0026.sam | 241 | 199.995 | 199.995 | 0.033636 | 0.00016785 | 31.9411 | 31.9346 | 0.0013699 | -0.0065041 | 31.9411 | 31.9361 | 0.001106 | -0.0049992
2021-021-0033.mrg | 2021-021-0033.sam | 241 | 150.267 | 150.267 | 0.14134 | -9.1553e-05 | 31.0639 | 31.0765 | 0.00070794 | 0.012566 | 31.0639 | 31.0773 | 0.00070644 | 0.013414
2021-021-0037.mrg | 2021-021-0037.sam | 241 | 300.13 | 300.13 | 0.069923 | -3.0518e-05 | 31.0392 | 31.0417 | 0.00020643 | 0.0024796 | 31.0392 | 31.0423 | 0.00077101 | 0.0030632
2021-021-0042.mrg | 2021-021-0042.sam | 241 | 350.212 | 350.212 | 0.09774 | 0.00012207 | 31.1053 | 31.1082 | 0.0014024 | 0.002924 | 31.1053 | 31.1085 | 0.00022825 | 0.0032139
2021-021-0049.mrg | 2021-021-0049.sam | 241 | 300.14 | 300.14 | 0.042209 | -9.1553e-05 | 31.0155 | 31.0195 | 0.0005319 | 0.0039711 | 31.0155 | 31.0198 | 0.0010737 | 0.0043335
2021-021-0057.mrg | 2021-021-0057.sam | 241 | 249.964 | 249.964 | 0.098014 | -0.00027466 | 30.9887 | 30.9931 | 0.00045373 | 0.0044365 | 30.9887 | 30.9927 | 0.00067429 | 0.0039997
2021-021-0062.mrg | 2021-021-0062.sam | 241 | 299.784 | 299.784 | 0.049873 | -3.0518e-05 | 31.075 | 31.0771 | 0.00026579 | 0.0020828 | 31.075 | 31.0774 | 0.00031567 | 0.0024166
2021-021-0065.mrg | 2021-021-0065.sam | 241 | 175.048 | 175.048 | 0.027602 | -0.00022888 | 30.8682 | 30.8692 | 0.00024069 | 0.0010319 | 30.8682 | 30.8696 | 0.00039552 | 0.0014362
2021-021-0068.mrg | 2021-021-0068.sam | 241 | 150.582 | 150.582 | 0.03843 | 0.00047302 | 30.8789 | 30.8677 | 0.00036083 | -0.011196 | 30.8789 | 30.8684 | 0.00034625 | -0.010458
2021-021-0072.mrg | 2021-021-0072.sam | 241 | 300.432 | 300.432 | 0.027093 | -0.00018311 | 30.7897 | 30.7905 | 0.00020334 | 0.0008297 | 30.7897 | 30.7908 | 0.00020988 | 0.0011482
2021-021-0075.mrg | 2021-021-0075.sam | 241 | 300.365 | 300.365 | 0.030547 | 0.00012207 | 30.8011 | 30.8008 | 0.00020852 | -0.00034714 | 30.8011 | 30.8012 | 0.00025411 | 9.7275e-05
2021-021-0078.mrg | 2021-021-0078.sam | 241 | 125.224 | 125.224 | 0.093794 | -0.00015259 | 30.2813 | 30.2787 | 0.0065332 | -0.0026131 | 30.2813 | 30.2802 | 0.010282 | -0.0010815
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 20
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2021-021-0007.mrg | 2021-021-0007.sam | 12 | 12 | 2021-021-0007.mrg & 2021-021-0007.sam
2 | 2021-021-0010.mrg | 2021-021-0010.sam | 14 | 14 | 2021-021-0010.mrg & 2021-021-0010.sam
3 | 2021-021-0013.mrg | 2021-021-0013.sam | 16 | 16 | 2021-021-0013.mrg & 2021-021-0013.sam
4 | 2021-021-0017.mrg | 2021-021-0017.sam | 18 | 18 | 2021-021-0017.mrg & 2021-021-0017.sam
5 | 2021-021-0020.mrg | 2021-021-0020.sam | 20 | 20 | 2021-021-0020.mrg & 2021-021-0020.sam
6 | 2021-021-0021.mrg | 2021-021-0021.sam | 22 | 22 | 2021-021-0021.mrg & 2021-021-0021.sam
7 | 2021-021-0022.mrg | 2021-021-0022.sam | 24 | 24 | 2021-021-0022.mrg & 2021-021-0022.sam
8 | 2021-021-0023.mrg | 2021-021-0023.sam | 26 | 26 | 2021-021-0023.mrg & 2021-021-0023.sam
9 | 2021-021-0026.mrg | 2021-021-0026.sam | 28 | 28 | 2021-021-0026.mrg & 2021-021-0026.sam
10 | 2021-021-0033.mrg | 2021-021-0033.sam | 30 | 30 | 2021-021-0033.mrg & 2021-021-0033.sam
11 | 2021-021-0037.mrg | 2021-021-0037.sam | 32 | 32 | 2021-021-0037.mrg & 2021-021-0037.sam
12 | 2021-021-0042.mrg | 2021-021-0042.sam | 34 | 34 | 2021-021-0042.mrg & 2021-021-0042.sam
13 | 2021-021-0049.mrg | 2021-021-0049.sam | 36 | 36 | 2021-021-0049.mrg & 2021-021-0049.sam
14 | 2021-021-0057.mrg | 2021-021-0057.sam | 38 | 38 | 2021-021-0057.mrg & 2021-021-0057.sam
15 | 2021-021-0062.mrg | 2021-021-0062.sam | 40 | 40 | 2021-021-0062.mrg & 2021-021-0062.sam
16 | 2021-021-0065.mrg | 2021-021-0065.sam | 42 | 42 | 2021-021-0065.mrg & 2021-021-0065.sam
17 | 2021-021-0068.mrg | 2021-021-0068.sam | 44 | 44 | 2021-021-0068.mrg & 2021-021-0068.sam
18 | 2021-021-0072.mrg | 2021-021-0072.sam | 46 | 46 | 2021-021-0072.mrg & 2021-021-0072.sam
19 | 2021-021-0075.mrg | 2021-021-0075.sam | 48 | 48 | 2021-021-0075.mrg & 2021-021-0075.sam
20 | 2021-021-0078.mrg | 2021-021-0078.sam | 50 | 50 | 2021-021-0078.mrg & 2021-021-0078.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Pressure | 20
2 | (Sal1 - Sal_Bot) | Pressure | 20
3 | (Sal0 - Sal_Bot) | File Pair # | 20
4 | (Sal1 - Sal_Bot) | File Pair # | 20

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0020189 |  | X | CALC Y
m= | -8.601e-07 | 6.0472e-06 |  | Std Dev of Resid |  | 0.0014235 |  | 100.234 | 0.0023567
b= | 0.0024429 | 0.0014706 |  | Resid Sum of Squares |  | 2.0263e-05 |  | 300.432 | 0.0021845
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y |  |  | Sal0 | Sal1 | Sal1-Sal0
1 | NO | 201.042 | 32.0449 | 0.0076397 | 0.00082016 | 0.00227 | 0.0014498 |  | 250.118 | 0.0021248 |  |  | 32.0449 | 32.0472 | 0.0023
2 | YES | 250.118 | 33.9162 | 0.00019354 | 0.0021248 | 0.0022278 | 0.00010301 |  | 200.268 | 0.0031395 |  |  | 33.9162 | 33.9162 | 0
3 | YES | 200.268 | 33.9026 | 0.00023263 | 0.0031395 | 0.0022707 | -0.00086883 |  | 176.132 | 0.003128 |  |  | 33.9026 | 33.9027 | 0.0001
4 | YES | 176.132 | 33.8863 | 0.00023998 | 0.003128 | 0.0022914 | -0.00083662 |  | 149.425 | 0.0025368 |  |  | 33.8863 | 33.8866 | 0.0003
5 | YES | 149.425 | 33.845 | 0.00026794 | 0.0025368 | 0.0023144 | -0.00022237 |  | 100.234 | 0.0014915 |  |  | 33.845 | 33.8452 | 0.0002
6 | YES | 100.234 | 32.8219 | 0.00041602 | 0.0014915 | 0.0023567 | 0.00086516 |  | 300.13 | 0.0024796 |  |  | 32.8219 | 32.8221 | 0.0002
7 | NO | 101.149 | 32.526 | 0.0009382 | 0.0018539 | 0.0023559 | 0.00050199 |  | 300.14 | 0.0039711 |  |  | 32.526 | 32.5264 | 0.0004
8 | NO | 124.525 | 32.3786 | 0.0034676 | -0.0037079 | 0.0023358 | 0.0060437 |  | 249.964 | 0.0044365 |  |  | 32.3786 | 32.38 | 0.0014
9 | NO | 199.995 | 31.9346 | 0.0013699 | -0.0065041 | 0.0022709 | 0.008775 |  | 299.784 | 0.0020828 |  |  | 31.9346 | 31.9361 | 0.0015
10 | NO | 150.267 | 31.0765 | 0.00070794 | 0.012566 | 0.0023137 | -0.010252 |  | 175.048 | 0.0010319 |  |  | 31.0765 | 31.0773 | 0.0008
11 | YES | 300.13 | 31.0417 | 0.00020643 | 0.0024796 | 0.0021848 | -0.00029477 |  | 300.432 | 0.0008297 |  |  | 31.0417 | 31.0423 | 0.0006
12 | NO | 350.212 | 31.1082 | 0.0014024 | 0.002924 | 0.0021417 | -0.00078226 |  | 300.365 | -0.00034714 |  |  | 31.1082 | 31.1085 | 0.0003
13 | YES | 300.14 | 31.0195 | 0.0005319 | 0.0039711 | 0.0021848 | -0.0017863 | [5 empty] | 31.0195 | 31.0198 | 0.0003
14 | YES | 249.964 | 30.9931 | 0.00045373 | 0.0044365 | 0.0022279 | -0.0022086 |  |  |  | 0.0022421 | 0.0013586 | 30.9931 | 30.9927 | -0.0004
15 | YES | 299.784 | 31.0771 | 0.00026579 | 0.0020828 | 0.0021851 | 0.00010226 | [5 empty] | 31.0771 | 31.0774 | 0.0003
16 | YES | 175.048 | 30.8692 | 0.00024069 | 0.0010319 | 0.0022924 | 0.0012605 | [5 empty] | 30.8692 | 30.8696 | 0.0004
17 | NO | 150.582 | 30.8677 | 0.00036083 | -0.011196 | 0.0023134 | 0.01351 | [5 empty] | 30.8677 | 30.8684 | 0.0007
18 | YES | 300.432 | 30.7905 | 0.00020334 | 0.0008297 | 0.0021845 | 0.0013548 | [5 empty] | 30.7905 | 30.7908 | 0.0003
19 | YES | 300.365 | 30.8008 | 0.00020852 | -0.00034714 | 0.0021846 | 0.0025317 | [5 empty] | 30.8008 | 30.8012 | 0.0004
20 | NO | 125.224 | 30.2787 | 0.0065332 | -0.0026131 | 0.0023352 | 0.0049483 | [5 empty] | 30.2787 | 30.2802 | 0.0015
[14 empty] | average | 0.00058
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0016745 |  | X | CALC Y
m= | -5.9754e-07 | 4.6138e-06 |  | Std Dev of Resid |  | 0.0011707 |  | 100.234 | 0.0024611
b= | 0.002521 | 0.0011475 |  | Resid Sum of Squares |  | 1.3706e-05 |  | 350.212 | 0.0023117
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 201.042 | 32.0472 | 0.0085434 | 0.0031052 | 0.0024008 | -0.00070433 |  | 250.118 | 0.0021324
2 | YES | 250.118 | 33.9162 | 0.00022534 | 0.0021324 | 0.0023715 | 0.00023909 |  | 200.268 | 0.0031967
3 | YES | 200.268 | 33.9027 | 0.00020729 | 0.0031967 | 0.0024013 | -0.00079543 |  | 176.132 | 0.0033836
4 | YES | 176.132 | 33.8866 | 0.00022323 | 0.0033836 | 0.0024157 | -0.00096792 |  | 149.425 | 0.0027504
5 | YES | 149.425 | 33.8452 | 0.00027441 | 0.0027504 | 0.0024317 | -0.00031873 |  | 100.234 | 0.001709
6 | YES | 100.234 | 32.8221 | 0.00051501 | 0.001709 | 0.0024611 | 0.00075209 |  | 300.13 | 0.0030632
7 | NO | 101.149 | 32.5264 | 0.0012161 | 0.0022888 | 0.0024605 | 0.0001717 |  | 350.212 | 0.0032139
8 | NO | 124.525 | 32.38 | 0.0042096 | -0.0022964 | 0.0024466 | 0.004743 |  | 249.964 | 0.0039997
9 | NO | 199.995 | 31.9361 | 0.001106 | -0.0049992 | 0.0024015 | 0.0074006 |  | 299.784 | 0.0024166
10 | NO | 150.267 | 31.0773 | 0.00070644 | 0.013414 | 0.0024312 | -0.010983 |  | 175.048 | 0.0014362
11 | YES | 300.13 | 31.0423 | 0.00077101 | 0.0030632 | 0.0023416 | -0.00072158 |  | 300.432 | 0.0011482
12 | YES | 350.212 | 31.1085 | 0.00022825 | 0.0032139 | 0.0023117 | -0.00090218 |  | 300.365 | 9.7275e-05
13 | NO | 300.14 | 31.0198 | 0.0010737 | 0.0043335 | 0.0023416 | -0.0019919
14 | YES | 249.964 | 30.9927 | 0.00067429 | 0.0039997 | 0.0023716 | -0.0016281 |  |  |  | 0.0023789 | 0.0011172
15 | YES | 299.784 | 31.0774 | 0.00031567 | 0.0024166 | 0.0023418 | -7.4782e-05
16 | YES | 175.048 | 30.8696 | 0.00039552 | 0.0014362 | 0.0024164 | 0.00098013
17 | NO | 150.582 | 30.8684 | 0.00034625 | -0.010458 | 0.002431 | 0.012889
18 | YES | 300.432 | 30.7908 | 0.00020988 | 0.0011482 | 0.0023414 | 0.0011932
19 | YES | 300.365 | 30.8012 | 0.00025411 | 9.7275e-05 | 0.0023415 | 0.0022442
20 | NO | 125.224 | 30.2802 | 0.010282 | -0.0010815 | 0.0024461 | 0.0035276
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_3
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.11777 |  | X | CALC Y
m= | -0.00028057 | 0.00022168 |  | Std Dev of Resid |  | 0.0047491 |  | 2 | 0.0045247
b= | 0.0050859 | 0.002735 |  | Resid Sum of Squares |  | 0.00027064 |  | 19 | -0.00024502
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 201.042 | 32.0449 | 0.0076397 | 0.00082016 | 0.0048053 | 0.0039851 |  | 2 | 0.0021248
2 | YES | 250.118 | 33.9162 | 0.00019354 | 0.0021248 | 0.0045247 | 0.0023999 |  | 3 | 0.0031395
3 | YES | 200.268 | 33.9026 | 0.00023263 | 0.0031395 | 0.0042442 | 0.0011047 |  | 4 | 0.003128
4 | YES | 176.132 | 33.8863 | 0.00023998 | 0.003128 | 0.0039636 | 0.00083554 |  | 5 | 0.0025368
5 | YES | 149.425 | 33.845 | 0.00026794 | 0.0025368 | 0.003683 | 0.0011462 |  | 6 | 0.0014915
6 | YES | 100.234 | 32.8219 | 0.00041602 | 0.0014915 | 0.0034024 | 0.0019109 |  | 10 | 0.012566
7 | NO | 101.149 | 32.526 | 0.0009382 | 0.0018539 | 0.0031219 | 0.0012679 |  | 11 | 0.0024796
8 | NO | 124.525 | 32.3786 | 0.0034676 | -0.0037079 | 0.0028413 | 0.0065492 |  | 13 | 0.0039711
9 | NO | 199.995 | 31.9346 | 0.0013699 | -0.0065041 | 0.0025607 | 0.0090648 |  | 14 | 0.0044365
10 | YES | 150.267 | 31.0765 | 0.00070794 | 0.012566 | 0.0022801 | -0.010285 |  | 15 | 0.0020828
11 | YES | 300.13 | 31.0417 | 0.00020643 | 0.0024796 | 0.0019996 | -0.00047998 |  | 16 | 0.0010319
12 | NO | 350.212 | 31.1082 | 0.0014024 | 0.002924 | 0.001719 | -0.001205 |  | 17 | -0.011196
13 | YES | 300.14 | 31.0195 | 0.0005319 | 0.0039711 | 0.0014384 | -0.0025327 |  | 18 | 0.0008297
14 | YES | 249.964 | 30.9931 | 0.00045373 | 0.0044365 | 0.0011578 | -0.0032786 |  | 19 | -0.00034714
15 | YES | 299.784 | 31.0771 | 0.00026579 | 0.0020828 | 0.00087728 | -0.0012055
16 | YES | 175.048 | 30.8692 | 0.00024069 | 0.0010319 | 0.0005967 | -0.00043518
17 | YES | 150.582 | 30.8677 | 0.00036083 | -0.011196 | 0.00031613 | 0.011512
18 | YES | 300.432 | 30.7905 | 0.00020334 | 0.0008297 | 3.5555e-05 | -0.00079414
19 | YES | 300.365 | 30.8008 | 0.00020852 | -0.00034714 | -0.00024502 | 0.00010212
20 | NO | 125.224 | 30.2787 | 0.0065332 | -0.0026131 | -0.00052559 | 0.0020875
[6 empty] | count | 20 |  |  | 14
NO
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_4
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.11296 |  | X | CALC Y
m= | -0.00027272 | 0.00022062 |  | Std Dev of Resid |  | 0.0047097 |  | 2 | 0.0046658
b= | 0.0052113 | 0.0027059 |  | Resid Sum of Squares |  | 0.00026617 |  | 19 | 2.9517e-05
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 201.042 | 32.0472 | 0.0085434 | 0.0031052 | 0.0049385 | 0.0018334 |  | 2 | 0.0021324
2 | YES | 250.118 | 33.9162 | 0.00022534 | 0.0021324 | 0.0046658 | 0.0025334 |  | 3 | 0.0031967
3 | YES | 200.268 | 33.9027 | 0.00020729 | 0.0031967 | 0.0043931 | 0.0011964 |  | 4 | 0.0033836
4 | YES | 176.132 | 33.8866 | 0.00022323 | 0.0033836 | 0.0041204 | 0.00073673 |  | 5 | 0.0027504
5 | YES | 149.425 | 33.8452 | 0.00027441 | 0.0027504 | 0.0038476 | 0.0010972 |  | 6 | 0.001709
6 | YES | 100.234 | 32.8221 | 0.00051501 | 0.001709 | 0.0035749 | 0.0018659 |  | 10 | 0.013414
7 | NO | 101.149 | 32.5264 | 0.0012161 | 0.0022888 | 0.0033022 | 0.0010134 |  | 11 | 0.0030632
8 | NO | 124.525 | 32.38 | 0.0042096 | -0.0022964 | 0.0030295 | 0.0053259 |  | 12 | 0.0032139
9 | NO | 199.995 | 31.9361 | 0.001106 | -0.0049992 | 0.0027567 | 0.0077559 |  | 14 | 0.0039997
10 | YES | 150.267 | 31.0773 | 0.00070644 | 0.013414 | 0.002484 | -0.01093 |  | 15 | 0.0024166
11 | YES | 300.13 | 31.0423 | 0.00077101 | 0.0030632 | 0.0022113 | -0.0008519 |  | 16 | 0.0014362
12 | YES | 350.212 | 31.1085 | 0.00022825 | 0.0032139 | 0.0019386 | -0.0012753 |  | 17 | -0.010458
13 | NO | 300.14 | 31.0198 | 0.0010737 | 0.0043335 | 0.0016659 | -0.0026676 |  | 18 | 0.0011482
14 | YES | 249.964 | 30.9927 | 0.00067429 | 0.0039997 | 0.0013931 | -0.0026066 |  | 19 | 9.7275e-05
15 | YES | 299.784 | 31.0774 | 0.00031567 | 0.0024166 | 0.0011204 | -0.0012962
16 | YES | 175.048 | 30.8696 | 0.00039552 | 0.0014362 | 0.00084769 | -0.00058854
17 | YES | 150.582 | 30.8684 | 0.00034625 | -0.010458 | 0.00057496 | 0.011033
18 | YES | 300.432 | 30.7908 | 0.00020988 | 0.0011482 | 0.00030224 | -0.00084598
19 | YES | 300.365 | 30.8012 | 0.00025411 | 9.7275e-05 | 2.9517e-05 | -6.7758e-05
20 | NO | 125.224 | 30.2802 | 0.010282 | -0.0010815 | -0.00024321 | 0.00083826
NO
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE