## REVISION NOTICE TABLE

| DATE | DESCRIPTION OF REVISION |
| --- | --- |
| 25 Nov. 2021 | Corrected Silicate values where salinity was <25psu. G.G. |
| 4 April 2023 | Added HPLC data. J.R. |

## PROCESSING NOTES

Cruise: 2021-025

Agency: IOS, Ocean Sciences Division, Sidney BC

Project Scientist: Young K.  		Platform: Neocaligus

Location: Strait of Georgia		Project: Strait of Georgia Zooplankton

Date: 23 July 2021 –27 July 2021

Processed by: Germaine Gatien

Date of Processing: 12 November 2021 –  17 November 2021

Number of original HEX files: 28

Number of CTD files:	28		Number of BOT files: 15

# INSTRUMENT SUMMARY

A SeaBird Model SBE-25 CTD (s/n 0456) was used with temperature sensor #5130, conductivity sensor #3500, Wetlabs ECO Fluorometer #4185, dissolved oxygen sensor #3234 and pressure sensor 0573.

# SUMMARY OF QUALITY AND CONCERNS

The cruise log and rosette sheets were in good order. Header information was entered in the raw files in a format that enabled easy conversion into IOS Header format.

Samples were collected at 15 sites. At 5 of those sites there was a Niskin mounted approximately 2m above the CTD to collect near-bottom salinity and nutrient samples. Surface bottles were taken immediately following CTD casts. The CTD data to accompany the surface samples in the BOT files were selected from the shallowest data available after editing and averaging in 0.5db bins. Small differences in time and depth limit the reliability of the matches. The deep samples were collected during the CTD casts from a Niskin bottle mounted 2db above the CTD.

The 10m soak lasted for 1 minute but the pumps were set to come on after 45s and the descent to 10m was quick, so there was not much time for bubbles to be released. Waiting longer or resetting the pump turn-on timing might improve data quality though there was no obvious evidence of a problem in either dissolved oxygen or salinity.

There was insufficient evidence to recalibrate CTD salinity, but based on sampling during this cruise and previous cruises using this equipment it is likely within ±0.005psu. Larger errors will be present due to minor misalignment of temperature and conductivity when vertical salinity gradients are high.

Pressure did not require recalibration and there was no calibration sampling available for SBE dissolved oxygen.

# PROCESSING SUMMARY

### Preliminary Steps

The Daily Log, Sampling Log sheets and a spreadsheet of sampling done were obtained.

The cruise summary sheet was completed.

CTD Deployment method: CTD was lowered to 10m to soak, sat for at least 1 minute, was bought back to the surface to sit for about 30s time. The full cast began at about the 2 minute mark.

For deep sampling a 1.7L Niskin bottle was mounted approximately 2m above the CTD.

Surface sampling was done after the CTD was taken out of the water and turned off. A 5L Niskin bottle was attached to the wire, sent to the surface and triggered. A separate event number was given for the surface samples, but in processing the event numbers were changed to match the CTD cast with which they are associated to enable creation of BOT files containing CTD data.

### Conversion of Raw Data

The configuration file used at sea was correct except for the date of the fluorometer calibration. After that was fixed the file was saved as 2021-024-ctd.xmlcon and used to convert all HEX files.

An initial check indicates that surface pressure is good with conductivity falling to ~0 a few seconds after the CTD stopped at the end of the cast and pressure was about +0.2db.

At the beginning of casts pressure is usually close to zero but in a few cases it starts with pressures surprisingly high, with event #30 having a starting pressure of 3.4db. The ending pressure is normal for such cases, so perhaps this has something to do with how quickly the CTD is launched.

The deep fluorescence values are about 0.05ug/L with a few spikes to negative values near the bottom.

The dissolved oxygen signal does not come on until well into the soak periods in many cases. The 45s delay in pumps coming on does not allow much time for bubble release. So either a shorter delay on the pump or a longer soak may be advisable.

There is the usual step-like pressure which leads to unusual profiles.

### WILDEDIT

There were a few spikes noted in the data so WILDEDIT was run using parameters :

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 10

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

### FILTER

Normally pressure is filtered later in processing when running DELETE, but the poor resolution of this instrument means it is necessary to do this early to make sense of the other data which update more often than pressure. So program FILTER was used to apply a low-pass filter with a time constant of 0.5 seconds to pressure and depth. The results were excellent.

Next the temperature and conductivity were examined and the usual approach of applying a cosine filter size 5 in routine WFILTER did a good job of removing small reversals. Derive was run on a few casts to calculate salinity and plots showed great improvement in stability in T-S space after running WFILTER.

### ALIGNCTD

For other recent cruises in this project using the same DO sensor, an advance of 2.5s was generally applied to the dissolved oxygen, but for the last use +3s looked a little better. Tests were run and +2.5s looks best for these data. ALIGNCTD was run on all casts to advance the DO channel by +2.5s. Plots were examined after this step and the results were good.

### CELLTM

CELLTM was run on all casts using the SeaBird recommended parameters, (α, 1/β) = (0.04, 8).

### DERIVE

Program DERIVE was run to calculate salinity and dissolved oxygen concentration (tau correction included). Plots were examined and confirmed that steps 5, 6 and 7 had improved the data.

1 cast was missing the hemisphere entry in the latitude header, so that was added.

### Conversion to IOS Headers

The IOSSHELL routine was used to convert the CNV files to IOS Headers.

CLEAN was run to add event numbers and replace pad values in the pressure channel with interpolated values.

A preliminary header check was run and indicated there were some negative fluorescence values at the beginning of the casts. Checks will be made after DELETE is run to see if negative values remain..

Plots were made to find the minimum pressure from the ends of casts and they varied from +0.015db to +0.32db. The pressure sensor has a 2800db range so the resolution is only 0.5db; these results look excellent.

CLIP was run on the CLN files to remove the first 900 records; plots were examined to ensure that too many points were not removed and all looked fine. All data from the initial drop to 10m were removed. Some remain from the return to the surface, but at the DELETE stage those records will be removed.

### Checking Headers

A cross-reference list was produced and compared with the log book entries. No errors were found.

Track plots looked ok and were added to the end of this report.

HEADER CHECK was run. No problems were found except some negative fluorescence values.

The surface check shows an average of 1.3db before CLIP was run with a minimum of 0.015db.

Plots of temperature and salinity show reasonably good correspondence between upcast and downcast traces, except near the surface where shed wakes generally have a large effect on upcast data.

### SHIFT

Conductivity

When this CTD was last used tests were run to see what shift to conductivity made the best improvement to stability in T-S space. Shifts of +0.4 records and +0.45 records were selected for other recent uses of this equipment, but for this cruise +0.3 records worked best.

SHIFT was applied to all casts advancing conductivity by +0.030s.

Fluorescence

The fluorometer was not pumped, so a shift in alignment is expected to be small, and usually unnecessary. Profile plots of temperature and fluorescence were examined. As noted during 2021-024 the a shift of +5 records leads to a vertical offset between upcast and downcast profiles that is closer to that in temperature. Shift was applied to all casts using +5 records.

Dissolved Oxygen

This channel was aligned earlier, but checks were made by examining plots of temperature and dissolved oxygen. No further adjustment was made.

### DELETE

DELETE was run on all casts using the following parameters:

Surface Record Removal: Last Press Min.	Surface Swell Pressure Tolerance: 1.0

Swells deleted. Warning message if pressure difference of 2.00

Drop rates < 0.3m/s (calculated over 5 points) was deleted from 10db to 10db above the maximum pressure.

COMMENTS ON WARNINGS: There were no warnings.

### DETAILED EDITING

All DEL files were copied to *.EDT so there will be a complete set of files even if some need no editing.

CTDEDIT was used to remove records corrupted by shed wakes and to clean salinity where unstable features looked likely to be caused by misalignment of T and C. All casts required editing except for #26, 40 and 42, mostly removing records near the surface and bottom.

Notes of editing details were made in the headers.

T-S plots were examined after this step. Small unstable features are found, mostly near the surface which may be real.

The edited files were put through Change Units to obtain dissolved oxygen in mass units.

Files were then bin-averaged (0.5m bins) and put through Change Units to add dissolved oxygen in mass units. These data will be used in the creation of bottle files.

### Initial Bottle Data Steps

Niskin bottles fired at the surface at 15 sites; they were given separate event numbers from the CTD casts. At 5 of those sites there was also a Niskin mounted above the CTD to collect near-bottom samples.

BOT files were prepared with the sample data plus CTD gathered at the same site.

The event numbers used are those of the CTD cast at the site.

Each of the analysis spreadsheets were examined to see what comments the analysts wanted included in the header file. These were used to create file 2021-025-bot-hdr.txt.

Spreadsheet 2021-025-bottles_plus_CTD_6linehdr.csv was created. Cast times, station names, sample numbers times and positions were obtained from the CTD file headers.

Data from the QF worksheets were added. Space was included for the addition of CTD data.

Those columns were tentatively filled with data from the files that were 0.5db averaged and thinned to near-surface values and had DO in mass units added. No data were available right at the surface so the shallowest data available were used (1.0 to 2.0m.) For the deep salinity values were taken from approximately 2m above the maximum pressure found in the surface check file.

The data from that spreadsheet were transferred to file 2021-025-bottles_comparison.xlsx.

### Compare

Salinity Comparison

There were 5 surface salinity samples and 5 deep samples. Analysis occurred only a few days after the cruise so errors due to evaporation or desorption of glass into samples should be negligible.

- Errors at the surface are likely due to the shallowest available CTD data coming from lower in the water column than the salinity samples, so it is not surprising to find the CTD values were higher by a median of 0.26psu (Std Dev 0.64psu).

- For the deeper bottles incomplete flushing of the Niskin bottles may lead to the CTD reading a little higher than the bottle samples. The CTD reading was higher than bottles in all cases and the median difference was 0.007psu (std dev 0.004psu) and by 0.006psu if one outlier is excluded.

These differences are small given conditions where flushing of the Niskin bottle might be poor since the descent rates were generally very steady. Profiles were checked to judge what depth the salinity sample might have come from if  the CTD salinity is accurate. The offsets were 12, 30, 31, 4.5 and 1.3m. The largest difference came from the 4.5m offset case since the vertical gradient was high there. Poor flushing likely accounts for some of the difference. The precision for the analysis was 0.0045psu, but differences were very low for the surface duplicates; the deeper duplicates differ by 0.005psu, 0.004psu and 0.0024spu suggesting considerable variability near the bottom. There is insufficient evidence to justify recalibration; the CTD may be reading a little high but it is likely within ±0.005psu when likely flushing errors are taken into account.

Fluorescence

The only HPLC sampling was at the surface. The median ratio of near-surface downcast CTD fluorescence to HPLC:TChl-a was 0.58ug/L with a standard deviation of 0.18. A plot of the ratio versus CHL shows a typical pattern for fluorometers; the ratio is highest when CHL is low and gradually drops to lower values for high CHL. The mismatch in depth and time limits the reliability of this comparison, but does demonstrate fairly normal behaviour of the fluorometer.

For more details see file 2021-025-bottles_vs_CTD.xlsx.

### Other calibration checks

Sensor History – The conductivity sensor was used on 5 other cruises since it was last serviced and salinity appeared to be slightly high but incomplete flushing could explain that. For this program there are only a few bottles from near the bottom so they are considered only a guide, not the basis for recalibration. On 4 of the cruises the CTD salinity was close to bottles with estimates that salinity was within 0.003 to 0.0045psu and for the most recent the scatter was too large to make an estimate.

The pressure sensor had been used on for 5 other cruises with no problems noted.

Historic Ranges – Temperatures were mostly within the climatology except in Baynes Sound where temperatures were high at most levels and at around 20m at several sites where temperatures were slightly above the maximum. Salinity values were all  within the climatology. The higher temperatures might be related to the severe heat wave that occurred in this region in late June.

Post-cruise calibrations – None were available.

Repeat casts – There were no repeat casts.

### CALIBRATE

The pressure does not need recalibration. There is insufficient information to recalibrate salinity.

For dissolved oxygen there was no calibration sampling and the surface saturation is highly variable. See section 19 for details.

### Fluorescence Filter

The fluorescence data was not filtered as it had little effect on the data.

### Bin Average, Remove, Derive DO in mass units, Reorder

There were very small negative values in fluorescence data, so CLEAN was rerun to pad those values.

The files were bin averaged using 1db bins.

REMOVE was run to remove Scan_Number, Oxygen:Voltage, Descent Rate and Flag channels.

Dissolved Oxygen was derived in mass units and that was used to calculate DO saturation. Plots of near-surface saturation show a range of 70% to 125%, with the lowest values in the Gulf Islands area and gradually increasing from south to north. The maximum value was in Baynes Sound.

REORDER was used to get the 2 dissolved oxygen channels together.
CLEAN was run to update the channel table values.

### HEADER EDIT and final checks of CTD files

Header Edit was used to fix headers, fix formats and to add comments about processing.

A cross-reference listing was produced.

A header check and standards check were run on the CTD files. No errors were found.

The sensor history was updated.

Plots of CTD casts were examined and no problems were found.

### Final BOT file preparation

To enable searching of bottle data, BOT casts were created that contain sample data and CTD data from the downcast at the same site. The event number will match the CTD cast. CTD data were extracted from 0.5-metre-averaged files and added to spreadsheet 2021-025-bottles_plus_CTD_6linehdr.csv. That file was converted to IOS Header files for each cast.

The time and date were added as channels as these cannot be converted directly into header entries.

CLEAN was run to add START and END time and to enter 0 flags where the flag channels are empty.

REMOVE was run to remove the DATE and TIME channels.

There was no DO sampling so no need to derive different units.

SORT was run to get entries in pressure order.

HEADEDIT was used to add comments and to remove the END TIME since it is the same as START TIME. The final files have extensions BOT.

The standards check was run and no errors were found.

A cross-reference list was produced and no errors were found.

A header check were run on the BOT files and no  problems were found.

Finally all data from BOT files were extracted to a spreadsheet and compared to the event log; no samples were missing.

##### PARTICULARS

56. GPS batteries died so only BE position available.

CRUISE SUMMARY

| Cruise ID#: 2021-025 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Dates: Start: 23 July 2021 End: 27 July 2021 |  |  |  |  |  |  |
| Location: Strait of Georgia Zooplankton |  |  |  |  |  |  |
| Chief Scientist: Young K. (M. Belton – party chief) |  |  |  |  |  |  |
| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |  |
| 1 | SEABIRD | 25 | 456 | No | Yes |  |

CTD CALIBRATION INFORMATION

Make/Model/Serial#:	SEABIRD/SBE25/0334	Cruise ID#:		2021-025

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 5130 | 12Dec2019 | Factory |  |  |
| Conductivity | 3500 | 17Dec2019 | Factory |  |  |
| ECO Fluorometer | 4185 | 11Dec2019 | Factory |  |  |
| SBE43 Oxygen | 3234 | 6Dec2019 | Factory |  |  |
| Pressure | 0573 | 1Feb2019 | Factory |  |  |