File List for SeaBird Data          Cruise Number: _2022-001____

Add PROC and THIS REPORT TO ARCHIVE DOC

[osdcommon\cruise_data\2022-001\ARCHIVE]

[osdcommon\cruise_data\2022-001\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2022-001\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2022-001\ARCHIVE\CTD Pictures] *.CTD

[osdcommon\cruise_data\2022-001\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2022-001\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2022-001\ARCHIVE\DOC\TSG] TSG documents

[osdcommon\cruise_data\2022-001\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2022-001\ARCHIVE\Underway] TSG and Loop data

[osdcommon\cruise_data\2022-001\PROCESSING]

[osdcommon\cruise_data\2022-001\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2022-001\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2022-001\PROCESSING\DOC]

2022-001-recal1.ccf – calibration control files

2022-001_File.doc - this document

2022-001_Processing_Report.doc - processing notes

2022-001 Sampling notes.docx – notes from chief scientist

2022-001-ctd*.xmlcon – configuration files used in processing

2022-001-ctd-final.rpt – CTD file header check including channel summary

2022-001-ctd-xref.txt – cross reference list of CTD files

2022-001-altimeter-ctd.xls – report on header entries for altimetry

Cast 14-DO-FL.PNG – plot showing problems with DO & FL

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2022-001\PROCESSING\DOC\hydro]

2022-001chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2022-001nuts.csv – nutrients simplified from analyst’s s/s

2022-001oxy.csv – dissolved oxygen data simplified from analyst’s s/s

2022-001sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2022-001-fl-chl-comp1..xls – comparison of extracted CHL and CTD Fluorometer

2022-001-dox-comp1.csv & .xls – initial comparison of titrated DO & CTD DO

2022-001-dox-comp2.csv & .xls –comparison of titrated DO & CTD DO after initial recal

2022-001-dox-comp3.csv & xls – comparison of titrated DO & downcast CTD DO

2022-001-sal-comp1.csv & xls –initial comparison of rosette bottle and CTD salinity

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2022-001-bottles-final.xslx – summary of bottle data in CHE files

2021-001-hydro.xlsx – bottle file from chief scientist

2022-001-che-final.rpt – final header check of bottle files

2022-001-che-xref.txt – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2022-001\PROCESSING\DOC\tsg]

2022-001-tsg-ctd-loop-rosette-comp.xlsx – comparisons of TSG data, loop, CTD, rosette

2022-0010-hdr-tsg*.txt – headers with comments for 2 sets of TOB files.

2022-001-tsg_xref.txt – summary of starting times and positions for TOB files

2022-001-tsg-recal1.ccf – recalibration file for part1 TSG files

[osdcommon\cruise_data\2022-001\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgcln2 – MRG after filling flag channels

*.mrgrem – after removal of unneeded channels

*.mrgreo – just before final step running Head Edit

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

[osdcommon\cruise_data\2022-001\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.clnFL – data after CALIBRATE to remove off-scale fluorescence

*.cor1 –after recalibration of SBE DO

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2022-001\PROCESSING\Loop] before conversion to IOS SHELL

2022-001-surface.loop – final file in IOS Header format with comments

2022-001-surface-6linehdr.csv – as above but with 6-line headers and loop data added

2022-001-surface-6linehdr-time.csv – as above but with Excel time for date to enable sorting

2022-001-0001.ios –6linehdr csv file converted to IOS Header format

2022-001-0001.cln – as above with start and end times added

2022-001-loop-hdr.txt – header comments for the final loop file

[osdcommon\cruise_data\2022-001\PROCESSING\TSG] before conversion to IOS SHELL

2022-001-tsg*.csv – RAW files in csv format

[osdcommon\cruise_data\2022-001\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.add – after addition of channel Temperature:Primary

*.avg – data averaged over 1 minute

*.cln – after adding positions and times to headers and time/date channels

*.cor1 – after recalibration (files up to March 8)

*.dqt2 – after recal & derivation of salinity and then Sigma-T

*.edt & .log– after light editing of salinity for 10 files; others same as *.reo.

*.ios – after conversion to IOS HEADERS

*.rem – after removing fluorescence, pressure, T difference and record #

*.reo –TSG files after REORDER

*.tob – final files

*.txt – 2 cast lists for recalibration