File List for SeaBird Data          Cruise Number: _2022-002____

[osdcommon\cruise_data\2022-002\ARCHIVE]

[osdcommon\cruise_data\2022-002\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2022-002\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2022-002\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2022-002\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2022-002\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2022-002\PROCESSING]

[osdcommon\cruise_data\2022-002\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2022-002\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2022-002\PROCESSING\DOC]

2022-002-recal1.ccf – calibration control file to add 0.6db to pressure

2022-002-recal2.ccf -  calibration control file to recalibrate DO and SAL

2022-002-ctd.xmlcon –configuration file used in processing

2022-002_File.doc - this document

2022-002_Processing_Report.doc - processing notes

2022-002-ctd-final.rpt – CTD file header check including channel summary

2022-002-ctd-xref.txt – cross reference list of CTD files

2002-002_Notes from Cindy.docx

*hdr.txt – header files with comments for CTD files

[osdcommon\cruise_data\2022-002\PROCESSING\DOC\hydro]

2022-002chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2022-002nuts.csv – nutrients simplified from analyst’s s/s

2022-002oxy.csv – nutrients simplified from analyst’s s/s

2022-002sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2022-002-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2022-002-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2022-002-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2022-002-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2022-002-sal-comp1.csv & xlsx –initial comparison of rosette bottle and CTD salinity

2022-002-sal-comp2.csv & xlsx –comparison of rosette bottle and CTD salinity after recal

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2022-002-bottles-final.xslx – summary of bottle data in CHE files

2022-002-che-final.rpt – final header check of bottle files

2022-002-che-xref.lis – cross-reference listing of bottle files

2022-002-low-sal-nutrients.xlsx – List of samples needed silicate correction

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2022-002\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.ed1 & log – output from editing 2 rosette files (24, 142)

*.ios – converted ROS files

*.iosa & *.iosb – 2 files before join as 2022-002-0094.ios

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgcln2 – after cleaning headers of *.mrg

*.mrgrem – after addition of DO mass units and REMOVE

*.mrgreo – after REORDER of DO channels – just before final step

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

*.txt – cast list

[osdcommon\cruise_data\2022-002\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.cor1 – after calibration of DO and SAL

*.ctd - final files

*.del – after DELETE

*.delpH – after rerunning DERIVE on *.SHFpH files

*.edt - data after editing has been done on DEL files (missing shift of pH for most casts)

*.EDTpH – after addition of pH from *.delpH to *.edtrem

*.edtrem – original edited files with pH removed.

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE