File List for SeaBird Data          Cruise Number: _2022-013____

[osdcommon\cruise_data\2022-013\ARCHIVE]

[osdcommon\cruise_data\2022-013\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2022-013\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2022-013\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2022-013\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2022-013\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2022-013\PROCESSING]

[osdcommon\cruise_data\2022-013\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2022-013\PROCESSING\DELPRED]	– input (*.delpred) & output (*.edt) files for test run of predictive editing with Predictive Flag channel.

[osdcommon\cruise_data\2022-013\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2022-013\PROCESSING\DOC]

2022-013-recal1.ccf – calibration control files

2022-013_File.doc - this document

2022-013_Processing_Report.doc - processing notes

2022-013-ctd.xmlcon – configuration file used in processing

2022-013-ctd-final.rpt – CTD file header check including channel summary

2022-013-ctd-xref.txt – cross reference list of CTD files

2022-013-altimeter-ctd.xlsx – report on header entries for altimetry

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2022-013\PROCESSING\DOC\hydro]

2022-013chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2022-013nuts.csv – nutrients simplified from analyst’s s/s

2022-013oxy.csv – dissolved oxygen data simplified from analyst’s s/s

2022-013sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2022-013-fl-chl-comp1..xls – comparison of extracted CHL and CTD Fluorometer

2022-013-dox-comp1.csv & .xls – initial comparison of titrated DO & CTD DO

2022-013-dox-comp2.csv & .xls –comparison of titrated DO & CTD DO after initial recal

2022-013-dox-comp3.csv & xls – comparison of titrated DO & downcast CTD DO

2022-013-sal-comp1.csv & xls –initial comparison of rosette bottle and CTD salinity

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2022-013-bottles-final.xslx – summary of bottle data in CHE files

2022-013-che-final.rpt – final header check of bottle files

2022-013-che-xref.txt – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2022-013\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgcln2 – MRG after filling flag channels

*.mrgrem – after removal of unneeded channels

*.mrgreo – just before final step running Head Edit

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

[osdcommon\cruise_data\2022-013\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.cor1 –after recalibration of SBE DO

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE