## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6.1 | Run at 2022/12/02 13:21:26 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | OXY_BOT | OXY_SBE |  | OXY_SBE - OXY_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | OXY_BOT | OXY_SBE | OXY_SBE | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2022-015-0004.mrg | 2022-015-0004.sam | 241 | 87.316 | 87.3163 | 0.79595 | 0.00027466 | 3.751 | 3.6328 | 0.020157 | -0.11815
2022-015-0004.mrg | 2022-015-0004.sam | 241 | 75.354 | 75.354 | 0.59985 | 3.8147e-05 | 4.001 | 3.9183 | 0.030339 | -0.082701
2022-015-0004.mrg | 2022-015-0004.sam | 241 | 49.876 | 49.8764 | 0.42559 | 0.0004425 | 4.179 | 4.1052 | 0.008439 | -0.073759
2022-015-0004.mrg | 2022-015-0004.sam | 241 | 30.767 | 30.767 | 0.64979 | 4.5776e-05 | 6.197 | 5.8515 | 0.094918 | -0.34545
2022-015-0004.mrg | 2022-015-0004.sam | 241 | 20.604 | 20.6038 | 0.81281 | -0.00019836 | 6.374 | 6.266 | 0.012862 | -0.10797
2022-015-0004.mrg | 2022-015-0004.sam | 241 | 9.929 | 9.9285 | 0.50825 | -0.00047684 | 7.405 | 7.2945 | 0.012144 | -0.11055
2022-015-0004.mrg | 2022-015-0004.sam | 241 | 5.676 | 5.6758 | 0.40156 | -0.00020742 | 7.406 | 7.2197 | 0.022408 | -0.18632
2022-015-0005.mrg | 2022-015-0005.sam | 241 | 101.136 | 101.136 | 0.99666 | -3.0518e-05 | 3.4 | 3.313 | 0.010528 | -0.087
2022-015-0005.mrg | 2022-015-0005.sam | 241 | 74.675 | 74.6748 | 0.45741 | -0.00022125 | 3.824 | 3.7343 | 0.0060158 | -0.089709
2022-015-0005.mrg | 2022-015-0005.sam | 241 | 49.857 | 49.8574 | 0.89463 | 0.00035858 | 4.765 | 4.6298 | 0.018099 | -0.13516
2022-015-0005.mrg | 2022-015-0005.sam | 241 | 30.628 | 30.628 | 0.32394 | -4.9591e-05 | 6.261 | 6.1387 | 0.01559 | -0.12233
2022-015-0005.mrg | 2022-015-0005.sam | 241 | 9.732 | 9.7317 | 0.43376 | -0.00025749 | 7.439 | 7.3016 | 0.01403 | -0.13738
2022-015-0005.mrg | 2022-015-0005.sam | 379 | 4.548 | 4.5591 | 0.17508 | 0.011124 | 7.552 | 7.2439 | 0.012214 | -0.3081
2022-015-0008.mrg | 2022-015-0008.sam | 241 | 159.67 | 159.67 | 0.43608 | 0.00039673 | 3.085 | 3.0054 | 0.0047304 | -0.079589
2022-015-0008.mrg | 2022-015-0008.sam | 241 | 150.212 | 150.212 | 0.30273 | 0.00035095 | 3.132 | 3.0391 | 0.0073881 | -0.092909
2022-015-0008.mrg | 2022-015-0008.sam | 241 | 124.4 | 124.4 | 0.21165 | -0.00032806 | 3.346 | 3.2329 | 0.0092611 | -0.11308
2022-015-0008.mrg | 2022-015-0008.sam | 241 | 100.262 | 100.262 | 0.88838 | -0.00011444 | 3.711 | 3.6138 | 0.008247 | -0.097249
2022-015-0008.mrg | 2022-015-0008.sam | 241 | 74.775 | 74.775 | 0.18066 | -3.8147e-05 | 4.182 | 4.0781 | 0.01177 | -0.10391
2022-015-0008.mrg | 2022-015-0008.sam | 241 | 49.866 | 49.8663 | 0.1292 | 0.00034332 | 4.991 | 4.8387 | 0.0063167 | -0.15234
2022-015-0008.mrg | 2022-015-0008.sam | 241 | 31.092 | 31.0915 | 0.43228 | -0.00049591 | 6.759 | 6.5807 | 0.025088 | -0.1783
2022-015-0008.mrg | 2022-015-0008.sam | 241 | 20.147 | 20.1473 | 0.25982 | 0.00027084 | 7.327 | 7.2024 | 0.007297 | -0.12465
2022-015-0008.mrg | 2022-015-0008.sam | 241 | 10.305 | 10.3047 | 0.389 | -0.00031567 | 7.2 | 7.0566 | 0.012545 | -0.1434
2022-015-0008.mrg | 2022-015-0008.sam | 241 | 5.058 | 5.0582 | 0.26195 | 0.00017023 | 7.19 | 6.8492 | 0.010433 | -0.34077
2022-015-0012.mrg | 2022-015-0012.sam | 241 | 89.581 | 89.5806 | 0.51692 | -0.00042725 | 2.891 | 2.7808 | 0.012434 | -0.11018
2022-015-0012.mrg | 2022-015-0012.sam | 241 | 74.895 | 74.8951 | 0.41123 | 6.8665e-05 | 3.578 | 3.4848 | 0.0075962 | -0.093174
2022-015-0012.mrg | 2022-015-0012.sam | 279 | 49.628 | 49.9419 | 0.3334 | 0.31387 | 4.889 | 5.0729 | 0.038582 | 0.18395
2022-015-0012.mrg | 2022-015-0012.sam | 241 | 31.153 | 31.1532 | 0.32197 | 0.00019455 | 5.492 | 5.3183 | 0.0088221 | -0.17374
2022-015-0012.mrg | 2022-015-0012.sam | 241 | 19.489 | 19.489 | 0.21172 | -4.1962e-05 | 6.183 | 6.1089 | 0.02214 | -0.074067
2022-015-0012.mrg | 2022-015-0012.sam | 241 | 9.807 | 9.8066 | 0.37083 | -0.00041962 | 7.029 | 6.8949 | 0.0099068 | -0.13409
2022-015-0012.mrg | 2022-015-0012.sam | 241 | 5.92 | 5.9204 | 0.37581 | 0.00039816 | 7.051 | 6.8318 | 0.013635 | -0.21922
2022-015-0015.mrg | 2022-015-0015.sam | 241 | 133.238 | 133.238 | 0.26338 | -0.00048828 | 1.754 | 1.6783 | 0.0076821 | -0.075709
2022-015-0015.mrg | 2022-015-0015.sam | 241 | 124.473 | 124.473 | 0.45742 | 0.00017548 | 1.792 | 1.7103 | 0.0078673 | -0.081739
2022-015-0015.mrg | 2022-015-0015.sam | 240 | 100.279 | 100.287 | 1.3004 | 0.0081101 | 2.663 | 2.5788 | 0.0056168 | -0.084242
2022-015-0015.mrg | 2022-015-0015.sam | 241 | 49.807 | 49.8072 | 0.47714 | 0.00024414 | 4.774 | 4.5951 | 0.020526 | -0.17886
2022-015-0015.mrg | 2022-015-0015.sam | 241 | 29.767 | 29.767 | 1.0056 | -3.8147e-05 | 6.317 | 6.2 | 0.0068647 | -0.11698
2022-015-0015.mrg | 2022-015-0015.sam | 241 | 20.993 | 20.9934 | 0.73552 | 0.00041008 | 6.135 | 5.7952 | 0.07073 | -0.33978
2022-015-0015.mrg | 2022-015-0015.sam | 241 | 10.677 | 10.6766 | 0.2755 | -0.00037766 | 7.031 | 6.86 | 0.013718 | -0.17101
2022-015-0015.mrg | 2022-015-0015.sam | 241 | 5.454 | 5.4539 | 0.34105 | -0.00014543 | 7.084 | 6.7028 | 0.013467 | -0.38124
2022-015-0017.mrg | 2022-015-0017.sam | 236 | 950.886 | 950.843 | 1.196 | -0.042786 | 0.251 | 0.18427 | 0.011556 | -0.066725
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 751.336 | 751.336 | 1.3104 | -0.00042725 | 0.246 | 0.19559 | 0.0096928 | -0.050411
2022-015-0017.mrg | 2022-015-0017.sam | 226 | 499.962 | 499.802 | 1.2649 | -0.15979 | 0.64 | 0.57706 | 0.0069733 | -0.062938
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 400.814 | 400.814 | 0.46161 | -0.00018311 | 0.984 | 0.92224 | 0.0070256 | -0.061759
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 299.192 | 299.192 | 0.61226 | -0.00030518 | 1.496 | 1.4323 | 0.0060631 | -0.063739
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 250.035 | 250.035 | 0.93119 | 0.00035095 | 1.591 | 1.5263 | 0.0072031 | -0.064681
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 200.294 | 200.294 | 0.5891 | -0.00039673 | 2.061 | 1.9779 | 0.0064929 | -0.083091
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 173.801 | 173.801 | 0.99646 | -0.00021362 | 2.228 | 2.1535 | 0.0095297 | -0.074543
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 149.91 | 149.91 | 0.47561 | -0.00042725 | 2.344 | 2.2681 | 0.0076057 | -0.075859
2022-015-0017.mrg | 2022-015-0017.sam | 109 | 125.142 | 124.867 | 1.062 | -0.27457 | 2.498 | 2.4381 | 0.046969 | -0.059936
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 100.293 | 100.293 | 0.43288 | 0.00048065 | 3.007 | 2.9103 | 0.0088114 | -0.096689
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 74.35 | 74.3503 | 0.96171 | 0.0003128 | 3.97 | 3.8659 | 0.006169 | -0.10412
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 48.93 | 48.9304 | 0.60071 | 0.00037003 | 5.119 | 4.9983 | 0.0079831 | -0.12069
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 31.283 | 31.2828 | 0.67872 | -0.00018692 | 6.332 | 6.1829 | 0.016054 | -0.14905
2022-015-0017.mrg | 2022-015-0017.sam | 162 | 19.438 | 19.5066 | 1.2637 | 0.068567 | 6.718 | 6.5587 | 0.014165 | -0.15925
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 9.753 | 9.7527 | 0.41198 | -0.00029087 | 6.77 | 6.6391 | 0.0095638 | -0.13094
2022-015-0017.mrg | 2022-015-0017.sam | 241 | 5.669 | 5.6694 | 0.32847 | 0.00037766 | 6.776 | 6.5819 | 0.013073 | -0.19415
2022-015-0023.mrg | 2022-015-0023.sam | 241 | 84.648 | 84.6483 | 0.5186 | 0.0002594 | 2.795 | 2.708 | 0.006269 | -0.087
2022-015-0023.mrg | 2022-015-0023.sam | 241 | 74.48 | 74.48 | 0.10644 | -4.5776e-05 | 3.286 | 3.1276 | 0.024333 | -0.15838
2022-015-0023.mrg | 2022-015-0023.sam | 241 | 51.293 | 51.2926 | 0.62079 | -0.00041962 | 4.027 | 3.8939 | 0.02212 | -0.13315
2022-015-0023.mrg | 2022-015-0023.sam | 241 | 30.379 | 30.3786 | 0.11854 | -0.00037193 | 5.611 | 5.4288 | 0.016977 | -0.18221
2022-015-0023.mrg | 2022-015-0023.sam | 241 | 20.022 | 20.0224 | 0.37931 | 0.00040245 | 6.071 | 6.0619 | 0.023189 | -0.0091038
2022-015-0023.mrg | 2022-015-0023.sam | 241 | 10.373 | 10.3728 | 0.29715 | -0.00018311 | 7.37 | 7.2414 | 0.024616 | -0.12862
2022-015-0023.mrg | 2022-015-0023.sam | 241 | 4.716 | 4.7163 | 0.22787 | 0.00029039 | 7.445 | 7.1332 | 0.019593 | -0.3118
2022-015-0026.mrg | 2022-015-0026.sam | 241 | 193.249 | 193.249 | 0.49896 | 0.00030518 | 2.264 | 2.1453 | 0.0084807 | -0.11871
2022-015-0026.mrg | 2022-015-0026.sam | 241 | 174.96 | 174.96 | 0.66343 | -0.00039673 | 2.353 | 2.2574 | 0.0068438 | -0.095618
2022-015-0026.mrg | 2022-015-0026.sam | 241 | 149.509 | 149.509 | 0.89218 | 0.00015259 | 2.592 | 2.4932 | 0.010079 | -0.098838
2022-015-0026.mrg | 2022-015-0026.sam | 241 | 125.301 | 125.301 | 0.72607 | -0.00029755 | 2.943 | 2.858 | 0.009677 | -0.084955
2022-015-0026.mrg | 2022-015-0026.sam | 241 | 99.917 | 99.917 | 0.47892 | 3.8147e-05 | 3.973 | 3.8397 | 0.035921 | -0.13333
2022-015-0026.mrg | 2022-015-0026.sam | 241 | 75.465 | 75.4651 | 0.80771 | 0.0001297 | 4.833 | 4.7041 | 0.0072855 | -0.12888
2022-015-0026.mrg | 2022-015-0026.sam | 241 | 51.141 | 51.1408 | 0.94847 | -0.00023651 | 6.582 | 6.4325 | 0.012957 | -0.14947
2022-015-0026.mrg | 2022-015-0026.sam | 241 | 30.037 | 30.0366 | 0.80968 | -0.00041962 | 6.68 | 6.5412 | 0.014105 | -0.13882
2022-015-0026.mrg | 2022-015-0026.sam | 241 | 21.031 | 21.0309 | 0.1443 | -9.5367e-05 | 6.738 | 6.5951 | 0.010887 | -0.14294
2022-015-0026.mrg | 2022-015-0026.sam | 241 | 10.047 | 10.0472 | 0.27152 | 0.00015354 | 6.746 | 6.6009 | 0.011352 | -0.14509
2022-015-0026.mrg | 2022-015-0026.sam | 241 | 5.287 | 5.2873 | 0.27041 | 0.00032759 | 6.752 | 6.4672 | 0.010947 | -0.28484
2022-015-0034.mrg | 2022-015-0034.sam | 297 | 33.87 | 33.5564 | 0.79348 | -0.31364 | 5.299 | 5.1305 | 0.38884 | -0.16853
2022-015-0034.mrg | 2022-015-0034.sam | 276 | 31.172 | 31.4172 | 0.9206 | 0.24523 | 6.13 | 5.8023 | 0.34619 | -0.32768
2022-015-0034.mrg | 2022-015-0034.sam | 241 | 20.074 | 20.0743 | 0.3089 | 0.00033569 | 7.146 | 7.0177 | 0.013586 | -0.12833
2022-015-0034.mrg | 2022-015-0034.sam | 241 | 10.646 | 10.6457 | 0.24213 | -0.00031567 | 7.116 | 6.9785 | 0.0090471 | -0.13752
2022-015-0034.mrg | 2022-015-0034.sam | 241 | 5.62 | 5.6198 | 0.23031 | -0.00016165 | 7.122 | 6.85 | 0.007918 | -0.27197
2022-015-0037.mrg | 2022-015-0037.sam | 241 | 53.883 | 53.8834 | 0.51814 | 0.00045013 | 3.914 | 3.8127 | 0.006245 | -0.10134
2022-015-0037.mrg | 2022-015-0037.sam | 241 | 29.978 | 29.9775 | 0.38873 | -0.00049782 | 5.199 | 5.1185 | 0.02677 | -0.080522
2022-015-0037.mrg | 2022-015-0037.sam | 241 | 20.362 | 20.3618 | 0.39288 | -0.00021553 | 6.847 | 6.692 | 0.0093607 | -0.15505
2022-015-0037.mrg | 2022-015-0037.sam | 241 | 10.435 | 10.4353 | 0.27506 | 0.00030708 | 6.996 | 6.8464 | 0.012194 | -0.14956
2022-015-0037.mrg | 2022-015-0037.sam | 241 | 4.801 | 4.801 | 0.24046 | -4.5776e-05 | 6.995 | 6.6252 | 0.010338 | -0.36983
2022-015-0039.mrg | 2022-015-0039.sam | 241 | 130.37 | 130.37 | 0.36001 | -7.6294e-05 | 1.842 | 1.7644 | 0.0077059 | -0.07756
2022-015-0039.mrg | 2022-015-0039.sam | 241 | 100.133 | 100.133 | 0.62532 | -0.00040436 | 2.571 | 2.4694 | 0.0087838 | -0.10161
2022-015-0039.mrg | 2022-015-0039.sam | 241 | 75.092 | 75.0921 | 0.55916 | 9.1553e-05 | 4.012 | 3.8251 | 0.027555 | -0.18688
2022-015-0039.mrg | 2022-015-0039.sam | 241 | 49.804 | 49.8044 | 0.75565 | 0.00038147 | 6.294 | 6.1124 | 0.017374 | -0.18158
2022-015-0039.mrg | 2022-015-0039.sam | 241 | 31.052 | 31.052 | 0.48277 | 4.5776e-05 | 6.702 | 6.5579 | 0.0079624 | -0.14406
2022-015-0039.mrg | 2022-015-0039.sam | 241 | 20.122 | 20.1217 | 0.23468 | -0.0003109 | 6.716 | 6.5753 | 0.0086529 | -0.14071
2022-015-0039.mrg | 2022-015-0039.sam | 241 | 10.007 | 10.0069 | 0.43014 | -0.00014973 | 6.72 | 6.5659 | 0.010189 | -0.15411
2022-015-0039.mrg | 2022-015-0039.sam | 241 | 4.644 | 4.6436 | 0.34456 | -0.00036955 | 6.716 | 6.3097 | 0.013919 | -0.40634
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 759.647 | 759.647 | 0.19462 | 0.00048828 | 0.251 | 0.189 | 0.010814 | -0.061996
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 751.222 | 751.222 | 0.42265 | 0.00018311 | 0.248 | 0.19351 | 0.011099 | -0.054494
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 499.816 | 499.816 | 0.26068 | 0.00021362 | 0.799 | 0.70359 | 0.0076438 | -0.095415
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 400.297 | 400.297 | 0.97718 | 0.00024414 | 1.156 | 1.041 | 0.0084499 | -0.115
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 300.959 | 300.959 | 0.56888 | 0.00012207 | 1.849 | 1.6388 | 0.0096402 | -0.21022
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 250.779 | 250.779 | 0.52399 | -0.00036621 | 2.284 | 2.1012 | 0.0059645 | -0.18284
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 200.966 | 200.966 | 0.27946 | -0.0002594 | 2.489 | 2.2926 | 0.0068548 | -0.19644
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 175.108 | 175.108 | 0.96823 | -1.5259e-05 | 2.645 | 2.4287 | 0.0078406 | -0.21626
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 151.666 | 151.666 | 0.71424 | 0.00012207 | 2.928 | 2.7032 | 0.0088132 | -0.22479
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 123.883 | 123.883 | 0.51743 | -0.00028229 | 3.154 | 2.9195 | 0.0097099 | -0.23446
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 100.709 | 100.709 | 0.91291 | -0.0004425 | 3.372 | 3.1171 | 0.011463 | -0.2549
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 75.681 | 75.6811 | 0.50259 | 8.3923e-05 | 4.63 | 4.2452 | 0.041684 | -0.38476
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 49.683 | 49.6829 | 0.41314 | -0.00012589 | 6.717 | 6.2437 | 0.021288 | -0.47327
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 30.722 | 30.7223 | 0.35274 | 0.0002861 | 6.754 | 6.3116 | 0.041421 | -0.44239
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 21.139 | 21.1394 | 0.41164 | 0.00042343 | 6.767 | 6.3122 | 0.048717 | -0.4548
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 10.671 | 10.671 | 0.32463 | 2.5749e-05 | 6.762 | 6.2902 | 0.041055 | -0.47178
2022-015-0051.mrg | 2022-015-0051.sam | 241 | 5.249 | 5.2492 | 0.48839 | 0.00024462 | 6.762 | 6.2932 | 0.047292 | -0.46881
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 1244.46 | 1244.46 | 0.6255 | -0.00012207 | 0.456 | 0.37411 | 0.012175 | -0.081888
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 1001.2 | 1001.2 | 0.29535 | -0.00030518 | 0.227 | 0.17295 | 0.010115 | -0.054054
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 749.388 | 749.388 | 0.74805 | -6.1035e-05 | 0.245 | 0.17685 | 0.0060295 | -0.068154
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 502.741 | 502.741 | 0.77219 | 0.00039673 | 0.657 | 0.57426 | 0.0057518 | -0.082743
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 400.169 | 400.169 | 0.93614 | -0.00021362 | 1.123 | 1.0137 | 0.0065695 | -0.10931
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 299.952 | 299.952 | 0.71214 | 0.00018311 | 1.816 | 1.6659 | 0.0097713 | -0.15013
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 250.701 | 250.701 | 0.69352 | 0.00045776 | 2.022 | 1.8532 | 0.0068207 | -0.16878
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 200.478 | 200.478 | 0.91901 | -0.00047302 | 2.638 | 2.4374 | 0.0064404 | -0.20058
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 175.67 | 175.67 | 0.55091 | 0.00045776 | 2.709 | 2.5027 | 0.0084364 | -0.20629
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 150.935 | 150.935 | 0.59702 | 0.00032043 | 2.912 | 2.6889 | 0.0078 | -0.22312
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 125.689 | 125.689 | 1.0464 | -0.00039673 | 3.059 | 2.82 | 0.0077433 | -0.23902
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 100.209 | 100.209 | 0.66992 | 0.00035095 | 3.801 | 3.4874 | 0.015241 | -0.31364
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 75.071 | 75.0707 | 0.36027 | -0.00028992 | 5.274 | 4.8486 | 0.030884 | -0.42538
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 50.461 | 50.4611 | 0.42951 | 7.6294e-05 | 6.846 | 6.3896 | 0.037601 | -0.45644
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 29.91 | 29.9096 | 0.37494 | -0.00043106 | 6.864 | 6.3948 | 0.04002 | -0.46921
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 20.339 | 20.3392 | 0.43181 | 0.00021553 | 6.831 | 6.3939 | 0.029518 | -0.43707
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 9.614 | 9.614 | 0.5215 | 7.6294e-06 | 6.75 | 6.3045 | 0.032778 | -0.44547
2022-015-0057.mrg | 2022-015-0057.sam | 241 | 5.44 | 5.4405 | 0.22416 | 0.00045633 | 6.746 | 6.2904 | 0.018966 | -0.45559
2022-015-0059.mrg | 2022-015-0059.sam | 241 | 25.021 | 25.021 | 0.1905 | -7.6294e-06 | 4.562 | 4.2297 | 0.013581 | -0.33234
2022-015-0059.mrg | 2022-015-0059.sam | 241 | 20.874 | 20.8744 | 0.057104 | 0.00036812 | 4.846 | 4.4045 | 0.015966 | -0.44146
2022-015-0059.mrg | 2022-015-0059.sam | 241 | 9.665 | 9.665 | 0.18754 | -3.8147e-06 | 5.86 | 5.3554 | 0.020519 | -0.50463
2022-015-0059.mrg | 2022-015-0059.sam | 419 | 4.828 | 4.9346 | 0.32618 | 0.10657 | 7.237 | 6.7207 | 0.027671 | -0.5163
2022-015-0060.mrg | 2022-015-0060.sam | 241 | 45.516 | 45.5163 | 0.45508 | 0.00026703 | 3.924 | 3.6147 | 0.0078806 | -0.30925
2022-015-0060.mrg | 2022-015-0060.sam | 241 | 30.304 | 30.3043 | 0.50441 | 0.00029755 | 4.552 | 4.2371 | 0.010083 | -0.31485
2022-015-0060.mrg | 2022-015-0060.sam | 241 | 18.972 | 18.9723 | 0.36023 | 0.0003109 | 4.846 | 4.4793 | 0.012769 | -0.36672
2022-015-0060.mrg | 2022-015-0060.sam | 241 | 9.976 | 9.9764 | 0.39654 | 0.00044441 | 6.857 | 6.335 | 0.05566 | -0.52204
2022-015-0060.mrg | 2022-015-0060.sam | 241 | 4.963 | 4.9631 | 0.39876 | 9.5367e-05 | 7.114 | 6.5981 | 0.029268 | -0.51588
2022-015-0062.mrg | 2022-015-0062.sam | 241 | 103.132 | 103.132 | 0.83232 | 0.00016785 | 2.13 | 1.9358 | 0.017487 | -0.19419
2022-015-0062.mrg | 2022-015-0062.sam | 241 | 75.724 | 75.7235 | 0.64372 | -0.00049591 | 2.51 | 2.3013 | 0.0069117 | -0.20865
2022-015-0062.mrg | 2022-015-0062.sam | 241 | 49.696 | 49.6961 | 0.44162 | 6.8665e-05 | 4.346 | 4.0242 | 0.010742 | -0.32178
2022-015-0062.mrg | 2022-015-0062.sam | 241 | 30.35 | 30.3501 | 0.6165 | 7.4387e-05 | 4.727 | 4.3513 | 0.027817 | -0.37568
2022-015-0062.mrg | 2022-015-0062.sam | 241 | 20.005 | 20.0049 | 0.28858 | -9.5367e-05 | 5.461 | 5.1293 | 0.015646 | -0.33166
2022-015-0062.mrg | 2022-015-0062.sam | 241 | 10.238 | 10.2381 | 0.5164 | 9.1553e-05 | 7.179 | 6.6129 | 0.043873 | -0.56612
2022-015-0062.mrg | 2022-015-0062.sam | 241 | 5.196 | 5.1955 | 0.60616 | -0.00047302 | 7.341 | 6.8022 | 0.018728 | -0.53881
2022-015-0069.mrg | 2022-015-0069.sam | 241 | 106.128 | 106.128 | 0.91324 | -0.00033569 | 2.119 | 1.909 | 0.02284 | -0.21
2022-015-0069.mrg | 2022-015-0069.sam | 241 | 100.783 | 100.783 | 0.69712 | -4.5776e-05 | 2.149 | 1.9681 | 0.0063545 | -0.18086
2022-015-0069.mrg | 2022-015-0069.sam | 241 | 74.249 | 74.2491 | 0.81829 | 0.0001297 | 3.411 | 3.1375 | 0.013542 | -0.27348
2022-015-0069.mrg | 2022-015-0069.sam | 241 | 50.84 | 50.84 | 0.63017 | 4.5776e-05 | 3.882 | 3.5707 | 0.010628 | -0.31125
2022-015-0069.mrg | 2022-015-0069.sam | 241 | 30.64 | 30.6398 | 0.29291 | -0.0001812 | 5.274 | 4.8562 | 0.012751 | -0.41779
2022-015-0069.mrg | 2022-015-0069.sam | 241 | 19.766 | 19.7661 | 0.29411 | 9.9182e-05 | 6.118 | 5.6604 | 0.01684 | -0.45761
2022-015-0069.mrg | 2022-015-0069.sam | 241 | 10.093 | 10.0926 | 0.2976 | -0.00037384 | 6.918 | 6.2379 | 0.034617 | -0.68005
2022-015-0069.mrg | 2022-015-0069.sam | 241 | 5.519 | 5.5189 | 0.26882 | -0.00011635 | 7.426 | 6.8761 | 0.015443 | -0.54993
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 1183.62 | 1183.62 | 0.2611 | 0.00024414 | 0.401 | 0.32876 | 0.012053 | -0.072245
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 999.679 | 999.679 | 0.33789 | 6.1035e-05 | 0.268 | 0.20835 | 0.010398 | -0.059652
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 749.764 | 749.764 | 0.61906 | -0.00012207 | 0.235 | 0.18898 | 0.006702 | -0.046017
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 500.174 | 500.174 | 0.8482 | 0.00042725 | 0.687 | 0.60412 | 0.0084218 | -0.082876
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 401.358 | 401.358 | 0.36646 | 3.0518e-05 | 1.013 | 0.90651 | 0.0056318 | -0.10648
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 299.431 | 299.431 | 0.38968 | -0.00012207 | 1.698 | 1.5446 | 0.0073443 | -0.15339
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 249.379 | 249.379 | 0.41341 | -0.00022888 | 2.112 | 1.9228 | 0.005389 | -0.18916
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 200.406 | 200.406 | 0.40601 | 0.00010681 | 2.415 | 2.2165 | 0.00471 | -0.1985
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 174.73 | 174.73 | 0.26136 | -3.0518e-05 | 2.478 | 2.2618 | 0.0080142 | -0.21616
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 150.391 | 150.391 | 0.25095 | 0.0002594 | 2.543 | 2.3254 | 0.005761 | -0.21761
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 125.505 | 125.505 | 0.21347 | 0.00047302 | 3.018 | 2.7844 | 0.0070844 | -0.23364
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 100.81 | 100.81 | 0.4021 | 0.00021362 | 3.767 | 3.4677 | 0.01288 | -0.29933
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 74.496 | 74.4959 | 0.33359 | -0.00012207 | 5.31 | 4.8877 | 0.010971 | -0.42233
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 49.751 | 49.7509 | 0.27569 | -9.5367e-05 | 6.835 | 6.328 | 0.016205 | -0.50702
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 30.776 | 30.7758 | 0.43011 | -0.00017357 | 6.718 | 6.2182 | 0.014262 | -0.49979
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 19.158 | 19.1577 | 0.17641 | -0.00032425 | 6.803 | 6.3002 | 0.014906 | -0.50283
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 10.294 | 10.2938 | 0.19418 | -0.00022411 | 6.851 | 6.3358 | 0.013572 | -0.51523
2022-015-0077.mrg | 2022-015-0077.sam | 241 | 5.044 | 5.0436 | 0.31299 | -0.00035715 | 6.874 | 6.361 | 0.019319 | -0.51295
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 503.456 | 503.456 | 0.46236 | -0.00048828 | 0.75 | 0.66051 | 0.0061272 | -0.089494
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 401.251 | 401.251 | 0.21593 | 6.1035e-05 | 1.11 | 0.99028 | 0.0084188 | -0.11972
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 299.803 | 299.803 | 0.12664 | 6.1035e-05 | 1.803 | 1.6072 | 0.0079126 | -0.19576
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 249.862 | 249.862 | 0.1859 | 0.00021362 | 2.011 | 1.8311 | 0.0074062 | -0.1799
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 200.168 | 200.168 | 0.18496 | -0.00045776 | 2.41 | 2.2032 | 0.0044053 | -0.20679
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 175.039 | 175.039 | 0.33482 | 0.00039673 | 2.536 | 2.3219 | 0.0061499 | -0.21414
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 149.959 | 149.959 | 0.35868 | 0.00013733 | 2.885 | 2.6353 | 0.0077646 | -0.24971
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 125.151 | 125.151 | 0.34781 | 3.0518e-05 | 3.351 | 3.0572 | 0.010297 | -0.2938
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 100 | 100 | 0.39423 | 0.0004425 | 3.71 | 3.3974 | 0.0064992 | -0.31264
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 75.346 | 75.346 | 0.56309 | 3.8147e-05 | 5.992 | 5.5011 | 0.013444 | -0.49095
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 50.474 | 50.4739 | 0.17089 | -0.00011063 | 6.754 | 6.2335 | 0.01328 | -0.52053
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 29.681 | 29.6811 | 0.31374 | 0.0001049 | 6.754 | 6.2391 | 0.020676 | -0.51494
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 20.714 | 20.7141 | 0.29682 | 0.00013542 | 6.764 | 6.2541 | 0.013233 | -0.5099
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 10.397 | 10.3971 | 0.24455 | 0.00011635 | 6.766 | 6.2624 | 0.012195 | -0.50356
2022-015-0080.mrg | 2022-015-0080.sam | 241 | 5.49 | 5.4901 | 0.19007 | 0.00014543 | 6.841 | 6.3281 | 0.013387 | -0.51287
2022-015-0082.mrg | 2022-015-0082.sam | 241 | 195.65 | 195.65 | 0.23992 | 0.00047302 | 1.995 | 1.8162 | 0.0065821 | -0.1788
2022-015-0082.mrg | 2022-015-0082.sam | 241 | 175.947 | 175.947 | 0.40408 | 0.00030518 | 2.259 | 2.0739 | 0.0051849 | -0.18511
2022-015-0082.mrg | 2022-015-0082.sam | 241 | 150.561 | 150.561 | 0.95536 | 0.00030518 | 2.432 | 2.1843 | 0.023365 | -0.24768
2022-015-0082.mrg | 2022-015-0082.sam | 241 | 124.777 | 124.777 | 1.2708 | 0.00011444 | 2.979 | 2.7359 | 0.0036802 | -0.24305
2022-015-0082.mrg | 2022-015-0082.sam | 241 | 100.076 | 100.076 | 1.0152 | -0.00030518 | 4.159 | 3.8129 | 0.01547 | -0.34612
2022-015-0082.mrg | 2022-015-0082.sam | 241 | 74.898 | 74.898 | 0.40059 | 0 | 5.299 | 4.8924 | 0.010221 | -0.40663
2022-015-0082.mrg | 2022-015-0082.sam | 241 | 49.681 | 49.6811 | 0.87851 | 8.3923e-05 | 6.71 | 6.2091 | 0.014321 | -0.50092
2022-015-0082.mrg | 2022-015-0082.sam | 241 | 29.503 | 29.5027 | 0.32757 | -0.00029945 | 6.733 | 6.2257 | 0.014545 | -0.50734
2022-015-0082.mrg | 2022-015-0082.sam | 241 | 19.407 | 19.4066 | 0.40422 | -0.00040627 | 6.741 | 6.2278 | 0.01471 | -0.51319
2022-015-0082.mrg | 2022-015-0082.sam | 241 | 9.784 | 9.7844 | 0.42565 | 0.00039768 | 7.578 | 6.9417 | 0.027389 | -0.63631
2022-015-0082.mrg | 2022-015-0082.sam | 241 | 5.583 | 5.5831 | 0.32014 | 0.00013256 | 7.815 | 7.2382 | 0.025376 | -0.57685
2022-015-0086.mrg | 2022-015-0086.sam | 241 | 140.933 | 140.933 | 0.30569 | -0.00016785 | 2.299 | 2.0882 | 0.007825 | -0.21078
2022-015-0086.mrg | 2022-015-0086.sam | 241 | 124.36 | 124.36 | 0.40135 | 0.00048828 | 2.324 | 2.1228 | 0.0078209 | -0.20118
2022-015-0086.mrg | 2022-015-0086.sam | 241 | 99.315 | 99.3148 | 0.4339 | -0.00016022 | 2.365 | 2.0983 | 0.015219 | -0.26668
2022-015-0086.mrg | 2022-015-0086.sam | 241 | 75.293 | 75.2933 | 0.41056 | 0.00026703 | 2.824 | 2.5759 | 0.0078923 | -0.24813
2022-015-0086.mrg | 2022-015-0086.sam | 241 | 50.073 | 50.0729 | 0.29147 | -0.00013733 | 4.133 | 3.8498 | 0.0096705 | -0.28316
2022-015-0086.mrg | 2022-015-0086.sam | 241 | 30.577 | 30.5765 | 0.17074 | -0.00046349 | 5.193 | 4.7068 | 0.014374 | -0.48619
2022-015-0086.mrg | 2022-015-0086.sam | 241 | 20.839 | 20.8387 | 0.30151 | -0.00029182 | 6.454 | 5.9074 | 0.030907 | -0.54658
2022-015-0086.mrg | 2022-015-0086.sam | 241 | 10.858 | 10.8577 | 0.21124 | -0.00034809 | 8.245 | 7.5727 | 0.01894 | -0.67234
2022-015-0086.mrg | 2022-015-0086.sam | 241 | 5.391 | 5.3914 | 0.18504 | 0.00042343 | 8.031 | 7.4336 | 0.016581 | -0.59737
2022-015-0089.mrg | 2022-015-0089.sam | 241 | 132.28 | 132.28 | 0.31137 | 0.00013733 | 1.864 | 1.7049 | 0.0058717 | -0.1591
2022-015-0089.mrg | 2022-015-0089.sam | 331 | 127.551 | 127.047 | 0.85608 | -0.50426 | 1.837 | 1.6849 | 0.0073449 | -0.1521
2022-015-0089.mrg | 2022-015-0089.sam | 359 | 125.518 | 126.115 | 0.86483 | 0.5974 | 1.836 | 1.6817 | 0.0077257 | -0.15427
2022-015-0089.mrg | 2022-015-0089.sam | 241 | 100.584 | 100.584 | 0.34198 | -4.5776e-05 | 2.229 | 2.049 | 0.0062222 | -0.17997
2022-015-0089.mrg | 2022-015-0089.sam | 241 | 74.582 | 74.5824 | 0.075493 | 0.00036621 | 2.8 | 2.5662 | 0.0073615 | -0.23379
2022-015-0089.mrg | 2022-015-0089.sam | 241 | 50.568 | 50.5684 | 0.14148 | 0.00043106 | 3.81 | 3.5023 | 0.009461 | -0.30766
2022-015-0089.mrg | 2022-015-0089.sam | 241 | 29.959 | 29.9588 | 0.20391 | -0.00021172 | 5.314 | 4.713 | 0.03308 | -0.60105
2022-015-0089.mrg | 2022-015-0089.sam | 241 | 20.034 | 20.0337 | 0.13232 | -0.00026512 | 6.429 | 5.9676 | 0.022973 | -0.46138
2022-015-0089.mrg | 2022-015-0089.sam | 241 | 10.085 | 10.0846 | 0.19227 | -0.00043201 | 7.796 | 7.219 | 0.017843 | -0.57704
2022-015-0089.mrg | 2022-015-0089.sam | 241 | 5.073 | 5.0734 | 0.2 | 0.00036526 | 7.803 | 7.2151 | 0.021891 | -0.58787
2022-015-0094.mrg | 2022-015-0094.sam | 241 | 178.548 | 178.548 | 0.098258 | 0.00047302 | 1.939 | 1.7699 | 0.005353 | -0.16911
2022-015-0094.mrg | 2022-015-0094.sam | 241 | 150.882 | 150.882 | 0.12765 | 0.00041199 | 1.942 | 1.7769 | 0.0064637 | -0.16506
2022-015-0094.mrg | 2022-015-0094.sam | 241 | 100.859 | 100.859 | 0.066796 | 0.00024414 | 2.651 | 2.3377 | 0.0080122 | -0.3133
2022-015-0094.mrg | 2022-015-0094.sam | 241 | 79.907 | 79.9072 | 0.12432 | 0.00016785 | 3.131 | 2.8821 | 0.007209 | -0.2489
2022-015-0094.mrg | 2022-015-0094.sam | 241 | 59.998 | 59.9984 | 0.056639 | 0.00037384 | 3.949 | 3.6435 | 0.0089783 | -0.30551
2022-015-0094.mrg | 2022-015-0094.sam | 241 | 50.355 | 50.355 | 0.028985 | 3.0518e-05 | 4.249 | 3.9167 | 0.0084405 | -0.33232
2022-015-0094.mrg | 2022-015-0094.sam | 241 | 21.114 | 21.114 | 0.090904 | -2.0981e-05 | 5.243 | 4.8116 | 0.016581 | -0.43136
2022-015-0094.mrg | 2022-015-0094.sam | 241 | 10.413 | 10.4127 | 0.029554 | -0.0002861 | 6.279 | 5.7916 | 0.017316 | -0.48736
2022-015-0094.mrg | 2022-015-0094.sam | 241 | 5.683 | 5.683 | 0.042494 | 1.2398e-05 | 7.273 | 6.8477 | 0.017483 | -0.42534
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 23
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2022-015-0004.mrg | 2022-015-0004.sam | 11 | 17 | 2022-015-0004.mrg & 2022-015-0004.sam
2 | 2022-015-0005.mrg | 2022-015-0005.sam | 19 | 24 | 2022-015-0005.mrg & 2022-015-0005.sam
3 | 2022-015-0008.mrg | 2022-015-0008.sam | 26 | 35 | 2022-015-0008.mrg & 2022-015-0008.sam
4 | 2022-015-0012.mrg | 2022-015-0012.sam | 37 | 43 | 2022-015-0012.mrg & 2022-015-0012.sam
5 | 2022-015-0015.mrg | 2022-015-0015.sam | 45 | 52 | 2022-015-0015.mrg & 2022-015-0015.sam
6 | 2022-015-0017.mrg | 2022-015-0017.sam | 54 | 70 | 2022-015-0017.mrg & 2022-015-0017.sam
7 | 2022-015-0023.mrg | 2022-015-0023.sam | 72 | 78 | 2022-015-0023.mrg & 2022-015-0023.sam
8 | 2022-015-0026.mrg | 2022-015-0026.sam | 80 | 90 | 2022-015-0026.mrg & 2022-015-0026.sam
9 | 2022-015-0034.mrg | 2022-015-0034.sam | 92 | 96 | 2022-015-0034.mrg & 2022-015-0034.sam
10 | 2022-015-0037.mrg | 2022-015-0037.sam | 98 | 102 | 2022-015-0037.mrg & 2022-015-0037.sam
11 | 2022-015-0039.mrg | 2022-015-0039.sam | 104 | 111 | 2022-015-0039.mrg & 2022-015-0039.sam
12 | 2022-015-0051.mrg | 2022-015-0051.sam | 113 | 129 | 2022-015-0051.mrg & 2022-015-0051.sam
13 | 2022-015-0057.mrg | 2022-015-0057.sam | 131 | 148 | 2022-015-0057.mrg & 2022-015-0057.sam
14 | 2022-015-0059.mrg | 2022-015-0059.sam | 150 | 153 | 2022-015-0059.mrg & 2022-015-0059.sam
15 | 2022-015-0060.mrg | 2022-015-0060.sam | 155 | 159 | 2022-015-0060.mrg & 2022-015-0060.sam
16 | 2022-015-0062.mrg | 2022-015-0062.sam | 161 | 167 | 2022-015-0062.mrg & 2022-015-0062.sam
17 | 2022-015-0069.mrg | 2022-015-0069.sam | 169 | 176 | 2022-015-0069.mrg & 2022-015-0069.sam
18 | 2022-015-0077.mrg | 2022-015-0077.sam | 178 | 195 | 2022-015-0077.mrg & 2022-015-0077.sam
19 | 2022-015-0080.mrg | 2022-015-0080.sam | 197 | 211 | 2022-015-0080.mrg & 2022-015-0080.sam
20 | 2022-015-0082.mrg | 2022-015-0082.sam | 213 | 223 | 2022-015-0082.mrg & 2022-015-0082.sam
21 | 2022-015-0086.mrg | 2022-015-0086.sam | 225 | 233 | 2022-015-0086.mrg & 2022-015-0086.sam
22 | 2022-015-0089.mrg | 2022-015-0089.sam | 235 | 244 | 2022-015-0089.mrg & 2022-015-0089.sam
23 | 2022-015-0094.mrg | 2022-015-0094.sam | 246 | 254 | 2022-015-0094.mrg & 2022-015-0094.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (OXY_SBE - OXY_BOT) | OXY_SBE | 23
2 | (OXY_SBE - OXY_BOT) | OXY_SBE | 21
3 | (OXY_SBE - OXY_BOT) | OXY_SBE | 2
4 | (OXY_SBE - OXY_BOT) | Pressure | 23
5 | (OXY_SBE - OXY_BOT) | OXY_SBE | 11
6 | (OXY_SBE - OXY_BOT) | OXY_SBE | 12

## all data
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.87285 |  | X | CALC Y
m= | -0.016744 | 0.00165 |  | Std Dev of Resid |  | 0.015376 |  | 0.18427 | -0.047658
b= | -0.044572 | 0.0062296 |  | Resid Sum of Squares |  | 0.0035461 |  | 6.6391 | -0.15574
# of Values Extracted = |  |  | 222
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid | Bottle | X | Y
1 | NO | 87.3163 | 3.6328 | 0.020157 | -0.11815 | -0.1054 | 0.012745 | 3.751 | 0.18427 | -0.066725
1 | NO | 75.354 | 3.9183 | 0.030339 | -0.082701 | -0.11018 | -0.027478 | 4.001 | 0.19559 | -0.050411
1 | NO | 49.8764 | 4.1052 | 0.008439 | -0.073759 | -0.11331 | -0.039551 | 4.179 | 0.57706 | -0.062938
1 | NO | 30.767 | 5.8515 | 0.094918 | -0.34545 | -0.14255 | 0.2029 | 6.197 | 0.92224 | -0.061759
1 | NO | 20.6038 | 6.266 | 0.012862 | -0.10797 | -0.14949 | -0.041523 | 6.374 | 1.4323 | -0.063739
1 | NO | 9.9285 | 7.2945 | 0.012144 | -0.11055 | -0.16671 | -0.056157 | 7.405 | 1.5263 | -0.064681
1 | NO | 5.6758 | 7.2197 | 0.022408 | -0.18632 | -0.16546 | 0.020867 | 7.406 | 1.9779 | -0.083091
2 | NO | 101.136 | 3.313 | 0.010528 | -0.087 | -0.10004 | -0.013044 | 3.4 | 2.1535 | -0.074543
2 | NO | 74.6748 | 3.7343 | 0.0060158 | -0.089709 | -0.1071 | -0.017389 | 3.824 | 2.2681 | -0.075859
2 | NO | 49.8574 | 4.6298 | 0.018099 | -0.13516 | -0.12209 | 0.013065 | 4.765 | 2.4381 | -0.059936
2 | NO | 30.628 | 6.1387 | 0.01559 | -0.12233 | -0.14736 | -0.025029 | 6.261 | 2.9103 | -0.096689
2 | NO | 9.7317 | 7.3016 | 0.01403 | -0.13738 | -0.16683 | -0.029447 | 7.439 | 3.8659 | -0.10412
2 | NO | 4.5591 | 7.2439 | 0.012214 | -0.3081 | -0.16586 | 0.14224 | 7.552 | 4.9983 | -0.12069
3 | NO | 159.67 | 3.0054 | 0.0047304 | -0.079589 | -0.094894 | -0.015305 | 3.085 | 6.1829 | -0.14905
3 | NO | 150.212 | 3.0391 | 0.0073881 | -0.092909 | -0.095458 | -0.0025496 | 3.132 | 6.5587 | -0.15925
3 | NO | 124.4 | 3.2329 | 0.0092611 | -0.11308 | -0.098704 | 0.014379 | 3.346 | 6.6391 | -0.13094
3 | NO | 100.262 | 3.6138 | 0.008247 | -0.097249 | -0.10508 | -0.0078312 | 3.711 | 6.5819 | -0.19415
3 | NO | 74.775 | 4.0781 | 0.01177 | -0.10391 | -0.11286 | -0.0089461 | 4.182
3 | NO | 49.8663 | 4.8387 | 0.0063167 | -0.15234 | -0.12559 | 0.02675 | 4.991
3 | NO | 31.0915 | 6.5807 | 0.025088 | -0.1783 | -0.15476 | 0.023536 | 6.759
3 | NO | 20.1473 | 7.2024 | 0.007297 | -0.12465 | -0.16517 | -0.040519 | 7.327
3 | NO | 10.3047 | 7.0566 | 0.012545 | -0.1434 | -0.16273 | -0.019325 | 7.2
3 | NO | 5.0582 | 6.8492 | 0.010433 | -0.34077 | -0.15925 | 0.18152 | 7.19
4 | NO | 89.5806 | 2.7808 | 0.012434 | -0.11018 | -0.091134 | 0.019044 | 2.891
4 | NO | 74.8951 | 3.4848 | 0.0075962 | -0.093174 | -0.10292 | -0.0097471 | 3.578
4 | NO | 49.9419 | 5.0729 | 0.038582 | 0.18395 | -0.12951 | -0.31347 | 4.889
4 | NO | 31.1532 | 5.3183 | 0.0088221 | -0.17374 | -0.13362 | 0.040115 | 5.492
4 | NO | 19.489 | 6.1089 | 0.02214 | -0.074067 | -0.14686 | -0.072793 | 6.183
4 | NO | 9.8066 | 6.8949 | 0.0099068 | -0.13409 | -0.16002 | -0.025924 | 7.029
4 | NO | 5.9204 | 6.8318 | 0.013635 | -0.21922 | -0.15896 | 0.060262 | 7.051
5 | NO | 133.238 | 1.6783 | 0.0076821 | -0.075709 | -0.072673 | 0.0030363 | 1.754
5 | NO | 124.473 | 1.7103 | 0.0078673 | -0.081739 | -0.073208 | 0.0085301 | 1.792
5 | NO | 100.287 | 2.5788 | 0.0056168 | -0.084242 | -0.087751 | -0.0035086 | 2.663
5 | NO | 49.8072 | 4.5951 | 0.020526 | -0.17886 | -0.12151 | 0.057351 | 4.774
5 | NO | 29.767 | 6.2 | 0.0068647 | -0.11698 | -0.14838 | -0.031401 | 6.317
5 | NO | 20.9934 | 5.7952 | 0.07073 | -0.33978 | -0.14161 | 0.19817 | 6.135
5 | NO | 10.6766 | 6.86 | 0.013718 | -0.17101 | -0.15943 | 0.011577 | 7.031
5 | NO | 5.4539 | 6.7028 | 0.013467 | -0.38124 | -0.1568 | 0.22443 | 7.084
6 | YES | 950.843 | 0.18427 | 0.011556 | -0.066725 | -0.047658 | 0.019067 | 0.251
6 | YES | 751.336 | 0.19559 | 0.0096928 | -0.050411 | -0.047847 | 0.0025637 | 0.246
6 | YES | 499.802 | 0.57706 | 0.0069733 | -0.062938 | -0.054234 | 0.0087036 | 0.64
6 | YES | 400.814 | 0.92224 | 0.0070256 | -0.061759 | -0.060014 | 0.0017454 | 0.984
6 | YES | 299.192 | 1.4323 | 0.0060631 | -0.063739 | -0.068554 | -0.004815 | 1.496
6 | YES | 250.035 | 1.5263 | 0.0072031 | -0.064681 | -0.070129 | -0.0054481 | 1.591
6 | YES | 200.294 | 1.9779 | 0.0064929 | -0.083091 | -0.07769 | 0.0054014 | 2.061
6 | YES | 173.801 | 2.1535 | 0.0095297 | -0.074543 | -0.080629 | -0.0060859 | 2.228
6 | YES | 149.91 | 2.2681 | 0.0076057 | -0.075859 | -0.08255 | -0.0066904 | 2.344
6 | YES | 124.867 | 2.4381 | 0.046969 | -0.059936 | -0.085395 | -0.025459 | 2.498
6 | YES | 100.293 | 2.9103 | 0.0088114 | -0.096689 | -0.093302 | 0.0033868 | 3.007
6 | YES | 74.3503 | 3.8659 | 0.006169 | -0.10412 | -0.1093 | -0.0051819 | 3.97
6 | YES | 48.9304 | 4.9983 | 0.0079831 | -0.12069 | -0.12826 | -0.0075701 | 5.119
6 | YES | 31.2828 | 6.1829 | 0.016054 | -0.14905 | -0.1481 | 0.00094648 | 6.332
6 | YES | 19.5066 | 6.5587 | 0.014165 | -0.15925 | -0.15439 | 0.0048621 | 6.718
6 | YES | 9.7527 | 6.6391 | 0.0095638 | -0.13094 | -0.15574 | -0.024798 | 6.77
6 | YES | 5.6694 | 6.5819 | 0.013073 | -0.19415 | -0.15478 | 0.039371 | 6.776
7 | NO | 84.6483 | 2.708 | 0.006269 | -0.087 | -0.089914 | -0.0029144 | 2.795
7 | NO | 74.48 | 3.1276 | 0.024333 | -0.15838 | -0.096941 | 0.061437 | 3.286
7 | NO | 51.2926 | 3.8939 | 0.02212 | -0.13315 | -0.10977 | 0.023379 | 4.027
7 | NO | 30.3786 | 5.4288 | 0.016977 | -0.18221 | -0.13547 | 0.046737 | 5.611
7 | NO | 20.0224 | 6.0619 | 0.023189 | -0.0091038 | -0.14607 | -0.13697 | 6.071
7 | NO | 10.3728 | 7.2414 | 0.024616 | -0.12862 | -0.16582 | -0.037203 | 7.37
7 | NO | 4.7163 | 7.1332 | 0.019593 | -0.3118 | -0.16401 | 0.14779 | 7.445
8 | NO | 193.249 | 2.1453 | 0.0084807 | -0.11871 | -0.080493 | 0.038221 | 2.264
8 | NO | 174.96 | 2.2574 | 0.0068438 | -0.095618 | -0.082369 | 0.013249 | 2.353
8 | NO | 149.509 | 2.4932 | 0.010079 | -0.098838 | -0.086317 | 0.012521 | 2.592
8 | NO | 125.301 | 2.858 | 0.009677 | -0.084955 | -0.092427 | -0.0074724 | 2.943
8 | NO | 99.917 | 3.8397 | 0.035921 | -0.13333 | -0.10886 | 0.024469 | 3.973
8 | NO | 75.4651 | 4.7041 | 0.0072855 | -0.12888 | -0.12334 | 0.0055468 | 4.833
8 | NO | 51.1408 | 6.4325 | 0.012957 | -0.14947 | -0.15228 | -0.0028044 | 6.582
8 | NO | 30.0366 | 6.5412 | 0.014105 | -0.13882 | -0.1541 | -0.015275 | 6.68
8 | NO | 21.0309 | 6.5951 | 0.010887 | -0.14294 | -0.155 | -0.012057 | 6.738
8 | NO | 10.0472 | 6.6009 | 0.011352 | -0.14509 | -0.1551 | -0.010006 | 6.746
8 | NO | 5.2873 | 6.4672 | 0.010947 | -0.28484 | -0.15286 | 0.13198 | 6.752
9 | NO | 33.5564 | 5.1305 | 0.38884 | -0.16853 | -0.13048 | 0.038049 | 5.299
9 | NO | 31.4172 | 5.8023 | 0.34619 | -0.32768 | -0.14173 | 0.18596 | 6.13
9 | NO | 20.0743 | 7.0177 | 0.013586 | -0.12833 | -0.16207 | -0.033747 | 7.146
9 | NO | 10.6457 | 6.9785 | 0.0090471 | -0.13752 | -0.16142 | -0.023896 | 7.116
9 | NO | 5.6198 | 6.85 | 0.007918 | -0.27197 | -0.15927 | 0.1127 | 7.122
10 | NO | 53.8834 | 3.8127 | 0.006245 | -0.10134 | -0.10841 | -0.0070708 | 3.914
10 | NO | 29.9775 | 5.1185 | 0.02677 | -0.080522 | -0.13028 | -0.049753 | 5.199
10 | NO | 20.3618 | 6.692 | 0.0093607 | -0.15505 | -0.15662 | -0.0015711 | 6.847
10 | NO | 10.4353 | 6.8464 | 0.012194 | -0.14956 | -0.15921 | -0.0096479 | 6.996
10 | NO | 4.801 | 6.6252 | 0.010338 | -0.36983 | -0.1555 | 0.21433 | 6.995
11 | NO | 130.37 | 1.7644 | 0.0077059 | -0.07756 | -0.074116 | 0.0034445 | 1.842
11 | NO | 100.133 | 2.4694 | 0.0087838 | -0.10161 | -0.085919 | 0.015695 | 2.571
11 | NO | 75.0921 | 3.8251 | 0.027555 | -0.18688 | -0.10862 | 0.078257 | 4.012
11 | NO | 49.8044 | 6.1124 | 0.017374 | -0.18158 | -0.14692 | 0.034663 | 6.294
11 | NO | 31.052 | 6.5579 | 0.0079624 | -0.14406 | -0.15438 | -0.010314 | 6.702
11 | NO | 20.1217 | 6.5753 | 0.0086529 | -0.14071 | -0.15467 | -0.013959 | 6.716
11 | NO | 10.0069 | 6.5659 | 0.010189 | -0.15411 | -0.15451 | -0.00039841 | 6.72
11 | NO | 4.6436 | 6.3097 | 0.013919 | -0.40634 | -0.15022 | 0.25612 | 6.716
12 | NO | 759.647 | 0.189 | 0.010814 | -0.061996 | -0.047737 | 0.014259 | 0.251
12 | NO | 751.222 | 0.19351 | 0.011099 | -0.054494 | -0.047812 | 0.0066816 | 0.248
12 | NO | 499.816 | 0.70359 | 0.0076438 | -0.095415 | -0.056353 | 0.039062 | 0.799
12 | NO | 400.297 | 1.041 | 0.0084499 | -0.115 | -0.062003 | 0.052997 | 1.156
12 | NO | 300.959 | 1.6388 | 0.0096402 | -0.21022 | -0.072012 | 0.13821 | 1.849
12 | NO | 250.779 | 2.1012 | 0.0059645 | -0.18284 | -0.079754 | 0.10309 | 2.284
12 | NO | 200.966 | 2.2926 | 0.0068548 | -0.19644 | -0.082958 | 0.11348 | 2.489
12 | NO | 175.108 | 2.4287 | 0.0078406 | -0.21626 | -0.085239 | 0.13102 | 2.645
12 | NO | 151.666 | 2.7032 | 0.0088132 | -0.22479 | -0.089834 | 0.13496 | 2.928
12 | NO | 123.883 | 2.9195 | 0.0097099 | -0.23446 | -0.093456 | 0.141 | 3.154
12 | NO | 100.709 | 3.1171 | 0.011463 | -0.2549 | -0.096764 | 0.15814 | 3.372
12 | NO | 75.6811 | 4.2452 | 0.041684 | -0.38476 | -0.11565 | 0.2691 | 4.63
12 | NO | 49.6829 | 6.2437 | 0.021288 | -0.47327 | -0.14912 | 0.32415 | 6.717
12 | NO | 30.7223 | 6.3116 | 0.041421 | -0.44239 | -0.15025 | 0.29213 | 6.754
12 | NO | 21.1394 | 6.3122 | 0.048717 | -0.4548 | -0.15026 | 0.30454 | 6.767
12 | NO | 10.671 | 6.2902 | 0.041055 | -0.47178 | -0.14989 | 0.32188 | 6.762
12 | NO | 5.2492 | 6.2932 | 0.047292 | -0.46881 | -0.14994 | 0.31886 | 6.762
13 | NO | 1244.46 | 0.37411 | 0.012175 | -0.081888 | -0.050836 | 0.031052 | 0.456
13 | NO | 1001.2 | 0.17295 | 0.010115 | -0.054054 | -0.047468 | 0.006586 | 0.227
13 | NO | 749.388 | 0.17685 | 0.0060295 | -0.068154 | -0.047533 | 0.02062 | 0.245
13 | NO | 502.741 | 0.57426 | 0.0057518 | -0.082743 | -0.054187 | 0.028555 | 0.657
13 | NO | 400.169 | 1.0137 | 0.0065695 | -0.10931 | -0.061545 | 0.04777 | 1.123
13 | NO | 299.952 | 1.6659 | 0.0097713 | -0.15013 | -0.072465 | 0.077664 | 1.816
13 | NO | 250.701 | 1.8532 | 0.0068207 | -0.16878 | -0.075602 | 0.093178 | 2.022
13 | NO | 200.478 | 2.4374 | 0.0064404 | -0.20058 | -0.085384 | 0.11519 | 2.638
13 | NO | 175.67 | 2.5027 | 0.0084364 | -0.20629 | -0.086477 | 0.11981 | 2.709
13 | NO | 150.935 | 2.6889 | 0.0078 | -0.22312 | -0.089594 | 0.13353 | 2.912
13 | NO | 125.689 | 2.82 | 0.0077433 | -0.23902 | -0.091789 | 0.14723 | 3.059
13 | NO | 100.209 | 3.4874 | 0.015241 | -0.31364 | -0.10296 | 0.21068 | 3.801
13 | NO | 75.0707 | 4.8486 | 0.030884 | -0.42538 | -0.12576 | 0.29963 | 5.274
13 | NO | 50.4611 | 6.3896 | 0.037601 | -0.45644 | -0.15156 | 0.30488 | 6.846
13 | NO | 29.9096 | 6.3948 | 0.04002 | -0.46921 | -0.15165 | 0.31757 | 6.864
13 | NO | 20.3392 | 6.3939 | 0.029518 | -0.43707 | -0.15163 | 0.28544 | 6.831
13 | NO | 9.614 | 6.3045 | 0.032778 | -0.44547 | -0.15013 | 0.29533 | 6.75
13 | NO | 5.4405 | 6.2904 | 0.018966 | -0.45559 | -0.1499 | 0.30569 | 6.746
14 | NO | 25.021 | 4.2297 | 0.013581 | -0.33234 | -0.11539 | 0.21695 | 4.562
14 | NO | 20.8744 | 4.4045 | 0.015966 | -0.44146 | -0.11832 | 0.32314 | 4.846
14 | NO | 9.665 | 5.3554 | 0.020519 | -0.50463 | -0.13424 | 0.37039 | 5.86
14 | NO | 4.9346 | 6.7207 | 0.027671 | -0.5163 | -0.1571 | 0.3592 | 7.237
15 | NO | 45.5163 | 3.6147 | 0.0078806 | -0.30925 | -0.1051 | 0.20415 | 3.924
15 | NO | 30.3043 | 4.2371 | 0.010083 | -0.31485 | -0.11552 | 0.19933 | 4.552
15 | NO | 18.9723 | 4.4793 | 0.012769 | -0.36672 | -0.11957 | 0.24715 | 4.846
15 | NO | 9.9764 | 6.335 | 0.05566 | -0.52204 | -0.15064 | 0.3714 | 6.857
15 | NO | 4.9631 | 6.5981 | 0.029268 | -0.51588 | -0.15505 | 0.36083 | 7.114
16 | NO | 103.132 | 1.9358 | 0.017487 | -0.19419 | -0.076985 | 0.11721 | 2.13
16 | NO | 75.7235 | 2.3013 | 0.0069117 | -0.20865 | -0.083106 | 0.12554 | 2.51
16 | NO | 49.6961 | 4.0242 | 0.010742 | -0.32178 | -0.11195 | 0.20982 | 4.346
16 | NO | 30.3501 | 4.3513 | 0.027817 | -0.37568 | -0.11743 | 0.25826 | 4.727
16 | NO | 20.0049 | 5.1293 | 0.015646 | -0.33166 | -0.13046 | 0.2012 | 5.461
16 | NO | 10.2381 | 6.6129 | 0.043873 | -0.56612 | -0.1553 | 0.41082 | 7.179
16 | NO | 5.1955 | 6.8022 | 0.018728 | -0.53881 | -0.15847 | 0.38035 | 7.341
17 | NO | 106.128 | 1.909 | 0.02284 | -0.21 | -0.076536 | 0.13346 | 2.119
17 | NO | 100.783 | 1.9681 | 0.0063545 | -0.18086 | -0.077526 | 0.10333 | 2.149
17 | NO | 74.2491 | 3.1375 | 0.013542 | -0.27348 | -0.097106 | 0.17637 | 3.411
17 | NO | 50.84 | 3.5707 | 0.010628 | -0.31125 | -0.10436 | 0.20689 | 3.882
17 | NO | 30.6398 | 4.8562 | 0.012751 | -0.41779 | -0.12588 | 0.29191 | 5.274
17 | NO | 19.7661 | 5.6604 | 0.01684 | -0.45761 | -0.13935 | 0.31826 | 6.118
17 | NO | 10.0926 | 6.2379 | 0.034617 | -0.68005 | -0.14902 | 0.53103 | 6.918
17 | NO | 5.5189 | 6.8761 | 0.015443 | -0.54993 | -0.1597 | 0.39023 | 7.426
18 | NO | 1183.62 | 0.32876 | 0.012053 | -0.072245 | -0.050077 | 0.022168 | 0.401
18 | NO | 999.679 | 0.20835 | 0.010398 | -0.059652 | -0.048061 | 0.011591 | 0.268
18 | NO | 749.764 | 0.18898 | 0.006702 | -0.046017 | -0.047736 | -0.0017199 | 0.235
18 | NO | 500.174 | 0.60412 | 0.0084218 | -0.082876 | -0.054688 | 0.028188 | 0.687
18 | NO | 401.358 | 0.90651 | 0.0056318 | -0.10648 | -0.059751 | 0.046734 | 1.013
18 | NO | 299.431 | 1.5446 | 0.0073443 | -0.15339 | -0.070435 | 0.082955 | 1.698
18 | NO | 249.379 | 1.9228 | 0.005389 | -0.18916 | -0.076768 | 0.11239 | 2.112
18 | NO | 200.406 | 2.2165 | 0.00471 | -0.1985 | -0.081685 | 0.11682 | 2.415
18 | NO | 174.73 | 2.2618 | 0.0080142 | -0.21616 | -0.082444 | 0.13372 | 2.478
18 | NO | 150.391 | 2.3254 | 0.005761 | -0.21761 | -0.083508 | 0.1341 | 2.543
18 | NO | 125.505 | 2.7844 | 0.0070844 | -0.23364 | -0.091193 | 0.14245 | 3.018
18 | NO | 100.81 | 3.4677 | 0.01288 | -0.29933 | -0.10263 | 0.19669 | 3.767
18 | NO | 74.4959 | 4.8877 | 0.010971 | -0.42233 | -0.12641 | 0.29592 | 5.31
18 | NO | 49.7509 | 6.328 | 0.016205 | -0.50702 | -0.15053 | 0.3565 | 6.835
18 | NO | 30.7758 | 6.2182 | 0.014262 | -0.49979 | -0.14869 | 0.3511 | 6.718
18 | NO | 19.1577 | 6.3002 | 0.014906 | -0.50283 | -0.15006 | 0.35277 | 6.803
18 | NO | 10.2938 | 6.3358 | 0.013572 | -0.51523 | -0.15066 | 0.36457 | 6.851
18 | NO | 5.0436 | 6.361 | 0.019319 | -0.51295 | -0.15108 | 0.36187 | 6.874
19 | NO | 503.456 | 0.66051 | 0.0061272 | -0.089494 | -0.055632 | 0.033862 | 0.75
19 | NO | 401.251 | 0.99028 | 0.0084188 | -0.11972 | -0.061153 | 0.058569 | 1.11
19 | NO | 299.803 | 1.6072 | 0.0079126 | -0.19576 | -0.071484 | 0.12428 | 1.803
19 | NO | 249.862 | 1.8311 | 0.0074062 | -0.1799 | -0.075232 | 0.10466 | 2.011
19 | NO | 200.168 | 2.2032 | 0.0044053 | -0.20679 | -0.081462 | 0.12533 | 2.41
19 | NO | 175.039 | 2.3219 | 0.0061499 | -0.21414 | -0.083449 | 0.13069 | 2.536
19 | NO | 149.959 | 2.6353 | 0.0077646 | -0.24971 | -0.088697 | 0.16102 | 2.885
19 | NO | 125.151 | 3.0572 | 0.010297 | -0.2938 | -0.095761 | 0.19804 | 3.351
19 | NO | 100 | 3.3974 | 0.0064992 | -0.31264 | -0.10146 | 0.21119 | 3.71
19 | NO | 75.346 | 5.5011 | 0.013444 | -0.49095 | -0.13668 | 0.35427 | 5.992
19 | NO | 50.4739 | 6.2335 | 0.01328 | -0.52053 | -0.14894 | 0.37158 | 6.754
19 | NO | 29.6811 | 6.2391 | 0.020676 | -0.51494 | -0.14904 | 0.3659 | 6.754
19 | NO | 20.7141 | 6.2541 | 0.013233 | -0.5099 | -0.14929 | 0.36061 | 6.764
19 | NO | 10.3971 | 6.2624 | 0.012195 | -0.50356 | -0.14943 | 0.35413 | 6.766
19 | NO | 5.4901 | 6.3281 | 0.013387 | -0.51287 | -0.15053 | 0.36234 | 6.841
20 | NO | 195.65 | 1.8162 | 0.0065821 | -0.1788 | -0.074982 | 0.10382 | 1.995
20 | NO | 175.947 | 2.0739 | 0.0051849 | -0.18511 | -0.079297 | 0.10581 | 2.259
20 | NO | 150.561 | 2.1843 | 0.023365 | -0.24768 | -0.081146 | 0.16653 | 2.432
20 | NO | 124.777 | 2.7359 | 0.0036802 | -0.24305 | -0.090382 | 0.15266 | 2.979
20 | NO | 100.076 | 3.8129 | 0.01547 | -0.34612 | -0.10841 | 0.2377 | 4.159
20 | NO | 74.898 | 4.8924 | 0.010221 | -0.40663 | -0.12649 | 0.28014 | 5.299
20 | NO | 49.6811 | 6.2091 | 0.014321 | -0.50092 | -0.14854 | 0.35238 | 6.71
20 | NO | 29.5027 | 6.2257 | 0.014545 | -0.50734 | -0.14881 | 0.35853 | 6.733
20 | NO | 19.4066 | 6.2278 | 0.01471 | -0.51319 | -0.14885 | 0.36435 | 6.741
20 | NO | 9.7844 | 6.9417 | 0.027389 | -0.63631 | -0.1608 | 0.47551 | 7.578
20 | NO | 5.5831 | 7.2382 | 0.025376 | -0.57685 | -0.16577 | 0.41108 | 7.815
21 | NO | 140.933 | 2.0882 | 0.007825 | -0.21078 | -0.079537 | 0.13124 | 2.299
21 | NO | 124.36 | 2.1228 | 0.0078209 | -0.20118 | -0.080116 | 0.12107 | 2.324
21 | NO | 99.3148 | 2.0983 | 0.015219 | -0.26668 | -0.079706 | 0.18697 | 2.365
21 | NO | 75.2933 | 2.5759 | 0.0078923 | -0.24813 | -0.087702 | 0.16043 | 2.824
21 | NO | 50.0729 | 3.8498 | 0.0096705 | -0.28316 | -0.10903 | 0.17413 | 4.133
21 | NO | 30.5765 | 4.7068 | 0.014374 | -0.48619 | -0.12338 | 0.3628 | 5.193
21 | NO | 20.8387 | 5.9074 | 0.030907 | -0.54658 | -0.14348 | 0.4031 | 6.454
21 | NO | 10.8577 | 7.5727 | 0.01894 | -0.67234 | -0.17137 | 0.50098 | 8.245
21 | NO | 5.3914 | 7.4336 | 0.016581 | -0.59737 | -0.16904 | 0.42833 | 8.031
22 | NO | 132.28 | 1.7049 | 0.0058717 | -0.1591 | -0.073119 | 0.085985 | 1.864
22 | NO | 127.047 | 1.6849 | 0.0073449 | -0.1521 | -0.072784 | 0.079319 | 1.837
22 | NO | 126.115 | 1.6817 | 0.0077257 | -0.15427 | -0.072731 | 0.081534 | 1.836
22 | NO | 100.584 | 2.049 | 0.0062222 | -0.17997 | -0.078881 | 0.10109 | 2.229
22 | NO | 74.5824 | 2.5662 | 0.0073615 | -0.23379 | -0.08754 | 0.14625 | 2.8
22 | NO | 50.5684 | 3.5023 | 0.009461 | -0.30766 | -0.10321 | 0.20444 | 3.81
22 | NO | 29.9588 | 4.713 | 0.03308 | -0.60105 | -0.12349 | 0.47756 | 5.314
22 | NO | 20.0337 | 5.9676 | 0.022973 | -0.46138 | -0.14449 | 0.31688 | 6.429
22 | NO | 10.0846 | 7.219 | 0.017843 | -0.57704 | -0.16545 | 0.4116 | 7.796
22 | NO | 5.0734 | 7.2151 | 0.021891 | -0.58787 | -0.16538 | 0.42249 | 7.803
23 | NO | 178.548 | 1.7699 | 0.005353 | -0.16911 | -0.074207 | 0.094901 | 1.939
23 | NO | 150.882 | 1.7769 | 0.0064637 | -0.16506 | -0.074325 | 0.090733 | 1.942
23 | NO | 100.859 | 2.3377 | 0.0080122 | -0.3133 | -0.083714 | 0.22959 | 2.651
23 | NO | 79.9072 | 2.8821 | 0.007209 | -0.2489 | -0.09283 | 0.15608 | 3.131
23 | NO | 59.9984 | 3.6435 | 0.0089783 | -0.30551 | -0.10558 | 0.19993 | 3.949
23 | NO | 50.355 | 3.9167 | 0.0084405 | -0.33232 | -0.11015 | 0.22216 | 4.249
23 | NO | 21.114 | 4.8116 | 0.016581 | -0.43136 | -0.12514 | 0.30622 | 5.243
23 | NO | 10.4127 | 5.7916 | 0.017316 | -0.48736 | -0.14155 | 0.34582 | 6.279
23 | NO | 5.683 | 6.8477 | 0.017483 | -0.42534 | -0.15923 | 0.26611 | 7.273
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Group 1
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.60262 |  | X | CALC Y
m= | -0.013439 | 0.0012862 |  | Std Dev of Resid |  | 0.022935 |  | 0.18427 | -0.06
b= | -0.057524 | 0.0062792 |  | Resid Sum of Squares |  | 0.037874 |  | 7.3016 | -0.15565
# of Values Extracted = |  |  | 91
# of Values Used in Fit = |  |  | 74
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 87.3163 | 3.6328 | 0.020157 | -0.11815 | -0.10635 | 0.011797 |  | 3.6328 | -0.11815
1 | YES | 75.354 | 3.9183 | 0.030339 | -0.082701 | -0.11018 | -0.027483 |  | 3.9183 | -0.082701
1 | YES | 49.8764 | 4.1052 | 0.008439 | -0.073759 | -0.1127 | -0.038937 |  | 4.1052 | -0.073759
1 | NO | 30.767 | 5.8515 | 0.094918 | -0.34545 | -0.13617 | 0.20929 |  | 6.266 | -0.10797
1 | YES | 20.6038 | 6.266 | 0.012862 | -0.10797 | -0.14174 | -0.033769 |  | 7.2945 | -0.11055
1 | YES | 9.9285 | 7.2945 | 0.012144 | -0.11055 | -0.15556 | -0.045006 |  | 7.2197 | -0.18632
1 | YES | 5.6758 | 7.2197 | 0.022408 | -0.18632 | -0.15455 | 0.031771 |  | 3.313 | -0.087
2 | YES | 101.136 | 3.313 | 0.010528 | -0.087 | -0.10205 | -0.015049 |  | 3.7343 | -0.089709
2 | YES | 74.6748 | 3.7343 | 0.0060158 | -0.089709 | -0.10771 | -0.018001 |  | 4.6298 | -0.13516
2 | YES | 49.8574 | 4.6298 | 0.018099 | -0.13516 | -0.11975 | 0.015411 |  | 6.1387 | -0.12233
2 | YES | 30.628 | 6.1387 | 0.01559 | -0.12233 | -0.14002 | -0.017696 |  | 7.3016 | -0.13738
2 | YES | 9.7317 | 7.3016 | 0.01403 | -0.13738 | -0.15565 | -0.018272 |  | 3.0054 | -0.079589
2 | NO | 4.5591 | 7.2439 | 0.012214 | -0.3081 | -0.15488 | 0.15322 |  | 3.0391 | -0.092909
3 | YES | 159.67 | 3.0054 | 0.0047304 | -0.079589 | -0.097915 | -0.018326 |  | 3.2329 | -0.11308
3 | YES | 150.212 | 3.0391 | 0.0073881 | -0.092909 | -0.098368 | -0.0054591 |  | 3.6138 | -0.097249
3 | YES | 124.4 | 3.2329 | 0.0092611 | -0.11308 | -0.10097 | 0.01211 |  | 4.0781 | -0.10391
3 | YES | 100.262 | 3.6138 | 0.008247 | -0.097249 | -0.10609 | -0.0088418 |  | 4.8387 | -0.15234
3 | YES | 74.775 | 4.0781 | 0.01177 | -0.10391 | -0.11233 | -0.0084223 |  | 6.5807 | -0.1783
3 | YES | 49.8663 | 4.8387 | 0.0063167 | -0.15234 | -0.12255 | 0.029787 |  | 7.2024 | -0.12465
3 | YES | 31.0915 | 6.5807 | 0.025088 | -0.1783 | -0.14597 | 0.03233 |  | 7.0566 | -0.1434
3 | YES | 20.1473 | 7.2024 | 0.007297 | -0.12465 | -0.15432 | -0.029672 |  | 2.7808 | -0.11018
3 | YES | 10.3047 | 7.0566 | 0.012545 | -0.1434 | -0.15236 | -0.008959 |  | 3.4848 | -0.093174
3 | NO | 5.0582 | 6.8492 | 0.010433 | -0.34077 | -0.14957 | 0.1912 |  | 5.3183 | -0.17374
4 | YES | 89.5806 | 2.7808 | 0.012434 | -0.11018 | -0.094897 | 0.015281 |  | 6.8949 | -0.13409
4 | YES | 74.8951 | 3.4848 | 0.0075962 | -0.093174 | -0.10436 | -0.011184 |  | 1.6783 | -0.075709
4 | NO | 49.9419 | 5.0729 | 0.038582 | 0.18395 | -0.1257 | -0.30965 |  | 1.7103 | -0.081739
4 | YES | 31.1532 | 5.3183 | 0.0088221 | -0.17374 | -0.129 | 0.044736 |  | 2.5788 | -0.084242
4 | NO | 19.489 | 6.1089 | 0.02214 | -0.074067 | -0.13962 | -0.065558 |  | 4.5951 | -0.17886
4 | YES | 9.8066 | 6.8949 | 0.0099068 | -0.13409 | -0.15019 | -0.016093 |  | 6.2 | -0.11698
4 | NO | 5.9204 | 6.8318 | 0.013635 | -0.21922 | -0.14934 | 0.069884 |  | 6.86 | -0.17101
5 | YES | 133.238 | 1.6783 | 0.0076821 | -0.075709 | -0.080079 | -0.0043697 |  | 0.18427 | -0.066725
5 | YES | 124.473 | 1.7103 | 0.0078673 | -0.081739 | -0.080509 | 0.0012297 |  | 0.19559 | -0.050411
5 | YES | 100.287 | 2.5788 | 0.0056168 | -0.084242 | -0.092181 | -0.0079392 |  | 0.57706 | -0.062938
5 | YES | 49.8072 | 4.5951 | 0.020526 | -0.17886 | -0.11928 | 0.059583 |  | 0.92224 | -0.061759
5 | YES | 29.767 | 6.2 | 0.0068647 | -0.11698 | -0.14085 | -0.023866 |  | 1.4323 | -0.063739
5 | NO | 20.9934 | 5.7952 | 0.07073 | -0.33978 | -0.13541 | 0.20437 |  | 1.5263 | -0.064681
5 | YES | 10.6766 | 6.86 | 0.013718 | -0.17101 | -0.14972 | 0.021293 |  | 1.9779 | -0.083091
5 | NO | 5.4539 | 6.7028 | 0.013467 | -0.38124 | -0.14761 | 0.23363 |  | 2.1535 | -0.074543
6 | YES | 950.843 | 0.18427 | 0.011556 | -0.066725 | -0.06 | 0.0067242 |  | 2.2681 | -0.075859
6 | YES | 751.336 | 0.19559 | 0.0096928 | -0.050411 | -0.060152 | -0.0097417 |  | 2.4381 | -0.059936
6 | YES | 499.802 | 0.57706 | 0.0069733 | -0.062938 | -0.065279 | -0.0023413 |  | 2.9103 | -0.096689
6 | YES | 400.814 | 0.92224 | 0.0070256 | -0.061759 | -0.069918 | -0.0081589 |  | 3.8659 | -0.10412
6 | YES | 299.192 | 1.4323 | 0.0060631 | -0.063739 | -0.076773 | -0.013034 |  | 4.9983 | -0.12069
6 | YES | 250.035 | 1.5263 | 0.0072031 | -0.064681 | -0.078037 | -0.013356 |  | 6.1829 | -0.14905
6 | YES | 200.294 | 1.9779 | 0.0064929 | -0.083091 | -0.084106 | -0.0010146 |  | 6.5587 | -0.15925
6 | YES | 173.801 | 2.1535 | 0.0095297 | -0.074543 | -0.086465 | -0.011922 |  | 6.6391 | -0.13094
6 | YES | 149.91 | 2.2681 | 0.0076057 | -0.075859 | -0.088007 | -0.012147 |  | 6.5819 | -0.19415
6 | YES | 124.867 | 2.4381 | 0.046969 | -0.059936 | -0.09029 | -0.030354 |  | 2.708 | -0.087
6 | YES | 100.293 | 2.9103 | 0.0088114 | -0.096689 | -0.096637 | 5.1749e-05 |  | 3.1276 | -0.15838
6 | YES | 74.3503 | 3.8659 | 0.006169 | -0.10412 | -0.10948 | -0.0053593 |  | 3.8939 | -0.13315
6 | YES | 48.9304 | 4.9983 | 0.0079831 | -0.12069 | -0.1247 | -0.0040056 |  | 5.4288 | -0.18221
6 | YES | 31.2828 | 6.1829 | 0.016054 | -0.14905 | -0.14062 | 0.0084254 |  | 7.2414 | -0.12862
6 | YES | 19.5066 | 6.5587 | 0.014165 | -0.15925 | -0.14567 | 0.013583 |  | 2.1453 | -0.11871
6 | YES | 9.7527 | 6.6391 | 0.0095638 | -0.13094 | -0.14675 | -0.015811 |  | 2.2574 | -0.095618
6 | YES | 5.6694 | 6.5819 | 0.013073 | -0.19415 | -0.14598 | 0.048168 |  | 2.4932 | -0.098838
7 | YES | 84.6483 | 2.708 | 0.006269 | -0.087 | -0.093918 | -0.0069179 |  | 2.858 | -0.084955
7 | YES | 74.48 | 3.1276 | 0.024333 | -0.15838 | -0.099557 | 0.058821 |  | 3.8397 | -0.13333
7 | YES | 51.2926 | 3.8939 | 0.02212 | -0.13315 | -0.10986 | 0.023294 |  | 4.7041 | -0.12888
7 | YES | 30.3786 | 5.4288 | 0.016977 | -0.18221 | -0.13048 | 0.051724 |  | 6.4325 | -0.14947
7 | NO | 20.0224 | 6.0619 | 0.023189 | -0.0091038 | -0.13899 | -0.12989 |  | 6.5412 | -0.13882
7 | YES | 10.3728 | 7.2414 | 0.024616 | -0.12862 | -0.15484 | -0.026226 |  | 6.5951 | -0.14294
7 | NO | 4.7163 | 7.1332 | 0.019593 | -0.3118 | -0.15339 | 0.15841 |  | 6.6009 | -0.14509
8 | YES | 193.249 | 2.1453 | 0.0084807 | -0.11871 | -0.086355 | 0.032359 |  | 7.0177 | -0.12833
8 | YES | 174.96 | 2.2574 | 0.0068438 | -0.095618 | -0.087862 | 0.0077563 |  | 6.9785 | -0.13752
8 | YES | 149.509 | 2.4932 | 0.010079 | -0.098838 | -0.091031 | 0.0078074 |  | 3.8127 | -0.10134
8 | YES | 125.301 | 2.858 | 0.009677 | -0.084955 | -0.095935 | -0.01098 |  | 5.1185 | -0.080522
8 | YES | 99.917 | 3.8397 | 0.035921 | -0.13333 | -0.10913 | 0.024205 |  | 6.692 | -0.15505
8 | YES | 75.4651 | 4.7041 | 0.0072855 | -0.12888 | -0.12074 | 0.0081392 |  | 6.8464 | -0.14956
8 | YES | 51.1408 | 6.4325 | 0.012957 | -0.14947 | -0.14397 | 0.0054992 |  | 1.7644 | -0.07756
8 | YES | 30.0366 | 6.5412 | 0.014105 | -0.13882 | -0.14543 | -0.006612 |  | 2.4694 | -0.10161
8 | YES | 21.0309 | 6.5951 | 0.010887 | -0.14294 | -0.14616 | -0.0032161 |  | 6.1124 | -0.18158
8 | YES | 10.0472 | 6.6009 | 0.011352 | -0.14509 | -0.14624 | -0.0011457 |  | 6.5579 | -0.14406
8 | NO | 5.2873 | 6.4672 | 0.010947 | -0.28484 | -0.14444 | 0.1404 |  | 6.5753 | -0.14071
9 | NO | 33.5564 | 5.1305 | 0.38884 | -0.16853 | -0.12647 | 0.04205 |  | 6.5659 | -0.15411
9 | NO | 31.4172 | 5.8023 | 0.34619 | -0.32768 | -0.1355 | 0.19218
9 | YES | 20.0743 | 7.0177 | 0.013586 | -0.12833 | -0.15184 | -0.02351
9 | YES | 10.6457 | 6.9785 | 0.0090471 | -0.13752 | -0.15131 | -0.013788
9 | NO | 5.6198 | 6.85 | 0.007918 | -0.27197 | -0.14958 | 0.12239
10 | YES | 53.8834 | 3.8127 | 0.006245 | -0.10134 | -0.10876 | -0.0074241
10 | YES | 29.9775 | 5.1185 | 0.02677 | -0.080522 | -0.12631 | -0.045791
10 | YES | 20.3618 | 6.692 | 0.0093607 | -0.15505 | -0.14746 | 0.0075897
10 | YES | 10.4353 | 6.8464 | 0.012194 | -0.14956 | -0.14954 | 2.3476e-05
10 | NO | 4.801 | 6.6252 | 0.010338 | -0.36983 | -0.14656 | 0.22327
11 | YES | 130.37 | 1.7644 | 0.0077059 | -0.07756 | -0.081237 | -0.0036768
11 | YES | 100.133 | 2.4694 | 0.0087838 | -0.10161 | -0.090711 | 0.010903
11 | NO | 75.0921 | 3.8251 | 0.027555 | -0.18688 | -0.10893 | 0.077944
11 | YES | 49.8044 | 6.1124 | 0.017374 | -0.18158 | -0.13967 | 0.041909
11 | YES | 31.052 | 6.5579 | 0.0079624 | -0.14406 | -0.14566 | -0.0015962
11 | YES | 20.1217 | 6.5753 | 0.0086529 | -0.14071 | -0.14589 | -0.0051834
11 | YES | 10.0069 | 6.5659 | 0.010189 | -0.15411 | -0.14577 | 0.0083459
11 | NO | 4.6436 | 6.3097 | 0.013919 | -0.40634 | -0.14232 | 0.26402
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
YES
NO
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Group 2
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.98459 |  | X | CALC Y
m= | -0.072564 | 0.00084665 |  | Std Dev of Resid |  | 0.019614 |  | 0.17295 | -0.057471
b= | -0.044921 | 0.0035348 |  | Resid Sum of Squares |  | 0.044243 |  | 7.4336 | -0.58433
# of Values Extracted = |  |  | 131
# of Values Used in Fit = |  |  | 117
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
12 | YES | 759.647 | 0.189 | 0.010814 | -0.061996 | -0.058636 | 0.0033595 |  | 0.189 | -0.061996
12 | YES | 751.222 | 0.19351 | 0.011099 | -0.054494 | -0.058963 | -0.0044692 |  | 0.19351 | -0.054494
12 | YES | 499.816 | 0.70359 | 0.0076438 | -0.095415 | -0.095976 | -0.00056126 |  | 0.70359 | -0.095415
12 | YES | 400.297 | 1.041 | 0.0084499 | -0.115 | -0.12046 | -0.0054602 |  | 1.041 | -0.115
12 | YES | 300.959 | 1.6388 | 0.0096402 | -0.21022 | -0.16384 | 0.046387 |  | 1.6388 | -0.21022
12 | YES | 250.779 | 2.1012 | 0.0059645 | -0.18284 | -0.19739 | -0.014547 |  | 2.1012 | -0.18284
12 | YES | 200.966 | 2.2926 | 0.0068548 | -0.19644 | -0.21128 | -0.014842 |  | 2.2926 | -0.19644
12 | YES | 175.108 | 2.4287 | 0.0078406 | -0.21626 | -0.22116 | -0.0049027 |  | 2.4287 | -0.21626
12 | YES | 151.666 | 2.7032 | 0.0088132 | -0.22479 | -0.24108 | -0.016284 |  | 2.7032 | -0.22479
12 | YES | 123.883 | 2.9195 | 0.0097099 | -0.23446 | -0.25677 | -0.022317 |  | 2.9195 | -0.23446
12 | YES | 100.709 | 3.1171 | 0.011463 | -0.2549 | -0.27111 | -0.016205 |  | 3.1171 | -0.2549
12 | YES | 75.6811 | 4.2452 | 0.041684 | -0.38476 | -0.35297 | 0.031783 |  | 4.2452 | -0.38476
12 | YES | 49.6829 | 6.2437 | 0.021288 | -0.47327 | -0.49799 | -0.024719 |  | 6.2437 | -0.47327
12 | NO | 30.7223 | 6.3116 | 0.041421 | -0.44239 | -0.50291 | -0.060529 |  | 6.3122 | -0.4548
12 | YES | 21.1394 | 6.3122 | 0.048717 | -0.4548 | -0.50296 | -0.048157 |  | 6.2902 | -0.47178
12 | YES | 10.671 | 6.2902 | 0.041055 | -0.47178 | -0.50136 | -0.029587 |  | 6.2932 | -0.46881
12 | YES | 5.2492 | 6.2932 | 0.047292 | -0.46881 | -0.50158 | -0.032769 |  | 0.37411 | -0.081888
13 | YES | 1244.46 | 0.37411 | 0.012175 | -0.081888 | -0.072068 | 0.0098196 |  | 0.17295 | -0.054054
13 | YES | 1001.2 | 0.17295 | 0.010115 | -0.054054 | -0.057471 | -0.0034172 |  | 0.17685 | -0.068154
13 | YES | 749.388 | 0.17685 | 0.0060295 | -0.068154 | -0.057754 | 0.010399 |  | 0.57426 | -0.082743
13 | YES | 502.741 | 0.57426 | 0.0057518 | -0.082743 | -0.086592 | -0.0038488 |  | 1.0137 | -0.10931
13 | YES | 400.169 | 1.0137 | 0.0065695 | -0.10931 | -0.11848 | -0.0091628 |  | 1.6659 | -0.15013
13 | YES | 299.952 | 1.6659 | 0.0097713 | -0.15013 | -0.1658 | -0.015674 |  | 1.8532 | -0.16878
13 | YES | 250.701 | 1.8532 | 0.0068207 | -0.16878 | -0.1794 | -0.010618 |  | 2.4374 | -0.20058
13 | YES | 200.478 | 2.4374 | 0.0064404 | -0.20058 | -0.22179 | -0.021213 |  | 2.5027 | -0.20629
13 | YES | 175.67 | 2.5027 | 0.0084364 | -0.20629 | -0.22653 | -0.020241 |  | 2.6889 | -0.22312
13 | YES | 150.935 | 2.6889 | 0.0078 | -0.22312 | -0.24004 | -0.016916 |  | 2.82 | -0.23902
13 | YES | 125.689 | 2.82 | 0.0077433 | -0.23902 | -0.24955 | -0.010533 |  | 3.4874 | -0.31364
13 | YES | 100.209 | 3.4874 | 0.015241 | -0.31364 | -0.29798 | 0.015662 |  | 4.8486 | -0.42538
13 | YES | 75.0707 | 4.8486 | 0.030884 | -0.42538 | -0.39676 | 0.028627 |  | 6.3896 | -0.45644
13 | YES | 50.4611 | 6.3896 | 0.037601 | -0.45644 | -0.50857 | -0.052135 |  | 6.3948 | -0.46921
13 | YES | 29.9096 | 6.3948 | 0.04002 | -0.46921 | -0.50895 | -0.039739 |  | 6.3045 | -0.44547
13 | NO | 20.3392 | 6.3939 | 0.029518 | -0.43707 | -0.50889 | -0.071813 |  | 6.2904 | -0.45559
13 | YES | 9.614 | 6.3045 | 0.032778 | -0.44547 | -0.5024 | -0.056932 |  | 4.2297 | -0.33234
13 | YES | 5.4405 | 6.2904 | 0.018966 | -0.45559 | -0.50138 | -0.045788 |  | 6.7207 | -0.5163
14 | YES | 25.021 | 4.2297 | 0.013581 | -0.33234 | -0.35184 | -0.019497 |  | 3.6147 | -0.30925
14 | NO | 20.8744 | 4.4045 | 0.015966 | -0.44146 | -0.36453 | 0.076934 |  | 4.2371 | -0.31485
14 | NO | 9.665 | 5.3554 | 0.020519 | -0.50463 | -0.43353 | 0.071104 |  | 4.4793 | -0.36672
14 | YES | 4.9346 | 6.7207 | 0.027671 | -0.5163 | -0.5326 | -0.016297 |  | 6.335 | -0.52204
15 | YES | 45.5163 | 3.6147 | 0.0078806 | -0.30925 | -0.30722 | 0.0020281 |  | 6.5981 | -0.51588
15 | YES | 30.3043 | 4.2371 | 0.010083 | -0.31485 | -0.35238 | -0.037538 |  | 1.9358 | -0.19419
15 | YES | 18.9723 | 4.4793 | 0.012769 | -0.36672 | -0.36995 | -0.0032364 |  | 2.3013 | -0.20865
15 | YES | 9.9764 | 6.335 | 0.05566 | -0.52204 | -0.50461 | 0.017432 |  | 4.0242 | -0.32178
15 | YES | 4.9631 | 6.5981 | 0.029268 | -0.51588 | -0.52371 | -0.0078252 |  | 4.3513 | -0.37568
16 | YES | 103.132 | 1.9358 | 0.017487 | -0.19419 | -0.18539 | 0.0088001 |  | 6.6129 | -0.56612
16 | YES | 75.7235 | 2.3013 | 0.0069117 | -0.20865 | -0.21192 | -0.0032688 |  | 6.8022 | -0.53881
16 | YES | 49.6961 | 4.0242 | 0.010742 | -0.32178 | -0.33693 | -0.015158 |  | 1.909 | -0.21
16 | YES | 30.3501 | 4.3513 | 0.027817 | -0.37568 | -0.36067 | 0.015016 |  | 1.9681 | -0.18086
16 | NO | 20.0049 | 5.1293 | 0.015646 | -0.33166 | -0.41713 | -0.085469 |  | 3.1375 | -0.27348
16 | YES | 10.2381 | 6.6129 | 0.043873 | -0.56612 | -0.52478 | 0.041344 |  | 3.5707 | -0.31125
16 | YES | 5.1955 | 6.8022 | 0.018728 | -0.53881 | -0.53851 | 0.00030074 |  | 4.8562 | -0.41779
17 | YES | 106.128 | 1.909 | 0.02284 | -0.21 | -0.18345 | 0.026555 |  | 5.6604 | -0.45761
17 | YES | 100.783 | 1.9681 | 0.0063545 | -0.18086 | -0.18774 | -0.0068779 |  | 6.8761 | -0.54993
17 | YES | 74.2491 | 3.1375 | 0.013542 | -0.27348 | -0.27259 | 0.00088961 |  | 0.32876 | -0.072245
17 | YES | 50.84 | 3.5707 | 0.010628 | -0.31125 | -0.30403 | 0.0072249 |  | 0.20835 | -0.059652
17 | YES | 30.6398 | 4.8562 | 0.012751 | -0.41779 | -0.39731 | 0.020487 |  | 0.18898 | -0.046017
17 | YES | 19.7661 | 5.6604 | 0.01684 | -0.45761 | -0.45566 | 0.0019459 |  | 0.60412 | -0.082876
17 | NO | 10.0926 | 6.2379 | 0.034617 | -0.68005 | -0.49757 | 0.18248 |  | 0.90651 | -0.10648
17 | YES | 5.5189 | 6.8761 | 0.015443 | -0.54993 | -0.54387 | 0.0060597 |  | 1.5446 | -0.15339
18 | YES | 1183.62 | 0.32876 | 0.012053 | -0.072245 | -0.068777 | 0.0034677 |  | 1.9228 | -0.18916
18 | YES | 999.679 | 0.20835 | 0.010398 | -0.059652 | -0.06004 | -0.00038852 |  | 2.2165 | -0.1985
18 | YES | 749.764 | 0.18898 | 0.006702 | -0.046017 | -0.058635 | -0.012618 |  | 2.2618 | -0.21616
18 | YES | 500.174 | 0.60412 | 0.0084218 | -0.082876 | -0.088759 | -0.0058834 |  | 2.3254 | -0.21761
18 | YES | 401.358 | 0.90651 | 0.0056318 | -0.10648 | -0.1107 | -0.0042165 |  | 2.7844 | -0.23364
18 | YES | 299.431 | 1.5446 | 0.0073443 | -0.15339 | -0.157 | -0.003614 |  | 3.4677 | -0.29933
18 | YES | 249.379 | 1.9228 | 0.005389 | -0.18916 | -0.18445 | 0.0047082 |  | 4.8877 | -0.42233
18 | YES | 200.406 | 2.2165 | 0.00471 | -0.1985 | -0.20576 | -0.0072568 |  | 6.328 | -0.50702
18 | YES | 174.73 | 2.2618 | 0.0080142 | -0.21616 | -0.20905 | 0.0071132 |  | 6.2182 | -0.49979
18 | YES | 150.391 | 2.3254 | 0.005761 | -0.21761 | -0.21366 | 0.0039497 |  | 6.3002 | -0.50283
18 | YES | 125.505 | 2.7844 | 0.0070844 | -0.23364 | -0.24696 | -0.013322 |  | 6.3358 | -0.51523
18 | YES | 100.81 | 3.4677 | 0.01288 | -0.29933 | -0.29655 | 0.0027797 |  | 6.361 | -0.51295
18 | YES | 74.4959 | 4.8877 | 0.010971 | -0.42233 | -0.39959 | 0.022743 |  | 0.66051 | -0.089494
18 | YES | 49.7509 | 6.328 | 0.016205 | -0.50702 | -0.5041 | 0.0029222 |  | 0.99028 | -0.11972
18 | YES | 30.7758 | 6.2182 | 0.014262 | -0.49979 | -0.49614 | 0.0036505 |  | 1.6072 | -0.19576
18 | YES | 19.1577 | 6.3002 | 0.014906 | -0.50283 | -0.50208 | 0.00074515 |  | 1.8311 | -0.1799
18 | YES | 10.2938 | 6.3358 | 0.013572 | -0.51523 | -0.50467 | 0.010564 |  | 2.2032 | -0.20679
18 | YES | 5.0436 | 6.361 | 0.019319 | -0.51295 | -0.5065 | 0.0064475 |  | 2.3219 | -0.21414
19 | YES | 503.456 | 0.66051 | 0.0061272 | -0.089494 | -0.09285 | -0.0033564 |  | 2.6353 | -0.24971
19 | YES | 401.251 | 0.99028 | 0.0084188 | -0.11972 | -0.11678 | 0.0029423 |  | 3.0572 | -0.2938
19 | YES | 299.803 | 1.6072 | 0.0079126 | -0.19576 | -0.16155 | 0.03421 |  | 3.3974 | -0.31264
19 | YES | 249.862 | 1.8311 | 0.0074062 | -0.1799 | -0.17779 | 0.0021032 |  | 5.5011 | -0.49095
19 | YES | 200.168 | 2.2032 | 0.0044053 | -0.20679 | -0.20479 | 0.0019986 |  | 6.2335 | -0.52053
19 | YES | 175.039 | 2.3219 | 0.0061499 | -0.21414 | -0.2134 | 0.00073688 |  | 6.2391 | -0.51494
19 | YES | 149.959 | 2.6353 | 0.0077646 | -0.24971 | -0.23615 | 0.013566 |  | 6.2541 | -0.5099
19 | YES | 125.151 | 3.0572 | 0.010297 | -0.2938 | -0.26676 | 0.027038 |  | 6.2624 | -0.50356
19 | YES | 100 | 3.3974 | 0.0064992 | -0.31264 | -0.29145 | 0.021197 |  | 6.3281 | -0.51287
19 | YES | 75.346 | 5.5011 | 0.013444 | -0.49095 | -0.4441 | 0.046848 |  | 1.8162 | -0.1788
19 | YES | 50.4739 | 6.2335 | 0.01328 | -0.52053 | -0.49724 | 0.023282 |  | 2.0739 | -0.18511
19 | YES | 29.6811 | 6.2391 | 0.020676 | -0.51494 | -0.49765 | 0.017288 |  | 2.1843 | -0.24768
19 | YES | 20.7141 | 6.2541 | 0.013233 | -0.5099 | -0.49874 | 0.011162 |  | 2.7359 | -0.24305
19 | YES | 10.3971 | 6.2624 | 0.012195 | -0.50356 | -0.49935 | 0.004209 |  | 3.8129 | -0.34612
19 | YES | 5.4901 | 6.3281 | 0.013387 | -0.51287 | -0.50411 | 0.0087533 |  | 4.8924 | -0.40663
20 | YES | 195.65 | 1.8162 | 0.0065821 | -0.1788 | -0.17671 | 0.0020934 |  | 6.2091 | -0.50092
20 | YES | 175.947 | 2.0739 | 0.0051849 | -0.18511 | -0.19541 | -0.010299 |  | 6.2257 | -0.50734
20 | YES | 150.561 | 2.1843 | 0.023365 | -0.24768 | -0.20342 | 0.044256 |  | 6.2278 | -0.51319
20 | YES | 124.777 | 2.7359 | 0.0036802 | -0.24305 | -0.24345 | -0.000406 |  | 7.2382 | -0.57685
20 | YES | 100.076 | 3.8129 | 0.01547 | -0.34612 | -0.3216 | 0.024518 |  | 2.0882 | -0.21078
20 | YES | 74.898 | 4.8924 | 0.010221 | -0.40663 | -0.39993 | 0.0066963 |  | 2.1228 | -0.20118
20 | YES | 49.6811 | 6.2091 | 0.014321 | -0.50092 | -0.49548 | 0.005442 |  | 2.5759 | -0.24813
20 | YES | 29.5027 | 6.2257 | 0.014545 | -0.50734 | -0.49668 | 0.010666 |  | 3.8498 | -0.28316
20 | YES | 19.4066 | 6.2278 | 0.01471 | -0.51319 | -0.49683 | 0.016361 |  | 7.4336 | -0.59737
20 | NO | 9.7844 | 6.9417 | 0.027389 | -0.63631 | -0.54864 | 0.08768 |  | 1.7049 | -0.1591
20 | YES | 5.5831 | 7.2382 | 0.025376 | -0.57685 | -0.57015 | 0.0066989 |  | 1.6849 | -0.1521
21 | YES | 140.933 | 2.0882 | 0.007825 | -0.21078 | -0.19645 | 0.01433 |  | 1.6817 | -0.15427
21 | YES | 124.36 | 2.1228 | 0.0078209 | -0.20118 | -0.19896 | 0.002221 |  | 2.049 | -0.17997
21 | NO | 99.3148 | 2.0983 | 0.015219 | -0.26668 | -0.19718 | 0.069493 |  | 2.5662 | -0.23379
21 | YES | 75.2933 | 2.5759 | 0.0078923 | -0.24813 | -0.23184 | 0.016292 |  | 3.5023 | -0.30766
21 | YES | 50.0729 | 3.8498 | 0.0096705 | -0.28316 | -0.32428 | -0.041118 |  | 5.9676 | -0.46138
21 | NO | 30.5765 | 4.7068 | 0.014374 | -0.48619 | -0.38646 | 0.099722 |  | 7.219 | -0.57704
21 | NO | 20.8387 | 5.9074 | 0.030907 | -0.54658 | -0.47358 | 0.073 |  | 7.2151 | -0.58787
21 | NO | 10.8577 | 7.5727 | 0.01894 | -0.67234 | -0.59442 | 0.077923 |  | 1.7699 | -0.16911
21 | YES | 5.3914 | 7.4336 | 0.016581 | -0.59737 | -0.58433 | 0.013032 |  | 1.7769 | -0.16506
22 | YES | 132.28 | 1.7049 | 0.0058717 | -0.1591 | -0.16864 | -0.0095312 |  | 2.8821 | -0.2489
22 | YES | 127.047 | 1.6849 | 0.0073449 | -0.1521 | -0.16718 | -0.015081 |  | 3.6435 | -0.30551
22 | YES | 126.115 | 1.6817 | 0.0077257 | -0.15427 | -0.16695 | -0.01269 |  | 3.9167 | -0.33232
22 | YES | 100.584 | 2.049 | 0.0062222 | -0.17997 | -0.19361 | -0.013631 |  | 4.8116 | -0.43136
22 | YES | 74.5824 | 2.5662 | 0.0073615 | -0.23379 | -0.23114 | 0.002653 |  | 5.7916 | -0.48736
22 | YES | 50.5684 | 3.5023 | 0.009461 | -0.30766 | -0.29906 | 0.0085919
22 | NO | 29.9588 | 4.713 | 0.03308 | -0.60105 | -0.38691 | 0.21414
22 | YES | 20.0337 | 5.9676 | 0.022973 | -0.46138 | -0.47795 | -0.016576
22 | YES | 10.0846 | 7.219 | 0.017843 | -0.57704 | -0.56876 | 0.0082864
22 | YES | 5.0734 | 7.2151 | 0.021891 | -0.58787 | -0.56848 | 0.019389
23 | YES | 178.548 | 1.7699 | 0.005353 | -0.16911 | -0.17335 | -0.0042432
23 | YES | 150.882 | 1.7769 | 0.0064637 | -0.16506 | -0.17386 | -0.0088047
23 | NO | 100.859 | 2.3377 | 0.0080122 | -0.3133 | -0.21455 | 0.098749
23 | YES | 79.9072 | 2.8821 | 0.007209 | -0.2489 | -0.25406 | -0.0051522
23 | YES | 59.9984 | 3.6435 | 0.0089783 | -0.30551 | -0.30931 | -0.0038004
23 | YES | 50.355 | 3.9167 | 0.0084405 | -0.33232 | -0.32913 | 0.0031849
23 | YES | 21.114 | 4.8116 | 0.016581 | -0.43136 | -0.39407 | 0.037285
23 | YES | 10.4127 | 5.7916 | 0.017316 | -0.48736 | -0.46518 | 0.022181
23 | NO | 5.683 | 6.8477 | 0.017483 | -0.42534 | -0.54181 | -0.11648
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE