## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6.1 | Run at 2023/04/04 11:40:35 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | OXY_BOT | OXY_SBE |  | OXY_SBE - OXY_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | OXY_BOT | OXY_SBE | OXY_SBE | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 156 | 1915.45 | 1915.49 | 0.62216 | 0.036987 | 1.271 | 1.2464 | 0.011465 | -0.024564
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 241 | 1500.97 | 1500.97 | 0.34562 | 0.00024414 | 0.542 | 0.52372 | 0.011141 | -0.018282
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 241 | 999.938 | 999.938 | 0.33777 | 0.00042725 | 0.307 | 0.27896 | 0.010191 | -0.028037
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 196 | 749.592 | 749.395 | 0.59545 | -0.19733 | 0.363 | 0.34894 | 0.0089245 | -0.014061
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 241 | 500.414 | 500.414 | 0.26237 | 0.00015259 | 0.747 | 0.74261 | 0.0076521 | -0.0043859
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 241 | 400.345 | 400.345 | 0.39382 | -0.00030518 | 1.064 | 1.0616 | 0.006345 | -0.0023693
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 239 | 300.14 | 300.149 | 0.62544 | 0.0087891 | 1.462 | 1.4425 | 0.0066992 | -0.01954
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 241 | 249.902 | 249.902 | 0.26314 | 0.00038147 | 1.886 | 1.89 | 0.0063023 | 0.0039626
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 241 | 199.146 | 199.146 | 0.52285 | -0.00019836 | 1.97 | 1.9869 | 0.0066995 | 0.016855
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 204 | 151.063 | 151.263 | 0.6387 | 0.2002 | 2.703 | 2.7083 | 0.0082153 | 0.0052745
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 241 | 100.485 | 100.485 | 0.21831 | 0.00016785 | 3.245 | 3.2635 | 0.0081178 | 0.018552
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 223 | 74.922 | 74.8371 | 0.63276 | -0.084862 | 3.923 | 3.9996 | 0.014864 | 0.076596
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 440 | 50.973 | 50.9511 | 0.45197 | -0.021927 | 4.949 | 4.9905 | 0.0080146 | 0.04145
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 144 | 30.306 | 30.334 | 0.57383 | 0.027952 | 5.542 | 5.561 | 0.0069186 | 0.018979
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 241 | 19.54 | 19.5401 | 0.16809 | 9.9182e-05 | 5.815 | 5.8185 | 0.008268 | 0.0034895
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 241 | 10.033 | 10.0334 | 0.30099 | 0.00039864 | 6.195 | 6.2353 | 0.0099434 | 0.040266
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 230 | 4.822 | 4.7723 | 0.50523 | -0.04973 | 6.196 | 6.2437 | 0.0093254 | 0.047674
2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 357 | 1.531 | 1.5564 | 0.21222 | 0.025443 | 6.193 | 6.2456 | 0.0083156 | 0.05258
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 212 | 2014.42 | 2014.32 | 0.57579 | -0.10828 | 1.521 | 1.4976 | 0.01347 | -0.023349
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 222 | 1500.86 | 1500.75 | 0.39842 | -0.10498 | 0.628 | 0.55837 | 0.01263 | -0.069626
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 451 | 1000.19 | 1000.07 | 0.4681 | -0.11792 | 0.301 | 0.27631 | 0.0085198 | -0.024692
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 146 | 750.302 | 750.402 | 0.58288 | 0.099976 | 0.349 | 0.32116 | 0.01078 | -0.027836
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 241 | 500.338 | 500.338 | 0.38168 | 0.00036621 | 0.768 | 0.74586 | 0.0075362 | -0.022137
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 241 | 401.004 | 401.004 | 0.40894 | -9.1553e-05 | 1.243 | 1.22 | 0.0061842 | -0.023029
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 241 | 300.115 | 300.115 | 0.30467 | 0.00018311 | 1.656 | 1.627 | 0.0073733 | -0.029033
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 241 | 249.837 | 249.837 | 0.60914 | 0.00028992 | 1.896 | 1.9022 | 0.0067398 | 0.0062406
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 241 | 200.755 | 200.755 | 0.3591 | 0.00028992 | 2.402 | 2.401 | 0.0055845 | -0.0010207
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 241 | 150.908 | 150.908 | 0.25298 | 6.1035e-05 | 3.087 | 3.1014 | 0.0072621 | 0.014432
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 241 | 100.142 | 100.142 | 0.47503 | 0.00019074 | 3.605 | 3.6241 | 0.011005 | 0.01912
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 197 | 75.347 | 75.4291 | 0.53943 | 0.082092 | 5.407 | 5.4366 | 0.010931 | 0.029563
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 277 | 50.869 | 50.7963 | 0.4559 | -0.072697 | 4.773 | 4.8066 | 0.0074116 | 0.033618
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 240 | 30.77 | 30.7747 | 0.54424 | 0.0046902 | 5.727 | 5.7438 | 0.011081 | 0.016754
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 241 | 20.589 | 20.5894 | 0.42693 | 0.00036049 | 5.893 | 5.9341 | 0.0094786 | 0.041137
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 241 | 11 | 11.0004 | 0.35403 | 0.00043583 | 6.024 | 6.0289 | 0.014235 | 0.0049128
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 241 | 5.466 | 5.4658 | 0.34276 | -0.00016212 | 6.018 | 6.0356 | 0.0081274 | 0.017568
2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 354 | 0.949 | 1.0429 | 0.44493 | 0.09389 | 5.987 | 6.0303 | 0.0092138 | 0.043342
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 2
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2022-025-0059.mrgcor1 | 2022-025-0059.samcor1 | 11 | 28 | 2022-025-0059.mrgcor1 & 2022-025-0059.samcor1
2 | 2022-025-0064.mrgcor1 | 2022-025-0064.samcor1 | 30 | 47 | 2022-025-0064.mrgcor1 & 2022-025-0064.samcor1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (OXY_SBE - OXY_BOT) | OXY_SBE | 2
2 | (Pressure - Pressure) | Pressure | 2
3 | (OXY_SBE - OXY_BOT) | OXY_SBE | 1
4 | (OXY_SBE - OXY_BOT) | OXY_SBE | 1

## Fit_1
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.72908 |  | X | CALC Y
m= | 0.0095377 | 0.0010278 |  | Std Dev of Resid |  | 0.013335 |  | 0.27631 | -0.021193
b= | -0.023828 | 0.0039693 |  | Resid Sum of Squares |  | 0.0056906 |  | 6.2456 | 0.03574
# of Values Extracted = |  |  | 36
# of Values Used in Fit = |  |  | 34
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 1915.49 | 1.2464 | 0.011465 | -0.024564 | -0.01194 | 0.012624 |  | 1.2464 | -0.024564
1 | YES | 1500.97 | 0.52372 | 0.011141 | -0.018282 | -0.018833 | -0.00055076 |  | 0.52372 | -0.018282
1 | YES | 999.938 | 0.27896 | 0.010191 | -0.028037 | -0.021167 | 0.0068701 |  | 0.27896 | -0.028037
1 | YES | 749.395 | 0.34894 | 0.0089245 | -0.014061 | -0.0205 | -0.0064387 |  | 0.34894 | -0.014061
1 | YES | 500.414 | 0.74261 | 0.0076521 | -0.0043859 | -0.016745 | -0.012359 |  | 0.74261 | -0.0043859
1 | YES | 400.345 | 1.0616 | 0.006345 | -0.0023693 | -0.013703 | -0.011333 |  | 1.0616 | -0.0023693
1 | YES | 300.149 | 1.4425 | 0.0066992 | -0.01954 | -0.01007 | 0.0094694 |  | 1.4425 | -0.01954
1 | YES | 249.902 | 1.89 | 0.0063023 | 0.0039626 | -0.0058022 | -0.0097649 |  | 1.89 | 0.0039626
1 | YES | 199.146 | 1.9869 | 0.0066995 | 0.016855 | -0.0048781 | -0.021733 |  | 1.9869 | 0.016855
1 | YES | 151.263 | 2.7083 | 0.0082153 | 0.0052745 | 0.0020025 | -0.003272 |  | 2.7083 | 0.0052745
1 | YES | 100.485 | 3.2635 | 0.0081178 | 0.018552 | 0.0072986 | -0.011253 |  | 3.2635 | 0.018552
1 | NO | 74.8371 | 3.9996 | 0.014864 | 0.076596 | 0.014319 | -0.062277 |  | 4.9905 | 0.04145
1 | YES | 50.9511 | 4.9905 | 0.0080146 | 0.04145 | 0.023769 | -0.017681 |  | 5.561 | 0.018979
1 | YES | 30.334 | 5.561 | 0.0069186 | 0.018979 | 0.029211 | 0.010231 |  | 5.8185 | 0.0034895
1 | YES | 19.5401 | 5.8185 | 0.008268 | 0.0034895 | 0.031667 | 0.028177 |  | 6.2353 | 0.040266
1 | YES | 10.0334 | 6.2353 | 0.0099434 | 0.040266 | 0.035642 | -0.0046237 |  | 6.2437 | 0.047674
1 | YES | 4.7723 | 6.2437 | 0.0093254 | 0.047674 | 0.035722 | -0.011952 |  | 6.2456 | 0.05258
1 | YES | 1.5564 | 6.2456 | 0.0083156 | 0.05258 | 0.03574 | -0.01684 |  | 1.4976 | -0.023349
2 | YES | 2014.32 | 1.4976 | 0.01347 | -0.023349 | -0.0095439 | 0.013805 |  | 0.27631 | -0.024692
2 | NO | 1500.75 | 0.55837 | 0.01263 | -0.069626 | -0.018502 | 0.051124 |  | 0.32116 | -0.027836
2 | YES | 1000.07 | 0.27631 | 0.0085198 | -0.024692 | -0.021193 | 0.0034991 |  | 0.74586 | -0.022137
2 | YES | 750.402 | 0.32116 | 0.01078 | -0.027836 | -0.020765 | 0.0070708 |  | 1.22 | -0.023029
2 | YES | 500.338 | 0.74586 | 0.0075362 | -0.022137 | -0.016714 | 0.0054227 |  | 1.627 | -0.029033
2 | YES | 401.004 | 1.22 | 0.0061842 | -0.023029 | -0.012192 | 0.010837 |  | 1.9022 | 0.0062406
2 | YES | 300.115 | 1.627 | 0.0073733 | -0.029033 | -0.0083105 | 0.020723 |  | 2.401 | -0.0010207
2 | YES | 249.837 | 1.9022 | 0.0067398 | 0.0062406 | -0.0056851 | -0.011926 |  | 3.1014 | 0.014432
2 | YES | 200.755 | 2.401 | 0.0055845 | -0.0010207 | -0.00092828 | 9.2388e-05 |  | 3.6241 | 0.01912
2 | YES | 150.908 | 3.1014 | 0.0072621 | 0.014432 | 0.0057524 | -0.0086793 |  | 5.4366 | 0.029563
2 | YES | 100.142 | 3.6241 | 0.011005 | 0.01912 | 0.010738 | -0.0083826 |  | 4.8066 | 0.033618
2 | YES | 75.4291 | 5.4366 | 0.010931 | 0.029563 | 0.028024 | -0.0015394 |  | 5.7438 | 0.016754
2 | YES | 50.7963 | 4.8066 | 0.0074116 | 0.033618 | 0.022016 | -0.011602 |  | 5.9341 | 0.041137
2 | YES | 30.7747 | 5.7438 | 0.011081 | 0.016754 | 0.030954 | 0.0142 |  | 6.0289 | 0.0049128
2 | YES | 20.5894 | 5.9341 | 0.0094786 | 0.041137 | 0.03277 | -0.0083669 |  | 6.0356 | 0.017568
2 | YES | 11.0004 | 6.0289 | 0.014235 | 0.0049128 | 0.033674 | 0.028761 |  | 6.0303 | 0.043342
2 | YES | 5.4658 | 6.0356 | 0.0081274 | 0.017568 | 0.033737 | 0.016169
2 | YES | 1.0429 | 6.0303 | 0.0092138 | 0.043342 | 0.033687 | -0.0096543 |  |  |  | 0.0062774 | 0.025229
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_3
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.51274 |  | X | CALC Y
m= | 0.0079319 | 0.0025774 |  | Std Dev of Resid |  | 0.014897 |  | 1.627 | -0.00679
b= | -0.019695 | 0.012081 |  | Resid Sum of Squares |  | 0.0019973 |  | 6.0356 | 0.028179
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
2 | NO | 2014.32 | 1.4976 | 0.01347 | -0.023349 | -0.0078158 | 0.015533 |  | 1.627 | -0.029033
2 | NO | 1500.75 | 0.55837 | 0.01263 | -0.069626 | -0.015266 | 0.05436 |  | 1.9022 | 0.0062406
2 | NO | 1000.07 | 0.27631 | 0.0085198 | -0.024692 | -0.017503 | 0.0071885 |  | 2.401 | -0.0010207
2 | NO | 750.402 | 0.32116 | 0.01078 | -0.027836 | -0.017148 | 0.010688 |  | 3.1014 | 0.014432
2 | NO | 500.338 | 0.74586 | 0.0075362 | -0.022137 | -0.013779 | 0.008358 |  | 3.6241 | 0.01912
2 | NO | 401.004 | 1.22 | 0.0061842 | -0.023029 | -0.010018 | 0.013011 |  | 5.4366 | 0.029563
2 | YES | 300.115 | 1.627 | 0.0073733 | -0.029033 | -0.00679 | 0.022243 |  | 5.7438 | 0.016754
2 | YES | 249.837 | 1.9022 | 0.0067398 | 0.0062406 | -0.0046066 | -0.010847 |  | 5.9341 | 0.041137
2 | YES | 200.755 | 2.401 | 0.0055845 | -0.0010207 | -0.00065065 | 0.00037002 |  | 6.0289 | 0.0049128
2 | YES | 150.908 | 3.1014 | 0.0072621 | 0.014432 | 0.0049052 | -0.0095265 |  | 6.0356 | 0.017568
2 | YES | 100.142 | 3.6241 | 0.011005 | 0.01912 | 0.0090512 | -0.010069 |  | 6.0303 | 0.043342
2 | YES | 75.4291 | 5.4366 | 0.010931 | 0.029563 | 0.023427 | -0.0061362 |  |  |  | 0.01482 | 0.020246
2 | NO | 50.7963 | 4.8066 | 0.0074116 | 0.033618 | 0.018431 | -0.015187
2 | YES | 30.7747 | 5.7438 | 0.011081 | 0.016754 | 0.025864 | 0.0091096
2 | YES | 20.5894 | 5.9341 | 0.0094786 | 0.041137 | 0.027374 | -0.013763
2 | YES | 11.0004 | 6.0289 | 0.014235 | 0.0049128 | 0.028126 | 0.023213
2 | YES | 5.4658 | 6.0356 | 0.0081274 | 0.017568 | 0.028179 | 0.01061
2 | YES | 1.0429 | 6.0303 | 0.0092138 | 0.043342 | 0.028137 | -0.015205
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_4
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.58305 |  | X | CALC Y
m= | -0.00014518 | 4.0923e-05 |  | Std Dev of Resid |  | 0.013781 |  | 1.0429 | 0.029794
b= | 0.029945 | 0.0059534 |  | Resid Sum of Squares |  | 0.0017091 |  | 300.115 | -0.013624
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
2 | NO | 2014.32 | 1.4976 | 0.01347 | -0.023349 | -0.26248 | -0.23914 |  | 300.115 | -0.029033
2 | NO | 1500.75 | 0.55837 | 0.01263 | -0.069626 | -0.18793 | -0.1183 |  | 249.837 | 0.0062406
2 | NO | 1000.07 | 0.27631 | 0.0085198 | -0.024692 | -0.11524 | -0.090549 |  | 200.755 | -0.0010207
2 | NO | 750.402 | 0.32116 | 0.01078 | -0.027836 | -0.078995 | -0.051159 |  | 150.908 | 0.014432
2 | NO | 500.338 | 0.74586 | 0.0075362 | -0.022137 | -0.042692 | -0.020555 |  | 100.142 | 0.01912
2 | NO | 401.004 | 1.22 | 0.0061842 | -0.023029 | -0.028271 | -0.0052418 |  | 75.4291 | 0.029563
2 | YES | 300.115 | 1.627 | 0.0073733 | -0.029033 | -0.013624 | 0.015409 |  | 30.7747 | 0.016754
2 | YES | 249.837 | 1.9022 | 0.0067398 | 0.0062406 | -0.0063252 | -0.012566 |  | 20.5894 | 0.041137
2 | YES | 200.755 | 2.401 | 0.0055845 | -0.0010207 | 0.00080034 | 0.001821 |  | 11.0004 | 0.0049128
2 | YES | 150.908 | 3.1014 | 0.0072621 | 0.014432 | 0.0080369 | -0.0063948 |  | 5.4658 | 0.017568
2 | YES | 100.142 | 3.6241 | 0.011005 | 0.01912 | 0.015407 | -0.0037133 |  | 1.0429 | 0.043342
2 | YES | 75.4291 | 5.4366 | 0.010931 | 0.029563 | 0.018995 | -0.010569
2 | NO | 50.7963 | 4.8066 | 0.0074116 | 0.033618 | 0.022571 | -0.011047
2 | YES | 30.7747 | 5.7438 | 0.011081 | 0.016754 | 0.025477 | 0.0087231
2 | YES | 20.5894 | 5.9341 | 0.0094786 | 0.041137 | 0.026956 | -0.014181
2 | YES | 11.0004 | 6.0289 | 0.014235 | 0.0049128 | 0.028348 | 0.023435
2 | YES | 5.4658 | 6.0356 | 0.0081274 | 0.017568 | 0.029151 | 0.011583
2 | YES | 1.0429 | 6.0303 | 0.0092138 | 0.043342 | 0.029794 | -0.013548
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE