## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2022/12/20 15:19:00 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2022-040-0001.mrg | 2022-040-0001.sam | 241 | 150.697 | 150.697 | 0.025739 | 0.00033569 | 31.3492 | 31.3411 | 0.00020183 | -0.0080948 | 31.3492 | 31.3368 | 0.00026368 | -0.012436
2022-040-0006.mrg | 2022-040-0006.sam | 241 | 46.266 | 46.2659 | 0.035887 | -6.1035e-05 | 30.4053 | 30.4358 | 0.0056609 | 0.030478 | 30.4053 | 30.4397 | 0.0039069 | 0.034449
2022-040-0006.mrg | 2022-040-0006.sam | 241 | 31.136 | 31.1359 | 0.028442 | -0.00012779 | 30.1775 | 30.148 | 0.0014994 | -0.02953 | 30.1775 | 30.1508 | 0.0017669 | -0.026695
2022-040-0006.mrg | 2022-040-0006.sam | 294 | 1.284 | 1.2831 | 0.032921 | -0.00091505 | 27.6854 | 27.7293 | 0.078399 | 0.043856 | 27.6854 | 27.7437 | 0.06644 | 0.058336
2022-040-0008.mrg | 2022-040-0008.sam | 241 | 130.528 | 130.528 | 0.035388 | 0.0004425 | 31.2939 | 31.3015 | 0.0003267 | 0.0076485 | 31.2939 | 31.3043 | 0.00023129 | 0.010397
2022-040-0008.mrg | 2022-040-0008.sam | 241 | 50.942 | 50.9423 | 0.033235 | 0.00026321 | 30.643 | 30.5706 | 0.0012967 | -0.072411 | 30.643 | 30.573 | 0.00030241 | -0.06995
2022-040-0008.mrg | 2022-040-0008.sam | 289 | 1.18 | 1.1816 | 0.035506 | 0.001564 | 25.4098 | 26.4179 | 0.06307 | 1.0081 | 25.4098 | 26.3723 | 0.068349 | 0.96251
2022-040-0010.mrg | 2022-040-0010.sam | 241 | 125.657 | 125.657 | 0.03523 | 5.3406e-05 | 31.2899 | 31.295 | 0.00022045 | 0.0051022 | 31.2899 | 31.2976 | 0.0002067 | 0.00774
2022-040-0010.mrg | 2022-040-0010.sam | 241 | 50.72 | 50.7197 | 0.034451 | -0.00034332 | 30.5125 | 30.5086 | 0.00030519 | -0.0039215 | 30.5125 | 30.511 | 0.00027957 | -0.001482
2022-040-0010.mrg | 2022-040-0010.sam | 400 | 1.125 | 1.125 | 0.030063 | -1.7524e-05 | 21.6785 | 20.6235 | 0.038532 | -1.055 | 21.6785 | 20.624 | 0.040011 | -1.0545
2022-040-0014.mrg | 2022-040-0014.sam | 476 | 250.704 | 250.654 | 0.27087 | -0.050217 | 33.9591 | 33.9595 | 0.00036944 | 0.00035858 | 33.9591 | 33.9619 | 0.00031512 | 0.0027847
2022-040-0014.mrg | 2022-040-0014.sam | 476 | 250.605 | 250.654 | 0.27087 | 0.048782 | 33.9588 | 33.9595 | 0.00036944 | 0.00065613 | 33.9588 | 33.9619 | 0.00031512 | 0.0030823
2022-040-0014.mrg | 2022-040-0014.sam | 241 | 200.621 | 200.621 | 0.18096 | 0.0004425 | 33.9066 | 33.9184 | 0.0016145 | 0.011776 | 33.9066 | 33.9207 | 0.0019471 | 0.014137
2022-040-0014.mrg | 2022-040-0014.sam | 241 | 175.545 | 175.545 | 0.25614 | -0.00022888 | 33.862 | 33.8641 | 0.00084524 | 0.0020905 | 33.862 | 33.8664 | 0.0007952 | 0.0043869
2022-040-0017.mrg | 2022-040-0017.sam | 241 | 217.865 | 217.865 | 0.17848 | 1.5259e-05 | 33.9441 | 33.9464 | 0.00021821 | 0.0023079 | 33.9441 | 33.949 | 0.00020179 | 0.0049095
2022-040-0017.mrg | 2022-040-0017.sam | 241 | 200.928 | 200.928 | 0.21126 | -0.00036621 | 33.9449 | 33.9468 | 0.00021584 | 0.0018616 | 33.9449 | 33.9493 | 0.00024324 | 0.0044327
2022-040-0017.mrg | 2022-040-0017.sam | 241 | 173.947 | 173.947 | 0.14966 | -0.00036621 | 33.9404 | 33.9421 | 0.00021907 | 0.0016861 | 33.9404 | 33.9446 | 0.00024481 | 0.0041695
2022-040-0021.mrg | 2022-040-0021.sam | 241 | 183.201 | 183.201 | 0.074174 | -0.00030518 | 33.8785 | 33.8812 | 0.00020176 | 0.002655 | 33.8785 | 33.8837 | 0.00022217 | 0.0052071
2022-040-0021.mrg | 2022-040-0021.sam | 241 | 175.04 | 175.04 | 0.10414 | 0.00027466 | 33.88 | 33.8818 | 0.00023248 | 0.0018463 | 33.88 | 33.8841 | 0.00022434 | 0.0041389
2022-040-0024.mrg | 2022-040-0024.sam | 241 | 149.852 | 149.852 | 0.064505 | -0.00033569 | 33.8455 | 33.8474 | 0.00025974 | 0.0018768 | 33.8455 | 33.8498 | 0.00028986 | 0.0042686
2022-040-0027.mrg | 2022-040-0027.sam | 241 | 100.539 | 100.539 | 0.052554 | -0.0001297 | 33.5582 | 33.56 | 0.0012184 | 0.0017738 | 33.5582 | 33.5612 | 0.0014787 | 0.0030136
2022-040-0031.mrg | 2022-040-0031.sam | 241 | 101.715 | 101.715 | 0.050701 | 0.00029755 | 33.1387 | 33.1453 | 0.0013965 | 0.0066185 | 33.1387 | 33.1478 | 0.0011903 | 0.0090752
2022-040-0035.mrg | 2022-040-0035.sam | 241 | 125.141 | 125.141 | 0.040906 | 0.00024414 | 32.9802 | 33.0418 | 0.0058542 | 0.061645 | 32.9802 | 33.0443 | 0.0057436 | 0.064102
2022-040-0039.mrg | 2022-040-0039.sam | 241 | 196.283 | 196.283 | 0.21258 | 0.00038147 | 32.4879 | 32.4819 | 0.011435 | -0.0059776 | 32.4879 | 32.4845 | 0.011706 | -0.0033798
2022-040-0042.mrg | 2022-040-0042.sam | 222 | 198.845 | 198.938 | 0.52728 | 0.093201 | 31.845 | 31.8478 | 0.00054774 | 0.0027523 | 31.845 | 31.8501 | 0.00042351 | 0.0051308
2022-040-0049.mrg | 2022-040-0049.sam | 241 | 150.154 | 150.154 | 0.035211 | -0.00016785 | 30.7961 | 30.7951 | 0.0027516 | -0.00097084 | 30.7961 | 30.7995 | 0.0030843 | 0.0034332
2022-040-0052.mrg | 2022-040-0052.sam | 241 | 300.378 | 300.378 | 0.044352 | 0.00036621 | 30.8919 | 30.8917 | 0.00028641 | -0.00015449 | 30.8919 | 30.8946 | 0.00027255 | 0.002655
2022-040-0052.mrg | 2022-040-0052.sam | 241 | 250.483 | 250.483 | 0.043713 | -0.00018311 | 30.8279 | 30.8263 | 0.00024048 | -0.0016232 | 30.8279 | 30.8289 | 0.00034652 | 0.0010166
2022-040-0052.mrg | 2022-040-0052.sam | 241 | 200.261 | 200.261 | 0.038921 | -0.00019836 | 30.7487 | 30.746 | 0.00018879 | -0.0026856 | 30.7487 | 30.7486 | 0.0001893 | -5.5313e-05
2022-040-0058.mrg | 2022-040-0058.sam | 241 | 350.883 | 350.883 | 0.042985 | 0.00045776 | 30.9228 | 30.9235 | 0.00031124 | 0.00073814 | 30.9228 | 30.9263 | 0.00030734 | 0.0035362
2022-040-0058.mrg | 2022-040-0058.sam | 241 | 300.355 | 300.355 | 0.049786 | -0.00033569 | 30.8792 | 30.8783 | 0.00022191 | -0.00092697 | 30.8792 | 30.8811 | 0.00022231 | 0.0018578
2022-040-0058.mrg | 2022-040-0058.sam | 241 | 251.268 | 251.268 | 0.044199 | 0.00012207 | 30.8501 | 30.8506 | 0.00047231 | 0.00047111 | 30.8501 | 30.8532 | 0.0010659 | 0.0030918
2022-040-0065.mrg | 2022-040-0065.sam | 241 | 300.052 | 300.052 | 0.049665 | 0.00027466 | 30.8676 | 30.868 | 0.00033133 | 0.0003643 | 30.8676 | 30.8706 | 0.00020999 | 0.003006
2022-040-0065.mrg | 2022-040-0065.sam | 241 | 249.962 | 249.962 | 0.054316 | -0.00015259 | 30.8273 | 30.8283 | 0.00048874 | 0.00097656 | 30.8273 | 30.831 | 0.00061406 | 0.0036621
2022-040-0065.mrg | 2022-040-0065.sam | 241 | 199.986 | 199.986 | 0.076124 | -1.5259e-05 | 30.7132 | 30.7157 | 0.0020674 | 0.0025139 | 30.7132 | 30.7187 | 0.0017749 | 0.0054817
2022-040-0072.mrg | 2022-040-0072.sam | 241 | 250.024 | 250.024 | 0.036747 | -0.00032043 | 30.8952 | 30.8932 | 0.0012374 | -0.0019913 | 30.8952 | 30.8972 | 0.0017025 | 0.0020485
2022-040-0077.mrg | 2022-040-0077.sam | 241 | 301.385 | 301.385 | 0.16073 | -0.00018311 | 30.9334 | 30.9323 | 0.00021305 | -0.0010605 | 30.9334 | 30.9354 | 0.00022689 | 0.0020332
2022-040-0080.mrg | 2022-040-0080.sam | 241 | 175.704 | 175.704 | 0.060343 | -0.00048828 | 30.6218 | 30.5862 | 0.0025761 | -0.035551 | 30.6218 | 30.5918 | 0.00094063 | -0.029961
2022-040-0083.mrg | 2022-040-0083.sam | 241 | 150.02 | 150.02 | 0.044936 | 0.00019836 | 30.4621 | 30.4738 | 0.0071863 | 0.011661 | 30.4621 | 30.4769 | 0.0065696 | 0.014799
2022-040-0086.mrg | 2022-040-0086.sam | 241 | 300.173 | 300.173 | 0.056813 | 6.1035e-05 | 30.6294 | 30.6275 | 0.00045697 | -0.0019283 | 30.6294 | 30.6299 | 0.0067925 | 0.00052834
2022-040-0088.mrg | 2022-040-0088.sam | 241 | 302.887 | 302.887 | 0.11292 | 0.00039673 | 30.6139 | 30.6142 | 0.00019414 | 0.00032806 | 30.6139 | 30.6167 | 0.0012416 | 0.0028324
2022-040-0089.mrg | 2022-040-0089.sam | 241 | 125.462 | 125.462 | 0.33354 | -0.00024414 | 30.4983 | 30.5118 | 0.0014407 | 0.013514 | 30.4983 | 30.5142 | 0.0014499 | 0.01589
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 24
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2022-040-0001.mrg | 2022-040-0001.sam | 12 | 12 | 2022-040-0001.mrg & 2022-040-0001.sam
2 | 2022-040-0006.mrg | 2022-040-0006.sam | 14 | 16 | 2022-040-0006.mrg & 2022-040-0006.sam
3 | 2022-040-0008.mrg | 2022-040-0008.sam | 18 | 20 | 2022-040-0008.mrg & 2022-040-0008.sam
4 | 2022-040-0010.mrg | 2022-040-0010.sam | 22 | 24 | 2022-040-0010.mrg & 2022-040-0010.sam
5 | 2022-040-0014.mrg | 2022-040-0014.sam | 26 | 29 | 2022-040-0014.mrg & 2022-040-0014.sam
6 | 2022-040-0017.mrg | 2022-040-0017.sam | 31 | 33 | 2022-040-0017.mrg & 2022-040-0017.sam
7 | 2022-040-0021.mrg | 2022-040-0021.sam | 35 | 36 | 2022-040-0021.mrg & 2022-040-0021.sam
8 | 2022-040-0024.mrg | 2022-040-0024.sam | 38 | 38 | 2022-040-0024.mrg & 2022-040-0024.sam
9 | 2022-040-0027.mrg | 2022-040-0027.sam | 40 | 40 | 2022-040-0027.mrg & 2022-040-0027.sam
10 | 2022-040-0031.mrg | 2022-040-0031.sam | 42 | 42 | 2022-040-0031.mrg & 2022-040-0031.sam
11 | 2022-040-0035.mrg | 2022-040-0035.sam | 44 | 44 | 2022-040-0035.mrg & 2022-040-0035.sam
12 | 2022-040-0039.mrg | 2022-040-0039.sam | 46 | 46 | 2022-040-0039.mrg & 2022-040-0039.sam
13 | 2022-040-0042.mrg | 2022-040-0042.sam | 48 | 48 | 2022-040-0042.mrg & 2022-040-0042.sam
14 | 2022-040-0049.mrg | 2022-040-0049.sam | 50 | 50 | 2022-040-0049.mrg & 2022-040-0049.sam
15 | 2022-040-0052.mrg | 2022-040-0052.sam | 52 | 54 | 2022-040-0052.mrg & 2022-040-0052.sam
16 | 2022-040-0058.mrg | 2022-040-0058.sam | 56 | 58 | 2022-040-0058.mrg & 2022-040-0058.sam
17 | 2022-040-0065.mrg | 2022-040-0065.sam | 60 | 62 | 2022-040-0065.mrg & 2022-040-0065.sam
18 | 2022-040-0072.mrg | 2022-040-0072.sam | 64 | 64 | 2022-040-0072.mrg & 2022-040-0072.sam
19 | 2022-040-0077.mrg | 2022-040-0077.sam | 66 | 66 | 2022-040-0077.mrg & 2022-040-0077.sam
20 | 2022-040-0080.mrg | 2022-040-0080.sam | 68 | 68 | 2022-040-0080.mrg & 2022-040-0080.sam
21 | 2022-040-0083.mrg | 2022-040-0083.sam | 70 | 70 | 2022-040-0083.mrg & 2022-040-0083.sam
22 | 2022-040-0086.mrg | 2022-040-0086.sam | 72 | 72 | 2022-040-0086.mrg & 2022-040-0086.sam
23 | 2022-040-0088.mrg | 2022-040-0088.sam | 74 | 74 | 2022-040-0088.mrg & 2022-040-0088.sam
24 | 2022-040-0089.mrg | 2022-040-0089.sam | 76 | 76 | 2022-040-0089.mrg & 2022-040-0089.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Pressure | 1
2 | (Sal0 - Sal_Bot) | Pressure | 1
3 | (Sal0 - Sal_Bot) | Pressure | 23
4 | (Sal1 - Sal_Bot) | Pressure | 23
5 | (Sal1 - Sal_Bot) | Pressure | 1
6 | (Sal0 - Sal_Bot) | File Pair # | 24
7 | (Sal1 - Sal_Bot) | File Pair # | 24

## Cast 1pri
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | 0 | #VALUE!
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | 0 | #VALUE!
# of Values Extracted = |  |  | 1
# of Values Used in Fit = |  |  | 0
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | in Fit? | 150.697 | 31.3411 | 0.00020183 | -0.0080948 | #VALUE! | #VALUE! | 31.3492
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Cast 1sec
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | 0 | #VALUE!
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | 0 | #VALUE!
# of Values Extracted = |  |  | 1
# of Values Used in Fit = |  |  | 0
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | in Fit? | 150.697 | 31.3368 | 0.00026368 | -0.012436 | #VALUE! | #VALUE!
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## other casts-pri
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.092545 |  | X | CALC Y
m= | -1.059e-05 | 7.4153e-06 |  | Std Dev of Resid |  | 0.002472 |  | 50.7197 | 0.0026916
b= | 0.0032288 | 0.0017379 |  | Resid Sum of Squares |  | 0.00012221 |  | 350.883 | -0.00048718
# of Values Extracted = |  |  | 41
# of Values Used in Fit = |  |  | 22
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
2 | NO | 46.2659 | 30.4358 | 0.0056609 | 0.030478 | 0.0027388 | -0.027739 |  | 130.528 | 0.0076485
2 | NO | 31.1359 | 30.148 | 0.0014994 | -0.02953 | 0.002899 | 0.032429 |  | 125.657 | 0.0051022
2 | NO | 1.2831 | 27.7293 | 0.078399 | 0.043856 | 0.0032152 | -0.040641 |  | 50.7197 | -0.0039215
3 | YES | 130.528 | 31.3015 | 0.0003267 | 0.0076485 | 0.0018464 | -0.005802 |  | 250.654 | 0.00035858 |  |  |  | Primary |  |  |  | Secondary
3 | NO | 50.9423 | 30.5706 | 0.0012967 | -0.072411 | 0.0026893 | 0.0751 |  | 250.654 | 0.00065613 |  |  |  | Pressure | CTD-Bot |  |  | Pressure | CTD-bot |  | Sec-Pri
3 | NO | 1.1816 | 26.4179 | 0.06307 | 1.0081 | 0.0032163 | -1.0049 |  | 217.865 | 0.0023079 |  |  |  | 50.7197 | -0.0039215 |  |  | 50.7197 | -0.001482 |  | 0.0024395
4 | YES | 125.657 | 31.295 | 0.00022045 | 0.0051022 | 0.001898 | -0.0032041 |  | 200.928 | 0.0018616 |  |  |  | 125.657 | 0.0051022 |  |  | 125.657 | 0.00774 |  | 9.155e-05
4 | YES | 50.7197 | 30.5086 | 0.00030519 | -0.0039215 | 0.0026916 | 0.0066131 |  | 173.947 | 0.0016861 |  |  |  | 130.528 | 0.0076485 |  |  | 130.528 | 0.010397 |  | 0.0085202
4 | NO | 1.125 | 20.6235 | 0.038532 | -1.055 | 0.0032169 | 1.0582 |  | 183.201 | 0.002655 |  |  |  | 149.852 | 0.0018768 |  |  | 149.852 | 0.0042686 |  | 0.0025825
5 | YES | 250.654 | 33.9595 | 0.00036944 | 0.00035858 | 0.00057428 | 0.00021569 |  | 175.04 | 0.0018463 |  |  |  | 173.947 | 0.0016861 |  |  | 173.947 | 0.0041695 |  | 0.0023231
5 | YES | 250.654 | 33.9595 | 0.00036944 | 0.00065613 | 0.00057428 | -8.1852e-05 |  | 149.852 | 0.0018768 |  |  |  | 175.04 | 0.0018463 |  |  | 175.04 | 0.0041389 |  | 0.0014839
5 | NO | 200.621 | 33.9184 | 0.0016145 | 0.011776 | 0.0011041 | -0.010672 |  | 198.938 | 0.0027523 |  |  |  | 183.201 | 0.002655 |  |  | 183.201 | 0.0052071 |  | 0.0078926
5 | NO | 175.545 | 33.8641 | 0.00084524 | 0.0020905 | 0.0013697 | -0.00072075 |  | 300.378 | -0.00015449 |  |  |  | 198.938 | 0.0027523 |  |  | 198.938 | 0.0051308 |  | 0.0032692
6 | YES | 217.865 | 33.9464 | 0.00021821 | 0.0023079 | 0.00092152 | -0.0013864 |  | 250.483 | -0.0016232 |  |  |  | 200.261 | -0.0026856 |  |  | 200.261 | -5.5313e-05 | 0.0030899 | -0.0023632
6 | YES | 200.928 | 33.9468 | 0.00021584 | 0.0018616 | 0.0011009 | -0.00076068 |  | 200.261 | -0.0026856 |  |  |  | 200.928 | 0.0018616 | -4.6049e-05 | average below 200 | 200.928 | 0.0044327 |  | 0.0034561
6 | YES | 173.947 | 33.9421 | 0.00021907 | 0.0016861 | 0.0013866 | -0.00029948 |  | 350.883 | 0.00073814 |  |  |  | 217.865 | 0.0023079 |  |  | 217.865 | 0.0049095 | 0.0029978 | 0.0065327
7 | YES | 183.201 | 33.8812 | 0.00020176 | 0.002655 | 0.0012886 | -0.0013664 |  | 300.355 | -0.00092697 |  |  |  | 249.962 | 0.00097656 | -0.00019351 | average below 240 | 249.962 | 0.0036621 |  | 0.0033035
7 | YES | 175.04 | 33.8818 | 0.00023248 | 0.0018463 | 0.001375 | -0.00047126 |  | 251.268 | 0.00047111 |  |  |  | 250.483 | -0.0016232 |  |  | 250.483 | 0.0010166 |  | 0.00036049
8 | YES | 149.852 | 33.8474 | 0.00025974 | 0.0018768 | 0.0016418 | -0.00023503 |  | 300.052 | 0.0003643 |  |  |  | 250.654 | 0.00035858 |  |  | 250.654 | 0.0027847 |  | 0.0023136
9 | NO | 100.539 | 33.56 | 0.0012184 | 0.0017738 | 0.002164 | 0.00039021 |  | 249.962 | 0.00097656 |  |  |  | 250.654 | 0.00065613 |  |  | 250.654 | 0.0030823 |  | 0.002718
10 | NO | 101.715 | 33.1453 | 0.0013965 | 0.0066185 | 0.0021516 | -0.0044669 |  | 301.385 | -0.0010605 |  |  | x | 251.268 | 0.00047111 |  |  | 300.052 | 0.003006 |  | 0.0049343
11 | NO | 125.141 | 33.0418 | 0.0058542 | 0.061645 | 0.0019035 | -0.059742 |  | 300.173 | -0.0019283 |  |  |  | 300.052 | 0.0003643 |  |  | 300.355 | 0.0018578 |  | 0.0027847
12 | NO | 196.283 | 32.4819 | 0.011435 | -0.0059776 | 0.0011501 | 0.0071277 | [5 empty] | x | 300.173 | -0.0019283 |  |  | 300.378 | 0.002655 |  | 0.0028095
13 | YES | 198.938 | 31.8478 | 0.00054774 | 0.0027523 | 0.001122 | -0.0016303 | [6 empty] | 300.355 | -0.00092697 |  |  | 301.385 | 0.0020332 |  | 0.0030937
14 | NO | 150.154 | 30.7951 | 0.0027516 | -0.00097084 | 0.0016386 | 0.0026094 | [6 empty] | 300.378 | -0.00015449 |  |  | 350.883 | 0.0035362 |  | 0.0027981
15 | YES | 300.378 | 30.8917 | 0.00028641 | -0.00015449 | 4.7685e-05 | 0.00020218 | [6 empty] | 301.385 | -0.0010605
15 | YES | 250.483 | 30.8263 | 0.00024048 | -0.0016232 | 0.00057609 | 0.0021992 | [6 empty] | 350.883 | 0.00073814
15 | YES | 200.261 | 30.746 | 0.00018879 | -0.0026856 | 0.001108 | 0.0037935
16 | YES | 350.883 | 30.9235 | 0.00031124 | 0.00073814 | -0.00048718 | -0.0012253
16 | YES | 300.355 | 30.8783 | 0.00022191 | -0.00092697 | 4.7929e-05 | 0.0009749
16 | YES | 251.268 | 30.8506 | 0.00047231 | 0.00047111 | 0.00056777 | 9.6659e-05
17 | YES | 300.052 | 30.868 | 0.00033133 | 0.0003643 | 5.1138e-05 | -0.00031317
17 | YES | 249.962 | 30.8283 | 0.00048874 | 0.00097656 | 0.0005816 | -0.00039496
17 | NO | 199.986 | 30.7157 | 0.0020674 | 0.0025139 | 0.0011109 | -0.001403
18 | NO | 250.024 | 30.8932 | 0.0012374 | -0.0019913 | 0.00058095 | 0.0025722
19 | YES | 301.385 | 30.9323 | 0.00021305 | -0.0010605 | 3.7021e-05 | 0.0010975
20 | NO | 175.704 | 30.5862 | 0.0025761 | -0.035551 | 0.001368 | 0.036919
21 | NO | 150.02 | 30.4738 | 0.0071863 | 0.011661 | 0.00164 | -0.010021 |  |  |  | 0.00086368 | 0.0025324
22 | YES | 300.173 | 30.6275 | 0.00045697 | -0.0019283 | 4.9856e-05 | 0.0019782
23 | NO | 302.887 | 30.6142 | 0.00019414 | 0.00032806 | 2.1114e-05 | -0.00030695
24 | NO | 125.462 | 30.5118 | 0.0014407 | 0.013514 | 0.0019001 | -0.011614
0.005731
NO
NO
NO
YES
NO
NO
YES
YES
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## other casts-sec
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.047942 |  | X | CALC Y
m= | -7.6028e-06 | 7.9857e-06 |  | Std Dev of Resid |  | 0.002574 |  | 50.7197 | 0.004897
b= | 0.0052826 | 0.0018342 |  | Resid Sum of Squares |  | 0.00011926 |  | 350.883 | 0.0026149
# of Values Extracted = |  |  | 41
# of Values Used in Fit = |  |  | 20
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
2 | NO | 46.2659 | 30.4397 | 0.0039069 | 0.034449 | 0.0049309 | -0.029518 |  | 130.528 | 0.010397
2 | NO | 31.1359 | 30.1508 | 0.0017669 | -0.026695 | 0.0050459 | 0.031741 |  | 125.657 | 0.00774
2 | NO | 1.2831 | 27.7437 | 0.06644 | 0.058336 | 0.0052729 | -0.053063 |  | 50.7197 | -0.001482
3 | YES | 130.528 | 31.3043 | 0.00023129 | 0.010397 | 0.0042902 | -0.0061068 |  | 250.654 | 0.0027847
3 | NO | 50.9423 | 30.573 | 0.00030241 | -0.06995 | 0.0048953 | 0.074845 |  | 250.654 | 0.0030823
3 | NO | 1.1816 | 26.3723 | 0.068349 | 0.96251 | 0.0052736 | -0.95724 |  | 217.865 | 0.0049095
4 | YES | 125.657 | 31.2976 | 0.0002067 | 0.00774 | 0.0043273 | -0.0034128 |  | 200.928 | 0.0044327
4 | YES | 50.7197 | 30.511 | 0.00027957 | -0.001482 | 0.004897 | 0.006379 |  | 173.947 | 0.0041695
4 | NO | 1.125 | 20.624 | 0.040011 | -1.0545 | 0.0052741 | 1.0598 |  | 183.201 | 0.0052071
5 | YES | 250.654 | 33.9619 | 0.00031512 | 0.0027847 | 0.0033769 | 0.00059221 | 33.9591 | 175.04 | 0.0041389
5 | YES | 250.654 | 33.9619 | 0.00031512 | 0.0030823 | 0.0033769 | 0.00029466 |  | 149.852 | 0.0042686
5 | NO | 200.621 | 33.9207 | 0.0019471 | 0.014137 | 0.0037573 | -0.01038 |  | 198.938 | 0.0051308
5 | NO | 175.545 | 33.8664 | 0.0007952 | 0.0043869 | 0.003948 | -0.00043892 |  | 300.378 | 0.002655
6 | YES | 217.865 | 33.949 | 0.00020179 | 0.0049095 | 0.0036262 | -0.0012833 |  | 250.483 | 0.0010166
6 | YES | 200.928 | 33.9493 | 0.00024324 | 0.0044327 | 0.003755 | -0.00067769 |  | 200.261 | -5.5313e-05
6 | YES | 173.947 | 33.9446 | 0.00024481 | 0.0041695 | 0.0039601 | -0.00020933 |  | 350.883 | 0.0035362
7 | YES | 183.201 | 33.8837 | 0.00022217 | 0.0052071 | 0.0038898 | -0.0013173 |  | 300.355 | 0.0018578
7 | YES | 175.04 | 33.8841 | 0.00022434 | 0.0041389 | 0.0039518 | -0.00018713 |  | 300.052 | 0.003006
8 | YES | 149.852 | 33.8498 | 0.00028986 | 0.0042686 | 0.0041433 | -0.00012533 |  | 249.962 | 0.0036621
9 | NO | 100.539 | 33.5612 | 0.0014787 | 0.0030136 | 0.0045182 | 0.0015046 |  | 301.385 | 0.0020332
10 | NO | 101.715 | 33.1478 | 0.0011903 | 0.0090752 | 0.0045093 | -0.0045659
11 | NO | 125.141 | 33.0443 | 0.0057436 | 0.064102 | 0.0043312 | -0.059771
12 | NO | 196.283 | 32.4845 | 0.011706 | -0.0033798 | 0.0037903 | 0.0071701
13 | YES | 198.938 | 31.8501 | 0.00042351 | 0.0051308 | 0.0037701 | -0.0013606
14 | NO | 150.154 | 30.7995 | 0.0030843 | 0.0034332 | 0.004141 | 0.00070779
15 | YES | 300.378 | 30.8946 | 0.00027255 | 0.002655 | 0.0029989 | 0.00034387
15 | YES | 250.483 | 30.8289 | 0.00034652 | 0.0010166 | 0.0033782 | 0.0023616
15 | YES | 200.261 | 30.7486 | 0.0001893 | -5.5313e-05 | 0.0037601 | 0.0038154
16 | YES | 350.883 | 30.9263 | 0.00030734 | 0.0035362 | 0.0026149 | -0.0009213
16 | YES | 300.355 | 30.8811 | 0.00022231 | 0.0018578 | 0.0029991 | 0.0011413
16 | NO | 251.268 | 30.8532 | 0.0010659 | 0.0030918 | 0.0033723 | 0.00028046
17 | YES | 300.052 | 30.8706 | 0.00020999 | 0.003006 | 0.0030014 | -4.6047e-06
17 | YES | 249.962 | 30.831 | 0.00061406 | 0.0036621 | 0.0033822 | -0.00027991
17 | NO | 199.986 | 30.7187 | 0.0017749 | 0.0054817 | 0.0037622 | -0.0017196
18 | NO | 250.024 | 30.8972 | 0.0017025 | 0.0020485 | 0.0033817 | 0.0013332
19 | YES | 301.385 | 30.9354 | 0.00022689 | 0.0020332 | 0.0029912 | 0.00095801
20 | NO | 175.704 | 30.5918 | 0.00094063 | -0.029961 | 0.0039468 | 0.033907
21 | NO | 150.02 | 30.4769 | 0.0065696 | 0.014799 | 0.004142 | -0.010657 |  |  |  | 0.0036245 | 0.0025676
22 | NO | 300.173 | 30.6299 | 0.0067925 | 0.00052834 | 0.0030005 | 0.0024721
23 | NO | 302.887 | 30.6167 | 0.0012416 | 0.0028324 | 0.0029798 | 0.00014741
24 | NO | 125.462 | 30.5142 | 0.0014499 | 0.01589 | 0.0043287 | -0.011561
0.0057036
NO
NO
NO
YES
NO
NO
YES
YES
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
NO
NO
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_6
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.028743 |  | X | CALC Y
m= | -7.884e-05 | 9.771e-05 |  | Std Dev of Resid |  | 0.0030554 |  | 1 | 0.0012631
b= | 0.0013419 | 0.0012497 |  | Resid Sum of Squares |  | 0.00020538 |  | 23 | -0.00047142
# of Values Extracted = |  |  | 42
# of Values Used in Fit = |  |  | 24
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 150.697 | 31.3411 | 0.00020183 | -0.0080948 | 0.0012631 | 0.0093579 |  | 1 | -0.0080948
2 | NO | 46.2659 | 30.4358 | 0.0056609 | 0.030478 | 0.0011842 | -0.029293 |  | 3 | 0.0076485
2 | NO | 31.1359 | 30.148 | 0.0014994 | -0.02953 | 0.0011842 | 0.030714 |  | 4 | 0.0051022
2 | NO | 1.2831 | 27.7293 | 0.078399 | 0.043856 | 0.0011842 | -0.042671 |  | 4 | -0.0039215
3 | YES | 130.528 | 31.3015 | 0.0003267 | 0.0076485 | 0.0011054 | -0.0065431 |  | 5 | 0.00035858
3 | NO | 50.9423 | 30.5706 | 0.0012967 | -0.072411 | 0.0011054 | 0.073516 |  | 5 | 0.00065613
3 | NO | 1.1816 | 26.4179 | 0.06307 | 1.0081 | 0.0011054 | -1.007 |  | 6 | 0.0023079
4 | YES | 125.657 | 31.295 | 0.00022045 | 0.0051022 | 0.0010265 | -0.0040756 |  | 6 | 0.0018616
4 | YES | 50.7197 | 30.5086 | 0.00030519 | -0.0039215 | 0.0010265 | 0.0049481 |  | 6 | 0.0016861
4 | NO | 1.125 | 20.6235 | 0.038532 | -1.055 | 0.0010265 | 1.056 |  | 7 | 0.002655
5 | YES | 250.654 | 33.9595 | 0.00036944 | 0.00035858 | 0.00094771 | 0.00058913 |  | 7 | 0.0018463
5 | YES | 250.654 | 33.9595 | 0.00036944 | 0.00065613 | 0.00094771 | 0.00029158 |  | 8 | 0.0018768
5 | NO | 200.621 | 33.9184 | 0.0016145 | 0.011776 | 0.00094771 | -0.010828 |  | 13 | 0.0027523
5 | NO | 175.545 | 33.8641 | 0.00084524 | 0.0020905 | 0.00094771 | -0.0011427 |  | 15 | -0.00015449
6 | YES | 217.865 | 33.9464 | 0.00021821 | 0.0023079 | 0.00086887 | -0.001439 |  | 15 | -0.0016232
6 | YES | 200.928 | 33.9468 | 0.00021584 | 0.0018616 | 0.00086887 | -0.0009927 |  | 15 | -0.0026856
6 | YES | 173.947 | 33.9421 | 0.00021907 | 0.0016861 | 0.00086887 | -0.00081723 |  | 16 | 0.00073814
7 | YES | 183.201 | 33.8812 | 0.00020176 | 0.002655 | 0.00079003 | -0.001865 |  | 16 | -0.00092697
7 | YES | 175.04 | 33.8818 | 0.00023248 | 0.0018463 | 0.00079003 | -0.0010563 |  | 16 | 0.00047111
8 | YES | 149.852 | 33.8474 | 0.00025974 | 0.0018768 | 0.00071119 | -0.0011656 |  | 17 | 0.0003643
9 | NO | 100.539 | 33.56 | 0.0012184 | 0.0017738 | 0.00063235 | -0.0011415 |  | 17 | 0.00097656
10 | NO | 101.715 | 33.1453 | 0.0013965 | 0.0066185 | 0.00055351 | -0.006065 |  | 19 | -0.0010605
11 | NO | 125.141 | 33.0418 | 0.0058542 | 0.061645 | 0.00047466 | -0.061171 |  | 22 | -0.0019283
12 | NO | 196.283 | 32.4819 | 0.011435 | -0.0059776 | 0.00039582 | 0.0063735 |  | 23 | 0.00032806
13 | YES | 198.938 | 31.8478 | 0.00054774 | 0.0027523 | 0.00031698 | -0.0024353
14 | NO | 150.154 | 30.7951 | 0.0027516 | -0.00097084 | 0.00023814 | 0.001209
15 | YES | 300.378 | 30.8917 | 0.00028641 | -0.00015449 | 0.0001593 | 0.0003138
15 | YES | 250.483 | 30.8263 | 0.00024048 | -0.0016232 | 0.0001593 | 0.0017825
15 | YES | 200.261 | 30.746 | 0.00018879 | -0.0026856 | 0.0001593 | 0.0028449
16 | YES | 350.883 | 30.9235 | 0.00031124 | 0.00073814 | 8.0462e-05 | -0.00065768
16 | YES | 300.355 | 30.8783 | 0.00022191 | -0.00092697 | 8.0462e-05 | 0.0010074
16 | YES | 251.268 | 30.8506 | 0.00047231 | 0.00047111 | 8.0462e-05 | -0.00039065
17 | YES | 300.052 | 30.868 | 0.00033133 | 0.0003643 | 1.622e-06 | -0.00036268
17 | YES | 249.962 | 30.8283 | 0.00048874 | 0.00097656 | 1.622e-06 | -0.00097494
17 | NO | 199.986 | 30.7157 | 0.0020674 | 0.0025139 | 1.622e-06 | -0.0025123
18 | NO | 250.024 | 30.8932 | 0.0012374 | -0.0019913 | -7.7219e-05 | 0.0019141
19 | YES | 301.385 | 30.9323 | 0.00021305 | -0.0010605 | -0.00015606 | 0.00090443
20 | NO | 175.704 | 30.5862 | 0.0025761 | -0.035551 | -0.0002349 | 0.035316
21 | NO | 150.02 | 30.4738 | 0.0071863 | 0.011661 | -0.00031374 | -0.011975
22 | YES | 300.173 | 30.6275 | 0.00045697 | -0.0019283 | -0.00039258 | 0.0015357
23 | YES | 302.887 | 30.6142 | 0.00019414 | 0.00032806 | -0.00047142 | -0.00079948
24 | NO | 125.462 | 30.5118 | 0.0014407 | 0.013514 | -0.00055026 | -0.014064
YES
NO
NO
NO
YES
NO
NO
YES
YES
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_7
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.057852 |  | X | CALC Y
m= | 0.00066269 | 0.00058358 |  | Std Dev of Resid |  | 0.015642 |  | 1 | -0.0057139
b= | -0.0063766 | 0.0063123 |  | Resid Sum of Squares |  | 0.0051381 |  | 19 | 0.0062145
# of Values Extracted = |  |  | 42
# of Values Used in Fit = |  |  | 23
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 150.697 | 31.3368 | 0.00026368 | -0.012436 | -0.0057139 | 0.006722 |  | 1 | -0.012436
2 | NO | 46.2659 | 30.4397 | 0.0039069 | 0.034449 | -0.0050512 | -0.0395 |  | 3 | 0.010397
2 | NO | 31.1359 | 30.1508 | 0.0017669 | -0.026695 | -0.0050512 | 0.021644 |  | 3 | -0.06995
2 | NO | 1.2831 | 27.7437 | 0.06644 | 0.058336 | -0.0050512 | -0.063387 |  | 4 | 0.00774
3 | YES | 130.528 | 31.3043 | 0.00023129 | 0.010397 | -0.0043885 | -0.014785 |  | 4 | -0.001482
3 | YES | 50.9423 | 30.573 | 0.00030241 | -0.06995 | -0.0043885 | 0.065562 |  | 5 | 0.0027847
3 | NO | 1.1816 | 26.3723 | 0.068349 | 0.96251 | -0.0043885 | -0.9669 |  | 5 | 0.0030823
4 | YES | 125.657 | 31.2976 | 0.0002067 | 0.00774 | -0.0037258 | -0.011466 |  | 5 | 0.0043869
4 | YES | 50.7197 | 30.511 | 0.00027957 | -0.001482 | -0.0037258 | -0.0022438 |  | 6 | 0.0049095
4 | NO | 1.125 | 20.624 | 0.040011 | -1.0545 | -0.0037258 | 1.0508 |  | 6 | 0.0044327
5 | YES | 250.654 | 33.9619 | 0.00031512 | 0.0027847 | -0.0030631 | -0.0058478 |  | 6 | 0.0041695
5 | YES | 250.654 | 33.9619 | 0.00031512 | 0.0030823 | -0.0030631 | -0.0061454 |  | 7 | 0.0052071
5 | NO | 200.621 | 33.9207 | 0.0019471 | 0.014137 | -0.0030631 | -0.0172 |  | 7 | 0.0041389
5 | YES | 175.545 | 33.8664 | 0.0007952 | 0.0043869 | -0.0030631 | -0.00745 |  | 8 | 0.0042686
6 | YES | 217.865 | 33.949 | 0.00020179 | 0.0049095 | -0.0024004 | -0.0073099 |  | 13 | 0.0051308
6 | YES | 200.928 | 33.9493 | 0.00024324 | 0.0044327 | -0.0024004 | -0.0068331 |  | 15 | 0.002655
6 | YES | 173.947 | 33.9446 | 0.00024481 | 0.0041695 | -0.0024004 | -0.0065699 |  | 15 | 0.0010166
7 | YES | 183.201 | 33.8837 | 0.00022217 | 0.0052071 | -0.0017377 | -0.0069448 |  | 15 | -5.5313e-05
7 | YES | 175.04 | 33.8841 | 0.00022434 | 0.0041389 | -0.0017377 | -0.0058767 |  | 16 | 0.0035362
8 | YES | 149.852 | 33.8498 | 0.00028986 | 0.0042686 | -0.0010751 | -0.0053437 |  | 16 | 0.0018578
9 | NO | 100.539 | 33.5612 | 0.0014787 | 0.0030136 | -0.00041237 | -0.003426 |  | 17 | 0.003006
10 | NO | 101.715 | 33.1478 | 0.0011903 | 0.0090752 | 0.00025032 | -0.0088248 |  | 17 | 0.0036621
11 | NO | 125.141 | 33.0443 | 0.0057436 | 0.064102 | 0.00091301 | -0.063189 |  | 19 | 0.0020332
12 | NO | 196.283 | 32.4845 | 0.011706 | -0.0033798 | 0.0015757 | 0.0049555
13 | YES | 198.938 | 31.8501 | 0.00042351 | 0.0051308 | 0.0022384 | -0.0028924
14 | NO | 150.154 | 30.7995 | 0.0030843 | 0.0034332 | 0.0029011 | -0.00053216
15 | YES | 300.378 | 30.8946 | 0.00027255 | 0.002655 | 0.0035638 | 0.00090872
15 | YES | 250.483 | 30.8289 | 0.00034652 | 0.0010166 | 0.0035638 | 0.0025471
15 | YES | 200.261 | 30.7486 | 0.0001893 | -5.5313e-05 | 0.0035638 | 0.0036191
16 | YES | 350.883 | 30.9263 | 0.00030734 | 0.0035362 | 0.0042264 | 0.00069022
16 | YES | 300.355 | 30.8811 | 0.00022231 | 0.0018578 | 0.0042264 | 0.0023687
16 | NO | 251.268 | 30.8532 | 0.0010659 | 0.0030918 | 0.0042264 | 0.0011346
17 | YES | 300.052 | 30.8706 | 0.00020999 | 0.003006 | 0.0048891 | 0.0018831
17 | YES | 249.962 | 30.831 | 0.00061406 | 0.0036621 | 0.0048891 | 0.001227
17 | NO | 199.986 | 30.7187 | 0.0017749 | 0.0054817 | 0.0048891 | -0.00059259
18 | NO | 250.024 | 30.8972 | 0.0017025 | 0.0020485 | 0.0055518 | 0.0035033
19 | YES | 301.385 | 30.9354 | 0.00022689 | 0.0020332 | 0.0062145 | 0.0041813
20 | NO | 175.704 | 30.5918 | 0.00094063 | -0.029961 | 0.0068772 | 0.036838
21 | NO | 150.02 | 30.4769 | 0.0065696 | 0.014799 | 0.0075399 | -0.0072592
22 | NO | 300.173 | 30.6299 | 0.0067925 | 0.00052834 | 0.0082026 | 0.0076742
23 | NO | 302.887 | 30.6167 | 0.0012416 | 0.0028324 | 0.0088652 | 0.0060328
24 | NO | 125.462 | 30.5142 | 0.0014499 | 0.01589 | 0.0095279 | -0.0063622
YES
NO
NO
NO
YES
YES
NO
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
NO
NO
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE