File List for SeaBird Data          Cruise Number: _2022-068____

[osdcommon\cruise_data\2022-068\ARCHIVE]

[osdcommon\cruise_data\2022-068\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2022-068\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2022-068\ARCHIVE\CTD Pictures] *.CTD

[osdcommon\cruise_data\2022-068\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2022-068\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2022-068\ARCHIVE\DOC\TSG] TSG documents

[osdcommon\cruise_data\2022-068\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2022-068\ARCHIVE\Underway] TSG

[osdcommon\cruise_data\2022-068\PROCESSING]

[osdcommon\cruise_data\2022-068\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2022-068\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2022-068\PROCESSING\DOC]

2022-068-recal1.ccf – calibration control file for DO correction

2022-068_File.doc - this document

2022-068_Processing_Report.doc - processing notes

2022-068-ctd.xmlcon – configuration file used in converting all files

2022-068-ctd-final.rpt – CTD file header check including channel summary

2022-068-ctd-xref.lis – cross reference list of CTD files

2022-068-altimeter-ctd.xlsx – report on header entries for altimetry

clip_068.csv – list of # of records to remove from beginning of casts

notes from Cindy.docx – notes sent by C. Wright concerning cruise

Prelim_Processing_Report-2022-068.docx – report on prep of preliminary files for Chief Scientist

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2022-068\PROCESSING\DOC\hydro]

2022-068chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2022-068nuts.csv – nutrients simplified from analyst’s s/s

2022-068oxy.csv – dissolved oxygen data simplified from analyst’s s/s

2022-068sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2022-068-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2022-068-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2022-068-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2022-068-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2022-068-sal-comp1.csv & xlsx –initial comparison of rosette bottle and CTD salinity

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2022-068-bottles-final.xslx – summary of bottle data in CHE files

2022-068-che-final.rpt – final header check of bottle files

2022-068-che-xref.lis – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2022-068\PROCESSING\DOC\tsg]

2022-068-tsg-ctd-loop-comp.xlsx – comparisons of TSG data, loop, CTD

2022-0680-hdr-tsg.txt – header with comments for TOB files.

2022-068-tsg-recal1.ccf – recalibration file for TSG files

[osdcommon\cruise_data\2022-068\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgcln2 –after CLEAN run on MRG files

*.mrgcor1 – after recalibration of DO

*.mrgrem – after removal of unneeded channels

*.mrgreo – just before final step running Head Edit

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

[osdcommon\cruise_data\2022-068\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.clip – after removing soak data from CLN

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.cor1 –after recalibration of SBE DO

*.ctd - final files

*.del – after DELETE

*.edt  - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log and *.lo& - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2022-068\PROCESSING\TSG] before conversion to IOS SHELL

2022-068-tsg.csv – RAW data opened in CSV

[osdcommon\cruise_data\2022-068\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding Julian time

*.cln – after adding positions and times to headers and time/date channels

*.cor1 – after recalibration

*.dqt2 – after recal & derivation of salinity and then Sigma-T

*.ios – after conversion to IOS HEADERS

*.rem – after removing fluorescence, pressure, T difference and record #

*.reo –TSG files after REORDER

*.tob – final files

tsg.txt – list of TOB files