File List for SeaBird Data          Cruise Number: _2022-075____

[osdcommon\cruise_data\2022-075\ARCHIVE]

[osdcommon\cruise_data\2022-075\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2022-075\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2022-075\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2022-075\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2022-075\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2022-075\PROCESSING]

[osdcommon\cruise_data\2022-075\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2022-075\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2022-075\PROCESSING\DOC]

2022-075-recal1.ccf – calibration control files

2022-075-recalsil.ccf – correction of silicate for sal < 25psu

2022-075-ctd.xmlcon –configuration file used in processing

2022-075_File.doc - this document

2022-075_Processing_Report.doc - processing notes

2022-075-ctd-final.rpt – CTD file header check including channel summary

2022-075-ctd-xref.lis – cross reference list of CTD files

2022-075-altimeter-ctd.xlsx – report on header entries for altimetry

2022-075-pressure-hysteresis.xlsx – pressure at end of upcast vs max. sampling depth

2022-075-hdr-merge.csv – station names for addition to headers

Clip.csv -# of soak records to be removed

*hdr.txt – header files with comments for CTD files

[osdcommon\cruise_data\2022-075\PROCESSING\DOC\hydro]

2022-075chl.csv – extracted CHL data, simplified from analyst’s s/s

2022-075oxy.csv – dissolved oxygen data, simplified from analyst’s s/s

2022-075nuts.csv – nutrient data, simplified from analyst’s s/s

2022-075sal.csv – salinity data, simplified from analyst’s s/s

2022-075-dox-comp1.csv & .xls – initial comparison of titrated DO & CTD DO

2022-075-dox-comp2.csv & .xls –comparison of titrated DO & CTD DO after initial recal

2022-075-dox-comp3.csv & .xls – comparison of titrated DO & downcast CTD DO

2022-075-sal-comp1.csv & xls –initial comparison of rosette bottle and CTD salinity

2022-075-sal-comp2.csv & xls –post-recal comparison of rosette bottle and CTD salinity

2022-075-fl-chl-comp1.csv & xls – comparison of extracted CHL and CTD Fluorescence

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2022-075-bottles-final.xslx – summary of bottle data in CHE files

2022-075-che-final.rpt – final header check of bottle files

2022-075-che-xref.lis – cross-reference listing of bottle files

Samples-from-analysts.csv – summary of sampling

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2022-075\PROCESSING\DOC\Files-with-FLUOR]

*.che-FL -

*.ctd-FL

*.mrglcn3 & mrgremFL – corrections to file #15 after removing test firing data.

*.txt – files to add header comments to above files

[osdcommon\cruise_data\2022-075\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*bota & botb – split cast before join

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl - chlorophyll files converted from simplified version of analyst’s spreadsheet

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgcln2 – mrg with header limits updated, 0 flags added.

*.mrgcor1 – after recal of Fluorescence and dissolved oxygen

*.mrgcorsil – after recal of Silicate for salinity<25

*.mrgrem – after removal of unwanted channels

*.mrgreo – after REORDER of DO channels – just before final step

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

*.sam2 – SAM files file station names added.

*.samavg – SAM2 files binned on bottle #

[osdcommon\cruise_data\2022-075\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.clip1 – after removing soak data

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.cor1 -after recalibration of DO

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.mrh – after addition of station names

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE