- File List for SeaBird Data          		Cruise Number: _2023-003____

Note files 9004, 9021, 9048 – Chito casts not prepared for archive but useful for bottle comparison

[osdcommon\Cruise_Data_Processing\2023-003\ARCHIVE]

[osdcommon\Cruise_Data_Processing\2023-003\ARCHIVE\Bottle] *.BOT

[osdcommon\Cruise_Data_Processing\2023-003\ARCHIVE\CTD] *.CTD

[osdcommon\Cruise_Data_Processing\2023-003\ARCHIVE\DOC] general documents

[osdcommon\Cruise_Data_Processing\2023-003\ARCHIVE\DOC\Hydro] documents re BOT files

[osdcommon\Cruise_Data_Processing\2023-003\ARCHIVE\LOGS]

[osdcommon\Cruise_Data_Processing\2023-003\PROCESSING]

[osdcommon\Cruise_Data_Processing\2023-003\PROCESSING\CONVERT] *.CNV – after conversion

[osdcommon\Cruise_Data_Processing\2023-003\PROCESSING\DERIVE]

*.CNV – after conversion, filter, wfilter, align, celltm, derive

[osdcommon\Cruise_Data_Processing\2023-003\PROCESSING\DOC]

2023-003_Processing_Report.doc - processing notes

- 2023-003_File.doc - this document

- 2023-003-ctd.xmlcon – configuration file used in conversion

- 2023-003-ctd-final.rpt – CTD file header check including channel summary

- 2023-003-ctd_xref.txt – cross-reference list of casts

- 2023-003-hdr.txt –header file with comments for CTD files

- Clip.csv - # of initial records removed from each cast.

- Surface.rpt – surface report before CLIP (test of offset adjustment in pressure configuration)

- CTD456_vs_Bottles.xlsx – Comparison of CTD salinity and bottles from 4 cruises

- CTD456_vs_CTD1255.xlsx – Comparison of 2 CTDs from cruise 2023-022

- Study of CTD456.docx – study of CTD performance during multiple cruises

[osdcommon\Cruise_Data_Processing\2023-003\PROCESSING\DOC\Hydro]

2023-003_Bottles_Plus_CTD_6linehdr.csv – bottle data + CTD data with 6-line header -pre SIL fix

2023-003-CTD-bottle-comparison.xlsx – CTD and bottle data and comparisons

2023-003-bottles-final.csv – export of BOT file contents

2023-003-bot_final.rpt – final header check of bottle files

2023-003-Bot_xref.txt – cross-reference listing of bottle files

- 2023-003-bot-hdr.txt – header file with comments for BOT files

- [osdcommon\Cruise_Data_Processing\2023-003\PROCESSING\hydro]

*.bot –Final files

*.cln – fixing headers and flag channels; removing empty channels

*.ios – files converted from spreadsheet

*.rem – after removing unnecessary channels (2nd last step)

*.reo – reorder channels

*.sat – after derivation of dissolved oxygen saturation – 5 casts only

*.unt- after derivation of DO in mass units

[osdcommon\Cruise_Data_Processing\2023-003\PROCESSING\IOS]

- *.av1 – after 0.5m average for use in comparisons to samples

- *.avg - data after metre-averaging using BINAVE (downcast)

- *.clip - after removing soak data

- *.cln - after fixing header errors

*.ctd - final files

*.del – after DELETE

*.edt & *.log – output from graphical editing

*.ios - data after conversion to IOS HEADERS

*.rem – after REMOVE

Delete.log - log from routine DELETE