File List for SeaBird Data          Cruise Number: _2023-009____

[osdcommon\cruise_data\2023-009\ARCHIVE]

[osdcommon\cruise_data\2023-009\ARCHIVE\BOTTLE] *.CHE

[osdcommon\cruise_data\2023-009\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2023-009\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2023-009\ARCHIVE\DOC\HYDRO] Files from bottle comparisons & summaries

[osdcommon\cruise_data\2023-009\ARCHIVE\LOGS] scanned logs

---------------------------------------------------------------------------------------------------------------------------------

[osdcommon\cruise_data\2023-009\PROCESSING]

[osdcommon\cruise_data\2023-009\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2023-009\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2023-009\PROCESSING\DOC]

2023-009-ctd.xmlcon – configuration file used in processing

2023-009_File.doc - this document

2023-009_Processing_Report.doc - processing notes

2023-009-ctd-final.rpt – CTD file header check including channel summary

2023-009-ctd-xref.lis – cross reference list of CTD files –both CTDs

2023-009-altimeter-ctd.xls – study of altimetry / water depths

2023-009-recal1.ccf – calibration control file

2023-009-ctd-post.xmlcon – same as 2023-009-recal1.ccf EXCEPT DO cals from March 2024

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2023-009\PROCESSING\DOC\HYDRO]

2023-009chl.csv – extracted CH data, simplified from analyst’s s/s

2023-009sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2023-009nuts.csv – nutrient data , simplified from analyst’s s/s

2023-009oxy.csv – dissolved oxygen data, simplified from analyst’s s/s

2023-009-sal-comp1.csv & xls –initial comparison of rosette bottle and CTD salinity

2023-009-sal-comp2.csv & xls –comparison of bottle and CTD salinity after recal.

2023-009-DO-comp1.csv & xls –initial comparison of bottle and CTD DO

2023-009-DO-comp2.csv & xls –comparison of rosette bottle and CTD DO after recalibration

2023-009-DO-comp3.csv & xls –comparison of rosette bottle and CTD DO downcast data

2023-009-fl-chl-comp1.csv & xls – comparison of extracted CHL and CTD Fluorescence

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2023-009-che-final.rpt – final header check of CHE files

2023-009-che-xref.lis – cross-reference listing of bottle files

2023-009-bottles-final.xlsx – spreadsheet with contents of CHE files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2023-009\PROCESSING\HYDRO]

*.bot – converted bottle files with event #s

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – files converted from extracted CHL QF S/S

*.mrg – after addition of bottle data to BOT files

*.mrgcln2 – after addition of 0 flags

*.mrgcor1 – after correction of DO

*.mrgox1 & mrgox2 – after adding mass units DO to SBE DO and Sample DO

*.mrgrem – last step before Change Units for DO

*.mrgreo – just before final head edits – use if need to adjust comments/formats

*.nut- files converted from nutrient QF S/S

*.oxy- files converted from dissolved oxygen QF S/S

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – files converted from salinity QF spreadsheet

*.sam – bottle files with sample numbers added

*.samcor1 – sam files after recalibration

Hydro.txt – list of bottle files

[osdcommon\cruise_data\2023-009\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.cor1 – after recalibration of DO

*.ctd - final files

*.del – after DELETE

*.delpred – predictions received from Lee Croft

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE