## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6.1 | Run at 2024/07/18 14:05:18 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | OXY_BOT | OXY_SBE |  | OXY_SBE - OXY_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | OXY_BOT | OXY_SBE | OXY_SBE | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2023-009-0033.mrgcor1 | 2023-009-0033.thn1 | 1 | 218.751 | 218.826 | 0 | 0.074997 | 2.449 | 2.445 | 0 | -0.004
2023-009-0033.mrgcor1 | 2023-009-0033.thn1 | 2 | 150.495 | 149.509 | 0.69933 | -0.9855 | 2.481 | 2.497 | 0.0014141 | 0.016
2023-009-0033.mrgcor1 | 2023-009-0033.thn1 | 2 | 100.482 | 100.504 | 0.70711 | 0.021996 | 2.476 | 2.533 | 0.0056568 | 0.057
2023-009-0033.mrgcor1 | 2023-009-0033.thn1 | 2 | 50.35 | 49.5035 | 0.70216 | -0.8465 | 4.759 | 5.0175 | 0.16193 | 0.2585
2023-009-0033.mrgcor1 | 2023-009-0033.thn1 | 2 | 25.439 | 24.5005 | 0.71771 | -0.9385 | 5.733 | 5.684 | 0.022627 | -0.049
2023-009-0033.mrgcor1 | 2023-009-0033.thn1 | 1 | 10.657 | 11 | 0 | 0.343 | 5.805 | 5.79 | 0 | -0.015
2023-009-0033.mrgcor1 | 2023-009-0033.thn1 | 2 | 4.726 | 4.0005 | 1.422 | -0.7255 | 5.842 | 5.778 | 0.0028286 | -0.064
2023-009-0033.mrgcor1 | 2023-009-0033.thn1 | 2 | 1.506 | 2.4965 | 0.70498 | 0.9905 | 5.839 | 5.784 | 0.0056568 | -0.055
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 1 | 1306.26 | 1305.96 | 0 | -0.29797 | 0.393 | 0.396 | 0 | 0.003
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 1 | 999.901 | 999.987 | 0 | 0.085999 | 0.241 | 0.265 | 0 | 0.024
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 1 | 751.38 | 750.992 | 0 | -0.388 | 0.344 | 0.371 | 0 | 0.027
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 1 | 502.145 | 501.805 | 0 | -0.34 | 1.01 | 1.051 | 0 | 0.041
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 1 | 401.94 | 401.996 | 0 | 0.056 | 1.529 | 1.539 | 0 | 0.01
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 1 | 301.483 | 301.54 | 0 | 0.057007 | 1.694 | 1.721 | 0 | 0.027
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 0 | 249.749 | 0 | 0 | -249.749 | 1.638 | 0 | 0 | -1.638
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 1 | 200.415 | 199.993 | 0 | -0.422 | 1.735 | 1.777 | 0 | 0.042
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 2 | 149.404 | 149.499 | 0.71347 | 0.09549 | 1.826 | 1.8515 | 0.0063639 | 0.0255
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 2 | 101.133 | 100.509 | 0.69862 | -0.624 | 1.914 | 1.9155 | 0.0021213 | 0.0015
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 1 | 75.245 | 74.993 | 0 | -0.25201 | 3.2 | 3.345 | 0 | 0.145
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 2 | 49.418 | 49.5005 | 0.72196 | 0.082504 | 3.997 | 3.6035 | 0.068589 | -0.3935
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 2 | 24.278 | 24.4945 | 0.7163 | 0.2165 | 5.308 | 5.404 | 0.046669 | 0.096
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 1 | 10.955 | 11.019 | 0 | 0.064 | 5.962 | 5.866 | 0 | -0.096
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 2 | 5.351 | 4.6145 | 0.56356 | -0.7365 | 5.985 | 5.9205 | 0.0049497 | -0.0645
2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 1 | 2.695 | 4.216 | 0 | 1.521 | 5.992 | 5.924 | 0 | -0.068
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 2
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2023-009-0033.mrgcor1 | 2023-009-0033.thn1 | 11 | 18 | 2023-009-0033.mrgcor1 & 2023-009-0033.thn1
2 | 2023-009-0051.mrgcor1 | 2023-009-0051.thn1 | 20 | 35 | 2023-009-0051.mrgcor1 & 2023-009-0051.thn1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (OXY_SBE - OXY_BOT) | OXY_SBE | 2
2 | (OXY_SBE - OXY_BOT) | Pressure | 2

## Fit_1
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.35668 |  | X | CALC Y
m= | -0.011292 | 0.0045723 |  | Std Dev of Resid |  | 0.022172 |  | 0.265 | 0.034894
b= | 0.037886 | 0.010457 |  | Resid Sum of Squares |  | 0.0054074 |  | 5.684 | -0.026296
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 218.826 | 2.445 | 0 | -0.004 | 0.010278 | 0.014278 |  | 2.445 | -0.004
1 | YES | 149.509 | 2.497 | 0.0014141 | 0.016 | 0.0096908 | -0.0063092 |  | 2.497 | 0.016
1 | YES | 100.504 | 2.533 | 0.0056568 | 0.057 | 0.0092843 | -0.047716 |  | 2.533 | 0.057
1 | NO | 49.5035 | 5.0175 | 0.16193 | 0.2585 | -0.01877 | -0.27727 |  | 5.684 | -0.049
1 | YES | 24.5005 | 5.684 | 0.022627 | -0.049 | -0.026296 | 0.022704 |  | 0.396 | 0.003
1 | NO | 11 | 5.79 | 0 | -0.015 | -0.027493 | -0.012493 |  | 0.265 | 0.024
1 | NO | 4.0005 | 5.778 | 0.0028286 | -0.064 | -0.027357 | 0.036643 |  | 0.371 | 0.027
1 | NO | 2.4965 | 5.784 | 0.0056568 | -0.055 | -0.027425 | 0.027575 |  | 1.051 | 0.041
2 | YES | 1305.96 | 0.396 | 0 | 0.003 | 0.033415 | 0.030415 |  | 1.539 | 0.01
2 | YES | 999.987 | 0.265 | 0 | 0.024 | 0.034894 | 0.010894 |  | 1.721 | 0.027
2 | YES | 750.992 | 0.371 | 0 | 0.027 | 0.033697 | 0.0066969 |  | 1.777 | 0.042
2 | YES | 501.805 | 1.051 | 0 | 0.041 | 0.026019 | -0.014981 |  | 1.8515 | 0.0255
2 | YES | 401.996 | 1.539 | 0 | 0.01 | 0.020508 | 0.010508 |  | 1.9155 | 0.0015
2 | YES | 301.54 | 1.721 | 0 | 0.027 | 0.018453 | -0.0085468 |  |  |  | 0.017 | 0.026466
2 | NO | 0 | 0 | 0 | -1.638 | 0.037886 | 1.6759
2 | YES | 199.993 | 1.777 | 0 | 0.042 | 0.017821 | -0.024179
2 | YES | 149.499 | 1.8515 | 0.0063639 | 0.0255 | 0.01698 | -0.0085205
2 | YES | 100.509 | 1.9155 | 0.0021213 | 0.0015 | 0.016257 | 0.014757
2 | NO | 74.993 | 3.345 | 0 | 0.145 | 0.00011548 | -0.14488
2 | NO | 49.5005 | 3.6035 | 0.068589 | -0.3935 | -0.0028034 | 0.3907
2 | NO | 24.4945 | 5.404 | 0.046669 | 0.096 | -0.023134 | -0.11913
2 | NO | 11.019 | 5.866 | 0 | -0.096 | -0.028351 | 0.067649
2 | NO | 4.6145 | 5.9205 | 0.0049497 | -0.0645 | -0.028966 | 0.035534
2 | NO | 4.216 | 5.924 | 0 | -0.068 | -0.029006 | 0.038995
YES
YES
YES
NO
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0075893 |  | X | CALC Y
m= | 5.8837e-06 | 2.0286e-05 |  | Std Dev of Resid |  | 0.027538 |  | 24.5005 | 0.014788
b= | 0.014644 | 0.01115 |  | Resid Sum of Squares |  | 0.0083417 |  | 1305.96 | 0.022328
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 218.826 | 2.445 | 0 | -0.004 | 0.015931 | 0.019931 |  | 218.826 | -0.004
1 | YES | 149.509 | 2.497 | 0.0014141 | 0.016 | 0.015524 | -0.00047635 |  | 149.509 | 0.016
1 | YES | 100.504 | 2.533 | 0.0056568 | 0.057 | 0.015235 | -0.041765 |  | 100.504 | 0.057
1 | NO | 49.5035 | 5.0175 | 0.16193 | 0.2585 | 0.014935 | -0.24356 |  | 24.5005 | -0.049
1 | YES | 24.5005 | 5.684 | 0.022627 | -0.049 | 0.014788 | 0.063788 |  | 1305.96 | 0.003
1 | NO | 11 | 5.79 | 0 | -0.015 | 0.014709 | 0.029709 |  | 999.987 | 0.024
1 | NO | 4.0005 | 5.778 | 0.0028286 | -0.064 | 0.014668 | 0.078668 |  | 750.992 | 0.027
1 | NO | 2.4965 | 5.784 | 0.0056568 | -0.055 | 0.014659 | 0.069658 |  | 501.805 | 0.041
2 | YES | 1305.96 | 0.396 | 0 | 0.003 | 0.022328 | 0.019328 |  | 401.996 | 0.01
2 | YES | 999.987 | 0.265 | 0 | 0.024 | 0.020528 | -0.0034724 |  | 301.54 | 0.027
2 | YES | 750.992 | 0.371 | 0 | 0.027 | 0.019063 | -0.0079374 |  | 199.993 | 0.042
2 | YES | 501.805 | 1.051 | 0 | 0.041 | 0.017596 | -0.023404 |  | 149.499 | 0.0255
2 | YES | 401.996 | 1.539 | 0 | 0.01 | 0.017009 | 0.0070092 |  | 100.509 | 0.0015
2 | YES | 301.54 | 1.721 | 0 | 0.027 | 0.016418 | -0.010582
2 | NO | 0 | 0 | 0 | -1.638 | 0.014644 | 1.6526
2 | YES | 199.993 | 1.777 | 0 | 0.042 | 0.015821 | -0.026179
2 | YES | 149.499 | 1.8515 | 0.0063639 | 0.0255 | 0.015524 | -0.0099765
2 | YES | 100.509 | 1.9155 | 0.0021213 | 0.0015 | 0.015235 | 0.013735
2 | NO | 74.993 | 3.345 | 0 | 0.145 | 0.015085 | -0.12991
2 | NO | 49.5005 | 3.6035 | 0.068589 | -0.3935 | 0.014935 | 0.40844
2 | NO | 24.4945 | 5.404 | 0.046669 | 0.096 | 0.014788 | -0.081212
2 | NO | 11.019 | 5.866 | 0 | -0.096 | 0.014709 | 0.11071
2 | NO | 4.6145 | 5.9205 | 0.0049497 | -0.0645 | 0.014671 | 0.079171
2 | NO | 4.216 | 5.924 | 0 | -0.068 | 0.014669 | 0.082669
YES
YES
YES
NO
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE