## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2023/11/16 15:56:25 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Salinity_Bottle | Salinity_T0_C0 |  | Salinity_T0_C0 - Salinity_Bottle
Comp 2 | Salinity_Bottle | Salinity_T1_C1 |  | Salinity_T1_C1 - Salinity_Bottle
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Salinity_Bottle | Salinity_T0_C0 | Salinity_T0_C0 | (S-P) | Salinity_Bottle | Salinity_T1_C1 | Salinity_T1_C1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2023-019-0003.mrg | 2023-019-0003.sam | 281 | 4.591 | 4.761 | 0.10314 | 0.16995 | 31.1943 | 31.2496 | 0.034612 | 0.055334 | 31.1943 | 31.2349 | 0.037008 | 0.040586
2023-019-0023.mrg | 2023-019-0023.sam | 582 | 4.998 | 4.9839 | 0.09619 | -0.014065 | 30.8553 | 30.7738 | 0.00045085 | -0.081545 | 30.8553 | 30.7719 | 0.00045155 | -0.083359
2023-019-0031.mrg | 2023-019-0031.sam | 241 | 1001.19 | 1001.19 | 0.12174 | 0.00024414 | 34.3575 | 34.3598 | 0.00021164 | 0.0023079 | 34.3575 | 34.3565 | 0.00026178 | -0.00095367
2023-019-0031.mrg | 2023-019-0031.sam | 241 | 750.313 | 750.313 | 0.12493 | -0.00012207 | 34.2626 | 34.2634 | 0.0014269 | 0.00078201 | 34.2626 | 34.2607 | 0.00074595 | -0.0019341
2023-019-0031.mrg | 2023-019-0031.sam | 241 | 500.334 | 500.334 | 0.37213 | -0.00036621 | 34.0872 | 34.0873 | 0.00022162 | 8.0109e-05 | 34.0872 | 34.0846 | 0.00032446 | -0.0025902
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 1465.44 | 1465.44 | 0.19388 | 0.00024414 | 34.5026 | 34.4951 | 0.00025427 | -0.0074615 | 34.5026 | 34.5031 | 0.00030356 | 0.00046539
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 1249.71 | 1249.72 | 0.17192 | 0.00048828 | 34.4409 | 34.4434 | 0.00025938 | 0.0024757 | 34.4409 | 34.4409 | 0.0003045 | 2.6703e-05
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 999.606 | 999.606 | 0.16717 | -0.00048828 | 34.3719 | 34.375 | 0.00021825 | 0.0030899 | 34.3719 | 34.3728 | 0.00027019 | 0.00093079
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 750.311 | 750.311 | 0.29073 | 0.00018311 | 34.266 | 34.2688 | 0.00023852 | 0.0027542 | 34.266 | 34.2667 | 0.00046486 | 0.00067902
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 500.522 | 500.522 | 0.16728 | -0.00042725 | 34.0942 | 34.0963 | 0.00053376 | 0.0021286 | 34.0942 | 34.0943 | 0.00045893 | 6.8665e-05
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 300.319 | 300.319 | 0.19585 | 0.00012207 | 33.9982 | 34.0007 | 0.00058701 | 0.0024643 | 33.9982 | 33.999 | 0.00057324 | 0.0007782
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 250.587 | 250.587 | 0.20025 | -0.00041199 | 33.9712 | 33.9729 | 0.00022627 | 0.0016937 | 33.9712 | 33.9711 | 0.00022502 | -7.2479e-05
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 200.779 | 200.779 | 0.27488 | -0.00050354 | 33.9419 | 33.943 | 0.00027138 | 0.0011101 | 33.9419 | 33.9412 | 0.00027986 | -0.00074768
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 175.274 | 175.274 | 0.2338 | 0.00019836 | 33.9232 | 33.9249 | 0.0002774 | 0.0016632 | 33.9232 | 33.9229 | 0.00030001 | -0.00034332
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 149.874 | 149.874 | 0.16068 | -7.6294e-05 | 33.8915 | 33.8946 | 0.00056271 | 0.0030823 | 33.8915 | 33.8925 | 0.00044458 | 0.0010109
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 124.842 | 124.842 | 0.15804 | -0.00022888 | 33.8191 | 33.8185 | 0.0014663 | -0.00062561 | 33.8191 | 33.8163 | 0.0014096 | -0.0027847
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 99.961 | 99.9608 | 0.26905 | -0.00023651 | 33.5139 | 33.5185 | 0.0028179 | 0.0046387 | 33.5139 | 33.5169 | 0.0027077 | 0.0029831
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 75.039 | 75.039 | 0.050549 | 4.5776e-05 | 32.813 | 32.8255 | 0.0032005 | 0.01247 | 32.813 | 32.8229 | 0.0042297 | 0.0099373
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 50.358 | 50.3575 | 0.22365 | -0.00048065 | 32.1336 | 32.2092 | 0.0037009 | 0.075615 | 32.1336 | 32.208 | 0.0025736 | 0.074429
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 29.849 | 29.8492 | 0.14072 | 0.00020599 | 31.5959 | 31.5977 | 0.006459 | 0.0017662 | 31.5959 | 31.59 | 0.0033767 | -0.0059128
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 19.957 | 19.9568 | 0.092379 | -0.00015449 | 31.2866 | 31.2142 | 0.016054 | -0.072369 | 31.2866 | 31.2204 | 0.019077 | -0.066217
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 10.065 | 10.0648 | 0.068718 | -0.00017357 | 30.93 | 31.012 | 0.0070582 | 0.082014 | 30.93 | 31.0078 | 0.0046673 | 0.077829
2023-019-0039.mrg | 2023-019-0039.sam | 241 | 5.108 | 5.108 | 0.069266 | -3.7193e-05 | 30.4811 | 30.473 | 0.0020981 | -0.0081158 | 30.4811 | 30.4711 | 0.0022446 | -0.010044
2023-019-0046.mrg | 2023-019-0046.sam | 431 | 5.309 | 5.2363 | 0.12311 | -0.072687 | 30.9462 | 30.9949 | 0.019461 | 0.048706 | 30.9462 | 30.9939 | 0.02005 | 0.047707
2023-019-0056.mrg | 2023-019-0056.sam | 349 | 4.977 | 5.0395 | 0.14886 | 0.062496 | 30.6231 | 30.534 | 0.058127 | -0.08913 | 30.6231 | 30.5293 | 0.066935 | -0.093756
2023-019-0065.mrg | 2023-019-0065.sam | 241 | 5.508 | 5.5076 | 0.14385 | -0.00036097 | 31.0784 | 31.0761 | 0.0011699 | -0.0023251 | 31.0784 | 31.0746 | 0.0013198 | -0.0037575
2023-019-0067.mrg | 2023-019-0067.sam | 241 | 749.515 | 749.515 | 0.13381 | -0.00036621 | 34.2227 | 34.2251 | 0.00035171 | 0.0024185 | 34.2227 | 34.2215 | 0.00054514 | -0.0011635
2023-019-0067.mrg | 2023-019-0067.sam | 241 | 501.031 | 501.031 | 0.14786 | -0.00027466 | 34.0952 | 34.098 | 0.00022861 | 0.0027885 | 34.0952 | 34.0951 | 0.00024082 | -0.00012207
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 1500.16 | 1500.15 | 0.25338 | -0.00048828 | 34.5119 | 34.5135 | 0.00021975 | 0.0015984 | 34.5119 | 34.5111 | 0.00024198 | -0.0007782
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 1249.58 | 1249.58 | 0.47523 | 0.00024414 | 34.452 | 34.4553 | 0.00023775 | 0.0032577 | 34.452 | 34.4531 | 0.00030569 | 0.0010834
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 999.902 | 999.902 | 0.26182 | 0.00048828 | 34.3767 | 34.3794 | 0.00024898 | 0.0027199 | 34.3767 | 34.3773 | 0.00024661 | 0.00061035
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 749.775 | 749.775 | 0.54731 | 0.00024414 | 34.2687 | 34.2705 | 0.0002063 | 0.0017891 | 34.2687 | 34.2685 | 0.00031856 | -0.00016403
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 499.665 | 499.665 | 0.39707 | 3.0518e-05 | 34.102 | 34.1038 | 0.00037164 | 0.0017624 | 34.102 | 34.1021 | 0.00034364 | 5.722e-05
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 399.798 | 399.798 | 0.31188 | 0.00024414 | 34.0506 | 34.0532 | 0.00027646 | 0.0026512 | 34.0506 | 34.0518 | 0.00035933 | 0.0011673
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 299.841 | 299.841 | 0.49297 | 0.00030518 | 33.9861 | 33.9889 | 0.00047491 | 0.0027542 | 33.9861 | 33.9873 | 0.00041838 | 0.0012436
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 249.963 | 249.963 | 0.28561 | -0.00041199 | 33.96 | 33.9594 | 0.00026826 | -0.00064087 | 33.96 | 33.9579 | 0.0003444 | -0.0021439
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 200.619 | 200.619 | 0.3508 | 0.00045776 | 33.9251 | 33.9253 | 0.00042793 | 0.0002327 | 33.9251 | 33.9238 | 0.00036152 | -0.0013199
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 175.832 | 175.832 | 0.1329 | 0.00045776 | 33.8996 | 33.9015 | 0.00036519 | 0.0019417 | 33.8996 | 33.9002 | 0.00051136 | 0.00060272
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 150.501 | 150.501 | 0.26943 | -0.00019836 | 33.8482 | 33.849 | 0.00025534 | 0.00077438 | 33.8482 | 33.8475 | 0.00030945 | -0.0007019
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 125.23 | 125.23 | 0.18848 | 0.0004425 | 33.7408 | 33.744 | 0.00044068 | 0.0032234 | 33.7408 | 33.7425 | 0.00039853 | 0.0016708
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 99.635 | 99.6354 | 0.14217 | 0.00040436 | 33.4282 | 33.4344 | 0.0017609 | 0.0061607 | 33.4282 | 33.4331 | 0.0016363 | 0.0048828
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 74.889 | 74.8889 | 0.1769 | -0.00013733 | 32.5489 | 32.5684 | 0.0030662 | 0.019482 | 32.5489 | 32.5683 | 0.0026847 | 0.019386
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 50.838 | 50.8379 | 0.31514 | -8.3923e-05 | 32.2482 | 32.2504 | 0.00040319 | 0.0022469 | 32.2482 | 32.2485 | 0.00048448 | 0.00028229
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 30.714 | 30.7139 | 0.18475 | -9.1553e-05 | 32.1943 | 32.1974 | 0.00088558 | 0.0031433 | 32.1943 | 32.1954 | 0.0010106 | 0.0011101
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 19.989 | 19.9893 | 0.091063 | 0.00030708 | 32.1719 | 32.1736 | 0.00050022 | 0.0016708 | 32.1719 | 32.172 | 0.00057372 | 0.00010681
2023-019-0071.mrg | 2023-019-0071.sam | 241 | 10.6 | 10.6 | 0.20546 | -3.3379e-05 | 31.1349 | 31.1102 | 0.008136 | -0.024653 | 31.1349 | 31.1054 | 0.0076187 | -0.029495
2023-019-0071.mrg | 2023-019-0071.sam | 289 | 4.718 | 4.6509 | 0.17456 | -0.067121 | 31.1107 | 31.1049 | 0.0013484 | -0.0057678 | 31.1107 | 31.1033 | 0.0015132 | -0.00741
2023-019-0080.mrg | 2023-019-0080.sam | 241 | 751.01 | 751.01 | 0.34474 | -0.00048828 | 34.2599 | 34.263 | 0.0002782 | 0.0030632 | 34.2599 | 34.2605 | 0.00051377 | 0.00064468
2023-019-0080.mrg | 2023-019-0080.sam | 1195 | 5.473 | 5.5557 | 0.18437 | 0.08271 | 31.4612 | 31.479 | 0.039487 | 0.017839 | 31.4612 | 31.4742 | 0.033086 | 0.013048
2023-019-0092.mrg | 2023-019-0092.sam | 180 | 2001.13 | 2001.18 | 0.55088 | 0.042725 | 34.5908 | 34.5933 | 0.00031984 | 0.0025253 | 34.5908 | 34.5911 | 0.00035852 | 0.00033569
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 1500.73 | 1500.73 | 0.31687 | 0 | 34.5039 | 34.5062 | 0.00026201 | 0.0023308 | 34.5039 | 34.5042 | 0.00029129 | 0.00030136
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 1250.79 | 1250.79 | 0.37479 | -0.00012207 | 34.4481 | 34.4508 | 0.00023839 | 0.002697 | 34.4481 | 34.4489 | 0.00030669 | 0.00075531
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 1000.7 | 1000.7 | 0.16447 | 0.00012207 | 34.3744 | 34.3755 | 0.00022359 | 0.0011482 | 34.3744 | 34.3737 | 0.00027076 | -0.0006752
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 749.056 | 749.056 | 0.39045 | 0 | 34.2563 | 34.2582 | 0.00059338 | 0.0019264 | 34.2563 | 34.2567 | 0.00058468 | 0.00040817
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 501.026 | 501.026 | 0.50781 | 0.00045776 | 34.0971 | 34.1001 | 0.0013647 | 0.0030251 | 34.0971 | 34.0985 | 0.00084834 | 0.0013847
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 400.995 | 400.995 | 0.42378 | -3.0518e-05 | 34.0345 | 34.0374 | 0.00066356 | 0.0029068 | 34.0345 | 34.0359 | 0.00062377 | 0.0013733
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 300.557 | 300.557 | 0.22441 | -6.1035e-05 | 33.9889 | 33.9909 | 0.00024239 | 0.002037 | 33.9889 | 33.9894 | 0.00030516 | 0.00051117
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 250.792 | 250.792 | 0.2777 | 0.00038147 | 33.9656 | 33.9661 | 0.00043776 | 0.00048447 | 33.9656 | 33.9643 | 0.00042455 | -0.0013199
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 200.317 | 200.317 | 0.24271 | 1.5259e-05 | 33.8936 | 33.8947 | 0.00025733 | 0.0011215 | 33.8936 | 33.8927 | 0.00026841 | -0.00093079
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 175.101 | 175.101 | 0.2768 | 0 | 33.8841 | 33.8849 | 0.00046667 | 0.00082779 | 33.8841 | 33.883 | 0.00042515 | -0.0011368
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 150.616 | 150.616 | 0.13717 | -0.00047302 | 33.8859 | 33.8887 | 0.00033347 | 0.0027733 | 33.8859 | 33.8868 | 0.00027534 | 0.00086975
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 124.726 | 124.726 | 0.24047 | 0.00011444 | 33.8427 | 33.8459 | 0.00047086 | 0.0031776 | 33.8427 | 33.844 | 0.00057514 | 0.0013123
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 100.746 | 100.746 | 0.42321 | 0.00019074 | 33.6923 | 33.6988 | 0.0012985 | 0.006485 | 33.6923 | 33.697 | 0.0015514 | 0.0046616
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 74.794 | 74.7942 | 0.26787 | 0.00016785 | 33.3881 | 33.3914 | 0.00046803 | 0.0032577 | 33.3881 | 33.3891 | 0.00054369 | 0.0010414
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 50.503 | 50.5027 | 0.27957 | -0.00032043 | 32.5437 | 32.5199 | 0.001083 | -0.023796 | 32.5437 | 32.5173 | 0.0010804 | -0.026375
2023-019-0092.mrg | 2023-019-0092.sam | 241 | 30.479 | 30.4791 | 0.13729 | 0.00014114 | 32.3148 | 32.3154 | 0.0003688 | 0.00059891 | 32.3148 | 32.3132 | 0.00056702 | -0.0015526
2023-019-0092.mrg | 2023-019-0092.sam | 459 | 20.548 | 20.525 | 0.20265 | -0.023024 | 32.0724 | 32.1399 | 0.034985 | 0.067524 | 32.0724 | 32.1439 | 0.038575 | 0.071545
2023-019-0092.mrg | 2023-019-0092.sam | 418 | 10.435 | 10.4371 | 0.1272 | 0.0020685 | 31.8332 | 31.829 | 0.0025041 | -0.00424 | 31.8332 | 31.8283 | 0.0017399 | -0.0049191
2023-019-0092.mrg | 2023-019-0092.sam | 609 | 5.03 | 5.0198 | 0.19123 | -0.010174 | 31.8084 | 31.8051 | 0.0015944 | -0.0033398 | 31.8084 | 31.8034 | 0.001554 | -0.0050221
2023-019-0095.mrg | 2023-019-0095.sam | 241 | 1250.85 | 1250.85 | 0.4186 | 0 | 34.4199 | 34.4207 | 0.00038077 | 0.00082398 | 34.4199 | 34.4176 | 0.00045717 | -0.0023079
2023-019-0095.mrg | 2023-019-0095.sam | 241 | 1000.76 | 1000.76 | 0.36851 | -0.00042725 | 34.329 | 34.3322 | 0.00020673 | 0.0032425 | 34.329 | 34.3298 | 0.00026077 | 0.00082016
2023-019-0098.mrg | 2023-019-0098.sam | 241 | 149.967 | 149.967 | 0.21123 | 0.00019836 | 33.9259 | 33.9302 | 0.0002886 | 0.004303 | 33.9259 | 33.9266 | 0.00027137 | 0.00074387
2023-019-0108.mrg | 2023-019-0108.sam | 195 | 2001.75 | 2001.86 | 0.61651 | 0.11243 | 34.5854 | 34.5881 | 0.00028115 | 0.0027389 | 34.5854 | 34.5863 | 0.00027135 | 0.00087738
2023-019-0108.mrg | 2023-019-0108.sam | 203 | 1498.98 | 1499.2 | 0.57605 | 0.22412 | 34.5082 | 34.5124 | 0.00030266 | 0.0041847 | 34.5082 | 34.5106 | 0.00027704 | 0.0023689
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 1250.9 | 1250.89 | 0.29128 | -0.00024414 | 34.4445 | 34.448 | 0.00025734 | 0.0034523 | 34.4445 | 34.4461 | 0.00028048 | 0.0016289
2023-019-0108.mrg | 2023-019-0108.sam | 240 | 999.197 | 999.201 | 0.46547 | 0.0043945 | 34.3718 | 34.3743 | 0.00031092 | 0.002491 | 34.3718 | 34.3725 | 0.00031479 | 0.00069046
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 749.607 | 749.607 | 0.57548 | 0 | 34.2504 | 34.2534 | 0.00023339 | 0.0029564 | 34.2504 | 34.2517 | 0.00028102 | 0.0012894
2023-019-0108.mrg | 2023-019-0108.sam | 223 | 499.293 | 499.297 | 0.60957 | 0.0041809 | 34.104 | 34.1054 | 0.00027743 | 0.0013618 | 34.104 | 34.1039 | 0.00060083 | -8.7738e-05
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 398.582 | 398.582 | 0.40933 | -0.00024414 | 34.0564 | 34.0602 | 0.00028126 | 0.0038223 | 34.0564 | 34.0589 | 0.00030605 | 0.002533
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 300.455 | 300.455 | 0.37759 | 0.00048828 | 34.0038 | 34.0069 | 0.00080167 | 0.0031242 | 34.0038 | 34.0057 | 0.00081036 | 0.0018959
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 250.011 | 250.011 | 0.42488 | 0.00027466 | 33.9664 | 33.9708 | 0.00036158 | 0.0043678 | 33.9664 | 33.9695 | 0.00030287 | 0.0030861
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 199.675 | 199.675 | 0.19867 | 0.00027466 | 33.9075 | 33.9107 | 0.00071383 | 0.0032387 | 33.9075 | 33.9095 | 0.00065388 | 0.0019684
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 175.048 | 175.048 | 0.30118 | -0.00048828 | 33.8898 | 33.8911 | 0.00033482 | 0.0012588 | 33.8898 | 33.8895 | 0.0003049 | -0.00032043
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 149.96 | 149.96 | 0.31612 | -0.00021362 | 33.8515 | 33.8563 | 0.00055482 | 0.0048408 | 33.8515 | 33.8549 | 0.00048326 | 0.0033913
2023-019-0108.mrg | 2023-019-0108.sam | 179 | 124.64 | 124.517 | 0.53724 | -0.12344 | 33.7467 | 33.7484 | 0.00070227 | 0.0017319 | 33.7467 | 33.7472 | 0.00071207 | 0.00054932
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 100.568 | 100.568 | 0.3754 | -3.8147e-05 | 33.4113 | 33.4208 | 0.0015052 | 0.0095406 | 33.4113 | 33.4186 | 0.0017265 | 0.0073051
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 75.614 | 75.6136 | 0.45496 | -0.00038147 | 32.7959 | 32.8065 | 0.0037491 | 0.010586 | 32.7959 | 32.8047 | 0.003977 | 0.0088272
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 50.243 | 50.2432 | 0.44269 | 0.00023651 | 32.3737 | 32.3778 | 0.0029498 | 0.0041161 | 32.3737 | 32.3755 | 0.0031459 | 0.0017548
2023-019-0108.mrg | 2023-019-0108.sam | 241 | 29.373 | 29.373 | 0.2343 | -4.0054e-05 | 32.2426 | 32.2448 | 0.00098054 | 0.0022354 | 32.2426 | 32.2432 | 0.0010095 | 0.00061035
2023-019-0108.mrg | 2023-019-0108.sam | 482 | 20.132 | 20.1273 | 0.34689 | -0.0047111 | 32.0724 | 32.079 | 0.0046635 | 0.0065765 | 32.0724 | 32.0769 | 0.0051102 | 0.0044975
2023-019-0108.mrg | 2023-019-0108.sam | 397 | 10.532 | 10.4357 | 0.32407 | -0.096333 | 32.0678 | 32.0674 | 0.00029902 | -0.00035095 | 32.0678 | 32.0655 | 0.00031379 | -0.0023041
2023-019-0108.mrg | 2023-019-0108.sam | 510 | 4.805 | 4.8092 | 0.411 | 0.00422 | 32.0673 | 32.0682 | 0.00048498 | 0.00088882 | 32.0673 | 32.0657 | 0.00041777 | -0.0015602
2023-019-0114.mrg | 2023-019-0114.sam | 113 | 999.352 | 999.236 | 0.58085 | -0.11566 | 34.3673 | 34.37 | 0.00025808 | 0.0027199 | 34.3673 | 34.368 | 0.0002649 | 0.00072479
2023-019-0114.mrg | 2023-019-0114.sam | 235 | 751.419 | 751.445 | 0.6404 | 0.026306 | 34.245 | 34.2479 | 0.0002243 | 0.0029411 | 34.245 | 34.2461 | 0.00029894 | 0.0010986
2023-019-0114.mrg | 2023-019-0114.sam | 117 | 498.969 | 498.925 | 0.60901 | -0.044128 | 34.0867 | 34.0906 | 0.00056267 | 0.0039024 | 34.0867 | 34.0888 | 0.0006008 | 0.0020752
2023-019-0114.mrg | 2023-019-0114.sam | 417 | 5.291 | 5.2791 | 0.37687 | -0.011945 | 31.5033 | 31.5033 | 0.00027101 | -1.9073e-05 | 31.5033 | 31.5017 | 0.00025981 | -0.001606
2023-019-0130.mrg | 2023-019-0130.sam | 622 | 5.116 | 5.1063 | 0.30695 | -0.0096579 | 30.8105 | 30.8091 | 0.00039052 | -0.0014114 | 30.8105 | 30.8071 | 0.00044972 | -0.0033608
2023-019-0150.mrg | 2023-019-0150.sam | 340 | 5.143 | 5.1478 | 0.025373 | 0.0047646 | 30.6747 | 30.6718 | 0.0013394 | -0.0029068 | 30.6747 | 30.6693 | 0.00087234 | -0.0053616
2023-019-0153.mrg | 2023-019-0153.sam | 241 | 350.633 | 350.633 | 0.033813 | -0.00036621 | 30.9265 | 30.9295 | 0.00022509 | 0.0029907 | 30.9265 | 30.9263 | 0.00032057 | -0.00022888
2023-019-0153.mrg | 2023-019-0153.sam | 241 | 10.076 | 10.0757 | 0.029807 | -0.00034428 | 27.9916 | 27.9306 | 0.005626 | -0.060955 | 27.9916 | 27.9363 | 0.0031043 | -0.05534
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 18
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2023-019-0003.mrg | 2023-019-0003.sam | 12 | 12 | 2023-019-0003.mrg & 2023-019-0003.sam
2 | 2023-019-0023.mrg | 2023-019-0023.sam | 14 | 14 | 2023-019-0023.mrg & 2023-019-0023.sam
3 | 2023-019-0031.mrg | 2023-019-0031.sam | 16 | 18 | 2023-019-0031.mrg & 2023-019-0031.sam
4 | 2023-019-0039.mrg | 2023-019-0039.sam | 20 | 37 | 2023-019-0039.mrg & 2023-019-0039.sam
5 | 2023-019-0046.mrg | 2023-019-0046.sam | 39 | 39 | 2023-019-0046.mrg & 2023-019-0046.sam
6 | 2023-019-0056.mrg | 2023-019-0056.sam | 41 | 41 | 2023-019-0056.mrg & 2023-019-0056.sam
7 | 2023-019-0065.mrg | 2023-019-0065.sam | 43 | 43 | 2023-019-0065.mrg & 2023-019-0065.sam
8 | 2023-019-0067.mrg | 2023-019-0067.sam | 45 | 46 | 2023-019-0067.mrg & 2023-019-0067.sam
9 | 2023-019-0071.mrg | 2023-019-0071.sam | 48 | 66 | 2023-019-0071.mrg & 2023-019-0071.sam
10 | 2023-019-0080.mrg | 2023-019-0080.sam | 68 | 69 | 2023-019-0080.mrg & 2023-019-0080.sam
11 | 2023-019-0092.mrg | 2023-019-0092.sam | 71 | 90 | 2023-019-0092.mrg & 2023-019-0092.sam
12 | 2023-019-0095.mrg | 2023-019-0095.sam | 92 | 93 | 2023-019-0095.mrg & 2023-019-0095.sam
13 | 2023-019-0098.mrg | 2023-019-0098.sam | 95 | 95 | 2023-019-0098.mrg & 2023-019-0098.sam
14 | 2023-019-0108.mrg | 2023-019-0108.sam | 97 | 116 | 2023-019-0108.mrg & 2023-019-0108.sam
15 | 2023-019-0114.mrg | 2023-019-0114.sam | 118 | 121 | 2023-019-0114.mrg & 2023-019-0114.sam
16 | 2023-019-0130.mrg | 2023-019-0130.sam | 123 | 123 | 2023-019-0130.mrg & 2023-019-0130.sam
17 | 2023-019-0150.mrg | 2023-019-0150.sam | 125 | 125 | 2023-019-0150.mrg & 2023-019-0150.sam
18 | 2023-019-0153.mrg | 2023-019-0153.sam | 127 | 128 | 2023-019-0153.mrg & 2023-019-0153.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Salinity_T0_C0 - Salinity_Bottle) | Salinity_T0_C0 | 18
2 | (Salinity_T0_C0 - Salinity_Bottle) | Pressure | 18
3 | (Salinity_T1_C1 - Salinity_Bottle) | Pressure | 18
4 | (Salinity_T0_C0 - Salinity_Bottle) | File Pair # | 18
5 | (Salinity_T1_C1 - Salinity_Bottle) | File Pair # | 18

## Sal0 vs Press
Calculation of Linear Least Squares Fit For
(Salinity_T0_C0 - Salinity_Bottle)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity_T0_C0 - Salinity_Bottle), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.039595 |  | X | CALC Y
m= | 4.5909e-07 | 2.919e-07 |  | Std Dev of Resid |  | 0.0011445 |  | 10.4357 | 0.0020255
b= | 0.0020207 | 0.00022426 |  | Resid Sum of Squares |  | 7.8596e-05 |  | 2001.86 | 0.0029397
# of Values Extracted = |  |  | 100
# of Values Used in Fit = |  |  | 62
File | Use | Pressure | Salinity_T0_C0 | Salinity_T0_C0 | Diff (Salinity_T0_C0 - Salinity_Bottle) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y |  |  | file pr | press | Sal1-Sal0 | Sal0 | Sal1
1 | NO | 4.761 | 31.2496 | 0.034612 | 0.055334 | 0.0020228 | -0.053311 |  | 1001.19 | 0.0023079 |  |  | 1 | 4.761 | -0.0147 | 31.2496 | 31.2349
2 | NO | 4.9839 | 30.7738 | 0.00045085 | -0.081545 | 0.0020229 | 0.083568 |  | 500.334 | 8.0109e-05 |  |  | 2 | 4.9839 | -0.0019 | 30.7738 | 30.7719
3 | YES | 1001.19 | 34.3598 | 0.00021164 | 0.0023079 | 0.0024803 | 0.00017241 |  | 1249.72 | 0.0024757 |  |  | 3 | 1001.19 | -0.0033 | 34.3598 | 34.3565
3 | NO | 750.313 | 34.2634 | 0.0014269 | 0.00078201 | 0.0023651 | 0.0015831 |  | 999.606 | 0.0030899 |  |  | 3 | 750.313 | -0.0027 | 34.2634 | 34.2607
3 | YES | 500.334 | 34.0873 | 0.00022162 | 8.0109e-05 | 0.0022504 | 0.0021703 |  | 750.311 | 0.0027542 |  |  | 3 | 500.334 | -0.0027 | 34.0873 | 34.0846
4 | NO | 1465.44 | 34.4951 | 0.00025427 | -0.0074615 | 0.0026934 | 0.010155 |  | 500.522 | 0.0021286 |  |  | 4 | 1465.44 | 0.008 | 34.4951 | 34.5031
4 | YES | 1249.72 | 34.4434 | 0.00025938 | 0.0024757 | 0.0025944 | 0.00011866 |  | 300.319 | 0.0024643 |  |  | 4 | 1249.72 | -0.0025 | 34.4434 | 34.4409
4 | YES | 999.606 | 34.375 | 0.00021825 | 0.0030899 | 0.0024796 | -0.00061033 |  | 250.587 | 0.0016937 |  |  | 4 | 999.606 | -0.0022 | 34.375 | 34.3728
4 | YES | 750.311 | 34.2688 | 0.00023852 | 0.0027542 | 0.0023651 | -0.00038909 |  | 200.779 | 0.0011101 |  |  | 4 | 750.311 | -0.0021 | 34.2688 | 34.2667
4 | YES | 500.522 | 34.0963 | 0.00053376 | 0.0021286 | 0.0022504 | 0.00012185 |  | 175.274 | 0.0016632 |  |  | 4 | 500.522 | -0.002 | 34.0963 | 34.0943
4 | YES | 300.319 | 34.0007 | 0.00058701 | 0.0024643 | 0.0021585 | -0.00030576 |  | 149.874 | 0.0030823 |  |  | 4 | 300.319 | -0.0017 | 34.0007 | 33.999
4 | YES | 250.587 | 33.9729 | 0.00022627 | 0.0016937 | 0.0021357 | 0.00044197 |  | 749.515 | 0.0024185 |  |  | 4 | 250.587 | -0.0018 | 33.9729 | 33.9711
4 | YES | 200.779 | 33.943 | 0.00027138 | 0.0011101 | 0.0021128 | 0.0010028 |  | 501.031 | 0.0027885 |  |  | 4 | 200.779 | -0.0018 | 33.943 | 33.9412
4 | YES | 175.274 | 33.9249 | 0.0002774 | 0.0016632 | 0.0021011 | 0.00043792 |  | 1500.15 | 0.0015984 |  |  | 4 | 175.274 | -0.002 | 33.9249 | 33.9229
4 | YES | 149.874 | 33.8946 | 0.00056271 | 0.0030823 | 0.0020895 | -0.00099281 |  | 1249.58 | 0.0032577 |  |  | 4 | 149.874 | -0.0021 | 33.8946 | 33.8925
4 | NO | 124.842 | 33.8185 | 0.0014663 | -0.00062561 | 0.002078 | 0.0027036 |  | 999.902 | 0.0027199 |  |  | 4 | 124.842 | -0.0022 | 33.8185 | 33.8163
4 | NO | 99.9608 | 33.5185 | 0.0028179 | 0.0046387 | 0.0020666 | -0.0025721 |  | 749.775 | 0.0017891 |  |  | 4 | 99.9608 | -0.0016 | 33.5185 | 33.5169
4 | NO | 75.039 | 32.8255 | 0.0032005 | 0.01247 | 0.0020551 | -0.010415 |  | 499.665 | 0.0017624 |  |  | 4 | 75.039 | -0.0026 | 32.8255 | 32.8229
4 | NO | 50.3575 | 32.2092 | 0.0037009 | 0.075615 | 0.0020438 | -0.073571 |  | 399.798 | 0.0026512 |  |  | 4 | 50.3575 | -0.0012 | 32.2092 | 32.208
4 | NO | 29.8492 | 31.5977 | 0.006459 | 0.0017662 | 0.0020344 | 0.00026816 |  | 299.841 | 0.0027542 |  |  | 4 | 29.8492 | -0.0077 | 31.5977 | 31.59
4 | NO | 19.9568 | 31.2142 | 0.016054 | -0.072369 | 0.0020298 | 0.074398 |  | 249.963 | -0.00064087 |  |  | 4 | 19.9568 | 0.0062 | 31.2142 | 31.2204
4 | NO | 10.0648 | 31.012 | 0.0070582 | 0.082014 | 0.0020253 | -0.079989 |  | 200.619 | 0.0002327 |  |  | 4 | 10.0648 | -0.0042 | 31.012 | 31.0078
4 | NO | 5.108 | 30.473 | 0.0020981 | -0.0081158 | 0.002023 | 0.010139 |  | 175.832 | 0.0019417 |  |  | 4 | 5.108 | -0.0019 | 30.473 | 30.4711
5 | NO | 5.2363 | 30.9949 | 0.019461 | 0.048706 | 0.0020231 | -0.046683 |  | 150.501 | 0.00077438 |  |  | 5 | 5.2363 | -0.001 | 30.9949 | 30.9939
6 | NO | 5.0395 | 30.534 | 0.058127 | -0.08913 | 0.002023 | 0.091153 |  | 125.23 | 0.0032234 |  |  | 6 | 5.0395 | -0.0047 | 30.534 | 30.5293
7 | NO | 5.5076 | 31.0761 | 0.0011699 | -0.0023251 | 0.0020232 | 0.0043482 |  | 50.8379 | 0.0022469 |  |  | 7 | 5.5076 | -0.0015 | 31.0761 | 31.0746
8 | YES | 749.515 | 34.2251 | 0.00035171 | 0.0024185 | 0.0023648 | -5.3764e-05 |  | 19.9893 | 0.0016708 |  |  | 8 | 749.515 | -0.0036 | 34.2251 | 34.2215
8 | YES | 501.031 | 34.098 | 0.00022861 | 0.0027885 | 0.0022507 | -0.00053786 |  | 751.01 | 0.0030632 |  |  | 8 | 501.031 | -0.0029 | 34.098 | 34.0951
9 | YES | 1500.15 | 34.5135 | 0.00021975 | 0.0015984 | 0.0027094 | 0.001111 |  | 2001.18 | 0.0025253 |  |  | 9 | 1500.15 | -0.0024 | 34.5135 | 34.5111
9 | YES | 1249.58 | 34.4553 | 0.00023775 | 0.0032577 | 0.0025943 | -0.00066342 |  | 1500.73 | 0.0023308 |  |  | 9 | 1249.58 | -0.0022 | 34.4553 | 34.4531
9 | YES | 999.902 | 34.3794 | 0.00024898 | 0.0027199 | 0.0024797 | -0.00024017 |  | 1250.79 | 0.002697 |  |  | 9 | 999.902 | -0.0021 | 34.3794 | 34.3773
9 | YES | 749.775 | 34.2705 | 0.0002063 | 0.0017891 | 0.0023649 | 0.00057579 |  | 1000.7 | 0.0011482 |  |  | 9 | 749.775 | -0.002 | 34.2705 | 34.2685
9 | YES | 499.665 | 34.1038 | 0.00037164 | 0.0017624 | 0.0022501 | 0.00048766 |  | 749.056 | 0.0019264 |  |  | 9 | 499.665 | -0.0017 | 34.1038 | 34.1021
9 | YES | 399.798 | 34.0532 | 0.00027646 | 0.0026512 | 0.0022042 | -0.00044701 |  | 400.995 | 0.0029068 |  |  | 9 | 399.798 | -0.0014 | 34.0532 | 34.0518
9 | YES | 299.841 | 33.9889 | 0.00047491 | 0.0027542 | 0.0021583 | -0.0005959 |  | 300.557 | 0.002037 |  |  | 9 | 299.841 | -0.0016 | 33.9889 | 33.9873
9 | YES | 249.963 | 33.9594 | 0.00026826 | -0.00064087 | 0.0021354 | 0.0027763 |  | 250.792 | 0.00048447 |  |  | 9 | 249.963 | -0.0015 | 33.9594 | 33.9579
9 | YES | 200.619 | 33.9253 | 0.00042793 | 0.0002327 | 0.0021128 | 0.0018801 |  | 200.317 | 0.0011215 |  |  | 9 | 200.619 | -0.0015 | 33.9253 | 33.9238
9 | YES | 175.832 | 33.9015 | 0.00036519 | 0.0019417 | 0.0021014 | 0.0001597 |  | 175.101 | 0.00082779 |  |  | 9 | 175.832 | -0.0013 | 33.9015 | 33.9002
9 | YES | 150.501 | 33.849 | 0.00025534 | 0.00077438 | 0.0020898 | 0.0013154 |  | 150.616 | 0.0027733 |  |  | 9 | 150.501 | -0.0015 | 33.849 | 33.8475
9 | YES | 125.23 | 33.744 | 0.00044068 | 0.0032234 | 0.0020782 | -0.0011453 |  | 124.726 | 0.0031776 |  |  | 9 | 125.23 | -0.0015 | 33.744 | 33.7425
9 | NO | 99.6354 | 33.4344 | 0.0017609 | 0.0061607 | 0.0020664 | -0.0040943 |  | 74.7942 | 0.0032577 |  |  | 9 | 99.6354 | -0.0013 | 33.4344 | 33.4331
9 | NO | 74.8889 | 32.5684 | 0.0030662 | 0.019482 | 0.002055 | -0.017427 |  | 30.4791 | 0.00059891 |  |  | 9 | 74.8889 | -0.0001 | 32.5684 | 32.5683
9 | YES | 50.8379 | 32.2504 | 0.00040319 | 0.0022469 | 0.002044 | -0.00020286 |  | 1250.85 | 0.00082398 |  |  | 9 | 50.8379 | -0.0019 | 32.2504 | 32.2485
9 | NO | 30.7139 | 32.1974 | 0.00088558 | 0.0031433 | 0.0020348 | -0.0011085 |  | 1000.76 | 0.0032425 |  |  | 9 | 30.7139 | -0.002 | 32.1974 | 32.1954
9 | YES | 19.9893 | 32.1736 | 0.00050022 | 0.0016708 | 0.0020298 | 0.000359 |  | 149.967 | 0.004303 |  |  | 9 | 19.9893 | -0.0016 | 32.1736 | 32.172
9 | NO | 10.6 | 31.1102 | 0.008136 | -0.024653 | 0.0020255 | 0.026678 |  | 2001.86 | 0.0027389 |  |  | 9 | 10.6 | -0.0048 | 31.1102 | 31.1054
9 | NO | 4.6509 | 31.1049 | 0.0013484 | -0.0057678 | 0.0020228 | 0.0077906 |  | 1499.2 | 0.0041847 |  |  | 9 | 4.6509 | -0.0016 | 31.1049 | 31.1033
10 | YES | 751.01 | 34.263 | 0.0002782 | 0.0030632 | 0.0023654 | -0.00069776 |  | 1250.89 | 0.0034523 |  |  | 10 | 751.01 | -0.0025 | 34.263 | 34.2605
10 | NO | 5.5557 | 31.479 | 0.039487 | 0.017839 | 0.0020232 | -0.015816 |  | 999.201 | 0.002491 |  |  | 10 | 5.5557 | -0.0048 | 31.479 | 31.4742
11 | YES | 2001.18 | 34.5933 | 0.00031984 | 0.0025253 | 0.0029394 | 0.00041405 |  | 749.607 | 0.0029564 |  |  | 11 | 2001.18 | -0.0022 | 34.5933 | 34.5911
11 | YES | 1500.73 | 34.5062 | 0.00026201 | 0.0023308 | 0.0027096 | 0.00037885 |  | 499.297 | 0.0013618 |  |  | 11 | 1500.73 | -0.002 | 34.5062 | 34.5042
11 | YES | 1250.79 | 34.4508 | 0.00023839 | 0.002697 | 0.0025949 | -0.0001021 |  | 398.582 | 0.0038223 |  |  | 11 | 1250.79 | -0.0019 | 34.4508 | 34.4489
11 | YES | 1000.7 | 34.3755 | 0.00022359 | 0.0011482 | 0.0024801 | 0.0013319 |  | 250.011 | 0.0043678 |  |  | 11 | 1000.7 | -0.0018 | 34.3755 | 34.3737
11 | YES | 749.056 | 34.2582 | 0.00059338 | 0.0019264 | 0.0023645 | 0.00043813 |  | 199.675 | 0.0032387 |  |  | 11 | 749.056 | -0.0015 | 34.2582 | 34.2567
11 | NO | 501.026 | 34.1001 | 0.0013647 | 0.0030251 | 0.0022507 | -0.00077437 |  | 175.048 | 0.0012588 |  |  | 11 | 501.026 | -0.0016 | 34.1001 | 34.0985
11 | YES | 400.995 | 34.0374 | 0.00066356 | 0.0029068 | 0.0022048 | -0.00070205 |  | 149.96 | 0.0048408 |  |  | 11 | 400.995 | -0.0015 | 34.0374 | 34.0359
11 | YES | 300.557 | 33.9909 | 0.00024239 | 0.002037 | 0.0021586 | 0.00012159 |  | 124.517 | 0.0017319 |  |  | 11 | 300.557 | -0.0015 | 33.9909 | 33.9894
11 | YES | 250.792 | 33.9661 | 0.00043776 | 0.00048447 | 0.0021358 | 0.0016513 |  | 10.4357 | -0.00035095 |  |  | 11 | 250.792 | -0.0018 | 33.9661 | 33.9643
11 | YES | 200.317 | 33.8947 | 0.00025733 | 0.0011215 | 0.0021126 | 0.0009911 |  | 999.236 | 0.0027199 |  |  | 11 | 200.317 | -0.002 | 33.8947 | 33.8927
11 | YES | 175.101 | 33.8849 | 0.00046667 | 0.00082779 | 0.002101 | 0.0012733 |  | 751.445 | 0.0029411 |  |  | 11 | 175.101 | -0.0019 | 33.8849 | 33.883
11 | YES | 150.616 | 33.8887 | 0.00033347 | 0.0027733 | 0.0020898 | -0.00068347 |  | 498.925 | 0.0039024 |  |  | 11 | 150.616 | -0.0019 | 33.8887 | 33.8868
11 | YES | 124.726 | 33.8459 | 0.00047086 | 0.0031776 | 0.0020779 | -0.0010997 |  | 350.633 | 0.0029907 | 0.0022892 | 0.0011583 | 11 | 124.726 | -0.0019 | 33.8459 | 33.844
11 | NO | 100.746 | 33.6988 | 0.0012985 | 0.006485 | 0.0020669 | -0.0044181 | [5 empty] | 11 | 100.746 | -0.0018 | 33.6988 | 33.697
11 | YES | 74.7942 | 33.3914 | 0.00046803 | 0.0032577 | 0.002055 | -0.0012028 | [5 empty] | 11 | 74.7942 | -0.0023 | 33.3914 | 33.3891
11 | NO | 50.5027 | 32.5199 | 0.001083 | -0.023796 | 0.0020438 | 0.02584 | [5 empty] | 11 | 50.5027 | -0.0026 | 32.5199 | 32.5173
11 | YES | 30.4791 | 32.3154 | 0.0003688 | 0.00059891 | 0.0020347 | 0.0014357 | [5 empty] | 11 | 30.4791 | -0.0022 | 32.3154 | 32.3132
11 | NO | 20.525 | 32.1399 | 0.034985 | 0.067524 | 0.0020301 | -0.065494 | [5 empty] | 11 | 20.525 | 0.004 | 32.1399 | 32.1439
11 | NO | 10.4371 | 31.829 | 0.0025041 | -0.00424 | 0.0020255 | 0.0062655 | [5 empty] | 11 | 10.4371 | -0.0007 | 31.829 | 31.8283
11 | NO | 5.0198 | 31.8051 | 0.0015944 | -0.0033398 | 0.002023 | 0.0053627 | [5 empty] | 11 | 5.0198 | -0.0017 | 31.8051 | 31.8034
12 | YES | 1250.85 | 34.4207 | 0.00038077 | 0.00082398 | 0.0025949 | 0.0017709 | [5 empty] | 12 | 1250.85 | -0.0031 | 34.4207 | 34.4176
12 | YES | 1000.76 | 34.3322 | 0.00020673 | 0.0032425 | 0.0024801 | -0.00076239 | [5 empty] | 12 | 1000.76 | -0.0024 | 34.3322 | 34.3298
13 | YES | 149.967 | 33.9302 | 0.0002886 | 0.004303 | 0.0020895 | -0.0022135 | [5 empty] | 13 | 149.967 | -0.0036 | 33.9302 | 33.9266
14 | YES | 2001.86 | 34.5881 | 0.00028115 | 0.0027389 | 0.0029397 | 0.00020075 | [5 empty] | 14 | 2001.86 | -0.0018 | 34.5881 | 34.5863
14 | YES | 1499.2 | 34.5124 | 0.00030266 | 0.0041847 | 0.0027089 | -0.0014758 | [5 empty] | 14 | 1499.2 | -0.0018 | 34.5124 | 34.5106
14 | YES | 1250.89 | 34.448 | 0.00025734 | 0.0034523 | 0.0025949 | -0.00085737 | [5 empty] | 14 | 1250.89 | -0.0019 | 34.448 | 34.4461
14 | YES | 999.201 | 34.3743 | 0.00031092 | 0.002491 | 0.0024794 | -1.1615e-05 | [5 empty] | 14 | 999.201 | -0.0018 | 34.3743 | 34.3725
14 | YES | 749.607 | 34.2534 | 0.00023339 | 0.0029564 | 0.0023648 | -0.00059159 | [5 empty] | 14 | 749.607 | -0.0017 | 34.2534 | 34.2517
14 | YES | 499.297 | 34.1054 | 0.00027743 | 0.0013618 | 0.0022499 | 0.00088803 | [5 empty] | 14 | 499.297 | -0.0015 | 34.1054 | 34.1039
14 | YES | 398.582 | 34.0602 | 0.00028126 | 0.0038223 | 0.0022036 | -0.0016187 | [5 empty] | 14 | 398.582 | -0.0013 | 34.0602 | 34.0589
14 | NO | 300.455 | 34.0069 | 0.00080167 | 0.0031242 | 0.0021586 | -0.00096564 | [5 empty] | 14 | 300.455 | -0.0012 | 34.0069 | 34.0057
14 | YES | 250.011 | 33.9708 | 0.00036158 | 0.0043678 | 0.0021354 | -0.0022324 | [5 empty] | 14 | 250.011 | -0.0013 | 33.9708 | 33.9695
14 | YES | 199.675 | 33.9107 | 0.00071383 | 0.0032387 | 0.0021123 | -0.0011264 | [5 empty] | 14 | 199.675 | -0.0012 | 33.9107 | 33.9095
14 | YES | 175.048 | 33.8911 | 0.00033482 | 0.0012588 | 0.002101 | 0.00084217 | [5 empty] | 14 | 175.048 | -0.0016 | 33.8911 | 33.8895
14 | YES | 149.96 | 33.8563 | 0.00055482 | 0.0048408 | 0.0020895 | -0.0027513 | [5 empty] | 14 | 149.96 | -0.0014 | 33.8563 | 33.8549
14 | YES | 124.517 | 33.7484 | 0.00070227 | 0.0017319 | 0.0020778 | 0.00034596 | [5 empty] | 14 | 124.517 | -0.0012 | 33.7484 | 33.7472
14 | NO | 100.568 | 33.4208 | 0.0015052 | 0.0095406 | 0.0020668 | -0.0074737 | [5 empty] | 14 | 100.568 | -0.0022 | 33.4208 | 33.4186
14 | NO | 75.6136 | 32.8065 | 0.0037491 | 0.010586 | 0.0020554 | -0.0085304 | [5 empty] | 14 | 75.6136 | -0.0018 | 32.8065 | 32.8047
14 | NO | 50.2432 | 32.3778 | 0.0029498 | 0.0041161 | 0.0020437 | -0.0020723 | [5 empty] | 14 | 50.2432 | -0.0023 | 32.3778 | 32.3755
14 | NO | 29.373 | 32.2448 | 0.00098054 | 0.0022354 | 0.0020341 | -0.00020126 | [5 empty] | 14 | 29.373 | -0.0016 | 32.2448 | 32.2432
14 | NO | 20.1273 | 32.079 | 0.0046635 | 0.0065765 | 0.0020299 | -0.0045466 | [5 empty] | 14 | 20.1273 | -0.0021 | 32.079 | 32.0769
14 | YES | 10.4357 | 32.0674 | 0.00029902 | -0.00035095 | 0.0020255 | 0.0023764 | [5 empty] | 14 | 10.4357 | -0.0019 | 32.0674 | 32.0655
14 | NO | 4.8092 | 32.0682 | 0.00048498 | 0.00088882 | 0.0020229 | 0.001134 | [5 empty] | 14 | 4.8092 | -0.0025 | 32.0682 | 32.0657
15 | YES | 999.236 | 34.37 | 0.00025808 | 0.0027199 | 0.0024794 | -0.00024048 | [5 empty] | 15 | 999.236 | -0.002 | 34.37 | 34.368
15 | YES | 751.445 | 34.2479 | 0.0002243 | 0.0029411 | 0.0023656 | -0.00057549 | [5 empty] | 15 | 751.445 | -0.0018 | 34.2479 | 34.2461
15 | YES | 498.925 | 34.0906 | 0.00056267 | 0.0039024 | 0.0022497 | -0.0016527 | [5 empty] | 15 | 498.925 | -0.0018 | 34.0906 | 34.0888
15 | NO | 5.2791 | 31.5033 | 0.00027101 | -1.9073e-05 | 0.0020231 | 0.0020422 | [5 empty] | 15 | 5.2791 | -0.0016 | 31.5033 | 31.5017
16 | NO | 5.1063 | 30.8091 | 0.00039052 | -0.0014114 | 0.002023 | 0.0034344 | [5 empty] | 16 | 5.1063 | -0.002 | 30.8091 | 30.8071
17 | NO | 5.1478 | 30.6718 | 0.0013394 | -0.0029068 | 0.002023 | 0.0049298 | [5 empty] | 17 | 5.1478 | -0.0025 | 30.6718 | 30.6693
18 | YES | 350.633 | 30.9295 | 0.00022509 | 0.0029907 | 0.0021816 | -0.00080909 | [5 empty] | 18 | 350.633 | -0.0032 | 30.9295 | 30.9263
18 | NO | 10.0757 | 27.9306 | 0.005626 | -0.060955 | 0.0020253 | 0.06298 | [5 empty] | 18 | 10.0757 | 0.0057 | 27.9306 | 27.9363
NO
NO
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
YES
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
NO
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. Salinity_T0_C0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Sal1 vs Press
Calculation of Linear Least Squares Fit For
(Salinity_T1_C1 - Salinity_Bottle)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity_T1_C1 - Salinity_Bottle), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0034007 |  | X | CALC Y
m= | 1.4595e-07 | 3.1731e-07 |  | Std Dev of Resid |  | 0.0012755 |  | 10.4357 | 0.00019944
b= | 0.00019791 | 0.00024867 |  | Resid Sum of Squares |  | 0.00010087 |  | 2001.86 | 0.00049008
# of Values Extracted = |  |  | 100
# of Values Used in Fit = |  |  | 64
File | Use | Pressure | Salinity_T1_C1 | Salinity_T1_C1 | Diff (Salinity_T1_C1 - Salinity_Bottle) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 4.761 | 31.2349 | 0.037008 | 0.040586 | 0.00019861 | -0.040388 |  | 1001.19 | -0.00095367
2 | NO | 4.9839 | 30.7719 | 0.00045155 | -0.083359 | 0.00019864 | 0.083557 |  | 750.313 | -0.0019341
3 | YES | 1001.19 | 34.3565 | 0.00026178 | -0.00095367 | 0.00034404 | 0.0012977 |  | 500.334 | -0.0025902
3 | YES | 750.313 | 34.2607 | 0.00074595 | -0.0019341 | 0.00030742 | 0.0022415 |  | 1465.44 | 0.00046539
3 | YES | 500.334 | 34.0846 | 0.00032446 | -0.0025902 | 0.00027094 | 0.0028611 |  | 1249.72 | 2.6703e-05
4 | YES | 1465.44 | 34.5031 | 0.00030356 | 0.00046539 | 0.00041179 | -5.36e-05 |  | 999.606 | 0.00093079
4 | YES | 1249.72 | 34.4409 | 0.0003045 | 2.6703e-05 | 0.00038031 | 0.00035361 |  | 750.311 | 0.00067902
4 | YES | 999.606 | 34.3728 | 0.00027019 | 0.00093079 | 0.00034381 | -0.00058698 |  | 500.522 | 6.8665e-05
4 | YES | 750.311 | 34.2667 | 0.00046486 | 0.00067902 | 0.00030742 | -0.00037159 |  | 300.319 | 0.0007782
4 | YES | 500.522 | 34.0943 | 0.00045893 | 6.8665e-05 | 0.00027096 | 0.0002023 |  | 250.587 | -7.2479e-05
4 | YES | 300.319 | 33.999 | 0.00057324 | 0.0007782 | 0.00024175 | -0.00053645 |  | 200.779 | -0.00074768
4 | YES | 250.587 | 33.9711 | 0.00022502 | -7.2479e-05 | 0.00023449 | 0.00030697 |  | 175.274 | -0.00034332
4 | YES | 200.779 | 33.9412 | 0.00027986 | -0.00074768 | 0.00022722 | 0.0009749 |  | 149.874 | 0.0010109
4 | YES | 175.274 | 33.9229 | 0.00030001 | -0.00034332 | 0.0002235 | 0.00056682 |  | 749.515 | -0.0011635
4 | YES | 149.874 | 33.8925 | 0.00044458 | 0.0010109 | 0.00021979 | -0.0007911 |  | 501.031 | -0.00012207
4 | NO | 124.842 | 33.8163 | 0.0014096 | -0.0027847 | 0.00021614 | 0.0030009 |  | 1500.15 | -0.0007782
4 | NO | 99.9608 | 33.5169 | 0.0027077 | 0.0029831 | 0.0002125 | -0.0027706 |  | 1249.58 | 0.0010834
4 | NO | 75.039 | 32.8229 | 0.0042297 | 0.0099373 | 0.00020887 | -0.0097284 |  | 999.902 | 0.00061035
4 | NO | 50.3575 | 32.208 | 0.0025736 | 0.074429 | 0.00020526 | -0.074223 |  | 749.775 | -0.00016403
4 | NO | 29.8492 | 31.59 | 0.0033767 | -0.0059128 | 0.00020227 | 0.0061151 |  | 499.665 | 5.722e-05
4 | NO | 19.9568 | 31.2204 | 0.019077 | -0.066217 | 0.00020083 | 0.066418 |  | 399.798 | 0.0011673
4 | NO | 10.0648 | 31.0078 | 0.0046673 | 0.077829 | 0.00019938 | -0.07763 |  | 299.841 | 0.0012436
4 | NO | 5.108 | 30.4711 | 0.0022446 | -0.010044 | 0.00019866 | 0.010243 |  | 249.963 | -0.0021439
5 | NO | 5.2363 | 30.9939 | 0.02005 | 0.047707 | 0.00019868 | -0.047508 |  | 200.619 | -0.0013199
6 | NO | 5.0395 | 30.5293 | 0.066935 | -0.093756 | 0.00019865 | 0.093954 |  | 175.832 | 0.00060272
7 | NO | 5.5076 | 31.0746 | 0.0013198 | -0.0037575 | 0.00019872 | 0.0039562 |  | 150.501 | -0.0007019
8 | YES | 749.515 | 34.2215 | 0.00054514 | -0.0011635 | 0.0003073 | 0.0014708 |  | 125.23 | 0.0016708
8 | YES | 501.031 | 34.0951 | 0.00024082 | -0.00012207 | 0.00027104 | 0.00039311 |  | 50.8379 | 0.00028229
9 | YES | 1500.15 | 34.5111 | 0.00024198 | -0.0007782 | 0.00041686 | 0.0011951 |  | 19.9893 | 0.00010681
9 | YES | 1249.58 | 34.4531 | 0.00030569 | 0.0010834 | 0.00038029 | -0.00070308 |  | 751.01 | 0.00064468
9 | YES | 999.902 | 34.3773 | 0.00024661 | 0.00061035 | 0.00034385 | -0.0002665 |  | 2001.18 | 0.00033569
9 | YES | 749.775 | 34.2685 | 0.00031856 | -0.00016403 | 0.00030734 | 0.00047137 |  | 1500.73 | 0.00030136
9 | YES | 499.665 | 34.1021 | 0.00034364 | 5.722e-05 | 0.00027084 | 0.00021362 |  | 1250.79 | 0.00075531
9 | YES | 399.798 | 34.0518 | 0.00035933 | 0.0011673 | 0.00025626 | -0.00091104 |  | 1000.7 | -0.0006752
9 | YES | 299.841 | 33.9873 | 0.00041838 | 0.0012436 | 0.00024168 | -0.0010019 |  | 749.056 | 0.00040817
9 | YES | 249.963 | 33.9579 | 0.0003444 | -0.0021439 | 0.0002344 | 0.0023783 |  | 400.995 | 0.0013733
9 | YES | 200.619 | 33.9238 | 0.00036152 | -0.0013199 | 0.00022719 | 0.0015471 |  | 300.557 | 0.00051117
9 | YES | 175.832 | 33.9002 | 0.00051136 | 0.00060272 | 0.00022358 | -0.00037915 |  | 250.792 | -0.0013199
9 | YES | 150.501 | 33.8475 | 0.00030945 | -0.0007019 | 0.00021988 | 0.00092178 |  | 200.317 | -0.00093079
9 | YES | 125.23 | 33.7425 | 0.00039853 | 0.0016708 | 0.00021619 | -0.0014546 |  | 175.101 | -0.0011368
9 | NO | 99.6354 | 33.4331 | 0.0016363 | 0.0048828 | 0.00021246 | -0.0046704 |  | 150.616 | 0.00086975
9 | NO | 74.8889 | 32.5683 | 0.0026847 | 0.019386 | 0.00020884 | -0.019177 |  | 124.726 | 0.0013123
9 | YES | 50.8379 | 32.2485 | 0.00048448 | 0.00028229 | 0.00020533 | -7.6954e-05 |  | 74.7942 | 0.0010414
9 | NO | 30.7139 | 32.1954 | 0.0010106 | 0.0011101 | 0.0002024 | -0.00090768 |  | 30.4791 | -0.0015526
9 | YES | 19.9893 | 32.172 | 0.00057372 | 0.00010681 | 0.00020083 | 9.402e-05 |  | 1250.85 | -0.0023079
9 | NO | 10.6 | 31.1054 | 0.0076187 | -0.029495 | 0.00019946 | 0.029695 |  | 1000.76 | 0.00082016
9 | NO | 4.6509 | 31.1033 | 0.0015132 | -0.00741 | 0.00019859 | 0.0076086 |  | 149.967 | 0.00074387
10 | YES | 751.01 | 34.2605 | 0.00051377 | 0.00064468 | 0.00030752 | -0.00033716 |  | 2001.86 | 0.00087738
10 | NO | 5.5557 | 31.4742 | 0.033086 | 0.013048 | 0.00019873 | -0.012849 |  | 1499.2 | 0.0023689
11 | YES | 2001.18 | 34.5911 | 0.00035852 | 0.00033569 | 0.00048998 | 0.00015429 |  | 1250.89 | 0.0016289
11 | YES | 1500.73 | 34.5042 | 0.00029129 | 0.00030136 | 0.00041694 | 0.00011558 |  | 999.201 | 0.00069046
11 | YES | 1250.79 | 34.4489 | 0.00030669 | 0.00075531 | 0.00038046 | -0.00037485 |  | 749.607 | 0.0012894
11 | YES | 1000.7 | 34.3737 | 0.00027076 | -0.0006752 | 0.00034396 | 0.0010192 |  | 499.297 | -8.7738e-05
11 | YES | 749.056 | 34.2567 | 0.00058468 | 0.00040817 | 0.00030724 | -0.00010094 |  | 398.582 | 0.002533
11 | NO | 501.026 | 34.0985 | 0.00084834 | 0.0013847 | 0.00027104 | -0.0011137 |  | 250.011 | 0.0030861
11 | YES | 400.995 | 34.0359 | 0.00062377 | 0.0013733 | 0.00025644 | -0.0011169 |  | 199.675 | 0.0019684
11 | YES | 300.557 | 33.9894 | 0.00030516 | 0.00051117 | 0.00024178 | -0.00026939 |  | 175.048 | -0.00032043
11 | YES | 250.792 | 33.9643 | 0.00042455 | -0.0013199 | 0.00023452 | 0.0015544 |  | 149.96 | 0.0033913
11 | YES | 200.317 | 33.8927 | 0.00026841 | -0.00093079 | 0.00022715 | 0.0011579 |  | 124.517 | 0.00054932
11 | YES | 175.101 | 33.883 | 0.00042515 | -0.0011368 | 0.00022347 | 0.0013603 |  | 10.4357 | -0.0023041
11 | YES | 150.616 | 33.8868 | 0.00027534 | 0.00086975 | 0.0002199 | -0.00064985 |  | 999.236 | 0.00072479
11 | YES | 124.726 | 33.844 | 0.00057514 | 0.0013123 | 0.00021612 | -0.0010961 |  | 751.445 | 0.0010986
11 | NO | 100.746 | 33.697 | 0.0015514 | 0.0046616 | 0.00021262 | -0.0044489 |  | 498.925 | 0.0020752
11 | YES | 74.7942 | 33.3891 | 0.00054369 | 0.0010414 | 0.00020883 | -0.00083258 |  | 350.633 | -0.00022888 | 0.00028569 | 0.0012675
11 | NO | 50.5027 | 32.5173 | 0.0010804 | -0.026375 | 0.00020529 | 0.02658
11 | YES | 30.4791 | 32.3132 | 0.00056702 | -0.0015526 | 0.00020236 | 0.0017549
11 | NO | 20.525 | 32.1439 | 0.038575 | 0.071545 | 0.00020091 | -0.071344
11 | NO | 10.4371 | 31.8283 | 0.0017399 | -0.0049191 | 0.00019944 | 0.0051185
11 | NO | 5.0198 | 31.8034 | 0.001554 | -0.0050221 | 0.00019865 | 0.0052207
12 | YES | 1250.85 | 34.4176 | 0.00045717 | -0.0023079 | 0.00038047 | 0.0026884
12 | YES | 1000.76 | 34.3298 | 0.00026077 | 0.00082016 | 0.00034397 | -0.00047619
13 | YES | 149.967 | 33.9266 | 0.00027137 | 0.00074387 | 0.0002198 | -0.00052406
14 | YES | 2001.86 | 34.5863 | 0.00027135 | 0.00087738 | 0.00049008 | -0.0003873
14 | YES | 1499.2 | 34.5106 | 0.00027704 | 0.0023689 | 0.00041672 | -0.0019522
14 | YES | 1250.89 | 34.4461 | 0.00028048 | 0.0016289 | 0.00038048 | -0.0012484
14 | YES | 999.201 | 34.3725 | 0.00031479 | 0.00069046 | 0.00034375 | -0.00034671
14 | YES | 749.607 | 34.2517 | 0.00028102 | 0.0012894 | 0.00030732 | -0.00098205
14 | YES | 499.297 | 34.1039 | 0.00060083 | -8.7738e-05 | 0.00027079 | 0.00035852
14 | YES | 398.582 | 34.0589 | 0.00030605 | 0.002533 | 0.00025609 | -0.0022769
14 | NO | 300.455 | 34.0057 | 0.00081036 | 0.0018959 | 0.00024177 | -0.0016541
14 | YES | 250.011 | 33.9695 | 0.00030287 | 0.0030861 | 0.0002344 | -0.0028517
14 | YES | 199.675 | 33.9095 | 0.00065388 | 0.0019684 | 0.00022706 | -0.0017413
14 | YES | 175.048 | 33.8895 | 0.0003049 | -0.00032043 | 0.00022346 | 0.0005439
14 | YES | 149.96 | 33.8549 | 0.00048326 | 0.0033913 | 0.0002198 | -0.0031715
14 | YES | 124.517 | 33.7472 | 0.00071207 | 0.00054932 | 0.00021609 | -0.00033323
14 | NO | 100.568 | 33.4186 | 0.0017265 | 0.0073051 | 0.00021259 | -0.0070926
14 | NO | 75.6136 | 32.8047 | 0.003977 | 0.0088272 | 0.00020895 | -0.0086183
14 | NO | 50.2432 | 32.3755 | 0.0031459 | 0.0017548 | 0.00020525 | -0.0015495
14 | NO | 29.373 | 32.2432 | 0.0010095 | 0.00061035 | 0.0002022 | -0.00040815
14 | NO | 20.1273 | 32.0769 | 0.0051102 | 0.0044975 | 0.00020085 | -0.0042967
14 | YES | 10.4357 | 32.0655 | 0.00031379 | -0.0023041 | 0.00019944 | 0.0025035
14 | NO | 4.8092 | 32.0657 | 0.00041777 | -0.0015602 | 0.00019862 | 0.0017588
15 | YES | 999.236 | 34.368 | 0.0002649 | 0.00072479 | 0.00034375 | -0.00038104
15 | YES | 751.445 | 34.2461 | 0.00029894 | 0.0010986 | 0.00030759 | -0.00079104
15 | YES | 498.925 | 34.0888 | 0.0006008 | 0.0020752 | 0.00027073 | -0.0018045
15 | NO | 5.2791 | 31.5017 | 0.00025981 | -0.001606 | 0.00019869 | 0.0018047
16 | NO | 5.1063 | 30.8071 | 0.00044972 | -0.0033608 | 0.00019866 | 0.0035594
17 | NO | 5.1478 | 30.6693 | 0.00087234 | -0.0053616 | 0.00019867 | 0.0055602
18 | YES | 350.633 | 30.9263 | 0.00032057 | -0.00022888 | 0.00024909 | 0.00047797
18 | NO | 10.0757 | 27.9363 | 0.0031043 | -0.05534 | 0.00019939 | 0.055539
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
YES
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
NO
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. Salinity_T1_C1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Sal0 vs File Pair #
Calculation of Linear Least Squares Fit For
(Salinity_T0_C0 - Salinity_Bottle)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity_T0_C0 - Salinity_Bottle), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.10439 |  | X | CALC Y
m= | 0.00014611 | 5.4794e-05 |  | Std Dev of Resid |  | 0.0016048 |  | 3 | 0.0011024
b= | 0.00066412 | 0.00058732 |  | Resid Sum of Squares |  | 0.00015709 |  | 18 | 0.0032941
# of Values Extracted = |  |  | 100
# of Values Used in Fit = |  |  | 63
File | Use | Pressure | Salinity_T0_C0 | Salinity_T0_C0 | Diff (Salinity_T0_C0 - Salinity_Bottle) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 4.761 | 31.2496 | 0.034612 | 0.055334 | 0.00081022 | -0.054524 |  | 3 | 0.0023079
2 | NO | 4.9839 | 30.7738 | 0.00045085 | -0.081545 | 0.00095633 | 0.082501 |  | 3 | 8.0109e-05
3 | YES | 1001.19 | 34.3598 | 0.00021164 | 0.0023079 | 0.0011024 | -0.0012054 |  | 4 | -0.0074615
3 | NO | 750.313 | 34.2634 | 0.0014269 | 0.00078201 | 0.0011024 | 0.00032043 |  | 4 | 0.0024757
3 | YES | 500.334 | 34.0873 | 0.00022162 | 8.0109e-05 | 0.0011024 | 0.0010223 |  | 4 | 0.0030899
4 | YES | 1465.44 | 34.4951 | 0.00025427 | -0.0074615 | 0.0012485 | 0.0087101 |  | 4 | 0.0027542
4 | YES | 1249.72 | 34.4434 | 0.00025938 | 0.0024757 | 0.0012485 | -0.0012272 |  | 4 | 0.0021286
4 | YES | 999.606 | 34.375 | 0.00021825 | 0.0030899 | 0.0012485 | -0.0018414 |  | 4 | 0.0024643
4 | YES | 750.311 | 34.2688 | 0.00023852 | 0.0027542 | 0.0012485 | -0.0015057 |  | 4 | 0.0016937
4 | YES | 500.522 | 34.0963 | 0.00053376 | 0.0021286 | 0.0012485 | -0.00088005 |  | 4 | 0.0011101
4 | YES | 300.319 | 34.0007 | 0.00058701 | 0.0024643 | 0.0012485 | -0.0012157 |  | 4 | 0.0016632
4 | YES | 250.587 | 33.9729 | 0.00022627 | 0.0016937 | 0.0012485 | -0.00044518 |  | 4 | 0.0030823
4 | YES | 200.779 | 33.943 | 0.00027138 | 0.0011101 | 0.0012485 | 0.00013847 |  | 8 | 0.0024185
4 | YES | 175.274 | 33.9249 | 0.0002774 | 0.0016632 | 0.0012485 | -0.00041466 |  | 8 | 0.0027885
4 | YES | 149.874 | 33.8946 | 0.00056271 | 0.0030823 | 0.0012485 | -0.0018337 |  | 9 | 0.0015984
4 | NO | 124.842 | 33.8185 | 0.0014663 | -0.00062561 | 0.0012485 | 0.0018742 |  | 9 | 0.0032577
4 | NO | 99.9608 | 33.5185 | 0.0028179 | 0.0046387 | 0.0012485 | -0.0033901 |  | 9 | 0.0027199
4 | NO | 75.039 | 32.8255 | 0.0032005 | 0.01247 | 0.0012485 | -0.011222 |  | 9 | 0.0017891
4 | NO | 50.3575 | 32.2092 | 0.0037009 | 0.075615 | 0.0012485 | -0.074366 |  | 9 | 0.0017624
4 | NO | 29.8492 | 31.5977 | 0.006459 | 0.0017662 | 0.0012485 | -0.00051765 |  | 9 | 0.0026512
4 | NO | 19.9568 | 31.2142 | 0.016054 | -0.072369 | 0.0012485 | 0.073617 |  | 9 | 0.0027542
4 | NO | 10.0648 | 31.012 | 0.0070582 | 0.082014 | 0.0012485 | -0.080766 |  | 9 | -0.00064087
4 | NO | 5.108 | 30.473 | 0.0020981 | -0.0081158 | 0.0012485 | 0.0093643 |  | 9 | 0.0002327
5 | NO | 5.2363 | 30.9949 | 0.019461 | 0.048706 | 0.0013947 | -0.047311 |  | 9 | 0.0019417
6 | NO | 5.0395 | 30.534 | 0.058127 | -0.08913 | 0.0015408 | 0.090671 |  | 9 | 0.00077438
7 | NO | 5.5076 | 31.0761 | 0.0011699 | -0.0023251 | 0.0016869 | 0.0040119 |  | 9 | 0.0032234
8 | YES | 749.515 | 34.2251 | 0.00035171 | 0.0024185 | 0.001833 | -0.00058554 |  | 9 | 0.0022469
8 | YES | 501.031 | 34.098 | 0.00022861 | 0.0027885 | 0.001833 | -0.00095556 |  | 9 | 0.0016708
9 | YES | 1500.15 | 34.5135 | 0.00021975 | 0.0015984 | 0.0019791 | 0.00038073 |  | 10 | 0.0030632
9 | YES | 1249.58 | 34.4553 | 0.00023775 | 0.0032577 | 0.0019791 | -0.0012787 |  | 11 | 0.0025253
9 | YES | 999.902 | 34.3794 | 0.00024898 | 0.0027199 | 0.0019791 | -0.00074079 |  | 11 | 0.0023308
9 | YES | 749.775 | 34.2705 | 0.0002063 | 0.0017891 | 0.0019791 | 0.00019 |  | 11 | 0.002697
9 | YES | 499.665 | 34.1038 | 0.00037164 | 0.0017624 | 0.0019791 | 0.0002167 |  | 11 | 0.0011482
9 | YES | 399.798 | 34.0532 | 0.00027646 | 0.0026512 | 0.0019791 | -0.00067212 |  | 11 | 0.0019264
9 | YES | 299.841 | 33.9889 | 0.00047491 | 0.0027542 | 0.0019791 | -0.00077512 |  | 11 | 0.0029068
9 | YES | 249.963 | 33.9594 | 0.00026826 | -0.00064087 | 0.0019791 | 0.00262 |  | 11 | 0.002037
9 | YES | 200.619 | 33.9253 | 0.00042793 | 0.0002327 | 0.0019791 | 0.0017464 |  | 11 | 0.00048447
9 | YES | 175.832 | 33.9015 | 0.00036519 | 0.0019417 | 0.0019791 | 3.7409e-05 |  | 11 | 0.0011215
9 | YES | 150.501 | 33.849 | 0.00025534 | 0.00077438 | 0.0019791 | 0.0012047 |  | 11 | 0.00082779
9 | YES | 125.23 | 33.744 | 0.00044068 | 0.0032234 | 0.0019791 | -0.0012443 |  | 11 | 0.0027733
9 | NO | 99.6354 | 33.4344 | 0.0017609 | 0.0061607 | 0.0019791 | -0.0041817 |  | 11 | 0.0031776
9 | NO | 74.8889 | 32.5684 | 0.0030662 | 0.019482 | 0.0019791 | -0.017503 |  | 11 | 0.0032577
9 | YES | 50.8379 | 32.2504 | 0.00040319 | 0.0022469 | 0.0019791 | -0.00026777 |  | 11 | 0.00059891
9 | NO | 30.7139 | 32.1974 | 0.00088558 | 0.0031433 | 0.0019791 | -0.0011642 |  | 12 | 0.00082398
9 | YES | 19.9893 | 32.1736 | 0.00050022 | 0.0016708 | 0.0019791 | 0.00030825 |  | 12 | 0.0032425
9 | NO | 10.6 | 31.1102 | 0.008136 | -0.024653 | 0.0019791 | 0.026632 |  | 13 | 0.004303
9 | NO | 4.6509 | 31.1049 | 0.0013484 | -0.0057678 | 0.0019791 | 0.0077469 |  | 14 | 0.0027389
10 | YES | 751.01 | 34.263 | 0.0002782 | 0.0030632 | 0.0021252 | -0.000938 |  | 14 | 0.0041847
10 | NO | 5.5557 | 31.479 | 0.039487 | 0.017839 | 0.0021252 | -0.015714 |  | 14 | 0.0034523
11 | YES | 2001.18 | 34.5933 | 0.00031984 | 0.0025253 | 0.0022713 | -0.00025402 |  | 14 | 0.002491
11 | YES | 1500.73 | 34.5062 | 0.00026201 | 0.0023308 | 0.0022713 | -5.9474e-05 |  | 14 | 0.0029564
11 | YES | 1250.79 | 34.4508 | 0.00023839 | 0.002697 | 0.0022713 | -0.00042568 |  | 14 | 0.0013618
11 | YES | 1000.7 | 34.3755 | 0.00022359 | 0.0011482 | 0.0022713 | 0.0011231 |  | 14 | 0.0038223
11 | YES | 749.056 | 34.2582 | 0.00059338 | 0.0019264 | 0.0022713 | 0.00034489 |  | 14 | 0.0043678
11 | NO | 501.026 | 34.1001 | 0.0013647 | 0.0030251 | 0.0022713 | -0.00075374 |  | 14 | 0.0032387
11 | YES | 400.995 | 34.0374 | 0.00066356 | 0.0029068 | 0.0022713 | -0.00063549 |  | 14 | 0.0012588
11 | YES | 300.557 | 33.9909 | 0.00024239 | 0.002037 | 0.0022713 | 0.00023426 |  | 14 | 0.0048408
11 | YES | 250.792 | 33.9661 | 0.00043776 | 0.00048447 | 0.0022713 | 0.0017868 |  | 14 | 0.0017319
11 | YES | 200.317 | 33.8947 | 0.00025733 | 0.0011215 | 0.0022713 | 0.0011498 |  | 14 | -0.00035095
11 | YES | 175.101 | 33.8849 | 0.00046667 | 0.00082779 | 0.0022713 | 0.0014435 |  | 15 | 0.0027199
11 | YES | 150.616 | 33.8887 | 0.00033347 | 0.0027733 | 0.0022713 | -0.00050197 |  | 15 | 0.0029411
11 | YES | 124.726 | 33.8459 | 0.00047086 | 0.0031776 | 0.0022713 | -0.00090633 |  | 15 | 0.0039024
11 | NO | 100.746 | 33.6988 | 0.0012985 | 0.006485 | 0.0022713 | -0.0042137 |  | 18 | 0.0029907
11 | YES | 74.7942 | 33.3914 | 0.00046803 | 0.0032577 | 0.0022713 | -0.00098644
11 | NO | 50.5027 | 32.5199 | 0.001083 | -0.023796 | 0.0022713 | 0.026067
11 | YES | 30.4791 | 32.3154 | 0.0003688 | 0.00059891 | 0.0022713 | 0.0016724
11 | NO | 20.525 | 32.1399 | 0.034985 | 0.067524 | 0.0022713 | -0.065253
11 | NO | 10.4371 | 31.829 | 0.0025041 | -0.00424 | 0.0022713 | 0.0065113
11 | NO | 5.0198 | 31.8051 | 0.0015944 | -0.0033398 | 0.0022713 | 0.0056111
12 | YES | 1250.85 | 34.4207 | 0.00038077 | 0.00082398 | 0.0024174 | 0.0015934
12 | YES | 1000.76 | 34.3322 | 0.00020673 | 0.0032425 | 0.0024174 | -0.00082508
13 | YES | 149.967 | 33.9302 | 0.0002886 | 0.004303 | 0.0025635 | -0.0017395
14 | YES | 2001.86 | 34.5881 | 0.00028115 | 0.0027389 | 0.0027096 | -2.932e-05
14 | YES | 1499.2 | 34.5124 | 0.00030266 | 0.0041847 | 0.0027096 | -0.0014751
14 | YES | 1250.89 | 34.448 | 0.00025734 | 0.0034523 | 0.0027096 | -0.00074267
14 | YES | 999.201 | 34.3743 | 0.00031092 | 0.002491 | 0.0027096 | 0.00021863
14 | YES | 749.607 | 34.2534 | 0.00023339 | 0.0029564 | 0.0027096 | -0.00024676
14 | YES | 499.297 | 34.1054 | 0.00027743 | 0.0013618 | 0.0027096 | 0.0013478
14 | YES | 398.582 | 34.0602 | 0.00028126 | 0.0038223 | 0.0027096 | -0.0011127
14 | NO | 300.455 | 34.0069 | 0.00080167 | 0.0031242 | 0.0027096 | -0.00041461
14 | YES | 250.011 | 33.9708 | 0.00036158 | 0.0043678 | 0.0027096 | -0.0016582
14 | YES | 199.675 | 33.9107 | 0.00071383 | 0.0032387 | 0.0027096 | -0.00052905
14 | YES | 175.048 | 33.8911 | 0.00033482 | 0.0012588 | 0.0027096 | 0.0014508
14 | YES | 149.96 | 33.8563 | 0.00055482 | 0.0048408 | 0.0027096 | -0.0021312
14 | YES | 124.517 | 33.7484 | 0.00070227 | 0.0017319 | 0.0027096 | 0.00097776
14 | NO | 100.568 | 33.4208 | 0.0015052 | 0.0095406 | 0.0027096 | -0.0068309
14 | NO | 75.6136 | 32.8065 | 0.0037491 | 0.010586 | 0.0027096 | -0.0078762
14 | NO | 50.2432 | 32.3778 | 0.0029498 | 0.0041161 | 0.0027096 | -0.0014064
14 | NO | 29.373 | 32.2448 | 0.00098054 | 0.0022354 | 0.0027096 | 0.00047422
14 | NO | 20.1273 | 32.079 | 0.0046635 | 0.0065765 | 0.0027096 | -0.0038669
14 | YES | 10.4357 | 32.0674 | 0.00029902 | -0.00035095 | 0.0027096 | 0.0030606
14 | NO | 4.8092 | 32.0682 | 0.00048498 | 0.00088882 | 0.0027096 | 0.0018208
15 | YES | 999.236 | 34.37 | 0.00025808 | 0.0027199 | 0.0028557 | 0.00013586
15 | YES | 751.445 | 34.2479 | 0.0002243 | 0.0029411 | 0.0028557 | -8.5392e-05
15 | YES | 498.925 | 34.0906 | 0.00056267 | 0.0039024 | 0.0028557 | -0.0010467
15 | NO | 5.2791 | 31.5033 | 0.00027101 | -1.9073e-05 | 0.0028557 | 0.0028748
16 | NO | 5.1063 | 30.8091 | 0.00039052 | -0.0014114 | 0.0030018 | 0.0044133
17 | NO | 5.1478 | 30.6718 | 0.0013394 | -0.0029068 | 0.003148 | 0.0060548
18 | YES | 350.633 | 30.9295 | 0.00022509 | 0.0029907 | 0.0032941 | 0.00030334
18 | NO | 10.0757 | 27.9306 | 0.005626 | -0.060955 | 0.0032941 | 0.064249
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
YES
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
NO
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. Salinity_T0_C0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Sal1 vs File Pair #
Calculation of Linear Least Squares Fit For
(Salinity_T1_C1 - Salinity_Bottle)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity_T1_C1 - Salinity_Bottle), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.11823 |  | X | CALC Y
m= | 0.00011487 | 3.9842e-05 |  | Std Dev of Resid |  | 0.0011998 |  | 3 | -0.00051305
b= | -0.00085767 | 0.00042397 |  | Resid Sum of Squares |  | 8.9252e-05 |  | 18 | 0.0012101
# of Values Extracted = |  |  | 100
# of Values Used in Fit = |  |  | 64
File | Use | Pressure | Salinity_T1_C1 | Salinity_T1_C1 | Diff (Salinity_T1_C1 - Salinity_Bottle) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 4.761 | 31.2349 | 0.037008 | 0.040586 | -0.00074279 | -0.041329 |  | 3 | -0.00095367
2 | NO | 4.9839 | 30.7719 | 0.00045155 | -0.083359 | -0.00062792 | 0.082731 |  | 3 | -0.0019341
3 | YES | 1001.19 | 34.3565 | 0.00026178 | -0.00095367 | -0.00051305 | 0.00044063 |  | 3 | -0.0025902
3 | YES | 750.313 | 34.2607 | 0.00074595 | -0.0019341 | -0.00051305 | 0.001421 |  | 4 | 0.00046539
3 | YES | 500.334 | 34.0846 | 0.00032446 | -0.0025902 | -0.00051305 | 0.0020771 |  | 4 | 2.6703e-05
4 | YES | 1465.44 | 34.5031 | 0.00030356 | 0.00046539 | -0.00039817 | -0.00086357 |  | 4 | 0.00093079
4 | YES | 1249.72 | 34.4409 | 0.0003045 | 2.6703e-05 | -0.00039817 | -0.00042488 |  | 4 | 0.00067902
4 | YES | 999.606 | 34.3728 | 0.00027019 | 0.00093079 | -0.00039817 | -0.001329 |  | 4 | 6.8665e-05
4 | YES | 750.311 | 34.2667 | 0.00046486 | 0.00067902 | -0.00039817 | -0.0010772 |  | 4 | 0.0007782
4 | YES | 500.522 | 34.0943 | 0.00045893 | 6.8665e-05 | -0.00039817 | -0.00046684 |  | 4 | -7.2479e-05
4 | YES | 300.319 | 33.999 | 0.00057324 | 0.0007782 | -0.00039817 | -0.0011764 |  | 4 | -0.00074768
4 | YES | 250.587 | 33.9711 | 0.00022502 | -7.2479e-05 | -0.00039817 | -0.00032569 |  | 4 | -0.00034332
4 | YES | 200.779 | 33.9412 | 0.00027986 | -0.00074768 | -0.00039817 | 0.00034951 |  | 4 | 0.0010109
4 | YES | 175.274 | 33.9229 | 0.00030001 | -0.00034332 | -0.00039817 | -5.485e-05 |  | 8 | -0.0011635
4 | YES | 149.874 | 33.8925 | 0.00044458 | 0.0010109 | -0.00039817 | -0.0014091 |  | 8 | -0.00012207
4 | NO | 124.842 | 33.8163 | 0.0014096 | -0.0027847 | -0.00039817 | 0.0023866 |  | 9 | -0.0007782
4 | NO | 99.9608 | 33.5169 | 0.0027077 | 0.0029831 | -0.00039817 | -0.0033813 |  | 9 | 0.0010834
4 | NO | 75.039 | 32.8229 | 0.0042297 | 0.0099373 | -0.00039817 | -0.010335 |  | 9 | 0.00061035
4 | NO | 50.3575 | 32.208 | 0.0025736 | 0.074429 | -0.00039817 | -0.074827 |  | 9 | -0.00016403
4 | NO | 29.8492 | 31.59 | 0.0033767 | -0.0059128 | -0.00039817 | 0.0055146 |  | 9 | 5.722e-05
4 | NO | 19.9568 | 31.2204 | 0.019077 | -0.066217 | -0.00039817 | 0.065819 |  | 9 | 0.0011673
4 | NO | 10.0648 | 31.0078 | 0.0046673 | 0.077829 | -0.00039817 | -0.078228 |  | 9 | 0.0012436
4 | NO | 5.108 | 30.4711 | 0.0022446 | -0.010044 | -0.00039817 | 0.0096459 |  | 9 | -0.0021439
5 | NO | 5.2363 | 30.9939 | 0.02005 | 0.047707 | -0.0002833 | -0.04799 |  | 9 | -0.0013199
6 | NO | 5.0395 | 30.5293 | 0.066935 | -0.093756 | -0.00016843 | 0.093587 |  | 9 | 0.00060272
7 | NO | 5.5076 | 31.0746 | 0.0013198 | -0.0037575 | -5.3552e-05 | 0.0037039 |  | 9 | -0.0007019
8 | YES | 749.515 | 34.2215 | 0.00054514 | -0.0011635 | 6.1322e-05 | 0.0012248 |  | 9 | 0.0016708
8 | YES | 501.031 | 34.0951 | 0.00024082 | -0.00012207 | 6.1322e-05 | 0.00018339 |  | 9 | 0.00028229
9 | YES | 1500.15 | 34.5111 | 0.00024198 | -0.0007782 | 0.0001762 | 0.00095439 |  | 9 | 0.00010681
9 | YES | 1249.58 | 34.4531 | 0.00030569 | 0.0010834 | 0.0001762 | -0.00090717 |  | 10 | 0.00064468
9 | YES | 999.902 | 34.3773 | 0.00024661 | 0.00061035 | 0.0001762 | -0.00043416 |  | 11 | 0.00033569
9 | YES | 749.775 | 34.2685 | 0.00031856 | -0.00016403 | 0.0001762 | 0.00034023 |  | 11 | 0.00030136
9 | YES | 499.665 | 34.1021 | 0.00034364 | 5.722e-05 | 0.0001762 | 0.00011898 |  | 11 | 0.00075531
9 | YES | 399.798 | 34.0518 | 0.00035933 | 0.0011673 | 0.0001762 | -0.0009911 |  | 11 | -0.0006752
9 | YES | 299.841 | 33.9873 | 0.00041838 | 0.0012436 | 0.0001762 | -0.0010674 |  | 11 | 0.00040817
9 | YES | 249.963 | 33.9579 | 0.0003444 | -0.0021439 | 0.0001762 | 0.0023201 |  | 11 | 0.0013733
9 | YES | 200.619 | 33.9238 | 0.00036152 | -0.0013199 | 0.0001762 | 0.0014961 |  | 11 | 0.00051117
9 | YES | 175.832 | 33.9002 | 0.00051136 | 0.00060272 | 0.0001762 | -0.00042653 |  | 11 | -0.0013199
9 | YES | 150.501 | 33.8475 | 0.00030945 | -0.0007019 | 0.0001762 | 0.0008781 |  | 11 | -0.00093079
9 | YES | 125.23 | 33.7425 | 0.00039853 | 0.0016708 | 0.0001762 | -0.0014946 |  | 11 | -0.0011368
9 | NO | 99.6354 | 33.4331 | 0.0016363 | 0.0048828 | 0.0001762 | -0.0047066 |  | 11 | 0.00086975
9 | NO | 74.8889 | 32.5683 | 0.0026847 | 0.019386 | 0.0001762 | -0.01921 |  | 11 | 0.0013123
9 | YES | 50.8379 | 32.2485 | 0.00048448 | 0.00028229 | 0.0001762 | -0.00010609 |  | 11 | 0.0010414
9 | NO | 30.7139 | 32.1954 | 0.0010106 | 0.0011101 | 0.0001762 | -0.00093388 |  | 11 | -0.0015526
9 | YES | 19.9893 | 32.172 | 0.00057372 | 0.00010681 | 0.0001762 | 6.9384e-05 |  | 12 | -0.0023079
9 | NO | 10.6 | 31.1054 | 0.0076187 | -0.029495 | 0.0001762 | 0.029671 |  | 12 | 0.00082016
9 | NO | 4.6509 | 31.1033 | 0.0015132 | -0.00741 | 0.0001762 | 0.0075862 |  | 13 | 0.00074387
10 | YES | 751.01 | 34.2605 | 0.00051377 | 0.00064468 | 0.00029107 | -0.00035361 |  | 14 | 0.00087738
10 | NO | 5.5557 | 31.4742 | 0.033086 | 0.013048 | 0.00029107 | -0.012757 |  | 14 | 0.0023689
11 | YES | 2001.18 | 34.5911 | 0.00035852 | 0.00033569 | 0.00040594 | 7.0251e-05 |  | 14 | 0.0016289
11 | YES | 1500.73 | 34.5042 | 0.00029129 | 0.00030136 | 0.00040594 | 0.00010458 |  | 14 | 0.00069046
11 | YES | 1250.79 | 34.4489 | 0.00030669 | 0.00075531 | 0.00040594 | -0.00034937 |  | 14 | 0.0012894
11 | YES | 1000.7 | 34.3737 | 0.00027076 | -0.0006752 | 0.00040594 | 0.0010811 |  | 14 | -8.7738e-05
11 | YES | 749.056 | 34.2567 | 0.00058468 | 0.00040817 | 0.00040594 | -2.2294e-06 |  | 14 | 0.002533
11 | NO | 501.026 | 34.0985 | 0.00084834 | 0.0013847 | 0.00040594 | -0.0009788 |  | 14 | 0.0030861
11 | YES | 400.995 | 34.0359 | 0.00062377 | 0.0013733 | 0.00040594 | -0.00096735 |  | 14 | 0.0019684
11 | YES | 300.557 | 33.9894 | 0.00030516 | 0.00051117 | 0.00040594 | -0.00010523 |  | 14 | -0.00032043
11 | YES | 250.792 | 33.9643 | 0.00042455 | -0.0013199 | 0.00040594 | 0.0017258 |  | 14 | 0.0033913
11 | YES | 200.317 | 33.8927 | 0.00026841 | -0.00093079 | 0.00040594 | 0.0013367 |  | 14 | 0.00054932
11 | YES | 175.101 | 33.883 | 0.00042515 | -0.0011368 | 0.00040594 | 0.0015427 |  | 14 | -0.0023041
11 | YES | 150.616 | 33.8868 | 0.00027534 | 0.00086975 | 0.00040594 | -0.00046381 |  | 15 | 0.00072479
11 | YES | 124.726 | 33.844 | 0.00057514 | 0.0013123 | 0.00040594 | -0.00090632 |  | 15 | 0.0010986
11 | NO | 100.746 | 33.697 | 0.0015514 | 0.0046616 | 0.00040594 | -0.0042556 |  | 15 | 0.0020752
11 | YES | 74.7942 | 33.3891 | 0.00054369 | 0.0010414 | 0.00040594 | -0.00063547 |  | 18 | -0.00022888
11 | NO | 50.5027 | 32.5173 | 0.0010804 | -0.026375 | 0.00040594 | 0.026781
11 | YES | 30.4791 | 32.3132 | 0.00056702 | -0.0015526 | 0.00040594 | 0.0019585
11 | NO | 20.525 | 32.1439 | 0.038575 | 0.071545 | 0.00040594 | -0.071139
11 | NO | 10.4371 | 31.8283 | 0.0017399 | -0.0049191 | 0.00040594 | 0.005325
11 | NO | 5.0198 | 31.8034 | 0.001554 | -0.0050221 | 0.00040594 | 0.005428
12 | YES | 1250.85 | 34.4176 | 0.00045717 | -0.0023079 | 0.00052082 | 0.0028287
12 | YES | 1000.76 | 34.3298 | 0.00026077 | 0.00082016 | 0.00052082 | -0.00029934
13 | YES | 149.967 | 33.9266 | 0.00027137 | 0.00074387 | 0.00063569 | -0.00010817
14 | YES | 2001.86 | 34.5863 | 0.00027135 | 0.00087738 | 0.00075056 | -0.00012682
14 | YES | 1499.2 | 34.5106 | 0.00027704 | 0.0023689 | 0.00075056 | -0.0016184
14 | YES | 1250.89 | 34.4461 | 0.00028048 | 0.0016289 | 0.00075056 | -0.00087832
14 | YES | 999.201 | 34.3725 | 0.00031479 | 0.00069046 | 0.00075056 | 6.0105e-05
14 | YES | 749.607 | 34.2517 | 0.00028102 | 0.0012894 | 0.00075056 | -0.00053881
14 | YES | 499.297 | 34.1039 | 0.00060083 | -8.7738e-05 | 0.00075056 | 0.0008383
14 | YES | 398.582 | 34.0589 | 0.00030605 | 0.002533 | 0.00075056 | -0.0017824
14 | NO | 300.455 | 34.0057 | 0.00081036 | 0.0018959 | 0.00075056 | -0.0011453
14 | YES | 250.011 | 33.9695 | 0.00030287 | 0.0030861 | 0.00075056 | -0.0023355
14 | YES | 199.675 | 33.9095 | 0.00065388 | 0.0019684 | 0.00075056 | -0.0012178
14 | YES | 175.048 | 33.8895 | 0.0003049 | -0.00032043 | 0.00075056 | 0.001071
14 | YES | 149.96 | 33.8549 | 0.00048326 | 0.0033913 | 0.00075056 | -0.0026407
14 | YES | 124.517 | 33.7472 | 0.00071207 | 0.00054932 | 0.00075056 | 0.00020125
14 | NO | 100.568 | 33.4186 | 0.0017265 | 0.0073051 | 0.00075056 | -0.0065546
14 | NO | 75.6136 | 32.8047 | 0.003977 | 0.0088272 | 0.00075056 | -0.0080766
14 | NO | 50.2432 | 32.3755 | 0.0031459 | 0.0017548 | 0.00075056 | -0.0010042
14 | NO | 29.373 | 32.2432 | 0.0010095 | 0.00061035 | 0.00075056 | 0.00014021
14 | NO | 20.1273 | 32.0769 | 0.0051102 | 0.0044975 | 0.00075056 | -0.003747
14 | YES | 10.4357 | 32.0655 | 0.00031379 | -0.0023041 | 0.00075056 | 0.0030546
14 | NO | 4.8092 | 32.0657 | 0.00041777 | -0.0015602 | 0.00075056 | 0.0023108
15 | YES | 999.236 | 34.368 | 0.0002649 | 0.00072479 | 0.00086544 | 0.00014065
15 | YES | 751.445 | 34.2461 | 0.00029894 | 0.0010986 | 0.00086544 | -0.00023319
15 | YES | 498.925 | 34.0888 | 0.0006008 | 0.0020752 | 0.00086544 | -0.0012098
15 | NO | 5.2791 | 31.5017 | 0.00025981 | -0.001606 | 0.00086544 | 0.0024714
16 | NO | 5.1063 | 30.8071 | 0.00044972 | -0.0033608 | 0.00098031 | 0.0043411
17 | NO | 5.1478 | 30.6693 | 0.00087234 | -0.0053616 | 0.0010952 | 0.0064567
18 | YES | 350.633 | 30.9263 | 0.00032057 | -0.00022888 | 0.0012101 | 0.0014389
18 | NO | 10.0757 | 27.9363 | 0.0031043 | -0.05534 | 0.0012101 | 0.05655
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
YES
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
NO
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. Salinity_T1_C1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE