File List for SeaBird Data          Cruise Number: _2023-026____

[osdcommon\cruise_data\2023-026\ARCHIVE]

[osdcommon\cruise_data\2023-026\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2023-026\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2023-026\ARCHIVE\CTD photos] *.CTD

[osdcommon\cruise_data\2023-026\ARCHIVE\DOC] documents from Raw and PROCESSING

[osdcommon\cruise_data\2023-026\ARCHIVE\DOC\HYDRO] Files from bottle comparisons

[osdcommon\cruise_data\2023-026\ARCHIVE\DOC\TSG] TSG documents

[osdcommon\cruise_data\2023-026\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2023-026\ARCHIVE\Underway] *.TOB – thermosalinograph files

[osdcommon\cruise_data\2023-026\PROCESSING]

[osdcommon\cruise_data\2023-026\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2023-026\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2023-026\PROCESSING\DOC]

2023-026-recal1.ccf – calibration control file for Press, Depth, SAL, DO corrections

2023-026_File.doc - this document

2023-026_Processing_Report.doc - processing notes

2023-026-ctd.xmlcon – configuration file used in converting files

25P-1255 May 2023.xmlcon – configuration file for SBE25

2023-026-ctd-final.rpt – CTD file header check including channel summary

2023-026-ctd-xref.lis – cross reference list of CTD files

2023-026-altimeter-ctd.xlsx – report on header entries for altimetry

2023-026_CTD25-CTD911_comparison.xlsx – comparison study

Notes from Kelly re sbe25-sbe911-comp.txt – notes from CS on comparison

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2023-026\PROCESSING\DOC\hydro]

2023-026chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2023-026NH4.csv – NH4 data simplified from analyst’s s/s

2023-026nuts.csv – nutrients simplified from analyst’s s/s

2023-026oxy.csv – dissolved oxygen data simplified from analyst’s s/s

2023-026sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2023-026-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2023-026-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2023-026-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2023-026-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2023-026-sal-comp1.csv & xlsx –initial comparison of rosette bottle and CTD salinity

2023-026-sal-comp2.csv & xlsx –comparison after CTD Sal recal

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2023-026-bottles-final.xslx – summary of bottle data in CHE files

2023-026-che-final.rpt – final header check of bottle files

2023-026-che-xref.lis – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2023-026\PROCESSING\DOC\tsg]

2023-026-tsg-ctd-loop-comp.xlsx – comparisons of TSG data, loop, CTD

2023-0260-hdr-tsg.txt – header with comments for TOB files.

2023-026-tsg-recal1.ccf – recalibration file for TSG files

[osdcommon\cruise_data\2023-026\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.ed1 & .log – CTDEDIT output for 7 files

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgcln2 – after cleaning MRG files to add 0 flags and update channel limits

*.mrgcor1 – after 2nd run Calibrate to recal DO

*.mrgox2 – after 2 runs to change DO channels to mass units

*.mrgrem – after removal of unneeded channels

*.mrgreo – just before final step running Head Edit

*.NH4 -ammonium files converted from simplified version of analyst’s spreadsheet

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

[osdcommon\cruise_data\2023-026\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.cor1 –after recalibration of SBE DO

*.ctd - final files

*.del & delpred– after DELETE with and without AI prediction

*.edt  - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2023-026\PROCESSING\SBE25]

Files for comparison of CTD 1255 (SBE25) with DO sensor 1119 (SBE911+)

[osdcommon\cruise_data\2023-026\PROCESSING\TSG] before conversion to IOS SHELL

2023-026-tsg.csv – RAW data combined from several files

[osdcommon\cruise_data\2023-026\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding Julian time

*.cln – after adding positions and times to headers and time/date channels

*.cor1 – after recalibration

*.dqt2 – after recal & derivation of salinity and then Sigma-T

*.edt & LOG* – after editing (File for every cast even if no editing applied.)

*.ios – after conversion to IOS HEADERS

*.rem – after removing fluorescence, pressure, T difference and record #

*.reo –TSG files after REORDER

*.tob – final files

Files.txt – list of TOB files