## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6.1 | Run at 2024/02/01 11:56:43 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | OXY_BOT | OXY_SBE |  | OXY_SBE - OXY_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | OXY_BOT | OXY_SBE | OXY_SBE | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 334.023 | 333.89 | 0 | -0.133 | 1.2 | 1.199 | 0 | -0.001
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 300.164 | 300.004 | 0 | -0.16 | 1.301 | 1.288 | 0 | -0.013
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 275.313 | 275.017 | 0 | -0.29599 | 1.299 | 1.311 | 0 | 0.012
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 249.48 | 249.991 | 0 | 0.511 | 1.378 | 1.417 | 0 | 0.039
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 225.033 | 225.015 | 0 | -0.018005 | 1.476 | 1.469 | 0 | -0.007
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 200.863 | 200.986 | 0 | 0.12299 | 1.493 | 1.512 | 0 | 0.019
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 175.584 | 176.016 | 0 | 0.43201 | 1.55 | 1.581 | 0 | 0.031
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 150.429 | 150.002 | 0 | -0.427 | 1.522 | 1.536 | 0 | 0.014
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 124.953 | 125.011 | 0 | 0.057999 | 1.601 | 1.641 | 0 | 0.04
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 100.406 | 100.006 | 0 | -0.4 | 1.97 | 2.032 | 0 | 0.062
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 90.609 | 91.004 | 0 | 0.395 | 2.086 | 2.14 | 0 | 0.054
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 80.241 | 79.99 | 0 | -0.251 | 2.208 | 2.312 | 0 | 0.104
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 71.134 | 71.005 | 0 | -0.12901 | 2.438 | 2.55 | 0 | 0.112
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 60.316 | 59.995 | 0 | -0.321 | 2.572 | 2.57 | 0 | -0.0020001
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 50.182 | 50.001 | 0 | -0.181 | 2.344 | 2.388 | 0 | 0.044
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 40.258 | 40.012 | 0 | -0.246 | 2.474 | 2.571 | 0 | 0.097
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 29.924 | 30.03 | 0 | 0.106 | 3.073 | 3.157 | 0 | 0.084
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 20.282 | 19.992 | 0 | -0.29 | 3.884 | 4.357 | 0 | 0.473
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 10.855 | 11.01 | 0 | 0.155 | 4.86 | 5.165 | 0 | 0.305
2023-034-0004.mrg | 2023-034-0004.thn1 | 1 | 4.963 | 4.924 | 0 | -0.039 | 6.853 | 6.418 | 0 | -0.435
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2023-034-0004.mrg | 2023-034-0004.thn1 | 11 | 30 | 2023-034-0004.mrg & 2023-034-0004.thn1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (OXY_SBE - OXY_BOT) | OXY_SBE | 1
2 | (OXY_SBE - OXY_BOT) | Pressure | 1

## Fit_1
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.47964 |  | X | CALC Y
m= | 0.05429 | 0.015113 |  | Std Dev of Resid |  | 0.029614 |  | 1.199 | 0.0027516
b= | -0.062342 | 0.028847 |  | Resid Sum of Squares |  | 0.012278 |  | 2.571 | 0.077237
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 16
Downcast
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid | Bottle | X | Y
1 | YES | 333.89 | 1.199 | 0 | -0.001 | 0.0027516 | 0.0037517 | 1.2 | 1.199 | -0.001
1 | YES | 300.004 | 1.288 | 0 | -0.013 | 0.0075834 | 0.020583 | 1.301 | 1.288 | -0.013
1 | YES | 275.017 | 1.311 | 0 | 0.012 | 0.008832 | -0.003168 | 1.299 | 1.311 | 0.012
1 | YES | 249.991 | 1.417 | 0 | 0.039 | 0.014587 | -0.024413 | 1.378 | 1.417 | 0.039
1 | YES | 225.015 | 1.469 | 0 | -0.007 | 0.01741 | 0.02441 | 1.476 | 1.469 | -0.007
1 | YES | 200.986 | 1.512 | 0 | 0.019 | 0.019744 | 0.00074435 | 1.493 | 1.512 | 0.019
1 | YES | 176.016 | 1.581 | 0 | 0.031 | 0.02349 | -0.0075098 | 1.55 | 1.581 | 0.031
1 | YES | 150.002 | 1.536 | 0 | 0.014 | 0.021047 | 0.0070471 | 1.522 | 1.536 | 0.014
1 | YES | 125.011 | 1.641 | 0 | 0.04 | 0.026748 | -0.013252 | 1.601 | 1.641 | 0.04
1 | YES | 100.006 | 2.032 | 0 | 0.062 | 0.047975 | -0.014025 | 1.97 | 2.032 | 0.062
1 | YES | 91.004 | 2.14 | 0 | 0.054 | 0.053838 | -0.00016199 | 2.086 | 2.14 | 0.054
1 | YES | 79.99 | 2.312 | 0 | 0.104 | 0.063176 | -0.040824 | 2.208 | 2.312 | 0.104
1 | YES | 71.005 | 2.55 | 0 | 0.112 | 0.076097 | -0.035903 | 2.438 | 2.55 | 0.112
1 | YES | 59.995 | 2.57 | 0 | -0.0020001 | 0.077183 | 0.079183 | 2.572 | 2.57 | -0.0020001
1 | YES | 50.001 | 2.388 | 0 | 0.044 | 0.067302 | 0.023302 | 2.344 | 2.388 | 0.044
1 | YES | 40.012 | 2.571 | 0 | 0.097 | 0.077237 | -0.019763 | 2.474 | 2.571 | 0.097 | 0.037813
1 | NO | 30.03 | 3.157 | 0 | 0.084 | 0.10905 | 0.025051 | 3.073
1 | NO | 19.992 | 4.357 | 0 | 0.473 | 0.1742 | -0.2988 | 3.884
1 | NO | 11.01 | 5.165 | 0 | 0.305 | 0.21806 | -0.086936 | 4.86
1 | NO | 4.924 | 6.418 | 0 | -0.435 | 0.28609 | 0.72109 | 6.853
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.45894 |  | X | CALC Y
m= | -0.00028035 | 8.1356e-05 |  | Std Dev of Resid |  | 0.030197 |  | 40.012 | 0.07089
b= | 0.082108 | 0.014907 |  | Resid Sum of Squares |  | 0.012766 |  | 333.89 | -0.0115
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 333.89 | 1.199 | 0 | -0.001 | -0.0115 | -0.0105 |  | 333.89 | -0.001
1 | YES | 300.004 | 1.288 | 0 | -0.013 | -0.0019999 | 0.011 |  | 300.004 | -0.013
1 | YES | 275.017 | 1.311 | 0 | 0.012 | 0.0050053 | -0.0069947 |  | 275.017 | 0.012
1 | YES | 249.991 | 1.417 | 0 | 0.039 | 0.012021 | -0.026979 |  | 249.991 | 0.039
1 | YES | 225.015 | 1.469 | 0 | -0.007 | 0.019024 | 0.026024 |  | 225.015 | -0.007
1 | YES | 200.986 | 1.512 | 0 | 0.019 | 0.02576 | 0.0067603 |  | 200.986 | 0.019
1 | YES | 176.016 | 1.581 | 0 | 0.031 | 0.032761 | 0.0017607 |  | 176.016 | 0.031
1 | YES | 150.002 | 1.536 | 0 | 0.014 | 0.040054 | 0.026054 |  | 150.002 | 0.014
1 | YES | 125.011 | 1.641 | 0 | 0.04 | 0.04706 | 0.0070601 |  | 125.011 | 0.04
1 | YES | 100.006 | 2.032 | 0 | 0.062 | 0.05407 | -0.0079296 |  | 100.006 | 0.062
1 | YES | 91.004 | 2.14 | 0 | 0.054 | 0.056594 | 0.0025941 |  | 91.004 | 0.054
1 | YES | 79.99 | 2.312 | 0 | 0.104 | 0.059682 | -0.044318 |  | 79.99 | 0.104
1 | YES | 71.005 | 2.55 | 0 | 0.112 | 0.062201 | -0.049799 |  | 71.005 | 0.112
1 | YES | 59.995 | 2.57 | 0 | -0.0020001 | 0.065288 | 0.067288 |  | 59.995 | -0.0020001
1 | YES | 50.001 | 2.388 | 0 | 0.044 | 0.06809 | 0.02409 |  | 50.001 | 0.044
1 | YES | 40.012 | 2.571 | 0 | 0.097 | 0.07089 | -0.02611 |  | 40.012 | 0.097
1 | NO | 30.03 | 3.157 | 0 | 0.084 | 0.073689 | -0.010312
1 | NO | 19.992 | 4.357 | 0 | 0.473 | 0.076503 | -0.3965
1 | NO | 11.01 | 5.165 | 0 | 0.305 | 0.079021 | -0.22598
1 | NO | 4.924 | 6.418 | 0 | -0.435 | 0.080727 | 0.51573
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE