## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 12 February 2025 | Corrected units for pH in 2023-054-0001.ctd G.G. |

## PROCESSING NOTES

Cruise: 2023-054

Agency: OSD

Location: Strait of Georgia, Juan de Fuca Strait

Project: Salmon Marine Interactions

Chief Scientist: Neville, C.

Platform: Franklin

Date: 16 September – 2 October 2023

Processed by: Jeannette Bedard

Date of Processing:  6 February 2024 – 16 April 2024

Number of HEX files: 	32		Number of CTD files processed: 32

# INSTRUMENT SUMMARY

SBE 25 CTD #0404, software version 1.59. With oxygen (SBE 43 sn 47), pH (SBE model 18 sn 1585) and fluorometer (WET labs ECO-AFL/FL sn 8101). There was no altimeter.

Seasave version 7.26.7.121was used for acquisition.

# SUMMARY OF QUALITY AND CONCERNS

The scanned physical Daily Science Log Book was in good order with useful comments about the CTD.

All sensors were recently calibrated and only used on one prior cruise. See the table below for more details.

With the exception of the first cast, pH values were bad.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

- The pressure, temperature, conductivity and dissolved oxygen sensors had all been serviced and recalibrated early in 2023.

- A scan of a physical lab book was obtained.

- The configuration file used at sea had the latest calibration parameters. No changes were made during the cruise.

##### Conversion of Full Files from Raw Data

All files were converted using file 2023-054primary_25-0404.xmlcon.

The Tau function was selected but not the hysteresis function since there was no deep sampling.

A few casts were examined and data looked reasonable.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, depth, conductivity & temperature only in the full cast files (*.CNV).

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

##### ALIGN DO

A few casts were examined; both temperature channels were noisy during upcasts, so the tests were not easy to interpret, but using +2.5s certainly improves the alignment and overall looks like a good choice for both sensors. That setting has worked well for many SBE DO sensors in recent years.

ALIGNCTD was run on all casts using +2.5s.

##### CELLTM

CELLTM was run using (α = 0.0245, β=9.5) for both the primary and secondary conductivity.

##### DERIVE and Channel Comparisons

Program DERIVE was run on all casts to calculate salinity and dissolved oxygen concentration.

Tests were done to ensure the previous steps had worked well. The DO alignment looks reasonably good.

##### Conversion to IOS Header Format

The IOSSHELL routine was used to convert SEA-Bird CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

##### CLIP

Soak data was included with the casts, CLIP was run to remove these data.

##### Checking Headers

- The cross-reference check and header check were run. Noted that there were negative values for fluorescence and pH.

- Surface check was run and found an average of 3.9db.

- Cruise tracks were plotted and no problems were found. Tracks with event numbers and stations are added to the end of this report, note that both are numbers, but not the same numbers.

##### Shift

pH

The pH data was examined and most casts were found to be excessively spiky and contained gaps. Many data values appeared low and up and down casts were very different from each other. This suggests that there was an issue with the instrument or the connectors. The first casts was the only one that seemed reasonable. A shift of +20 was applied to the data.

Conductivity

Tests were run on a few casts to assess what settings are best to align conductivity with temperature (as judged by the effect on salinity as seen in T-S space). The following shifts were tested: 0.5, -0.5, 0.8, -0.8, 0.2 and -0.2 – none of these shifts improved the alignment.

No conductivity shift was applied.

Fluorescence

The Wetlabs fluorometer did not require a shift. CLEAN was run to ensure there were no negative values in this channel.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked to see if the alignment looked good, and it did. No further alignment was needed.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There was 1 warning from cast #63 but it was while the CTD was at the bottom, so does not affect the DEL file.

##### Other Comparisons

Experience with these sensors since last factory service –  This CTD was used for three casts on 2023-053 and the data looked good.

Historic ranges – Profile plots were made with 3-standard deviation climatology ranges of T and S superimposed. 22 of the 32 casts fell within the climatology ranges. Casts 1, 88, and 94 had lower salinities than the climatology and casts 159 and 161’s deeper values were also fresher than the climatology—these casts were all taken deep in inlets.

No climatology was available for casts 74, 76, 79, 86, and 98—these casts were all taken in the smaller inlets east of Discovery Passage.

Post-Cruise Calibration – There were no post-cruise calibrations available.

##### DETAILED EDITING

All temperature, salinity and fluorescence cast data was examined in detail. Taking into consideration that the coastal regions these casts were taken in experience active mixing, it was determined that no manual editing was required.

The edited files were copied to *.EDT.

After editing T-S plots were examined for all casts. No further editing was needed.

##### Corrections to Pressure, Salinity and Dissolved Oxygen Concentration

There is no indication of a problem with pressure calibration and there is no information available upon which to base recalibration of conductivity. No recalibration was applied.

##### Fluorescence Processing

A median filter, size 11, was applied to the fluorescence channel in the EDT (because no COR1 files were created) files. Plots of a few casts showed that the filter was effective (Output:*.FIL).

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

T-S and profile plots were examined. No problems were found.

##### Final CTD File Steps (REMOVE and HEADEDIT)

For all casts REMOVE was run to remove the following channels:

Scan_Number, Oxygen:Voltage:SBE, Descent_Rate and Flag. With cast 1 as the only exception, the pH channel was removed due to bad data

A second SBE DO channel (with umol/kg units) was added (Output:*.UNT).

REORDER was run to get the two DO channels together (Output: *.REO).

HEADER EDIT was used to fix formats and channel names and to add comments about processing.

The Standards Check routine was run and all issues were fixed.

The Header Check was run; no problems were found.

Profile and T-S plots were examined. No problems were found.

The sensor history was updated.

CRUISE SUMMARY – CTD

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 25 | 0404 | No | No |  |
| Calibration Information - 0404 |  |  |  |  |  |  |
| Sensor |  |  | Pre-Cruise |  | Post Cruise |  |
| Name |  | S/N | Date | Location | Date | Location |
| Temperature |  | 5724 | 11 Jan 2023 | Factory |  |  |
| Conductivity |  | 1763 | 11 Jan 2023 | Factory |  |  |
| SBE 43 DO sensor |  | 47 | 25 Jan 2023 | Factory |  |  |
| PH |  | 1585 | 17 Mar 2023 | Factory |  |  |
| Fluorometer |  | 8101 | 28 Mar 2023 | Factory |  |  |
| Pressure Sensor |  | 0668 | 13 Feb 2023 | Factory |  |  |