## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2024/07/04 11:34:33 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2023-061-0054.mrg | 2023-061-0054.sam | 241 | 361.405 | 361.405 | 0.060467 | 0.00030518 | 34.0106 | 34.0063 | 0.00022412 | -0.0043182 | 34.0106 | 34.0039 | 0.0002383 | -0.0066567
2023-061-0054.mrg | 2023-061-0054.sam | 282 | 302.748 | 302.743 | 0.11719 | -0.0045776 | 33.9876 | 33.9908 | 0.00024177 | 0.0032387 | 33.9876 | 33.9879 | 0.00023792 | 0.0003128
2023-061-0054.mrg | 2023-061-0054.sam | 241 | 201.622 | 201.622 | 0.088277 | -0.00022888 | 33.8376 | 33.8409 | 0.00028878 | 0.0032768 | 33.8376 | 33.8374 | 0.00023921 | -0.00019455
2023-061-0054.mrg | 2023-061-0054.sam | 241 | 152.315 | 152.315 | 0.12513 | 0.00032043 | 33.5481 | 33.5605 | 0.00087225 | 0.012421 | 33.5481 | 33.5559 | 0.0012302 | 0.0078087
2023-061-0054.mrg | 2023-061-0054.sam | 241 | 100.268 | 100.268 | 0.1046 | -8.3923e-05 | 33.0395 | 33.0596 | 0.0018464 | 0.020081 | 33.0395 | 33.0536 | 0.0015611 | 0.014141
2023-061-0054.mrg | 2023-061-0054.sam | 241 | 75.47 | 75.4702 | 0.044852 | 0.00019836 | 32.5787 | 32.5696 | 0.0002598 | -0.0090866 | 32.5787 | 32.5653 | 0.00036232 | -0.013351
2023-061-0054.mrg | 2023-061-0054.sam | 241 | 51.193 | 51.1925 | 0.092256 | -0.0004921 | 32.2099 | 32.2094 | 0.00087085 | -0.00053787 | 32.2099 | 32.2046 | 0.00051426 | -0.0052795
2023-061-0054.mrg | 2023-061-0054.sam | 233 | 25.566 | 25.5271 | 0.21911 | -0.038879 | 31.9567 | 31.952 | 0.020816 | -0.0047016 | 31.9567 | 31.9493 | 0.025849 | -0.0074463
2023-061-0054.mrg | 2023-061-0054.sam | 241 | 10.146 | 10.1458 | 0.028024 | -0.00016594 | 31.6781 | 31.6184 | 0.00064296 | -0.059744 | 31.6781 | 31.6126 | 0.00057963 | -0.065453
2023-061-0054.mrg | 2023-061-0054.sam | 241 | 4.839 | 4.8395 | 0.068422 | 0.00048542 | 31.6232 | 31.6204 | 0.0011524 | -0.0027924 | 31.6232 | 31.6155 | 0.00058714 | -0.0076923
2023-061-0054.mrg | 2023-061-0054.sam | 241 | 1.82 | 1.8205 | 0.084037 | 0.00047708 | 31.6199 | 31.6197 | 0.00088102 | -0.0001812 | 31.6199 | 31.6142 | 0.00045388 | -0.0056839
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2023-061-0054.mrg | 2023-061-0054.sam | 12 | 22 | 2023-061-0054.mrg & 2023-061-0054.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Pressure | 1
2 | (Sal1 - Sal_Bot) | Pressure | 1

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.61294 |  | X | CALC Y
m= | -4.2368e-05 | 3.3668e-05 |  | Std Dev of Resid |  | 0.0038484 |  | 201.622 | 0.0044171
b= | 0.012959 | 0.0099671 |  | Resid Sum of Squares |  | 1.481e-05 |  | 361.405 | -0.0023526
# of Values Extracted = |  |  | 11
# of Values Used in Fit = |  |  | 3
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | [6 empty] | Pressure | Sal0 | Sal1 | sal1-sal0
1 | YES | 361.405 | 34.0063 | 0.00022412 | -0.0043182 | -0.0023526 | 0.0019656 | 34.0106 | 361.405 | -0.0043182 | [6 empty] | 361.405 | 34.0063 | 34.0039 | -0.0024
1 | YES | 302.743 | 33.9908 | 0.00024177 | 0.0032387 | 0.00013278 | -0.0031059 | 33.9876 | 302.743 | 0.0032387 |  |  |  | outlier from 10m |  |  | 302.743 | 33.9908 | 33.9879 | -0.0029
1 | YES | 201.622 | 33.8409 | 0.00028878 | 0.0032768 | 0.0044171 | 0.0011403 | 33.8376 | 201.622 | 0.0032768 |  |  |  | ctd | bottle | CTD-BOT | 201.622 | 33.8409 | 33.8374 | -0.0035
1 | NO | 152.315 | 33.5605 | 0.00087225 | 0.012421 | 0.0065062 | -0.0059145 | 33.5481 |  |  | 0.00073242 | 0.004374 | rep 1 | 31.6184 | 31.6805 | -0.062142 | 152.315 | 33.5605 | 33.5559 | -0.0046
1 | NO | 100.268 | 33.0596 | 0.0018464 | 0.020081 | 0.0087113 | -0.011369 | 33.0395 |  |  |  |  | rep 2 | 31.6184 | 31.6756 | -0.057198 | 100.268 | 33.0596 | 33.0536 | -0.006
1 | NO | 75.4702 | 32.5696 | 0.0002598 | -0.0090866 | 0.0097619 | 0.018849 | 32.5787 | [8 empty] | 75.4702 | 32.5696 | 32.5653 | -0.0043
1 | NO | 51.1925 | 32.2094 | 0.00087085 | -0.00053787 | 0.010791 | 0.011328 | 32.2099 | [8 empty] | 51.1925 | 32.2094 | 32.2046 | -0.0048
1 | NO | 25.5271 | 31.952 | 0.020816 | -0.0047016 | 0.011878 | 0.01658 | 31.9567 | [8 empty] | 25.5271 | 31.952 | 31.9493 | -0.0027
1 | NO | 10.1458 | 31.6184 | 0.00064296 | -0.059744 | 0.01253 | 0.072274 | 31.6781 | [8 empty] | 10.1458 | 31.6184 | 31.6126 | -0.0058
1 | NO | 4.8395 | 31.6204 | 0.0011524 | -0.0027924 | 0.012754 | 0.015547 | 31.6232 | [8 empty] | 4.8395 | 31.6204 | 31.6155 | -0.0049
1 | NO | 1.8205 | 31.6197 | 0.00088102 | -0.0001812 | 0.012882 | 0.013064 | 31.6199 | [8 empty] | 1.8205 | 31.6197 | 31.6142 | -0.0055
note sample from 10m was later changed by analyst from 31.6781 to 31.6756 since duplicate was rejected
Difference changed from -0.0597 to -0.0572.
That is still a major outlier so no change was made to this comparison.
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.54418 |  | X | CALC Y
m= | -3.5463e-05 | 3.2457e-05 |  | Std Dev of Resid |  | 0.00371 |  | 201.622 | 0.00090472
b= | 0.0080549 | 0.0096086 |  | Resid Sum of Squares |  | 1.3764e-05 |  | 361.405 | -0.0047617
# of Values Extracted = |  |  | 11
# of Values Used in Fit = |  |  | 3
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y |  |  | sal0 | sal1 | sal1-sal0
1 | YES | 361.405 | 34.0039 | 0.0002383 | -0.0066567 | -0.0047617 | 0.0018949 |  | 361.405 | -0.0066567 |  |  | 34.0063 | 34.0039 | -0.0024
1 | YES | 302.743 | 33.9879 | 0.00023792 | 0.0003128 | -0.0026814 | -0.0029942 |  | 302.743 | 0.0003128 |  |  | 33.9908 | 33.9879 | -0.0029
1 | YES | 201.622 | 33.8374 | 0.00023921 | -0.00019455 | 0.00090472 | 0.0010993 |  | 201.622 | -0.00019455 | -0.0021795 | 0.0038856 | 33.8409 | 33.8374 | -0.0035
1 | NO | 152.315 | 33.5559 | 0.0012302 | 0.0078087 | 0.0026533 | -0.0051554 | [5 empty] | 33.5605 | 33.5559 | -0.0046
1 | NO | 100.268 | 33.0536 | 0.0015611 | 0.014141 | 0.0044991 | -0.009642 | [5 empty] | 33.0596 | 33.0536 | -0.006
1 | NO | 75.4702 | 32.5653 | 0.00036232 | -0.013351 | 0.0053785 | 0.01873 | [5 empty] | 32.5696 | 32.5653 | -0.0043
1 | NO | 51.1925 | 32.2046 | 0.00051426 | -0.0052795 | 0.0062395 | 0.011519 | [5 empty] | 32.2094 | 32.2046 | -0.0048
1 | NO | 25.5271 | 31.9493 | 0.025849 | -0.0074463 | 0.0071497 | 0.014596 | [5 empty] | 31.952 | 31.9493 | -0.0027
1 | NO | 10.1458 | 31.6126 | 0.00057963 | -0.065453 | 0.0076951 | 0.073148 | [5 empty] | 31.6184 | 31.6126 | -0.0058
1 | NO | 4.8395 | 31.6155 | 0.00058714 | -0.0076923 | 0.0078833 | 0.015576 | [5 empty] | 31.6204 | 31.6155 | -0.0049
1 | NO | 1.8205 | 31.6142 | 0.00045388 | -0.0056839 | 0.0079904 | 0.013674 | [5 empty] | 31.6197 | 31.6142 | -0.0055
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE