## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2024/05/29 14:11:49 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2023-081-0037.mrgcor1 | 2023-081-0037.samcor1 | 241 | 1000.59 | 1000.59 | 0.22693 | 6.1035e-05 | 34.3619 | 34.3616 | 0.00049571 | -0.00028992 | 34.3619 | 34.3614 | 0.00052868 | -0.00045395
2023-081-0037.mrgcor1 | 2023-081-0037.samcor1 | 241 | 750.405 | 750.405 | 0.38494 | 0.00042725 | 34.2541 | 34.2566 | 0.00024549 | 0.0024986 | 34.2541 | 34.2564 | 0.00024539 | 0.0023041
2023-081-0037.mrgcor1 | 2023-081-0037.samcor1 | 241 | 500.341 | 500.341 | 0.11455 | 0.00018311 | 34.0737 | 34.0721 | 0.00023186 | -0.0015602 | 34.0737 | 34.072 | 0.00025069 | -0.0016861
2023-081-0037.mrgcor1 | 2023-081-0037.samcor1 | 241 | 400.744 | 400.744 | 0.13254 | 0.00039673 | 34.0527 | 34.0508 | 0.00039858 | -0.0018578 | 34.0527 | 34.0508 | 0.00030352 | -0.0019302
2023-081-0037.mrgcor1 | 2023-081-0037.samcor1 | 241 | 300.647 | 300.647 | 0.25242 | 0.00012207 | 33.988 | 33.9891 | 0.00023994 | 0.0010796 | 33.988 | 33.989 | 0.00024211 | 0.00099945
2023-081-0037.mrgcor1 | 2023-081-0037.samcor1 | 241 | 200.726 | 200.726 | 0.29051 | 0.00047302 | 33.9226 | 33.9206 | 0.0005164 | -0.0020294 | 33.9226 | 33.9206 | 0.00041557 | -0.0019798
2023-081-0037.mrgcor1 | 2023-081-0037.samcor1 | 241 | 100.408 | 100.408 | 0.25474 | 0.00045013 | 33.6096 | 33.6151 | 0.0032286 | 0.0055389 | 33.6096 | 33.6142 | 0.0027006 | 0.0045853
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2023-081-0037.mrgcor1 | 2023-081-0037.samcor1 | 12 | 18 | 2023-081-0037.mrgcor1 & 2023-081-0037.samcor1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Pressure | 1
2 | (Sal1 - Sal_Bot) | Pressure | 1

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.16482 |  | X | CALC Y
m= | 2.4787e-06 | 2.7899e-06 |  | Std Dev of Resid |  | 0.0018684 |  | 200.726 | -0.0011651
b= | -0.0016626 | 0.0016528 |  | Resid Sum of Squares |  | 1.3964e-05 |  | 1000.59 | 0.00081756
# of Values Extracted = |  |  | 7
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 1000.59 | 34.3616 | 0.00049571 | -0.00028992 | 0.00081756 | 0.0011075 |  | 1000.59 | -0.00028992
1 | YES | 750.405 | 34.2566 | 0.00024549 | 0.0024986 | 0.00019743 | -0.0023012 |  | 750.405 | 0.0024986
1 | YES | 500.341 | 34.0721 | 0.00023186 | -0.0015602 | -0.0004224 | 0.0011378 |  | 500.341 | -0.0015602
1 | YES | 400.744 | 34.0508 | 0.00039858 | -0.0018578 | -0.00066927 | 0.0011885 |  | 400.744 | -0.0018578
1 | YES | 300.647 | 33.9891 | 0.00023994 | 0.0010796 | -0.00091738 | -0.0019969 |  | 300.647 | 0.0010796
1 | YES | 200.726 | 33.9206 | 0.0005164 | -0.0020294 | -0.0011651 | 0.00086436 |  | 200.726 | -0.0020294 | -0.00035985 | 0.0018286
1 | NO | 100.408 | 33.6151 | 0.0032286 | 0.0055389 | -0.0014137 | -0.0069527
YES
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.1428 |  | X | CALC Y
m= | 2.239e-06 | 2.7428e-06 |  | Std Dev of Resid |  | 0.0018369 |  | 200.726 | -0.0011851
b= | -0.0016345 | 0.0016249 |  | Resid Sum of Squares |  | 1.3496e-05 |  | 1000.59 | 0.00060578
# of Values Extracted = |  |  | 7
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 1000.59 | 34.3614 | 0.00052868 | -0.00045395 | 0.00060578 | 0.0010597 |  | 1000.59 | -0.00045395
1 | YES | 750.405 | 34.2564 | 0.00024539 | 0.0023041 | 4.5621e-05 | -0.0022585 |  | 750.405 | 0.0023041
1 | YES | 500.341 | 34.072 | 0.00025069 | -0.0016861 | -0.00051426 | 0.0011718 |  | 500.341 | -0.0016861
1 | YES | 400.744 | 34.0508 | 0.00030352 | -0.0019302 | -0.00073726 | 0.001193 |  | 400.744 | -0.0019302
1 | YES | 300.647 | 33.989 | 0.00024211 | 0.00099945 | -0.00096137 | -0.0019608 |  | 300.647 | 0.00099945
1 | YES | 200.726 | 33.9206 | 0.00041557 | -0.0019798 | -0.0011851 | 0.00079474 |  | 200.726 | -0.0019798 | -0.00045776 | 0.0017745
1 | NO | 100.408 | 33.6142 | 0.0027006 | 0.0045853 | -0.0014097 | -0.005995
YES
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE