## Method and notes
DMSP-D analysis method
50-100mL of seawater is drained from the niskin into a magnetic filtration funnel containing a 0.7 µM GF/F filter
The first 3.5 mL from the funnel is collected in a polypropylene tube containing 50µL of H2SO4 (50%)
A new funnel and filter are used for each sample
Samples must be stored in dark at 4oC for minimum of 24 hours
Samples are hydrolized and run back at IOS when time permits
DMSP-T analysis method
3.5 mL of seawater is collected directly from the Niskin into a polypropylene tube containing 50µL of H2SO4 (50%)
Samples must be stored in dark at 4oC for minimum of 24 hours
Samples are hydrolized and run back at IOS when time permits
DMSP Calibration
A four to six level calibration table is used for calculating the concentrations of DMSP.
The standards are hydrolized in the same manner as the samples
A calibration curve is valid for 12 hours.
If analysis exceeded 12 hours a continuing calibration standard was run to ensure the calibration curve was still within acceptable limits.
Quality control
System blanks and duplicates were run for every station and on the hydrolysis blanks to ensure the system remained free of contamination and had acceptable reproducibility.
Detection Limit is 0.1 nM but is desginated as a "0" for the data set
All results represented in nM
The average of duplicates is reported unless otherwise stated
System
System worked well for this cruise.
Notes specific for this cruise
DMSP data are limited to 2 significant figures for this cruise
Unless otherwise indicated the % relative difference between duplicates is <20%.
Quality Flags
1 = Sample for this measurement was collected but not analyzed. Sample lost.
2 = Acceptable measurement.
3 = Questionable measurement (probably good).
4 = Poor measurement (probably bad).
5 = Measurement not reported (bad).
6 = Mean of replicate measurements.
7 = Manual chromatographic peak measurement.
8 = Irregular digital chromatographic peak integration.
9 = Sample was planned for this measurement from this bottle but was not collected.
36= DMSP: % relative difference >20% but <49%
46= DMSP: % relative difference >49%

## QF file
Event_Number | Station | Sample_Number | Dimethylsulfoniopropionate_Dissolved | Flag:Dimethylsulfoniopropionate_Dissolved | Comments | Dimethylsulfoniopropionate_Total | Flag:Dimethylsulfoniopropionate_Total | Comments
| P2 | 32 | < |  |  | 4.1311
| P2 | 38 | 0.15 | 6 |  | 37 | 6
| P2 | 41 | < |  |  | 142.4417
| P2 | 43 | 0.25072 |  |  | 200.9949
| P4 | 45 | < |  |  | <
| P4 | 47 | < |  |  | 0.51464
| P4 | 48 | 0.27252 |  |  | 2.9177
| P4 | 54 | 1.3989 |  |  | 72.4207
| P4 | 56 | 1.9 | 6 |  | 139.76 | 6
| P4 | 59 | 1.3666 |  |  | 310
| P4 | 61 | 1.362 |  |  | 196.3256
| P12 | 180 | < |  |  | <
| P12 | 182 | < |  |  | 0.5431
| P12 | 183 | < |  |  | 3.2966
| P12 | 189 | < |  |  | 79.7638
| P12 | 191 | 4.2 | 6 |  | 73.73 | 6
| P12 | 194 | 4.2011 |  |  | 63.9156
| P12 | 196 | 3.8143 |  |  | 81.2997
| P16 | 306 | 1.0002 | 4 | DMSP-d: Based on histroical data it is likely that this is contamination or carry-over resulting from the high values seen during this cruise | 0.95228 | 4 | DMSP-t: Based on histroical data it is likely that this is contamination or carry-over resulting from the high values seen during this cruise
| P16 | 308 | 1.0246 |  |  | 1.3084
| P16 | 309 | 1.2864 |  |  | 1.6325
| P16 | 315 | 3.7439 |  |  | 22.9914
| P16 | 317 | 3.8 | 6 |  | 42 | 6
| P16 | 320 | 5.3238 |  |  | 53.4764
| P16 | 322 | 4.9449 | 3 | DMSP-d: Software crashed while running this sample so concentration was estimated by comparing it's peak height to similar samples | 65.3216
| P20 | 377 | < |  |  | 0.32273 | 4 | DMSP-t: Based on histroical data it is likely that this is contamination or carry-over resulting from the high values seen during this cruise
| P20 | 380 | < |  |  | 0.91873
| P20 | 381 | 0.1291 |  |  | 2.8885
| P20 | 387 | 1.9293 |  |  | 68.669
| P20 | 389 | 5.2 | 36 | DMSP-d: % relative difference >20% but <49% | 70 | 6
| P20 | 392 | 2.8667 |  |  | 81.7453
| P20 | 394 | 2.6963 |  |  | 62.783
| P26 | 489 | < |  |  | <
| P26 | 492 | 0.16365 |  |  | 0.62281
| P26 | 493 | 1.0932 |  |  | 13.434
| P26 | 499 | 0.37557 |  |  | 7.3523
| P26 | 501 | 0.92 | 6 |  | 26.58 | 6
| P26 | 504 | 0.74818 |  |  | 22.7997
| P26 | 507 | 0.58644 |  |  | 22.6189

## Report
2023-088
Station | Fraction | Sample ID | Niskin | Depth (m) | MDL | FINAL Conc nM DMSP
P2 | Total | 32 | 1 | 100 | 0.1 | 4.1311
P2 | Total | 38A | 7 | 20 | 0.1 | 34.7426
P2 | Total | 38B | 7 | 20 | 0.1 | 38.9557
P2 | Total | 41 | 10 | 5 | 0.1 | 142.4417
P2 | Total | 43 | 12 | 0 | 0.1 | 200.9949
P2 | Dissolved | 32 | 1 | 100 | 0.1 | <
P2 | Dissolved | 38A | 7 | 20 | 0.1 | 0.28151
P2 | Dissolved | 38B | 7 | 20 | 0.1 | <
P2 | Dissolved | 41 | 10 | 5 | 0.1 | <
P2 | Dissolved | 43 | 12 | 0 | 0.1 | 0.25072
P4 | Total | 45 | 1 | 600 | 0.1 | <
P4 | Total | 47 | 3 | 400 | 0.1 | 0.51464
P4 | Total | 48 | 4 | 150 | 0.1 | 2.9177
P4 | Total | 54 | 10 | 30 | 0.1 | 72.4207
P4 | Total | 56A | 12 | 20 | 0.1 | 131.0631
P4 | Total | 56B | 12 | 20 | 0.1 | 148.6251
P4 | Total | 59 | 15 | 5 | 0.1 | 308.7827
P4 | Total | 61 | 17 | 0 | 0.1 | 196.3256
P4 | Dissolved | 45 | 1 | 600 | 0.1 | <
P4 | Dissolved | 47 | 1 | 400 | 0.1 | <
P4 | Dissolved | 48 | 2 | 150 | 0.1 | 0.27252
P4 | Dissolved | 54 | 7 | 30 | 0.1 | 1.3989
P4 | Dissolved | 56A | 8 | 20 | 0.1 | 1.7905
P4 | Dissolved | 56B | 8 | 20 | 0.1 | 1.9487
P4 | Dissolved | 59 | 15 | 5 | 0.1 | 1.3666
P4 | Dissolved | 61 | 17 | 0 | 0.1 | 1.362
P12 | Total | 180 | 1 | 600 | 0.1 | <
P12 | Total | 182 | 3 | 200 | 0.1 | 0.5431
P12 | Total | 183 | 4 | 150 | 0.1 | 3.2966
P12 | Total | 189 | 10 | 30 | 0.1 | 79.7638
P12 | Total | 191A | 12 | 20 | 0.1 | 71.4558
P12 | Total | 191B | 12 | 20 | 0.1 | 76.0822
P12 | Total | 194 | 15 | 5 | 0.1 | 63.9156
P12 | Total | 196 | 17 | 0 | 0.1 | 81.2997
P12 | Dissolved | 180 | 1 | 600 | 0.1 | <
P12 | Dissolved | 182 | 3 | 200 | 0.1 | <
P12 | Dissolved | 183 | 4 | 150 | 0.1 | <
P12 | Dissolved | 189 | 10 | 30 | 0.1 | <
P12 | Dissolved | 191A | 12 | 20 | 0.1 | 3.9952
P12 | Dissolved | 191B | 12 | 20 | 0.1 | 4.2564
P12 | Dissolved | 194 | 15 | 5 | 0.1 | 4.2011
P12 | Dissolved | 196 | 17 | 0 | 0.1 | 3.8143
P16 | Total | 306 | 1 | 600 | 0.1 | 0.95228
P16 | Total | 308 | 3 | 200 | 0.1 | 1.3084
P16 | Total | 309 | 4 | 150 | 0.1 | 1.6325
P16 | Total | 315 | 10 | 30 | 0.1 | 22.9914
P16 | Total | 317A | 12 | 20 | 0.1 | 40.2599
P16 | Total | 317B | 12 | 20 | 0.1 | 43.8187
P16 | Total | 320 | 15 | 5 | 0.1 | 53.4764
P16 | Total | 322 | 17 | 0 | 0.1 | 65.3216
P16 | Dissolved | 306 | 1 | 600 | 0.1 | 1.0002
P16 | Dissolved | 308 | 3 | 200 | 0.1 | 1.0246
P16 | Dissolved | 309 | 4 | 150 | 0.1 | 1.2864
P16 | Dissolved | 315 | 10 | 30 | 0.1 | 3.7439
P16 | Dissolved | 317A | 12 | 20 | 0.1 | 3.6723
P16 | Dissolved | 317B | 12 | 20 | 0.1 | 3.7571
P16 | Dissolved | 320 | 15 | 5 | 0.1 | 5.3238
P16 | Dissolved | 322 | 17 | 0 | 0.1 | 4.9449
P20 | Total | 377 | 1 | 600 | 0.1 | 0.32273
P20 | Total | 380 | 4 | 200 | 0.1 | 0.91873
P20 | Total | 381 | 5 | 150 | 0.1 | 2.8885
P20 | Total | 387 | 11 | 30 | 0.1 | 68.669
P20 | Total | 389A | 13 | 20 | 0.1 | 73.494
P20 | Total | 389B | 13 | 20 | 0.1 | 65.6899
P20 | Total | 392 | 16 | 5 | 0.1 | 81.7453
P20 | Total | 394 | 18 | 0 | 0.1 | 62.783
P20 | Dissolved | 377 | 1 | 600 | 0.1 | <
P20 | Dissolved | 380 | 4 | 200 | 0.1 | <
P20 | Dissolved | 381 | 5 | 150 | 0.1 | 0.1291
P20 | Dissolved | 387 | 11 | 30 | 0.1 | 1.9293
P20 | DIssolved | 389A | 13 | 20 | 0.1 | 6.0249
P20 | Dissolved | 389B | 13 | 20 | 0.1 | 4.3046
P20 | Dissolved | 392 | 16 | 5 | 0.1 | 2.8667
P20 | Dissolved | 394 | 18 | 0 | 0.1 | 2.6963
P26 | Total | 507 | 19 | 0 | 0.1 | 22.6189
P26 | Total | 504 | 16 | 5 | 0.1 | 22.7997
P26 | Total | 501A | 13 | 20 | 0.1 | 28.0343
P26 | Total | 501B | 13 | 20 | 0.1 | 24.963
P26 | Total | 499 | 11 | 30 | 0.1 | 7.3523
P26 | Total | 493 | 5 | 150 | 0.1 | 13.434
P26 | Total | 492 | 4 | 200 | 0.1 | 0.62281
P26 | Total | 489 | 1 | 600 | 0.1 | <
P26 | Dissolved | 507 | 19 | 0 | 0.1 | 0.58644
P26 | Dissolved | 504 | 16 | 5 | 0.1 | 0.74818
P26 | Dissolved | 501A | 13 | 20 | 0.1 | 0.83378
P26 | Dissolved | 501B | 13 | 20 | 0.1 | 0.99097
P26 | Dissolved | 499 | 11 | 30 | 0.1 | 0.37557
P26 | Dissolved | 493 | 5 | 150 | 0.1 | 1.0932
P26 | Dissolved | 492 | 4 | 200 | 0.1 | 0.16365
P26 | Dissolved | 489 | 1 | 600 | 0.1 | <

## Dups
Cruise 2021-008
Standard Deviation of Pairs (Sp)
Dissolved | ID | Sample | Duplicate | Relative | (S-D)SQ
| (Sample #) | (S) | (D) | % Difference
[6 empty] | Sum of (S-D)SQ | 3.1313
P2 | 38 | 0.3 | 0 | 0 | 0.09 | Count | 6
P4 | 56 | 1.8 | 1.9 | 5.4054 | 0.01 | Sum/2/Count | 0.26094
P12 | 191 | 3.98 | 4.3 | 7.7295 | 0.1024
P16 | 317 | 3.7 | 3.8 | 2.6667 | 0.01
P20 | 389 | 6 | 4.3 | 33.0097 | 2.89
P26 | 501 | 0.83 | 1 | 18.5792 | 0.0289
|  |  | Mean | 11.2317
Standard Deviation of Pairs (Sp)
Total | ID | Sample | Duplicate | Relative | (S-D)SQ
| (Sample #) | (S) | (D) | % Difference
[6 empty] | Sum of (S-D)SQ | 440.0791
P2 | 38 | 34.74 | 38.96 | 11.4518 | 17.8084 | Count | 6
P4 | 56 | 131 | 149 | 12.8571 | 324 | Sum/2/Count | 36.6733
P12 | 191 | 71.41 | 76.04 | 6.2801 | 21.4369
P16 | 317 | 40 | 44 | 9.5238 | 16
P20 | 389 | 73.17 | 66 | 10.3039 | 51.4089 | SQR of Sum/2/Count (Sp)= | 6.0558
P26 | 501 | 28.12 | 25.05 | 11.5479 | 9.4249
|  |  | Mean | 10.3274