## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2025/05/29 08:46:50 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL_BOT | Fluor_CTD |  | Fluor_CTD - CHL_BOT
Comp 2 | CHL_BOT | Fluorescence_URU_Wetlabs_ECO-AFL |  | Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL_BOT | Fluor_CTD | Fluor_CTD | (S-P) | CHL_BOT | Fluorescence_URU_Wetlabs_ECO-AFL | Fluorescence_URU_Wetlabs_ECO-AFL | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2024-004-0001.mrgcln2 | 2024-004-0001.sam | 241 | 20.432 | 20.4322 | 0.022887 | 0.00021172 | 0.49 | 0.26454 | 0.079725 | -0.22546 | 0.49 | 0.31588 | 0.16373 | -0.17412
2024-004-0001.mrgcln2 | 2024-004-0001.sam | 241 | 10.375 | 10.3752 | 0.028756 | 0.00018215 | 4.8 | 1.5892 | 0.2936 | -3.2108 | 4.8 | 3.0709 | 1.0695 | -1.7291
2024-004-0001.mrgcln2 | 2024-004-0001.sam | 241 | 4.806 | 4.8061 | 0.028798 | 0.00011587 | 15.41 | 7.2182 | 0.68877 | -8.1918 | 15.41 | 8.8596 | 3.1274 | -6.5504
2024-004-0001.mrgcln2 | 2024-004-0001.sam | 241 | 2.351 | 2.351 | 0.030464 | -4.5776e-05 | 19.52 | 6.8115 | 0.67716 | -12.7085 | 19.52 | 6.7942 | 1.0016 | -12.7258
2024-004-0002.mrgcln2 | 2024-004-0002.sam | 241 | 20.43 | 20.43 | 0.028156 | -2.0981e-05 | 2.74 | 1.1147 | 0.15726 | -1.6253 | 2.74 | 1.5487 | 0.69051 | -1.1913
2024-004-0002.mrgcln2 | 2024-004-0002.sam | 241 | 10.481 | 10.4809 | 0.029834 | -7.0572e-05 | 3.31 | 1.2366 | 0.26941 | -2.0734 | 3.31 | 1.378 | 0.37938 | -1.932
2024-004-0002.mrgcln2 | 2024-004-0002.sam | 241 | 5.171 | 5.1715 | 0.029109 | 0.00046873 | 3.52 | 1.6011 | 0.25621 | -1.9189 | 3.52 | 1.8675 | 0.54209 | -1.6525
2024-004-0002.mrgcln2 | 2024-004-0002.sam | 241 | 2.749 | 2.7488 | 0.031724 | -0.00022411 | 3.4 | 1.4942 | 0.23703 | -1.9058 | 3.4 | 2.0017 | 0.59312 | -1.3983
2024-004-0005.mrgcln2 | 2024-004-0005.sam | 241 | 20.131 | 20.1307 | 0.028162 | -0.00034904 | 0.9 | 0.43362 | 0.055532 | -0.46638 | 0.9 | 0.54512 | 0.041824 | -0.35488
2024-004-0005.mrgcln2 | 2024-004-0005.sam | 241 | 10.045 | 10.0447 | 0.028574 | -0.00029945 | 0.96 | 0.45288 | 0.046801 | -0.50712 | 0.96 | 0.5488 | 0.10793 | -0.4112
2024-004-0005.mrgcln2 | 2024-004-0005.sam | 241 | 4.951 | 4.9513 | 0.030196 | 0.000278 | 1.18 | 0.45275 | 0.036005 | -0.72725 | 1.18 | 0.5409 | 0.075932 | -0.6391
2024-004-0005.mrgcln2 | 2024-004-0005.sam | 416 | 2.655 | 2.6549 | 0.027111 | -0.00012016 | 1.16 | 0.46565 | 0.05785 | -0.69435 | 1.16 | 0.57945 | 0.18392 | -0.58055
2024-004-0007.mrgcln2 | 2024-004-0007.sam | 241 | 19.691 | 19.6908 | 0.23941 | -0.00021553 | 5.45 | 2.2154 | 0.098367 | -3.2346 | 5.45 | 2.5788 | 0.26755 | -2.8712
2024-004-0007.mrgcln2 | 2024-004-0007.sam | 241 | 9.736 | 9.7357 | 0.31332 | -0.00025749 | 23.25 | 9.8738 | 0.32431 | -13.3762 | 23.25 | 10.8016 | 1.6201 | -12.4484
2024-004-0007.mrgcln2 | 2024-004-0007.sam | 241 | 5.108 | 5.1076 | 0.091926 | -0.00042725 | 27.01 | 15.8301 | 0.69912 | -11.1799 | 27.01 | 15.7274 | 0.75773 | -11.2826
2024-004-0010.mrgcln2 | 2024-004-0010.sam | 238 | 20.955 | 20.9678 | 0.49958 | 0.012819 | 8.43 | 3.362 | 0.30607 | -5.068 | 8.43 | 3.474 | 0.46058 | -4.956
2024-004-0010.mrgcln2 | 2024-004-0010.sam | 241 | 10.742 | 10.7419 | 0.50923 | -8.6784e-05 | 15.18 | 5.6993 | 0.30034 | -9.4807 | 15.18 | 6.3968 | 0.69238 | -8.7832
2024-004-0010.mrgcln2 | 2024-004-0010.sam | 241 | 5.787 | 5.787 | 0.3143 | 3.2902e-05 | 13.19 | 6.0214 | 0.2297 | -7.1686 | 13.19 | 6.1097 | 0.17757 | -7.0803
2024-004-0010.mrgcln2 | 2024-004-0010.sam | 241 | 2.568 | 2.5675 | 0.30595 | -0.00046062 | 13.86 | 5.5246 | 0.16035 | -8.3354 | 13.86 | 5.8579 | 0.40001 | -8.0021
2024-004-0015.mrgcln2 | 2024-004-0015.sam | 241 | 20.616 | 20.6157 | 0.1402 | -0.00030136 | 2.49 | 1.0268 | 0.16877 | -1.4632 | 2.49 | 1.1979 | 0.23771 | -1.2921
2024-004-0015.mrgcln2 | 2024-004-0015.sam | 241 | 10.324 | 10.3238 | 0.18433 | -0.0002327 | 7.36 | 3.6162 | 0.36319 | -3.7438 | 7.36 | 4.2941 | 0.82811 | -3.0659
2024-004-0015.mrgcln2 | 2024-004-0015.sam | 241 | 5.087 | 5.0873 | 0.20593 | 0.0002656 | 8.65 | 4.2841 | 0.29419 | -4.3659 | 8.65 | 4.3536 | 0.55667 | -4.2964
2024-004-0015.mrgcln2 | 2024-004-0015.sam | 353 | 2.983 | 3.0096 | 0.11373 | 0.026617 | 7.64 | 4.2915 | 0.36343 | -3.3485 | 7.64 | 4.3268 | 0.59498 | -3.3132
2024-004-0018.mrgcln2 | 2024-004-0018.sam | 241 | 20.65 | 20.6497 | 0.11925 | -0.00034332 | 3.21 | 1.2397 | 0.16527 | -1.9703 | 3.21 | 1.4481 | 0.25362 | -1.7619
2024-004-0018.mrgcln2 | 2024-004-0018.sam | 241 | 10.557 | 10.5571 | 0.12803 | 0.00014877 | 9 | 3.8532 | 0.29557 | -5.1468 | 9 | 4.5233 | 0.49527 | -4.4767
2024-004-0018.mrgcln2 | 2024-004-0018.sam | 241 | 5.282 | 5.2824 | 0.06924 | 0.00036097 | 9.16 | 4.2159 | 0.31588 | -4.9441 | 9.16 | 4.8936 | 0.68782 | -4.2664
2024-004-0018.mrgcln2 | 2024-004-0018.sam | 241 | 2.625 | 2.6251 | 0.12087 | 0.000108 | 9.13 | 4.4788 | 0.38107 | -4.6512 | 9.13 | 4.6325 | 0.52174 | -4.4975
2024-004-0021.mrgcln2 | 2024-004-0021.sam | 241 | 20.238 | 20.238 | 0.081909 | 2.4796e-05 | 1.15 | 0.52127 | 0.065702 | -0.62873 | 1.15 | 0.66327 | 0.22584 | -0.48673
2024-004-0021.mrgcln2 | 2024-004-0021.sam | 241 | 9.826 | 9.8263 | 0.044124 | 0.00032806 | 1.12 | 0.55486 | 0.054752 | -0.56514 | 1.12 | 0.65295 | 0.075945 | -0.46705
2024-004-0021.mrgcln2 | 2024-004-0021.sam | 241 | 4.802 | 4.8017 | 0.13413 | -0.00029898 | 1.13 | 0.52894 | 0.043564 | -0.60106 | 1.13 | 0.56825 | 0.07962 | -0.56175
2024-004-0021.mrgcln2 | 2024-004-0021.sam | 294 | 3.025 | 3.019 | 0.039845 | -0.0059831 | 1.1 | 0.55082 | 0.054467 | -0.54918 | 1.1 | 0.64091 | 0.1672 | -0.45909
2024-004-0025.mrgcln2 | 2024-004-0025.sam | 241 | 19.896 | 19.8959 | 0.033667 | -0.00013351 | 0.89 | 0.41543 | 0.036221 | -0.47457 | 0.89 | 0.53237 | 0.07442 | -0.35763
2024-004-0025.mrgcln2 | 2024-004-0025.sam | 241 | 9.849 | 9.8494 | 0.043141 | 0.00039864 | 1.05 | 0.58569 | 0.058147 | -0.46431 | 1.05 | 0.62716 | 0.13508 | -0.42284
2024-004-0025.mrgcln2 | 2024-004-0025.sam | 241 | 4.876 | 4.8764 | 0.038886 | 0.00036526 | 1.1 | 0.56234 | 0.024472 | -0.53766 | 1.1 | 0.60616 | 0.041623 | -0.49384
2024-004-0025.mrgcln2 | 2024-004-0025.sam | 241 | 2.461 | 2.4606 | 0.0651 | -0.00035262 | 1.18 | 0.57447 | 0.044527 | -0.60554 | 1.18 | 0.56402 | 0.07332 | -0.61598
2024-004-0028.mrgcln2 | 2024-004-0028.sam | 241 | 20.342 | 20.3416 | 0.038541 | -0.00038147 | 1.34 | 0.56003 | 0.078429 | -0.77997 | 1.34 | 0.64866 | 0.19938 | -0.69134
2024-004-0028.mrgcln2 | 2024-004-0028.sam | 241 | 10.166 | 10.1657 | 0.038776 | -0.00025368 | 1.48 | 0.59368 | 0.082993 | -0.88632 | 1.48 | 0.60627 | 0.14966 | -0.87373
2024-004-0028.mrgcln2 | 2024-004-0028.sam | 241 | 5.028 | 5.028 | 0.18485 | 3.767e-05 | 1.67 | 0.64173 | 0.086484 | -1.0283 | 1.67 | 0.66969 | 0.099716 | -1.0003
2024-004-0028.mrgcln2 | 2024-004-0028.sam | 241 | 2.484 | 2.4844 | 0.053845 | 0.00040674 | 1.71 | 0.65686 | 0.076237 | -1.0531 | 1.71 | 0.5892 | 0.052154 | -1.1208
2024-004-0029.mrgcln2 | 2024-004-0029.sam | 241 | 20.336 | 20.3359 | 0.046258 | -0.00011635 | 0.86 | 0.43739 | 0.019993 | -0.42261 | 0.86 | 0.47493 | 0.040638 | -0.38507
2024-004-0029.mrgcln2 | 2024-004-0029.sam | 241 | 10.374 | 10.3737 | 0.031239 | -0.00025272 | 0.93 | 0.49226 | 0.025428 | -0.43774 | 0.93 | 0.50158 | 0.014487 | -0.42841
2024-004-0029.mrgcln2 | 2024-004-0029.sam | 241 | 4.853 | 4.8533 | 0.074124 | 0.00026941 | 1.21 | 0.40394 | 0.030621 | -0.80606 | 1.21 | 0.39039 | 0.020292 | -0.81961
2024-004-0029.mrgcln2 | 2024-004-0029.sam | 241 | 2.556 | 2.5555 | 0.035384 | -0.00048137 | 0.99 | 0.37491 | 0.023977 | -0.61509 | 0.99 | 0.37654 | 0.017052 | -0.61346
2024-004-0036.mrgcln2 | 2024-004-0036.sam | 241 | 20.778 | 20.7781 | 0.040345 | 0.0001049 | 0.7 | 0.38827 | 0.028146 | -0.31173 | 0.7 | 0.41952 | 0.035316 | -0.28048
2024-004-0036.mrgcln2 | 2024-004-0036.sam | 241 | 10.822 | 10.8221 | 0.03006 | 6.6757e-05 | 0.69 | 0.38266 | 0.017329 | -0.30734 | 0.69 | 0.39858 | 0.033856 | -0.29142
2024-004-0036.mrgcln2 | 2024-004-0036.sam | 241 | 5.345 | 5.3446 | 0.022659 | -0.00038147 | 0.71 | 0.34464 | 0.016749 | -0.36536 | 0.71 | 0.32536 | 0.052596 | -0.38464
2024-004-0036.mrgcln2 | 2024-004-0036.sam | 482 | 2.396 | 2.3951 | 0.032114 | -0.00087953 | 0.69 | 0.35054 | 0.039037 | -0.33946 | 0.69 | 0.31036 | 0.033181 | -0.37964
2024-004-0043.mrgcln2 | 2024-004-0043.sam | 241 | 20.516 | 20.516 | 0.12759 | -1.7166e-05 | 1.08 | 0.47317 | 0.022735 | -0.60683 | 1.08 | 0.55097 | 0.05013 | -0.52902
2024-004-0043.mrgcln2 | 2024-004-0043.sam | 241 | 10.348 | 10.3475 | 0.25314 | -0.00046825 | 1.88 | 0.9124 | 0.03741 | -0.9676 | 1.88 | 0.9997 | 0.10176 | -0.8803
2024-004-0043.mrgcln2 | 2024-004-0043.sam | 241 | 5.457 | 5.4566 | 0.23116 | -0.00040245 | 1.76 | 0.92859 | 0.041708 | -0.83141 | 1.76 | 1.0027 | 0.078964 | -0.75731
2024-004-0043.mrgcln2 | 2024-004-0043.sam | 241 | 3.07 | 3.0697 | 0.13114 | -0.00029039 | 1.73 | 0.96627 | 0.039839 | -0.76373 | 1.73 | 1.0633 | 0.12727 | -0.66671
2024-004-0049.mrgcln2 | 2024-004-0049.sam | 241 | 20.188 | 20.1878 | 0.27411 | -0.00021934 | 1.26 | 0.73443 | 0.02465 | -0.52557 | 1.26 | 0.7746 | 0.055708 | -0.4854
2024-004-0049.mrgcln2 | 2024-004-0049.sam | 241 | 9.833 | 9.8329 | 0.24327 | -9.5367e-05 | 5.52 | 2.393 | 0.1113 | -3.127 | 5.52 | 2.5641 | 0.183 | -2.9559
2024-004-0049.mrgcln2 | 2024-004-0049.sam | 241 | 5.73 | 5.7301 | 0.21285 | 0.00014114 | 4.84 | 1.9801 | 0.090883 | -2.8599 | 4.84 | 2.1046 | 0.18001 | -2.7354
2024-004-0049.mrgcln2 | 2024-004-0049.sam | 288 | 3.114 | 3.136 | 0.26511 | 0.022038 | 5.04 | 2.0376 | 0.085689 | -3.0024 | 5.04 | 2.1065 | 0.17111 | -2.9335
2024-004-0054.mrgcln2 | 2024-004-0054.sam | 241 | 20.453 | 20.4525 | 0.21885 | -0.00048828 | 1.46 | 1.0162 | 0.02149 | -0.44385 | 1.46 | 1.0796 | 0.058108 | -0.38038
2024-004-0054.mrgcln2 | 2024-004-0054.sam | 241 | 10.571 | 10.571 | 0.16147 | 4.5776e-05 | 1.48 | 1.1172 | 0.022399 | -0.36277 | 1.48 | 1.2055 | 0.022053 | -0.27454
2024-004-0054.mrgcln2 | 2024-004-0054.sam | 365 | 4.715 | 4.4798 | 0.43431 | -0.23516 | 1.77 | 0.4777 | 0.049088 | -1.2923 | 1.77 | 0.46007 | 0.051101 | -1.3099
2024-004-0054.mrgcln2 | 2024-004-0054.sam | 351 | 3.69 | 3.9204 | 0.48126 | 0.2304 | 1.71 | 0.44437 | 0.070712 | -1.2656 | 1.71 | 0.42372 | 0.053826 | -1.2863
2024-004-0058.mrgcln2 | 2024-004-0058.sam | 241 | 20.197 | 20.1967 | 0.057484 | -0.00027466 | 0.48 | 0.24852 | 0.013405 | -0.23148 | 0.48 | 0.26708 | 0.03143 | -0.21293
2024-004-0058.mrgcln2 | 2024-004-0058.sam | 241 | 10.842 | 10.8424 | 0.033858 | 0.00035286 | 1.72 | 0.69465 | 0.028012 | -1.0253 | 1.72 | 1.0311 | 0.10436 | -0.68888
2024-004-0058.mrgcln2 | 2024-004-0058.sam | 241 | 4.355 | 4.3549 | 0.12176 | -4.5776e-05 | 17.62 | 5.4598 | 0.40729 | -12.1602 | 17.62 | 5.4839 | 0.59567 | -12.1361
2024-004-0058.mrgcln2 | 2024-004-0058.sam | 241 | 2.593 | 2.5929 | 0.05629 | -9.1314e-05 | 14.75 | 5.5084 | 0.2201 | -9.2416 | 14.75 | 5.9082 | 0.20165 | -8.8418
2024-004-0061.mrgcln2 | 2024-004-0061.sam | 241 | 20.604 | 20.6036 | 0.076717 | -0.0004406 | 1.07 | 0.53771 | 0.0254 | -0.53229 | 1.07 | 0.65291 | 0.055583 | -0.41709
2024-004-0061.mrgcln2 | 2024-004-0061.sam | 241 | 10.925 | 10.9253 | 0.044057 | 0.00027371 | 11.66 | 2.7161 | 0.14167 | -8.9439 | 11.66 | 4.0983 | 0.44273 | -7.5617
2024-004-0061.mrgcln2 | 2024-004-0061.sam | 241 | 5.404 | 5.4036 | 0.050096 | -0.00043535 | 11.06 | 5.1043 | 0.22803 | -5.9557 | 11.06 | 5.3917 | 0.23201 | -5.6683
2024-004-0061.mrgcln2 | 2024-004-0061.sam | 320 | 2.337 | 2.3304 | 0.05458 | -0.0065968 | 10.01 | 4.5726 | 0.20129 | -5.4374 | 10.01 | 4.9205 | 0.17017 | -5.0895
2024-004-0069.mrgcln2 | 2024-004-0069.sam | 241 | 20.127 | 20.127 | 0.026058 | 1.1444e-05 | 0.49 | 0.38631 | 0.0117 | -0.10369 | 0.49 | 0.51761 | 0.019393 | 0.02761
2024-004-0069.mrgcln2 | 2024-004-0069.sam | 241 | 10.092 | 10.0925 | 0.029722 | 0.00046921 | 0.78 | 0.41834 | 0.052127 | -0.36166 | 0.78 | 0.53383 | 0.031274 | -0.24617
2024-004-0069.mrgcln2 | 2024-004-0069.sam | 241 | 4.871 | 4.8714 | 0.029261 | 0.00041914 | 3.35 | 0.70248 | 0.04013 | -2.6475 | 3.35 | 0.82242 | 0.085375 | -2.5276
2024-004-0069.mrgcln2 | 2024-004-0069.sam | 288 | 2.618 | 2.619 | 0.030012 | 0.00095844 | 5 | 2.8036 | 0.13081 | -2.1964 | 5 | 2.9439 | 0.26539 | -2.0561
2024-004-0070.mrgcln2 | 2024-004-0070.sam | 241 | 20.438 | 20.4379 | 0.028736 | -0.00012016 | 0.68 | 0.61935 | 0.012294 | -0.060647 | 0.68 | 0.77617 | 0.032594 | 0.09617
2024-004-0070.mrgcln2 | 2024-004-0070.sam | 241 | 10.383 | 10.3826 | 0.027657 | -0.00042343 | 0.6 | 0.47845 | 0.0095825 | -0.12155 | 0.6 | 0.60266 | 0.023889 | 0.0026556
2024-004-0070.mrgcln2 | 2024-004-0070.sam | 241 | 5.329 | 5.3291 | 0.029906 | 0.00010347 | 1.08 | 0.69223 | 0.060085 | -0.38777 | 1.08 | 0.75082 | 0.15201 | -0.32918
2024-004-0070.mrgcln2 | 2024-004-0070.sam | 241 | 2.522 | 2.522 | 0.03223 | 8.1062e-06 | 1.2 | 0.79135 | 0.0366 | -0.40865 | 1.2 | 0.88977 | 0.0704 | -0.31023
2024-004-0074.mrgcln2 | 2024-004-0074.sam | 241 | 20.593 | 20.5933 | 0.093709 | 0.00034714 | 0.4 | 0.39035 | 0.012875 | -0.0096473 | 0.4 | 0.47623 | 0.042483 | 0.076232
2024-004-0074.mrgcln2 | 2024-004-0074.sam | 241 | 10.462 | 10.462 | 0.16301 | -3.7193e-05 | 1.14 | 0.86685 | 0.021927 | -0.27315 | 1.14 | 0.87639 | 0.075913 | -0.26361
2024-004-0074.mrgcln2 | 2024-004-0074.sam | 241 | 5.36 | 5.3596 | 0.14957 | -0.00037766 | 0.99 | 0.76544 | 0.021964 | -0.22456 | 0.99 | 0.7772 | 0.036062 | -0.2128
2024-004-0074.mrgcln2 | 2024-004-0074.sam | 241 | 2.871 | 2.8705 | 0.060987 | -0.00047731 | 0.98 | 0.76363 | 0.01186 | -0.21637 | 0.98 | 0.7786 | 0.043702 | -0.2014
2024-004-0076.mrgcln2 | 2024-004-0076.sam | 241 | 20.628 | 20.628 | 0.22874 | 4.5776e-05 | 0.78 | 0.61648 | 0.012731 | -0.16351 | 0.78 | 0.6502 | 0.037012 | -0.1298
2024-004-0076.mrgcln2 | 2024-004-0076.sam | 241 | 10.134 | 10.1343 | 0.080385 | 0.00025749 | 0.79 | 0.57492 | 0.010558 | -0.21508 | 0.79 | 0.58195 | 0.014483 | -0.20805
2024-004-0076.mrgcln2 | 2024-004-0076.sam | 241 | 5.335 | 5.3353 | 0.058603 | 0.00030279 | 0.84 | 0.54508 | 0.022113 | -0.29492 | 0.84 | 0.54197 | 0.025163 | -0.29802
2024-004-0076.mrgcln2 | 2024-004-0076.sam | 241 | 2.687 | 2.6867 | 0.20293 | -0.00033188 | 0.84 | 0.44895 | 0.055312 | -0.39105 | 0.84 | 0.37943 | 0.049651 | -0.46057
2024-004-0081.mrgcln2 | 2024-004-0081.sam | 183 | 19.882 | 20.4131 | 0.53835 | 0.53114 | 0.52 | 0.49557 | 0.010417 | -0.024432 | 0.52 | 0.54575 | 0.017656 | 0.025754
2024-004-0081.mrgcln2 | 2024-004-0081.sam | 241 | 10.339 | 10.3389 | 0.035251 | -0.00013256 | 0.61 | 0.49621 | 0.0074665 | -0.11379 | 0.61 | 0.5722 | 0.021846 | -0.037797
2024-004-0081.mrgcln2 | 2024-004-0081.sam | 241 | 5.423 | 5.4234 | 0.047345 | 0.00037766 | 0.57 | 0.29317 | 0.02045 | -0.27683 | 0.57 | 0.13081 | 0.0098436 | -0.43919
2024-004-0081.mrgcln2 | 2024-004-0081.sam | 311 | 2.655 | 2.6549 | 0.038106 | -7.081e-05 | 0.52 | 0.15848 | 0.083908 | -0.36152 | 0.52 | 0.022859 | 0.012442 | -0.49714
2024-004-0082.mrgcln2 | 2024-004-0082.sam | 241 | 20.631 | 20.6311 | 0.028328 | 0.00014114 | 0.73 | 0.60706 | 0.020761 | -0.12294 | 0.73 | 0.74731 | 0.051896 | 0.017307
2024-004-0082.mrgcln2 | 2024-004-0082.sam | 241 | 10.548 | 10.5477 | 0.030659 | -0.00028706 | 0.93 | 0.78928 | 0.014242 | -0.14072 | 0.93 | 0.80271 | 0.022838 | -0.12729
2024-004-0082.mrgcln2 | 2024-004-0082.sam | 241 | 5.581 | 5.5805 | 0.028955 | -0.00045204 | 1.15 | 0.72627 | 0.013692 | -0.42373 | 1.15 | 0.72483 | 0.019777 | -0.42517
2024-004-0082.mrgcln2 | 2024-004-0082.sam | 241 | 2.498 | 2.4983 | 0.028872 | 0.00033617 | 0.94 | 0.47509 | 0.016801 | -0.46491 | 0.94 | 0.42884 | 0.029343 | -0.51116
2024-004-0086.mrgcln2 | 2024-004-0086.sam | 241 | 20.827 | 20.8269 | 0.030413 | -6.485e-05 | 0.4 | 0.46671 | 0.010966 | 0.06671 | 0.4 | 0.59179 | 0.017246 | 0.19179
2024-004-0086.mrgcln2 | 2024-004-0086.sam | 241 | 10.436 | 10.4356 | 0.031474 | -0.00037766 | 1.07 | 1.0989 | 0.015502 | 0.028863 | 1.07 | 1.1546 | 0.038597 | 0.084564
2024-004-0086.mrgcln2 | 2024-004-0086.sam | 241 | 4.954 | 4.9542 | 0.17829 | 0.00015354 | 1.21 | 1.0412 | 0.026731 | -0.16879 | 1.21 | 1.0733 | 0.087455 | -0.13667
2024-004-0086.mrgcln2 | 2024-004-0086.sam | 309 | 2.436 | 2.4413 | 0.19885 | 0.0052943 | 1.09 | 0.97721 | 0.02364 | -0.11279 | 1.09 | 1.0162 | 0.075046 | -0.073767
2024-004-0091.mrgcln2 | 2024-004-0091.sam | 241 | 20.713 | 20.7129 | 0.030648 | -0.00014496 | 0.71 | 0.6178 | 0.0096606 | -0.092199 | 0.71 | 0.84928 | 0.036917 | 0.13928
2024-004-0091.mrgcln2 | 2024-004-0091.sam | 241 | 10.387 | 10.3866 | 0.041714 | -0.00043201 | 0.73 | 0.64664 | 0.0096388 | -0.083361 | 0.73 | 0.74628 | 0.050526 | 0.016278
2024-004-0091.mrgcln2 | 2024-004-0091.sam | 241 | 5.494 | 5.4939 | 0.030431 | -4.5776e-05 | 0.69 | 0.65492 | 0.0099202 | -0.035083 | 0.69 | 0.78995 | 0.038793 | 0.099954
2024-004-0091.mrgcln2 | 2024-004-0091.sam | 322 | 2.536 | 2.5382 | 0.056587 | 0.0021553 | 0.75 | 0.66994 | 0.011265 | -0.080056 | 0.75 | 0.72767 | 0.044167 | -0.022332
2024-004-0094.mrgcln2 | 2024-004-0094.sam | 241 | 19.773 | 19.7727 | 0.045061 | -0.00029564 | 0.38 | 0.3539 | 0.005019 | -0.0261 | 0.38 | 0.42927 | 0.031396 | 0.049274
2024-004-0094.mrgcln2 | 2024-004-0094.sam | 241 | 9.974 | 9.9745 | 0.031291 | 0.00047302 | 0.42 | 0.343 | 0.0054958 | -0.077004 | 0.42 | 0.34866 | 0.024753 | -0.071336
2024-004-0094.mrgcln2 | 2024-004-0094.sam | 241 | 5.438 | 5.4385 | 0.095322 | 0.00048113 | 0.38 | 0.3435 | 0.0068951 | -0.036498 | 0.38 | 0.28304 | 0.025969 | -0.096959
2024-004-0094.mrgcln2 | 2024-004-0094.sam | 241 | 2.084 | 2.0837 | 0.16068 | -0.00033212 | 0.33 | 0.34005 | 0.0076413 | 0.01005 | 0.33 | 0.22126 | 0.018594 | -0.10874
2024-004-0097.mrgcln2 | 2024-004-0097.sam | 241 | 19.844 | 19.8443 | 0.039958 | 0.00027847 | 0.47 | 0.43966 | 0.0085191 | -0.03034 | 0.47 | 0.50034 | 0.030937 | 0.030344
2024-004-0097.mrgcln2 | 2024-004-0097.sam | 241 | 10.211 | 10.2113 | 0.029608 | 0.00032711 | 0.41 | 0.44881 | 0.024644 | 0.038809 | 0.41 | 0.48316 | 0.030183 | 0.073162
2024-004-0097.mrgcln2 | 2024-004-0097.sam | 241 | 5.081 | 5.0805 | 0.042787 | -0.00049782 | 0.49 | 0.41363 | 0.014598 | -0.076369 | 0.49 | 0.36844 | 0.027435 | -0.12156
2024-004-0097.mrgcln2 | 2024-004-0097.sam | 241 | 2.522 | 2.5215 | 0.039855 | -0.00048542 | 0.48 | 0.37917 | 0.0060037 | -0.10083 | 0.48 | 0.30834 | 0.015135 | -0.17166
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 27
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2024-004-0001.mrgcln2 | 2024-004-0001.sam | 12 | 15 | 2024-004-0001.mrgcln2 & 2024-004-0001.sam
2 | 2024-004-0002.mrgcln2 | 2024-004-0002.sam | 17 | 20 | 2024-004-0002.mrgcln2 & 2024-004-0002.sam
3 | 2024-004-0005.mrgcln2 | 2024-004-0005.sam | 22 | 25 | 2024-004-0005.mrgcln2 & 2024-004-0005.sam
4 | 2024-004-0007.mrgcln2 | 2024-004-0007.sam | 27 | 29 | 2024-004-0007.mrgcln2 & 2024-004-0007.sam
5 | 2024-004-0010.mrgcln2 | 2024-004-0010.sam | 31 | 34 | 2024-004-0010.mrgcln2 & 2024-004-0010.sam
6 | 2024-004-0015.mrgcln2 | 2024-004-0015.sam | 36 | 39 | 2024-004-0015.mrgcln2 & 2024-004-0015.sam
7 | 2024-004-0018.mrgcln2 | 2024-004-0018.sam | 41 | 44 | 2024-004-0018.mrgcln2 & 2024-004-0018.sam
8 | 2024-004-0021.mrgcln2 | 2024-004-0021.sam | 46 | 49 | 2024-004-0021.mrgcln2 & 2024-004-0021.sam
9 | 2024-004-0025.mrgcln2 | 2024-004-0025.sam | 51 | 54 | 2024-004-0025.mrgcln2 & 2024-004-0025.sam
10 | 2024-004-0028.mrgcln2 | 2024-004-0028.sam | 56 | 59 | 2024-004-0028.mrgcln2 & 2024-004-0028.sam
11 | 2024-004-0029.mrgcln2 | 2024-004-0029.sam | 61 | 64 | 2024-004-0029.mrgcln2 & 2024-004-0029.sam
12 | 2024-004-0036.mrgcln2 | 2024-004-0036.sam | 66 | 69 | 2024-004-0036.mrgcln2 & 2024-004-0036.sam
13 | 2024-004-0043.mrgcln2 | 2024-004-0043.sam | 71 | 74 | 2024-004-0043.mrgcln2 & 2024-004-0043.sam
14 | 2024-004-0049.mrgcln2 | 2024-004-0049.sam | 76 | 79 | 2024-004-0049.mrgcln2 & 2024-004-0049.sam
15 | 2024-004-0054.mrgcln2 | 2024-004-0054.sam | 81 | 84 | 2024-004-0054.mrgcln2 & 2024-004-0054.sam
16 | 2024-004-0058.mrgcln2 | 2024-004-0058.sam | 86 | 89 | 2024-004-0058.mrgcln2 & 2024-004-0058.sam
17 | 2024-004-0061.mrgcln2 | 2024-004-0061.sam | 91 | 94 | 2024-004-0061.mrgcln2 & 2024-004-0061.sam
18 | 2024-004-0069.mrgcln2 | 2024-004-0069.sam | 96 | 99 | 2024-004-0069.mrgcln2 & 2024-004-0069.sam
19 | 2024-004-0070.mrgcln2 | 2024-004-0070.sam | 101 | 104 | 2024-004-0070.mrgcln2 & 2024-004-0070.sam
20 | 2024-004-0074.mrgcln2 | 2024-004-0074.sam | 106 | 109 | 2024-004-0074.mrgcln2 & 2024-004-0074.sam
21 | 2024-004-0076.mrgcln2 | 2024-004-0076.sam | 111 | 114 | 2024-004-0076.mrgcln2 & 2024-004-0076.sam
22 | 2024-004-0081.mrgcln2 | 2024-004-0081.sam | 116 | 119 | 2024-004-0081.mrgcln2 & 2024-004-0081.sam
23 | 2024-004-0082.mrgcln2 | 2024-004-0082.sam | 121 | 124 | 2024-004-0082.mrgcln2 & 2024-004-0082.sam
24 | 2024-004-0086.mrgcln2 | 2024-004-0086.sam | 126 | 129 | 2024-004-0086.mrgcln2 & 2024-004-0086.sam
25 | 2024-004-0091.mrgcln2 | 2024-004-0091.sam | 131 | 134 | 2024-004-0091.mrgcln2 & 2024-004-0091.sam
26 | 2024-004-0094.mrgcln2 | 2024-004-0094.sam | 136 | 139 | 2024-004-0094.mrgcln2 & 2024-004-0094.sam
27 | 2024-004-0097.mrgcln2 | 2024-004-0097.sam | 141 | 144 | 2024-004-0097.mrgcln2 & 2024-004-0097.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Fluor_CTD - CHL_BOT) | Pressure | 20
2 | (Fluor_CTD - CHL_BOT) | Pressure | 27
3 | (Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT) | Pressure | 27

## SBE Fluor vs CHL
Calculation of Linear Least Squares Fit For
(Fluor_CTD - CHL_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Fluor_CTD - CHL_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.050443 |  | X | CALC Y
m= | 0.099676 | 0.042204 |  | Std Dev of Resid |  | 2.9686 |  | 2.0837 | -2.6645
b= | -2.8722 | 0.49998 |  | Resid Sum of Squares |  | 925.3518 |  | 20.9678 | -0.78226
# of Values Extracted = |  |  | 107
# of Values Used in Fit = |  |  | 107
File | Use | Pressure | Fluor_CTD | Fluor_CTD | Diff (Fluor_CTD - CHL_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | File Pair | Press | CHL | FL_SBE | CHL | FL_SBE/CHL | File Pair | CHL | FL_SBE | FL_ECO | CHL | FL_SBE/CHL | (FL_ECO)/CHL
1 | YES | 20.4322 | 0.26454 | 0.079725 | -0.22546 | -0.83565 | -0.61018 |  | 20.4322 | -0.22546 | 1 | 20.4322 | 0.49 | 0.26454 | 0.49 | 0.53987 | 1 | 0.49 | 0.26454 | 0.31588 | 0.49 | 0.53987 | 0.64466
1 | YES | 10.3752 | 1.5892 | 0.2936 | -3.2108 | -1.8381 | 1.3727 |  | 10.3752 | -3.2108 | 1 | 10.3752 | 4.8 | 1.5892 | 4.8 | 0.33108 | 1 | 4.8 | 1.5892 | 3.0709 | 4.8 | 0.33108 | 0.63976
1 | YES | 4.8061 | 7.2182 | 0.68877 | -8.1918 | -2.3932 | 5.7986 |  | 4.8061 | -8.1918 | 1 | 4.8061 | 15.41 | 7.2182 | 15.41 | 0.46841 | 1 | 15.41 | 7.2182 | 8.8596 | 15.41 | 0.46841 | 0.57492
1 | YES | 2.351 | 6.8115 | 0.67716 | -12.7085 | -2.6379 | 10.0706 |  | 2.351 | -12.7085 | 1 | 2.351 | 19.52 | 6.8115 | 19.52 | 0.34895 | 1 | 19.52 | 6.8115 | 6.7942 | 19.52 | 0.34895 | 0.34806
2 | YES | 20.43 | 1.1147 | 0.15726 | -1.6253 | -0.83586 | 0.78939 |  | 20.43 | -1.6253 | 2 | 20.43 | 2.74 | 1.1147 | 2.74 | 0.40684 | 2 | 2.74 | 1.1147 | 1.5487 | 2.74 | 0.40684 | 0.56523
2 | YES | 10.4809 | 1.2366 | 0.26941 | -2.0734 | -1.8275 | 0.2459 |  | 10.4809 | -2.0734 | 2 | 10.4809 | 3.31 | 1.2366 | 3.31 | 0.37358 | 2 | 3.31 | 1.2366 | 1.378 | 3.31 | 0.37358 | 0.41633
2 | YES | 5.1715 | 1.6011 | 0.25621 | -1.9189 | -2.3568 | -0.43782 |  | 5.1715 | -1.9189 | 2 | 5.1715 | 3.52 | 1.6011 | 3.52 | 0.45484 | 2 | 3.52 | 1.6011 | 1.8675 | 3.52 | 0.45484 | 0.53054
2 | YES | 2.7488 | 1.4942 | 0.23703 | -1.9058 | -2.5983 | -0.69245 |  | 2.7488 | -1.9058 | 2 | 2.7488 | 3.4 | 1.4942 | 3.4 | 0.43947 | 2 | 3.4 | 1.4942 | 2.0017 | 3.4 | 0.43947 | 0.58873
3 | YES | 20.1307 | 0.43362 | 0.055532 | -0.46638 | -0.8657 | -0.39932 |  | 20.1307 | -0.46638 | 3 | 20.1307 | 0.9 | 0.43362 | 0.9 | 0.4818 | 3 | 0.9 | 0.43362 | 0.54512 | 0.9 | 0.4818 | 0.60568
3 | YES | 10.0447 | 0.45288 | 0.046801 | -0.50712 | -1.871 | -1.3639 |  | 10.0447 | -0.50712 | 3 | 10.0447 | 0.96 | 0.45288 | 0.96 | 0.47175 | 3 | 0.96 | 0.45288 | 0.5488 | 0.96 | 0.47175 | 0.57166
3 | YES | 4.9513 | 0.45275 | 0.036005 | -0.72725 | -2.3787 | -1.6515 |  | 4.9513 | -0.72725 | 3 | 4.9513 | 1.18 | 0.45275 | 1.18 | 0.38369 | 3 | 1.18 | 0.45275 | 0.5409 | 1.18 | 0.38369 | 0.45839
3 | YES | 2.6549 | 0.46565 | 0.05785 | -0.69435 | -2.6076 | -1.9133 |  | 2.6549 | -0.69435 | 3 | 2.6549 | 1.16 | 0.46565 | 1.16 | 0.40142 | 3 | 1.16 | 0.46565 | 0.57945 | 1.16 | 0.40142 | 0.49952
4 | YES | 19.6908 | 2.2154 | 0.098367 | -3.2346 | -0.90954 | 2.3251 |  | 19.6908 | -3.2346 | 4 | 19.6908 | 5.45 | 2.2154 | 5.45 | 0.40649 | 4 | 5.45 | 2.2154 | 2.5788 | 5.45 | 0.40649 | 0.47318
4 | YES | 9.7357 | 9.8738 | 0.32431 | -13.3762 | -1.9018 | 11.4744 |  | 9.7357 | -13.3762 | 4 | 9.7357 | 23.25 | 9.8738 | 23.25 | 0.42468 | 4 | 23.25 | 9.8738 | 10.8016 | 23.25 | 0.42468 | 0.46458
4 | YES | 5.1076 | 15.8301 | 0.69912 | -11.1799 | -2.3631 | 8.8168 |  | 5.1076 | -11.1799 | 4 | 5.1076 | 27.01 | 15.8301 | 27.01 | 0.58608 | 4 | 27.01 | 15.8301 | 15.7274 | 27.01 | 0.58608 | 0.58228
5 | YES | 20.9678 | 3.362 | 0.30607 | -5.068 | -0.78226 | 4.2857 |  | 20.9678 | -5.068 | 5 | 20.9678 | 8.43 | 3.362 | 8.43 | 0.39882 | 5 | 8.43 | 3.362 | 3.474 | 8.43 | 0.39882 | 0.4121
5 | YES | 10.7419 | 5.6993 | 0.30034 | -9.4807 | -1.8015 | 7.6792 |  | 10.7419 | -9.4807 | 5 | 10.7419 | 15.18 | 5.6993 | 15.18 | 0.37545 | 5 | 15.18 | 5.6993 | 6.3968 | 15.18 | 0.37545 | 0.4214
5 | YES | 5.787 | 6.0214 | 0.2297 | -7.1686 | -2.2954 | 4.8732 |  | 5.787 | -7.1686 | 5 | 5.787 | 13.19 | 6.0214 | 13.19 | 0.45651 | 5 | 13.19 | 6.0214 | 6.1097 | 13.19 | 0.45651 | 0.46321
5 | YES | 2.5675 | 5.5246 | 0.16035 | -8.3354 | -2.6163 | 5.719 |  | 2.5675 | -8.3354 | 5 | 2.5675 | 13.86 | 5.5246 | 13.86 | 0.3986 | 5 | 13.86 | 5.5246 | 5.8579 | 13.86 | 0.3986 | 0.42265
6 | YES | 20.6157 | 1.0268 | 0.16877 | -1.4632 | -0.81735 | 0.64583 |  | 20.6157 | -1.4632 | 6 | 20.6157 | 2.49 | 1.0268 | 2.49 | 0.41238 | 6 | 2.49 | 1.0268 | 1.1979 | 2.49 | 0.41238 | 0.48106
6 | YES | 10.3238 | 3.6162 | 0.36319 | -3.7438 | -1.8432 | 1.9006 |  | 10.3238 | -3.7438 | 6 | 10.3238 | 7.36 | 3.6162 | 7.36 | 0.49133 | 6 | 7.36 | 3.6162 | 4.2941 | 7.36 | 0.49133 | 0.58344
6 | YES | 5.0873 | 4.2841 | 0.29419 | -4.3659 | -2.3652 | 2.0008 |  | 5.0873 | -4.3659 | 6 | 5.0873 | 8.65 | 4.2841 | 8.65 | 0.49527 | 6 | 8.65 | 4.2841 | 4.3536 | 8.65 | 0.49527 | 0.50331
6 | YES | 3.0096 | 4.2915 | 0.36343 | -3.3485 | -2.5723 | 0.77624 |  | 3.0096 | -3.3485 | 6 | 3.0096 | 7.64 | 4.2915 | 7.64 | 0.56171 | 6 | 7.64 | 4.2915 | 4.3268 | 7.64 | 0.56171 | 0.56633
7 | YES | 20.6497 | 1.2397 | 0.16527 | -1.9703 | -0.81397 | 1.1563 |  | 20.6497 | -1.9703 | 7 | 20.6497 | 3.21 | 1.2397 | 3.21 | 0.3862 | 7 | 3.21 | 1.2397 | 1.4481 | 3.21 | 0.3862 | 0.45113
7 | YES | 10.5571 | 3.8532 | 0.29557 | -5.1468 | -1.82 | 3.3268 |  | 10.5571 | -5.1468 | 7 | 10.5571 | 9 | 3.8532 | 9 | 0.42814 | 7 | 9 | 3.8532 | 4.5233 | 9 | 0.42814 | 0.50259
7 | YES | 5.2824 | 4.2159 | 0.31588 | -4.9441 | -2.3457 | 2.5984 |  | 5.2824 | -4.9441 | 7 | 5.2824 | 9.16 | 4.2159 | 9.16 | 0.46025 | 7 | 9.16 | 4.2159 | 4.8936 | 9.16 | 0.46025 | 0.53424
7 | YES | 2.6251 | 4.4788 | 0.38107 | -4.6512 | -2.6106 | 2.0406 |  | 2.6251 | -4.6512 | 7 | 2.6251 | 9.13 | 4.4788 | 9.13 | 0.49056 | 7 | 9.13 | 4.4788 | 4.6325 | 9.13 | 0.49056 | 0.50739
8 | YES | 20.238 | 0.52127 | 0.065702 | -0.62873 | -0.855 | -0.22627 |  | 20.238 | -0.62873 | 8 | 20.238 | 1.15 | 0.52127 | 1.15 | 0.45328 | 8 | 1.15 | 0.52127 | 0.66327 | 1.15 | 0.45328 | 0.57676
8 | YES | 9.8263 | 0.55486 | 0.054752 | -0.56514 | -1.8928 | -1.3277 |  | 9.8263 | -0.56514 | 8 | 9.8263 | 1.12 | 0.55486 | 1.12 | 0.49541 | 8 | 1.12 | 0.55486 | 0.65295 | 1.12 | 0.49541 | 0.58299
8 | YES | 4.8017 | 0.52894 | 0.043564 | -0.60106 | -2.3936 | -1.7926 |  | 4.8017 | -0.60106 | 8 | 4.8017 | 1.13 | 0.52894 | 1.13 | 0.46809 | 8 | 1.13 | 0.52894 | 0.56825 | 1.13 | 0.46809 | 0.50288
8 | YES | 3.019 | 0.55082 | 0.054467 | -0.54918 | -2.5713 | -2.0221 |  | 3.019 | -0.54918 | 8 | 3.019 | 1.1 | 0.55082 | 1.1 | 0.50075 | 8 | 1.1 | 0.55082 | 0.64091 | 1.1 | 0.50075 | 0.58265
9 | YES | 19.8959 | 0.41543 | 0.036221 | -0.47457 | -0.8891 | -0.41453 |  | 19.8959 | -0.47457 | 9 | 19.8959 | 0.89 | 0.41543 | 0.89 | 0.46678 | 9 | 0.89 | 0.41543 | 0.53237 | 0.89 | 0.46678 | 0.59817
9 | YES | 9.8494 | 0.58569 | 0.058147 | -0.46431 | -1.8905 | -1.4262 |  | 9.8494 | -0.46431 | 9 | 9.8494 | 1.05 | 0.58569 | 1.05 | 0.5578 | 9 | 1.05 | 0.58569 | 0.62716 | 1.05 | 0.5578 | 0.59729
9 | YES | 4.8764 | 0.56234 | 0.024472 | -0.53766 | -2.3862 | -1.8485 |  | 4.8764 | -0.53766 | 9 | 4.8764 | 1.1 | 0.56234 | 1.1 | 0.51122 | 9 | 1.1 | 0.56234 | 0.60616 | 1.1 | 0.51122 | 0.55106
9 | YES | 2.4606 | 0.57447 | 0.044527 | -0.60554 | -2.627 | -2.0214 |  | 2.4606 | -0.60554 | 9 | 2.4606 | 1.18 | 0.57447 | 1.18 | 0.48683 | 9 | 1.18 | 0.57447 | 0.56402 | 1.18 | 0.48683 | 0.47798
10 | YES | 20.3416 | 0.56003 | 0.078429 | -0.77997 | -0.84468 | -0.064705 |  | 20.3416 | -0.77997 | 10 | 20.3416 | 1.34 | 0.56003 | 1.34 | 0.41793 | 10 | 1.34 | 0.56003 | 0.64866 | 1.34 | 0.41793 | 0.48407
10 | YES | 10.1657 | 0.59368 | 0.082993 | -0.88632 | -1.859 | -0.97264 |  | 10.1657 | -0.88632 | 10 | 10.1657 | 1.48 | 0.59368 | 1.48 | 0.40113 | 10 | 1.48 | 0.59368 | 0.60627 | 1.48 | 0.40113 | 0.40964
10 | YES | 5.028 | 0.64173 | 0.086484 | -1.0283 | -2.3711 | -1.3428 |  | 5.028 | -1.0283 | 10 | 5.028 | 1.67 | 0.64173 | 1.67 | 0.38427 | 10 | 1.67 | 0.64173 | 0.66969 | 1.67 | 0.38427 | 0.40101
10 | YES | 2.4844 | 0.65686 | 0.076237 | -1.0531 | -2.6246 | -1.5715 |  | 2.4844 | -1.0531 | 10 | 2.4844 | 1.71 | 0.65686 | 1.71 | 0.38413 | 10 | 1.71 | 0.65686 | 0.5892 | 1.71 | 0.38413 | 0.34456
11 | YES | 20.3359 | 0.43739 | 0.019993 | -0.42261 | -0.84524 | -0.42264 |  | 20.3359 | -0.42261 | 11 | 20.3359 | 0.86 | 0.43739 | 0.86 | 0.5086 | 11 | 0.86 | 0.43739 | 0.47493 | 0.86 | 0.5086 | 0.55225
11 | YES | 10.3737 | 0.49226 | 0.025428 | -0.43774 | -1.8382 | -1.4005 |  | 10.3737 | -0.43774 | 11 | 10.3737 | 0.93 | 0.49226 | 0.93 | 0.52931 | 11 | 0.93 | 0.49226 | 0.50158 | 0.93 | 0.52931 | 0.53934
11 | YES | 4.8533 | 0.40394 | 0.030621 | -0.80606 | -2.3885 | -1.5824 |  | 4.8533 | -0.80606 | 11 | 4.8533 | 1.21 | 0.40394 | 1.21 | 0.33384 | 11 | 1.21 | 0.40394 | 0.39039 | 1.21 | 0.33384 | 0.32263
11 | YES | 2.5555 | 0.37491 | 0.023977 | -0.61509 | -2.6175 | -2.0024 |  | 2.5555 | -0.61509 | 11 | 2.5555 | 0.99 | 0.37491 | 0.99 | 0.3787 | 11 | 0.99 | 0.37491 | 0.37654 | 0.99 | 0.3787 | 0.38035
12 | YES | 20.7781 | 0.38827 | 0.028146 | -0.31173 | -0.80117 | -0.48943 |  | 20.7781 | -0.31173 | 12 | 20.7781 | 0.7 | 0.38827 | 0.7 | 0.55467 | 12 | 0.7 | 0.38827 | 0.41952 | 0.7 | 0.55467 | 0.59931
12 | YES | 10.8221 | 0.38266 | 0.017329 | -0.30734 | -1.7935 | -1.4862 |  | 10.8221 | -0.30734 | 12 | 10.8221 | 0.69 | 0.38266 | 0.69 | 0.55458 | 12 | 0.69 | 0.38266 | 0.39858 | 0.69 | 0.55458 | 0.57765
12 | YES | 5.3446 | 0.34464 | 0.016749 | -0.36536 | -2.3395 | -1.9742 |  | 5.3446 | -0.36536 | 12 | 5.3446 | 0.71 | 0.34464 | 0.71 | 0.48541 | 12 | 0.71 | 0.34464 | 0.32536 | 0.71 | 0.48541 | 0.45825
12 | YES | 2.3951 | 0.35054 | 0.039037 | -0.33946 | -2.6335 | -2.294 |  | 2.3951 | -0.33946 | 12 | 2.3951 | 0.69 | 0.35054 | 0.69 | 0.50803 | 12 | 0.69 | 0.35054 | 0.31036 | 0.69 | 0.50803 | 0.4498
13 | YES | 20.516 | 0.47317 | 0.022735 | -0.60683 | -0.82729 | -0.22047 |  | 20.516 | -0.60683 | 13 | 20.516 | 1.08 | 0.47317 | 1.08 | 0.43812 | 13 | 1.08 | 0.47317 | 0.55097 | 1.08 | 0.43812 | 0.51016
13 | YES | 10.3475 | 0.9124 | 0.03741 | -0.9676 | -1.8408 | -0.87325 |  | 10.3475 | -0.9676 | 13 | 10.3475 | 1.88 | 0.9124 | 1.88 | 0.48532 | 13 | 1.88 | 0.9124 | 0.9997 | 1.88 | 0.48532 | 0.53176
13 | YES | 5.4566 | 0.92859 | 0.041708 | -0.83141 | -2.3284 | -1.4969 |  | 5.4566 | -0.83141 | 13 | 5.4566 | 1.76 | 0.92859 | 1.76 | 0.52761 | 13 | 1.76 | 0.92859 | 1.0027 | 1.76 | 0.52761 | 0.56971
13 | YES | 3.0697 | 0.96627 | 0.039839 | -0.76373 | -2.5663 | -1.8025 |  | 3.0697 | -0.76373 | 13 | 3.0697 | 1.73 | 0.96627 | 1.73 | 0.55854 | 13 | 1.73 | 0.96627 | 1.0633 | 1.73 | 0.55854 | 0.61462
14 | YES | 20.1878 | 0.73443 | 0.02465 | -0.52557 | -0.86001 | -0.33443 |  | 20.1878 | -0.52557 | 14 | 20.1878 | 1.26 | 0.73443 | 1.26 | 0.58288 | 14 | 1.26 | 0.73443 | 0.7746 | 1.26 | 0.58288 | 0.61476
14 | YES | 9.8329 | 2.393 | 0.1113 | -3.127 | -1.8921 | 1.2348 |  | 9.8329 | -3.127 | 14 | 9.8329 | 5.52 | 2.393 | 5.52 | 0.43352 | 14 | 5.52 | 2.393 | 2.5641 | 5.52 | 0.43352 | 0.4645
14 | YES | 5.7301 | 1.9801 | 0.090883 | -2.8599 | -2.3011 | 0.55882 |  | 5.7301 | -2.8599 | 14 | 5.7301 | 4.84 | 1.9801 | 4.84 | 0.40911 | 14 | 4.84 | 1.9801 | 2.1046 | 4.84 | 0.40911 | 0.43483
14 | YES | 3.136 | 2.0376 | 0.085689 | -3.0024 | -2.5597 | 0.44275 |  | 3.136 | -3.0024 | 14 | 3.136 | 5.04 | 2.0376 | 5.04 | 0.40429 | 14 | 5.04 | 2.0376 | 2.1065 | 5.04 | 0.40429 | 0.41796
15 | YES | 20.4525 | 1.0162 | 0.02149 | -0.44385 | -0.83362 | -0.38978 |  | 20.4525 | -0.44385 | 15 | 20.4525 | 1.46 | 1.0162 | 1.46 | 0.696 | 15 | 1.46 | 1.0162 | 1.0796 | 1.46 | 0.696 | 0.73947
15 | YES | 10.571 | 1.1172 | 0.022399 | -0.36277 | -1.8186 | -1.4558 |  | 10.571 | -0.36277 | 15 | 10.571 | 1.48 | 1.1172 | 1.48 | 0.75488 | 15 | 1.48 | 1.1172 | 1.2055 | 1.48 | 0.75488 | 0.8145
15 | YES | 4.4798 | 0.4777 | 0.049088 | -1.2923 | -2.4257 | -1.1334 |  | 4.4798 | -1.2923 | 15 | 4.4798 | 1.77 | 0.4777 | 1.77 | 0.26989 | 15 | 1.77 | 0.4777 | 0.46007 | 1.77 | 0.26989 | 0.25992
15 | YES | 3.9204 | 0.44437 | 0.070712 | -1.2656 | -2.4815 | -1.2158 |  | 3.9204 | -1.2656 | 15 | 3.9204 | 1.71 | 0.44437 | 1.71 | 0.25987 | 15 | 1.71 | 0.44437 | 0.42372 | 1.71 | 0.25987 | 0.24779
16 | YES | 20.1967 | 0.24852 | 0.013405 | -0.23148 | -0.85912 | -0.62764 |  | 20.1967 | -0.23148 | 16 | 20.1967 | 0.48 | 0.24852 | 0.48 | 0.51775 | 16 | 0.48 | 0.24852 | 0.26708 | 0.48 | 0.51775 | 0.55641
16 | YES | 10.8424 | 0.69465 | 0.028012 | -1.0253 | -1.7915 | -0.76617 |  | 10.8424 | -1.0253 | 16 | 10.8424 | 1.72 | 0.69465 | 1.72 | 0.40387 | 16 | 1.72 | 0.69465 | 1.0311 | 1.72 | 0.40387 | 0.59949
16 | YES | 4.3549 | 5.4598 | 0.40729 | -12.1602 | -2.4382 | 9.722 |  | 4.3549 | -12.1602 | 16 | 4.3549 | 17.62 | 5.4598 | 17.62 | 0.30986 | 16 | 17.62 | 5.4598 | 5.4839 | 17.62 | 0.30986 | 0.31123
16 | YES | 2.5929 | 5.5084 | 0.2201 | -9.2416 | -2.6138 | 6.6278 |  | 2.5929 | -9.2416 | 16 | 2.5929 | 14.75 | 5.5084 | 14.75 | 0.37345 | 16 | 14.75 | 5.5084 | 5.9082 | 14.75 | 0.37345 | 0.40055
17 | YES | 20.6036 | 0.53771 | 0.0254 | -0.53229 | -0.81856 | -0.28627 |  | 20.6036 | -0.53229 | 17 | 20.6036 | 1.07 | 0.53771 | 1.07 | 0.50254 | 17 | 1.07 | 0.53771 | 0.65291 | 1.07 | 0.50254 | 0.6102
17 | YES | 10.9253 | 2.7161 | 0.14167 | -8.9439 | -1.7833 | 7.1607 |  | 10.9253 | -8.9439 | 17 | 10.9253 | 11.66 | 2.7161 | 11.66 | 0.23294 | 17 | 11.66 | 2.7161 | 4.0983 | 11.66 | 0.23294 | 0.35148
17 | YES | 5.4036 | 5.1043 | 0.22803 | -5.9557 | -2.3336 | 3.6221 |  | 5.4036 | -5.9557 | 17 | 5.4036 | 11.06 | 5.1043 | 11.06 | 0.46151 | 17 | 11.06 | 5.1043 | 5.3917 | 11.06 | 0.46151 | 0.4875
17 | YES | 2.3304 | 4.5726 | 0.20129 | -5.4374 | -2.64 | 2.7975 |  | 2.3304 | -5.4374 | 17 | 2.3304 | 10.01 | 4.5726 | 10.01 | 0.4568 | 17 | 10.01 | 4.5726 | 4.9205 | 10.01 | 0.4568 | 0.49156
18 | YES | 20.127 | 0.38631 | 0.0117 | -0.10369 | -0.86607 | -0.76237 |  | 20.127 | -0.10369 | 18 | 20.127 | 0.49 | 0.38631 | 0.49 | 0.78838 | 18 | 0.49 | 0.38631 | 0.51761 | 0.49 | 0.78838 | 1.0563
18 | YES | 10.0925 | 0.41834 | 0.052127 | -0.36166 | -1.8663 | -1.5046 |  | 10.0925 | -0.36166 | 18 | 10.0925 | 0.78 | 0.41834 | 0.78 | 0.53633 | 18 | 0.78 | 0.41834 | 0.53383 | 0.78 | 0.53633 | 0.68439
18 | YES | 4.8714 | 0.70248 | 0.04013 | -2.6475 | -2.3867 | 0.26084 |  | 4.8714 | -2.6475 | 18 | 4.8714 | 3.35 | 0.70248 | 3.35 | 0.2097 | 18 | 3.35 | 0.70248 | 0.82242 | 3.35 | 0.2097 | 0.2455
18 | YES | 2.619 | 2.8036 | 0.13081 | -2.1964 | -2.6112 | -0.41478 |  | 2.619 | -2.1964 | 18 | 2.619 | 5 | 2.8036 | 5 | 0.56072 | 18 | 5 | 2.8036 | 2.9439 | 5 | 0.56072 | 0.58879
19 | YES | 20.4379 | 0.61935 | 0.012294 | -0.060647 | -0.83508 | -0.77443 |  | 20.4379 | -0.060647 | 19 | 20.4379 | 0.68 | 0.61935 | 0.68 | 0.91081 | 19 | 0.68 | 0.61935 | 0.77617 | 0.68 | 0.91081 | 1.1414
19 | YES | 10.3826 | 0.47845 | 0.0095825 | -0.12155 | -1.8373 | -1.7158 |  | 10.3826 | -0.12155 | 19 | 10.3826 | 0.6 | 0.47845 | 0.6 | 0.79742 | 19 | 0.6 | 0.47845 | 0.60266 | 0.6 | 0.79742 | 1.0044
19 | YES | 5.3291 | 0.69223 | 0.060085 | -0.38777 | -2.3411 | -1.9533 |  | 5.3291 | -0.38777 | 19 | 5.3291 | 1.08 | 0.69223 | 1.08 | 0.64096 | 19 | 1.08 | 0.69223 | 0.75082 | 1.08 | 0.64096 | 0.6952
19 | YES | 2.522 | 0.79135 | 0.0366 | -0.40865 | -2.6209 | -2.2122 |  | 2.522 | -0.40865 | 19 | 2.522 | 1.2 | 0.79135 | 1.2 | 0.65946 | 19 | 1.2 | 0.79135 | 0.88977 | 1.2 | 0.65946 | 0.74148
20 | YES | 20.5933 | 0.39035 | 0.012875 | -0.0096473 | -0.81959 | -0.80994 |  | 20.5933 | -0.0096473 | 20 | 20.5933 | 0.4 | 0.39035 | 0.4 | 0.97588 | 20 | 0.4 | 0.39035 | 0.47623 | 0.4 | 0.97588 | 1.1906
20 | YES | 10.462 | 0.86685 | 0.021927 | -0.27315 | -1.8294 | -1.5563 |  | 10.462 | -0.27315 | 20 | 10.462 | 1.14 | 0.86685 | 1.14 | 0.76039 | 20 | 1.14 | 0.86685 | 0.87639 | 1.14 | 0.76039 | 0.76876
20 | YES | 5.3596 | 0.76544 | 0.021964 | -0.22456 | -2.338 | -2.1135 |  | 5.3596 | -0.22456 | 20 | 5.3596 | 0.99 | 0.76544 | 0.99 | 0.77317 | 20 | 0.99 | 0.76544 | 0.7772 | 0.99 | 0.77317 | 0.78505
20 | YES | 2.8705 | 0.76363 | 0.01186 | -0.21637 | -2.5861 | -2.3698 |  | 2.8705 | -0.21637 | 20 | 2.8705 | 0.98 | 0.76363 | 0.98 | 0.77922 | 20 | 0.98 | 0.76363 | 0.7786 | 0.98 | 0.77922 | 0.79449
21 | YES | 20.628 | 0.61648 | 0.012731 | -0.16351 | -0.81613 | -0.65261 |  | 20.628 | -0.16351 | 21 | 20.628 | 0.78 | 0.61648 | 0.78 | 0.79037 | 21 | 0.78 | 0.61648 | 0.6502 | 0.78 | 0.79037 | 0.83359
21 | YES | 10.1343 | 0.57492 | 0.010558 | -0.21508 | -1.8621 | -1.647 |  | 10.1343 | -0.21508 | 21 | 10.1343 | 0.79 | 0.57492 | 0.79 | 0.72774 | 21 | 0.79 | 0.57492 | 0.58195 | 0.79 | 0.72774 | 0.73665
21 | YES | 5.3353 | 0.54508 | 0.022113 | -0.29492 | -2.3404 | -2.0455 |  | 5.3353 | -0.29492 | 21 | 5.3353 | 0.84 | 0.54508 | 0.84 | 0.6489 | 21 | 0.84 | 0.54508 | 0.54197 | 0.84 | 0.6489 | 0.64521
21 | YES | 2.6867 | 0.44895 | 0.055312 | -0.39105 | -2.6044 | -2.2134 |  | 2.6867 | -0.39105 | 21 | 2.6867 | 0.84 | 0.44895 | 0.84 | 0.53446 | 21 | 0.84 | 0.44895 | 0.37943 | 0.84 | 0.53446 | 0.4517
22 | YES | 20.4131 | 0.49557 | 0.010417 | -0.024432 | -0.83755 | -0.81312 |  | 20.4131 | -0.024432 | 22 | 20.4131 | 0.52 | 0.49557 | 0.52 | 0.95302 | 22 | 0.52 | 0.49557 | 0.54575 | 0.52 | 0.95302 | 1.0495
22 | YES | 10.3389 | 0.49621 | 0.0074665 | -0.11379 | -1.8417 | -1.7279 |  | 10.3389 | -0.11379 | 22 | 10.3389 | 0.61 | 0.49621 | 0.61 | 0.81345 | 22 | 0.61 | 0.49621 | 0.5722 | 0.61 | 0.81345 | 0.93804
22 | YES | 5.4234 | 0.29317 | 0.02045 | -0.27683 | -2.3317 | -2.0548 |  | 5.4234 | -0.27683 | 22 | 5.4234 | 0.57 | 0.29317 | 0.57 | 0.51433 | 22 | 0.57 | 0.29317 | 0.13081 | 0.57 | 0.51433 | 0.22949
22 | YES | 2.6549 | 0.15848 | 0.083908 | -0.36152 | -2.6076 | -2.2461 |  | 2.6549 | -0.36152 | 22 | 2.6549 | 0.52 | 0.15848 | 0.52 | 0.30477 | 22 | 0.52 | 0.15848 | 0.022859 | 0.52 | 0.30477 | 0.043959
23 | YES | 20.6311 | 0.60706 | 0.020761 | -0.12294 | -0.81582 | -0.69288 |  | 20.6311 | -0.12294 | 23 | 20.6311 | 0.73 | 0.60706 | 0.73 | 0.83159 | 23 | 0.73 | 0.60706 | 0.74731 | 0.73 | 0.83159 | 1.0237
23 | YES | 10.5477 | 0.78928 | 0.014242 | -0.14072 | -1.8209 | -1.6802 |  | 10.5477 | -0.14072 | 23 | 10.5477 | 0.93 | 0.78928 | 0.93 | 0.84869 | 23 | 0.93 | 0.78928 | 0.80271 | 0.93 | 0.84869 | 0.86313
23 | YES | 5.5805 | 0.72627 | 0.013692 | -0.42373 | -2.316 | -1.8923 |  | 5.5805 | -0.42373 | 23 | 5.5805 | 1.15 | 0.72627 | 1.15 | 0.63154 | 23 | 1.15 | 0.72627 | 0.72483 | 1.15 | 0.63154 | 0.63029
23 | YES | 2.4983 | 0.47509 | 0.016801 | -0.46491 | -2.6232 | -2.1583 |  | 2.4983 | -0.46491 | 23 | 2.4983 | 0.94 | 0.47509 | 0.94 | 0.50542 | 23 | 0.94 | 0.47509 | 0.42884 | 0.94 | 0.50542 | 0.45621
24 | YES | 20.8269 | 0.46671 | 0.010966 | 0.06671 | -0.7963 | -0.86301 |  | 20.8269 | 0.06671 | 24 | 20.8269 | 0.4 | 0.46671 | 0.4 | 1.1668 | 24 | 0.4 | 0.46671 | 0.59179 | 0.4 | 1.1668 | 1.4795
24 | YES | 10.4356 | 1.0989 | 0.015502 | 0.028863 | -1.8321 | -1.8609 |  | 10.4356 | 0.028863 | 24 | 10.4356 | 1.07 | 1.0989 | 1.07 | 1.027 | 24 | 1.07 | 1.0989 | 1.1546 | 1.07 | 1.027 | 1.079
24 | YES | 4.9542 | 1.0412 | 0.026731 | -0.16879 | -2.3784 | -2.2096 |  | 4.9542 | -0.16879 | 24 | 4.9542 | 1.21 | 1.0412 | 1.21 | 0.86051 | 24 | 1.21 | 1.0412 | 1.0733 | 1.21 | 0.86051 | 0.88705
24 | YES | 2.4413 | 0.97721 | 0.02364 | -0.11279 | -2.6289 | -2.5161 |  | 2.4413 | -0.11279 | 24 | 2.4413 | 1.09 | 0.97721 | 1.09 | 0.89653 | 24 | 1.09 | 0.97721 | 1.0162 | 1.09 | 0.89653 | 0.93232
25 | YES | 20.7129 | 0.6178 | 0.0096606 | -0.092199 | -0.80767 | -0.71547 |  | 20.7129 | -0.092199 | 25 | 20.7129 | 0.71 | 0.6178 | 0.71 | 0.87014 | 25 | 0.71 | 0.6178 | 0.84928 | 0.71 | 0.87014 | 1.1962
25 | YES | 10.3866 | 0.64664 | 0.0096388 | -0.083361 | -1.8369 | -1.7536 |  | 10.3866 | -0.083361 | 25 | 10.3866 | 0.73 | 0.64664 | 0.73 | 0.88581 | 25 | 0.73 | 0.64664 | 0.74628 | 0.73 | 0.88581 | 1.0223
25 | YES | 5.4939 | 0.65492 | 0.0099202 | -0.035083 | -2.3246 | -2.2895 |  | 5.4939 | -0.035083 | 25 | 5.4939 | 0.69 | 0.65492 | 0.69 | 0.94916 | 25 | 0.69 | 0.65492 | 0.78995 | 0.69 | 0.94916 | 1.1449
25 | YES | 2.5382 | 0.66994 | 0.011265 | -0.080056 | -2.6192 | -2.5392 |  | 2.5382 | -0.080056 | 25 | 2.5382 | 0.75 | 0.66994 | 0.75 | 0.89326 | 25 | 0.75 | 0.66994 | 0.72767 | 0.75 | 0.89326 | 0.97022
26 | YES | 19.7727 | 0.3539 | 0.005019 | -0.0261 | -0.90138 | -0.87528 |  | 19.7727 | -0.0261 | 26 | 19.7727 | 0.38 | 0.3539 | 0.38 | 0.93132 | 26 | 0.38 | 0.3539 | 0.42927 | 0.38 | 0.93132 | 1.1297
26 | YES | 9.9745 | 0.343 | 0.0054958 | -0.077004 | -1.878 | -1.801 |  | 9.9745 | -0.077004 | 26 | 9.9745 | 0.42 | 0.343 | 0.42 | 0.81666 | 26 | 0.42 | 0.343 | 0.34866 | 0.42 | 0.81666 | 0.83015
26 | YES | 5.4385 | 0.3435 | 0.0068951 | -0.036498 | -2.3302 | -2.2937 |  | 5.4385 | -0.036498 | 26 | 5.4385 | 0.38 | 0.3435 | 0.38 | 0.90395 | 26 | 0.38 | 0.3435 | 0.28304 | 0.38 | 0.90395 | 0.74485
26 | YES | 2.0837 | 0.34005 | 0.0076413 | 0.01005 | -2.6645 | -2.6746 |  | 2.0837 | 0.01005 | 26 | 2.0837 | 0.33 | 0.34005 | 0.33 | 1.0305 | 26 | 0.33 | 0.34005 | 0.22126 | 0.33 | 1.0305 | 0.67048
27 | YES | 19.8443 | 0.43966 | 0.0085191 | -0.03034 | -0.89424 | -0.8639 |  | 19.8443 | -0.03034 | 27 | 19.8443 | 0.47 | 0.43966 | 0.47 | 0.93545 | 27 | 0.47 | 0.43966 | 0.50034 | 0.47 | 0.93545 | 1.0646
27 | YES | 10.2113 | 0.44881 | 0.024644 | 0.038809 | -1.8544 | -1.8932 |  | 10.2113 | 0.038809 | 27 | 10.2113 | 0.41 | 0.44881 | 0.41 | 1.0947 | 27 | 0.41 | 0.44881 | 0.48316 | 0.41 | 1.0947 | 1.1784
27 | YES | 5.0805 | 0.41363 | 0.014598 | -0.076369 | -2.3658 | -2.2895 |  | 5.0805 | -0.076369 | 27 | 5.0805 | 0.49 | 0.41363 | 0.49 | 0.84414 | 27 | 0.49 | 0.41363 | 0.36844 | 0.49 | 0.84414 | 0.75193
27 | YES | 2.5215 | 0.37917 | 0.0060037 | -0.10083 | -2.6209 | -2.5201 |  | 2.5215 | -0.10083 | 27 | 2.5215 | 0.48 | 0.37917 | 0.48 | 0.78995 | 27 | 0.48 | 0.37917 | 0.30834 | 0.48 | 0.78995 | 0.64238
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Fluor_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## ECO Fluor vs CHL
Calculation of Linear Least Squares Fit For
(Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.057848 |  | X | CALC Y
m= | 0.10197 | 0.040159 |  | Std Dev of Resid |  | 2.8248 |  | 2.0837 | -2.5321
b= | -2.7446 | 0.47576 |  | Resid Sum of Squares |  | 837.8633 |  | 20.9678 | -0.60655
# of Values Extracted = |  |  | 107
# of Values Used in Fit = |  |  | 107
File | Use | Pressure | Fluorescence_URU_Wetlabs_ECO-AFL | Fluorescence_URU_Wetlabs_ECO-AFL | Diff (Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | File Pair | Press | CHL | FL_ECO | CHL | FL_ECO/CHL | FL_ECO-.058 | (FL_CO-.058)/CHL
1 | YES | 20.4322 | 0.31588 | 0.16373 | -0.17412 | -0.66117 | -0.48705 |  | 20.4322 | -0.17412 | 1 | 20.4322 | 0.49 | 0.31588 | 0.49 | 0.64466 | 0.25788 | 0.52629
1 | YES | 10.3752 | 3.0709 | 1.0695 | -1.7291 | -1.6867 | 0.042469 |  | 10.3752 | -1.7291 | 1 | 10.3752 | 4.8 | 3.0709 | 4.8 | 0.63976 | 3.0129 | 0.62768
1 | YES | 4.8061 | 8.8596 | 3.1274 | -6.5504 | -2.2545 | 4.2959 |  | 4.8061 | -6.5504 | 1 | 4.8061 | 15.41 | 8.8596 | 15.41 | 0.57492 | 8.8016 | 0.57116
1 | YES | 2.351 | 6.7942 | 1.0016 | -12.7258 | -2.5049 | 10.2209 |  | 2.351 | -12.7258 | 1 | 2.351 | 19.52 | 6.7942 | 19.52 | 0.34806 | 6.7362 | 0.34509
2 | YES | 20.43 | 1.5487 | 0.69051 | -1.1913 | -0.66139 | 0.52987 |  | 20.43 | -1.1913 | 2 | 20.43 | 2.74 | 1.5487 | 2.74 | 0.56523 | 1.4907 | 0.54407
2 | YES | 10.4809 | 1.378 | 0.37938 | -1.932 | -1.6759 | 0.25608 |  | 10.4809 | -1.932 | 2 | 10.4809 | 3.31 | 1.378 | 3.31 | 0.41633 | 1.32 | 0.3988
2 | YES | 5.1715 | 1.8675 | 0.54209 | -1.6525 | -2.2173 | -0.56479 |  | 5.1715 | -1.6525 | 2 | 5.1715 | 3.52 | 1.8675 | 3.52 | 0.53054 | 1.8095 | 0.51407
2 | YES | 2.7488 | 2.0017 | 0.59312 | -1.3983 | -2.4643 | -1.066 |  | 2.7488 | -1.3983 | 2 | 2.7488 | 3.4 | 2.0017 | 3.4 | 0.58873 | 1.9437 | 0.57167
3 | YES | 20.1307 | 0.54512 | 0.041824 | -0.35488 | -0.69191 | -0.33703 |  | 20.1307 | -0.35488 | 3 | 20.1307 | 0.9 | 0.54512 | 0.9 | 0.60568 | 0.48712 | 0.54124
3 | YES | 10.0447 | 0.5488 | 0.10793 | -0.4112 | -1.7204 | -1.3092 |  | 10.0447 | -0.4112 | 3 | 10.0447 | 0.96 | 0.5488 | 0.96 | 0.57166 | 0.4908 | 0.51125
3 | YES | 4.9513 | 0.5409 | 0.075932 | -0.6391 | -2.2397 | -1.6006 |  | 4.9513 | -0.6391 | 3 | 4.9513 | 1.18 | 0.5409 | 1.18 | 0.45839 | 0.4829 | 0.40924
3 | YES | 2.6549 | 0.57945 | 0.18392 | -0.58055 | -2.4739 | -1.8933 |  | 2.6549 | -0.58055 | 3 | 2.6549 | 1.16 | 0.57945 | 1.16 | 0.49952 | 0.52145 | 0.44952
4 | YES | 19.6908 | 2.5788 | 0.26755 | -2.8712 | -0.73677 | 2.1344 |  | 19.6908 | -2.8712 | 4 | 19.6908 | 5.45 | 2.5788 | 5.45 | 0.47318 | 2.5208 | 0.46254
4 | YES | 9.7357 | 10.8016 | 1.6201 | -12.4484 | -1.7519 | 10.6965 |  | 9.7357 | -12.4484 | 4 | 9.7357 | 23.25 | 10.8016 | 23.25 | 0.46458 | 10.7436 | 0.46209
4 | YES | 5.1076 | 15.7274 | 0.75773 | -11.2826 | -2.2238 | 9.0588 |  | 5.1076 | -11.2826 | 4 | 5.1076 | 27.01 | 15.7274 | 27.01 | 0.58228 | 15.6694 | 0.58013
5 | YES | 20.9678 | 3.474 | 0.46058 | -4.956 | -0.60655 | 4.3495 |  | 20.9678 | -4.956 | 5 | 20.9678 | 8.43 | 3.474 | 8.43 | 0.4121 | 3.416 | 0.40522
5 | YES | 10.7419 | 6.3968 | 0.69238 | -8.7832 | -1.6493 | 7.1339 |  | 10.7419 | -8.7832 | 5 | 10.7419 | 15.18 | 6.3968 | 15.18 | 0.4214 | 6.3388 | 0.41758
5 | YES | 5.787 | 6.1097 | 0.17757 | -7.0803 | -2.1545 | 4.9258 |  | 5.787 | -7.0803 | 5 | 5.787 | 13.19 | 6.1097 | 13.19 | 0.46321 | 6.0517 | 0.45881
5 | YES | 2.5675 | 5.8579 | 0.40001 | -8.0021 | -2.4828 | 5.5193 |  | 2.5675 | -8.0021 | 5 | 2.5675 | 13.86 | 5.8579 | 13.86 | 0.42265 | 5.7999 | 0.41847
6 | YES | 20.6157 | 1.1979 | 0.23771 | -1.2921 | -0.64246 | 0.64969 |  | 20.6157 | -1.2921 | 6 | 20.6157 | 2.49 | 1.1979 | 2.49 | 0.48106 | 1.1399 | 0.45777
6 | YES | 10.3238 | 4.2941 | 0.82811 | -3.0659 | -1.6919 | 1.374 |  | 10.3238 | -3.0659 | 6 | 10.3238 | 7.36 | 4.2941 | 7.36 | 0.58344 | 4.2361 | 0.57556
6 | YES | 5.0873 | 4.3536 | 0.55667 | -4.2964 | -2.2259 | 2.0705 |  | 5.0873 | -4.2964 | 6 | 5.0873 | 8.65 | 4.3536 | 8.65 | 0.50331 | 4.2956 | 0.4966
6 | YES | 3.0096 | 4.3268 | 0.59498 | -3.3132 | -2.4377 | 0.8755 |  | 3.0096 | -3.3132 | 6 | 3.0096 | 7.64 | 4.3268 | 7.64 | 0.56633 | 4.2688 | 0.55874
7 | YES | 20.6497 | 1.4481 | 0.25362 | -1.7619 | -0.63899 | 1.1229 |  | 20.6497 | -1.7619 | 7 | 20.6497 | 3.21 | 1.4481 | 3.21 | 0.45113 | 1.3901 | 0.43306
7 | YES | 10.5571 | 4.5233 | 0.49527 | -4.4767 | -1.6681 | 2.8085 |  | 10.5571 | -4.4767 | 7 | 10.5571 | 9 | 4.5233 | 9 | 0.50259 | 4.4653 | 0.49615
7 | YES | 5.2824 | 4.8936 | 0.68782 | -4.2664 | -2.206 | 2.0604 |  | 5.2824 | -4.2664 | 7 | 5.2824 | 9.16 | 4.8936 | 9.16 | 0.53424 | 4.8356 | 0.52791
7 | YES | 2.6251 | 4.6325 | 0.52174 | -4.4975 | -2.4769 | 2.0206 |  | 2.6251 | -4.4975 | 7 | 2.6251 | 9.13 | 4.6325 | 9.13 | 0.50739 | 4.5745 | 0.50104
8 | YES | 20.238 | 0.66327 | 0.22584 | -0.48673 | -0.68097 | -0.19424 |  | 20.238 | -0.48673 | 8 | 20.238 | 1.15 | 0.66327 | 1.15 | 0.57676 | 0.60527 | 0.52633
8 | YES | 9.8263 | 0.65295 | 0.075945 | -0.46705 | -1.7426 | -1.2756 |  | 9.8263 | -0.46705 | 8 | 9.8263 | 1.12 | 0.65295 | 1.12 | 0.58299 | 0.59495 | 0.53121
8 | YES | 4.8017 | 0.56825 | 0.07962 | -0.56175 | -2.255 | -1.6932 |  | 4.8017 | -0.56175 | 8 | 4.8017 | 1.13 | 0.56825 | 1.13 | 0.50288 | 0.51025 | 0.45155
8 | YES | 3.019 | 0.64091 | 0.1672 | -0.45909 | -2.4368 | -1.9777 |  | 3.019 | -0.45909 | 8 | 3.019 | 1.1 | 0.64091 | 1.1 | 0.58265 | 0.58291 | 0.52992
9 | YES | 19.8959 | 0.53237 | 0.07442 | -0.35763 | -0.71585 | -0.35822 |  | 19.8959 | -0.35763 | 9 | 19.8959 | 0.89 | 0.53237 | 0.89 | 0.59817 | 0.47437 | 0.533
9 | YES | 9.8494 | 0.62716 | 0.13508 | -0.42284 | -1.7403 | -1.3174 |  | 9.8494 | -0.42284 | 9 | 9.8494 | 1.05 | 0.62716 | 1.05 | 0.59729 | 0.56916 | 0.54206
9 | YES | 4.8764 | 0.60616 | 0.041623 | -0.49384 | -2.2474 | -1.7535 |  | 4.8764 | -0.49384 | 9 | 4.8764 | 1.1 | 0.60616 | 1.1 | 0.55106 | 0.54816 | 0.49833
9 | YES | 2.4606 | 0.56402 | 0.07332 | -0.61598 | -2.4937 | -1.8777 |  | 2.4606 | -0.61598 | 9 | 2.4606 | 1.18 | 0.56402 | 1.18 | 0.47798 | 0.50602 | 0.42883
10 | YES | 20.3416 | 0.64866 | 0.19938 | -0.69134 | -0.67041 | 0.020934 |  | 20.3416 | -0.69134 | 10 | 20.3416 | 1.34 | 0.64866 | 1.34 | 0.48407 | 0.59066 | 0.44079
10 | YES | 10.1657 | 0.60627 | 0.14966 | -0.87373 | -1.708 | -0.8343 |  | 10.1657 | -0.87373 | 10 | 10.1657 | 1.48 | 0.60627 | 1.48 | 0.40964 | 0.54827 | 0.37046
10 | YES | 5.028 | 0.66969 | 0.099716 | -1.0003 | -2.2319 | -1.2316 |  | 5.028 | -1.0003 | 10 | 5.028 | 1.67 | 0.66969 | 1.67 | 0.40101 | 0.61169 | 0.36628
10 | YES | 2.4844 | 0.5892 | 0.052154 | -1.1208 | -2.4913 | -1.3705 |  | 2.4844 | -1.1208 | 10 | 2.4844 | 1.71 | 0.5892 | 1.71 | 0.34456 | 0.5312 | 0.31064
11 | YES | 20.3359 | 0.47493 | 0.040638 | -0.38507 | -0.67099 | -0.28592 |  | 20.3359 | -0.38507 | 11 | 20.3359 | 0.86 | 0.47493 | 0.86 | 0.55225 | 0.41693 | 0.48481
11 | YES | 10.3737 | 0.50158 | 0.014487 | -0.42841 | -1.6868 | -1.2584 |  | 10.3737 | -0.42841 | 11 | 10.3737 | 0.93 | 0.50158 | 0.93 | 0.53934 | 0.44359 | 0.47697
11 | YES | 4.8533 | 0.39039 | 0.020292 | -0.81961 | -2.2497 | -1.4301 |  | 4.8533 | -0.81961 | 11 | 4.8533 | 1.21 | 0.39039 | 1.21 | 0.32263 | 0.33239 | 0.2747
11 | YES | 2.5555 | 0.37654 | 0.017052 | -0.61346 | -2.484 | -1.8706 |  | 2.5555 | -0.61346 | 11 | 2.5555 | 0.99 | 0.37654 | 0.99 | 0.38035 | 0.31854 | 0.32176
12 | YES | 20.7781 | 0.41952 | 0.035316 | -0.28048 | -0.6259 | -0.34541 |  | 20.7781 | -0.28048 | 12 | 20.7781 | 0.7 | 0.41952 | 0.7 | 0.59931 | 0.36151 | 0.51645
12 | YES | 10.8221 | 0.39858 | 0.033856 | -0.29142 | -1.6411 | -1.3497 |  | 10.8221 | -0.29142 | 12 | 10.8221 | 0.69 | 0.39858 | 0.69 | 0.57765 | 0.34058 | 0.4936
12 | YES | 5.3446 | 0.32536 | 0.052596 | -0.38464 | -2.1996 | -1.815 |  | 5.3446 | -0.38464 | 12 | 5.3446 | 0.71 | 0.32536 | 0.71 | 0.45825 | 0.26736 | 0.37656
12 | YES | 2.3951 | 0.31036 | 0.033181 | -0.37964 | -2.5004 | -2.1207 |  | 2.3951 | -0.37964 | 12 | 2.3951 | 0.69 | 0.31036 | 0.69 | 0.4498 | 0.25236 | 0.36574
13 | YES | 20.516 | 0.55097 | 0.05013 | -0.52902 | -0.65262 | -0.1236 |  | 20.516 | -0.52902 | 13 | 20.516 | 1.08 | 0.55097 | 1.08 | 0.51016 | 0.49297 | 0.45646
13 | YES | 10.3475 | 0.9997 | 0.10176 | -0.8803 | -1.6895 | -0.80919 |  | 10.3475 | -0.8803 | 13 | 10.3475 | 1.88 | 0.9997 | 1.88 | 0.53176 | 0.94171 | 0.50091
13 | YES | 5.4566 | 1.0027 | 0.078964 | -0.75731 | -2.1882 | -1.4309 |  | 5.4566 | -0.75731 | 13 | 5.4566 | 1.76 | 1.0027 | 1.76 | 0.56971 | 0.94469 | 0.53676
13 | YES | 3.0697 | 1.0633 | 0.12727 | -0.66671 | -2.4316 | -1.7649 |  | 3.0697 | -0.66671 | 13 | 3.0697 | 1.73 | 1.0633 | 1.73 | 0.61462 | 1.0053 | 0.58109
14 | YES | 20.1878 | 0.7746 | 0.055708 | -0.4854 | -0.68609 | -0.20069 |  | 20.1878 | -0.4854 | 14 | 20.1878 | 1.26 | 0.7746 | 1.26 | 0.61476 | 0.7166 | 0.56873
14 | YES | 9.8329 | 2.5641 | 0.183 | -2.9559 | -1.742 | 1.214 |  | 9.8329 | -2.9559 | 14 | 9.8329 | 5.52 | 2.5641 | 5.52 | 0.4645 | 2.5061 | 0.454
14 | YES | 5.7301 | 2.1046 | 0.18001 | -2.7354 | -2.1603 | 0.5751 |  | 5.7301 | -2.7354 | 14 | 5.7301 | 4.84 | 2.1046 | 4.84 | 0.43483 | 2.0466 | 0.42285
14 | YES | 3.136 | 2.1065 | 0.17111 | -2.9335 | -2.4248 | 0.50864 |  | 3.136 | -2.9335 | 14 | 3.136 | 5.04 | 2.1065 | 5.04 | 0.41796 | 2.0485 | 0.40645
15 | YES | 20.4525 | 1.0796 | 0.058108 | -0.38038 | -0.6591 | -0.27872 |  | 20.4525 | -0.38038 | 15 | 20.4525 | 1.46 | 1.0796 | 1.46 | 0.73947 | 1.0216 | 0.69974
15 | YES | 10.571 | 1.2055 | 0.022053 | -0.27454 | -1.6667 | -1.3922 |  | 10.571 | -0.27454 | 15 | 10.571 | 1.48 | 1.2055 | 1.48 | 0.8145 | 1.1475 | 0.77531
15 | YES | 4.4798 | 0.46007 | 0.051101 | -1.3099 | -2.2878 | -0.97787 |  | 4.4798 | -1.3099 | 15 | 4.4798 | 1.77 | 0.46007 | 1.77 | 0.25992 | 0.40207 | 0.22716
15 | YES | 3.9204 | 0.42372 | 0.053826 | -1.2863 | -2.3448 | -1.0586 |  | 3.9204 | -1.2863 | 15 | 3.9204 | 1.71 | 0.42372 | 1.71 | 0.24779 | 0.36572 | 0.21387
16 | YES | 20.1967 | 0.26708 | 0.03143 | -0.21293 | -0.68518 | -0.47226 |  | 20.1967 | -0.21293 | 16 | 20.1967 | 0.48 | 0.26708 | 0.48 | 0.55641 | 0.20908 | 0.43557
16 | YES | 10.8424 | 1.0311 | 0.10436 | -0.68888 | -1.639 | -0.95015 |  | 10.8424 | -0.68888 | 16 | 10.8424 | 1.72 | 1.0311 | 1.72 | 0.59949 | 0.97312 | 0.56577
16 | YES | 4.3549 | 5.4839 | 0.59567 | -12.1361 | -2.3005 | 9.8356 |  | 4.3549 | -12.1361 | 16 | 4.3549 | 17.62 | 5.4839 | 17.62 | 0.31123 | 5.4259 | 0.30794
16 | YES | 2.5929 | 5.9082 | 0.20165 | -8.8418 | -2.4802 | 6.3616 |  | 2.5929 | -8.8418 | 16 | 2.5929 | 14.75 | 5.9082 | 14.75 | 0.40055 | 5.8502 | 0.39662
17 | YES | 20.6036 | 0.65291 | 0.055583 | -0.41709 | -0.64369 | -0.2266 |  | 20.6036 | -0.41709 | 17 | 20.6036 | 1.07 | 0.65291 | 1.07 | 0.6102 | 0.59491 | 0.55599
17 | YES | 10.9253 | 4.0983 | 0.44273 | -7.5617 | -1.6306 | 5.9311 |  | 10.9253 | -7.5617 | 17 | 10.9253 | 11.66 | 4.0983 | 11.66 | 0.35148 | 4.0403 | 0.34651
17 | YES | 5.4036 | 5.3917 | 0.23201 | -5.6683 | -2.1936 | 3.4747 |  | 5.4036 | -5.6683 | 17 | 5.4036 | 11.06 | 5.3917 | 11.06 | 0.4875 | 5.3337 | 0.48225
17 | YES | 2.3304 | 4.9205 | 0.17017 | -5.0895 | -2.507 | 2.5825 |  | 2.3304 | -5.0895 | 17 | 2.3304 | 10.01 | 4.9205 | 10.01 | 0.49156 | 4.8625 | 0.48577
18 | YES | 20.127 | 0.51761 | 0.019393 | 0.02761 | -0.69229 | -0.7199 |  | 20.127 | 0.02761 | 18 | 20.127 | 0.49 | 0.51761 | 0.49 | 1.0563 | 0.45961 | 0.93798
18 | YES | 10.0925 | 0.53383 | 0.031274 | -0.24617 | -1.7155 | -1.4693 |  | 10.0925 | -0.24617 | 18 | 10.0925 | 0.78 | 0.53383 | 0.78 | 0.68439 | 0.47583 | 0.61003
18 | YES | 4.8714 | 0.82242 | 0.085375 | -2.5276 | -2.2479 | 0.27971 |  | 4.8714 | -2.5276 | 18 | 4.8714 | 3.35 | 0.82242 | 3.35 | 0.2455 | 0.76442 | 0.22819
18 | YES | 2.619 | 2.9439 | 0.26539 | -2.0561 | -2.4776 | -0.42148 |  | 2.619 | -2.0561 | 18 | 2.619 | 5 | 2.9439 | 5 | 0.58879 | 2.8859 | 0.57719
19 | YES | 20.4379 | 0.77617 | 0.032594 | 0.09617 | -0.66059 | -0.75676 |  | 20.4379 | 0.09617 | 19 | 20.4379 | 0.68 | 0.77617 | 0.68 | 1.1414 | 0.71817 | 1.0561
19 | YES | 10.3826 | 0.60266 | 0.023889 | 0.0026556 | -1.6859 | -1.6886 |  | 10.3826 | 0.0026556 | 19 | 10.3826 | 0.6 | 0.60266 | 0.6 | 1.0044 | 0.54466 | 0.90776
19 | YES | 5.3291 | 0.75082 | 0.15201 | -0.32918 | -2.2012 | -1.872 |  | 5.3291 | -0.32918 | 19 | 5.3291 | 1.08 | 0.75082 | 1.08 | 0.6952 | 0.69282 | 0.6415
19 | YES | 2.522 | 0.88977 | 0.0704 | -0.31023 | -2.4874 | -2.1772 |  | 2.522 | -0.31023 | 19 | 2.522 | 1.2 | 0.88977 | 1.2 | 0.74148 | 0.83177 | 0.69314
20 | YES | 20.5933 | 0.47623 | 0.042483 | 0.076232 | -0.64474 | -0.72097 |  | 20.5933 | 0.076232 | 20 | 20.5933 | 0.4 | 0.47623 | 0.4 | 1.1906 | 0.41823 | 1.0456
20 | YES | 10.462 | 0.87639 | 0.075913 | -0.26361 | -1.6778 | -1.4142 |  | 10.462 | -0.26361 | 20 | 10.462 | 1.14 | 0.87639 | 1.14 | 0.76876 | 0.81839 | 0.71788
20 | YES | 5.3596 | 0.7772 | 0.036062 | -0.2128 | -2.1981 | -1.9853 |  | 5.3596 | -0.2128 | 20 | 5.3596 | 0.99 | 0.7772 | 0.99 | 0.78505 | 0.7192 | 0.72647
20 | YES | 2.8705 | 0.7786 | 0.043702 | -0.2014 | -2.4519 | -2.2505 |  | 2.8705 | -0.2014 | 20 | 2.8705 | 0.98 | 0.7786 | 0.98 | 0.79449 | 0.7206 | 0.73531
21 | YES | 20.628 | 0.6502 | 0.037012 | -0.1298 | -0.6412 | -0.5114 |  | 20.628 | -0.1298 | 21 | 20.628 | 0.78 | 0.6502 | 0.78 | 0.83359 | 0.5922 | 0.75923
21 | YES | 10.1343 | 0.58195 | 0.014483 | -0.20805 | -1.7112 | -1.5032 |  | 10.1343 | -0.20805 | 21 | 10.1343 | 0.79 | 0.58195 | 0.79 | 0.73665 | 0.52395 | 0.66323
21 | YES | 5.3353 | 0.54197 | 0.025163 | -0.29802 | -2.2006 | -1.9025 |  | 5.3353 | -0.29802 | 21 | 5.3353 | 0.84 | 0.54197 | 0.84 | 0.64521 | 0.48397 | 0.57616
21 | YES | 2.6867 | 0.37943 | 0.049651 | -0.46057 | -2.4706 | -2.0101 |  | 2.6867 | -0.46057 | 21 | 2.6867 | 0.84 | 0.37943 | 0.84 | 0.4517 | 0.32143 | 0.38266
22 | YES | 20.4131 | 0.54575 | 0.017656 | 0.025754 | -0.66311 | -0.68887 |  | 20.4131 | 0.025754 | 22 | 20.4131 | 0.52 | 0.54575 | 0.52 | 1.0495 | 0.48775 | 0.93799
22 | YES | 10.3389 | 0.5722 | 0.021846 | -0.037797 | -1.6904 | -1.6526 |  | 10.3389 | -0.037797 | 22 | 10.3389 | 0.61 | 0.5722 | 0.61 | 0.93804 | 0.5142 | 0.84296
22 | YES | 5.4234 | 0.13081 | 0.0098436 | -0.43919 | -2.1916 | -1.7524 |  | 5.4234 | -0.43919 | 22 | 5.4234 | 0.57 | 0.13081 | 0.57 | 0.22949 | 0.072809 | 0.12774
22 | YES | 2.6549 | 0.022859 | 0.012442 | -0.49714 | -2.4739 | -1.9767 |  | 2.6549 | -0.49714 | 22 | 2.6549 | 0.52 | 0.022859 | 0.52 | 0.043959 | -0.035141 | -0.06758
23 | YES | 20.6311 | 0.74731 | 0.051896 | 0.017307 | -0.64089 | -0.65819 |  | 20.6311 | 0.017307 | 23 | 20.6311 | 0.73 | 0.74731 | 0.73 | 1.0237 | 0.68931 | 0.94426
23 | YES | 10.5477 | 0.80271 | 0.022838 | -0.12729 | -1.6691 | -1.5418 |  | 10.5477 | -0.12729 | 23 | 10.5477 | 0.93 | 0.80271 | 0.93 | 0.86313 | 0.74471 | 0.80077
23 | YES | 5.5805 | 0.72483 | 0.019777 | -0.42517 | -2.1756 | -1.7504 |  | 5.5805 | -0.42517 | 23 | 5.5805 | 1.15 | 0.72483 | 1.15 | 0.63029 | 0.66683 | 0.57985
23 | YES | 2.4983 | 0.42884 | 0.029343 | -0.51116 | -2.4899 | -1.9787 |  | 2.4983 | -0.51116 | 23 | 2.4983 | 0.94 | 0.42884 | 0.94 | 0.45621 | 0.37084 | 0.39451
24 | YES | 20.8269 | 0.59179 | 0.017246 | 0.19179 | -0.62092 | -0.81271 |  | 20.8269 | 0.19179 | 24 | 20.8269 | 0.4 | 0.59179 | 0.4 | 1.4795 | 0.53379 | 1.3345
24 | YES | 10.4356 | 1.1546 | 0.038597 | 0.084564 | -1.6805 | -1.7651 |  | 10.4356 | 0.084564 | 24 | 10.4356 | 1.07 | 1.1546 | 1.07 | 1.079 | 1.0966 | 1.0248
24 | YES | 4.9542 | 1.0733 | 0.087455 | -0.13667 | -2.2394 | -2.1028 |  | 4.9542 | -0.13667 | 24 | 4.9542 | 1.21 | 1.0733 | 1.21 | 0.88705 | 1.0153 | 0.83912
24 | YES | 2.4413 | 1.0162 | 0.075046 | -0.073767 | -2.4957 | -2.4219 |  | 2.4413 | -0.073767 | 24 | 2.4413 | 1.09 | 1.0162 | 1.09 | 0.93232 | 0.95823 | 0.87911
25 | YES | 20.7129 | 0.84928 | 0.036917 | 0.13928 | -0.63254 | -0.77183 |  | 20.7129 | 0.13928 | 25 | 20.7129 | 0.71 | 0.84928 | 0.71 | 1.1962 | 0.79128 | 1.1145
25 | YES | 10.3866 | 0.74628 | 0.050526 | 0.016278 | -1.6855 | -1.7018 |  | 10.3866 | 0.016278 | 25 | 10.3866 | 0.73 | 0.74628 | 0.73 | 1.0223 | 0.68828 | 0.94285
25 | YES | 5.4939 | 0.78995 | 0.038793 | 0.099954 | -2.1844 | -2.2843 |  | 5.4939 | 0.099954 | 25 | 5.4939 | 0.69 | 0.78995 | 0.69 | 1.1449 | 0.73195 | 1.0608
25 | YES | 2.5382 | 0.72767 | 0.044167 | -0.022332 | -2.4858 | -2.4635 |  | 2.5382 | -0.022332 | 25 | 2.5382 | 0.75 | 0.72767 | 0.75 | 0.97022 | 0.66967 | 0.89289
26 | YES | 19.7727 | 0.42927 | 0.031396 | 0.049274 | -0.72842 | -0.77769 |  | 19.7727 | 0.049274 | 26 | 19.7727 | 0.38 | 0.42927 | 0.38 | 1.1297 | 0.37127 | 0.97704
26 | YES | 9.9745 | 0.34866 | 0.024753 | -0.071336 | -1.7275 | -1.6562 |  | 9.9745 | -0.071336 | 26 | 9.9745 | 0.42 | 0.34866 | 0.42 | 0.83015 | 0.29066 | 0.69206
26 | YES | 5.4385 | 0.28304 | 0.025969 | -0.096959 | -2.19 | -2.0931 |  | 5.4385 | -0.096959 | 26 | 5.4385 | 0.38 | 0.28304 | 0.38 | 0.74485 | 0.22504 | 0.59222
26 | YES | 2.0837 | 0.22126 | 0.018594 | -0.10874 | -2.5321 | -2.4234 |  | 2.0837 | -0.10874 | 26 | 2.0837 | 0.33 | 0.22126 | 0.33 | 0.67048 | 0.16326 | 0.49472
27 | YES | 19.8443 | 0.50034 | 0.030937 | 0.030344 | -0.72111 | -0.75146 |  | 19.8443 | 0.030344 | 27 | 19.8443 | 0.47 | 0.50034 | 0.47 | 1.0646 | 0.44234 | 0.94116
27 | YES | 10.2113 | 0.48316 | 0.030183 | 0.073162 | -1.7034 | -1.7765 |  | 10.2113 | 0.073162 | 27 | 10.2113 | 0.41 | 0.48316 | 0.41 | 1.1784 | 0.42516 | 1.037
27 | YES | 5.0805 | 0.36844 | 0.027435 | -0.12156 | -2.2266 | -2.105 |  | 5.0805 | -0.12156 | 27 | 5.0805 | 0.49 | 0.36844 | 0.49 | 0.75193 | 0.31044 | 0.63356
27 | YES | 2.5215 | 0.30834 | 0.015135 | -0.17166 | -2.4875 | -2.3158 |  | 2.5215 | -0.17166 | 27 | 2.5215 | 0.48 | 0.30834 | 0.48 | 0.64238 | 0.25034 | 0.52154
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Fluorescence_URU_Wetlabs_ECO-AFL
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE