## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6.1 | Run at 2025/01/28 08:50:59 | Compare Excel Add-in Version 2.3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL_BOT | Fluorescence_URU_Wetlabs_ECO-AFL |  | Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL_BOT | Fluorescence_URU_Wetlabs_ECO-AFL | Fluorescence_URU_Wetlabs_ECO-AFL | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2024-006-0045.mrgCLEAN | 2024-006-0045.samavg | 2 | 4.714 | 4.848 | 0.1895 | 0.134 | 0.29 | 0.768 | 0.025456 | 0.478
2024-006-0047.mrgCLEAN | 2024-006-0047.samavg | 2 | 4.85 | 4.8225 | 0.038891 | -0.0275 | 0.31 | 0.771 | 0.019799 | 0.461
2024-006-0050.mrgCLEAN | 2024-006-0050.samavg | 2 | 5.154 | 5.053 | 0.14283 | -0.101 | 0.36 | 0.251 | 0.0070711 | -0.109
2024-006-0055.mrgCLEAN | 2024-006-0055.samavg | 2 | 5.419 | 5.4595 | 0.057276 | 0.0405 | 0.38 | 0.2935 | 0.0021213 | -0.0865
2024-006-0061.mrgCLEAN | 2024-006-0061.samavg | 0 | 4.775 | 0 | 0 | -4.775 | 0.41 | 0 | 0 | -0.41
2024-006-0062.mrgCLEAN | 2024-006-0062.samavg | 2 | 5.031 | 5.001 | 0.042426 | -0.03 | 0.39 | 1.1175 | 0.017678 | 0.7275
2024-006-0066.mrgCLEAN | 2024-006-0066.samavg | 2 | 5.441 | 5.3115 | 0.18314 | -0.1295 | 0.55 | 0.4745 | 0.0035355 | -0.0755
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 1 | 100.429 | 100.429 | 0 | 0 | 0.19 | 0.484 | 0 | 0.294
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 1 | 73.386 | 73.386 | 0 | 0 | 0.38 | 1.052 | 0 | 0.672
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 1 | 60.154 | 60.154 | 0 | 0 | 0.37 | 1.092 | 0 | 0.722
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 1 | 49.505 | 49.505 | 0 | 0 | 0.37 | 1.075 | 0 | 0.705
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 1 | 39.21 | 39.21 | 0 | 0 | 0.39 | 1.101 | 0 | 0.711
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 1 | 30.065 | 30.065 | 0 | 0 | 0.39 | 1.1 | 0 | 0.71
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 1 | 24.833 | 24.833 | 0 | 0 | 0.4 | 1.076 | 0 | 0.676
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 1 | 20.724 | 20.724 | 0 | 0 | 0.39 | 0.996 | 0 | 0.606
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 1 | 14.724 | 14.724 | 0 | 0 | 0.39 | 0.728 | 0 | 0.338
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 1 | 10.032 | 10.032 | 0 | 0 | 0.39 | 0.587 | 0 | 0.197
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 4 | 5.294 | 5.2423 | 0.93958 | -0.05175 | 0.39 | 0.478 | 0.029496 | 0.088
2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 3 | 3.99 | 4.9013 | 0.79175 | 0.91133 | 0.39 | 0.46733 | 0.024947 | 0.077333
2024-006-0079.mrgCLEAN | 2024-006-0079.samavg | 2 | 4.705 | 4.6915 | 0.019092 | -0.0135 | 0.31 | 0.475 | 0.0056569 | 0.165
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 1 | 100.883 | 100.883 | 0 | 0 | 0.06 | 0.112 | 0 | 0.052
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 1 | 75.196 | 75.196 | 0 | 0 | 0.26 | 0.585 | 0 | 0.325
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 1 | 60.413 | 60.413 | 0 | 0 | 0.46 | 1.307 | 0 | 0.847
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 1 | 50.516 | 50.516 | 0 | 0 | 0.39 | 1.3 | 0 | 0.91
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 1 | 40.124 | 40.124 | 0 | 0 | 0.45 | 1.226 | 0 | 0.776
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 1 | 29.965 | 29.965 | 0 | 0 | 0.49 | 1.038 | 0 | 0.548
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 1 | 26.235 | 26.235 | 0 | 0 | 0.51 | 0.985 | 0 | 0.475
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 1 | 19.775 | 19.775 | 0 | 0 | 0.48 | 0.795 | 0 | 0.315
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 1 | 15.301 | 15.301 | 0 | 0 | 0.52 | 0.449 | 0 | -0.071
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 1 | 10.191 | 10.191 | 0 | 0 | 0.5 | 0.39 | 0 | -0.11
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 3 | 5.073 | 4.4843 | 0.55969 | -0.58867 | 0.46 | 0.304 | 0.017692 | -0.156
2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 3 | 3.959 | 4.4843 | 0.55969 | 0.52533 | 0.48 | 0.304 | 0.017692 | -0.176
2024-006-0096.mrgCLEAN | 2024-006-0096.samavg | 1 | 19.973 | 19.973 | 0 | 0 | 6.92 | 3.815 | 0 | -3.105
2024-006-0096.mrgCLEAN | 2024-006-0096.samavg | 1 | 9.995 | 9.995 | 0 | 0 | 14.38 | 13.907 | 0 | -0.473
2024-006-0096.mrgCLEAN | 2024-006-0096.samavg | 3 | 4.872 | 3.6437 | 1.0638 | -1.2283 | 12.06 | 7.5257 | 1.7025 | -4.5343
2024-006-0096.mrgCLEAN | 2024-006-0096.samavg | 3 | 3.026 | 3.6437 | 1.0638 | 0.61767 | 12.82 | 7.5257 | 1.7025 | -5.2943
2024-006-0099.mrgCLEAN | 2024-006-0099.samavg | 1 | 5.6 | 5.6 | 0 | 0 | 5.55 | 5.221 | 0 | -0.329
2024-006-0099.mrgCLEAN | 2024-006-0099.samavg | 1 | 2.982 | 2.982 | 0 | 0 | 2.92 | 4.976 | 0 | 2.056
2024-006-0101.mrgCLEAN | 2024-006-0101.samavg | 1 | 20.304 | 20.304 | 0 | 0 | 9.81 | 16.293 | 0 | 6.483
2024-006-0101.mrgCLEAN | 2024-006-0101.samavg | 1 | 10.349 | 10.349 | 0 | 0 | 9.87 | 8.494 | 0 | -1.376
2024-006-0101.mrgCLEAN | 2024-006-0101.samavg | 2 | 5.02 | 4.3825 | 0.90156 | -0.6375 | 6.83 | 6.8105 | 0.0049497 | -0.0195
2024-006-0101.mrgCLEAN | 2024-006-0101.samavg | 2 | 3.745 | 4.3825 | 0.90156 | 0.6375 | 5.32 | 6.8105 | 0.0049497 | 1.4905
2024-006-0103.mrgCLEAN | 2024-006-0103.samavg | 1 | 19.913 | 19.913 | 0 | 0 | 6.83 | 4.662 | 0 | -2.168
2024-006-0103.mrgCLEAN | 2024-006-0103.samavg | 1 | 10.398 | 10.398 | 0 | 0 | 7.27 | 6.518 | 0 | -0.752
2024-006-0103.mrgCLEAN | 2024-006-0103.samavg | 3 | 4.319 | 3.695 | 0.54041 | -0.624 | 2.98 | 2.5197 | 0.4187 | -0.46033
2024-006-0103.mrgCLEAN | 2024-006-0103.samavg | 3 | 3.387 | 3.695 | 0.54041 | 0.308 | 2.77 | 2.5197 | 0.4187 | -0.25033
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 15
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2024-006-0045.mrgCLEAN | 2024-006-0045.samavg | 11 | 11 | 2024-006-0045.mrgCLEAN & 2024-006-0045.samavg
2 | 2024-006-0047.mrgCLEAN | 2024-006-0047.samavg | 13 | 13 | 2024-006-0047.mrgCLEAN & 2024-006-0047.samavg
3 | 2024-006-0050.mrgCLEAN | 2024-006-0050.samavg | 15 | 15 | 2024-006-0050.mrgCLEAN & 2024-006-0050.samavg
4 | 2024-006-0055.mrgCLEAN | 2024-006-0055.samavg | 17 | 17 | 2024-006-0055.mrgCLEAN & 2024-006-0055.samavg
5 | 2024-006-0061.mrgCLEAN | 2024-006-0061.samavg | 19 | 19 | 2024-006-0061.mrgCLEAN & 2024-006-0061.samavg
6 | 2024-006-0062.mrgCLEAN | 2024-006-0062.samavg | 21 | 21 | 2024-006-0062.mrgCLEAN & 2024-006-0062.samavg
7 | 2024-006-0066.mrgCLEAN | 2024-006-0066.samavg | 23 | 23 | 2024-006-0066.mrgCLEAN & 2024-006-0066.samavg
8 | 2024-006-0076.mrgCLEAN | 2024-006-0076.samavg | 25 | 36 | 2024-006-0076.mrgCLEAN & 2024-006-0076.samavg
9 | 2024-006-0079.mrgCLEAN | 2024-006-0079.samavg | 38 | 38 | 2024-006-0079.mrgCLEAN & 2024-006-0079.samavg
10 | 2024-006-0081.mrgCLEAN | 2024-006-0081.samavg | 40 | 51 | 2024-006-0081.mrgCLEAN & 2024-006-0081.samavg
11 | 2024-006-0096.mrgCLEAN | 2024-006-0096.samavg | 53 | 56 | 2024-006-0096.mrgCLEAN & 2024-006-0096.samavg
12 | 2024-006-0099.mrgCLEAN | 2024-006-0099.samavg | 58 | 59 | 2024-006-0099.mrgCLEAN & 2024-006-0099.samavg
13 | 2024-006-0101.mrgCLEAN | 2024-006-0101.samavg | 61 | 64 | 2024-006-0101.mrgCLEAN & 2024-006-0101.samavg
14 | 2024-006-0103.mrgCLEAN | 2024-006-0103.samavg | 66 | 69 | 2024-006-0103.mrgCLEAN & 2024-006-0103.samavg
15 |  |  | 71 | 70 | &

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT) | Pressure | 14

## Fit_1
Calculation of Linear Least Squares Fit For
(Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 46
# of Values Used in Fit = |  |  | 46
File | Use | Pressure | Fluorescence_URU_Wetlabs_ECO-AFL | Fluorescence_URU_Wetlabs_ECO-AFL | Diff (Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | File # | Pressure | CH | FL | CH | FL/CH
1 | YES | 4.848 | 0.768 | 0.025456 | 0.478 | #VALUE! | #VALUE! |  | 4.848 | 0.478 | 1 | 4.848 | 0.29 | 0.768 | 0.29 | 2.6483
2 | YES | 4.8225 | 0.771 | 0.019799 | 0.461 | #VALUE! | #VALUE! |  | 4.8225 | 0.461 | 2 | 4.8225 | 0.31 | 0.771 | 0.31 | 2.4871
3 | YES | 5.053 | 0.251 | 0.0070711 | -0.109 | #VALUE! | #VALUE! |  | 5.053 | -0.109 | 3 | 5.053 | 0.36 | 0.251 | 0.36 | 0.69722
4 | YES | 5.4595 | 0.2935 | 0.0021213 | -0.0865 | #VALUE! | #VALUE! |  | 5.4595 | -0.0865 | 4 | 5.4595 | 0.38 | 0.2935 | 0.38 | 0.77237
5 | YES | 0 | 0 | 0 | -0.41 | #VALUE! | #VALUE! |  | 0 | -0.41 | 5 | 0 | 0.41 | 0 | 0.41 | 0
6 | YES | 5.001 | 1.1175 | 0.017678 | 0.7275 | #VALUE! | #VALUE! |  | 5.001 | 0.7275 | 6 | 5.001 | 0.39 | 1.1175 | 0.39 | 2.8654
7 | YES | 5.3115 | 0.4745 | 0.0035355 | -0.0755 | #VALUE! | #VALUE! |  | 5.3115 | -0.0755 | 7 | 5.3115 | 0.55 | 0.4745 | 0.55 | 0.86273
8 | YES | 100.429 | 0.484 | 0 | 0.294 | #VALUE! | #VALUE! |  | 100.429 | 0.294 | 8 | 100.429 | 0.19 | 0.484 | 0.19 | 2.5474
8 | YES | 73.386 | 1.052 | 0 | 0.672 | #VALUE! | #VALUE! |  | 73.386 | 0.672 | 8 | 73.386 | 0.38 | 1.052 | 0.38 | 2.7684
8 | YES | 60.154 | 1.092 | 0 | 0.722 | #VALUE! | #VALUE! |  | 60.154 | 0.722 | 8 | 60.154 | 0.37 | 1.092 | 0.37 | 2.9514
8 | YES | 49.505 | 1.075 | 0 | 0.705 | #VALUE! | #VALUE! |  | 49.505 | 0.705 | 8 | 49.505 | 0.37 | 1.075 | 0.37 | 2.9054
8 | YES | 39.21 | 1.101 | 0 | 0.711 | #VALUE! | #VALUE! |  | 39.21 | 0.711 | 8 | 39.21 | 0.39 | 1.101 | 0.39 | 2.8231
8 | YES | 30.065 | 1.1 | 0 | 0.71 | #VALUE! | #VALUE! |  | 30.065 | 0.71 | 8 | 30.065 | 0.39 | 1.1 | 0.39 | 2.8205
8 | YES | 24.833 | 1.076 | 0 | 0.676 | #VALUE! | #VALUE! |  | 24.833 | 0.676 | 8 | 24.833 | 0.4 | 1.076 | 0.4 | 2.69
8 | YES | 20.724 | 0.996 | 0 | 0.606 | #VALUE! | #VALUE! |  | 20.724 | 0.606 | 8 | 20.724 | 0.39 | 0.996 | 0.39 | 2.5538
8 | YES | 14.724 | 0.728 | 0 | 0.338 | #VALUE! | #VALUE! |  | 14.724 | 0.338 | 8 | 14.724 | 0.39 | 0.728 | 0.39 | 1.8667
8 | YES | 10.032 | 0.587 | 0 | 0.197 | #VALUE! | #VALUE! |  | 10.032 | 0.197 | 8 | 10.032 | 0.39 | 0.587 | 0.39 | 1.5051
8 | YES | 5.2423 | 0.478 | 0.029496 | 0.088 | #VALUE! | #VALUE! |  | 5.2423 | 0.088 | 8 | 5.2423 | 0.39 | 0.478 | 0.39 | 1.2256
8 | YES | 4.9013 | 0.46733 | 0.024947 | 0.077333 | #VALUE! | #VALUE! |  | 4.9013 | 0.077333 | 8 | 4.9013 | 0.39 | 0.46733 | 0.39 | 1.1983
9 | YES | 4.6915 | 0.475 | 0.0056569 | 0.165 | #VALUE! | #VALUE! |  | 4.6915 | 0.165 | 9 | 4.6915 | 0.31 | 0.475 | 0.31 | 1.5323
10 | YES | 100.883 | 0.112 | 0 | 0.052 | #VALUE! | #VALUE! |  | 100.883 | 0.052 | 10 | 100.883 | 0.06 | 0.112 | 0.06 | 1.8667
10 | YES | 75.196 | 0.585 | 0 | 0.325 | #VALUE! | #VALUE! |  | 75.196 | 0.325 | 10 | 75.196 | 0.26 | 0.585 | 0.26 | 2.25
10 | YES | 60.413 | 1.307 | 0 | 0.847 | #VALUE! | #VALUE! |  | 60.413 | 0.847 | 10 | 60.413 | 0.46 | 1.307 | 0.46 | 2.8413
10 | YES | 50.516 | 1.3 | 0 | 0.91 | #VALUE! | #VALUE! |  | 50.516 | 0.91 | 10 | 50.516 | 0.39 | 1.3 | 0.39 | 3.3333
10 | YES | 40.124 | 1.226 | 0 | 0.776 | #VALUE! | #VALUE! |  | 40.124 | 0.776 | 10 | 40.124 | 0.45 | 1.226 | 0.45 | 2.7244
10 | YES | 29.965 | 1.038 | 0 | 0.548 | #VALUE! | #VALUE! |  | 29.965 | 0.548 | 10 | 29.965 | 0.49 | 1.038 | 0.49 | 2.1184
10 | YES | 26.235 | 0.985 | 0 | 0.475 | #VALUE! | #VALUE! |  | 26.235 | 0.475 | 10 | 26.235 | 0.51 | 0.985 | 0.51 | 1.9314
10 | YES | 19.775 | 0.795 | 0 | 0.315 | #VALUE! | #VALUE! |  | 19.775 | 0.315 | 10 | 19.775 | 0.48 | 0.795 | 0.48 | 1.6562
10 | YES | 15.301 | 0.449 | 0 | -0.071 | #VALUE! | #VALUE! |  | 15.301 | -0.071 | 10 | 15.301 | 0.52 | 0.449 | 0.52 | 0.86346
10 | YES | 10.191 | 0.39 | 0 | -0.11 | #VALUE! | #VALUE! |  | 10.191 | -0.11 | 10 | 10.191 | 0.5 | 0.39 | 0.5 | 0.78
10 | YES | 4.4843 | 0.304 | 0.017692 | -0.156 | #VALUE! | #VALUE! |  | 4.4843 | -0.156 | 10 | 4.4843 | 0.46 | 0.304 | 0.46 | 0.66087
10 | YES | 4.4843 | 0.304 | 0.017692 | -0.176 | #VALUE! | #VALUE! |  | 4.4843 | -0.176 | 10 | 4.4843 | 0.48 | 0.304 | 0.48 | 0.63333
11 | YES | 19.973 | 3.815 | 0 | -3.105 | #VALUE! | #VALUE! |  | 19.973 | -3.105 | 11 | 19.973 | 6.92 | 3.815 | 6.92 | 0.5513
11 | YES | 9.995 | 13.907 | 0 | -0.473 | #VALUE! | #VALUE! |  | 9.995 | -0.473 | 11 | 9.995 | 14.38 | 13.907 | 14.38 | 0.96711
11 | YES | 3.6437 | 7.5257 | 1.7025 | -4.5343 | #VALUE! | #VALUE! |  | 3.6437 | -4.5343 | 11 | 3.6437 | 12.06 | 7.5257 | 12.06 | 0.62402
11 | YES | 3.6437 | 7.5257 | 1.7025 | -5.2943 | #VALUE! | #VALUE! |  | 3.6437 | -5.2943 | 11 | 3.6437 | 12.82 | 7.5257 | 12.82 | 0.58703
12 | YES | 5.6 | 5.221 | 0 | -0.329 | #VALUE! | #VALUE! |  | 5.6 | -0.329 | 12 | 5.6 | 5.55 | 5.221 | 5.55 | 0.94072
12 | YES | 2.982 | 4.976 | 0 | 2.056 | #VALUE! | #VALUE! |  | 2.982 | 2.056 | 12 | 2.982 | 2.92 | 4.976 | 2.92 | 1.7041
13 | YES | 20.304 | 16.293 | 0 | 6.483 | #VALUE! | #VALUE! |  | 20.304 | 6.483 | 13 | 20.304 | 9.81 | 16.293 | 9.81 | 1.6609
13 | YES | 10.349 | 8.494 | 0 | -1.376 | #VALUE! | #VALUE! |  | 10.349 | -1.376 | 13 | 10.349 | 9.87 | 8.494 | 9.87 | 0.86059
13 | YES | 4.3825 | 6.8105 | 0.0049497 | -0.0195 | #VALUE! | #VALUE! |  | 4.3825 | -0.0195 | 13 | 4.3825 | 6.83 | 6.8105 | 6.83 | 0.99714
13 | YES | 4.3825 | 6.8105 | 0.0049497 | 1.4905 | #VALUE! | #VALUE! |  | 4.3825 | 1.4905 | 13 | 4.3825 | 5.32 | 6.8105 | 5.32 | 1.2802
14 | YES | 19.913 | 4.662 | 0 | -2.168 | #VALUE! | #VALUE! |  | 19.913 | -2.168 | 14 | 19.913 | 6.83 | 4.662 | 6.83 | 0.68258
14 | YES | 10.398 | 6.518 | 0 | -0.752 | #VALUE! | #VALUE! |  | 10.398 | -0.752 | 14 | 10.398 | 7.27 | 6.518 | 7.27 | 0.89656
14 | YES | 3.695 | 2.5197 | 0.4187 | -0.46033 | #VALUE! | #VALUE! |  | 3.695 | -0.46033 | 14 | 3.695 | 2.98 | 2.5197 | 2.98 | 0.84553
14 | YES | 3.695 | 2.5197 | 0.4187 | -0.25033 | #VALUE! | #VALUE! |  | 3.695 | -0.25033 | 14 | 3.695 | 2.77 | 2.5197 | 2.77 | 0.90963
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Fluorescence_URU_Wetlabs_ECO-AFL
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE