## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2025/08/07 15:15:27 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2024-007-0007.mrgcor1 | 2024-007-0007.samcor1 | 241 | 20.24 | 20.2366 | 0.06877 | -0.0034428 | 31.287 | 31.2941 | 0.0013886 | 0.0070725 | 31.287 | 31.2938 | 0.0010382 | 0.006794
2024-007-0007.mrgcor1 | 2024-007-0007.samcor1 | 241 | 5.08 | 5.0776 | 0.06302 | -0.0023651 | 30.8321 | 30.8442 | 0.010688 | 0.012075 | 30.8321 | 30.8409 | 0.010212 | 0.0088425
2024-007-0047.mrgcor1 | 2024-007-0047.samcor1 | 241 | 349.94 | 349.939 | 0.029962 | -0.0011291 | 31.123 | 31.1269 | 0.0011259 | 0.0039291 | 31.123 | 31.126 | 0.0012707 | 0.0030327
2024-007-0063.mrgcor1 | 2024-007-0063.samcor1 | 241 | 299.77 | 299.768 | 0.030357 | -0.0022278 | 31.022 | 31.0222 | 0.00027415 | 0.00020599 | 31.022 | 31.0221 | 0.00038801 | 7.2479e-05
2024-007-0081.mrgcor1 | 2024-007-0081.samcor1 | 241 | 250 | 249.996 | 0.026693 | -0.0036469 | 30.7684 | 30.7698 | 0.00026298 | 0.0013618 | 30.7684 | 30.7699 | 0.00019122 | 0.0015183
2024-007-0086.mrgcor1 | 2024-007-0086.samcor1 | 210 | 299.42 | 299.641 | 0.37415 | 0.22061 | 30.8133 | 30.8149 | 0.00026232 | 0.0015736 | 30.8133 | 30.8149 | 0.00021004 | 0.0015583
2024-007-0092.mrgcor1 | 2024-007-0092.samcor1 | 241 | 421.16 | 421.166 | 0.02782 | 0.0063782 | 31.113 | 31.1161 | 0.00026502 | 0.003088 | 31.113 | 31.1158 | 0.00020253 | 0.0027981
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 6
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2024-007-0007.mrgcor1 | 2024-007-0007.samcor1 | 12 | 13 | 2024-007-0007.mrgcor1 & 2024-007-0007.samcor1
2 | 2024-007-0047.mrgcor1 | 2024-007-0047.samcor1 | 15 | 15 | 2024-007-0047.mrgcor1 & 2024-007-0047.samcor1
3 | 2024-007-0063.mrgcor1 | 2024-007-0063.samcor1 | 17 | 17 | 2024-007-0063.mrgcor1 & 2024-007-0063.samcor1
4 | 2024-007-0081.mrgcor1 | 2024-007-0081.samcor1 | 19 | 19 | 2024-007-0081.mrgcor1 & 2024-007-0081.samcor1
5 | 2024-007-0086.mrgcor1 | 2024-007-0086.samcor1 | 21 | 21 | 2024-007-0086.mrgcor1 & 2024-007-0086.samcor1
6 | 2024-007-0092.mrgcor1 | 2024-007-0092.samcor1 | 23 | 23 | 2024-007-0092.mrgcor1 & 2024-007-0092.samcor1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Sal0 | 6
2 | (Sal1 - Sal_Bot) | Pressure | 6

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Sal0
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.90541 |  | X | CALC Y
m= | -0.0052035 | 0.0016819 |  | Std Dev of Resid |  | 0.00032017 |  | 30.7698 | 0.0015631
b= | 0.16167 | 0.051919 |  | Resid Sum of Squares |  | 1.0251e-07 |  | 31.0222 | 0.00024979
# of Values Extracted = |  |  | 7
# of Values Used in Fit = |  |  | 3
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Sal0
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 20.2366 | 31.2941 | 0.0013886 | 0.0070725 | -0.001165 | -0.0082375 |  | 31.0222 | 0.00020599
1 | NO | 5.0776 | 30.8442 | 0.010688 | 0.012075 | 0.001176 | -0.010899 |  | 30.7698 | 0.0013618 | average after recalibration
2 | NO | 349.939 | 31.1269 | 0.0011259 | 0.0039291 | -0.00029502 | -0.0042242 |  | 30.8149 | 0.0015736 | 0.0010471
3 | YES | 299.768 | 31.0222 | 0.00027415 | 0.00020599 | 0.00024979 | 4.3794e-05
4 | YES | 249.996 | 30.7698 | 0.00026298 | 0.0013618 | 0.0015631 | 0.0002013
5 | YES | 299.641 | 30.8149 | 0.00026232 | 0.0015736 | 0.0013285 | -0.00024509
6 | NO | 421.166 | 31.1161 | 0.00026502 | 0.003088 | -0.00023882 | -0.0033268
NO
NO
NO
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.23166 |  | X | CALC Y
m= | -1.4197e-05 | 2.5855e-05 |  | Std Dev of Resid |  | 0.0010494 |  | 249.996 | 0.0015201
b= | 0.0050693 | 0.0073454 |  | Resid Sum of Squares |  | 1.1012e-06 |  | 299.768 | 0.00081354
# of Values Extracted = |  |  | 7
# of Values Used in Fit = |  |  | 3
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 20.2366 | 31.2938 | 0.0010382 | 0.006794 | 0.004782 | -0.002012 |  | 299.768 | 7.2479e-05
1 | NO | 5.0776 | 30.8409 | 0.010212 | 0.0088425 | 0.0049972 | -0.0038453 |  | 249.996 | 0.0015183 | average after recalibration
2 | NO | 349.939 | 31.126 | 0.0012707 | 0.0030327 | 0.00010127 | -0.0029314 |  | 299.641 | 0.0015583 | 0.0010497
3 | YES | 299.768 | 31.0221 | 0.00038801 | 7.2479e-05 | 0.00081354 | 0.00074106
4 | YES | 249.996 | 30.7699 | 0.00019122 | 0.0015183 | 0.0015201 | 1.8958e-06
5 | YES | 299.641 | 30.8149 | 0.00021004 | 0.0015583 | 0.00081534 | -0.00074296
6 | NO | 421.166 | 31.1158 | 0.00020253 | 0.0027981 | -0.00090993 | -0.003708
NO
NO
NO
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE