File List for SeaBird Data          Cruise Number: _2024-024____
[osdcommon\cruise_data\2024-024\ARCHIVE]

[osdcommon\cruise_data\2024-024\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2024-024\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2024-024\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2024-024\ARCHIVE\DOC\HYDRO] COMPARE files and reports 
[osdcommon\cruise_data\2024-024\ARCHIVE\LOGS] logs
---------------------------------------------------------------------------------------------------------------------------------------

[osdcommon\cruise_data\2024-024\PROCESSING] 
[osdcommon\cruise_data\2024-024\PROCESSING\CONVERT]
*.CNV
[osdcommon\cruise_data\2024-024\PROCESSING\CTD-Special] files for S. Zimmermann


*.ctdspec – like *.ctd but including raw channels for extra DO sensors.

[osdcommon\cruise_data\2024-024\PROCESSING\DERIVE]*.CNV – after derive 
[osdcommon\cruise_data\2024-024\PROCESSING\DOC] 


2024-024_ctd_final.rpt – CTD file header check including channel summary

2024-024_ctd_xref.txt – cross reference list of CTD files
2024-024-altimeter-ctd.xlsx – report on header entries for altimetry /water depth
2024-024-clip.csv – list of 1st scan to keep for use in CLIP

2024-024_hdr_mrg.csv – spreadsheet with water depths for addition to headers 

2024-024_File.doc - this document

2024-024_Processing_Report.doc - processing notes 
Celltm_Study.xlsx – details on study of CELLTM parameter choices
2024-024-ctd.xmlcon – configuration file with pre-cruise cals; used in processing
2024-024-ctd-post.xmlcon – configuration file with post-cruise cals; used to study cal drift


*hdr.txt – header files with comments for CTD & CTDSPEC files
[osdcommon\cruise_data\2024-024\PROCESSING\DOC\celltm_test_files] 



2024-024-*.cnv – files used to test Celltm settings
[osdcommon\cruise_data\2024-024\PROCESSING\DOC\hydro] 

2024-024DIC_ALK,csv – carbon data simplified from analyst’s spreadsheet 

2024-024SAL.csv – salinity data from Autosal, simplified from analyst’s s/s
2024-024-sal-comp1.csv & xls –initial comparison of rosette bottle and CTD salinity
2024-024_che_final.rpt – final header check of bottle files

2024-024_che_xref.txt – cross-reference listing of bottle files 
2024-024-bottles-final.xlsx – spreadsheet with all bottle data 
addsamp.csv – spreadsheet relating bottle numbers to sample numbers

*hdr.txt – header file with comments for CHE files
[osdcommon\cruise_data\2024-024\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers
*.che – final bottle-averaged rosette files merged with chemistry data 
*.dic – carbon files – DIC and ALK converted from analyst’s spreadsheet

*.ed1 & *.log – edited BOT files for cast 216
*.ios – after conversion to IOS Header format

*.mrg – after addition of bottle data to BOT files
*.mrgcln2 – after addition of 0s to empty quality flags
*.mrgdic – after addition of DIC & ALK 

*.mrgmrh – after addition of water depth to headers 
*.mrgox1 – after addition of mass units to CTD DO channel

*.mrgrem – last step before Change Units for DO
*.mrgreo – last step before Header Edit

*.ros  - rosette files created by DATCNV, no other processing done.



*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added
*.samavg – bin-averaged SAM files
hydro.txt – file list for CHE files (excludes eDNA casts)
eDNA.txt – list of files with eDNA only – no CHE file prepared

[osdcommon\cruise_data\2024-024\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.clip – after removal of data from soak period

*.cln - data after conversion to IOS HEADERS and a run of CLEAN with wrong DO sensor


*.ctd-  final files 

*.del – after DELETE with wrong DO sensor


*.edt - data after editing has been done 

*.ios – data after conversion to IOS SHELL format


*.mrh – after addition of water depth to headers


*.log - log files created by CTDEDIT

*.rem – 1st REMOVE run to remove files not needed for special files CTDSPEC

*.rem2 – penultimate step - 2nd REMOVE run to remove special channels Voltage:6 & Voltage:7

*.reo – after reordering channels


Delete.log - log from routine DELETE 
