## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6.1 | Run at 2024/09/23 11:47:51 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | OXY_BOT | OXY_SBE |  | OXY_SBE - OXY_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | OXY_BOT | OXY_SBE | OXY_SBE | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 1 | 622.004 | 621.503 | 0 | -0.50104 | 2.847 | 2.806 | 0 | -0.041
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 1 | 500.377 | 500.012 | 0 | -0.36502 | 3.003 | 2.965 | 0 | -0.038
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 1 | 400.309 | 400.015 | 0 | -0.29398 | 2.969 | 2.917 | 0 | -0.052
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 1 | 300.491 | 299.997 | 0 | -0.49399 | 2.572 | 2.559 | 0 | -0.013
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 2 | 250.093 | 250.507 | 0.70287 | 0.41399 | 2.577 | 2.6035 | 0.00070722 | 0.0265
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 2 | 200.163 | 199.991 | 0 | -0.172 | 2.66 | 2.644 | 0 | -0.016
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 2 | 150.397 | 150.513 | 0.70145 | 0.116 | 2.862 | 2.9125 | 0.010607 | 0.0505
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 2 | 100.294 | 100.499 | 0.70781 | 0.20451 | 3.362 | 3.402 | 0.012728 | 0.04
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 2 | 75.256 | 75.5045 | 0.71913 | 0.24851 | 3.724 | 3.8605 | 0.050204 | 0.1365
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 2 | 50.38 | 50.4965 | 0.70498 | 0.1165 | 4.328 | 4.3425 | 0.0091924 | 0.0145
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 1 | 25.174 | 25.006 | 0 | -0.168 | 4.437 | 4.744 | 0 | 0.307
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 2 | 10.228 | 10.4935 | 0.70781 | 0.2655 | 5.22 | 5.4205 | 0.10253 | 0.2005
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 3 | 4.737 | 4.6627 | 1.5216 | -0.074333 | 5.838 | 6.0917 | 0.050541 | 0.25367
2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 3 | 1.965 | 2.6713 | 0.28463 | 0.70633 | 5.96 | 6.1727 | 0.01963 | 0.21267
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 1 | 675.821 | 675.836 | 0 | 0.015015 | 2.137 | 2.094 | 0 | -0.043
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 1 | 600.206 | 600.003 | 0 | -0.203 | 2.13 | 2.102 | 0 | -0.028
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 1 | 499.883 | 499.991 | 0 | 0.108 | 2.063 | 2.045 | 0 | -0.018
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 1 | 399.987 | 399.994 | 0 | 0.0069885 | 1.955 | 1.918 | 0 | -0.037
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 1 | 300.236 | 299.997 | 0 | -0.23898 | 2.08 | 2.063 | 0 | -0.017
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 2 | 250.522 | 250.505 | 0.71135 | -0.016998 | 2.396 | 2.4115 | 0.013435 | 0.0155
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 2 | 200.042 | 199.992 | 0 | -0.050003 | 2.379 | 2.386 | 0 | 0.007
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 2 | 150.055 | 150.5 | 0.71559 | 0.44501 | 2.975 | 3.124 | 0.0070711 | 0.149
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 2 | 100.279 | 100.499 | 0.71064 | 0.2205 | 3.922 | 4.0055 | 0.0021212 | 0.0835
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 2 | 75.457 | 75.506 | 0.70145 | 0.048996 | 4.614 | 4.657 | 0.0014141 | 0.043
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 2 | 50.551 | 50.499 | 0.70569 | -0.051998 | 4.98 | 5.1855 | 0.0063638 | 0.2055
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 1 | 25.072 | 25.003 | 0 | -0.069 | 5.335 | 5.357 | 0 | 0.022
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 2 | 10.177 | 10.5035 | 0.70498 | 0.3265 | 6.2 | 6.195 | 0.019799 | -0.0049996
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 3 | 4.715 | 4.6693 | 1.5264 | -0.045667 | 6.2 | 6.2377 | 0.023671 | 0.037667
2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 3 | 1.805 | 2.6627 | 0.29734 | 0.85767 | 6.206 | 6.2663 | 0.0011549 | 0.060334
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 2
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2024-032-0067.mrgcor1 | 2024-032-0067.thn1 | 11 | 24 | 2024-032-0067.mrgcor1 & 2024-032-0067.thn1
2 | 2024-032-0084.mrgcor1 | 2024-032-0084.thn1 | 26 | 40 | 2024-032-0084.mrgcor1 & 2024-032-0084.thn1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (OXY_SBE - OXY_BOT) | OXY_SBE | 2
2 | (OXY_SBE - OXY_BOT) | Pressure | 2

## Fit_1
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.30405 |  | X | CALC Y
m= | 0.014308 | 0.0048403 |  | Std Dev of Resid |  | 0.032429 |  | 1.918 | -0.017058
b= | -0.0445 | 0.017869 |  | Resid Sum of Squares |  | 0.021033 |  | 6.2663 | 0.045157
# of Values Extracted = |  |  | 29
# of Values Used in Fit = |  |  | 22
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 621.503 | 2.806 | 0 | -0.041 | -0.0043524 | 0.036648 |  | 2.806 | -0.041
1 | YES | 500.012 | 2.965 | 0 | -0.038 | -0.0020775 | 0.035923 |  | 2.965 | -0.038
1 | YES | 400.015 | 2.917 | 0 | -0.052 | -0.0027642 | 0.049236 |  | 2.917 | -0.052
1 | YES | 299.997 | 2.559 | 0 | -0.013 | -0.0078863 | 0.0051137 |  | 2.559 | -0.013
1 | YES | 250.507 | 2.6035 | 0.00070722 | 0.0265 | -0.0072497 | -0.03375 |  | 2.6035 | 0.0265
1 | YES | 199.991 | 2.644 | 0 | -0.016 | -0.0066702 | 0.0093298 |  | 2.644 | -0.016
1 | YES | 150.513 | 2.9125 | 0.010607 | 0.0505 | -0.0028286 | -0.053329 |  | 2.9125 | 0.0505
1 | YES | 100.499 | 3.402 | 0.012728 | 0.04 | 0.004175 | -0.035825 |  | 3.402 | 0.04
1 | NO | 75.5045 | 3.8605 | 0.050204 | 0.1365 | 0.010735 | -0.12576 |  | 4.3425 | 0.0145
1 | YES | 50.4965 | 4.3425 | 0.0091924 | 0.0145 | 0.017631 | 0.0031316 |  | 2.094 | -0.043
1 | NO | 25.006 | 4.744 | 0 | 0.307 | 0.023376 | -0.28362 |  | 2.102 | -0.028
1 | NO | 10.4935 | 5.4205 | 0.10253 | 0.2005 | 0.033055 | -0.16745 |  | 2.045 | -0.018
1 | NO | 4.6627 | 6.0917 | 0.050541 | 0.25367 | 0.042658 | -0.21101 |  | 1.918 | -0.037
1 | NO | 2.6713 | 6.1727 | 0.01963 | 0.21267 | 0.043817 | -0.16885 |  | 2.063 | -0.017
2 | YES | 675.836 | 2.094 | 0 | -0.043 | -0.014539 | 0.028461 |  | 2.4115 | 0.0155
2 | YES | 600.003 | 2.102 | 0 | -0.028 | -0.014425 | 0.013575 |  | 2.386 | 0.007
2 | YES | 499.991 | 2.045 | 0 | -0.018 | -0.01524 | 0.0027594 |  | 4.0055 | 0.0835
2 | YES | 399.994 | 1.918 | 0 | -0.037 | -0.017058 | 0.019943 |  | 4.657 | 0.043
2 | YES | 299.997 | 2.063 | 0 | -0.017 | -0.014983 | 0.0020171 |  | 5.357 | 0.022
2 | YES | 250.505 | 2.4115 | 0.013435 | 0.0155 | -0.0099967 | -0.025497 |  | 6.195 | -0.0049996
2 | YES | 199.992 | 2.386 | 0 | 0.007 | -0.010362 | -0.017362 |  | 6.2377 | 0.037667
2 | NO | 150.5 | 3.124 | 0.0070711 | 0.149 | 0.00019746 | -0.1488 |  | 6.2663 | 0.060334 | 0.0042046 | 0.037936
2 | YES | 100.499 | 4.0055 | 0.0021212 | 0.0835 | 0.01281 | -0.07069
2 | YES | 75.506 | 4.657 | 0.0014141 | 0.043 | 0.022131 | -0.020869
2 | NO | 50.499 | 5.1855 | 0.0063638 | 0.2055 | 0.029693 | -0.17581
2 | YES | 25.003 | 5.357 | 0 | 0.022 | 0.032146 | 0.010147
2 | YES | 10.5035 | 6.195 | 0.019799 | -0.0049996 | 0.044136 | 0.049136
2 | YES | 4.6693 | 6.2377 | 0.023671 | 0.037667 | 0.044747 | 0.0070798
2 | YES | 2.6627 | 6.2663 | 0.0011549 | 0.060334 | 0.045157 | -0.015177 |  |  |  | 0.053701 | 0.098935
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.42667 |  | X | CALC Y
m= | -0.00030772 | 6.8649e-05 |  | Std Dev of Resid |  | 0.076287 |  | 2.6627 | 0.11695
b= | 0.11777 | 0.020124 |  | Resid Sum of Squares |  | 0.15713 |  | 675.836 | -0.090198
# of Values Extracted = |  |  | 29
# of Values Used in Fit = |  |  | 29
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 621.503 | 2.806 | 0 | -0.041 | -0.073479 | -0.032479 |  | 621.503 | -0.041
1 | YES | 500.012 | 2.965 | 0 | -0.038 | -0.036093 | 0.0019067 |  | 500.012 | -0.038
1 | YES | 400.015 | 2.917 | 0 | -0.052 | -0.0053221 | 0.046678 |  | 400.015 | -0.052
1 | YES | 299.997 | 2.559 | 0 | -0.013 | 0.025456 | 0.038456 |  | 299.997 | -0.013
1 | YES | 250.507 | 2.6035 | 0.00070722 | 0.0265 | 0.040685 | 0.014185 |  | 250.507 | 0.0265
1 | YES | 199.991 | 2.644 | 0 | -0.016 | 0.05623 | 0.07223 |  | 199.991 | -0.016
1 | YES | 150.513 | 2.9125 | 0.010607 | 0.0505 | 0.071455 | 0.020955 |  | 150.513 | 0.0505
1 | YES | 100.499 | 3.402 | 0.012728 | 0.04 | 0.086846 | 0.046846 |  | 100.499 | 0.04
1 | YES | 75.5045 | 3.8605 | 0.050204 | 0.1365 | 0.094537 | -0.041963 |  | 75.5045 | 0.1365
1 | YES | 50.4965 | 4.3425 | 0.0091924 | 0.0145 | 0.10223 | 0.087733 |  | 50.4965 | 0.0145
1 | YES | 25.006 | 4.744 | 0 | 0.307 | 0.11008 | -0.19692 |  | 25.006 | 0.307
1 | YES | 10.4935 | 5.4205 | 0.10253 | 0.2005 | 0.11454 | -0.085958 |  | 10.4935 | 0.2005
1 | YES | 4.6627 | 6.0917 | 0.050541 | 0.25367 | 0.11634 | -0.13733 |  | 4.6627 | 0.25367
1 | YES | 2.6713 | 6.1727 | 0.01963 | 0.21267 | 0.11695 | -0.095718 |  | 2.6713 | 0.21267
2 | YES | 675.836 | 2.094 | 0 | -0.043 | -0.090198 | -0.047198 |  | 675.836 | -0.043
2 | YES | 600.003 | 2.102 | 0 | -0.028 | -0.066863 | -0.038863 |  | 600.003 | -0.028
2 | YES | 499.991 | 2.045 | 0 | -0.018 | -0.036087 | -0.018087 |  | 499.991 | -0.018
2 | YES | 399.994 | 1.918 | 0 | -0.037 | -0.0053156 | 0.031684 |  | 399.994 | -0.037
2 | YES | 299.997 | 2.063 | 0 | -0.017 | 0.025456 | 0.042456 |  | 299.997 | -0.017
2 | YES | 250.505 | 2.4115 | 0.013435 | 0.0155 | 0.040685 | 0.025185 |  | 250.505 | 0.0155
2 | YES | 199.992 | 2.386 | 0 | 0.007 | 0.056229 | 0.049229 |  | 199.992 | 0.007
2 | YES | 150.5 | 3.124 | 0.0070711 | 0.149 | 0.071459 | -0.077541 |  | 150.5 | 0.149
2 | YES | 100.499 | 4.0055 | 0.0021212 | 0.0835 | 0.086846 | 0.0033457 |  | 100.499 | 0.0835
2 | YES | 75.506 | 4.657 | 0.0014141 | 0.043 | 0.094537 | 0.051536 |  | 75.506 | 0.043
2 | YES | 50.499 | 5.1855 | 0.0063638 | 0.2055 | 0.10223 | -0.10327 |  | 50.499 | 0.2055
2 | YES | 25.003 | 5.357 | 0 | 0.022 | 0.11008 | 0.088078 |  | 25.003 | 0.022
2 | YES | 10.5035 | 6.195 | 0.019799 | -0.0049996 | 0.11454 | 0.11954 |  | 10.5035 | -0.0049996
2 | YES | 4.6693 | 6.2377 | 0.023671 | 0.037667 | 0.11633 | 0.078668 |  | 4.6693 | 0.037667
2 | YES | 2.6627 | 6.2663 | 0.0011549 | 0.060334 | 0.11695 | 0.056618 |  | 2.6627 | 0.060334
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE