## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2024/09/16 11:07:17 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2024-032-0007.mrg | 2024-032-0007.Sam | 241 | 213.724 | 213.724 | 0.041732 | 0.00010681 | 31.1715 | 31.1485 | 0.0011574 | -0.02298 | 31.1715 | 31.178 | 0.0015028 | 0.0064907
2024-032-0007.mrg | 2024-032-0007.Sam | 241 | 7.099 | 7.0988 | 0.03341 | -0.00021172 | 30.0307 | 29.9868 | 0.013866 | -0.043896 | 30.0307 | 30.0107 | 0.01224 | -0.019962
2024-032-0014.mrg | 2024-032-0014.Sam | 241 | 350.443 | 350.443 | 0.033532 | -0.00027466 | 31.185 | 31.1558 | 0.0001954 | -0.029196 | 31.185 | 31.1856 | 0.00020589 | 0.00056457
2024-032-0014.mrg | 2024-032-0014.Sam | 241 | 10.579 | 10.5791 | 0.036755 | 0.00014019 | 28.4626 | 28.3265 | 0.0070798 | -0.13614 | 28.4626 | 28.3465 | 0.0094379 | -0.11613
2024-032-0016.mrg | 2024-032-0016.Sam | 241 | 251.293 | 251.293 | 0.030087 | -3.0518e-05 | 31.1229 | 31.0973 | 0.00022226 | -0.025621 | 31.1229 | 31.1271 | 0.0002203 | 0.0042191
2024-032-0016.mrg | 2024-032-0016.Sam | 241 | 10.244 | 10.244 | 0.037038 | -4.7684e-06 | 28.9277 | 28.6439 | 0.010037 | -0.28384 | 28.9277 | 28.6483 | 0.019604 | -0.27937
2024-032-0024.mrg | 2024-032-0024.Sam | 241 | 344.676 | 344.676 | 0.045232 | 0.00018311 | 31.1834 | 31.1595 | 0.00030865 | -0.023899 | 31.1834 | 31.1894 | 0.00033509 | 0.0060291
2024-032-0024.mrg | 2024-032-0024.Sam | 241 | 5.203 | 5.2033 | 0.033934 | 0.00027371 | 28.1122 | 27.9561 | 0.010293 | -0.1561 | 28.1122 | 27.9685 | 0.010756 | -0.14367
2024-032-0042.mrg | 2024-032-0042.Sam | 241 | 299.927 | 299.927 | 0.038491 | -3.0518e-05 | 31.0146 | 30.9811 | 0.00017852 | -0.033522 | 31.0146 | 31.0102 | 0.00021619 | -0.0043564
2024-032-0042.mrg | 2024-032-0042.Sam | 241 | 10.88 | 10.88 | 0.029446 | -1.7166e-05 | 28.1199 | 27.7816 | 0.0072845 | -0.33831 | 28.1199 | 27.8118 | 0.00769 | -0.30806
2024-032-0048.mrg | 2024-032-0048.Sam | 332 | 465.441 | 465.443 | 0.032737 | 0.0021973 | 30.8095 | 30.7821 | 0.00020746 | -0.027382 | 30.8095 | 30.8107 | 0.00022958 | 0.0011749
2024-032-0048.mrg | 2024-032-0048.Sam | 301 | 50.635 | 50.6347 | 0.031182 | -0.0003128 | 29.8173 | 29.6993 | 0.00019849 | -0.11804 | 29.8173 | 29.7267 | 0.00023025 | -0.090616
2024-032-0048.mrg | 2024-032-0048.Sam | 347 | 2.131 | 2.1376 | 0.039411 | 0.0065763 | 27.78 | 27.6929 | 0.016783 | -0.087128 | 27.78 | 27.7002 | 0.0056333 | -0.079763
2024-032-0051.mrg | 2024-032-0051.Sam | 346 | 510.227 | 510.231 | 0.036702 | 0.0044861 | 30.7872 | 30.7594 | 0.00023958 | -0.027784 | 30.7872 | 30.7879 | 0.00021729 | 0.00068474
2024-032-0051.mrg | 2024-032-0051.Sam | 294 | 50.248 | 50.2475 | 0.041341 | -0.0005455 | 29.7282 | 29.6182 | 0.00069319 | -0.10997 | 29.7282 | 29.6454 | 0.00061055 | -0.082815
2024-032-0051.mrg | 2024-032-0051.Sam | 343 | 2.111 | 2.1123 | 0.038742 | 0.0013149 | 27.4144 | 27.3659 | 0.032556 | -0.048472 | 27.4144 | 27.3951 | 0.03195 | -0.019285
2024-032-0057.mrg | 2024-032-0057.Sam | 347 | 496.391 | 496.401 | 0.044755 | 0.0099793 | 30.7722 | 30.7434 | 0.00019619 | -0.028761 | 30.7722 | 30.7716 | 0.00021699 | -0.00056839
2024-032-0057.mrg | 2024-032-0057.Sam | 391 | 50.486 | 50.4852 | 0.034985 | -0.0007782 | 29.7959 | 29.7146 | 0.0003542 | -0.081308 | 29.7959 | 29.7417 | 0.00029562 | -0.054151
2024-032-0057.mrg | 2024-032-0057.Sam | 351 | 1.826 | 1.8254 | 0.039283 | -0.00060391 | 27.7491 | 27.7191 | 0.0011638 | -0.030004 | 27.7491 | 27.7445 | 0.0012398 | -0.0045662
2024-032-0058.mrg | 2024-032-0058.Sam | 338 | 709.744 | 709.748 | 0.037115 | 0.0039062 | 30.8427 | 30.814 | 0.00020644 | -0.028673 | 30.8427 | 30.8424 | 0.00024146 | -0.00033569
2024-032-0058.mrg | 2024-032-0058.Sam | 375 | 50.048 | 50.0453 | 0.035252 | -0.0026627 | 29.8257 | 29.6211 | 0.00052196 | -0.20458 | 29.8257 | 29.6483 | 0.00056727 | -0.17736
2024-032-0058.mrg | 2024-032-0058.Sam | 342 | 2.123 | 2.1243 | 0.040544 | 0.0013158 | 27.3641 | 27.2473 | 0.0045049 | -0.11676 | 27.3641 | 27.2687 | 0.0064776 | -0.095444
2024-032-0063.mrg | 2024-032-0063.Sam | 342 | 591.149 | 591.151 | 0.039485 | 0.0018921 | 30.7916 | 30.7633 | 0.00020249 | -0.028328 | 30.7916 | 30.7915 | 0.00019838 | -0.00013924
2024-032-0063.mrg | 2024-032-0063.Sam | 400 | 50.829 | 50.8269 | 0.031444 | -0.0020905 | 29.6307 | 29.5453 | 0.0006992 | -0.085352 | 29.6307 | 29.5725 | 0.00062192 | -0.058189
2024-032-0063.mrg | 2024-032-0063.Sam | 357 | 1.686 | 1.6831 | 0.041732 | -0.0029019 | 28.6813 | 28.5106 | 0.015708 | -0.17072 | 28.6813 | 28.5269 | 0.0094262 | -0.15439
2024-032-0067.mrg | 2024-032-0067.Sam | 328 | 621.912 | 621.976 | 0.073982 | 0.063843 | 30.7648 | 30.7336 | 0.00066645 | -0.031183 | 30.7648 | 30.7616 | 0.00059471 | -0.0032082
2024-032-0067.mrg | 2024-032-0067.Sam | 406 | 50.378 | 50.3789 | 0.042077 | 0.00089645 | 29.7016 | 29.652 | 0.00024026 | -0.049564 | 29.7016 | 29.679 | 0.00024559 | -0.022596
2024-032-0067.mrg | 2024-032-0067.Sam | 366 | 1.976 | 1.9806 | 0.034211 | 0.0046066 | 28.4782 | 28.2832 | 0.2537 | -0.19504 | 28.4782 | 28.2819 | 0.26922 | -0.19626
2024-032-0070.mrg | 2024-032-0070.Sam | 334 | 351.702 | 351.699 | 0.039339 | -0.002533 | 30.726 | 30.6971 | 0.00024225 | -0.028891 | 30.726 | 30.7248 | 0.00024906 | -0.0012016
2024-032-0070.mrg | 2024-032-0070.Sam | 293 | 50.335 | 50.3346 | 0.035525 | -0.00039291 | 29.7189 | 29.5259 | 0.00025112 | -0.19304 | 29.7189 | 29.5525 | 0.00033126 | -0.16637
2024-032-0070.mrg | 2024-032-0070.Sam | 342 | 1.934 | 1.9357 | 0.04102 | 0.0016872 | 25.6682 | 25.1571 | 0.018515 | -0.51111 | 25.6682 | 25.1743 | 0.014619 | -0.49387
2024-032-0077.mrg | 2024-032-0077.Sam | 335 | 371.552 | 371.547 | 0.040328 | -0.0053711 | 30.7676 | 30.7408 | 0.00020572 | -0.026812 | 30.7676 | 30.7685 | 0.0002147 | 0.00093651
2024-032-0077.mrg | 2024-032-0077.Sam | 306 | 50.23 | 50.2299 | 0.041488 | -0.000103 | 29.8681 | 29.7772 | 0.00026415 | -0.090921 | 29.8681 | 29.8039 | 0.00034969 | -0.064201
2024-032-0077.mrg | 2024-032-0077.Sam | 470 | 1.405 | 1.3965 | 0.03223 | -0.008451 | 26.4773 | 26.2631 | 0.018902 | -0.21416 | 26.4773 | 26.2966 | 0.012617 | -0.1807
2024-032-0084.mrg | 2024-032-0084.Sam | 370 | 675.774 | 675.802 | 0.049052 | 0.028198 | 31.0897 | 31.0627 | 0.00021534 | -0.027006 | 31.0897 | 31.0893 | 0.00021434 | -0.00039864
2024-032-0084.mrg | 2024-032-0084.Sam | 299 | 50.548 | 50.5488 | 0.031912 | 0.00078201 | 29.6634 | 29.5327 | 0.0032185 | -0.13074 | 29.6634 | 29.5554 | 0.00258 | -0.10804
2024-032-0084.mrg | 2024-032-0084.Sam | 344 | 1.803 | 1.803 | 0.035004 | -4.6492e-05 | 27.4291 | 27.3211 | 0.013601 | -0.10802 | 27.4291 | 27.3475 | 0.006295 | -0.081648
2024-032-0086.mrg | 2024-032-0086.Sam | 339 | 283.85 | 283.947 | 0.12151 | 0.096588 | 31.0673 | 31.0613 | 0.00026434 | -0.0059929 | 31.0673 | 31.0664 | 0.00025446 | -0.00090027
2024-032-0086.mrg | 2024-032-0086.Sam | 301 | 50.637 | 50.6397 | 0.047013 | 0.0026741 | 29.7099 | 29.6778 | 0.0016308 | -0.032133 | 29.7099 | 29.6812 | 0.0016783 | -0.028738
2024-032-0086.mrg | 2024-032-0086.Sam | 344 | 3.229 | 3.189 | 0.12291 | -0.039989 | 28.0091 | 28.002 | 0.00037211 | -0.0070534 | 28.0091 | 28.0041 | 0.00049132 | -0.0050144
2024-032-0087.mrg | 2024-032-0087.Sam | 241 | 342.486 | 342.486 | 0.04032 | -0.00021362 | 31.1081 | 31.1069 | 0.0010054 | -0.0011921 | 31.1081 | 31.1104 | 0.0011192 | 0.0023003
2024-032-0087.mrg | 2024-032-0087.Sam | 241 | 2.632 | 2.6323 | 0.068992 | 0.00032783 | 28.3641 | 28.3576 | 0.00054925 | -0.0064774 | 28.3641 | 28.3601 | 0.00042513 | -0.0039597
2024-032-0096.mrg | 2024-032-0096.Sam | 337 | 353.191 | 353.207 | 0.039304 | 0.016144 | 31.0491 | 31.0152 | 0.00020977 | -0.033869 | 31.0491 | 31.0482 | 0.0002236 | -0.00089455
2024-032-0096.mrg | 2024-032-0096.Sam | 310 | 50.167 | 50.1671 | 0.037153 | 0.00011444 | 29.768 | 29.6183 | 0.00028357 | -0.14971 | 29.768 | 29.65 | 0.00036668 | -0.11804
2024-032-0096.mrg | 2024-032-0096.Sam | 345 | 1.88 | 1.8848 | 0.036092 | 0.0047681 | 26.6548 | 26.388 | 0.07958 | -0.26678 | 26.6548 | 26.4318 | 0.048307 | -0.223
2024-032-0102.mrg | 2024-032-0102.Sam | 338 | 233.086 | 233.084 | 0.040051 | -0.0024872 | 31.0233 | 30.9998 | 0.00018754 | -0.023519 | 31.0233 | 31.0323 | 0.00019188 | 0.0089607
2024-032-0102.mrg | 2024-032-0102.Sam | 292 | 50.364 | 50.3642 | 0.033398 | 0.00016403 | 29.9049 | 29.7888 | 0.00067461 | -0.1161 | 29.9049 | 29.8204 | 0.0007129 | -0.084518
2024-032-0102.mrg | 2024-032-0102.Sam | 346 | 2.023 | 2.0238 | 0.036095 | 0.00082087 | 25.4819 | 25.147 | 0.0038359 | -0.33485 | 25.4819 | 25.1728 | 0.0039534 | -0.30909
2024-032-0105.mrg | 2024-032-0105.Sam | 334 | 222.734 | 222.729 | 0.035683 | -0.0051269 | 30.6001 | 30.5658 | 0.00022442 | -0.034344 | 30.6001 | 30.5982 | 0.00021083 | -0.0019474
2024-032-0105.mrg | 2024-032-0105.Sam | 285 | 50.015 | 50.0149 | 0.034049 | -9.5367e-05 | 29.9588 | 29.8203 | 0.00029242 | -0.13846 | 29.9588 | 29.8521 | 0.00026065 | -0.10674
2024-032-0105.mrg | 2024-032-0105.Sam | 358 | 2.02 | 2.0193 | 0.0382 | -0.00070953 | 26.5219 | 26.3151 | 0.034515 | -0.20676 | 26.5219 | 26.3661 | 0.025884 | -0.15584
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 19
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2024-032-0007.mrg | 2024-032-0007.Sam | 12 | 13 | 2024-032-0007.mrg & 2024-032-0007.Sam
2 | 2024-032-0014.mrg | 2024-032-0014.Sam | 15 | 16 | 2024-032-0014.mrg & 2024-032-0014.Sam
3 | 2024-032-0016.mrg | 2024-032-0016.Sam | 18 | 19 | 2024-032-0016.mrg & 2024-032-0016.Sam
4 | 2024-032-0024.mrg | 2024-032-0024.Sam | 21 | 22 | 2024-032-0024.mrg & 2024-032-0024.Sam
5 | 2024-032-0042.mrg | 2024-032-0042.Sam | 24 | 25 | 2024-032-0042.mrg & 2024-032-0042.Sam
6 | 2024-032-0048.mrg | 2024-032-0048.Sam | 27 | 29 | 2024-032-0048.mrg & 2024-032-0048.Sam
7 | 2024-032-0051.mrg | 2024-032-0051.Sam | 31 | 33 | 2024-032-0051.mrg & 2024-032-0051.Sam
8 | 2024-032-0057.mrg | 2024-032-0057.Sam | 35 | 37 | 2024-032-0057.mrg & 2024-032-0057.Sam
9 | 2024-032-0058.mrg | 2024-032-0058.Sam | 39 | 41 | 2024-032-0058.mrg & 2024-032-0058.Sam
10 | 2024-032-0063.mrg | 2024-032-0063.Sam | 43 | 45 | 2024-032-0063.mrg & 2024-032-0063.Sam
11 | 2024-032-0067.mrg | 2024-032-0067.Sam | 47 | 49 | 2024-032-0067.mrg & 2024-032-0067.Sam
12 | 2024-032-0070.mrg | 2024-032-0070.Sam | 51 | 53 | 2024-032-0070.mrg & 2024-032-0070.Sam
13 | 2024-032-0077.mrg | 2024-032-0077.Sam | 55 | 57 | 2024-032-0077.mrg & 2024-032-0077.Sam
14 | 2024-032-0084.mrg | 2024-032-0084.Sam | 59 | 61 | 2024-032-0084.mrg & 2024-032-0084.Sam
15 | 2024-032-0086.mrg | 2024-032-0086.Sam | 63 | 65 | 2024-032-0086.mrg & 2024-032-0086.Sam
16 | 2024-032-0087.mrg | 2024-032-0087.Sam | 67 | 68 | 2024-032-0087.mrg & 2024-032-0087.Sam
17 | 2024-032-0096.mrg | 2024-032-0096.Sam | 70 | 72 | 2024-032-0096.mrg & 2024-032-0096.Sam
18 | 2024-032-0102.mrg | 2024-032-0102.Sam | 74 | 76 | 2024-032-0102.mrg & 2024-032-0102.Sam
19 | 2024-032-0105.mrg | 2024-032-0105.Sam | 78 | 80 | 2024-032-0105.mrg & 2024-032-0105.Sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Pressure | 19
2 | (Sal1 - Sal_Bot) | Pressure | 19
3 | (Sal0 - Sal_Bot) | File Pair # | 19
4 | (Sal1 - Sal_Bot) | File Pair # | 19
5 | (Sal1 - Sal_Bot) | File Pair # | 19

## Sal0-vs-P
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00042664 |  | X | CALC Y
m= | -3.7439e-07 | 4.5305e-06 |  | Std Dev of Resid |  | 0.0034445 |  | 1.8254 | -0.028286
b= | -0.028285 | 0.0019548 |  | Resid Sum of Squares |  | 0.00018983 |  | 709.748 | -0.028551
# of Values Extracted = |  |  | 51
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 213.724 | 31.1485 | 0.0011574 | -0.02298 | -0.028365 | -0.0053853 |  | 213.724 | -0.02298
1 | NO | 7.0988 | 29.9868 | 0.013866 | -0.043896 | -0.028288 | 0.015608 |  | 350.443 | -0.029196
2 | YES | 350.443 | 31.1558 | 0.0001954 | -0.029196 | -0.028416 | 0.00077966 |  | 251.293 | -0.025621
2 | NO | 10.5791 | 28.3265 | 0.0070798 | -0.13614 | -0.028289 | 0.10785 |  | 344.676 | -0.023899
3 | YES | 251.293 | 31.0973 | 0.00022226 | -0.025621 | -0.028379 | -0.0027576 |  | 299.927 | -0.033522
3 | NO | 10.244 | 28.6439 | 0.010037 | -0.28384 | -0.028289 | 0.25556 |  | 465.443 | -0.027382
4 | YES | 344.676 | 31.1595 | 0.00030865 | -0.023899 | -0.028414 | -0.0045149 |  | 510.231 | -0.027784
4 | NO | 5.2033 | 27.9561 | 0.010293 | -0.1561 | -0.028287 | 0.12781 |  | 496.401 | -0.028761
5 | YES | 299.927 | 30.9811 | 0.00017852 | -0.033522 | -0.028397 | 0.0051245 |  | 1.8254 | -0.030004
5 | NO | 10.88 | 27.7816 | 0.0072845 | -0.33831 | -0.028289 | 0.31002 |  | 709.748 | -0.028673
6 | YES | 465.443 | 30.7821 | 0.00020746 | -0.027382 | -0.028459 | -0.0010773 |  | 591.151 | -0.028328
6 | NO | 50.6347 | 29.6993 | 0.00019849 | -0.11804 | -0.028304 | 0.089736 |  | 621.976 | -0.031183
6 | NO | 2.1376 | 27.6929 | 0.016783 | -0.087128 | -0.028286 | 0.058842 |  | 351.699 | -0.028891
7 | YES | 510.231 | 30.7594 | 0.00023958 | -0.027784 | -0.028476 | -0.00069166 |  | 371.547 | -0.026812
7 | NO | 50.2475 | 29.6182 | 0.00069319 | -0.10997 | -0.028304 | 0.08167 |  | 675.802 | -0.027006
7 | NO | 2.1123 | 27.3659 | 0.032556 | -0.048472 | -0.028286 | 0.020186 |  | 353.207 | -0.033869
8 | YES | 496.401 | 30.7434 | 0.00019619 | -0.028761 | -0.028471 | 0.00029011 |  | 233.084 | -0.023519
8 | NO | 50.4852 | 29.7146 | 0.0003542 | -0.081308 | -0.028304 | 0.053005 |  | 222.729 | -0.034344
8 | YES | 1.8254 | 27.7191 | 0.0011638 | -0.030004 | -0.028286 | 0.0017189 |  |  |  | -0.028432 | 0.0033424
9 | YES | 709.748 | 30.814 | 0.00020644 | -0.028673 | -0.028551 | 0.00012254
9 | NO | 50.0453 | 29.6211 | 0.00052196 | -0.20458 | -0.028304 | 0.17627
9 | NO | 2.1243 | 27.2473 | 0.0045049 | -0.11676 | -0.028286 | 0.088478
10 | YES | 591.151 | 30.7633 | 0.00020249 | -0.028328 | -0.028506 | -0.00017836
10 | NO | 50.8269 | 29.5453 | 0.0006992 | -0.085352 | -0.028304 | 0.057048
10 | NO | 1.6831 | 28.5106 | 0.015708 | -0.17072 | -0.028286 | 0.14244
11 | YES | 621.976 | 30.7336 | 0.00066645 | -0.031183 | -0.028518 | 0.0026654
11 | NO | 50.3789 | 29.652 | 0.00024026 | -0.049564 | -0.028304 | 0.021261
11 | NO | 1.9806 | 28.2832 | 0.2537 | -0.19504 | -0.028286 | 0.16676
12 | YES | 351.699 | 30.6971 | 0.00024225 | -0.028891 | -0.028417 | 0.00047399
12 | NO | 50.3346 | 29.5259 | 0.00025112 | -0.19304 | -0.028304 | 0.16474
12 | NO | 1.9357 | 25.1571 | 0.018515 | -0.51111 | -0.028286 | 0.48283
13 | YES | 371.547 | 30.7408 | 0.00020572 | -0.026812 | -0.028424 | -0.0016124
13 | NO | 50.2299 | 29.7772 | 0.00026415 | -0.090921 | -0.028304 | 0.062618
13 | NO | 1.3965 | 26.2631 | 0.018902 | -0.21416 | -0.028285 | 0.18587
14 | YES | 675.802 | 31.0627 | 0.00021534 | -0.027006 | -0.028538 | -0.0015319
14 | NO | 50.5488 | 29.5327 | 0.0032185 | -0.13074 | -0.028304 | 0.10244
14 | NO | 1.803 | 27.3211 | 0.013601 | -0.10802 | -0.028286 | 0.079731
15 | NO | 283.947 | 31.0613 | 0.00026434 | -0.0059929 | -0.028391 | -0.022398
15 | NO | 50.6397 | 29.6778 | 0.0016308 | -0.032133 | -0.028304 | 0.0038292
15 | NO | 3.189 | 28.002 | 0.00037211 | -0.0070534 | -0.028286 | -0.021233
16 | NO | 342.486 | 31.1069 | 0.0010054 | -0.0011921 | -0.028413 | -0.027221
16 | NO | 2.6323 | 28.3576 | 0.00054925 | -0.0064774 | -0.028286 | -0.021809
17 | YES | 353.207 | 31.0152 | 0.00020977 | -0.033869 | -0.028417 | 0.0054516
17 | NO | 50.1671 | 29.6183 | 0.00028357 | -0.14971 | -0.028304 | 0.12141
17 | NO | 1.8848 | 26.388 | 0.07958 | -0.26678 | -0.028286 | 0.23849
18 | YES | 233.084 | 30.9998 | 0.00018754 | -0.023519 | -0.028372 | -0.0048527
18 | NO | 50.3642 | 29.7888 | 0.00067461 | -0.1161 | -0.028304 | 0.087794
18 | NO | 2.0238 | 25.147 | 0.0038359 | -0.33485 | -0.028286 | 0.30657
19 | YES | 222.729 | 30.5658 | 0.00022442 | -0.034344 | -0.028368 | 0.0059754
19 | NO | 50.0149 | 29.8203 | 0.00029242 | -0.13846 | -0.028304 | 0.11016
19 | NO | 2.0193 | 26.3151 | 0.034515 | -0.20676 | -0.028286 | 0.17847
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
NO
YES
NO
NO
YES
NO
YES
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Sal1-vs-P
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.014197 |  | X | CALC Y
m= | 2.1652e-06 | 4.0344e-06 |  | Std Dev of Resid |  | 0.0037324 |  | 1.8254 | -0.00057767
b= | -0.00058162 | 0.0016204 |  | Resid Sum of Squares |  | 0.00027862 |  | 709.748 | 0.0009551
# of Values Extracted = |  |  | 51
# of Values Used in Fit = |  |  | 22
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 213.724 | 31.178 | 0.0015028 | 0.0064907 | -0.00011887 | -0.0066096 |  | 213.724 | 0.0064907
1 | NO | 7.0988 | 30.0107 | 0.01224 | -0.019962 | -0.00056625 | 0.019396 |  | 350.443 | 0.00056457
2 | YES | 350.443 | 31.1856 | 0.00020589 | 0.00056457 | 0.00017715 | -0.00038743 |  | 251.293 | 0.0042191
2 | NO | 10.5791 | 28.3465 | 0.0094379 | -0.11613 | -0.00055871 | 0.11557 |  | 344.676 | 0.0060291
3 | YES | 251.293 | 31.1271 | 0.0002203 | 0.0042191 | -3.7528e-05 | -0.0042566 |  | 299.927 | -0.0043564
3 | NO | 10.244 | 28.6483 | 0.019604 | -0.27937 | -0.00055944 | 0.27881 |  | 465.443 | 0.0011749
4 | YES | 344.676 | 31.1894 | 0.00033509 | 0.0060291 | 0.00016466 | -0.0058645 |  | 510.231 | 0.00068474
4 | NO | 5.2033 | 27.9685 | 0.010756 | -0.14367 | -0.00057035 | 0.1431 |  | 496.401 | -0.00056839
5 | YES | 299.927 | 31.0102 | 0.00021619 | -0.0043564 | 6.7773e-05 | 0.0044242 |  | 1.8254 | -0.0045662
5 | NO | 10.88 | 27.8118 | 0.00769 | -0.30806 | -0.00055806 | 0.30751 |  | 709.748 | -0.00033569
6 | YES | 465.443 | 30.8107 | 0.00022958 | 0.0011749 | 0.00042614 | -0.00074879 |  | 591.151 | -0.00013924
6 | NO | 50.6347 | 29.7267 | 0.00023025 | -0.090616 | -0.00047199 | 0.090144 |  | 621.976 | -0.0032082
6 | NO | 2.1376 | 27.7002 | 0.0056333 | -0.079763 | -0.00057699 | 0.079186 |  | 351.699 | -0.0012016
7 | YES | 510.231 | 30.7879 | 0.00021729 | 0.00068474 | 0.00052312 | -0.00016162 |  | 371.547 | 0.00093651
7 | NO | 50.2475 | 29.6454 | 0.00061055 | -0.082815 | -0.00047282 | 0.082342 |  | 675.802 | -0.00039864
7 | NO | 2.1123 | 27.3951 | 0.03195 | -0.019285 | -0.00057705 | 0.018708 |  | 283.947 | -0.00090027
8 | YES | 496.401 | 30.7716 | 0.00021699 | -0.00056839 | 0.00049317 | 0.0010616 |  | 3.189 | -0.0050144
8 | NO | 50.4852 | 29.7417 | 0.00029562 | -0.054151 | -0.00047231 | 0.053679 |  | 342.486 | 0.0023003
8 | YES | 1.8254 | 27.7445 | 0.0012398 | -0.0045662 | -0.00057767 | 0.0039885 |  | 2.6323 | -0.0039597
9 | YES | 709.748 | 30.8424 | 0.00024146 | -0.00033569 | 0.0009551 | 0.0012908 |  | 353.207 | -0.00089455
9 | NO | 50.0453 | 29.6483 | 0.00056727 | -0.17736 | -0.00047326 | 0.17689 |  | 233.084 | 0.0089607
9 | NO | 2.1243 | 27.2687 | 0.0064776 | -0.095444 | -0.00057702 | 0.094867 |  | 222.729 | -0.0019474 | 0.00017591 | 0.0036686
10 | YES | 591.151 | 30.7915 | 0.00019838 | -0.00013924 | 0.00069832 | 0.00083756
10 | NO | 50.8269 | 29.5725 | 0.00062192 | -0.058189 | -0.00047157 | 0.057718
10 | NO | 1.6831 | 28.5269 | 0.0094262 | -0.15439 | -0.00057797 | 0.15382
11 | YES | 621.976 | 30.7616 | 0.00059471 | -0.0032082 | 0.00076506 | 0.0039732
11 | NO | 50.3789 | 29.679 | 0.00024559 | -0.022596 | -0.00047254 | 0.022124
11 | NO | 1.9806 | 28.2819 | 0.26922 | -0.19626 | -0.00057733 | 0.19568
12 | YES | 351.699 | 30.7248 | 0.00024906 | -0.0012016 | 0.00017987 | 0.0013815
12 | NO | 50.3346 | 29.5525 | 0.00033126 | -0.16637 | -0.00047264 | 0.1659
12 | NO | 1.9357 | 25.1743 | 0.014619 | -0.49387 | -0.00057743 | 0.49329
13 | YES | 371.547 | 30.7685 | 0.0002147 | 0.00093651 | 0.00022284 | -0.00071367
13 | NO | 50.2299 | 29.8039 | 0.00034969 | -0.064201 | -0.00047286 | 0.063729
13 | NO | 1.3965 | 26.2966 | 0.012617 | -0.1807 | -0.0005786 | 0.18012
14 | YES | 675.802 | 31.0893 | 0.00021434 | -0.00039864 | 0.00088161 | 0.0012802
14 | NO | 50.5488 | 29.5554 | 0.00258 | -0.10804 | -0.00047217 | 0.10757
14 | NO | 1.803 | 27.3475 | 0.006295 | -0.081648 | -0.00057772 | 0.08107
15 | YES | 283.947 | 31.0664 | 0.00025446 | -0.00090027 | 3.3174e-05 | 0.00093344
15 | NO | 50.6397 | 29.6812 | 0.0016783 | -0.028738 | -0.00047198 | 0.028266
15 | YES | 3.189 | 28.0041 | 0.00049132 | -0.0050144 | -0.00057471 | 0.0044397
16 | YES | 342.486 | 31.1104 | 0.0011192 | 0.0023003 | 0.00015992 | -0.0021403
16 | YES | 2.6323 | 28.3601 | 0.00042513 | -0.0039597 | -0.00057592 | 0.0033837
17 | YES | 353.207 | 31.0482 | 0.0002236 | -0.00089455 | 0.00018313 | 0.0010777
17 | NO | 50.1671 | 29.65 | 0.00036668 | -0.11804 | -0.000473 | 0.11757
17 | NO | 1.8848 | 26.4318 | 0.048307 | -0.223 | -0.00057754 | 0.22242
18 | YES | 233.084 | 31.0323 | 0.00019188 | 0.0089607 | -7.6953e-05 | -0.0090377
18 | NO | 50.3642 | 29.8204 | 0.0007129 | -0.084518 | -0.00047257 | 0.084046
18 | NO | 2.0238 | 25.1728 | 0.0039534 | -0.30909 | -0.00057724 | 0.30851
19 | YES | 222.729 | 30.5982 | 0.00021083 | -0.0019474 | -9.9374e-05 | 0.001848
19 | NO | 50.0149 | 29.8521 | 0.00026065 | -0.10674 | -0.00047333 | 0.10627
19 | NO | 2.0193 | 26.3661 | 0.025884 | -0.15584 | -0.00057725 | 0.15527
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
NO
YES
NO
NO
YES
NO
YES
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
YES
YES
YES
YES
NO
NO
YES
NO
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Sal0-vs-file_pair
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.035098 |  | X | CALC Y
m= | 0.00028235 | 0.00035906 |  | Std Dev of Resid |  | 0.0085724 |  | 1 | -0.028276
b= | -0.028558 | 0.0040939 |  | Resid Sum of Squares |  | 0.0012493 |  | 19 | -0.023193
# of Values Extracted = |  |  | 51
# of Values Used in Fit = |  |  | 19
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 213.724 | 31.1485 | 0.0011574 | -0.02298 | -0.028276 | -0.0052959 |  | 1 | -0.02298
1 | NO | 7.0988 | 29.9868 | 0.013866 | -0.043896 | -0.028276 | 0.01562 |  | 2 | -0.029196
2 | YES | 350.443 | 31.1558 | 0.0001954 | -0.029196 | -0.027993 | 0.0012025 |  | 3 | -0.025621
2 | NO | 10.5791 | 28.3265 | 0.0070798 | -0.13614 | -0.027993 | 0.10815 |  | 4 | -0.023899
3 | YES | 251.293 | 31.0973 | 0.00022226 | -0.025621 | -0.027711 | -0.0020895 |  | 5 | -0.033522
3 | NO | 10.244 | 28.6439 | 0.010037 | -0.28384 | -0.027711 | 0.25613 |  | 6 | -0.027382
4 | YES | 344.676 | 31.1595 | 0.00030865 | -0.023899 | -0.027429 | -0.0035295 |  | 7 | -0.027784
4 | NO | 5.2033 | 27.9561 | 0.010293 | -0.1561 | -0.027429 | 0.12867 |  | 8 | -0.028761
5 | YES | 299.927 | 30.9811 | 0.00017852 | -0.033522 | -0.027146 | 0.0063755 |  | 9 | -0.028673
5 | NO | 10.88 | 27.7816 | 0.0072845 | -0.33831 | -0.027146 | 0.31116 |  | 10 | -0.028328
6 | YES | 465.443 | 30.7821 | 0.00020746 | -0.027382 | -0.026864 | 0.00051805 |  | 11 | -0.031183
6 | NO | 50.6347 | 29.6993 | 0.00019849 | -0.11804 | -0.026864 | 0.091176 |  | 12 | -0.028891
6 | NO | 2.1376 | 27.6929 | 0.016783 | -0.087128 | -0.026864 | 0.060264 |  | 13 | -0.026812
7 | YES | 510.231 | 30.7594 | 0.00023958 | -0.027784 | -0.026581 | 0.0012028 |  | 14 | -0.027006
7 | NO | 50.2475 | 29.6182 | 0.00069319 | -0.10997 | -0.026581 | 0.083393 |  | 15 | -0.0059929
7 | NO | 2.1123 | 27.3659 | 0.032556 | -0.048472 | -0.026581 | 0.02189 |  | 16 | -0.0011921
8 | YES | 496.401 | 30.7434 | 0.00019619 | -0.028761 | -0.026299 | 0.0024618 |  | 17 | -0.033869
8 | NO | 50.4852 | 29.7146 | 0.0003542 | -0.081308 | -0.026299 | 0.055009 |  | 18 | -0.023519
8 | NO | 1.8254 | 27.7191 | 0.0011638 | -0.030004 | -0.026299 | 0.0037054 |  | 19 | -0.034344
9 | YES | 709.748 | 30.814 | 0.00020644 | -0.028673 | -0.026017 | 0.0026564
9 | NO | 50.0453 | 29.6211 | 0.00052196 | -0.20458 | -0.026017 | 0.17856
9 | NO | 2.1243 | 27.2473 | 0.0045049 | -0.11676 | -0.026017 | 0.090747
10 | YES | 591.151 | 30.7633 | 0.00020249 | -0.028328 | -0.025734 | 0.0025935
10 | NO | 50.8269 | 29.5453 | 0.0006992 | -0.085352 | -0.025734 | 0.059617
10 | NO | 1.6831 | 28.5106 | 0.015708 | -0.17072 | -0.025734 | 0.14499
11 | YES | 621.976 | 30.7336 | 0.00066645 | -0.031183 | -0.025452 | 0.0057311
11 | NO | 50.3789 | 29.652 | 0.00024026 | -0.049564 | -0.025452 | 0.024112
11 | NO | 1.9806 | 28.2832 | 0.2537 | -0.19504 | -0.025452 | 0.16959
12 | YES | 351.699 | 30.6971 | 0.00024225 | -0.028891 | -0.02517 | 0.0037209
12 | NO | 50.3346 | 29.5259 | 0.00025112 | -0.19304 | -0.02517 | 0.16787
12 | NO | 1.9357 | 25.1571 | 0.018515 | -0.51111 | -0.02517 | 0.48594
13 | YES | 371.547 | 30.7408 | 0.00020572 | -0.026812 | -0.024887 | 0.0019242
13 | NO | 50.2299 | 29.7772 | 0.00026415 | -0.090921 | -0.024887 | 0.066034
13 | NO | 1.3965 | 26.2631 | 0.018902 | -0.21416 | -0.024887 | 0.18927
14 | YES | 675.802 | 31.0627 | 0.00021534 | -0.027006 | -0.024605 | 0.0024011
14 | NO | 50.5488 | 29.5327 | 0.0032185 | -0.13074 | -0.024605 | 0.10614
14 | NO | 1.803 | 27.3211 | 0.013601 | -0.10802 | -0.024605 | 0.083412
15 | YES | 283.947 | 31.0613 | 0.00026434 | -0.0059929 | -0.024323 | -0.01833
15 | NO | 50.6397 | 29.6778 | 0.0016308 | -0.032133 | -0.024323 | 0.0078104
15 | NO | 3.189 | 28.002 | 0.00037211 | -0.0070534 | -0.024323 | -0.017269
16 | YES | 342.486 | 31.1069 | 0.0010054 | -0.0011921 | -0.02404 | -0.022848
16 | NO | 2.6323 | 28.3576 | 0.00054925 | -0.0064774 | -0.02404 | -0.017563
17 | YES | 353.207 | 31.0152 | 0.00020977 | -0.033869 | -0.023758 | 0.010111
17 | NO | 50.1671 | 29.6183 | 0.00028357 | -0.14971 | -0.023758 | 0.12595
17 | NO | 1.8848 | 26.388 | 0.07958 | -0.26678 | -0.023758 | 0.24302
18 | YES | 233.084 | 30.9998 | 0.00018754 | -0.023519 | -0.023476 | 4.3875e-05
18 | NO | 50.3642 | 29.7888 | 0.00067461 | -0.1161 | -0.023476 | 0.092622
18 | NO | 2.0238 | 25.147 | 0.0038359 | -0.33485 | -0.023476 | 0.31138
19 | YES | 222.729 | 30.5658 | 0.00022442 | -0.034344 | -0.023193 | 0.01115
19 | NO | 50.0149 | 29.8203 | 0.00029242 | -0.13846 | -0.023193 | 0.11527
19 | NO | 2.0193 | 26.3151 | 0.034515 | -0.20676 | -0.023193 | 0.18357
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Sal1-vs-file_pair
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.056741 |  | X | CALC Y
m= | -0.00015938 | 0.00014531 |  | Std Dev of Resid |  | 0.003651 |  | 1 | 0.0016755
b= | 0.0018349 | 0.0017011 |  | Resid Sum of Squares |  | 0.0002666 |  | 19 | -0.0011933
# of Values Extracted = |  |  | 51
# of Values Used in Fit = |  |  | 22
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 213.724 | 31.178 | 0.0015028 | 0.0064907 | 0.0016755 | -0.0048152 |  | 1 | 0.0064907
1 | NO | 7.0988 | 30.0107 | 0.01224 | -0.019962 | 0.0016755 | 0.021638 |  | 2 | 0.00056457
2 | YES | 350.443 | 31.1856 | 0.00020589 | 0.00056457 | 0.0015162 | 0.00095159 |  | 3 | 0.0042191
2 | NO | 10.5791 | 28.3465 | 0.0094379 | -0.11613 | 0.0015162 | 0.11764 |  | 4 | 0.0060291
3 | YES | 251.293 | 31.1271 | 0.0002203 | 0.0042191 | 0.0013568 | -0.0028623 |  | 5 | -0.0043564
3 | NO | 10.244 | 28.6483 | 0.019604 | -0.27937 | 0.0013568 | 0.28073 |  | 6 | 0.0011749
4 | YES | 344.676 | 31.1894 | 0.00033509 | 0.0060291 | 0.0011974 | -0.0048317 |  | 7 | 0.00068474
4 | NO | 5.2033 | 27.9685 | 0.010756 | -0.14367 | 0.0011974 | 0.14486 |  | 8 | -0.00056839
5 | YES | 299.927 | 31.0102 | 0.00021619 | -0.0043564 | 0.001038 | 0.0053944 |  | 8 | -0.0045662
5 | NO | 10.88 | 27.8118 | 0.00769 | -0.30806 | 0.001038 | 0.3091 |  | 9 | -0.00033569
6 | YES | 465.443 | 30.8107 | 0.00022958 | 0.0011749 | 0.00087864 | -0.00029629 |  | 10 | -0.00013924
6 | NO | 50.6347 | 29.7267 | 0.00023025 | -0.090616 | 0.00087864 | 0.091495 |  | 11 | -0.0032082
6 | NO | 2.1376 | 27.7002 | 0.0056333 | -0.079763 | 0.00087864 | 0.080642 |  | 12 | -0.0012016
7 | YES | 510.231 | 30.7879 | 0.00021729 | 0.00068474 | 0.00071926 | 3.4518e-05 |  | 13 | 0.00093651
7 | NO | 50.2475 | 29.6454 | 0.00061055 | -0.082815 | 0.00071926 | 0.083534 |  | 14 | -0.00039864
7 | NO | 2.1123 | 27.3951 | 0.03195 | -0.019285 | 0.00071926 | 0.020004 |  | 15 | -0.00090027
8 | YES | 496.401 | 30.7716 | 0.00021699 | -0.00056839 | 0.00055987 | 0.0011283 |  | 15 | -0.0050144
8 | NO | 50.4852 | 29.7417 | 0.00029562 | -0.054151 | 0.00055987 | 0.054711 |  | 16 | 0.0023003
8 | YES | 1.8254 | 27.7445 | 0.0012398 | -0.0045662 | 0.00055987 | 0.0051261 |  | 16 | -0.0039597
9 | YES | 709.748 | 30.8424 | 0.00024146 | -0.00033569 | 0.00040049 | 0.00073619 |  | 17 | -0.00089455
9 | NO | 50.0453 | 29.6483 | 0.00056727 | -0.17736 | 0.00040049 | 0.17776 |  | 18 | 0.0089607
9 | NO | 2.1243 | 27.2687 | 0.0064776 | -0.095444 | 0.00040049 | 0.095844 |  | 19 | -0.0019474
10 | YES | 591.151 | 30.7915 | 0.00019838 | -0.00013924 | 0.00024111 | 0.00038035
10 | NO | 50.8269 | 29.5725 | 0.00062192 | -0.058189 | 0.00024111 | 0.058431
10 | NO | 1.6831 | 28.5269 | 0.0094262 | -0.15439 | 0.00024111 | 0.15464
11 | YES | 621.976 | 30.7616 | 0.00059471 | -0.0032082 | 8.173e-05 | 0.0032899
11 | NO | 50.3789 | 29.679 | 0.00024559 | -0.022596 | 8.173e-05 | 0.022678
11 | NO | 1.9806 | 28.2819 | 0.26922 | -0.19626 | 8.173e-05 | 0.19634
12 | YES | 351.699 | 30.7248 | 0.00024906 | -0.0012016 | -7.7652e-05 | 0.001124
12 | NO | 50.3346 | 29.5525 | 0.00033126 | -0.16637 | -7.7652e-05 | 0.16629
12 | NO | 1.9357 | 25.1743 | 0.014619 | -0.49387 | -7.7652e-05 | 0.49379
13 | YES | 371.547 | 30.7685 | 0.0002147 | 0.00093651 | -0.00023703 | -0.0011735
13 | NO | 50.2299 | 29.8039 | 0.00034969 | -0.064201 | -0.00023703 | 0.063964
13 | NO | 1.3965 | 26.2966 | 0.012617 | -0.1807 | -0.00023703 | 0.18046
14 | YES | 675.802 | 31.0893 | 0.00021434 | -0.00039864 | -0.00039641 | 2.2211e-06
14 | NO | 50.5488 | 29.5554 | 0.00258 | -0.10804 | -0.00039641 | 0.10765
14 | NO | 1.803 | 27.3475 | 0.006295 | -0.081648 | -0.00039641 | 0.081251
15 | YES | 283.947 | 31.0664 | 0.00025446 | -0.00090027 | -0.0005558 | 0.00034447
15 | NO | 50.6397 | 29.6812 | 0.0016783 | -0.028738 | -0.0005558 | 0.028182
15 | YES | 3.189 | 28.0041 | 0.00049132 | -0.0050144 | -0.0005558 | 0.0044586
16 | YES | 342.486 | 31.1104 | 0.0011192 | 0.0023003 | -0.00071518 | -0.0030154
16 | YES | 2.6323 | 28.3601 | 0.00042513 | -0.0039597 | -0.00071518 | 0.0032445
17 | YES | 353.207 | 31.0482 | 0.0002236 | -0.00089455 | -0.00087456 | 1.9987e-05
17 | NO | 50.1671 | 29.65 | 0.00036668 | -0.11804 | -0.00087456 | 0.11717
17 | NO | 1.8848 | 26.4318 | 0.048307 | -0.223 | -0.00087456 | 0.22212
18 | YES | 233.084 | 31.0323 | 0.00019188 | 0.0089607 | -0.0010339 | -0.0099947
18 | NO | 50.3642 | 29.8204 | 0.0007129 | -0.084518 | -0.0010339 | 0.083484
18 | NO | 2.0238 | 25.1728 | 0.0039534 | -0.30909 | -0.0010339 | 0.30806
19 | YES | 222.729 | 30.5982 | 0.00021083 | -0.0019474 | -0.0011933 | 0.00075408
19 | NO | 50.0149 | 29.8521 | 0.00026065 | -0.10674 | -0.0011933 | 0.10555
19 | NO | 2.0193 | 26.3661 | 0.025884 | -0.15584 | -0.0011933 | 0.15465
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
NO
YES
NO
NO
YES
NO
YES
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
YES
YES
YES
YES
NO
NO
YES
NO
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE