## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2025/08/21 11:48:15 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2024-034-0067.mrgcor1 | 2024-034-0067.samcor1 | 241 | 231.83 | 231.829 | 0.29502 | -0.00079346 | 30.6851 | 30.6893 | 0.0027364 | 0.0042133 | 30.6851 | 30.6891 | 0.0026523 | 0.0039635
2024-034-0067.mrgcor1 | 2024-034-0067.samcor1 | 241 | 99.9 | 99.8959 | 0.030332 | -0.0041046 | 30.461 | 30.4559 | 0.00044481 | -0.0051098 | 30.461 | 30.4554 | 0.00049542 | -0.0056095
2024-034-0067.mrgcor1 | 2024-034-0067.samcor1 | 241 | 74.86 | 74.8637 | 0.026047 | 0.0036926 | 30.2833 | 30.2724 | 0.0010106 | -0.01092 | 30.2833 | 30.2715 | 0.0010422 | -0.011776
2024-034-0067.mrgcor1 | 2024-034-0067.samcor1 | 241 | 49.91 | 49.9123 | 0.026148 | 0.0023231 | 30.1841 | 30.1675 | 0.0021207 | -0.016638 | 30.1841 | 30.1665 | 0.0015523 | -0.017574
2024-034-0067.mrgcor1 | 2024-034-0067.samcor1 | 241 | 24.93 | 24.9272 | 0.0207 | -0.0027809 | 29.8898 | 29.8753 | 0.0015559 | -0.01446 | 29.8898 | 29.8752 | 0.0016869 | -0.014635
2024-034-0067.mrgcor1 | 2024-034-0067.samcor1 | 241 | 9.92 | 9.9196 | 0.023369 | -0.00037289 | 29.6366 | 29.6504 | 0.0033297 | 0.013832 | 29.6366 | 29.6496 | 0.002904 | 0.012987
2024-034-0067.mrgcor1 | 2024-034-0067.samcor1 | 241 | 4.66 | 4.6555 | 0.026106 | -0.0044813 | 29.3369 | 29.0424 | 0.027086 | -0.29454 | 29.3369 | 29.0439 | 0.031609 | -0.29296
2024-034-0067.mrgcor1 | 2024-034-0067.samcor1 | 208 | 1.59 | 1.5924 | 0.031672 | 0.0024519 | 28.3197 | 28.1747 | 0.049427 | -0.14502 | 28.3197 | 28.2011 | 0.038382 | -0.11863
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2024-034-0067.mrgcor1 | 2024-034-0067.samcor1 | 12 | 19 | 2024-034-0067.mrgcor1 & 2024-034-0067.samcor1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Sal0 | 1
2 | (Sal1 - Sal_Bot) | Pressure | 1

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Sal0
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.49593 |  | X | CALC Y
m= | 0.091367 | 0.037605 |  | Std Dev of Resid |  | 0.08258 |  | 28.1747 | -0.20626
b= | -2.7805 | 1.1207 |  | Resid Sum of Squares |  | 0.040916 |  | 30.6893 | 0.023495
# of Values Extracted = |  |  | 8
# of Values Used in Fit = |  |  | 8
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Sal0
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 231.829 | 30.6893 | 0.0027364 | 0.0042133 | 0.023495 | 0.019282 |  | 30.6893 | 0.0042133
1 | YES | 99.8959 | 30.4559 | 0.00044481 | -0.0051098 | 0.0021703 | 0.0072801 |  | 30.4559 | -0.0051098
1 | YES | 74.8637 | 30.2724 | 0.0010106 | -0.01092 | -0.014595 | -0.0036759 |  | 30.2724 | -0.01092
1 | YES | 49.9123 | 30.1675 | 0.0021207 | -0.016638 | -0.02418 | -0.007542 |  | 30.1675 | -0.016638
1 | YES | 24.9272 | 29.8753 | 0.0015559 | -0.01446 | -0.050877 | -0.036418 |  | 29.8753 | -0.01446
1 | YES | 9.9196 | 29.6504 | 0.0033297 | 0.013832 | -0.071426 | -0.085258 |  | 29.6504 | 0.013832
1 | YES | 4.6555 | 29.0424 | 0.027086 | -0.29454 | -0.12698 | 0.16756 |  | 29.0424 | -0.29454
1 | YES | 1.5924 | 28.1747 | 0.049427 | -0.14502 | -0.20626 | -0.06123 |  | 28.1747 | -0.14502
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.18863 |  | X | CALC Y
m= | 0.00058735 | 0.00049731 |  | Std Dev of Resid |  | 0.10145 |  | 1.5924 | -0.091126
b= | -0.092062 | 0.047364 |  | Resid Sum of Squares |  | 0.061751 |  | 231.829 | 0.044104
# of Values Extracted = |  |  | 8
# of Values Used in Fit = |  |  | 8
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 231.829 | 30.6891 | 0.0026523 | 0.0039635 | 0.044104 | 0.04014 |  | 231.829 | 0.0039635
1 | YES | 99.8959 | 30.4554 | 0.00049542 | -0.0056095 | -0.033388 | -0.027778 |  | 99.8959 | -0.0056095
1 | YES | 74.8637 | 30.2715 | 0.0010422 | -0.011776 | -0.04809 | -0.036314 |  | 74.8637 | -0.011776
1 | YES | 49.9123 | 30.1665 | 0.0015523 | -0.017574 | -0.062746 | -0.045171 |  | 49.9123 | -0.017574
1 | YES | 24.9272 | 29.8752 | 0.0016869 | -0.014635 | -0.077421 | -0.062786 |  | 24.9272 | -0.014635
1 | YES | 9.9196 | 29.6496 | 0.002904 | 0.012987 | -0.086235 | -0.099222 |  | 9.9196 | 0.012987
1 | YES | 4.6555 | 29.0439 | 0.031609 | -0.29296 | -0.089327 | 0.20363 |  | 4.6555 | -0.29296
1 | YES | 1.5924 | 28.2011 | 0.038382 | -0.11863 | -0.091126 | 0.0275 |  | 1.5924 | -0.11863
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE