File List for SeaBird Data          

Cruise Number: _2024-035____
[osdcommon\cruise_data_processing\2024-035\ARCHIVE]
[osdcommon\cruise_data_processing\2024-035\ARCHIVE\Bottle] *.BOT

[osdcommon\cruise_data_processing\2024-035\ARCHIVE\CTD] *.CTD
[osdcommon\cruise_data_processing\2024-035\ARCHIVE\DOC] general documents 
[osdcommon\cruise_data_processing\2024-035\ARCHIVE\DOC\Hydro] documents re CHE files
[osdcommon\cruise_data_processing\2024-035\ARCHIVE\LOGS] 
[osdcommon\cruise_data_processing\2024-035\PROCESSING] 

[osdcommon\cruise_data_processing\2024-035\PROCESSING\CONVERT] *.CNV – after conversion

[osdcommon\cruise_data_processing\2024-035\PROCESSING\DERIVE] 

*.CNV – after conversion, wfilter, align, celltm, derive
[osdcommon\cruise_data_processing\2024-035\PROCESSING\DOC] 

2024-035_Processing_Report.doc - processing notes
2024-035_File.doc - this document
2024-035-ctd.xmlcon – configuration file used for all Seabird conversions
2024-035-ctd_final.rpt – CTD file header check including channel summary
2024-035-ctd_xref.txt – cross-reference list of casts

2024-035-hdr.txt –header file with comments for CTD files

2024-035-recal1.ccf – recal file for DO, salinity, pressure and depth

2024-035-altimeter-ctd.xlsx – water depth check


2024-035-surface-ctd.txt – list of initial surface pressure readings for each cast

[osdcommon\cruise_data_processing\2024-035\PROCESSING\DOC\Hydro]

2024-035nuts.csv – nutrients simplified from analyst’s s/s
2024-035oxy.csv – dissolved oxygen data simplified from analyst’s s/s

2024-035sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2024-035-bottles-final.xlsx – export of CHE file content
 
2024-035-che-final.rpt – final header check of CHE files

2024-035_hydro_xref.txt – cross-reference listing of bottle files 
2024-035-bot-hdr.txt – header file with comments for CHE files
2024-010-doc-comp1.xls – DO comparison from other cruise using same sensor

2024-035-dox-comp1.csv & xls – initial comparison of titrated DO & CTD DO
2024-035-dox-comp2.csv & xls –comparison of titrated DO & CTD DO after initial recal

2024-035-sal-comp1.csv & xls –initial comparison of rosette bottle and CTD salinity 

addsamp.csv – spreadsheet relating bottle numbers to sample numbers
[osdcommon\cruise_data_processing\2024-035\PROCESSING\hydro]

*.bot – SBE files files converted to IOS header format


*.che – Final files for SBE911


*.mrg – CTD plus bottle data after initial merge
*.mrgcln2 – after applying CLEAN to mrg files

*.mrgcor1 – after recalibration of silicate and DO, P, D
*.mrgrem – after removing unnecessary channels from SBE911

*.mrgreo – 2nd last step after reorder

*.nut – nutrient data
*.oxy - dissolved oxygen data s

*.ros – after initial conversion from SBE911
*.sal - salinity data from Autosas
*.sam – CTD data from rosettes with sample #s
*.samcor1 -recalibrated SAM files

[osdcommon\cruise_data_processing\2024-035\PROCESSING\IOS] 

*.avg - data after metre-averaging using BINAVE (downcast)

*.cln - after adding event #s and removing pad values from pressure

*.cor1 - after recalibration


*.ctd - final files 


*.del – after DELETE

*.edt & *.log– after graphical editing 

*.ios - data after conversion to IOS HEADERS
*.rem – after REMOVE 

*.reo – 2nd last step - after addition of DO in mass units and reorder
Delete.log - log from routine DELETE
