## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6.1 | Run at 2025/07/16 11:35:02 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | OXY_BOT | OXY_SBE |  | OXY_SBE - OXY_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | OXY_BOT | OXY_SBE | OXY_SBE | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2024-041-0014.mrgcor1 | 2024-041-0014.samcor1 | 628 | 183.96 | 183.947 | 0.47546 | -0.013123 | 1.866 | 1.8797 | 0.0051132 | 0.013732
2024-041-0014.mrgcor1 | 2024-041-0014.samcor1 | 241 | 173.68 | 173.682 | 0.57815 | 0.0022125 | 1.929 | 1.9349 | 0.0024609 | 0.0059502
2024-041-0014.mrgcor1 | 2024-041-0014.samcor1 | 241 | 124.35 | 124.351 | 0.21469 | 0.00062561 | 2.541 | 2.5451 | 0.0044742 | 0.0040832
2024-041-0014.mrgcor1 | 2024-041-0014.samcor1 | 240 | 99.34 | 99.3427 | 0.59233 | 0.0026703 | 2.989 | 2.9945 | 0.0066339 | 0.0055041
2024-041-0014.mrgcor1 | 2024-041-0014.samcor1 | 701 | 74.25 | 74.2715 | 0.36466 | 0.021515 | 3.887 | 3.8886 | 0.0067397 | 0.001636
2024-041-0014.mrgcor1 | 2024-041-0014.samcor1 | 241 | 50.06 | 50.061 | 0.55386 | 0.00095367 | 4.492 | 4.4631 | 0.017414 | -0.028913
2024-041-0014.mrgcor1 | 2024-041-0014.samcor1 | 241 | 20.19 | 20.1915 | 0.18634 | 0.0014515 | 5.364 | 5.3447 | 0.011499 | -0.019286
2024-041-0014.mrgcor1 | 2024-041-0014.samcor1 | 241 | 9.44 | 9.4356 | 0.11097 | -0.0044393 | 6.152 | 6.1736 | 0.017959 | 0.021606
2024-041-0014.mrgcor1 | 2024-041-0014.samcor1 | 241 | 4.37 | 4.367 | 0.16034 | -0.0029459 | 6.105 | 6.0835 | 0.0089209 | -0.021465
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 335 | 986.87 | 987.004 | 0.538 | 0.13428 | 0.34 | 0.32966 | 0.0080017 | -0.010337
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 113 | 800.92 | 800.918 | 0.58415 | -0.001648 | 0.336 | 0.33389 | 0.0017339 | -0.0021062
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 193 | 596.96 | 597.28 | 0.49315 | 0.31995 | 0.423 | 0.41421 | 0.007924 | -0.0087928
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 209 | 399.06 | 398.885 | 0.53855 | -0.17459 | 0.96 | 0.96793 | 0.00094325 | 0.007933
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 104 | 298.84 | 298.638 | 0.46549 | -0.20221 | 1.329 | 1.3275 | 0.0063765 | -0.0014712
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 220 | 199.17 | 199.068 | 0.58647 | -0.1015 | 2.454 | 2.4443 | 0.01045 | -0.0097272
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 200 | 149.39 | 149.068 | 0.36362 | -0.32245 | 3.362 | 3.3246 | 0.0098097 | -0.037395
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 210 | 98.54 | 98.3675 | 0.5657 | -0.17252 | 6.313 | 6.3138 | 0.013048 | 0.00078535
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 266 | 73.68 | 73.5256 | 0.48649 | -0.1544 | 6.643 | 6.6608 | 0.007586 | 0.017849
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 241 | 49.01 | 49.0052 | 0.32185 | -0.0047684 | 7.02 | 7.0274 | 0.0077349 | 0.0073485
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 92 | 19.82 | 20.0251 | 0.59853 | 0.20511 | 6.916 | 6.938 | 0.0273 | 0.022022
2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 163 | 4.67 | 4.7405 | 0.55954 | 0.070552 | 5.989 | 5.9576 | 0.0083698 | -0.031386
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 288 | 2002.44 | 2002.45 | 0.63415 | 0.0075684 | 1.37 | 1.3582 | 0.011831 | -0.011823
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 241 | 1498.67 | 1498.67 | 0.54839 | 0.0026856 | 0.657 | 0.65209 | 0.0034455 | -0.0049128
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 107 | 1247.8 | 1248.14 | 0.59687 | 0.34216 | 0.403 | 0.39828 | 0.0071951 | -0.0047196
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 171 | 998.01 | 997.823 | 0.53644 | -0.18707 | 0.251 | 0.24732 | 0.011116 | -0.0036842
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 75 | 797.99 | 797.911 | 0.58854 | -0.078674 | 0.314 | 0.29987 | 0.0018109 | -0.014133
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 181 | 596.7 | 596.818 | 0.63923 | 0.11774 | 0.616 | 0.61241 | 0.0035117 | -0.0035912
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 241 | 397.88 | 397.883 | 0.35491 | 0.0030823 | 1.225 | 1.2282 | 0.0047305 | 0.0031618
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 155 | 300.37 | 300.497 | 0.60311 | 0.12735 | 1.901 | 1.8972 | 0.0096929 | -0.0037807
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 241 | 198.68 | 198.682 | 0.43586 | 0.002243 | 3.341 | 3.3428 | 0.0038898 | 0.00178
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 89 | 148.41 | 148.588 | 0.62975 | 0.17775 | 3.735 | 3.7428 | 0.0097641 | 0.0078428
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 207 | 98.91 | 98.7229 | 0.53184 | -0.1871 | 4.163 | 4.1527 | 0.018045 | -0.0103
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 386 | 74.1 | 73.9987 | 0.40548 | -0.10132 | 4.808 | 4.8497 | 0.012612 | 0.041733
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 200 | 48.11 | 47.8732 | 0.60918 | -0.23675 | 5.27 | 5.2714 | 0.011099 | 0.0013752
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 141 | 18.37 | 18.2491 | 0.49619 | -0.12092 | 6.091 | 6.0902 | 0.0082519 | -0.00083685
2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 241 | 4.23 | 4.2276 | 0.50145 | -0.0024066 | 5.976 | 5.9615 | 0.0080177 | -0.014527
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 3
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2024-041-0014.mrgcor1 | 2024-041-0014.samcor1 | 11 | 19 | 2024-041-0014.mrgcor1 & 2024-041-0014.samcor1
2 | 2024-041-0048.mrgcor1 | 2024-041-0048.samcor1 | 21 | 32 | 2024-041-0048.mrgcor1 & 2024-041-0048.samcor1
3 | 2024-041-0082.mrgcor1 | 2024-041-0082.samcor1 | 34 | 48 | 2024-041-0082.mrgcor1 & 2024-041-0082.samcor1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (OXY_SBE - OXY_BOT) | OXY_SBE | 3
2 | (OXY_SBE - OXY_BOT) | Pressure | 3

## Fit_1
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.01167 |  | X | CALC Y
m= | 0.00072896 | 0.0011678 |  | Std Dev of Resid |  | 0.015712 |  | 0.24732 | -0.0041086
b= | -0.0042889 | 0.0047257 |  | Resid Sum of Squares |  | 0.0081463 |  | 7.0274 | 0.00083376
# of Values Extracted = |  |  | 36
# of Values Used in Fit = |  |  | 35
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 183.947 | 1.8797 | 0.0051132 | 0.013732 | -0.0029186 | -0.016651 |  | 1.8797 | 0.013732
1 | YES | 173.682 | 1.9349 | 0.0024609 | 0.0059502 | -0.0028784 | -0.0088286 |  | 1.9349 | 0.0059502
1 | YES | 124.351 | 2.5451 | 0.0044742 | 0.0040832 | -0.0024336 | -0.0065168 |  | 2.5451 | 0.0040832
1 | YES | 99.3427 | 2.9945 | 0.0066339 | 0.0055041 | -0.002106 | -0.0076101 |  | 2.9945 | 0.0055041
1 | YES | 74.2715 | 3.8886 | 0.0067397 | 0.001636 | -0.0014542 | -0.0030903 |  | 3.8886 | 0.001636
1 | YES | 50.061 | 4.4631 | 0.017414 | -0.028913 | -0.0010355 | 0.027878 |  | 4.4631 | -0.028913
1 | YES | 20.1915 | 5.3447 | 0.011499 | -0.019286 | -0.00039282 | 0.018893 |  | 5.3447 | -0.019286
1 | YES | 9.4356 | 6.1736 | 0.017959 | 0.021606 | 0.00021142 | -0.021395 |  | 6.1736 | 0.021606
1 | YES | 4.367 | 6.0835 | 0.0089209 | -0.021465 | 0.00014576 | 0.021611 |  | 6.0835 | -0.021465
2 | YES | 987.004 | 0.32966 | 0.0080017 | -0.010337 | -0.0040486 | 0.0062887 |  | 0.32966 | -0.010337
2 | YES | 800.918 | 0.33389 | 0.0017339 | -0.0021062 | -0.0040455 | -0.0019393 |  | 0.33389 | -0.0021062
2 | YES | 597.28 | 0.41421 | 0.007924 | -0.0087928 | -0.0039869 | 0.0048058 |  | 0.41421 | -0.0087928
2 | YES | 398.885 | 0.96793 | 0.00094325 | 0.007933 | -0.0035833 | -0.011516 |  | 0.96793 | 0.007933
2 | YES | 298.638 | 1.3275 | 0.0063765 | -0.0014712 | -0.0033212 | -0.00185 |  | 1.3275 | -0.0014712
2 | YES | 199.068 | 2.4443 | 0.01045 | -0.0097272 | -0.0025071 | 0.0072201 |  | 2.4443 | -0.0097272
2 | YES | 149.068 | 3.3246 | 0.0098097 | -0.037395 | -0.0018654 | 0.03553 |  | 3.3246 | -0.037395
2 | YES | 98.3675 | 6.3138 | 0.013048 | 0.00078535 | 0.0003136 | -0.00047175 |  | 6.3138 | 0.00078535
2 | YES | 73.5256 | 6.6608 | 0.007586 | 0.017849 | 0.00056659 | -0.017283 |  | 6.6608 | 0.017849
2 | YES | 49.0052 | 7.0274 | 0.0077349 | 0.0073485 | 0.00083376 | -0.0065148 |  | 7.0274 | 0.0073485
2 | YES | 20.0251 | 6.938 | 0.0273 | 0.022022 | 0.00076864 | -0.021253 |  | 6.938 | 0.022022
2 | YES | 4.7405 | 5.9576 | 0.0083698 | -0.031386 | 5.3962e-05 | 0.03144 |  | 5.9576 | -0.031386
3 | YES | 2002.45 | 1.3582 | 0.011831 | -0.011823 | -0.0032988 | 0.0085241 |  | 1.3582 | -0.011823
3 | YES | 1498.67 | 0.65209 | 0.0034455 | -0.0049128 | -0.0038135 | 0.0010993 |  | 0.65209 | -0.0049128
3 | YES | 1248.14 | 0.39828 | 0.0071951 | -0.0047196 | -0.0039985 | 0.00072107 |  | 0.39828 | -0.0047196
3 | YES | 997.823 | 0.24732 | 0.011116 | -0.0036842 | -0.0041086 | -0.0004244 |  | 0.24732 | -0.0036842
3 | NO | 797.911 | 0.29987 | 0.0018109 | -0.014133 | -0.0040703 | 0.010063 |  | 0.61241 | -0.0035912
3 | YES | 596.818 | 0.61241 | 0.0035117 | -0.0035912 | -0.0038425 | -0.00025127 |  | 1.2282 | 0.0031618
3 | YES | 397.883 | 1.2282 | 0.0047305 | 0.0031618 | -0.0033936 | -0.0065554 |  | 1.8972 | -0.0037807
3 | YES | 300.497 | 1.8972 | 0.0096929 | -0.0037807 | -0.0029059 | 0.00087484 |  | 3.3428 | 0.00178
3 | YES | 198.682 | 3.3428 | 0.0038898 | 0.00178 | -0.0018521 | -0.0036322 |  | 3.7428 | 0.0078428
3 | YES | 148.588 | 3.7428 | 0.0097641 | 0.0078428 | -0.0015605 | -0.0094033 |  | 4.1527 | -0.0103
3 | YES | 98.7229 | 4.1527 | 0.018045 | -0.0103 | -0.0012617 | 0.009038 |  | 4.8497 | 0.041733
3 | YES | 73.9987 | 4.8497 | 0.012612 | 0.041733 | -0.00075363 | -0.042487 |  | 5.2714 | 0.0013752
3 | YES | 47.8732 | 5.2714 | 0.011099 | 0.0013752 | -0.00044627 | -0.0018215 |  | 6.0902 | -0.00083685
3 | YES | 18.2491 | 6.0902 | 0.0082519 | -0.00083685 | 0.00015059 | 0.00098743 |  | 5.9615 | -0.014527
3 | YES | 4.2276 | 5.9615 | 0.0080177 | -0.014527 | 5.6776e-05 | 0.014584
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.022897 |  | X | CALC Y
m= | -4.9173e-06 | 5.5089e-06 |  | Std Dev of Resid |  | 0.015527 |  | 4.2276 | -0.00045617
b= | -0.00043538 | 0.0032499 |  | Resid Sum of Squares |  | 0.0081971 |  | 2002.45 | -0.010282
# of Values Extracted = |  |  | 36
# of Values Used in Fit = |  |  | 36
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 183.947 | 1.8797 | 0.0051132 | 0.013732 | -0.0013399 | -0.015072 |  | 183.947 | 0.013732
1 | YES | 173.682 | 1.9349 | 0.0024609 | 0.0059502 | -0.0012894 | -0.0072396 |  | 173.682 | 0.0059502
1 | YES | 124.351 | 2.5451 | 0.0044742 | 0.0040832 | -0.0010469 | -0.00513 |  | 124.351 | 0.0040832
1 | YES | 99.3427 | 2.9945 | 0.0066339 | 0.0055041 | -0.00092388 | -0.006428 |  | 99.3427 | 0.0055041
1 | YES | 74.2715 | 3.8886 | 0.0067397 | 0.001636 | -0.0008006 | -0.0024366 |  | 74.2715 | 0.001636
1 | YES | 50.061 | 4.4631 | 0.017414 | -0.028913 | -0.00068155 | 0.028231 |  | 50.061 | -0.028913
1 | YES | 20.1915 | 5.3447 | 0.011499 | -0.019286 | -0.00053467 | 0.018752 |  | 20.1915 | -0.019286
1 | YES | 9.4356 | 6.1736 | 0.017959 | 0.021606 | -0.00048178 | -0.022088 |  | 9.4356 | 0.021606
1 | YES | 4.367 | 6.0835 | 0.0089209 | -0.021465 | -0.00045685 | 0.021008 |  | 4.367 | -0.021465
2 | YES | 987.004 | 0.32966 | 0.0080017 | -0.010337 | -0.0052888 | 0.0050485 |  | 987.004 | -0.010337
2 | YES | 800.918 | 0.33389 | 0.0017339 | -0.0021062 | -0.0043737 | -0.0022676 |  | 800.918 | -0.0021062
2 | YES | 597.28 | 0.41421 | 0.007924 | -0.0087928 | -0.0033724 | 0.0054204 |  | 597.28 | -0.0087928
2 | YES | 398.885 | 0.96793 | 0.00094325 | 0.007933 | -0.0023968 | -0.01033 |  | 398.885 | 0.007933
2 | YES | 298.638 | 1.3275 | 0.0063765 | -0.0014712 | -0.0019039 | -0.00043272 |  | 298.638 | -0.0014712
2 | YES | 199.068 | 2.4443 | 0.01045 | -0.0097272 | -0.0014143 | 0.008313 |  | 199.068 | -0.0097272
2 | YES | 149.068 | 3.3246 | 0.0098097 | -0.037395 | -0.0011684 | 0.036227 |  | 149.068 | -0.037395
2 | YES | 98.3675 | 6.3138 | 0.013048 | 0.00078535 | -0.00091908 | -0.0017044 |  | 98.3675 | 0.00078535
2 | YES | 73.5256 | 6.6608 | 0.007586 | 0.017849 | -0.00079693 | -0.018646 |  | 73.5256 | 0.017849
2 | YES | 49.0052 | 7.0274 | 0.0077349 | 0.0073485 | -0.00067635 | -0.0080249 |  | 49.0052 | 0.0073485
2 | YES | 20.0251 | 6.938 | 0.0273 | 0.022022 | -0.00053385 | -0.022556 |  | 20.0251 | 0.022022
2 | YES | 4.7405 | 5.9576 | 0.0083698 | -0.031386 | -0.00045869 | 0.030928 |  | 4.7405 | -0.031386
3 | YES | 2002.45 | 1.3582 | 0.011831 | -0.011823 | -0.010282 | 0.0015408 |  | 2002.45 | -0.011823
3 | YES | 1498.67 | 0.65209 | 0.0034455 | -0.0049128 | -0.0078048 | -0.002892 |  | 1498.67 | -0.0049128
3 | YES | 1248.14 | 0.39828 | 0.0071951 | -0.0047196 | -0.0065729 | -0.0018533 |  | 1248.14 | -0.0047196
3 | NO | 997.823 | 0.24732 | 0.011116 | -0.0036842 | -0.005342 | -0.0016578 |  | 997.823 | -0.0036842
3 | YES | 797.911 | 0.29987 | 0.0018109 | -0.014133 | -0.004359 | 0.0097743 |  | 797.911 | -0.014133
3 | YES | 596.818 | 0.61241 | 0.0035117 | -0.0035912 | -0.0033701 | 0.00022106 |  | 596.818 | -0.0035912
3 | YES | 397.883 | 1.2282 | 0.0047305 | 0.0031618 | -0.0023919 | -0.0055537 |  | 397.883 | 0.0031618
3 | YES | 300.497 | 1.8972 | 0.0096929 | -0.0037807 | -0.001913 | 0.0018677 |  | 300.497 | -0.0037807
3 | YES | 198.682 | 3.3428 | 0.0038898 | 0.00178 | -0.0014124 | -0.0031924 |  | 198.682 | 0.00178
3 | YES | 148.588 | 3.7428 | 0.0097641 | 0.0078428 | -0.001166 | -0.0090088 |  | 148.588 | 0.0078428
3 | YES | 98.7229 | 4.1527 | 0.018045 | -0.0103 | -0.00092083 | 0.0093789 |  | 98.7229 | -0.0103
3 | YES | 73.9987 | 4.8497 | 0.012612 | 0.041733 | -0.00079925 | -0.042533 |  | 73.9987 | 0.041733
3 | YES | 47.8732 | 5.2714 | 0.011099 | 0.0013752 | -0.00067079 | -0.002046 |  | 47.8732 | 0.0013752
3 | YES | 18.2491 | 6.0902 | 0.0082519 | -0.00083685 | -0.00052512 | 0.00031173 |  | 18.2491 | -0.00083685
3 | YES | 4.2276 | 5.9615 | 0.0080177 | -0.014527 | -0.00045617 | 0.014071 |  | 4.2276 | -0.014527
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE