## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6.1 | Run at 2025/07/16 12:06:41 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | OXY_BOT | OXY_SBE |  | OXY_SBE - OXY_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | OXY_BOT | OXY_SBE | OXY_SBE | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2024-041-0014.mrgcor1 | 2024-041-0014.thn1 | 1 | 183.96 | 184.01 | 0 | 0.049988 | 1.866 | 1.885 | 0 | 0.019
2024-041-0014.mrgcor1 | 2024-041-0014.thn1 | 1 | 173.68 | 174.01 | 0 | 0.33 | 1.929 | 1.939 | 0 | 0.01
2024-041-0014.mrgcor1 | 2024-041-0014.thn1 | 1 | 124.35 | 123.99 | 0 | -0.36 | 2.541 | 2.59 | 0 | 0.049
2024-041-0014.mrgcor1 | 2024-041-0014.thn1 | 1 | 99.34 | 99.17 | 0 | -0.17 | 2.989 | 3.152 | 0 | 0.163
2024-041-0014.mrgcor1 | 2024-041-0014.thn1 | 1 | 74.25 | 74.01 | 0 | -0.24 | 3.887 | 3.878 | 0 | -0.0090001
2024-041-0014.mrgcor1 | 2024-041-0014.thn1 | 1 | 50.06 | 50 | 0 | -0.060001 | 4.492 | 4.585 | 0 | 0.093
2024-041-0014.mrgcor1 | 2024-041-0014.thn1 | 1 | 20.19 | 19.99 | 0 | -0.2 | 5.364 | 5.379 | 0 | 0.015
2024-041-0014.mrgcor1 | 2024-041-0014.thn1 | 1 | 9.44 | 8.99 | 0 | -0.45 | 6.152 | 6.119 | 0 | -0.033
2024-041-0014.mrgcor1 | 2024-041-0014.thn1 | 2 | 4.37 | 4.49 | 0.69297 | 0.12 | 6.105 | 6.0775 | 0.014849 | -0.0275
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 2 | 986.87 | 987.265 | 0.36063 | 0.39502 | 0.34 | 0.3315 | 0.0035355 | -0.0085
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 1 | 800.92 | 801 | 0 | 0.080017 | 0.336 | 0.338 | 0 | 0.002
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 1 | 596.96 | 596.33 | 0 | -0.63001 | 0.423 | 0.431 | 0 | 0.008
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 1 | 399.06 | 399.02 | 0 | -0.040009 | 0.96 | 1.012 | 0 | 0.052
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 1 | 298.84 | 299 | 0 | 0.16 | 1.329 | 1.38 | 0 | 0.051
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 1 | 199.17 | 199 | 0 | -0.17 | 2.454 | 2.733 | 0 | 0.279
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 1 | 149.39 | 149.02 | 0 | -0.37 | 3.362 | 3.478 | 0 | 0.116
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 1 | 98.54 | 97.98 | 0 | -0.56 | 6.313 | 6.404 | 0 | 0.091
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 1 | 73.68 | 73.99 | 0 | 0.31 | 6.643 | 6.644 | 0 | 0.00099993
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 3 | 49.01 | 48.9967 | 0.98511 | -0.013332 | 7.02 | 6.9767 | 0.027301 | -0.043333
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 1 | 19.82 | 20 | 0 | 0.18 | 6.916 | 6.973 | 0 | 0.057
2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 2 | 4.67 | 4.48 | 0.72125 | -0.19 | 5.989 | 5.9425 | 0.0021212 | -0.0465
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 2002.44 | 2002.01 | 0 | -0.42993 | 1.37 | 1.359 | 0 | -0.011
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 1498.67 | 1498.99 | 0 | 0.31995 | 0.657 | 0.64 | 0 | -0.017
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 1247.8 | 1248 | 0 | 0.19995 | 0.403 | 0.385 | 0 | -0.018
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 998.01 | 998 | 0 | -0.01001 | 0.251 | 0.243 | 0 | -0.008
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 797.99 | 798 | 0 | 0.01001 | 0.314 | 0.305 | 0 | -0.009
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 596.7 | 597.01 | 0 | 0.31 | 0.616 | 0.654 | 0 | 0.038
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 397.88 | 398.02 | 0 | 0.13998 | 1.225 | 1.222 | 0 | -0.003
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 300.37 | 299.99 | 0 | -0.38 | 1.901 | 2.019 | 0 | 0.118
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 198.68 | 198.97 | 0 | 0.29001 | 3.341 | 3.336 | 0 | -0.0050001
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 148.41 | 149 | 0 | 0.59 | 3.735 | 3.791 | 0 | 0.056
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 2 | 98.91 | 98.52 | 0.70711 | -0.39001 | 4.163 | 4.175 | 0.014142 | 0.012
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 74.1 | 74.14 | 0 | 0.040001 | 4.808 | 4.692 | 0 | -0.116
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 2 | 48.11 | 48.5 | 0.70711 | 0.39 | 5.27 | 5.177 | 0.062226 | -0.093
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 1 | 18.37 | 18 | 0 | -0.37 | 6.091 | 6.49 | 0 | 0.399
2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 2 | 4.23 | 4.505 | 0.71418 | 0.275 | 5.976 | 5.9945 | 0.0021212 | 0.0185
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 3
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2024-041-0014.mrgcor1 | 2024-041-0014.thn1 | 11 | 19 | 2024-041-0014.mrgcor1 & 2024-041-0014.thn1
2 | 2024-041-0048.mrgcor1 | 2024-041-0048.thn1 | 21 | 32 | 2024-041-0048.mrgcor1 & 2024-041-0048.thn1
3 | 2024-041-0082.mrgcor1 | 2024-041-0082.thn1 | 34 | 48 | 2024-041-0082.mrgcor1 & 2024-041-0082.thn1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (OXY_SBE - OXY_BOT) | OXY_SBE | 3
2 | (OXY_SBE - OXY_BOT) | OXY_SBE | 3
3 | (OXY_SBE - OXY_BOT) | OXY_SBE | 3
4 | (OXY_SBE - OXY_BOT) | Pressure | 3

## Vs DO
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0004667 |  | X | CALC Y
m= | 0.00032227 | 0.0029249 |  | Std Dev of Resid |  | 0.03742 |  | 0.305 | 0.011256
b= | 0.011158 | 0.011827 |  | Resid Sum of Squares |  | 0.036408 |  | 6.9767 | 0.013406
# of Values Extracted = |  |  | 36
# of Values Used in Fit = |  |  | 28
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | YES | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 184.01 | 1.885 | 0 | 0.019 | 0.011765 | -0.0072345 |  | 1.885 | 0.019
1 | YES | 174.01 | 1.939 | 0 | 0.01 | 0.011783 | 0.0017828 |  | 1.939 | 0.01
1 | YES | 123.99 | 2.59 | 0 | 0.049 | 0.011993 | -0.037007 |  | 2.59 | 0.049
1 | NO | 99.17 | 3.152 | 0 | 0.163 | 0.012174 | -0.15083 |  | 3.878 | -0.0090001
1 | YES | 74.01 | 3.878 | 0 | -0.0090001 | 0.012408 | 0.021408 |  | 4.585 | 0.093
1 | YES | 50 | 4.585 | 0 | 0.093 | 0.012636 | -0.080364 |  | 5.379 | 0.015
1 | YES | 19.99 | 5.379 | 0 | 0.015 | 0.012891 | -0.0021089 |  | 6.119 | -0.033
1 | YES | 8.99 | 6.119 | 0 | -0.033 | 0.01313 | 0.04613 |  | 6.0775 | -0.0275
1 | YES | 4.49 | 6.0775 | 0.014849 | -0.0275 | 0.013117 | 0.040617 |  | 0.3315 | -0.0085
2 | YES | 987.265 | 0.3315 | 0.0035355 | -0.0085 | 0.011265 | 0.019765 |  | 0.338 | 0.002
2 | YES | 801 | 0.338 | 0 | 0.002 | 0.011267 | 0.0092668 |  | 0.431 | 0.008
2 | YES | 596.33 | 0.431 | 0 | 0.008 | 0.011297 | 0.0032968 |  | 1.012 | 0.052
2 | YES | 399.02 | 1.012 | 0 | 0.052 | 0.011484 | -0.040516 |  | 1.38 | 0.051
2 | YES | 299 | 1.38 | 0 | 0.051 | 0.011603 | -0.039397 |  | 6.404 | 0.091
2 | NO | 199 | 2.733 | 0 | 0.279 | 0.012039 | -0.26696 |  | 6.644 | 0.00099993
2 | NO | 149.02 | 3.478 | 0 | 0.116 | 0.012279 | -0.10372 |  | 6.9767 | -0.043333
2 | YES | 97.98 | 6.404 | 0 | 0.091 | 0.013222 | -0.077778 |  | 6.973 | 0.057
2 | YES | 73.99 | 6.644 | 0 | 0.00099993 | 0.013299 | 0.012299 |  | 5.9425 | -0.0465
2 | YES | 48.9967 | 6.9767 | 0.027301 | -0.043333 | 0.013406 | 0.056739 |  | 1.359 | -0.011
2 | YES | 20 | 6.973 | 0 | 0.057 | 0.013405 | -0.043595 |  | 0.64 | -0.017
2 | YES | 4.48 | 5.9425 | 0.0021212 | -0.0465 | 0.013073 | 0.059573 |  | 0.385 | -0.018
3 | YES | 2002.01 | 1.359 | 0 | -0.011 | 0.011596 | 0.022596 |  | 0.305 | -0.009
3 | YES | 1498.99 | 0.64 | 0 | -0.017 | 0.011364 | 0.028364 |  | 0.654 | 0.038
3 | YES | 1248 | 0.385 | 0 | -0.018 | 0.011282 | 0.029282 |  | 1.222 | -0.003
3 | NO | 998 | 0.243 | 0 | -0.008 | 0.011236 | 0.019236 |  | 3.336 | -0.0050001
3 | YES | 798 | 0.305 | 0 | -0.009 | 0.011256 | 0.020256 |  | 3.791 | 0.056
3 | YES | 597.01 | 0.654 | 0 | 0.038 | 0.011369 | -0.026631 |  | 4.175 | 0.012
3 | YES | 398.02 | 1.222 | 0 | -0.003 | 0.011552 | 0.014552 |  | 5.9945 | 0.0185
3 | NO | 299.99 | 2.019 | 0 | 0.118 | 0.011809 | -0.10619
3 | YES | 198.97 | 3.336 | 0 | -0.0050001 | 0.012233 | 0.017233
3 | YES | 149 | 3.791 | 0 | 0.056 | 0.01238 | -0.04362
3 | YES | 98.52 | 4.175 | 0.014142 | 0.012 | 0.012503 | 0.00050331
3 | NO | 74.14 | 4.692 | 0 | -0.116 | 0.01267 | 0.12867
3 | NO | 48.5 | 5.177 | 0.062226 | -0.093 | 0.012826 | 0.10583
3 | NO | 18 | 6.49 | 0 | 0.399 | 0.013249 | -0.38575
3 | YES | 4.505 | 5.9945 | 0.0021212 | 0.0185 | 0.01309 | -0.0054105
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Vs Press
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.059537 |  | X | CALC Y
m= | -1.7512e-05 | 1.365e-05 |  | Std Dev of Resid |  | 0.036298 |  | 4.48 | 0.018979
b= | 0.019057 | 0.0086951 |  | Resid Sum of Squares |  | 0.034256 |  | 2002.01 | -0.016001
# of Values Extracted = |  |  | 36
# of Values Used in Fit = |  |  | 28
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 184.01 | 1.885 | 0 | 0.019 | 0.015835 | -0.0031649 |  | 184.01 | 0.019
1 | YES | 174.01 | 1.939 | 0 | 0.01 | 0.01601 | 0.0060102 |  | 174.01 | 0.01
1 | YES | 123.99 | 2.59 | 0 | 0.049 | 0.016886 | -0.032114 |  | 123.99 | 0.049
1 | NO | 99.17 | 3.152 | 0 | 0.163 | 0.017321 | -0.14568 |  | 74.01 | -0.0090001
1 | YES | 74.01 | 3.878 | 0 | -0.0090001 | 0.017761 | 0.026761 |  | 50 | 0.093
1 | YES | 50 | 4.585 | 0 | 0.093 | 0.018182 | -0.074818 |  | 19.99 | 0.015
1 | YES | 19.99 | 5.379 | 0 | 0.015 | 0.018707 | 0.003707 |  | 8.99 | -0.033
1 | YES | 8.99 | 6.119 | 0 | -0.033 | 0.0189 | 0.0519 |  | 4.49 | -0.0275
1 | YES | 4.49 | 6.0775 | 0.014849 | -0.0275 | 0.018979 | 0.046479 |  | 987.265 | -0.0085
2 | YES | 987.265 | 0.3315 | 0.0035355 | -0.0085 | 0.0017686 | 0.010269 |  | 801 | 0.002
2 | YES | 801 | 0.338 | 0 | 0.002 | 0.0050304 | 0.0030304 |  | 596.33 | 0.008
2 | YES | 596.33 | 0.431 | 0 | 0.008 | 0.0086146 | 0.00061457 |  | 399.02 | 0.052
2 | YES | 399.02 | 1.012 | 0 | 0.052 | 0.01207 | -0.03993 |  | 299 | 0.051
2 | YES | 299 | 1.38 | 0 | 0.051 | 0.013821 | -0.037179 |  | 97.98 | 0.091
2 | NO | 199 | 2.733 | 0 | 0.279 | 0.015573 | -0.26343 |  | 73.99 | 0.00099993
2 | NO | 149.02 | 3.478 | 0 | 0.116 | 0.016448 | -0.099552 |  | 48.9967 | -0.043333
2 | YES | 97.98 | 6.404 | 0 | 0.091 | 0.017342 | -0.073658 |  | 20 | 0.057
2 | YES | 73.99 | 6.644 | 0 | 0.00099993 | 0.017762 | 0.016762 |  | 4.48 | -0.0465
2 | YES | 48.9967 | 6.9767 | 0.027301 | -0.043333 | 0.018199 | 0.061532 |  | 2002.01 | -0.011
2 | YES | 20 | 6.973 | 0 | 0.057 | 0.018707 | -0.038293 |  | 1498.99 | -0.017
2 | YES | 4.48 | 5.9425 | 0.0021212 | -0.0465 | 0.018979 | 0.065479 |  | 1248 | -0.018
3 | YES | 2002.01 | 1.359 | 0 | -0.011 | -0.016001 | -0.0050015 |  | 798 | -0.009
3 | YES | 1498.99 | 0.64 | 0 | -0.017 | -0.0071927 | 0.0098073 |  | 597.01 | 0.038
3 | YES | 1248 | 0.385 | 0 | -0.018 | -0.0027974 | 0.015203 |  | 398.02 | -0.003
3 | NO | 998 | 0.243 | 0 | -0.008 | 0.0015806 | 0.0095806 |  | 198.97 | -0.0050001
3 | YES | 798 | 0.305 | 0 | -0.009 | 0.0050829 | 0.014083 |  | 149 | 0.056
3 | YES | 597.01 | 0.654 | 0 | 0.038 | 0.0086026 | -0.029397 |  | 98.52 | 0.012
3 | YES | 398.02 | 1.222 | 0 | -0.003 | 0.012087 | 0.015087 |  | 4.505 | 0.0185
3 | NO | 299.99 | 2.019 | 0 | 0.118 | 0.013804 | -0.1042
3 | YES | 198.97 | 3.336 | 0 | -0.0050001 | 0.015573 | 0.020573
3 | YES | 149 | 3.791 | 0 | 0.056 | 0.016448 | -0.039552
3 | YES | 98.52 | 4.175 | 0.014142 | 0.012 | 0.017332 | 0.005332
3 | NO | 74.14 | 4.692 | 0 | -0.116 | 0.017759 | 0.13376
3 | NO | 48.5 | 5.177 | 0.062226 | -0.093 | 0.018208 | 0.11121
3 | NO | 18 | 6.49 | 0 | 0.399 | 0.018742 | -0.38026
3 | YES | 4.505 | 5.9945 | 0.0021212 | 0.0185 | 0.018978 | 0.00047819
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
NO
YES
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE