## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2025/06/25 17:16:38 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL_BOT | Fluor_CTD |  | Fluor_CTD - CHL_BOT
Comp 2 | CHL_BOT | Fluorescence_URU_Wetlabs_ECO-AFL |  | Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL_BOT | Fluor_CTD | Fluor_CTD | (S-P) | CHL_BOT | Fluorescence_URU_Wetlabs_ECO-AFL | Fluorescence_URU_Wetlabs_ECO-AFL | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2024-041-0006.mrg | 2024-041-0006.sam | 241 | 24.736 | 24.7362 | 0.39124 | 0.00015259 | 1.03 | 1.2436 | 0.014172 | 0.21358 | 1.03 | 1.3255 | 0.14819 | 0.29548
2024-041-0006.mrg | 2024-041-0006.sam | 241 | 5.061 | 5.0615 | 0.32256 | 0.00048542 | 0.38 | 0.8022 | 0.0091384 | 0.4222 | 0.38 | 0.82805 | 0.027898 | 0.44805
2024-041-0008.mrg | 2024-041-0008.sam | 241 | 20.639 | 20.6391 | 0.32223 | 5.3406e-05 | 2.45 | 5.0004 | 0.036175 | 2.5504 | 2.45 | 5.0171 | 0.20645 | 2.5671
2024-041-0008.mrg | 2024-041-0008.sam | 241 | 5.784 | 5.7839 | 0.24567 | -0.00012875 | 0.42 | 0.8923 | 0.0073492 | 0.4723 | 0.42 | 0.9641 | 0.044645 | 0.5441
2024-041-0011.mrg | 2024-041-0011.sam | 241 | 21.846 | 21.8456 | 0.17063 | -0.0004158 | 0.7 | 0.8707 | 0.016802 | 0.1707 | 0.7 | 1.0579 | 0.11936 | 0.35791
2024-041-0011.mrg | 2024-041-0011.sam | 241 | 5.906 | 5.9057 | 0.33272 | -0.000278 | 0.57 | 0.92539 | 0.020458 | 0.35539 | 0.57 | 1.0153 | 0.080675 | 0.44527
2024-041-0013.mrg | 2024-041-0013.sam | 241 | 20.169 | 20.1688 | 0.1856 | -0.00024605 | 1.07 | 1.106 | 0.037971 | 0.036025 | 1.07 | 1.2597 | 0.078404 | 0.18975
2024-041-0013.mrg | 2024-041-0013.sam | 241 | 5.733 | 5.733 | 0.070887 | 2.0981e-05 | 0.6 | 1.0975 | 0.087688 | 0.4975 | 0.6 | 1.3057 | 0.1444 | 0.70575
2024-041-0014.mrg | 2024-041-0014.sam | 241 | 51.161 | 51.1608 | 0.55393 | -0.00023651 | 0.05 | 0.086954 | 0.0088078 | 0.036954 | 0.05 | 0.06649 | 0.011146 | 0.01649
2024-041-0014.mrg | 2024-041-0014.sam | 241 | 21.292 | 21.2918 | 0.18621 | -0.00015259 | 0.74 | 1.4716 | 0.036033 | 0.73163 | 0.74 | 1.6079 | 0.086146 | 0.86787
2024-041-0014.mrg | 2024-041-0014.sam | 241 | 10.536 | 10.5355 | 0.11086 | -0.00048542 | 0.53 | 1.263 | 0.034779 | 0.73295 | 0.53 | 1.2586 | 0.057485 | 0.72859
2024-041-0016.mrg | 2024-041-0016.sam | 241 | 20.816 | 20.8159 | 0.070409 | -0.00014114 | 0.94 | 1.723 | 0.26212 | 0.78301 | 0.94 | 2.417 | 0.16772 | 1.477
2024-041-0016.mrg | 2024-041-0016.sam | 241 | 5.004 | 5.0036 | 0.10275 | -0.00043583 | 0.62 | 1.1622 | 0.015003 | 0.54219 | 0.62 | 1.3712 | 0.11279 | 0.75122
2024-041-0018.mrg | 2024-041-0018.sam | 241 | 21.302 | 21.3024 | 0.19889 | 0.00037766 | 1.84 | 2.7752 | 0.022951 | 0.93517 | 1.84 | 3.0632 | 0.15057 | 1.2232
2024-041-0018.mrg | 2024-041-0018.sam | 241 | 5.866 | 5.8663 | 0.11909 | 0.00029039 | 0.52 | 1.4081 | 0.037524 | 0.88813 | 0.52 | 1.1361 | 0.032138 | 0.61613
2024-041-0020.mrg | 2024-041-0020.sam | 241 | 20.502 | 20.502 | 0.19989 | -1.7166e-05 | 1.4 | 2.0676 | 0.021066 | 0.66758 | 1.4 | 2.2961 | 0.13426 | 0.89615
2024-041-0020.mrg | 2024-041-0020.sam | 241 | 5.435 | 5.4345 | 0.054063 | -0.00049353 | 0.59 | 1.2407 | 0.010793 | 0.65068 | 0.59 | 1.3678 | 0.032604 | 0.77777
2024-041-0022.mrg | 2024-041-0022.sam | 241 | 21.099 | 21.0987 | 0.20108 | -0.00032043 | 1.45 | 2.0042 | 0.021613 | 0.55422 | 1.45 | 2.2782 | 0.12505 | 0.82817
2024-041-0022.mrg | 2024-041-0022.sam | 241 | 5.501 | 5.5009 | 0.10748 | -6.1989e-05 | 1.29 | 2.3845 | 0.013873 | 1.0945 | 1.29 | 2.8889 | 0.15245 | 1.5989
2024-041-0025.mrg | 2024-041-0025.sam | 241 | 20.267 | 20.2673 | 0.35881 | 0.00030708 | 0.82 | 0.98092 | 0.017113 | 0.16092 | 0.82 | 1.0237 | 0.11489 | 0.20371
2024-041-0025.mrg | 2024-041-0025.sam | 241 | 5.444 | 5.4442 | 0.26893 | 0.00022411 | 0.92 | 1.6853 | 0.013876 | 0.76532 | 0.92 | 1.7438 | 0.051399 | 0.82383
2024-041-0029.mrg | 2024-041-0029.sam | 241 | 20.479 | 20.479 | 0.15232 | -3.8147e-06 | 1.2 | 1.2542 | 0.018703 | 0.054145 | 1.2 | 1.3345 | 0.041589 | 0.13451
2024-041-0029.mrg | 2024-041-0029.sam | 241 | 4.548 | 4.548 | 0.23455 | 4.2915e-06 | 0.71 | 1.5169 | 0.020379 | 0.80694 | 0.71 | 1.4338 | 0.030086 | 0.72383
2024-041-0031.mrg | 2024-041-0031.sam | 241 | 20.441 | 20.4411 | 0.35738 | 0.00011635 | 1.3 | 1.8259 | 0.023049 | 0.52588 | 1.3 | 1.9864 | 0.18938 | 0.68635
2024-041-0031.mrg | 2024-041-0031.sam | 241 | 5.235 | 5.2347 | 0.14341 | -0.00033188 | 0.9 | 1.8261 | 0.014492 | 0.92614 | 0.9 | 1.7481 | 0.039257 | 0.84811
2024-041-0033.mrg | 2024-041-0033.sam | 241 | 20.595 | 20.5953 | 0.23474 | 0.00032425 | 1.14 | 1.7364 | 0.016147 | 0.59637 | 1.14 | 1.9822 | 0.11843 | 0.84224
2024-041-0033.mrg | 2024-041-0033.sam | 241 | 5.223 | 5.2227 | 0.26168 | -0.00026131 | 0.88 | 1.5968 | 0.017421 | 0.71676 | 0.88 | 1.5992 | 0.070549 | 0.71924
2024-041-0035.mrg | 2024-041-0035.sam | 241 | 20.658 | 20.6579 | 0.13524 | -8.3923e-05 | 0.87 | 1.0471 | 0.055129 | 0.17705 | 0.87 | 1.4067 | 0.094016 | 0.53667
2024-041-0035.mrg | 2024-041-0035.sam | 241 | 5.354 | 5.3544 | 0.29427 | 0.00039005 | 0.59 | 0.98766 | 0.010158 | 0.39766 | 0.59 | 1.0796 | 0.07485 | 0.48961
2024-041-0038.mrg | 2024-041-0038.sam | 241 | 20.687 | 20.6867 | 0.27415 | -0.00029945 | 1.51 | 2.2321 | 0.035677 | 0.72205 | 1.51 | 2.4197 | 0.15156 | 0.90973
2024-041-0038.mrg | 2024-041-0038.sam | 241 | 5.086 | 5.0857 | 0.092499 | -0.00029039 | 0.56 | 1.0399 | 0.010693 | 0.47989 | 0.56 | 1.034 | 0.01066 | 0.47401
2024-041-0043.mrg | 2024-041-0043.sam | 241 | 52.086 | 52.0864 | 0.43048 | 0.00045013 | 0.29 | 0.58861 | 0.011955 | 0.29861 | 0.29 | 0.60932 | 0.038609 | 0.31932
2024-041-0043.mrg | 2024-041-0043.sam | 241 | 20.346 | 20.3462 | 0.26746 | 0.00024796 | 0.67 | 2.3818 | 0.043067 | 1.7118 | 0.67 | 2.7024 | 0.069137 | 2.0324
2024-041-0043.mrg | 2024-041-0043.sam | 241 | 5.002 | 5.0021 | 0.40769 | 5.8174e-05 | 0.65 | 2.2523 | 0.032034 | 1.6023 | 0.65 | 2.4087 | 0.047937 | 1.7587
2024-041-0045.mrg | 2024-041-0045.sam | 241 | 50.072 | 50.0717 | 0.24564 | -0.0002594 | 0.4 | 0.94628 | 0.015776 | 0.54628 | 0.4 | 1.1285 | 0.099934 | 0.72849
2024-041-0045.mrg | 2024-041-0045.sam | 241 | 19.843 | 19.8429 | 0.34354 | -8.3923e-05 | 0.56 | 2.2197 | 0.031938 | 1.6597 | 0.56 | 2.4271 | 0.068143 | 1.8671
2024-041-0045.mrg | 2024-041-0045.sam | 241 | 4.751 | 4.7511 | 0.39613 | 8.297e-05 | 0.44 | 1.9026 | 0.03982 | 1.4626 | 0.44 | 2.0623 | 0.083415 | 1.6223
2024-041-0048.mrg | 2024-041-0048.sam | 241 | 50.105 | 50.105 | 0.32218 | 4.9591e-05 | 0.34 | 1.1143 | 0.022599 | 0.77431 | 0.34 | 1.2905 | 0.075077 | 0.95047
2024-041-0048.mrg | 2024-041-0048.sam | 92 | 20.924 | 21.1254 | 0.59844 | 0.20137 | 0.61 | 2.5523 | 0.039241 | 1.9423 | 0.61 | 2.6415 | 0.058268 | 2.0315
2024-041-0048.mrg | 2024-041-0048.sam | 161 | 5.766 | 5.8291 | 0.55308 | 0.063087 | 0.51 | 2.4441 | 0.036742 | 1.9341 | 0.51 | 2.6733 | 0.10139 | 2.1633
2024-041-0049.mrg | 2024-041-0049.sam | 241 | 51.153 | 51.1534 | 0.36496 | 0.00039291 | 0.37 | 0.85141 | 0.016527 | 0.48141 | 0.37 | 0.98469 | 0.092155 | 0.61469
2024-041-0049.mrg | 2024-041-0049.sam | 156 | 20.335 | 20.3557 | 0.44493 | 0.020668 | 0.65 | 2.6757 | 0.045205 | 2.0257 | 0.65 | 2.9703 | 0.16586 | 2.3203
2024-041-0049.mrg | 2024-041-0049.sam | 241 | 5.09 | 5.0902 | 0.26109 | 0.00020742 | 0.65 | 2.7374 | 0.064885 | 2.0874 | 0.65 | 3.016 | 0.038846 | 2.366
2024-041-0052.mrg | 2024-041-0052.sam | 241 | 50.88 | 50.8797 | 0.54458 | -0.00035095 | 0.45 | 0.98886 | 0.018473 | 0.53885 | 0.45 | 1.0516 | 0.086041 | 0.60159
2024-041-0052.mrg | 2024-041-0052.sam | 241 | 21.027 | 21.0275 | 0.63157 | 0.00048065 | 0.77 | 2.9768 | 0.070002 | 2.2068 | 0.77 | 3.1458 | 0.11411 | 2.3758
2024-041-0052.mrg | 2024-041-0052.sam | 241 | 4.442 | 4.4419 | 0.18213 | -5.8174e-05 | 0.23 | 2.9687 | 0.055659 | 2.7387 | 0.23 | 3.2284 | 0.049372 | 2.9984
2024-041-0054.mrg | 2024-041-0054.sam | 241 | 51.08 | 51.0798 | 0.1643 | -0.00017548 | 0.26 | 0.49061 | 0.018671 | 0.23061 | 0.26 | 0.50603 | 0.01969 | 0.24603
2024-041-0054.mrg | 2024-041-0054.sam | 223 | 20.942 | 20.8566 | 0.53974 | -0.08544 | 1.15 | 3.1051 | 0.046087 | 1.9551 | 1.15 | 3.3014 | 0.24254 | 2.1514
2024-041-0054.mrg | 2024-041-0054.sam | 241 | 6.606 | 6.6061 | 0.1772 | 0.00010776 | 0.62 | 2.2148 | 0.045201 | 1.5948 | 0.62 | 2.4938 | 0.090416 | 1.8738
2024-041-0056.mrg | 2024-041-0056.sam | 241 | 50.806 | 50.8057 | 0.40817 | -0.00025177 | 0.37 | 1.0394 | 0.020262 | 0.66942 | 0.37 | 1.2242 | 0.08388 | 0.85419
2024-041-0056.mrg | 2024-041-0056.sam | 241 | 20.478 | 20.478 | 0.36985 | 7.6294e-06 | 0.68 | 2.5541 | 0.052599 | 1.8741 | 0.68 | 2.9143 | 0.092455 | 2.2343
2024-041-0056.mrg | 2024-041-0056.sam | 241 | 5.846 | 5.8463 | 0.29832 | 0.0002985 | 0.59 | 2.1499 | 0.044583 | 1.5599 | 0.59 | 2.4015 | 0.049851 | 1.8115
2024-041-0062.mrg | 2024-041-0062.sam | 221 | 49.576 | 49.6833 | 0.47307 | 0.10731 | 0.29 | 0.4151 | 0.020592 | 0.1251 | 0.29 | 0.37411 | 0.033321 | 0.084113
2024-041-0062.mrg | 2024-041-0062.sam | 241 | 20.46 | 20.4597 | 0.51704 | -0.00034714 | 1.32 | 2.3963 | 0.022725 | 1.0763 | 1.32 | 2.1785 | 0.044253 | 0.85855
2024-041-0062.mrg | 2024-041-0062.sam | 241 | 4.64 | 4.6404 | 0.60183 | 0.00039005 | 1.43 | 2.385 | 0.015977 | 0.95497 | 1.43 | 2.1185 | 0.020663 | 0.68849
2024-041-0064.mrg | 2024-041-0064.sam | 138 | 52.948 | 52.8094 | 0.58357 | -0.13862 | 0.2 | 0.29813 | 0.007377 | 0.09813 | 0.2 | 0.26155 | 0.017365 | 0.061551
2024-041-0064.mrg | 2024-041-0064.sam | 170 | 21.643 | 21.4509 | 0.47766 | -0.19211 | 0.62 | 0.87035 | 0.012966 | 0.25035 | 0.62 | 0.79591 | 0.042306 | 0.17591
2024-041-0064.mrg | 2024-041-0064.sam | 241 | 6.027 | 6.0268 | 0.51597 | -0.00016165 | 0.91 | 1.3373 | 0.045185 | 0.42725 | 0.91 | 1.2205 | 0.070649 | 0.31051
2024-041-0066.mrg | 2024-041-0066.sam | 209 | 48.641 | 48.5451 | 0.59157 | -0.095856 | 0.56 | 0.90632 | 0.038923 | 0.34632 | 0.56 | 0.92944 | 0.11835 | 0.36945
2024-041-0066.mrg | 2024-041-0066.sam | 158 | 19.605 | 19.526 | 0.50188 | -0.079001 | 0.36 | 1.5564 | 0.018396 | 1.1964 | 0.36 | 1.4858 | 0.10339 | 1.1258
2024-041-0066.mrg | 2024-041-0066.sam | 241 | 5.606 | 5.6056 | 0.38699 | -0.00045204 | 0.68 | 1.6579 | 0.013348 | 0.97794 | 0.68 | 1.7994 | 0.13601 | 1.1194
2024-041-0068.mrg | 2024-041-0068.sam | 241 | 51.611 | 51.6108 | 0.34565 | -0.00020218 | 0.08 | 0.13018 | 0.010823 | 0.050183 | 0.08 | 0.11339 | 0.011514 | 0.033394
2024-041-0068.mrg | 2024-041-0068.sam | 136 | 20.578 | 20.6265 | 0.57655 | 0.048487 | 1.02 | 1.9866 | 0.10232 | 0.96664 | 1.02 | 2.0488 | 0.15345 | 1.0288
2024-041-0070.mrg | 2024-041-0070.sam | 230 | 49.175 | 49.1265 | 0.58669 | -0.048481 | 0.31 | 0.38505 | 0.010981 | 0.075048 | 0.31 | 0.44047 | 0.056611 | 0.13047
2024-041-0070.mrg | 2024-041-0070.sam | 241 | 20.407 | 20.4073 | 0.62254 | 0.00034142 | 1.55 | 3.3136 | 0.0702 | 1.7636 | 1.55 | 3.3139 | 0.12879 | 1.7639
2024-041-0070.mrg | 2024-041-0070.sam | 241 | 5.192 | 5.1924 | 0.24725 | 0.00038576 | 1.2 | 3.0615 | 0.019741 | 1.8615 | 1.2 | 3.2414 | 0.14032 | 2.0414
2024-041-0072.mrg | 2024-041-0072.sam | 203 | 51.281 | 51.3055 | 0.48085 | 0.024464 | 0.17 | 0.24792 | 0.0063005 | 0.077921 | 0.17 | 0.24304 | 0.028101 | 0.073039
2024-041-0072.mrg | 2024-041-0072.sam | 241 | 20.279 | 20.2791 | 0.49111 | 9.5367e-05 | 0.95 | 1.1925 | 0.089399 | 0.24248 | 0.95 | 1.1398 | 0.17226 | 0.18984
2024-041-0072.mrg | 2024-041-0072.sam | 241 | 5.632 | 5.6317 | 0.29759 | -0.00033188 | 1.52 | 2.8547 | 0.069708 | 1.3347 | 1.52 | 2.8939 | 0.11895 | 1.3739
2024-041-0082.mrg | 2024-041-0082.sam | 198 | 49.209 | 48.9607 | 0.59896 | -0.2483 | 0.19 | 0.31644 | 0.013318 | 0.12644 | 0.19 | 0.28208 | 0.024265 | 0.092081
2024-041-0082.mrg | 2024-041-0082.sam | 141 | 19.47 | 19.3496 | 0.49621 | -0.12041 | 0.73 | 1.9016 | 0.031896 | 1.1716 | 0.73 | 1.905 | 0.10585 | 1.175
2024-041-0082.mrg | 2024-041-0082.sam | 241 | 5.327 | 5.3272 | 0.5019 | 0.00023222 | 0.43 | 1.0756 | 0.009507 | 0.6456 | 0.43 | 1.1269 | 0.053763 | 0.69686
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 29
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2024-041-0006.mrg | 2024-041-0006.sam | 12 | 13 | 2024-041-0006.mrg & 2024-041-0006.sam
2 | 2024-041-0008.mrg | 2024-041-0008.sam | 15 | 16 | 2024-041-0008.mrg & 2024-041-0008.sam
3 | 2024-041-0011.mrg | 2024-041-0011.sam | 18 | 19 | 2024-041-0011.mrg & 2024-041-0011.sam
4 | 2024-041-0013.mrg | 2024-041-0013.sam | 21 | 22 | 2024-041-0013.mrg & 2024-041-0013.sam
5 | 2024-041-0014.mrg | 2024-041-0014.sam | 24 | 26 | 2024-041-0014.mrg & 2024-041-0014.sam
6 | 2024-041-0016.mrg | 2024-041-0016.sam | 28 | 29 | 2024-041-0016.mrg & 2024-041-0016.sam
7 | 2024-041-0018.mrg | 2024-041-0018.sam | 31 | 32 | 2024-041-0018.mrg & 2024-041-0018.sam
8 | 2024-041-0020.mrg | 2024-041-0020.sam | 34 | 35 | 2024-041-0020.mrg & 2024-041-0020.sam
9 | 2024-041-0022.mrg | 2024-041-0022.sam | 37 | 38 | 2024-041-0022.mrg & 2024-041-0022.sam
10 | 2024-041-0025.mrg | 2024-041-0025.sam | 40 | 41 | 2024-041-0025.mrg & 2024-041-0025.sam
11 | 2024-041-0029.mrg | 2024-041-0029.sam | 43 | 44 | 2024-041-0029.mrg & 2024-041-0029.sam
12 | 2024-041-0031.mrg | 2024-041-0031.sam | 46 | 47 | 2024-041-0031.mrg & 2024-041-0031.sam
13 | 2024-041-0033.mrg | 2024-041-0033.sam | 49 | 50 | 2024-041-0033.mrg & 2024-041-0033.sam
14 | 2024-041-0035.mrg | 2024-041-0035.sam | 52 | 53 | 2024-041-0035.mrg & 2024-041-0035.sam
15 | 2024-041-0038.mrg | 2024-041-0038.sam | 55 | 56 | 2024-041-0038.mrg & 2024-041-0038.sam
16 | 2024-041-0043.mrg | 2024-041-0043.sam | 58 | 60 | 2024-041-0043.mrg & 2024-041-0043.sam
17 | 2024-041-0045.mrg | 2024-041-0045.sam | 62 | 64 | 2024-041-0045.mrg & 2024-041-0045.sam
18 | 2024-041-0048.mrg | 2024-041-0048.sam | 66 | 68 | 2024-041-0048.mrg & 2024-041-0048.sam
19 | 2024-041-0049.mrg | 2024-041-0049.sam | 70 | 72 | 2024-041-0049.mrg & 2024-041-0049.sam
20 | 2024-041-0052.mrg | 2024-041-0052.sam | 74 | 76 | 2024-041-0052.mrg & 2024-041-0052.sam
21 | 2024-041-0054.mrg | 2024-041-0054.sam | 78 | 80 | 2024-041-0054.mrg & 2024-041-0054.sam
22 | 2024-041-0056.mrg | 2024-041-0056.sam | 82 | 84 | 2024-041-0056.mrg & 2024-041-0056.sam
23 | 2024-041-0062.mrg | 2024-041-0062.sam | 86 | 88 | 2024-041-0062.mrg & 2024-041-0062.sam
24 | 2024-041-0064.mrg | 2024-041-0064.sam | 90 | 92 | 2024-041-0064.mrg & 2024-041-0064.sam
25 | 2024-041-0066.mrg | 2024-041-0066.sam | 94 | 96 | 2024-041-0066.mrg & 2024-041-0066.sam
26 | 2024-041-0068.mrg | 2024-041-0068.sam | 98 | 99 | 2024-041-0068.mrg & 2024-041-0068.sam
27 | 2024-041-0070.mrg | 2024-041-0070.sam | 101 | 103 | 2024-041-0070.mrg & 2024-041-0070.sam
28 | 2024-041-0072.mrg | 2024-041-0072.sam | 105 | 107 | 2024-041-0072.mrg & 2024-041-0072.sam
29 | 2024-041-0082.mrg | 2024-041-0082.sam | 109 | 111 | 2024-041-0082.mrg & 2024-041-0082.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Fluor_CTD - CHL_BOT) | Pressure | 29
2 | (Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT) | Pressure | 29

## Fit_1
Calculation of Linear Least Squares Fit For
(Fluor_CTD - CHL_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Fluor_CTD - CHL_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.17091 |  | X | CALC Y
m= | -0.016752 | 0.0044101 |  | Std Dev of Resid |  | 0.6224 |  | 4.4419 | 1.1442
b= | 1.2186 | 0.11837 |  | Resid Sum of Squares |  | 27.1166 |  | 52.8094 | 0.33388
# of Values Extracted = |  |  | 72
# of Values Used in Fit = |  |  | 72
File | Use | Pressure | Fluor_CTD | Fluor_CTD | Diff (Fluor_CTD - CHL_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | File Pair | Pressure | CHL | Seapoint Fl | ECO FL | CHL | SP/CHL | ECO/CHL
1 | YES | 24.7362 | 1.2436 | 0.014172 | 0.21358 | 0.80417 | 0.59059 |  | 24.7362 | 0.21358 | 1 | 24.7362 | 1.03 | 1.2436 | 1.3255 | 1.03 | 1.2074 | 1.2869
1 | YES | 5.0615 | 0.8022 | 0.0091384 | 0.4222 | 1.1338 | 0.71158 |  | 5.0615 | 0.4222 | 1 | 5.0615 | 0.38 | 0.8022 | 0.82805 | 0.38 | 2.1111 | 2.1791
2 | YES | 20.6391 | 5.0004 | 0.036175 | 2.5504 | 0.87281 | -1.6776 |  | 20.6391 | 2.5504 | 2 | 20.6391 | 2.45 | 5.0004 | 5.0171 | 2.45 | 2.041 | 2.0478
2 | YES | 5.7839 | 0.8923 | 0.0073492 | 0.4723 | 1.1217 | 0.64937 |  | 5.7839 | 0.4723 | 2 | 5.7839 | 0.42 | 0.8923 | 0.9641 | 0.42 | 2.1245 | 2.2955
3 | YES | 21.8456 | 0.8707 | 0.016802 | 0.1707 | 0.8526 | 0.6819 |  | 21.8456 | 0.1707 | 3 | 21.8456 | 0.7 | 0.8707 | 1.0579 | 0.7 | 1.2439 | 1.5113
3 | YES | 5.9057 | 0.92539 | 0.020458 | 0.35539 | 1.1196 | 0.76424 |  | 5.9057 | 0.35539 | 3 | 5.9057 | 0.57 | 0.92539 | 1.0153 | 0.57 | 1.6235 | 1.7812
4 | YES | 20.1688 | 1.106 | 0.037971 | 0.036025 | 0.88069 | 0.84467 |  | 20.1688 | 0.036025 | 4 | 20.1688 | 1.07 | 1.106 | 1.2597 | 1.07 | 1.0337 | 1.1773
4 | YES | 5.733 | 1.0975 | 0.087688 | 0.4975 | 1.1225 | 0.62503 |  | 5.733 | 0.4975 | 4 | 5.733 | 0.6 | 1.0975 | 1.3057 | 0.6 | 1.8292 | 2.1762
5 | YES | 51.1608 | 0.086954 | 0.0088078 | 0.036954 | 0.3615 | 0.32454 |  | 51.1608 | 0.036954 | 5 | 51.1608 | 0.05 | 0.086954 | 0.06649 | 0.05 | 1.7391 | 1.3298
5 | YES | 21.2918 | 1.4716 | 0.036033 | 0.73163 | 0.86188 | 0.13025 |  | 21.2918 | 0.73163 | 5 | 21.2918 | 0.74 | 1.4716 | 1.6079 | 0.74 | 1.9887 | 2.1728
5 | YES | 10.5355 | 1.263 | 0.034779 | 0.73295 | 1.0421 | 0.30913 |  | 10.5355 | 0.73295 | 5 | 10.5355 | 0.53 | 1.263 | 1.2586 | 0.53 | 2.3829 | 2.3747
6 | YES | 20.8159 | 1.723 | 0.26212 | 0.78301 | 0.86985 | 0.086841 |  | 20.8159 | 0.78301 | 6 | 20.8159 | 0.94 | 1.723 | 2.417 | 0.94 | 1.833 | 2.5713
6 | YES | 5.0036 | 1.1622 | 0.015003 | 0.54219 | 1.1347 | 0.59255 |  | 5.0036 | 0.54219 | 6 | 5.0036 | 0.62 | 1.1622 | 1.3712 | 0.62 | 1.8745 | 2.2116
7 | YES | 21.3024 | 2.7752 | 0.022951 | 0.93517 | 0.8617 | -0.073471 |  | 21.3024 | 0.93517 | 7 | 21.3024 | 1.84 | 2.7752 | 3.0632 | 1.84 | 1.5082 | 1.6648
7 | YES | 5.8663 | 1.4081 | 0.037524 | 0.88813 | 1.1203 | 0.23216 |  | 5.8663 | 0.88813 | 7 | 5.8663 | 0.52 | 1.4081 | 1.1361 | 0.52 | 2.7079 | 2.1848
8 | YES | 20.502 | 2.0676 | 0.021066 | 0.66758 | 0.87511 | 0.20753 |  | 20.502 | 0.66758 | 8 | 20.502 | 1.4 | 2.0676 | 2.2961 | 1.4 | 1.4768 | 1.6401
8 | YES | 5.4345 | 1.2407 | 0.010793 | 0.65068 | 1.1275 | 0.47685 |  | 5.4345 | 0.65068 | 8 | 5.4345 | 0.59 | 1.2407 | 1.3678 | 0.59 | 2.1028 | 2.3182
9 | YES | 21.0987 | 2.0042 | 0.021613 | 0.55422 | 0.86511 | 0.31089 |  | 21.0987 | 0.55422 | 9 | 21.0987 | 1.45 | 2.0042 | 2.2782 | 1.45 | 1.3822 | 1.5712
9 | YES | 5.5009 | 2.3845 | 0.013873 | 1.0945 | 1.1264 | 0.031923 |  | 5.5009 | 1.0945 | 9 | 5.5009 | 1.29 | 2.3845 | 2.8889 | 1.29 | 1.8484 | 2.2394
10 | YES | 20.2673 | 0.98092 | 0.017113 | 0.16092 | 0.87904 | 0.71812 |  | 20.2673 | 0.16092 | 10 | 20.2673 | 0.82 | 0.98092 | 1.0237 | 0.82 | 1.1962 | 1.2484
10 | YES | 5.4442 | 1.6853 | 0.013876 | 0.76532 | 1.1274 | 0.36204 |  | 5.4442 | 0.76532 | 10 | 5.4442 | 0.92 | 1.6853 | 1.7438 | 0.92 | 1.8319 | 1.8955
11 | YES | 20.479 | 1.2542 | 0.018703 | 0.054145 | 0.87549 | 0.82135 |  | 20.479 | 0.054145 | 11 | 20.479 | 1.2 | 1.2542 | 1.3345 | 1.2 | 1.0451 | 1.1121
11 | YES | 4.548 | 1.5169 | 0.020379 | 0.80694 | 1.1424 | 0.33544 |  | 4.548 | 0.80694 | 11 | 4.548 | 0.71 | 1.5169 | 1.4338 | 0.71 | 2.1365 | 2.0195
12 | YES | 20.4411 | 1.8259 | 0.023049 | 0.52588 | 0.87613 | 0.35025 |  | 20.4411 | 0.52588 | 12 | 20.4411 | 1.3 | 1.8259 | 1.9864 | 1.3 | 1.4045 | 1.528
12 | YES | 5.2347 | 1.8261 | 0.014492 | 0.92614 | 1.1309 | 0.20473 |  | 5.2347 | 0.92614 | 12 | 5.2347 | 0.9 | 1.8261 | 1.7481 | 0.9 | 2.029 | 1.9423
13 | YES | 20.5953 | 1.7364 | 0.016147 | 0.59637 | 0.87354 | 0.27717 |  | 20.5953 | 0.59637 | 13 | 20.5953 | 1.14 | 1.7364 | 1.9822 | 1.14 | 1.5231 | 1.7388
13 | YES | 5.2227 | 1.5968 | 0.017421 | 0.71676 | 1.1311 | 0.41431 |  | 5.2227 | 0.71676 | 13 | 5.2227 | 0.88 | 1.5968 | 1.5992 | 0.88 | 1.8145 | 1.8173
14 | YES | 20.6579 | 1.0471 | 0.055129 | 0.17705 | 0.8725 | 0.69544 |  | 20.6579 | 0.17705 | 14 | 20.6579 | 0.87 | 1.0471 | 1.4067 | 0.87 | 1.2035 | 1.6169
14 | YES | 5.3544 | 0.98766 | 0.010158 | 0.39766 | 1.1289 | 0.73121 |  | 5.3544 | 0.39766 | 14 | 5.3544 | 0.59 | 0.98766 | 1.0796 | 0.59 | 1.674 | 1.8298
15 | YES | 20.6867 | 2.2321 | 0.035677 | 0.72205 | 0.87201 | 0.14996 |  | 20.6867 | 0.72205 | 15 | 20.6867 | 1.51 | 2.2321 | 2.4197 | 1.51 | 1.4782 | 1.6025
15 | YES | 5.0857 | 1.0399 | 0.010693 | 0.47989 | 1.1334 | 0.65348 |  | 5.0857 | 0.47989 | 15 | 5.0857 | 0.56 | 1.0399 | 1.034 | 0.56 | 1.857 | 1.8465
16 | YES | 52.0864 | 0.58861 | 0.011955 | 0.29861 | 0.34599 | 0.047377 |  | 52.0864 | 0.29861 | 16 | 52.0864 | 0.29 | 0.58861 | 0.60932 | 0.29 | 2.0297 | 2.1011
16 | YES | 20.3462 | 2.3818 | 0.043067 | 1.7118 | 0.87772 | -0.83406 |  | 20.3462 | 1.7118 | 16 | 20.3462 | 0.67 | 2.3818 | 2.7024 | 0.67 | 3.5549 | 4.0334
16 | YES | 5.0021 | 2.2523 | 0.032034 | 1.6023 | 1.1348 | -0.46751 |  | 5.0021 | 1.6023 | 16 | 5.0021 | 0.65 | 2.2523 | 2.4087 | 0.65 | 3.465 | 3.7057
17 | YES | 50.0717 | 0.94628 | 0.015776 | 0.54628 | 0.37974 | -0.16654 |  | 50.0717 | 0.54628 | 17 | 50.0717 | 0.4 | 0.94628 | 1.1285 | 0.4 | 2.3657 | 2.8212
17 | YES | 19.8429 | 2.2197 | 0.031938 | 1.6597 | 0.88615 | -0.77356 |  | 19.8429 | 1.6597 | 17 | 19.8429 | 0.56 | 2.2197 | 2.4271 | 0.56 | 3.9638 | 4.3341
17 | YES | 4.7511 | 1.9026 | 0.03982 | 1.4626 | 1.139 | -0.32365 |  | 4.7511 | 1.4626 | 17 | 4.7511 | 0.44 | 1.9026 | 2.0623 | 0.44 | 4.3242 | 4.6871
18 | YES | 50.105 | 1.1143 | 0.022599 | 0.77431 | 0.37918 | -0.39513 |  | 50.105 | 0.77431 | 18 | 50.105 | 0.34 | 1.1143 | 1.2905 | 0.34 | 3.2774 | 3.7955
18 | YES | 21.1254 | 2.5523 | 0.039241 | 1.9423 | 0.86466 | -1.0776 |  | 21.1254 | 1.9423 | 18 | 21.1254 | 0.61 | 2.5523 | 2.6415 | 0.61 | 4.184 | 4.3304
18 | YES | 5.8291 | 2.4441 | 0.036742 | 1.9341 | 1.1209 | -0.81317 |  | 5.8291 | 1.9341 | 18 | 5.8291 | 0.51 | 2.4441 | 2.6733 | 0.51 | 4.7923 | 5.2418
19 | YES | 51.1534 | 0.85141 | 0.016527 | 0.48141 | 0.36162 | -0.11979 |  | 51.1534 | 0.48141 | 19 | 51.1534 | 0.37 | 0.85141 | 0.98469 | 0.37 | 2.3011 | 2.6613
19 | YES | 20.3557 | 2.6757 | 0.045205 | 2.0257 | 0.87756 | -1.1482 |  | 20.3557 | 2.0257 | 19 | 20.3557 | 0.65 | 2.6757 | 2.9703 | 0.65 | 4.1165 | 4.5696
19 | YES | 5.0902 | 2.7374 | 0.064885 | 2.0874 | 1.1333 | -0.95411 |  | 5.0902 | 2.0874 | 19 | 5.0902 | 0.65 | 2.7374 | 3.016 | 0.65 | 4.2114 | 4.64
20 | YES | 50.8797 | 0.98886 | 0.018473 | 0.53885 | 0.36621 | -0.17265 |  | 50.8797 | 0.53885 | 20 | 50.8797 | 0.45 | 0.98886 | 1.0516 | 0.45 | 2.1975 | 2.3369
20 | YES | 21.0275 | 2.9768 | 0.070002 | 2.2068 | 0.8663 | -1.3405 |  | 21.0275 | 2.2068 | 20 | 21.0275 | 0.77 | 2.9768 | 3.1458 | 0.77 | 3.8659 | 4.0854
20 | YES | 4.4419 | 2.9687 | 0.055659 | 2.7387 | 1.1442 | -1.5946 |  | 4.4419 | 2.7387 | 20 | 4.4419 | 0.23 | 2.9687 | 3.2284 | 0.23 | 12.9075 | 14.0364
21 | YES | 51.0798 | 0.49061 | 0.018671 | 0.23061 | 0.36285 | 0.13225 |  | 51.0798 | 0.23061 | 21 | 51.0798 | 0.26 | 0.49061 | 0.50603 | 0.26 | 1.8869 | 1.9463
21 | YES | 20.8566 | 3.1051 | 0.046087 | 1.9551 | 0.86917 | -1.086 |  | 20.8566 | 1.9551 | 21 | 20.8566 | 1.15 | 3.1051 | 3.3014 | 1.15 | 2.7001 | 2.8708
21 | YES | 6.6061 | 2.2148 | 0.045201 | 1.5948 | 1.1079 | -0.48692 |  | 6.6061 | 1.5948 | 21 | 6.6061 | 0.62 | 2.2148 | 2.4938 | 0.62 | 3.5723 | 4.0223
22 | YES | 50.8057 | 1.0394 | 0.020262 | 0.66942 | 0.36745 | -0.30197 |  | 50.8057 | 0.66942 | 22 | 50.8057 | 0.37 | 1.0394 | 1.2242 | 0.37 | 2.8092 | 3.3086
22 | YES | 20.478 | 2.5541 | 0.052599 | 1.8741 | 0.87551 | -0.99862 |  | 20.478 | 1.8741 | 22 | 20.478 | 0.68 | 2.5541 | 2.9143 | 0.68 | 3.7561 | 4.2857
22 | YES | 5.8463 | 2.1499 | 0.044583 | 1.5599 | 1.1206 | -0.43923 |  | 5.8463 | 1.5599 | 22 | 5.8463 | 0.59 | 2.1499 | 2.4015 | 0.59 | 3.6438 | 4.0703
23 | YES | 49.6833 | 0.4151 | 0.020592 | 0.1251 | 0.38625 | 0.26114 |  | 49.6833 | 0.1251 | 23 | 49.6833 | 0.29 | 0.4151 | 0.37411 | 0.29 | 1.4314 | 1.29
23 | YES | 20.4597 | 2.3963 | 0.022725 | 1.0763 | 0.87582 | -0.20045 |  | 20.4597 | 1.0763 | 23 | 20.4597 | 1.32 | 2.3963 | 2.1785 | 1.32 | 1.8154 | 1.6504
23 | YES | 4.6404 | 2.385 | 0.015977 | 0.95497 | 1.1408 | 0.18586 |  | 4.6404 | 0.95497 | 23 | 4.6404 | 1.43 | 2.385 | 2.1185 | 1.43 | 1.6678 | 1.4815
24 | YES | 52.8094 | 0.29813 | 0.007377 | 0.09813 | 0.33388 | 0.23575 |  | 52.8094 | 0.09813 | 24 | 52.8094 | 0.2 | 0.29813 | 0.26155 | 0.2 | 1.4907 | 1.3078
24 | YES | 21.4509 | 0.87035 | 0.012966 | 0.25035 | 0.85921 | 0.60886 |  | 21.4509 | 0.25035 | 24 | 21.4509 | 0.62 | 0.87035 | 0.79591 | 0.62 | 1.4038 | 1.2837
24 | YES | 6.0268 | 1.3373 | 0.045185 | 0.42725 | 1.1176 | 0.69035 |  | 6.0268 | 0.42725 | 24 | 6.0268 | 0.91 | 1.3373 | 1.2205 | 0.91 | 1.4695 | 1.3412
25 | YES | 48.5451 | 0.90632 | 0.038923 | 0.86632 | 0.40532 | -0.461 | 0.04 | 48.5451 | 0.34632 | [8 empty] | Exclude from chart - CHL extremely low so ratios meaningless
25 | YES | 19.526 | 1.5564 | 0.018396 | 0.9464 | 0.89146 | -0.054942 | 0.61 | 19.526 | 1.1964 | 25 | 19.526 | 0.61 | 1.5564 | 1.4858 | 0.61 | 2.5515 | 2.4358
25 | YES | 5.6056 | 1.6579 | 0.013348 | 0.97794 | 1.1247 | 0.14672 | 0.68 | 5.6056 | 0.97794 | 25 | 5.6056 | 0.68 | 1.6579 | 1.7994 | 0.68 | 2.4381 | 2.6462
26 | YES | 51.6108 | 0.13018 | 0.010823 | 0.050183 | 0.35396 | 0.30378 |  | 51.6108 | 0.050183 | 26 | 51.6108 | 0.08 | 0.13018 | 0.11339 | 0.08 | 1.6273 | 1.4174
26 | YES | 20.6265 | 1.9866 | 0.10232 | 0.96664 | 0.87302 | -0.093618 |  | 20.6265 | 0.96664 | 26 | 20.6265 | 1.02 | 1.9866 | 2.0488 | 1.02 | 1.9477 | 2.0086
27 | YES | 49.1265 | 0.38505 | 0.010981 | 0.075048 | 0.39558 | 0.32053 |  | 49.1265 | 0.075048 | 27 | 49.1265 | 0.31 | 0.38505 | 0.44047 | 0.31 | 1.2421 | 1.4209
27 | YES | 20.4073 | 3.3136 | 0.0702 | 1.7636 | 0.87669 | -0.88696 |  | 20.4073 | 1.7636 | 27 | 20.4073 | 1.55 | 3.3136 | 3.3139 | 1.55 | 2.1378 | 2.138
27 | YES | 5.1924 | 3.0615 | 0.019741 | 1.8615 | 1.1316 | -0.72993 |  | 5.1924 | 1.8615 | 27 | 5.1924 | 1.2 | 3.0615 | 3.2414 | 1.2 | 2.5513 | 2.7011
28 | YES | 51.3055 | 0.24792 | 0.0063005 | 0.077921 | 0.35907 | 0.28115 |  | 51.3055 | 0.077921 | 28 | 51.3055 | 0.17 | 0.24792 | 0.24304 | 0.17 | 1.4584 | 1.4296
28 | YES | 20.2791 | 1.1925 | 0.089399 | 0.24248 | 0.87884 | 0.63636 |  | 20.2791 | 0.24248 | 28 | 20.2791 | 0.95 | 1.1925 | 1.1398 | 0.95 | 1.2552 | 1.1998
28 | YES | 5.6317 | 2.8547 | 0.069708 | 1.3347 | 1.1242 | -0.21045 |  | 5.6317 | 1.3347 | 28 | 5.6317 | 1.52 | 2.8547 | 2.8939 | 1.52 | 1.8781 | 1.9039
29 | YES | 48.9607 | 0.31644 | 0.013318 | 0.12644 | 0.39835 | 0.27191 |  | 48.9607 | 0.12644 | 29 | 48.9607 | 0.19 | 0.31644 | 0.28208 | 0.19 | 1.6655 | 1.4846
29 | YES | 19.3496 | 1.9016 | 0.031896 | 1.1716 | 0.89441 | -0.27722 |  | 19.3496 | 1.1716 | 29 | 19.3496 | 0.73 | 1.9016 | 1.905 | 0.73 | 2.605 | 2.6096
29 | YES | 5.3272 | 1.0756 | 0.009507 | 0.6456 | 1.1293 | 0.48372 |  | 5.3272 | 0.6456 | 29 | 5.3272 | 0.43 | 1.0756 | 1.1269 | 0.43 | 2.5014 | 2.6206
[11 empty] | File Pair | Pressure | CHL | Seapoint Fl | ECO FL | CHL | SP/CHL | #VALUE!
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Fluor_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.1614 |  | X | CALC Y
m= | -0.017806 | 0.0048511 |  | Std Dev of Resid |  | 0.68463 |  | 4.4419 | 1.2688
b= | 1.3479 | 0.1302 |  | Resid Sum of Squares |  | 32.8099 |  | 52.8094 | 0.40758
# of Values Extracted = |  |  | 72
# of Values Used in Fit = |  |  | 72
File | Use | Pressure | Fluorescence_URU_Wetlabs_ECO-AFL | Fluorescence_URU_Wetlabs_ECO-AFL | Diff (Fluorescence_URU_Wetlabs_ECO-AFL - CHL_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | File Pair | Pressure | ECO FL | CHL
1 | YES | 24.7362 | 1.3255 | 0.14819 | 0.29548 | 0.90744 | 0.61195 |  | 24.7362 | 0.29548 | 1 | 24.7362 | 1.3255 | 1.03
1 | YES | 5.0615 | 0.82805 | 0.027898 | 0.44805 | 1.2578 | 0.8097 |  | 5.0615 | 0.44805 | 1 | 5.0615 | 0.82805 | 0.38
2 | YES | 20.6391 | 5.0171 | 0.20645 | 2.5671 | 0.98039 | -1.5867 |  | 20.6391 | 2.5671 | 2 | 20.6391 | 5.0171 | 2.45
2 | YES | 5.7839 | 0.9641 | 0.044645 | 0.5441 | 1.2449 | 0.70079 |  | 5.7839 | 0.5441 | 2 | 5.7839 | 0.9641 | 0.42
3 | YES | 21.8456 | 1.0579 | 0.11936 | 0.35791 | 0.9589 | 0.601 |  | 21.8456 | 0.35791 | 3 | 21.8456 | 1.0579 | 0.7
3 | YES | 5.9057 | 1.0153 | 0.080675 | 0.44527 | 1.2427 | 0.79745 |  | 5.9057 | 0.44527 | 3 | 5.9057 | 1.0153 | 0.57
4 | YES | 20.1688 | 1.2597 | 0.078404 | 0.18975 | 0.98876 | 0.79901 |  | 20.1688 | 0.18975 | 4 | 20.1688 | 1.2597 | 1.07
4 | YES | 5.733 | 1.3057 | 0.1444 | 0.70575 | 1.2458 | 0.54005 |  | 5.733 | 0.70575 | 4 | 5.733 | 1.3057 | 0.6
5 | YES | 51.1608 | 0.06649 | 0.011146 | 0.01649 | 0.43693 | 0.42044 |  | 51.1608 | 0.01649 | 5 | 51.1608 | 0.06649 | 0.05
5 | YES | 21.2918 | 1.6079 | 0.086146 | 0.86787 | 0.96876 | 0.10089 |  | 21.2918 | 0.86787 | 5 | 21.2918 | 1.6079 | 0.74
5 | YES | 10.5355 | 1.2586 | 0.057485 | 0.72859 | 1.1603 | 0.4317 |  | 10.5355 | 0.72859 | 5 | 10.5355 | 1.2586 | 0.53
6 | YES | 20.8159 | 2.417 | 0.16772 | 1.477 | 0.97724 | -0.49976 |  | 20.8159 | 1.477 | 6 | 20.8159 | 2.417 | 0.94
6 | YES | 5.0036 | 1.3712 | 0.11279 | 0.75122 | 1.2588 | 0.50757 |  | 5.0036 | 0.75122 | 6 | 5.0036 | 1.3712 | 0.62
7 | YES | 21.3024 | 3.0632 | 0.15057 | 1.2232 | 0.96858 | -0.25459 |  | 21.3024 | 1.2232 | 7 | 21.3024 | 3.0632 | 1.84
7 | YES | 5.8663 | 1.1361 | 0.032138 | 0.61613 | 1.2434 | 0.6273 |  | 5.8663 | 0.61613 | 7 | 5.8663 | 1.1361 | 0.51999
8 | YES | 20.502 | 2.2961 | 0.13426 | 0.89615 | 0.98283 | 0.086674 |  | 20.502 | 0.89615 | 8 | 20.502 | 2.2961 | 1.4
8 | YES | 5.4345 | 1.3678 | 0.032604 | 0.77777 | 1.2511 | 0.47334 |  | 5.4345 | 0.77777 | 8 | 5.4345 | 1.3678 | 0.59
9 | YES | 21.0987 | 2.2782 | 0.12505 | 0.82817 | 0.9722 | 0.14403 |  | 21.0987 | 0.82817 | 9 | 21.0987 | 2.2782 | 1.45
9 | YES | 5.5009 | 2.8889 | 0.15245 | 1.5989 | 1.2499 | -0.34893 |  | 5.5009 | 1.5989 | 9 | 5.5009 | 2.8889 | 1.29
10 | YES | 20.2673 | 1.0237 | 0.11489 | 0.20371 | 0.98701 | 0.78329 |  | 20.2673 | 0.20371 | 10 | 20.2673 | 1.0237 | 0.82
10 | YES | 5.4442 | 1.7438 | 0.051399 | 0.82383 | 1.2509 | 0.42711 |  | 5.4442 | 0.82383 | 10 | 5.4442 | 1.7438 | 0.92
11 | YES | 20.479 | 1.3345 | 0.041589 | 0.13451 | 0.98324 | 0.84873 |  | 20.479 | 0.13451 | 11 | 20.479 | 1.3345 | 1.2
11 | YES | 4.548 | 1.4338 | 0.030086 | 0.72383 | 1.2669 | 0.54307 |  | 4.548 | 0.72383 | 11 | 4.548 | 1.4338 | 0.71
12 | YES | 20.4411 | 1.9864 | 0.18938 | 0.68635 | 0.98391 | 0.29756 |  | 20.4411 | 0.68635 | 12 | 20.4411 | 1.9864 | 1.3
12 | YES | 5.2347 | 1.7481 | 0.039257 | 0.84811 | 1.2547 | 0.40656 |  | 5.2347 | 0.84811 | 12 | 5.2347 | 1.7481 | 0.9
13 | YES | 20.5953 | 1.9822 | 0.11843 | 0.84224 | 0.98117 | 0.13893 |  | 20.5953 | 0.84224 | 13 | 20.5953 | 1.9822 | 1.14
13 | YES | 5.2227 | 1.5992 | 0.070549 | 0.71924 | 1.2549 | 0.53564 |  | 5.2227 | 0.71924 | 13 | 5.2227 | 1.5992 | 0.88
14 | YES | 20.6579 | 1.4067 | 0.094016 | 0.53667 | 0.98005 | 0.44338 |  | 20.6579 | 0.53667 | 14 | 20.6579 | 1.4067 | 0.87
14 | YES | 5.3544 | 1.0796 | 0.07485 | 0.48961 | 1.2525 | 0.76293 |  | 5.3544 | 0.48961 | 14 | 5.3544 | 1.0796 | 0.59
15 | YES | 20.6867 | 2.4197 | 0.15156 | 0.90973 | 0.97954 | 0.069813 |  | 20.6867 | 0.90973 | 15 | 20.6867 | 2.4197 | 1.51
15 | YES | 5.0857 | 1.034 | 0.01066 | 0.47401 | 1.2573 | 0.78331 |  | 5.0857 | 0.47401 | 15 | 5.0857 | 1.034 | 0.56
16 | YES | 52.0864 | 0.60932 | 0.038609 | 0.31932 | 0.42045 | 0.10113 |  | 52.0864 | 0.31932 | 16 | 52.0864 | 0.60932 | 0.29
16 | YES | 20.3462 | 2.7024 | 0.069137 | 2.0324 | 0.9856 | -1.0468 |  | 20.3462 | 2.0324 | 16 | 20.3462 | 2.7024 | 0.67
16 | YES | 5.0021 | 2.4087 | 0.047937 | 1.7587 | 1.2588 | -0.49988 |  | 5.0021 | 1.7587 | 16 | 5.0021 | 2.4087 | 0.65
17 | YES | 50.0717 | 1.1285 | 0.099934 | 0.72849 | 0.45632 | -0.27216 |  | 50.0717 | 0.72849 | 17 | 50.0717 | 1.1285 | 0.4
17 | YES | 19.8429 | 2.4271 | 0.068143 | 1.8671 | 0.99456 | -0.87254 |  | 19.8429 | 1.8671 | 17 | 19.8429 | 2.4271 | 0.56
17 | YES | 4.7511 | 2.0623 | 0.083415 | 1.6223 | 1.2633 | -0.35906 |  | 4.7511 | 1.6223 | 17 | 4.7511 | 2.0623 | 0.44
18 | YES | 50.105 | 1.2905 | 0.075077 | 0.95047 | 0.45573 | -0.49474 |  | 50.105 | 0.95047 | 18 | 50.105 | 1.2905 | 0.34
18 | YES | 21.1254 | 2.6415 | 0.058268 | 2.0315 | 0.97173 | -1.0598 |  | 21.1254 | 2.0315 | 18 | 21.1254 | 2.6415 | 0.61
18 | YES | 5.8291 | 2.6733 | 0.10139 | 2.1633 | 1.2441 | -0.91921 |  | 5.8291 | 2.1633 | 18 | 5.8291 | 2.6733 | 0.51
19 | YES | 51.1534 | 0.98469 | 0.092155 | 0.61469 | 0.43706 | -0.17762 |  | 51.1534 | 0.61469 | 19 | 51.1534 | 0.98469 | 0.37
19 | YES | 20.3557 | 2.9703 | 0.16586 | 2.3203 | 0.98543 | -1.3348 |  | 20.3557 | 2.3203 | 19 | 20.3557 | 2.9703 | 0.65
19 | YES | 5.0902 | 3.016 | 0.038846 | 2.366 | 1.2572 | -1.1088 |  | 5.0902 | 2.366 | 19 | 5.0902 | 3.016 | 0.65
20 | YES | 50.8797 | 1.0516 | 0.086041 | 0.60159 | 0.44194 | -0.15965 |  | 50.8797 | 0.60159 | 20 | 50.8797 | 1.0516 | 0.45
20 | YES | 21.0275 | 3.1458 | 0.11411 | 2.3758 | 0.97347 | -1.4023 |  | 21.0275 | 2.3758 | 20 | 21.0275 | 3.1458 | 0.77
20 | YES | 4.4419 | 3.2284 | 0.049372 | 2.9984 | 1.2688 | -1.7296 |  | 4.4419 | 2.9984 | 20 | 4.4419 | 3.2284 | 0.23
21 | YES | 51.0798 | 0.50603 | 0.01969 | 0.24603 | 0.43837 | 0.19234 |  | 51.0798 | 0.24603 | 21 | 51.0798 | 0.50603 | 0.26
21 | YES | 20.8566 | 3.3014 | 0.24254 | 2.1514 | 0.97651 | -1.1749 |  | 20.8566 | 2.1514 | 21 | 20.8566 | 3.3014 | 1.15
21 | YES | 6.6061 | 2.4938 | 0.090416 | 1.8738 | 1.2303 | -0.64359 |  | 6.6061 | 1.8738 | 21 | 6.6061 | 2.4938 | 0.62
22 | YES | 50.8057 | 1.2242 | 0.08388 | 0.85419 | 0.44325 | -0.41093 |  | 50.8057 | 0.85419 | 22 | 50.8057 | 1.2242 | 0.37
22 | YES | 20.478 | 2.9143 | 0.092455 | 2.2343 | 0.98326 | -1.251 |  | 20.478 | 2.2343 | 22 | 20.478 | 2.9143 | 0.68
22 | YES | 5.8463 | 2.4015 | 0.049851 | 1.8115 | 1.2438 | -0.56771 |  | 5.8463 | 1.8115 | 22 | 5.8463 | 2.4015 | 0.59
23 | YES | 49.6833 | 0.37411 | 0.033321 | 0.084113 | 0.46324 | 0.37913 |  | 49.6833 | 0.084113 | 23 | 49.6833 | 0.37411 | 0.29
23 | YES | 20.4597 | 2.1785 | 0.044253 | 0.85855 | 0.98358 | 0.12503 |  | 20.4597 | 0.85855 | 23 | 20.4597 | 2.1785 | 1.32
23 | YES | 4.6404 | 2.1185 | 0.020663 | 0.68849 | 1.2653 | 0.57676 |  | 4.6404 | 0.68849 | 23 | 4.6404 | 2.1185 | 1.43
24 | YES | 52.8094 | 0.26155 | 0.017365 | 0.061551 | 0.40758 | 0.34603 |  | 52.8094 | 0.061551 | 24 | 52.8094 | 0.26155 | 0.2
24 | YES | 21.4509 | 0.79591 | 0.042306 | 0.17591 | 0.96593 | 0.79003 |  | 21.4509 | 0.17591 | 24 | 21.4509 | 0.79591 | 0.62
24 | YES | 6.0268 | 1.2205 | 0.070649 | 0.31051 | 1.2406 | 0.93006 |  | 6.0268 | 0.31051 | 24 | 6.0268 | 1.2205 | 0.91
25 | YES | 48.5451 | 0.92944 | 0.11835 | 0.36945 | 0.4835 | 0.11406 |  | 48.5451 | 0.36945 | 25 | 48.5451 | 0.92944 | 0.56
25 | YES | 19.526 | 1.4858 | 0.10339 | 1.1258 | 1.0002 | -0.12561 |  | 19.526 | 1.1258 | 25 | 19.526 | 1.4858 | 0.36
25 | YES | 5.6056 | 1.7994 | 0.13601 | 1.1194 | 1.2481 | 0.12866 |  | 5.6056 | 1.1194 | 25 | 5.6056 | 1.7994 | 0.68
26 | YES | 51.6108 | 0.11339 | 0.011514 | 0.033394 | 0.42892 | 0.39552 |  | 51.6108 | 0.033394 | 26 | 51.6108 | 0.11339 | 0.08
26 | YES | 20.6265 | 2.0488 | 0.15345 | 1.0288 | 0.98061 | -0.048179 |  | 20.6265 | 1.0288 | 26 | 20.6265 | 2.0488 | 1.02
27 | YES | 49.1265 | 0.44047 | 0.056611 | 0.13047 | 0.47315 | 0.34268 |  | 49.1265 | 0.13047 | 27 | 49.1265 | 0.44047 | 0.31
27 | YES | 20.4073 | 3.3139 | 0.12879 | 1.7639 | 0.98451 | -0.77942 |  | 20.4073 | 1.7639 | 27 | 20.4073 | 3.3139 | 1.55
27 | YES | 5.1924 | 3.2414 | 0.14032 | 2.0414 | 1.2554 | -0.78595 |  | 5.1924 | 2.0414 | 27 | 5.1924 | 3.2414 | 1.2
28 | YES | 51.3055 | 0.24304 | 0.028101 | 0.073039 | 0.43435 | 0.36132 |  | 51.3055 | 0.073039 | 28 | 51.3055 | 0.24304 | 0.17
28 | YES | 20.2791 | 1.1398 | 0.17226 | 0.18984 | 0.9868 | 0.79696 |  | 20.2791 | 0.18984 | 28 | 20.2791 | 1.1398 | 0.95
28 | YES | 5.6317 | 2.8939 | 0.11895 | 1.3739 | 1.2476 | -0.12629 |  | 5.6317 | 1.3739 | 28 | 5.6317 | 2.8939 | 1.52
29 | YES | 48.9607 | 0.28208 | 0.024265 | 0.092081 | 0.4761 | 0.38402 |  | 48.9607 | 0.092081 | 29 | 48.9607 | 0.28208 | 0.19
29 | YES | 19.3496 | 1.905 | 0.10585 | 1.175 | 1.0033 | -0.17164 |  | 19.3496 | 1.175 | 29 | 19.3496 | 1.905 | 0.73
29 | YES | 5.3272 | 1.1269 | 0.053763 | 0.69686 | 1.253 | 0.55616 |  | 5.3272 | 0.69686 | 29 | 5.3272 | 1.1269 | 0.43
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Fluorescence_URU_Wetlabs_ECO-AFL
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE