File List for SeaBird Data          

Cruise Number: _2024-061____
[osdcommon\2024-061\ARCHIVE]
[osdcommon\2024-061\ARCHIVE\CTD] *.CTD
[osdcommon\2024-061\ARCHIVE\DOC] general documents 
--------------------------------------------------------------------------------------------------------------------
[osdcommon\2024-061\PROCESSING] 

[osdcommon\2024-061\PROCESSING\CONVERT] *.CNV – after conversion

[osdcommon\2024-061\PROCESSING\DERIVE] 

*.CNV – after conversion, Filter, Wfilter, Align, Celltm, Derive
[osdcommon\2024-061\PROCESSING\DOC] 

2024-061_Processing_Report.doc - processing notes
2024-061_File.doc – List of files to be archived
CTD Data_FtF_Nita Maria 2024.xlsx – spreadsheet summary of events

Notes_from_Kayla_Zielke.txt – note concerning file names

2024-061_ctd_xref.lis – cross-reference list of casts
2024-061_ctd-final.txt – CTD file header check including channel summary
2024-061-recal.ccf – Calibration control file

2024-061-clip.csv - # of surface records to remove from each file
2024-061-mrh.csv – used to add positions, water depths, station names


2024-061-hdr.txt –header file with comments for CTD files


Surface.rep – summary of surface pressure values

2024-061-ctd.xmlcon– configuration file used for all events – pre-cruise calibrations

SBE19plusV2_8241.xmlcon – configuration file with post-cruise calibrations

2024-061-0074post.cnv – test file using post-cruise calibrations


2024-061-post-vs-pre-comp.xlsx – comparison of pre and post cals for event #74
[osdcommon\2024-061\PROCESSING\IOS] 

*.avg - data after metre-averaging using BINAVE (downcast)

*.clip - removing some soak data


*.cln - after conversion to IOS 

*.cor1 – after recalibration

*.ctd - final files 


*.del – after DELETEp


*.delpred – DEL files after addition of CTD-QC editing predictions


*.edt & *.log – output from graphical editing
*.ios - data after conversion to IOS HEADERS
*.mrh – after addition of positions, station names, water depths
*.rem – after REMOVE
*.reo – after REORDER to get 2 DO channels together 2nd last step

*.rev – after reversing of files 51-57

*.sat – after calculation of DO saturation

*.shfc0 – after shift of conductivity

*.unt – after derivation of DO in mass units

Delete.log - log from routine DELETE
Files.txt – list of files selected for archive

