File List for SeaBird Data          Cruise Number: _2024-069____

[osdcommon\cruise_data\2024-069\ARCHIVE]

[osdcommon\cruise_data\2024-069\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2024-069\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2024-069\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2024-069\ARCHIVE\DOC\HYDRO]  includes COMPARE files & reports

[osdcommon\cruise_data\2024-069\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2024-002\ARCHIVE\Underway] Loop data

[osdcommon\cruise_data\2024-069\PROCESSING]

[osdcommon\cruise_data\2024-069\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2024-069\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2024-069\PROCESSING\DOC]

2024-069-recal1.ccf – calibration control files

2024-069-recalsil.ccf – correction of silicate for sal < 25psu

2024-069-ctd.xmlcon –configuration file used in processing

2024-069-ctd-post.xmlcon – post-cruise config file (update to SBE DO only Nov. 2024)

2024-069_File.doc - this document

2024-069_Processing_Report.doc - processing notes

2024-069-ctd-final.rpt – CTD file header check including channel summary

2024-069-ctd-xref.lis – cross reference list of CTD files

2024-069-altimeter-ctd.xlsx – report on header entries for altimetry

Preliminary Processing.docx – notes about preliminary “quick” processing

Clip.csv -# of soak records to be removed

Study_P1_P2_May&June_2024-revision2.docx – preliminary DO study

Seapoint_ECO_Comparison.docx – comparison of 2 fluorometers

SeaPoint_ECO_Data for comparisons.xlsx

Fluorometer_uraninetests_Feb2024.pdf – record of calibration checks of fluorometers

*hdr.txt – header files with comments for CTD files

[osdcommon\cruise_data\2024-069\PROCESSING\DOC\hydro]

2024-069chl.csv – extracted CHL data, simplified from analyst’s s/s

2024-069oxy.csv – dissolved oxygen data, simplified from analyst’s s/s

2024-069nuts.csv – nutrient data, simplified from analyst’s s/s

2024-069sal.csv – salinity data, simplified from analyst’s s/s

2024-069-dox-comp1.csv & .xls – initial comparison of titrated DO & CTD DO

2024-069-dox-comp2.csv & .xls –comparison of titrated DO & CTD DO after initial recal

2024-069-dox-comp3.csv & .xls –comparison of titrated DO & downcast CTD DO after recal

2024-069-sal-comp1.csv & xls –initial comparison of rosette bottle and CTD salinity

2024-069-sal-comp2.csv & xls –comparison of rosette bottle and CTD salinity after recal

2024-069-fl-chl-comp1.csv & xls – comparison of extracted CHL and CTD Fluorescence

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2024-069-bottles-final.xslx – summary of bottle data in CHE files

2024-069-che-final.rpt – final header check of bottle files

2024-069-che-xref.txt – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2024-069\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl - chlorophyll files converted from simplified version of analyst’s spreadsheet

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgcln2 – mrg with header limits updated, 0 flags added.

*.mrgcor1 – after recal of Fluorescence and dissolved oxygen

*.mrgcorsil – after recal of Silicate for salinity<25

*.mrgrem – after removal of unwanted channels

*.mrgreo – after REORDER of DO channels – just before final step

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

*.samavg – SAM2 files binned on bottle #

[osdcommon\cruise_data\2024-069\PROCESSING\HYDRO\post-cal-DO] data for running compare on files using post-cruise DO calibrations

[osdcommon\cruise_data\2024-069\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.clip – after removing soak data

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.cor1 -after recalibration of DO

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2024-069\PROCESSING\Loop] after conversion to IOS SHELL

2024-069-loop-hdr.txt – header comments file

2024-069-loops-6linehdr.csv – compiled loop data in 6-line hdr – useful if TSG data found

2024-069-0001.ios – after conversion to IOS Header format

2024-069-0001.cln - after addition start/end Time & Positions to headers

2024-069-surface.loop – final file

2024-069-ROS-surf.xlsx – useful if TSG data are found