## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6.1 | Run at 2025/04/17 16:15:24 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | OXY_BOT | OXY_SBE |  | OXY_SBE - OXY_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | OXY_BOT | OXY_SBE | OXY_SBE | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 239 | 406.351 | 406.342 | 0.44464 | -0.008728 | 0.865 | 0.83977 | 0.0014822 | -0.025234
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 241 | 300.258 | 300.258 | 0.62964 | 0.00021362 | 1.377 | 1.3548 | 0.0046404 | -0.022158
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 241 | 250.528 | 250.528 | 0.24814 | -0.00038147 | 1.576 | 1.5403 | 0.0043558 | -0.035668
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 241 | 199.675 | 199.675 | 0.19197 | -0.00013733 | 2.053 | 2.0427 | 0.0037142 | -0.010282
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 241 | 150.518 | 150.518 | 0.36973 | -0.00016785 | 3.004 | 3.0208 | 0.0040094 | 0.016759
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 217 | 99.864 | 99.7429 | 0.42265 | -0.12114 | 3.924 | 3.9644 | 0.0013141 | 0.040378
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 241 | 75.128 | 75.128 | 0.11417 | 4.5776e-05 | 5.087 | 5.0854 | 0.0080083 | -0.0016346
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 241 | 50.581 | 50.5805 | 0.27461 | -0.00048065 | 6.383 | 6.4566 | 0.0067254 | 0.073552
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 241 | 24.965 | 24.9654 | 0.09273 | 0.00044441 | 6.519 | 6.601 | 0.0061261 | 0.082004
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 241 | 10.141 | 10.1411 | 0.24551 | 8.297e-05 | 6.672 | 6.7694 | 0.008833 | 0.097386
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 241 | 5.316 | 5.3163 | 0.47802 | 0.00029039 | 6.618 | 6.7088 | 0.0083664 | 0.090809
2024-069-0007.mrgcln2 | 2024-069-0007.sam | 241 | 3.53 | 3.5299 | 0.23525 | -8.7023e-05 | 6.605 | 6.6934 | 0.012403 | 0.08844
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 661 | 163.867 | 163.912 | 0.40936 | 0.044663 | 2.456 | 2.4592 | 0.014542 | 0.0032194
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 241 | 150.65 | 150.65 | 0.16645 | 4.5776e-05 | 2.526 | 2.5372 | 0.004554 | 0.011178
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 241 | 100.038 | 100.038 | 0.4836 | -0.00048065 | 2.903 | 2.9292 | 0.0050355 | 0.026236
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 241 | 74.743 | 74.7426 | 0.17611 | -0.00037384 | 3.152 | 3.174 | 0.0056566 | 0.02205
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 482 | 50.236 | 50.2536 | 0.19925 | 0.017647 | 3.799 | 3.7782 | 0.011596 | -0.020774
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 241 | 24.632 | 24.6319 | 0.349 | -0.00014877 | 5.841 | 5.8953 | 0.010991 | 0.054307
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 241 | 9.918 | 9.9175 | 0.22518 | -0.00048542 | 6.295 | 6.3765 | 0.0072256 | 0.081514
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 743 | 4.62 | 4.1952 | 0.35829 | -0.42478 | 6.213 | 6.2722 | 0.017377 | 0.059178
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 917 | 3.869 | 4.0414 | 0.46334 | 0.17244 | 6.174 | 6.2691 | 0.017216 | 0.095103
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 723 | 236.38 | 236.428 | 0.1865 | 0.047882 | 1.476 | 1.4643 | 0.0043152 | -0.011718
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 241 | 200.461 | 200.461 | 0.19083 | -0.00048828 | 1.699 | 1.6986 | 0.0038152 | -0.00043988
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 241 | 149.896 | 149.896 | 0.19741 | 4.5776e-05 | 2.224 | 2.2295 | 0.0057206 | 0.0054731
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 241 | 99.761 | 99.7606 | 0.22446 | -0.00041962 | 2.738 | 2.753 | 0.0038291 | 0.015012
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 241 | 75.081 | 75.0808 | 0.13284 | -0.00020599 | 3.848 | 3.8986 | 0.0055188 | 0.050548
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 723 | 49.992 | 49.9734 | 0.21324 | -0.018555 | 4.696 | 4.804 | 0.018573 | 0.10804
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 723 | 49.958 | 49.9734 | 0.21324 | 0.015446 | 4.793 | 4.804 | 0.018573 | 0.011038
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 241 | 9.761 | 9.7611 | 0.068815 | 0.00012493 | 6.791 | 6.8883 | 0.0072757 | 0.097261
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 241 | 5.438 | 5.438 | 0.13502 | 2.861e-05 | 6.786 | 6.8747 | 0.0047925 | 0.088722
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 723 | 3.577 | 3.5886 | 0.20306 | 0.011548 | 6.788 | 6.8508 | 0.012689 | 0.062837
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 723 | 840.775 | 840.841 | 0.22171 | 0.065613 | 0.411 | 0.23046 | 0.0081283 | -0.18054
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 241 | 750.272 | 750.272 | 0.27795 | 0.00036621 | 0.44 | 0.39792 | 0.0034404 | -0.042075
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 241 | 499.896 | 499.896 | 0.17171 | 6.1035e-05 | 0.782 | 0.74748 | 0.0045954 | -0.034519
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 241 | 399.935 | 399.935 | 0.2041 | 0.00018311 | 1.052 | 1.0145 | 0.0026328 | -0.037552
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 241 | 300.002 | 300.002 | 0.12346 | 0.00030518 | 1.382 | 1.3669 | 0.0058795 | -0.015137
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 482 | 199.813 | 199.819 | 0.17781 | 0.0058441 | 1.983 | 1.9862 | 0.0037733 | 0.0032344
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 482 | 199.825 | 199.819 | 0.17781 | -0.0061493 | 1.989 | 1.9862 | 0.0037733 | -0.0027655
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 241 | 150.144 | 150.144 | 0.11347 | -0.00027466 | 2.659 | 2.6826 | 0.0022128 | 0.023569
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 241 | 100.456 | 100.456 | 0.14205 | 0.00032806 | 3.692 | 3.6393 | 0.0054818 | -0.052726
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 241 | 75.565 | 75.5655 | 0.10712 | 0.00045776 | 4.098 | 4.1562 | 0.0080695 | 0.05824
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 482 | 49.599 | 49.5681 | 0.12651 | -0.03093 | 5.515 | 5.6043 | 0.0064068 | 0.089303
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 241 | 25.042 | 25.0421 | 0.17866 | 0.00011635 | 6.069 | 6.0912 | 0.023225 | 0.022183
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 241 | 10.274 | 10.2738 | 0.080432 | -0.00016212 | 6.644 | 6.7344 | 0.0081189 | 0.090369
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 241 | 4.642 | 4.6422 | 0.18473 | 0.00016594 | 6.65 | 6.7341 | 0.0067213 | 0.084125
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 723 | 3.21 | 3.2156 | 0.10844 | 0.0056391 | 6.643 | 6.7332 | 0.0086533 | 0.09016
2024-069-0032.mrgcln2 | 2024-069-0032.sam | 241 | 49.882 | 49.8825 | 0.13751 | 0.00046158 | 5.561 | 5.6466 | 0.021302 | 0.085631
2024-069-0032.mrgcln2 | 2024-069-0032.sam | 241 | 39.695 | 39.695 | 0.10071 | 3.0518e-05 | 5.763 | 5.8849 | 0.016625 | 0.12191
2024-069-0032.mrgcln2 | 2024-069-0032.sam | 241 | 30.068 | 30.0677 | 0.12145 | -0.00029945 | 6.363 | 6.4842 | 0.0092008 | 0.12122
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 723 | 2019.06 | 2019.05 | 0.33939 | -0.014771 | 1.433 | 1.402 | 0.0093179 | -0.030982
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 1500.41 | 1500.41 | 0.22536 | -0.00012207 | 0.628 | 0.58241 | 0.009007 | -0.045593
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 999.907 | 999.907 | 0.2211 | 0 | 0.286 | 0.23952 | 0.0028955 | -0.046481
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 750.126 | 750.126 | 0.12686 | 0.00030518 | 0.328 | 0.27396 | 0.00084819 | -0.054037
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 500.431 | 500.431 | 0.12822 | -0.00042725 | 0.693 | 0.65921 | 0.0018599 | -0.033788
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 399.583 | 399.583 | 0.1968 | -3.0518e-05 | 1.1 | 1.0815 | 0.0030576 | -0.018457
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 299.084 | 299.084 | 0.17463 | 0.00045776 | 1.689 | 1.6702 | 0.0018782 | -0.018813
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 249.506 | 249.506 | 0.23265 | -0.00033569 | 2.619 | 2.5714 | 0.017338 | -0.047635
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 199.991 | 199.991 | 0.29821 | -0.00045776 | 2.851 | 2.8779 | 0.0079801 | 0.026921
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 150.095 | 150.095 | 0.097459 | 0.00038147 | 3.645 | 3.675 | 0.0079281 | 0.029988
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 99.523 | 99.5227 | 0.20476 | -0.0002594 | 4.961 | 5.2922 | 0.007859 | 0.33119
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 75.072 | 75.0718 | 0.14563 | -0.00016022 | 6.567 | 6.6579 | 0.0057354 | 0.090925
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 482 | 50.587 | 50.5729 | 0.13421 | -0.014061 | 6.744 | 6.8408 | 0.0067114 | 0.096838
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 25.122 | 25.1223 | 0.13015 | 0.00027084 | 6.496 | 6.5656 | 0.0075556 | 0.069577
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 9.86 | 9.8599 | 0.14936 | -8.297e-05 | 6.491 | 6.572 | 0.0069953 | 0.080992
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 241 | 4.997 | 4.9968 | 0.12774 | -0.00024509 | 6.492 | 6.5679 | 0.0062406 | 0.075934
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 723 | 3.291 | 3.2815 | 0.18609 | -0.0094841 | 6.497 | 6.5692 | 0.0094473 | 0.072168
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 322 | 499.792 | 499.777 | 0.18631 | -0.014862 | 0.814 | 0.75713 | 0.004348 | -0.05687
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 241 | 399.567 | 399.567 | 0.2078 | 0.00027466 | 0.961 | 0.93381 | 0.0018655 | -0.027191
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 241 | 300.079 | 300.079 | 0.15892 | -0.00042725 | 1.305 | 1.2565 | 0.0061338 | -0.048548
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 241 | 249.759 | 249.759 | 0.099301 | -0.00013733 | 1.57 | 1.561 | 0.00065744 | -0.0090332
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 241 | 200.279 | 200.279 | 0.16517 | -0.00013733 | 2.272 | 2.2862 | 0.0036312 | 0.014228
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 241 | 150.901 | 150.901 | 0.12823 | -0.0002594 | 3.099 | 3.1271 | 0.0028365 | 0.028066
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 241 | 100.081 | 100.081 | 0.08442 | -0.00049591 | 4.37 | 4.4076 | 0.008091 | 0.03761
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 241 | 75.667 | 75.6665 | 0.055618 | -0.00046539 | 5.444 | 5.5002 | 0.0086891 | 0.056195
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 319 | 50.261 | 50.2901 | 0.12463 | 0.029114 | 6.105 | 6.1789 | 0.0087511 | 0.073874
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 241 | 25.391 | 25.391 | 0.081483 | -3.8147e-05 | 6.896 | 6.9668 | 0.011358 | 0.070818
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 241 | 10.057 | 10.0569 | 0.062179 | -7.4387e-05 | 6.58 | 6.672 | 0.0061903 | 0.091971
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 241 | 5.03 | 5.03 | 0.11056 | 3.7193e-05 | 6.433 | 6.5107 | 0.0066738 | 0.07773
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 344 | 3.237 | 3.1996 | 0.10147 | -0.037416 | 6.425 | 6.4982 | 0.0078041 | 0.073203
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 723 | 263.696 | 263.72 | 0.097278 | 0.024414 | 1.166 | 1.1495 | 0.0042193 | -0.016539
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 241 | 200.351 | 200.351 | 0.13595 | -0.0004425 | 1.663 | 1.6568 | 0.0050241 | -0.0061702
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 241 | 149.783 | 149.783 | 0.085086 | -7.6294e-05 | 3.002 | 3.0267 | 0.0041128 | 0.024689
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 241 | 100.291 | 100.291 | 0.065443 | -0.00047302 | 4.313 | 4.3652 | 0.0067447 | 0.052224
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 241 | 75.117 | 75.1167 | 0.064658 | -0.00026703 | 5.613 | 5.7297 | 0.004907 | 0.11665
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 482 | 49.931 | 49.9404 | 0.085587 | 0.009449 | 5.561 | 5.6385 | 0.0057901 | 0.077461
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 241 | 24.771 | 24.7715 | 0.090908 | 0.00047302 | 6.803 | 6.9154 | 0.0079082 | 0.11244
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 241 | 10.398 | 10.3981 | 0.058494 | 0.00013733 | 6.724 | 6.8108 | 0.0095491 | 0.086784
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 241 | 4.564 | 4.564 | 0.045928 | 1.2398e-05 | 6.578 | 6.6498 | 0.0074501 | 0.071751
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 707 | 2.927 | 2.9342 | 0.05555 | 0.0071597 | 6.576 | 6.643 | 0.0081285 | 0.066974
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 482 | 538.716 | 538.71 | 0.029709 | -0.0055542 | 3.061 | 3.0553 | 0.0035859 | -0.0056784
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 500.833 | 500.833 | 0.030789 | -0.00048828 | 3.082 | 3.0861 | 0.0024474 | 0.0040789
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 400.877 | 400.877 | 0.031812 | -0.00012207 | 3.169 | 3.1797 | 0.0047925 | 0.010681
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 299.74 | 299.74 | 0.031075 | 0.00024414 | 3.25 | 3.2688 | 0.0041995 | 0.018755
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 249.914 | 249.914 | 0.027634 | -0.00032043 | 3.327 | 3.3564 | 0.0046924 | 0.029415
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 199.935 | 199.935 | 0.027406 | 3.0518e-05 | 3.361 | 3.3951 | 0.0060513 | 0.034137
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 149.359 | 149.359 | 0.030361 | 0.00028992 | 3.477 | 3.5143 | 0.0046599 | 0.03727
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 99.672 | 99.6722 | 0.031974 | 0.00023651 | 3.708 | 3.7427 | 0.0038951 | 0.034693
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 75.399 | 75.3989 | 0.027664 | -0.00013733 | 3.733 | 3.7742 | 0.0055375 | 0.041178
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 50.04 | 50.0401 | 0.025818 | 8.0109e-05 | 3.977 | 4.0459 | 0.0083215 | 0.068942
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 24.672 | 24.6715 | 0.030222 | -0.00047493 | 4.43 | 4.5049 | 0.0062223 | 0.074938
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 9.473 | 9.4734 | 0.029366 | 0.00037384 | 5.846 | 6.6616 | 0.012575 | 0.81556
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 241 | 5.3 | 5.2996 | 0.033429 | -0.00040674 | 7.78 | 8.2353 | 0.011355 | 0.45527
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 389 | 2.622 | 2.6219 | 0.029585 | -7.9632e-05 | 8.407 | 8.6089 | 0.010899 | 0.20186
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 353 | 312.219 | 312.244 | 0.058764 | 0.025116 | 3.604 | 3.6128 | 0.00426 | 0.0087931
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 241 | 301.374 | 301.374 | 0.03208 | 6.1035e-05 | 3.598 | 3.6288 | 0.0049469 | 0.030809
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 241 | 249.948 | 249.948 | 0.051104 | 0.00045776 | 3.654 | 3.6674 | 0.0033997 | 0.013402
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 241 | 200.01 | 200.01 | 0.034922 | 6.1035e-05 | 3.678 | 3.7103 | 0.003071 | 0.03227
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 241 | 149.962 | 149.962 | 0.031035 | -0.00012207 | 3.769 | 3.7973 | 0.0062496 | 0.028274
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 241 | 99.85 | 99.8496 | 0.033467 | -0.00037384 | 3.281 | 3.3203 | 0.0019892 | 0.039311
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 241 | 74.955 | 74.9547 | 0.02815 | -0.00034332 | 3.548 | 3.6039 | 0.014295 | 0.055913
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 290 | 50.153 | 50.153 | 0.025539 | -3.0518e-05 | 4.31 | 4.3955 | 0.0056429 | 0.085483
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 241 | 25.139 | 25.1386 | 0.025769 | -0.00037766 | 4.185 | 4.2516 | 0.0053352 | 0.06661
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 241 | 10 | 10.0004 | 0.030278 | 0.00039387 | 6.072 | 5.9301 | 0.12198 | -0.14189
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 241 | 5.141 | 5.1407 | 0.027314 | -0.00030279 | 7.445 | 7.5187 | 0.017686 | 0.07368
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 337 | 2.862 | 2.8618 | 0.030683 | -0.00018692 | 7.429 | 7.5607 | 0.012761 | 0.13169
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 241 | 200.222 | 200.222 | 0.03113 | -0.00013733 | 3.662 | 3.7039 | 0.0043365 | 0.041847
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 241 | 149.772 | 149.772 | 0.026688 | 0.00047302 | 3.768 | 3.7988 | 0.0044203 | 0.030834
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 241 | 100.2 | 100.2 | 0.035486 | -0.00014496 | 3.316 | 3.3628 | 0.0054019 | 0.046834
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 241 | 74.941 | 74.9408 | 0.024926 | -0.00016785 | 3.438 | 3.3563 | 0.010093 | -0.081739
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 482 | 49.88 | 49.877 | 0.027505 | -0.0029983 | 4.31 | 4.4663 | 0.005732 | 0.15633
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 241 | 25.202 | 25.2024 | 0.028169 | 0.00043678 | 5.085 | 5.1201 | 0.010306 | 0.035075
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 241 | 9.891 | 9.8908 | 0.034322 | -0.00022411 | 6.655 | 7.268 | 0.21042 | 0.613
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 241 | 5.062 | 5.0621 | 0.027887 | 9.9659e-05 | 7.16 | 7.348 | 0.039781 | 0.18801
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 712 | 2.921 | 2.9188 | 0.036187 | -0.0022135 | 6.989 | 7.1383 | 0.056983 | 0.14931
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 326 | 199.829 | 199.775 | 0.1829 | -0.05394 | 1.002 | 0.97756 | 0.0043797 | -0.024436
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 241 | 150.572 | 150.572 | 0.12443 | -0.00039673 | 1.704 | 1.6899 | 0.00401 | -0.014087
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 241 | 100.725 | 100.725 | 0.055375 | -0.00030518 | 3.205 | 3.2165 | 0.0046736 | 0.011502
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 241 | 75.076 | 75.0765 | 0.057947 | 0.00048065 | 4.556 | 4.6143 | 0.027202 | 0.058328
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 284 | 50.281 | 50.3164 | 0.074855 | 0.03545 | 5.21 | 5.2509 | 0.0038951 | 0.040863
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 241 | 25.194 | 25.194 | 0.08707 | -3.8147e-05 | 5.67 | 5.6713 | 0.016259 | 0.0012655
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 241 | 9.888 | 9.8883 | 0.11318 | 0.00026226 | 6.651 | 6.7187 | 0.0066254 | 0.067697
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 251 | 4.69 | 4.65 | 0.22235 | -0.04 | 6.65 | 6.7363 | 0.015943 | 0.086247
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 424 | 3.631 | 3.6944 | 0.43479 | 0.063441 | 6.651 | 6.7157 | 0.086374 | 0.064651
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 574 | 100.749 | 100.738 | 0.052867 | -0.011116 | 2.486 | 2.3171 | 0.017474 | -0.16889
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 574 | 100.739 | 100.738 | 0.052867 | -0.0011139 | 2.507 | 2.3171 | 0.017474 | -0.18988
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 241 | 74.929 | 74.9287 | 0.071821 | -0.00029755 | 4.086 | 4.2682 | 0.0039662 | 0.18217
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 304 | 49.671 | 49.6786 | 0.060215 | 0.0076294 | 6.112 | 6.2373 | 0.025501 | 0.12529
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 304 | 49.681 | 49.6786 | 0.060215 | -0.0023689 | 6.144 | 6.2373 | 0.025501 | 0.093286
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 241 | 24.784 | 24.7836 | 0.044916 | -0.00042343 | 6.594 | 6.7167 | 0.0038788 | 0.12272
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 241 | 9.831 | 9.8307 | 0.035016 | -0.00034904 | 6.911 | 7.0347 | 0.0059085 | 0.12368
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 241 | 4.986 | 4.9862 | 0.064101 | 0.00019074 | 6.924 | 7.0276 | 0.0058067 | 0.10359
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 333 | 3.327 | 3.2811 | 0.096297 | -0.045892 | 6.926 | 7.031 | 0.006784 | 0.10504
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 354 | 267.432 | 267.451 | 0.086139 | 0.018524 | 1.92 | 1.9131 | 0.004582 | -0.0068587
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 241 | 200.731 | 200.731 | 0.05937 | 0.00012207 | 2.036 | 2.0181 | 0.005027 | -0.017871
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 241 | 149.83 | 149.83 | 0.081264 | -0.00032043 | 2.444 | 2.428 | 0.0015624 | -0.016025
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 241 | 99.775 | 99.7746 | 0.075161 | -0.00041199 | 2.916 | 2.886 | 0.0053898 | -0.03
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 241 | 75.072 | 75.0716 | 0.082451 | -0.00035858 | 3.569 | 3.5447 | 0.0071279 | -0.024336
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 292 | 49.933 | 49.9358 | 0.054497 | 0.002758 | 4.449 | 4.4626 | 0.03441 | 0.01361
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 241 | 24.978 | 24.9784 | 0.049064 | 0.00041008 | 5.221 | 5.1748 | 0.0080013 | -0.046249
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 241 | 9.958 | 9.9578 | 0.074562 | -0.0002203 | 6.415 | 6.4206 | 0.0064143 | 0.0055895
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 241 | 5.147 | 5.1471 | 0.048359 | 0.00014543 | 6.667 | 6.6357 | 0.03964 | -0.031294
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 335 | 3.182 | 3.1515 | 0.054516 | -0.03054 | 7.057 | 7.0823 | 0.0093807 | 0.02525
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 389.541 | 389.541 | 0.3204 | 0.00039673 | 1.389 | 1.3616 | 0.0033732 | -0.027382
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 350.166 | 350.166 | 0.1926 | -0.00039673 | 1.669 | 1.6514 | 0.0061079 | -0.017556
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 300.256 | 300.256 | 0.1723 | 0.00030518 | 1.837 | 1.8239 | 0.0054323 | -0.013137
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 250.53 | 250.53 | 0.10054 | -0.00047302 | 2.167 | 2.1619 | 0.0059907 | -0.0051079
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 200.616 | 200.616 | 0.05431 | -0.00024414 | 2.457 | 2.4389 | 0.0056048 | -0.018108
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 150.402 | 150.402 | 0.1653 | 0.00045776 | 2.68 | 2.6887 | 0.0045361 | 0.0086555
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 100.38 | 100.38 | 0.19577 | -9.9182e-05 | 3.019 | 3.0438 | 0.006113 | 0.024772
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 74.935 | 74.9352 | 0.17036 | 0.00018311 | 3.881 | 3.9139 | 0.0061335 | 0.032905
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 50.791 | 50.7912 | 0.0832 | 0.00023651 | 4.471 | 4.501 | 0.0044938 | 0.029962
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 25.22 | 25.2199 | 0.064023 | -6.1035e-05 | 5.195 | 5.2288 | 0.0072266 | 0.033793
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 10.465 | 10.4647 | 0.040194 | -0.00025368 | 6.044 | 6.0523 | 0.015113 | 0.0083442
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 4.51 | 4.5102 | 0.17646 | 0.00019503 | 6.35 | 6.336 | 0.0098662 | -0.013975
2024-069-0147.mrgcln2 | 2024-069-0147.sam | 241 | 3.149 | 3.1489 | 0.094626 | -0.00011206 | 6.4 | 6.3413 | 0.010167 | -0.058739
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 360 | 340.83 | 340.793 | 0.13575 | -0.036896 | 2.509 | 2.501 | 0.0062619 | -0.0080028
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 241 | 250.453 | 250.453 | 0.16475 | -0.00016785 | 2.727 | 2.7415 | 0.003174 | 0.014457
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 241 | 200.093 | 200.093 | 0.064572 | -0.00021362 | 2.758 | 2.7735 | 0.0086545 | 0.015502
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 241 | 150.202 | 150.202 | 0.10963 | -0.00015259 | 2.802 | 2.6196 | 0.01065 | -0.18244
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 241 | 100.011 | 100.011 | 0.082615 | -0.00048065 | 2.954 | 2.8428 | 0.0084201 | -0.11115
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 241 | 74.902 | 74.9024 | 0.11112 | 0.00039673 | 3.435 | 3.3503 | 0.0056435 | -0.084689
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 482 | 50.212 | 50.207 | 0.1139 | -0.005024 | 4.456 | 4.3657 | 0.015286 | -0.090284
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 241 | 24.898 | 24.8976 | 0.089593 | -0.0003624 | 5.438 | 5.2466 | 0.015394 | -0.1914
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 241 | 10.021 | 10.0205 | 0.060804 | -0.00046062 | 7.124 | 6.8774 | 0.035917 | -0.24657
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 241 | 4.863 | 4.8634 | 0.069572 | 0.00044394 | 8.275 | 8.1485 | 0.050663 | -0.12655
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 405 | 2.956 | 2.9377 | 0.074392 | -0.018259 | 8.323 | 8.1332 | 0.047382 | -0.18978
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 388 | 443.665 | 443.66 | 0.031639 | -0.0048218 | 2.536 | 2.5264 | 0.0035527 | -0.0095773
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 241 | 399.672 | 399.672 | 0.030576 | 0.00012207 | 2.578 | 2.5774 | 0.0038294 | -0.00060582
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 241 | 299.974 | 299.974 | 0.027439 | -0.00045776 | 2.651 | 2.6589 | 0.0063729 | 0.0078921
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 241 | 250.019 | 250.019 | 0.028621 | -0.00010681 | 2.733 | 2.74 | 0.0036844 | 0.0069833
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 241 | 199.944 | 199.944 | 0.029007 | -0.00018311 | 2.763 | 2.77 | 0.0046831 | 0.0070415
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 241 | 149.755 | 149.755 | 0.030908 | 4.5776e-05 | 2.866 | 2.8851 | 0.0044575 | 0.019149
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 241 | 100.105 | 100.105 | 0.026988 | 0.00029755 | 3.098 | 3.1546 | 0.004839 | 0.056601
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 241 | 74.901 | 74.9005 | 0.027097 | -0.00046539 | 3.403 | 3.4318 | 0.0062194 | 0.028747
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 482 | 49.926 | 49.9213 | 0.026585 | -0.0047035 | 4.063 | 4.244 | 0.010765 | 0.18105
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 241 | 24.738 | 24.7384 | 0.03414 | 0.00040627 | 5.208 | 5.3344 | 0.010026 | 0.12638
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 241 | 10.036 | 10.0362 | 0.034571 | 0.00021172 | 5.58 | 5.5505 | 0.0064343 | -0.029465
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 241 | 4.937 | 4.9368 | 0.031065 | -0.00021982 | 7.144 | 7.349 | 0.0061329 | 0.20501
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 378 | 3.026 | 3.0381 | 0.037118 | 0.012085 | 7.247 | 7.368 | 0.0097484 | 0.12101
2024-069-0176.mrgcln2 | 2024-069-0176.sam | 410 | 425.147 | 425.121 | 0.053371 | -0.025879 | 3.213 | 3.2088 | 0.0064874 | -0.0042148
2024-069-0176.mrgcln2 | 2024-069-0176.sam | 482 | 50.06 | 50.0606 | 0.028824 | 0.00063324 | 3.95 | 4.0269 | 0.0054452 | 0.076888
2024-069-0176.mrgcln2 | 2024-069-0176.sam | 380 | 2.756 | 2.7451 | 0.034301 | -0.010916 | 7.103 | 7.2503 | 0.009259 | 0.14727
2024-069-0180.mrgcln2 | 2024-069-0180.sam | 400 | 537.922 | 537.919 | 0.030469 | -0.003418 | 3.263 | 3.2388 | 0.003538 | -0.024155
2024-069-0180.mrgcln2 | 2024-069-0180.sam | 300 | 50.068 | 50.0631 | 0.028576 | -0.0049019 | 3.814 | 3.8803 | 0.0053254 | 0.066343
2024-069-0180.mrgcln2 | 2024-069-0180.sam | 370 | 3.132 | 3.128 | 0.029364 | -0.0040054 | 7.636 | 7.7596 | 0.013385 | 0.12361
2024-069-0185.mrgcln2 | 2024-069-0185.sam | 362 | 288.017 | 288.023 | 0.038242 | 0.0063477 | 2.092 | 2.0452 | 0.005274 | -0.046804
2024-069-0185.mrgcln2 | 2024-069-0185.sam | 313 | 49.793 | 49.7965 | 0.025657 | 0.0034943 | 3.819 | 3.9649 | 0.0089169 | 0.14587
2024-069-0185.mrgcln2 | 2024-069-0185.sam | 343 | 2.461 | 2.4594 | 0.029422 | -0.0015888 | 7.926 | 7.9674 | 0.021081 | 0.041437
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 20
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2024-069-0007.mrgcln2 | 2024-069-0007.sam | 11 | 22 | 2024-069-0007.mrgcln2 & 2024-069-0007.sam
2 | 2024-069-0008.mrgcln2 | 2024-069-0008.sam | 24 | 32 | 2024-069-0008.mrgcln2 & 2024-069-0008.sam
3 | 2024-069-0023.mrgcln2 | 2024-069-0023.sam | 34 | 43 | 2024-069-0023.mrgcln2 & 2024-069-0023.sam
4 | 2024-069-0028.mrgcln2 | 2024-069-0028.sam | 45 | 59 | 2024-069-0028.mrgcln2 & 2024-069-0028.sam
5 | 2024-069-0032.mrgcln2 | 2024-069-0032.sam | 61 | 63 | 2024-069-0032.mrgcln2 & 2024-069-0032.sam
6 | 2024-069-0036.mrgcln2 | 2024-069-0036.sam | 65 | 81 | 2024-069-0036.mrgcln2 & 2024-069-0036.sam
7 | 2024-069-0044.mrgcln2 | 2024-069-0044.sam | 83 | 95 | 2024-069-0044.mrgcln2 & 2024-069-0044.sam
8 | 2024-069-0054.mrgcln2 | 2024-069-0054.sam | 97 | 106 | 2024-069-0054.mrgcln2 & 2024-069-0054.sam
9 | 2024-069-0069.mrgcln2 | 2024-069-0069.sam | 108 | 121 | 2024-069-0069.mrgcln2 & 2024-069-0069.sam
10 | 2024-069-0085.mrgcln2 | 2024-069-0085.sam | 123 | 134 | 2024-069-0085.mrgcln2 & 2024-069-0085.sam
11 | 2024-069-0087.mrgcln2 | 2024-069-0087.sam | 136 | 144 | 2024-069-0087.mrgcln2 & 2024-069-0087.sam
12 | 2024-069-0103.mrgcln2 | 2024-069-0103.sam | 146 | 154 | 2024-069-0103.mrgcln2 & 2024-069-0103.sam
13 | 2024-069-0108.mrgcln2 | 2024-069-0108.sam | 156 | 164 | 2024-069-0108.mrgcln2 & 2024-069-0108.sam
14 | 2024-069-0143.mrgcln2 | 2024-069-0143.sam | 166 | 175 | 2024-069-0143.mrgcln2 & 2024-069-0143.sam
15 | 2024-069-0147.mrgcln2 | 2024-069-0147.sam | 177 | 189 | 2024-069-0147.mrgcln2 & 2024-069-0147.sam
16 | 2024-069-0160.mrgcln2 | 2024-069-0160.sam | 191 | 201 | 2024-069-0160.mrgcln2 & 2024-069-0160.sam
17 | 2024-069-0163.mrgcln2 | 2024-069-0163.sam | 203 | 215 | 2024-069-0163.mrgcln2 & 2024-069-0163.sam
18 | 2024-069-0176.mrgcln2 | 2024-069-0176.sam | 217 | 219 | 2024-069-0176.mrgcln2 & 2024-069-0176.sam
19 | 2024-069-0180.mrgcln2 | 2024-069-0180.sam | 221 | 223 | 2024-069-0180.mrgcln2 & 2024-069-0180.sam
20 | 2024-069-0185.mrgcln2 | 2024-069-0185.sam | 225 | 227 | 2024-069-0185.mrgcln2 & 2024-069-0185.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (OXY_SBE - OXY_BOT) | OXY_SBE | 20
2 | (OXY_SBE - OXY_BOT) | OXY_SBE | 1
3 | (OXY_SBE - OXY_BOT) | File Pair # | 20
4 | (OXY_SBE - OXY_BOT) | OXY_SBE | 20
5 | (OXY_SBE - OXY_BOT) | OXY_SBE | 1

## all cast vs SBE DO
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.85303 |  | X | CALC Y
m= | 0.02133 | 0.00071813 |  | Std Dev of Resid |  | 0.018429 |  | 0.23952 | -0.045158
b= | -0.050267 | 0.0032233 |  | Resid Sum of Squares |  | 0.051622 |  | 7.7596 | 0.11525
# of Values Extracted = |  |  | 198
# of Values Used in Fit = |  |  | 154
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 406.342 | 0.83977 | 0.0014822 | -0.025234 | -0.032355 | -0.0071208 |  | 0.83977 | -0.025234
1 | YES | 300.258 | 1.3548 | 0.0046404 | -0.022158 | -0.021369 | 0.00078916 |  | 1.3548 | -0.022158
1 | YES | 250.528 | 1.5403 | 0.0043558 | -0.035668 | -0.017412 | 0.018256 |  | 1.5403 | -0.035668
1 | YES | 199.675 | 2.0427 | 0.0037142 | -0.010282 | -0.0066961 | 0.0035859 |  | 2.0427 | -0.010282
1 | YES | 150.518 | 3.0208 | 0.0040094 | 0.016759 | 0.014165 | -0.0025939 |  | 3.0208 | 0.016759
1 | YES | 99.7429 | 3.9644 | 0.0013141 | 0.040378 | 0.034293 | -0.006085 |  | 3.9644 | 0.040378
1 | NO | 75.128 | 5.0854 | 0.0080083 | -0.0016346 | 0.058204 | 0.059838 |  | 6.4566 | 0.073552
1 | YES | 50.5805 | 6.4566 | 0.0067254 | 0.073552 | 0.087451 | 0.013899 |  | 6.601 | 0.082004
1 | YES | 24.9654 | 6.601 | 0.0061261 | 0.082004 | 0.090532 | 0.0085278 |  | 6.7694 | 0.097386
1 | YES | 10.1411 | 6.7694 | 0.008833 | 0.097386 | 0.094124 | -0.0032622 |  | 6.7088 | 0.090809
1 | YES | 5.3163 | 6.7088 | 0.0083664 | 0.090809 | 0.092832 | 0.0020226 |  | 6.6934 | 0.08844
1 | YES | 3.5299 | 6.6934 | 0.012403 | 0.08844 | 0.092504 | 0.0040638 |  | 2.4592 | 0.0032194
2 | YES | 163.912 | 2.4592 | 0.014542 | 0.0032194 | 0.0021879 | -0.0010315 |  | 2.5372 | 0.011178
2 | YES | 150.65 | 2.5372 | 0.004554 | 0.011178 | 0.0038507 | -0.0073278 |  | 2.9292 | 0.026236
2 | YES | 100.038 | 2.9292 | 0.0050355 | 0.026236 | 0.012213 | -0.014023 |  | 3.174 | 0.02205
2 | YES | 74.7426 | 3.174 | 0.0056566 | 0.02205 | 0.017435 | -0.0046147 |  | 3.7782 | -0.020774
2 | YES | 50.2536 | 3.7782 | 0.011596 | -0.020774 | 0.030322 | 0.051096 |  | 5.8953 | 0.054307
2 | YES | 24.6319 | 5.8953 | 0.010991 | 0.054307 | 0.07548 | 0.021173 |  | 6.3765 | 0.081514
2 | YES | 9.9175 | 6.3765 | 0.0072256 | 0.081514 | 0.085744 | 0.0042292 |  | 6.2722 | 0.059178
2 | YES | 4.1952 | 6.2722 | 0.017377 | 0.059178 | 0.083518 | 0.02434 |  | 6.2691 | 0.095103
2 | YES | 4.0414 | 6.2691 | 0.017216 | 0.095103 | 0.083453 | -0.01165 |  | 1.4643 | -0.011718
3 | YES | 236.428 | 1.4643 | 0.0043152 | -0.011718 | -0.019034 | -0.0073164 |  | 1.6986 | -0.00043988
3 | YES | 200.461 | 1.6986 | 0.0038152 | -0.00043988 | -0.014037 | -0.013597 |  | 2.2295 | 0.0054731
3 | YES | 149.896 | 2.2295 | 0.0057206 | 0.0054731 | -0.0027127 | -0.0081858 |  | 2.753 | 0.015012
3 | YES | 99.7606 | 2.753 | 0.0038291 | 0.015012 | 0.0084544 | -0.0065581 |  | 3.8986 | 0.050548
3 | YES | 75.0808 | 3.8986 | 0.0055188 | 0.050548 | 0.032889 | -0.017659 |  | 4.804 | 0.011038
3 | NO | 49.9734 | 4.804 | 0.018573 | 0.10804 | 0.052203 | -0.055835 |  | 6.8883 | 0.097261
3 | YES | 49.9734 | 4.804 | 0.018573 | 0.011038 | 0.052203 | 0.041165 |  | 6.8747 | 0.088722
3 | YES | 9.7611 | 6.8883 | 0.0072757 | 0.097261 | 0.096659 | -0.00060223 |  | 6.8508 | 0.062837
3 | YES | 5.438 | 6.8747 | 0.0047925 | 0.088722 | 0.09637 | 0.0076482 |  | 0.39792 | -0.042075
3 | YES | 3.5886 | 6.8508 | 0.012689 | 0.062837 | 0.095861 | 0.033024 |  | 0.74748 | -0.034519
4 | NO | 840.841 | 0.23046 | 0.0081283 | -0.18054 | -0.045352 | 0.13519 |  | 1.0145 | -0.037552
4 | YES | 750.272 | 0.39792 | 0.0034404 | -0.042075 | -0.04178 | 0.00029519 |  | 1.3669 | -0.015137
4 | YES | 499.896 | 0.74748 | 0.0045954 | -0.034519 | -0.034323 | 0.00019521 |  | 1.9862 | 0.0032344
4 | YES | 399.935 | 1.0145 | 0.0026328 | -0.037552 | -0.028629 | 0.0089229 |  | 1.9862 | -0.0027655
4 | YES | 300.002 | 1.3669 | 0.0058795 | -0.015137 | -0.021112 | -0.0059754 |  | 2.6826 | 0.023569
4 | YES | 199.819 | 1.9862 | 0.0037733 | 0.0032344 | -0.007901 | -0.011135 |  | 4.1562 | 0.05824
4 | YES | 199.819 | 1.9862 | 0.0037733 | -0.0027655 | -0.007901 | -0.0051355 |  | 5.6043 | 0.089303
4 | YES | 150.144 | 2.6826 | 0.0022128 | 0.023569 | 0.0069519 | -0.016617 |  | 6.7344 | 0.090369
4 | NO | 100.456 | 3.6393 | 0.0054818 | -0.052726 | 0.027358 | 0.080084 |  | 6.7341 | 0.084125
4 | YES | 75.5655 | 4.1562 | 0.0080695 | 0.05824 | 0.038385 | -0.019855 |  | 6.7332 | 0.09016
4 | YES | 49.5681 | 5.6043 | 0.0064068 | 0.089303 | 0.069272 | -0.020031 |  | 5.6466 | 0.085631
4 | NO | 25.0421 | 6.0912 | 0.023225 | 0.022183 | 0.079657 | 0.057475 |  | 6.4842 | 0.12122
4 | YES | 10.2738 | 6.7344 | 0.0081189 | 0.090369 | 0.093377 | 0.0030075 |  | 1.402 | -0.030982
4 | YES | 4.6422 | 6.7341 | 0.0067213 | 0.084125 | 0.093371 | 0.0092468 |  | 0.58241 | -0.045593
4 | YES | 3.2156 | 6.7332 | 0.0086533 | 0.09016 | 0.093351 | 0.0031905 |  | 0.23952 | -0.046481
5 | YES | 49.8825 | 5.6466 | 0.021302 | 0.085631 | 0.070175 | -0.015456 |  | 0.27396 | -0.054037
5 | NO | 39.695 | 5.8849 | 0.016625 | 0.12191 | 0.075258 | -0.046655 |  | 0.65921 | -0.033788
5 | YES | 30.0677 | 6.4842 | 0.0092008 | 0.12122 | 0.088041 | -0.033179 |  | 1.0815 | -0.018457
6 | YES | 2019.05 | 1.402 | 0.0093179 | -0.030982 | -0.020362 | 0.01062 |  | 1.6702 | -0.018813
6 | YES | 1500.41 | 0.58241 | 0.009007 | -0.045593 | -0.037845 | 0.0077489 |  | 2.8779 | 0.026921
6 | YES | 999.907 | 0.23952 | 0.0028955 | -0.046481 | -0.045158 | 0.001323 |  | 3.675 | 0.029988
6 | YES | 750.126 | 0.27396 | 0.00084819 | -0.054037 | -0.044424 | 0.0096138 |  | 6.6579 | 0.090925
6 | YES | 500.431 | 0.65921 | 0.0018599 | -0.033788 | -0.036206 | -0.0024179 |  | 6.8408 | 0.096838
6 | YES | 399.583 | 1.0815 | 0.0030576 | -0.018457 | -0.027198 | -0.0087415 |  | 6.5656 | 0.069577
6 | YES | 299.084 | 1.6702 | 0.0018782 | -0.018813 | -0.014642 | 0.0041712 |  | 6.572 | 0.080992
6 | NO | 249.506 | 2.5714 | 0.017338 | -0.047635 | 0.00458 | 0.052215 |  | 6.5679 | 0.075934
6 | YES | 199.991 | 2.8779 | 0.0079801 | 0.026921 | 0.011119 | -0.015802 |  | 6.5692 | 0.072168
6 | YES | 150.095 | 3.675 | 0.0079281 | 0.029988 | 0.02812 | -0.0018674 |  | 0.75713 | -0.05687
6 | NO | 99.5227 | 5.2922 | 0.007859 | 0.33119 | 0.062615 | -0.26858 |  | 0.93381 | -0.027191
6 | YES | 75.0718 | 6.6579 | 0.0057354 | 0.090925 | 0.091746 | 0.00082104 |  | 1.2565 | -0.048548
6 | YES | 50.5729 | 6.8408 | 0.0067114 | 0.096838 | 0.095648 | -0.0011903 |  | 1.561 | -0.0090332
6 | YES | 25.1223 | 6.5656 | 0.0075556 | 0.069577 | 0.089776 | 0.0202 |  | 2.2862 | 0.014228
6 | YES | 9.8599 | 6.572 | 0.0069953 | 0.080992 | 0.089913 | 0.0089214 |  | 3.1271 | 0.028066
6 | YES | 4.9968 | 6.5679 | 0.0062406 | 0.075934 | 0.089827 | 0.013893 |  | 4.4076 | 0.03761
6 | YES | 3.2815 | 6.5692 | 0.0094473 | 0.072168 | 0.089853 | 0.017685 |  | 5.5002 | 0.056195
7 | YES | 499.777 | 0.75713 | 0.004348 | -0.05687 | -0.034118 | 0.022752 |  | 6.1789 | 0.073874
7 | YES | 399.567 | 0.93381 | 0.0018655 | -0.027191 | -0.030349 | -0.0031582 |  | 6.9668 | 0.070818
7 | YES | 300.079 | 1.2565 | 0.0061338 | -0.048548 | -0.023467 | 0.02508 |  | 6.672 | 0.091971
7 | YES | 249.759 | 1.561 | 0.00065744 | -0.0090332 | -0.016972 | -0.0079386 |  | 6.5107 | 0.07773
7 | YES | 200.279 | 2.2862 | 0.0036312 | 0.014228 | -0.001502 | -0.01573 |  | 6.4982 | 0.073203
7 | YES | 150.901 | 3.1271 | 0.0028365 | 0.028066 | 0.016433 | -0.011633 |  | 1.1495 | -0.016539
7 | YES | 100.081 | 4.4076 | 0.008091 | 0.03761 | 0.043747 | 0.0061369 |  | 1.6568 | -0.0061702
7 | YES | 75.6665 | 5.5002 | 0.0086891 | 0.056195 | 0.067052 | 0.010857 |  | 3.0267 | 0.024689
7 | YES | 50.2901 | 6.1789 | 0.0087511 | 0.073874 | 0.081528 | 0.0076534 |  | 4.3652 | 0.052224
7 | YES | 25.391 | 6.9668 | 0.011358 | 0.070818 | 0.098335 | 0.027517 |  | 5.7297 | 0.11665
7 | YES | 10.0569 | 6.672 | 0.0061903 | 0.091971 | 0.092046 | 7.4811e-05 |  | 5.6385 | 0.077461
7 | YES | 5.03 | 6.5107 | 0.0066738 | 0.07773 | 0.088606 | 0.010876 |  | 6.9154 | 0.11244
7 | YES | 3.1996 | 6.4982 | 0.0078041 | 0.073203 | 0.088339 | 0.015136 |  | 6.8108 | 0.086784
8 | YES | 263.72 | 1.1495 | 0.0042193 | -0.016539 | -0.025749 | -0.0092098 |  | 6.6498 | 0.071751
8 | YES | 200.351 | 1.6568 | 0.0050241 | -0.0061702 | -0.014927 | -0.0087569 |  | 6.643 | 0.066974
8 | YES | 149.783 | 3.0267 | 0.0041128 | 0.024689 | 0.014292 | -0.010397 |  | 3.0553 | -0.0056784
8 | YES | 100.291 | 4.3652 | 0.0067447 | 0.052224 | 0.042843 | -0.0093809 |  | 3.0861 | 0.0040789
8 | YES | 75.1167 | 5.7297 | 0.004907 | 0.11665 | 0.071946 | -0.044701 |  | 3.1797 | 0.010681
8 | YES | 49.9404 | 5.6385 | 0.0057901 | 0.077461 | 0.070001 | -0.0074598 |  | 3.2688 | 0.018755
8 | YES | 24.7715 | 6.9154 | 0.0079082 | 0.11244 | 0.097239 | -0.015205 |  | 3.3564 | 0.029415
8 | YES | 10.3981 | 6.8108 | 0.0095491 | 0.086784 | 0.095007 | 0.0082221 |  | 3.3951 | 0.034137
8 | YES | 4.564 | 6.6498 | 0.0074501 | 0.071751 | 0.091572 | 0.019821 |  | 3.5143 | 0.03727
8 | YES | 2.9342 | 6.643 | 0.0081285 | 0.066974 | 0.091427 | 0.024453 |  | 3.7427 | 0.034693
9 | YES | 538.71 | 3.0553 | 0.0035859 | -0.0056784 | 0.014903 | 0.020581 |  | 3.7742 | 0.041178
9 | YES | 500.833 | 3.0861 | 0.0024474 | 0.0040789 | 0.015559 | 0.01148 |  | 4.0459 | 0.068942
9 | YES | 400.877 | 3.1797 | 0.0047925 | 0.010681 | 0.017555 | 0.0068746 |  | 4.5049 | 0.074938
9 | YES | 299.74 | 3.2688 | 0.0041995 | 0.018755 | 0.019455 | 0.00070013 |  | 3.6128 | 0.0087931
9 | YES | 249.914 | 3.3564 | 0.0046924 | 0.029415 | 0.021325 | -0.00809 |  | 3.6288 | 0.030809
9 | YES | 199.935 | 3.3951 | 0.0060513 | 0.034137 | 0.022151 | -0.011986 |  | 3.6674 | 0.013402
9 | YES | 149.359 | 3.5143 | 0.0046599 | 0.03727 | 0.024692 | -0.012578 |  | 3.7103 | 0.03227
9 | YES | 99.6722 | 3.7427 | 0.0038951 | 0.034693 | 0.029564 | -0.0051288 |  | 3.7973 | 0.028274
9 | YES | 75.3989 | 3.7742 | 0.0055375 | 0.041178 | 0.030236 | -0.010943 |  | 3.3203 | 0.039311
9 | YES | 50.0401 | 4.0459 | 0.0083215 | 0.068942 | 0.036033 | -0.032909 |  | 3.6039 | 0.055913
9 | YES | 24.6715 | 4.5049 | 0.0062223 | 0.074938 | 0.045823 | -0.029115 |  | 4.3955 | 0.085483
9 | NO | 9.4734 | 6.6616 | 0.012575 | 0.81556 | 0.091824 | -0.72374 |  | 4.2516 | 0.06661
9 | NO | 5.2996 | 8.2353 | 0.011355 | 0.45527 | 0.12539 | -0.32988 |  | 7.5187 | 0.07368
9 | NO | 2.6219 | 8.6089 | 0.010899 | 0.20186 | 0.13336 | -0.068497 |  | 7.5607 | 0.13169
10 | YES | 312.244 | 3.6128 | 0.00426 | 0.0087931 | 0.026793 | 0.018 |  | 3.7039 | 0.041847
10 | YES | 301.374 | 3.6288 | 0.0049469 | 0.030809 | 0.027135 | -0.003674 |  | 3.7988 | 0.030834
10 | YES | 249.948 | 3.6674 | 0.0033997 | 0.013402 | 0.027958 | 0.014556 |  | 3.3628 | 0.046834
10 | YES | 200.01 | 3.7103 | 0.003071 | 0.03227 | 0.028873 | -0.003397 |  | 5.1201 | 0.035075
10 | YES | 149.962 | 3.7973 | 0.0062496 | 0.028274 | 0.030728 | 0.0024546 |  | 0.97756 | -0.024436
10 | YES | 99.8496 | 3.3203 | 0.0019892 | 0.039311 | 0.020555 | -0.018756 |  | 1.6899 | -0.014087
10 | YES | 74.9547 | 3.6039 | 0.014295 | 0.055913 | 0.026604 | -0.029309 |  | 3.2165 | 0.011502
10 | YES | 50.153 | 4.3955 | 0.0056429 | 0.085483 | 0.043488 | -0.041994 |  | 4.6143 | 0.058328
10 | YES | 25.1386 | 4.2516 | 0.0053352 | 0.06661 | 0.040419 | -0.02619 |  | 5.2509 | 0.040863
10 | NO | 10.0004 | 5.9301 | 0.12198 | -0.14189 | 0.076222 | 0.21811 |  | 6.7187 | 0.067697
10 | YES | 5.1407 | 7.5187 | 0.017686 | 0.07368 | 0.11011 | 0.036426 |  | 6.7363 | 0.086247
10 | YES | 2.8618 | 7.5607 | 0.012761 | 0.13169 | 0.111 | -0.020692 |  | 6.2373 | 0.12529
11 | YES | 200.222 | 3.7039 | 0.0043365 | 0.041847 | 0.028736 | -0.013111 |  | 6.2373 | 0.093286
11 | YES | 149.772 | 3.7988 | 0.0044203 | 0.030834 | 0.030762 | -7.2493e-05 |  | 6.7167 | 0.12272
11 | YES | 100.2 | 3.3628 | 0.0054019 | 0.046834 | 0.021462 | -0.025372 |  | 7.0347 | 0.12368
11 | NO | 74.9408 | 3.3563 | 0.010093 | -0.081739 | 0.021322 | 0.10306 |  | 7.0276 | 0.10359
11 | NO | 49.877 | 4.4663 | 0.005732 | 0.15633 | 0.044999 | -0.11133 |  | 7.031 | 0.10504
11 | YES | 25.2024 | 5.1201 | 0.010306 | 0.035075 | 0.058944 | 0.023869 |  | 1.9131 | -0.0068587
11 | NO | 9.8908 | 7.268 | 0.21042 | 0.613 | 0.10476 | -0.50824 |  | 2.0181 | -0.017871
11 | NO | 5.0621 | 7.348 | 0.039781 | 0.18801 | 0.10647 | -0.081547 |  | 2.428 | -0.016025
11 | NO | 2.9188 | 7.1383 | 0.056983 | 0.14931 | 0.10199 | -0.047315 |  | 2.886 | -0.03
12 | YES | 199.775 | 0.97756 | 0.0043797 | -0.024436 | -0.029416 | -0.0049802 |  | 3.5447 | -0.024336
12 | YES | 150.572 | 1.6899 | 0.00401 | -0.014087 | -0.014222 | -0.0001344 |  | 1.3616 | -0.027382
12 | YES | 100.725 | 3.2165 | 0.0046736 | 0.011502 | 0.018341 | 0.0068383 |  | 1.6514 | -0.017556
12 | YES | 75.0765 | 4.6143 | 0.027202 | 0.058328 | 0.048156 | -0.010171 |  | 1.8239 | -0.013137
12 | YES | 50.3164 | 5.2509 | 0.0038951 | 0.040863 | 0.061733 | 0.020871 |  | 2.1619 | -0.0051079
12 | NO | 25.194 | 5.6713 | 0.016259 | 0.0012655 | 0.070701 | 0.069435 |  | 2.4389 | -0.018108
12 | YES | 9.8883 | 6.7187 | 0.0066254 | 0.067697 | 0.093042 | 0.025345 |  | 2.6887 | 0.0086555
12 | YES | 4.65 | 6.7363 | 0.015943 | 0.086247 | 0.093417 | 0.0071698 |  | 3.0438 | 0.024772
12 | NO | 3.6944 | 6.7157 | 0.086374 | 0.064651 | 0.092977 | 0.028326 |  | 3.9139 | 0.032905
13 | NO | 100.738 | 2.3171 | 0.017474 | -0.16889 | -0.00084313 | 0.16804 |  | 4.501 | 0.029962
13 | NO | 100.738 | 2.3171 | 0.017474 | -0.18988 | -0.00084313 | 0.18904 |  | 5.2288 | 0.033793
13 | NO | 74.9287 | 4.2682 | 0.0039662 | 0.18217 | 0.040773 | -0.14139 |  | 2.501 | -0.0080028
13 | YES | 49.6786 | 6.2373 | 0.025501 | 0.12529 | 0.082774 | -0.042512 |  | 2.7415 | 0.014457
13 | YES | 49.6786 | 6.2373 | 0.025501 | 0.093286 | 0.082774 | -0.010512 |  | 2.7735 | 0.015502
13 | YES | 24.7836 | 6.7167 | 0.0038788 | 0.12272 | 0.093 | -0.029718 |  | 2.5264 | -0.0095773
13 | YES | 9.8307 | 7.0347 | 0.0059085 | 0.12368 | 0.099782 | -0.023899 |  | 2.5774 | -0.00060582
13 | YES | 4.9862 | 7.0276 | 0.0058067 | 0.10359 | 0.099631 | -0.0039589 |  | 2.6589 | 0.0078921
13 | YES | 3.2811 | 7.031 | 0.006784 | 0.10504 | 0.099705 | -0.0053373 |  | 2.74 | 0.0069833
14 | YES | 267.451 | 1.9131 | 0.004582 | -0.0068587 | -0.00946 | -0.0026013 |  | 2.77 | 0.0070415
14 | YES | 200.731 | 2.0181 | 0.005027 | -0.017871 | -0.0072206 | 0.010651 |  | 2.8851 | 0.019149
14 | YES | 149.83 | 2.428 | 0.0015624 | -0.016025 | 0.0015215 | 0.017546 |  | 3.1546 | 0.056601
14 | YES | 99.7746 | 2.886 | 0.0053898 | -0.03 | 0.011291 | 0.041291 |  | 3.4318 | 0.028747
14 | YES | 75.0716 | 3.5447 | 0.0071279 | -0.024336 | 0.02534 | 0.049676 |  | 7.368 | 0.12101
14 | NO | 49.9358 | 4.4626 | 0.03441 | 0.01361 | 0.04492 | 0.03131 |  | 3.2088 | -0.0042148
14 | NO | 24.9784 | 5.1748 | 0.0080013 | -0.046249 | 0.06011 | 0.10636 |  | 4.0269 | 0.076888
14 | NO | 9.9578 | 6.4206 | 0.0064143 | 0.0055895 | 0.086684 | 0.081094 |  | 7.2503 | 0.14727
14 | NO | 5.1471 | 6.6357 | 0.03964 | -0.031294 | 0.091272 | 0.12257 |  | 3.2388 | -0.024155
14 | NO | 3.1515 | 7.0823 | 0.0093807 | 0.02525 | 0.1008 | 0.075547 |  | 3.8803 | 0.066343
15 | YES | 389.541 | 1.3616 | 0.0033732 | -0.027382 | -0.021224 | 0.0061579 |  | 7.7596 | 0.12361
15 | YES | 350.166 | 1.6514 | 0.0061079 | -0.017556 | -0.015042 | 0.002514 |  | 2.0452 | -0.046804
15 | YES | 300.256 | 1.8239 | 0.0054323 | -0.013137 | -0.011364 | 0.0017725
15 | YES | 250.53 | 2.1619 | 0.0059907 | -0.0051079 | -0.0041542 | 0.0009537 |  |  |  | avg | stdev
15 | YES | 200.616 | 2.4389 | 0.0056048 | -0.018108 | 0.0017542 | 0.019862 |  |  |  | 0.034707 | 0.047913
15 | YES | 150.402 | 2.6887 | 0.0045361 | 0.0086555 | 0.0070818 | -0.0015737
15 | YES | 100.38 | 3.0438 | 0.006113 | 0.024772 | 0.014656 | -0.010115
15 | YES | 74.9352 | 3.9139 | 0.0061335 | 0.032905 | 0.033216 | 0.00031155
15 | YES | 50.7912 | 4.501 | 0.0044938 | 0.029962 | 0.045738 | 0.015776
15 | YES | 25.2199 | 5.2288 | 0.0072266 | 0.033793 | 0.061263 | 0.02747
15 | NO | 10.4647 | 6.0523 | 0.015113 | 0.0083442 | 0.078829 | 0.070485
15 | NO | 4.5102 | 6.336 | 0.0098662 | -0.013975 | 0.08488 | 0.098855
15 | NO | 3.1489 | 6.3413 | 0.010167 | -0.058739 | 0.084992 | 0.14373
16 | YES | 340.793 | 2.501 | 0.0062619 | -0.0080028 | 0.003079 | 0.011082 | 2.509
16 | YES | 250.453 | 2.7415 | 0.003174 | 0.014457 | 0.008208 | -0.0062485 | 2.727
16 | YES | 200.093 | 2.7735 | 0.0086545 | 0.015502 | 0.0088914 | -0.0066108 | 2.758
16 | NO | 150.202 | 2.6196 | 0.01065 | -0.18244 | 0.0056079 | 0.18805 | 2.802
16 | NO | 100.011 | 2.8428 | 0.0084201 | -0.11115 | 0.010371 | 0.12152 | 2.954
16 | NO | 74.9024 | 3.3503 | 0.0056435 | -0.084689 | 0.021195 | 0.10588 | 3.435
16 | NO | 50.207 | 4.3657 | 0.015286 | -0.090284 | 0.042853 | 0.13314 | 4.456
16 | NO | 24.8976 | 5.2466 | 0.015394 | -0.1914 | 0.061643 | 0.25305 | 5.438
16 | NO | 10.0205 | 6.8774 | 0.035917 | -0.24657 | 0.096428 | 0.343 | 7.124
16 | NO | 4.8634 | 8.1485 | 0.050663 | -0.12655 | 0.12354 | 0.25009 | 8.275
16 | NO | 2.9377 | 8.1332 | 0.047382 | -0.18978 | 0.12321 | 0.31299 | 8.323
17 | YES | 443.66 | 2.5264 | 0.0035527 | -0.0095773 | 0.0036212 | 0.013199
17 | YES | 399.672 | 2.5774 | 0.0038294 | -0.00060582 | 0.0047084 | 0.0053142
17 | YES | 299.974 | 2.6589 | 0.0063729 | 0.0078921 | 0.0064468 | -0.0014453
17 | YES | 250.019 | 2.74 | 0.0036844 | 0.0069833 | 0.0081765 | 0.0011932
17 | YES | 199.944 | 2.77 | 0.0046831 | 0.0070415 | 0.0088176 | 0.0017762
17 | YES | 149.755 | 2.8851 | 0.0044575 | 0.019149 | 0.011273 | -0.0078766
17 | YES | 100.105 | 3.1546 | 0.004839 | 0.056601 | 0.01702 | -0.039581
17 | YES | 74.9005 | 3.4318 | 0.0062194 | 0.028747 | 0.022932 | -0.0058149
17 | NO | 49.9213 | 4.244 | 0.010765 | 0.18105 | 0.040258 | -0.1408
17 | NO | 24.7384 | 5.3344 | 0.010026 | 0.12638 | 0.063515 | -0.062866
17 | NO | 10.0362 | 5.5505 | 0.0064343 | -0.029465 | 0.068126 | 0.09759
17 | NO | 4.9368 | 7.349 | 0.0061329 | 0.20501 | 0.10649 | -0.098525
17 | YES | 3.0381 | 7.368 | 0.0097484 | 0.12101 | 0.10689 | -0.014121
18 | YES | 425.121 | 3.2088 | 0.0064874 | -0.0042148 | 0.018176 | 0.022391
18 | YES | 50.0606 | 4.0269 | 0.0054452 | 0.076888 | 0.035626 | -0.041262
18 | YES | 2.7451 | 7.2503 | 0.009259 | 0.14727 | 0.10438 | -0.04289
19 | YES | 537.919 | 3.2388 | 0.003538 | -0.024155 | 0.018817 | 0.042972
19 | YES | 50.0631 | 3.8803 | 0.0053254 | 0.066343 | 0.0325 | -0.033843
19 | YES | 3.128 | 7.7596 | 0.013385 | 0.12361 | 0.11525 | -0.008365
20 | YES | 288.023 | 2.0452 | 0.005274 | -0.046804 | -0.0066432 | 0.040161
20 | NO | 49.7965 | 3.9649 | 0.0089169 | 0.14587 | 0.034303 | -0.11157
20 | NO | 2.4594 | 7.9674 | 0.021081 | 0.041437 | 0.11968 | 0.078241
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
NO
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## cast 36
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=OXY_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.97451 |  | X | CALC Y
m= | 0.020102 | 0.00090169 |  | Std Dev of Resid |  | 0.0094755 |  | 0.23952 | -0.045507
b= | -0.050321 | 0.0039806 |  | Resid Sum of Squares |  | 0.0011672 |  | 6.8408 | 0.08719
# of Values Extracted = |  |  | 17
# of Values Used in Fit = |  |  | 15
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | OXY_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
6 | YES | 2019.05 | 1.402 | 0.0093179 | -0.030982 | -0.022138 | 0.0088435 |  | 1.402 | -0.030982
6 | YES | 1500.41 | 0.58241 | 0.009007 | -0.045593 | -0.038614 | 0.0069794 |  | 0.58241 | -0.045593
6 | YES | 999.907 | 0.23952 | 0.0028955 | -0.046481 | -0.045507 | 0.00097475 |  | 0.23952 | -0.046481
6 | YES | 750.126 | 0.27396 | 0.00084819 | -0.054037 | -0.044814 | 0.0092232 |  | 0.27396 | -0.054037
6 | YES | 500.431 | 0.65921 | 0.0018599 | -0.033788 | -0.03707 | -0.0032817 |  | 0.65921 | -0.033788
6 | YES | 399.583 | 1.0815 | 0.0030576 | -0.018457 | -0.028581 | -0.010124 |  | 1.0815 | -0.018457
6 | YES | 299.084 | 1.6702 | 0.0018782 | -0.018813 | -0.016748 | 0.0020655 |  | 1.6702 | -0.018813
6 | NO | 249.506 | 2.5714 | 0.017338 | -0.047635 | 0.0013673 | 0.049002 |  | 2.8779 | 0.026921
6 | YES | 199.991 | 2.8779 | 0.0079801 | 0.026921 | 0.0075294 | -0.019392 |  | 3.675 | 0.029988
6 | YES | 150.095 | 3.675 | 0.0079281 | 0.029988 | 0.023552 | -0.0064359 |  | 6.6579 | 0.090925
6 | NO | 99.5227 | 5.2922 | 0.007859 | 0.33119 | 0.05606 | -0.27513 |  | 6.8408 | 0.096838
6 | YES | 75.0718 | 6.6579 | 0.0057354 | 0.090925 | 0.083513 | -0.0074117 |  | 6.5656 | 0.069577
6 | YES | 50.5729 | 6.8408 | 0.0067114 | 0.096838 | 0.08719 | -0.0096478 |  | 6.572 | 0.080992
6 | YES | 25.1223 | 6.5656 | 0.0075556 | 0.069577 | 0.081657 | 0.01208 |  | 6.5679 | 0.075934
6 | YES | 9.8599 | 6.572 | 0.0069953 | 0.080992 | 0.081786 | 0.00079425 |  | 6.5692 | 0.072168
6 | YES | 4.9968 | 6.5679 | 0.0062406 | 0.075934 | 0.081704 | 0.0057708 |  |  |  | avg | stdev
6 | YES | 3.2815 | 6.5692 | 0.0094473 | 0.072168 | 0.081729 | 0.0095609 |  |  |  | 0.019679 | 0.05719
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## all versus f.p.#
Calculation of Linear Least Squares Fit For
(OXY_SBE - OXY_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (OXY_SBE - OXY_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0034121 |  | X | CALC Y
m= | -0.001057 | 0.0013245 |  | Std Dev of Resid |  | 0.095863 |  | 1 | 0.04574
b= | 0.046797 | 0.014174 |  | Resid Sum of Squares |  | 1.7093 |  | 20 | 0.025657
# of Values Extracted = |  |  | 198
# of Values Used in Fit = |  |  | 188
File | Use | Pressure | OXY_SBE | OXY_SBE | Diff (OXY_SBE - OXY_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 406.342 | 0.83977 | 0.0014822 | -0.025234 | 0.04574 | 0.070974 |  | 1 | -0.025234
1 | YES | 300.258 | 1.3548 | 0.0046404 | -0.022158 | 0.04574 | 0.067898 |  | 1 | -0.022158
1 | YES | 250.528 | 1.5403 | 0.0043558 | -0.035668 | 0.04574 | 0.081408 |  | 1 | -0.035668
1 | YES | 199.675 | 2.0427 | 0.0037142 | -0.010282 | 0.04574 | 0.056022 |  | 1 | -0.010282
1 | YES | 150.518 | 3.0208 | 0.0040094 | 0.016759 | 0.04574 | 0.028981 |  | 1 | 0.016759
1 | YES | 99.7429 | 3.9644 | 0.0013141 | 0.040378 | 0.04574 | 0.0053621 |  | 1 | 0.040378
1 | YES | 75.128 | 5.0854 | 0.0080083 | -0.0016346 | 0.04574 | 0.047375 |  | 1 | -0.0016346
1 | YES | 50.5805 | 6.4566 | 0.0067254 | 0.073552 | 0.04574 | -0.027812 |  | 1 | 0.073552
1 | YES | 24.9654 | 6.601 | 0.0061261 | 0.082004 | 0.04574 | -0.036264 |  | 1 | 0.082004
1 | YES | 10.1411 | 6.7694 | 0.008833 | 0.097386 | 0.04574 | -0.051646 |  | 1 | 0.097386
1 | YES | 5.3163 | 6.7088 | 0.0083664 | 0.090809 | 0.04574 | -0.045069 |  | 1 | 0.090809
1 | YES | 3.5299 | 6.6934 | 0.012403 | 0.08844 | 0.04574 | -0.0427 |  | 1 | 0.08844
2 | YES | 163.912 | 2.4592 | 0.014542 | 0.0032194 | 0.044683 | 0.041464 |  | 2 | 0.0032194
2 | YES | 150.65 | 2.5372 | 0.004554 | 0.011178 | 0.044683 | 0.033505 |  | 2 | 0.011178
2 | YES | 100.038 | 2.9292 | 0.0050355 | 0.026236 | 0.044683 | 0.018447 |  | 2 | 0.026236
2 | YES | 74.7426 | 3.174 | 0.0056566 | 0.02205 | 0.044683 | 0.022633 |  | 2 | 0.02205
2 | YES | 50.2536 | 3.7782 | 0.011596 | -0.020774 | 0.044683 | 0.065457 |  | 2 | -0.020774
2 | YES | 24.6319 | 5.8953 | 0.010991 | 0.054307 | 0.044683 | -0.009624 |  | 2 | 0.054307
2 | YES | 9.9175 | 6.3765 | 0.0072256 | 0.081514 | 0.044683 | -0.036831 |  | 2 | 0.081514
2 | YES | 4.1952 | 6.2722 | 0.017377 | 0.059178 | 0.044683 | -0.014495 |  | 2 | 0.059178
2 | YES | 4.0414 | 6.2691 | 0.017216 | 0.095103 | 0.044683 | -0.05042 |  | 2 | 0.095103
3 | YES | 236.428 | 1.4643 | 0.0043152 | -0.011718 | 0.043626 | 0.055344 |  | 3 | -0.011718
3 | YES | 200.461 | 1.6986 | 0.0038152 | -0.00043988 | 0.043626 | 0.044066 |  | 3 | -0.00043988
3 | YES | 149.896 | 2.2295 | 0.0057206 | 0.0054731 | 0.043626 | 0.038153 |  | 3 | 0.0054731
3 | YES | 99.7606 | 2.753 | 0.0038291 | 0.015012 | 0.043626 | 0.028614 |  | 3 | 0.015012
3 | YES | 75.0808 | 3.8986 | 0.0055188 | 0.050548 | 0.043626 | -0.0069216 |  | 3 | 0.050548
3 | YES | 49.9734 | 4.804 | 0.018573 | 0.10804 | 0.043626 | -0.064412 |  | 3 | 0.10804
3 | YES | 49.9734 | 4.804 | 0.018573 | 0.011038 | 0.043626 | 0.032588 |  | 3 | 0.011038
3 | YES | 9.7611 | 6.8883 | 0.0072757 | 0.097261 | 0.043626 | -0.053635 |  | 3 | 0.097261
3 | YES | 5.438 | 6.8747 | 0.0047925 | 0.088722 | 0.043626 | -0.045096 |  | 3 | 0.088722
3 | YES | 3.5886 | 6.8508 | 0.012689 | 0.062837 | 0.043626 | -0.019211 |  | 3 | 0.062837
4 | YES | 840.841 | 0.23046 | 0.0081283 | -0.18054 | 0.042569 | 0.22311 |  | 4 | -0.18054
4 | YES | 750.272 | 0.39792 | 0.0034404 | -0.042075 | 0.042569 | 0.084644 |  | 4 | -0.042075
4 | YES | 499.896 | 0.74748 | 0.0045954 | -0.034519 | 0.042569 | 0.077088 |  | 4 | -0.034519
4 | YES | 399.935 | 1.0145 | 0.0026328 | -0.037552 | 0.042569 | 0.080121 |  | 4 | -0.037552
4 | YES | 300.002 | 1.3669 | 0.0058795 | -0.015137 | 0.042569 | 0.057706 |  | 4 | -0.015137
4 | YES | 199.819 | 1.9862 | 0.0037733 | 0.0032344 | 0.042569 | 0.039335 |  | 4 | 0.0032344
4 | YES | 199.819 | 1.9862 | 0.0037733 | -0.0027655 | 0.042569 | 0.045335 |  | 4 | -0.0027655
4 | YES | 150.144 | 2.6826 | 0.0022128 | 0.023569 | 0.042569 | 0.019 |  | 4 | 0.023569
4 | YES | 100.456 | 3.6393 | 0.0054818 | -0.052726 | 0.042569 | 0.095295 |  | 4 | -0.052726
4 | YES | 75.5655 | 4.1562 | 0.0080695 | 0.05824 | 0.042569 | -0.015671 |  | 4 | 0.05824
4 | YES | 49.5681 | 5.6043 | 0.0064068 | 0.089303 | 0.042569 | -0.046734 |  | 4 | 0.089303
4 | YES | 25.0421 | 6.0912 | 0.023225 | 0.022183 | 0.042569 | 0.020386 |  | 4 | 0.022183
4 | YES | 10.2738 | 6.7344 | 0.0081189 | 0.090369 | 0.042569 | -0.0478 |  | 4 | 0.090369
4 | YES | 4.6422 | 6.7341 | 0.0067213 | 0.084125 | 0.042569 | -0.041556 |  | 4 | 0.084125
4 | YES | 3.2156 | 6.7332 | 0.0086533 | 0.09016 | 0.042569 | -0.047591 |  | 4 | 0.09016
5 | YES | 49.8825 | 5.6466 | 0.021302 | 0.085631 | 0.041512 | -0.044119 |  | 5 | 0.085631
5 | YES | 39.695 | 5.8849 | 0.016625 | 0.12191 | 0.041512 | -0.080401 |  | 5 | 0.12191
5 | YES | 30.0677 | 6.4842 | 0.0092008 | 0.12122 | 0.041512 | -0.079708 |  | 5 | 0.12122
6 | YES | 2019.05 | 1.402 | 0.0093179 | -0.030982 | 0.040455 | 0.071437 |  | 6 | -0.030982
6 | YES | 1500.41 | 0.58241 | 0.009007 | -0.045593 | 0.040455 | 0.086048 |  | 6 | -0.045593
6 | YES | 999.907 | 0.23952 | 0.0028955 | -0.046481 | 0.040455 | 0.086936 |  | 6 | -0.046481
6 | YES | 750.126 | 0.27396 | 0.00084819 | -0.054037 | 0.040455 | 0.094492 |  | 6 | -0.054037
6 | YES | 500.431 | 0.65921 | 0.0018599 | -0.033788 | 0.040455 | 0.074243 |  | 6 | -0.033788
6 | YES | 399.583 | 1.0815 | 0.0030576 | -0.018457 | 0.040455 | 0.058912 |  | 6 | -0.018457
6 | YES | 299.084 | 1.6702 | 0.0018782 | -0.018813 | 0.040455 | 0.059268 |  | 6 | -0.018813
6 | YES | 249.506 | 2.5714 | 0.017338 | -0.047635 | 0.040455 | 0.08809 |  | 6 | -0.047635
6 | YES | 199.991 | 2.8779 | 0.0079801 | 0.026921 | 0.040455 | 0.013534 |  | 6 | 0.026921
6 | YES | 150.095 | 3.675 | 0.0079281 | 0.029988 | 0.040455 | 0.010467 |  | 6 | 0.029988
6 | YES | 99.5227 | 5.2922 | 0.007859 | 0.33119 | 0.040455 | -0.29074 |  | 6 | 0.33119
6 | YES | 75.0718 | 6.6579 | 0.0057354 | 0.090925 | 0.040455 | -0.05047 |  | 6 | 0.090925
6 | YES | 50.5729 | 6.8408 | 0.0067114 | 0.096838 | 0.040455 | -0.056383 |  | 6 | 0.096838
6 | YES | 25.1223 | 6.5656 | 0.0075556 | 0.069577 | 0.040455 | -0.029122 |  | 6 | 0.069577
6 | YES | 9.8599 | 6.572 | 0.0069953 | 0.080992 | 0.040455 | -0.040537 |  | 6 | 0.080992
6 | YES | 4.9968 | 6.5679 | 0.0062406 | 0.075934 | 0.040455 | -0.035478 |  | 6 | 0.075934
6 | YES | 3.2815 | 6.5692 | 0.0094473 | 0.072168 | 0.040455 | -0.031713 |  | 6 | 0.072168
7 | YES | 499.777 | 0.75713 | 0.004348 | -0.05687 | 0.039398 | 0.096268 |  | 7 | -0.05687
7 | YES | 399.567 | 0.93381 | 0.0018655 | -0.027191 | 0.039398 | 0.066589 |  | 7 | -0.027191
7 | YES | 300.079 | 1.2565 | 0.0061338 | -0.048548 | 0.039398 | 0.087946 |  | 7 | -0.048548
7 | YES | 249.759 | 1.561 | 0.00065744 | -0.0090332 | 0.039398 | 0.048431 |  | 7 | -0.0090332
7 | YES | 200.279 | 2.2862 | 0.0036312 | 0.014228 | 0.039398 | 0.02517 |  | 7 | 0.014228
7 | YES | 150.901 | 3.1271 | 0.0028365 | 0.028066 | 0.039398 | 0.011332 |  | 7 | 0.028066
7 | YES | 100.081 | 4.4076 | 0.008091 | 0.03761 | 0.039398 | 0.001788 |  | 7 | 0.03761
7 | YES | 75.6665 | 5.5002 | 0.0086891 | 0.056195 | 0.039398 | -0.016797 |  | 7 | 0.056195
7 | YES | 50.2901 | 6.1789 | 0.0087511 | 0.073874 | 0.039398 | -0.034476 |  | 7 | 0.073874
7 | YES | 25.391 | 6.9668 | 0.011358 | 0.070818 | 0.039398 | -0.031419 |  | 7 | 0.070818
7 | YES | 10.0569 | 6.672 | 0.0061903 | 0.091971 | 0.039398 | -0.052573 |  | 7 | 0.091971
7 | YES | 5.03 | 6.5107 | 0.0066738 | 0.07773 | 0.039398 | -0.038332 |  | 7 | 0.07773
7 | YES | 3.1996 | 6.4982 | 0.0078041 | 0.073203 | 0.039398 | -0.033805 |  | 7 | 0.073203
8 | YES | 263.72 | 1.1495 | 0.0042193 | -0.016539 | 0.038341 | 0.054881 |  | 8 | -0.016539
8 | YES | 200.351 | 1.6568 | 0.0050241 | -0.0061702 | 0.038341 | 0.044511 |  | 8 | -0.0061702
8 | YES | 149.783 | 3.0267 | 0.0041128 | 0.024689 | 0.038341 | 0.013652 |  | 8 | 0.024689
8 | YES | 100.291 | 4.3652 | 0.0067447 | 0.052224 | 0.038341 | -0.013883 |  | 8 | 0.052224
8 | YES | 75.1167 | 5.7297 | 0.004907 | 0.11665 | 0.038341 | -0.078306 |  | 8 | 0.11665
8 | YES | 49.9404 | 5.6385 | 0.0057901 | 0.077461 | 0.038341 | -0.03912 |  | 8 | 0.077461
8 | YES | 24.7715 | 6.9154 | 0.0079082 | 0.11244 | 0.038341 | -0.074103 |  | 8 | 0.11244
8 | YES | 10.3981 | 6.8108 | 0.0095491 | 0.086784 | 0.038341 | -0.048443 |  | 8 | 0.086784
8 | YES | 4.564 | 6.6498 | 0.0074501 | 0.071751 | 0.038341 | -0.03341 |  | 8 | 0.071751
8 | YES | 2.9342 | 6.643 | 0.0081285 | 0.066974 | 0.038341 | -0.028633 |  | 8 | 0.066974
9 | YES | 538.71 | 3.0553 | 0.0035859 | -0.0056784 | 0.037284 | 0.042963 |  | 9 | -0.0056784
9 | YES | 500.833 | 3.0861 | 0.0024474 | 0.0040789 | 0.037284 | 0.033205 |  | 9 | 0.0040789
9 | YES | 400.877 | 3.1797 | 0.0047925 | 0.010681 | 0.037284 | 0.026603 |  | 9 | 0.010681
9 | YES | 299.74 | 3.2688 | 0.0041995 | 0.018755 | 0.037284 | 0.018529 |  | 9 | 0.018755
9 | YES | 249.914 | 3.3564 | 0.0046924 | 0.029415 | 0.037284 | 0.007869 |  | 9 | 0.029415
9 | YES | 199.935 | 3.3951 | 0.0060513 | 0.034137 | 0.037284 | 0.0031473 |  | 9 | 0.034137
9 | YES | 149.359 | 3.5143 | 0.0046599 | 0.03727 | 0.037284 | 1.4297e-05 |  | 9 | 0.03727
9 | YES | 99.6722 | 3.7427 | 0.0038951 | 0.034693 | 0.037284 | 0.0025911 |  | 9 | 0.034693
9 | YES | 75.3989 | 3.7742 | 0.0055375 | 0.041178 | 0.037284 | -0.0038944 |  | 9 | 0.041178
9 | YES | 50.0401 | 4.0459 | 0.0083215 | 0.068942 | 0.037284 | -0.031658 |  | 9 | 0.068942
9 | YES | 24.6715 | 4.5049 | 0.0062223 | 0.074938 | 0.037284 | -0.037654 |  | 9 | 0.074938
9 | YES | 9.4734 | 6.6616 | 0.012575 | 0.81556 | 0.037284 | -0.77828 |  | 9 | 0.81556
9 | YES | 5.2996 | 8.2353 | 0.011355 | 0.45527 | 0.037284 | -0.41798 |  | 9 | 0.45527
9 | YES | 2.6219 | 8.6089 | 0.010899 | 0.20186 | 0.037284 | -0.16457 |  | 9 | 0.20186
10 | YES | 312.244 | 3.6128 | 0.00426 | 0.0087931 | 0.036227 | 0.027434 |  | 10 | 0.0087931
10 | YES | 301.374 | 3.6288 | 0.0049469 | 0.030809 | 0.036227 | 0.0054179 |  | 10 | 0.030809
10 | YES | 249.948 | 3.6674 | 0.0033997 | 0.013402 | 0.036227 | 0.022825 |  | 10 | 0.013402
10 | YES | 200.01 | 3.7103 | 0.003071 | 0.03227 | 0.036227 | 0.0039574 |  | 10 | 0.03227
10 | YES | 149.962 | 3.7973 | 0.0062496 | 0.028274 | 0.036227 | 0.0079533 |  | 10 | 0.028274
10 | YES | 99.8496 | 3.3203 | 0.0019892 | 0.039311 | 0.036227 | -0.0030841 |  | 10 | 0.039311
10 | YES | 74.9547 | 3.6039 | 0.014295 | 0.055913 | 0.036227 | -0.019686 |  | 10 | 0.055913
10 | YES | 50.153 | 4.3955 | 0.0056429 | 0.085483 | 0.036227 | -0.049255 |  | 10 | 0.085483
10 | YES | 25.1386 | 4.2516 | 0.0053352 | 0.06661 | 0.036227 | -0.030383 |  | 10 | 0.06661
10 | NO | 10.0004 | 5.9301 | 0.12198 | -0.14189 | 0.036227 | 0.17812 |  | 10 | 0.07368
10 | YES | 5.1407 | 7.5187 | 0.017686 | 0.07368 | 0.036227 | -0.037453 |  | 10 | 0.13169
10 | YES | 2.8618 | 7.5607 | 0.012761 | 0.13169 | 0.036227 | -0.095467 |  | 11 | 0.041847
11 | YES | 200.222 | 3.7039 | 0.0043365 | 0.041847 | 0.03517 | -0.0066764 |  | 11 | 0.030834
11 | YES | 149.772 | 3.7988 | 0.0044203 | 0.030834 | 0.03517 | 0.0043359 |  | 11 | 0.046834
11 | YES | 100.2 | 3.3628 | 0.0054019 | 0.046834 | 0.03517 | -0.011664 |  | 11 | -0.081739
11 | YES | 74.9408 | 3.3563 | 0.010093 | -0.081739 | 0.03517 | 0.11691 |  | 11 | 0.15633
11 | YES | 49.877 | 4.4663 | 0.005732 | 0.15633 | 0.03517 | -0.12116 |  | 11 | 0.035075
11 | YES | 25.2024 | 5.1201 | 0.010306 | 0.035075 | 0.03517 | 9.5418e-05 |  | 12 | -0.024436
11 | NO | 9.8908 | 7.268 | 0.21042 | 0.613 | 0.03517 | -0.57783 |  | 12 | -0.014087
11 | NO | 5.0621 | 7.348 | 0.039781 | 0.18801 | 0.03517 | -0.15284 |  | 12 | 0.011502
11 | NO | 2.9188 | 7.1383 | 0.056983 | 0.14931 | 0.03517 | -0.11414 |  | 12 | 0.058328
12 | YES | 199.775 | 0.97756 | 0.0043797 | -0.024436 | 0.034113 | 0.058549 |  | 12 | 0.040863
12 | YES | 150.572 | 1.6899 | 0.00401 | -0.014087 | 0.034113 | 0.0482 |  | 12 | 0.0012655
12 | YES | 100.725 | 3.2165 | 0.0046736 | 0.011502 | 0.034113 | 0.022611 |  | 12 | 0.067697
12 | YES | 75.0765 | 4.6143 | 0.027202 | 0.058328 | 0.034113 | -0.024215 |  | 12 | 0.086247
12 | YES | 50.3164 | 5.2509 | 0.0038951 | 0.040863 | 0.034113 | -0.0067495 |  | 13 | -0.16889
12 | YES | 25.194 | 5.6713 | 0.016259 | 0.0012655 | 0.034113 | 0.032848 |  | 13 | -0.18988
12 | YES | 9.8883 | 6.7187 | 0.0066254 | 0.067697 | 0.034113 | -0.033584 |  | 13 | 0.18217
12 | YES | 4.65 | 6.7363 | 0.015943 | 0.086247 | 0.034113 | -0.052134 |  | 13 | 0.12529
12 | NO | 3.6944 | 6.7157 | 0.086374 | 0.064651 | 0.034113 | -0.030538 |  | 13 | 0.093286
13 | YES | 100.738 | 2.3171 | 0.017474 | -0.16889 | 0.033056 | 0.20194 |  | 13 | 0.12272
13 | YES | 100.738 | 2.3171 | 0.017474 | -0.18988 | 0.033056 | 0.22294 |  | 13 | 0.12368
13 | YES | 74.9287 | 4.2682 | 0.0039662 | 0.18217 | 0.033056 | -0.14911 |  | 13 | 0.10359
13 | YES | 49.6786 | 6.2373 | 0.025501 | 0.12529 | 0.033056 | -0.09223 |  | 13 | 0.10504
13 | YES | 49.6786 | 6.2373 | 0.025501 | 0.093286 | 0.033056 | -0.06023 |  | 14 | -0.0068587
13 | YES | 24.7836 | 6.7167 | 0.0038788 | 0.12272 | 0.033056 | -0.089662 |  | 14 | -0.017871
13 | YES | 9.8307 | 7.0347 | 0.0059085 | 0.12368 | 0.033056 | -0.090625 |  | 14 | -0.016025
13 | YES | 4.9862 | 7.0276 | 0.0058067 | 0.10359 | 0.033056 | -0.070534 |  | 14 | -0.03
13 | YES | 3.2811 | 7.031 | 0.006784 | 0.10504 | 0.033056 | -0.071986 |  | 14 | -0.024336
14 | YES | 267.451 | 1.9131 | 0.004582 | -0.0068587 | 0.031999 | 0.038858 |  | 14 | -0.046249
14 | YES | 200.731 | 2.0181 | 0.005027 | -0.017871 | 0.031999 | 0.049871 |  | 14 | 0.0055895
14 | YES | 149.83 | 2.428 | 0.0015624 | -0.016025 | 0.031999 | 0.048024 |  | 14 | 0.02525
14 | YES | 99.7746 | 2.886 | 0.0053898 | -0.03 | 0.031999 | 0.061999 |  | 15 | -0.027382
14 | YES | 75.0716 | 3.5447 | 0.0071279 | -0.024336 | 0.031999 | 0.056335 |  | 15 | -0.017556
14 | NO | 49.9358 | 4.4626 | 0.03441 | 0.01361 | 0.031999 | 0.018389 |  | 15 | -0.013137
14 | YES | 24.9784 | 5.1748 | 0.0080013 | -0.046249 | 0.031999 | 0.078248 |  | 15 | -0.0051079
14 | YES | 9.9578 | 6.4206 | 0.0064143 | 0.0055895 | 0.031999 | 0.02641 |  | 15 | -0.018108
14 | NO | 5.1471 | 6.6357 | 0.03964 | -0.031294 | 0.031999 | 0.063293 |  | 15 | 0.0086555
14 | YES | 3.1515 | 7.0823 | 0.0093807 | 0.02525 | 0.031999 | 0.0067487 |  | 15 | 0.024772
15 | YES | 389.541 | 1.3616 | 0.0033732 | -0.027382 | 0.030942 | 0.058324 |  | 15 | 0.032905
15 | YES | 350.166 | 1.6514 | 0.0061079 | -0.017556 | 0.030942 | 0.048498 |  | 15 | 0.029962
15 | YES | 300.256 | 1.8239 | 0.0054323 | -0.013137 | 0.030942 | 0.044079 |  | 15 | 0.033793
15 | YES | 250.53 | 2.1619 | 0.0059907 | -0.0051079 | 0.030942 | 0.03605 |  | 15 | 0.0083442
15 | YES | 200.616 | 2.4389 | 0.0056048 | -0.018108 | 0.030942 | 0.04905 |  | 15 | -0.013975
15 | YES | 150.402 | 2.6887 | 0.0045361 | 0.0086555 | 0.030942 | 0.022287 |  | 15 | -0.058739
15 | YES | 100.38 | 3.0438 | 0.006113 | 0.024772 | 0.030942 | 0.0061705 |  | 16 | -0.0080028
15 | YES | 74.9352 | 3.9139 | 0.0061335 | 0.032905 | 0.030942 | -0.0019624 |  | 16 | 0.014457
15 | YES | 50.7912 | 4.501 | 0.0044938 | 0.029962 | 0.030942 | 0.00097966 |  | 16 | 0.015502
15 | YES | 25.2199 | 5.2288 | 0.0072266 | 0.033793 | 0.030942 | -0.0028503 |  | 16 | -0.18244
15 | YES | 10.4647 | 6.0523 | 0.015113 | 0.0083442 | 0.030942 | 0.022598 |  | 16 | -0.11115
15 | YES | 4.5102 | 6.336 | 0.0098662 | -0.013975 | 0.030942 | 0.044917 |  | 16 | -0.084689
15 | YES | 3.1489 | 6.3413 | 0.010167 | -0.058739 | 0.030942 | 0.089681 |  | 16 | -0.090284
16 | YES | 340.793 | 2.501 | 0.0062619 | -0.0080028 | 0.029885 | 0.037888 |  | 16 | -0.1914
16 | YES | 250.453 | 2.7415 | 0.003174 | 0.014457 | 0.029885 | 0.015429 |  | 17 | -0.0095773
16 | YES | 200.093 | 2.7735 | 0.0086545 | 0.015502 | 0.029885 | 0.014383 |  | 17 | -0.00060582
16 | YES | 150.202 | 2.6196 | 0.01065 | -0.18244 | 0.029885 | 0.21233 |  | 17 | 0.0078921
16 | YES | 100.011 | 2.8428 | 0.0084201 | -0.11115 | 0.029885 | 0.14104 |  | 17 | 0.0069833
16 | YES | 74.9024 | 3.3503 | 0.0056435 | -0.084689 | 0.029885 | 0.11457 |  | 17 | 0.0070415
16 | YES | 50.207 | 4.3657 | 0.015286 | -0.090284 | 0.029885 | 0.12017 |  | 17 | 0.019149
16 | YES | 24.8976 | 5.2466 | 0.015394 | -0.1914 | 0.029885 | 0.22129 |  | 17 | 0.056601
16 | NO | 10.0205 | 6.8774 | 0.035917 | -0.24657 | 0.029885 | 0.27645 |  | 17 | 0.028747
16 | NO | 4.8634 | 8.1485 | 0.050663 | -0.12655 | 0.029885 | 0.15644 |  | 17 | 0.18105
16 | NO | 2.9377 | 8.1332 | 0.047382 | -0.18978 | 0.029885 | 0.21967 |  | 17 | 0.12638
17 | YES | 443.66 | 2.5264 | 0.0035527 | -0.0095773 | 0.028828 | 0.038405 |  | 17 | -0.029465
17 | YES | 399.672 | 2.5774 | 0.0038294 | -0.00060582 | 0.028828 | 0.029434 |  | 17 | 0.20501
17 | YES | 299.974 | 2.6589 | 0.0063729 | 0.0078921 | 0.028828 | 0.020936 |  | 17 | 0.12101
17 | YES | 250.019 | 2.74 | 0.0036844 | 0.0069833 | 0.028828 | 0.021845 |  | 18 | -0.0042148
17 | YES | 199.944 | 2.77 | 0.0046831 | 0.0070415 | 0.028828 | 0.021787 |  | 18 | 0.076888
17 | YES | 149.755 | 2.8851 | 0.0044575 | 0.019149 | 0.028828 | 0.0096787 |  | 18 | 0.14727
17 | YES | 100.105 | 3.1546 | 0.004839 | 0.056601 | 0.028828 | -0.027773 |  | 19 | -0.024155
17 | YES | 74.9005 | 3.4318 | 0.0062194 | 0.028747 | 0.028828 | 8.1382e-05 |  | 19 | 0.066343
17 | YES | 49.9213 | 4.244 | 0.010765 | 0.18105 | 0.028828 | -0.15223 |  | 19 | 0.12361
17 | YES | 24.7384 | 5.3344 | 0.010026 | 0.12638 | 0.028828 | -0.097553 |  | 20 | -0.046804
17 | YES | 10.0362 | 5.5505 | 0.0064343 | -0.029465 | 0.028828 | 0.058293 |  | 20 | 0.14587
17 | YES | 4.9368 | 7.349 | 0.0061329 | 0.20501 | 0.028828 | -0.17618 |  | 20 | 0.041437
17 | YES | 3.0381 | 7.368 | 0.0097484 | 0.12101 | 0.028828 | -0.092185
18 | YES | 425.121 | 3.2088 | 0.0064874 | -0.0042148 | 0.027771 | 0.031986
18 | YES | 50.0606 | 4.0269 | 0.0054452 | 0.076888 | 0.027771 | -0.049117
18 | YES | 2.7451 | 7.2503 | 0.009259 | 0.14727 | 0.027771 | -0.1195
19 | YES | 537.919 | 3.2388 | 0.003538 | -0.024155 | 0.026714 | 0.050869
19 | YES | 50.0631 | 3.8803 | 0.0053254 | 0.066343 | 0.026714 | -0.039629
19 | YES | 3.128 | 7.7596 | 0.013385 | 0.12361 | 0.026714 | -0.096896
20 | YES | 288.023 | 2.0452 | 0.005274 | -0.046804 | 0.025657 | 0.072461
20 | YES | 49.7965 | 3.9649 | 0.0089169 | 0.14587 | 0.025657 | -0.12021
20 | YES | 2.4594 | 7.9674 | 0.021081 | 0.041437 | 0.025657 | -0.01578
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. OXY_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE