## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6.1 | Run at 2025/04/17 08:28:08 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 661 | 163.792 | 163.912 | 0.40936 | 0.11966 | 33.5351 | 33.5407 | 0.0037476 | 0.0056419 | 33.5351 | 33.5386 | 0.0034708 | 0.0035362
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 482 | 50.271 | 50.2536 | 0.19925 | -0.017353 | 32.9621 | 32.9776 | 0.0041908 | 0.015518 | 32.9621 | 32.978 | 0.0048724 | 0.015938
2024-069-0008.mrgcln2 | 2024-069-0008.sam | 912 | 3.83 | 4.0369 | 0.46056 | 0.20693 | 31.3085 | 31.3385 | 0.029767 | 0.029976 | 31.3085 | 31.3381 | 0.031003 | 0.029615
2024-069-0010.mrgcln2 | 2024-069-0010.sam | 723 | 202.389 | 202.38 | 0.02671 | -0.0085907 | 33.2852 | 33.2847 | 0.0011054 | -0.00045776 | 33.2852 | 33.2837 | 0.0010825 | -0.0014763
2024-069-0010.mrgcln2 | 2024-069-0010.sam | 482 | 49.822 | 49.8227 | 0.028238 | 0.00068283 | 32.9454 | 32.9284 | 0.0011048 | -0.017044 | 32.9454 | 32.9265 | 0.00083884 | -0.018852
2024-069-0010.mrgcln2 | 2024-069-0010.sam | 723 | 3.204 | 3.2034 | 0.026861 | -0.00060296 | 30.846 | 30.7527 | 0.050211 | -0.093286 | 30.846 | 30.7591 | 0.04037 | -0.08692
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 723 | 236.408 | 236.428 | 0.1865 | 0.019882 | 33.9374 | 33.9395 | 0.00025133 | 0.0020561 | 33.9374 | 33.939 | 0.00037755 | 0.0016289
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 723 | 49.97 | 49.9734 | 0.21324 | 0.0034447 | 32.1179 | 32.1396 | 0.0081725 | 0.021709 | 32.1179 | 32.1458 | 0.010481 | 0.027916
2024-069-0023.mrgcln2 | 2024-069-0023.sam | 723 | 3.572 | 3.5886 | 0.20306 | 0.016548 | 31.4935 | 31.4575 | 0.0022211 | -0.036047 | 31.4935 | 31.4778 | 0.0014839 | -0.015661
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 723 | 840.763 | 840.841 | 0.22171 | 0.077637 | 34.257 | 34.267 | 0.00062014 | 0.0099983 | 34.257 | 34.259 | 0.00068983 | 0.0019531
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 482 | 49.537 | 49.5681 | 0.12651 | 0.031071 | 32.2894 | 32.2862 | 0.00036144 | -0.0032272 | 32.2894 | 32.2846 | 0.00034363 | -0.0047875
2024-069-0028.mrgcln2 | 2024-069-0028.sam | 723 | 3.233 | 3.2156 | 0.10844 | -0.017361 | 31.7268 | 31.7256 | 0.00022027 | -0.001236 | 31.7268 | 31.7241 | 0.00029678 | -0.0026646
2024-069-0032.mrgcln2 | 2024-069-0032.sam | 241 | 49.882 | 49.8825 | 0.13751 | 0.00046158 | 32.1043 | 32.0885 | 0.0023874 | -0.015846 | 32.1043 | 32.0899 | 0.0018925 | -0.01442
2024-069-0032.mrgcln2 | 2024-069-0032.sam | 241 | 39.695 | 39.695 | 0.10071 | 3.0518e-05 | 31.9385 | 31.9415 | 0.007999 | 0.0030022 | 31.9385 | 31.9401 | 0.0038413 | 0.0016308
2024-069-0032.mrgcln2 | 2024-069-0032.sam | 241 | 30.068 | 30.0677 | 0.12145 | -0.00029945 | 31.8844 | 31.8888 | 0.00039077 | 0.0044041 | 31.8844 | 31.8879 | 0.00042725 | 0.0035038
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 723 | 2019.08 | 2019.05 | 0.33939 | -0.032837 | 34.5929 | 34.5951 | 0.00024873 | 0.002224 | 34.5929 | 34.5927 | 0.00034688 | -0.0002327
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 482 | 50.559 | 50.5729 | 0.13421 | 0.013943 | 32.3177 | 32.3192 | 0.00038292 | 0.0015259 | 32.3177 | 32.318 | 0.00049642 | 0.00033188
2024-069-0036.mrgcln2 | 2024-069-0036.sam | 723 | 3.272 | 3.2815 | 0.18609 | 0.0095158 | 32.0813 | 32.0801 | 0.00029116 | -0.0011826 | 32.0813 | 32.0792 | 0.00033396 | -0.002079
2024-069-0040.mrgcln2 | 2024-069-0040.sam | 351 | 430.589 | 430.702 | 0.15679 | 0.11288 | 34.0702 | 34.0721 | 0.00024925 | 0.0018997 | 34.0702 | 34.0711 | 0.00030578 | 0.00091171
2024-069-0040.mrgcln2 | 2024-069-0040.sam | 287 | 49.883 | 49.9683 | 0.12397 | 0.085308 | 32.0816 | 32.0875 | 0.0007323 | 0.0058632 | 32.0816 | 32.0864 | 0.00047114 | 0.0047531
2024-069-0040.mrgcln2 | 2024-069-0040.sam | 324 | 3.165 | 3.1946 | 0.21239 | 0.029642 | 31.6325 | 31.6313 | 0.0013804 | -0.0012417 | 31.6325 | 31.6309 | 0.0017145 | -0.0016232
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 322 | 499.73 | 499.777 | 0.18631 | 0.047119 | 34.0814 | 34.0829 | 0.00024653 | 0.0015373 | 34.0814 | 34.0819 | 0.000335 | 0.00048828
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 319 | 50.382 | 50.2901 | 0.12463 | -0.091885 | 32.0436 | 32.0499 | 0.0010241 | 0.00634 | 32.0436 | 32.0485 | 0.00081446 | 0.004879
2024-069-0044.mrgcln2 | 2024-069-0044.sam | 344 | 3.159 | 3.1996 | 0.10147 | 0.040584 | 31.6413 | 31.6392 | 0.00079751 | -0.0020733 | 31.6413 | 31.6383 | 0.000406 | -0.0029812
2024-069-0047.mrgcln2 | 2024-069-0047.sam | 289 | 210.715 | 210.719 | 0.15251 | 0.0042419 | 33.8298 | 33.8323 | 0.00027626 | 0.0024719 | 33.8298 | 33.8318 | 0.00034566 | 0.0019989
2024-069-0047.mrgcln2 | 2024-069-0047.sam | 241 | 50.741 | 50.7408 | 0.1017 | -0.00015259 | 31.6961 | 32.0866 | 0.00071258 | 0.39051 | 31.6961 | 32.0865 | 0.00078907 | 0.3904
2024-069-0047.mrgcln2 | 2024-069-0047.sam | 328 | 3.27 | 3.3457 | 0.1256 | 0.075689 | 31.6793 | 31.6698 | 0.0090728 | -0.0094871 | 31.6793 | 31.6698 | 0.0053901 | -0.0095158
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 723 | 263.726 | 263.72 | 0.097278 | -0.0055847 | 33.9915 | 33.9943 | 0.00027606 | 0.0027695 | 33.9915 | 33.9938 | 0.00032443 | 0.0022736
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 482 | 49.949 | 49.9404 | 0.085587 | -0.0085526 | 32.244 | 32.2355 | 0.00044425 | -0.0084572 | 32.244 | 32.2346 | 0.00054407 | -0.0093574
2024-069-0054.mrgcln2 | 2024-069-0054.sam | 707 | 2.946 | 2.9342 | 0.05555 | -0.01184 | 31.7292 | 31.7265 | 0.010378 | -0.002718 | 31.7292 | 31.726 | 0.003726 | -0.0032005
2024-069-0059.mrgcln2 | 2024-069-0059.sam | 723 | 128.732 | 128.743 | 0.076265 | 0.010971 | 32.8449 | 32.866 | 0.0033648 | 0.021137 | 32.8449 | 32.8652 | 0.0029227 | 0.020328
2024-069-0059.mrgcln2 | 2024-069-0059.sam | 482 | 50.031 | 50.0249 | 0.038922 | -0.0060806 | 32.0141 | 32.0169 | 0.00083681 | 0.0028229 | 32.0141 | 31.9701 | 0.0010453 | -0.043963
2024-069-0059.mrgcln2 | 2024-069-0059.sam | 673 | 2.938 | 2.9477 | 0.043512 | 0.0097282 | 31.7135 | 31.7119 | 0.00032576 | -0.0015984 | 31.7135 | 31.6965 | 0.00033502 | -0.017017
2024-069-0069.mrgcln2 | 2024-069-0069.sam | 482 | 538.716 | 538.71 | 0.029709 | -0.0055542 | 33.1032 | 33.1063 | 0.0002814 | 0.0031395 | 33.1032 | 33.1053 | 0.00032833 | 0.0020714
2024-069-0070.mrgcln2 | 2024-069-0070.sam | 312 | 514.152 | 514.151 | 0.028116 | -0.0012817 | 33.0987 | 33.1014 | 0.00040745 | 0.0026588 | 33.0987 | 33.1004 | 0.00044995 | 0.0017204
2024-069-0083.mrgcln2 | 2024-069-0083.sam | 350 | 208.931 | 208.936 | 0.029921 | 0.0053101 | 32.4132 | 32.4415 | 0.0012289 | 0.028267 | 32.4132 | 32.4405 | 0.001261 | 0.027348
2024-069-0083.mrgcln2 | 2024-069-0083.sam | 286 | 50.891 | 50.8915 | 0.027703 | 0.00054932 | 31.6012 | 31.5901 | 0.00075518 | -0.01112 | 31.6012 | 31.5913 | 0.00067647 | -0.0099106
2024-069-0083.mrgcln2 | 2024-069-0083.sam | 333 | 2.683 | 2.6901 | 0.030048 | 0.007102 | 12.6501 | 18.4252 | 0.7604 | 5.7751 | 12.6501 | 18.9134 | 0.486 | 6.2633
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 353 | 312.29 | 312.244 | 0.058764 | -0.045898 | 32.8965 | 32.9004 | 0.00029195 | 0.0039139 | 32.8965 | 32.8999 | 0.00035085 | 0.0033722
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 290 | 50.153 | 50.153 | 0.025539 | -3.0518e-05 | 31.851 | 31.811 | 0.00031591 | -0.039988 | 31.851 | 31.81 | 0.00037853 | -0.041037
2024-069-0085.mrgcln2 | 2024-069-0085.sam | 337 | 2.867 | 2.8618 | 0.030683 | -0.005187 | 11.946 | 11.6066 | 0.070905 | -0.33944 | 11.946 | 11.5666 | 0.085467 | -0.37939
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 723 | 235.797 | 235.799 | 0.045233 | 0.0015717 | 32.878 | 32.8808 | 0.0013955 | 0.0028229 | 32.878 | 32.8805 | 0.00038582 | 0.0025101
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 482 | 49.874 | 49.877 | 0.027505 | 0.0030022 | 31.8427 | 31.78 | 0.0013151 | -0.062737 | 31.8427 | 31.779 | 0.0012117 | -0.063713
2024-069-0087.mrgcln2 | 2024-069-0087.sam | 712 | 2.918 | 2.9188 | 0.036187 | 0.00078654 | 7.5461 | 8.1823 | 0.62227 | 0.63624 | 7.5461 | 8.3365 | 0.67847 | 0.79037
2024-069-0090.mrgcln2 | 2024-069-0090.sam | 723 | 371.754 | 371.752 | 0.032258 | -0.0018311 | 32.9535 | 32.9655 | 0.00027956 | 0.012016 | 32.9535 | 32.965 | 0.00037385 | 0.01152
2024-069-0090.mrgcln2 | 2024-069-0090.sam | 482 | 49.987 | 49.9854 | 0.031151 | -0.0016022 | 32.0965 | 32.0744 | 0.0015139 | -0.022095 | 32.0965 | 32.0726 | 0.0019616 | -0.023853
2024-069-0090.mrgcln2 | 2024-069-0090.sam | 413 | 3.09 | 3.0935 | 0.029368 | 0.003494 | 13.9125 | 16.6409 | 0.42385 | 2.7284 | 13.9125 | 16.2556 | 0.47476 | 2.3432
2024-069-0095.mrgcln2 | 2024-069-0095.sam | 569 | 420.412 | 420.414 | 0.031831 | 0.0021973 | 33.0851 | 33.0892 | 0.00022742 | 0.0041428 | 33.0851 | 33.0884 | 0.00099183 | 0.0033264
2024-069-0095.mrgcln2 | 2024-069-0095.sam | 327 | 49.726 | 49.7255 | 0.025473 | -0.00054932 | 32.0041 | 31.943 | 0.003586 | -0.061087 | 32.0041 | 31.9389 | 0.0044716 | -0.065227
2024-069-0095.mrgcln2 | 2024-069-0095.sam | 355 | 2.658 | 2.6558 | 0.031134 | -0.0022225 | 25.3491 | 25.2808 | 0.0025983 | -0.068272 | 25.3491 | 25.2799 | 0.0019701 | -0.069242
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 326 | 199.532 | 199.775 | 0.1829 | 0.24306 | 33.9606 | 33.9626 | 0.00029894 | 0.0019646 | 33.9606 | 33.9625 | 0.00033653 | 0.0018806
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 284 | 50.323 | 50.3164 | 0.074855 | -0.0065537 | 31.9363 | 31.9382 | 0.00044702 | 0.0018978 | 31.9363 | 31.9383 | 0.00049994 | 0.0020008
2024-069-0103.mrgcln2 | 2024-069-0103.sam | 345 | 3.453 | 3.4949 | 0.13284 | 0.041919 | 31.5664 | 31.5627 | 0.00026709 | -0.0036964 | 31.5664 | 31.5625 | 0.00096643 | -0.0038681
2024-069-0105.mrgcln2 | 2024-069-0105.sam | 346 | 183.315 | 183.336 | 0.11237 | 0.021103 | 33.741 | 33.7111 | 0.00032413 | -0.029858 | 33.741 | 33.7436 | 0.0003824 | 0.0026474
2024-069-0105.mrgcln2 | 2024-069-0105.sam | 482 | 50.234 | 50.2482 | 0.13197 | 0.014175 | 31.8532 | 31.8472 | 0.0005394 | -0.0059681 | 31.8532 | 31.8443 | 0.00058572 | -0.0089493
2024-069-0105.mrgcln2 | 2024-069-0105.sam | 362 | 3.076 | 3.0954 | 0.1074 | 0.019442 | 31.3352 | 31.3213 | 0.00026152 | -0.013882 | 31.3352 | 31.2917 | 0.0018341 | -0.043537
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 574 | 100.749 | 100.738 | 0.052867 | -0.011116 | 32.8277 | 32.8921 | 0.0069906 | 0.064373 | 32.8277 | 32.8892 | 0.0057274 | 0.061489
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 304 | 49.681 | 49.6786 | 0.060215 | -0.0023689 | 31.7861 | 31.7843 | 0.0036991 | -0.0017643 | 31.7861 | 31.7852 | 0.0037884 | -0.00085258
2024-069-0108.mrgcln2 | 2024-069-0108.sam | 333 | 3.291 | 3.2811 | 0.096297 | -0.0098917 | 31.478 | 31.4725 | 0.00098855 | -0.0055447 | 31.478 | 31.4606 | 0.0010137 | -0.017389
2024-069-0112.mrgcln2 | 2024-069-0112.sam | 241 | 126.933 | 126.933 | 0.04433 | -0.00049591 | 32.4968 | 32.5236 | 0.00086326 | 0.026775 | 32.4968 | 32.5183 | 0.00075076 | 0.021462
2024-069-0127.mrgcln2 | 2024-069-0127.sam | 390 | 109.607 | 109.574 | 0.063049 | -0.03315 | 33.5024 | 33.506 | 0.0004482 | 0.0035629 | 33.5024 | 33.5056 | 0.00046076 | 0.0032349
2024-069-0127.mrgcln2 | 2024-069-0127.sam | 482 | 50.211 | 50.225 | 0.087494 | 0.014038 | 32.1396 | 32.1474 | 0.0022134 | 0.0077858 | 32.1396 | 32.147 | 0.0029106 | 0.0073891
2024-069-0127.mrgcln2 | 2024-069-0127.sam | 685 | 3.261 | 3.2662 | 0.081673 | 0.0052044 | 31.8726 | 31.8842 | 0.0019056 | 0.011581 | 31.8726 | 31.8838 | 0.0015452 | 0.011192
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 354 | 267.485 | 267.451 | 0.086139 | -0.034454 | 33.7503 | 33.7511 | 0.00024288 | 0.00075913 | 33.7503 | 33.7487 | 0.00029823 | -0.0016098
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 292 | 49.947 | 49.9358 | 0.054497 | -0.011242 | 32.4224 | 32.4248 | 0.0041813 | 0.0023499 | 32.4224 | 32.4229 | 0.0060499 | 0.00047302
2024-069-0143.mrgcln2 | 2024-069-0143.sam | 335 | 3.112 | 3.1515 | 0.054516 | 0.03946 | 31.6259 | 31.6637 | 0.0046674 | 0.037766 | 31.6259 | 31.6603 | 0.0036247 | 0.03441
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 360 | 340.78 | 340.793 | 0.13575 | 0.013092 | 33.3062 | 33.308 | 0.0014653 | 0.0017662 | 33.3062 | 33.3058 | 0.0011863 | -0.00039291
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 482 | 50.202 | 50.207 | 0.1139 | 0.0049782 | 31.7823 | 30.6863 | 0.0031864 | -1.096 | 31.7823 | 31.7644 | 0.00079936 | -0.017939
2024-069-0160.mrgcln2 | 2024-069-0160.sam | 405 | 2.922 | 2.9377 | 0.074392 | 0.015741 | 22.3161 | 21.6994 | 0.011866 | -0.61671 | 22.3161 | 22.3424 | 0.0067861 | 0.026281
2024-069-0163.mrgcln2 | 2024-069-0163.sam | 378 | 3.048 | 3.0381 | 0.037118 | -0.0099153 | 17.4213 | 17.3882 | 0.023729 | -0.033106 | 17.4213 | 17.3742 | 0.021559 | -0.047123
2024-069-0170.mrgcln2 | 2024-069-0170.sam | 325 | 2.75 | 2.7481 | 0.030781 | -0.0019538 | 16.6115 | 17.8871 | 0.022999 | 1.2756 | 16.6115 | 17.8837 | 0.017932 | 1.2722
2024-069-0172.mrgcln2 | 2024-069-0172.sam | 471 | 2.832 | 2.8333 | 0.029719 | 0.0013099 | 6.0773 | 8.7911 | 1.2601 | 2.7138 | 6.0773 | 9.8752 | 1.8003 | 3.7979
2024-069-0180.mrgcln2 | 2024-069-0180.sam | 370 | 3.135 | 3.128 | 0.029364 | -0.0070054 | 17.1376 | 17.1805 | 0.01071 | 0.0429 | 17.1376 | 17.1758 | 0.010311 | 0.038225
2024-069-0185.mrgcln2 | 2024-069-0185.sam | 362 | 288.017 | 288.023 | 0.038242 | 0.0063477 | 32.0267 | 32.0286 | 0.0002071 | 0.001873 | 32.0267 | 32.0268 | 0.00031393 | 5.3406e-05
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 30
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2024-069-0008.mrgcln2 | 2024-069-0008.sam | 12 | 14 | 2024-069-0008.mrgcln2 & 2024-069-0008.sam
2 | 2024-069-0010.mrgcln2 | 2024-069-0010.sam | 16 | 18 | 2024-069-0010.mrgcln2 & 2024-069-0010.sam
3 | 2024-069-0023.mrgcln2 | 2024-069-0023.sam | 20 | 22 | 2024-069-0023.mrgcln2 & 2024-069-0023.sam
4 | 2024-069-0028.mrgcln2 | 2024-069-0028.sam | 24 | 26 | 2024-069-0028.mrgcln2 & 2024-069-0028.sam
5 | 2024-069-0032.mrgcln2 | 2024-069-0032.sam | 28 | 30 | 2024-069-0032.mrgcln2 & 2024-069-0032.sam
6 | 2024-069-0036.mrgcln2 | 2024-069-0036.sam | 32 | 34 | 2024-069-0036.mrgcln2 & 2024-069-0036.sam
7 | 2024-069-0040.mrgcln2 | 2024-069-0040.sam | 36 | 38 | 2024-069-0040.mrgcln2 & 2024-069-0040.sam
8 | 2024-069-0044.mrgcln2 | 2024-069-0044.sam | 40 | 42 | 2024-069-0044.mrgcln2 & 2024-069-0044.sam
9 | 2024-069-0047.mrgcln2 | 2024-069-0047.sam | 44 | 46 | 2024-069-0047.mrgcln2 & 2024-069-0047.sam
10 | 2024-069-0054.mrgcln2 | 2024-069-0054.sam | 48 | 50 | 2024-069-0054.mrgcln2 & 2024-069-0054.sam
11 | 2024-069-0059.mrgcln2 | 2024-069-0059.sam | 52 | 54 | 2024-069-0059.mrgcln2 & 2024-069-0059.sam
12 | 2024-069-0069.mrgcln2 | 2024-069-0069.sam | 56 | 56 | 2024-069-0069.mrgcln2 & 2024-069-0069.sam
13 | 2024-069-0070.mrgcln2 | 2024-069-0070.sam | 58 | 58 | 2024-069-0070.mrgcln2 & 2024-069-0070.sam
14 | 2024-069-0083.mrgcln2 | 2024-069-0083.sam | 60 | 62 | 2024-069-0083.mrgcln2 & 2024-069-0083.sam
15 | 2024-069-0085.mrgcln2 | 2024-069-0085.sam | 64 | 66 | 2024-069-0085.mrgcln2 & 2024-069-0085.sam
16 | 2024-069-0087.mrgcln2 | 2024-069-0087.sam | 68 | 70 | 2024-069-0087.mrgcln2 & 2024-069-0087.sam
17 | 2024-069-0090.mrgcln2 | 2024-069-0090.sam | 72 | 74 | 2024-069-0090.mrgcln2 & 2024-069-0090.sam
18 | 2024-069-0095.mrgcln2 | 2024-069-0095.sam | 76 | 78 | 2024-069-0095.mrgcln2 & 2024-069-0095.sam
19 | 2024-069-0103.mrgcln2 | 2024-069-0103.sam | 80 | 82 | 2024-069-0103.mrgcln2 & 2024-069-0103.sam
20 | 2024-069-0105.mrgcln2 | 2024-069-0105.sam | 84 | 86 | 2024-069-0105.mrgcln2 & 2024-069-0105.sam
21 | 2024-069-0108.mrgcln2 | 2024-069-0108.sam | 88 | 90 | 2024-069-0108.mrgcln2 & 2024-069-0108.sam
22 | 2024-069-0112.mrgcln2 | 2024-069-0112.sam | 92 | 92 | 2024-069-0112.mrgcln2 & 2024-069-0112.sam
23 | 2024-069-0127.mrgcln2 | 2024-069-0127.sam | 94 | 96 | 2024-069-0127.mrgcln2 & 2024-069-0127.sam
24 | 2024-069-0143.mrgcln2 | 2024-069-0143.sam | 98 | 100 | 2024-069-0143.mrgcln2 & 2024-069-0143.sam
25 | 2024-069-0160.mrgcln2 | 2024-069-0160.sam | 102 | 104 | 2024-069-0160.mrgcln2 & 2024-069-0160.sam
26 | 2024-069-0163.mrgcln2 | 2024-069-0163.sam | 106 | 106 | 2024-069-0163.mrgcln2 & 2024-069-0163.sam
27 | 2024-069-0170.mrgcln2 | 2024-069-0170.sam | 108 | 108 | 2024-069-0170.mrgcln2 & 2024-069-0170.sam
28 | 2024-069-0172.mrgcln2 | 2024-069-0172.sam | 110 | 110 | 2024-069-0172.mrgcln2 & 2024-069-0172.sam
29 | 2024-069-0180.mrgcln2 | 2024-069-0180.sam | 112 | 112 | 2024-069-0180.mrgcln2 & 2024-069-0180.sam
30 | 2024-069-0185.mrgcln2 | 2024-069-0185.sam | 114 | 114 | 2024-069-0185.mrgcln2 & 2024-069-0185.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Pressure | 30
2 | (Sal1 - Sal_Bot) | Pressure | 30
3 | (Sal0 - Sal_Bot) | Pressure | 30
4 | (Sal0 - Sal_Bot) | Pressure | 30
5 | (Sal0 - Sal_Bot) | Pressure | 30
6 | (Sal0 - Sal_Bot) | Pressure | 30
7 | (Sal0 - Sal_Bot) | File Pair # | 30
8 | (Sal1 - Sal_Bot) | File Pair # | 30

## Pri vs Press
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0048738 |  | X | CALC Y
m= | -1.4033e-07 | 5.7886e-07 |  | Std Dev of Resid |  | 0.00098104 |  | 109.574 | 0.002546
b= | 0.0025613 | 0.00036991 |  | Resid Sum of Squares |  | 1.1549e-05 |  | 2019.05 | 0.002278
# of Values Extracted = |  |  | 74 | [14 empty] | 1=bottle fired at bottom; excluding P<10db
# of Values Used in Fit = |  |  | 14 | [14 empty] | 2 - fired around 50db
0 - fired above 30db
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y |  |  |  | Pressure | Sal0 | Sal1 | Sal1-Sal0 | code
1 | NO | 163.912 | 33.5407 | 0.0037476 | 0.0056419 | 0.0025383 | -0.0031036 |  | 236.428 | 0.0020561 |  |  |  | 2.6558 | 25.2808 | 25.2799 | -0.0009 | 0
1 | NO | 50.2536 | 32.9776 | 0.0041908 | 0.015518 | 0.0025543 | -0.012964 |  | 2019.05 | 0.002224 |  |  |  | 2.6901 | 18.4252 | 18.9134 | 0.4882 | 0
1 | NO | 4.0369 | 31.3385 | 0.029767 | 0.029976 | 0.0025608 | -0.027415 |  | 430.702 | 0.0018997 |  |  |  | 2.7481 | 17.8871 | 17.8837 | -0.0034 | 0
2 | NO | 202.38 | 33.2847 | 0.0011054 | -0.00045776 | 0.0025329 | 0.0029907 |  | 499.777 | 0.0015373 |  |  |  | 2.8333 | 8.7911 | 9.8752 | 1.0842 | 0
2 | NO | 49.8227 | 32.9284 | 0.0011048 | -0.017044 | 0.0025543 | 0.019598 |  | 210.719 | 0.0024719 |  |  |  | 2.8618 | 11.6066 | 11.5666 | -0.04 | 0
2 | NO | 3.2034 | 30.7527 | 0.050211 | -0.093286 | 0.0025609 | 0.095847 |  | 263.72 | 0.0027695 |  |  |  | 2.9188 | 8.1823 | 8.3365 | 0.15413 | 0
3 | YES | 236.428 | 33.9395 | 0.00025133 | 0.0020561 | 0.0025282 | 0.00047204 |  | 538.71 | 0.0031395 |  |  |  | 2.9342 | 31.7265 | 31.726 | -0.0005 | 0
3 | NO | 49.9734 | 32.1396 | 0.0081725 | 0.021709 | 0.0025543 | -0.019155 |  | 514.151 | 0.0026588 |  |  |  | 2.9377 | 21.6994 | 22.3424 | 0.643 | 0
3 | NO | 3.5886 | 31.4575 | 0.0022211 | -0.036047 | 0.0025608 | 0.038608 |  | 312.244 | 0.0039139 |  |  |  | 2.9477 | 31.7119 | 31.6965 | -0.0154 | 0
4 | NO | 840.841 | 34.267 | 0.00062014 | 0.0099983 | 0.0024433 | -0.007555 |  | 420.414 | 0.0041428 |  |  |  | 3.0381 | 17.3882 | 17.3742 | -0.014 | 0
4 | NO | 49.5681 | 32.2862 | 0.00036144 | -0.0032272 | 0.0025544 | 0.0057816 |  | 199.775 | 0.0019646 |  |  |  | 3.0935 | 16.6409 | 16.2556 | -0.3853 | 0
4 | NO | 3.2156 | 31.7256 | 0.00022027 | -0.001236 | 0.0025609 | 0.0037968 |  | 109.574 | 0.0035629 |  |  |  | 3.0954 | 31.3213 | 31.2917 | -0.0296 | 0
5 | NO | 49.8825 | 32.0885 | 0.0023874 | -0.015846 | 0.0025543 | 0.018401 |  | 267.451 | 0.00075913 | avg | stdev | count | 3.128 | 17.1805 | 17.1758 | -0.0047 | 0
5 | NO | 39.695 | 31.9415 | 0.007999 | 0.0030022 | 0.0025558 | -0.0004464 |  | 288.023 | 0.001873 | 0.0024981 | 0.00094486 | 14 | 3.1515 | 31.6637 | 31.6603 | -0.0034 | 0
5 | NO | 30.0677 | 31.8888 | 0.00039077 | 0.0044041 | 0.0025571 | -0.0018469 | [6 empty] | 3.1946 | 31.6313 | 31.6309 | -0.0004 | 0
6 | YES | 2019.05 | 34.5951 | 0.00024873 | 0.002224 | 0.002278 | 5.4029e-05 | [6 empty] | 3.1996 | 31.6392 | 31.6383 | -0.0009 | 0
6 | NO | 50.5729 | 32.3192 | 0.00038292 | 0.0015259 | 0.0025542 | 0.0010284 | [6 empty] | 3.2034 | 30.7527 | 30.7591 | 0.0064 | 0
6 | NO | 3.2815 | 32.0801 | 0.00029116 | -0.0011826 | 0.0025609 | 0.0037434 | [6 empty] | 3.2156 | 31.7256 | 31.7241 | -0.0015 | 0
7 | YES | 430.702 | 34.0721 | 0.00024925 | 0.0018997 | 0.0025009 | 0.00060118 | [6 empty] | 3.2662 | 31.8842 | 31.8838 | -0.0004 | 0
7 | NO | 49.9683 | 32.0875 | 0.0007323 | 0.0058632 | 0.0025543 | -0.0033089 | [6 empty] | 3.2811 | 31.4725 | 31.4606 | -0.0119 | 0
7 | NO | 3.1946 | 31.6313 | 0.0013804 | -0.0012417 | 0.0025609 | 0.0038026 | [6 empty] | 3.2815 | 32.0801 | 32.0792 | -0.0009 | 0
8 | YES | 499.777 | 34.0829 | 0.00024653 | 0.0015373 | 0.0024912 | 0.00095388 | [6 empty] | 3.3457 | 31.6698 | 31.6698 | 0 | 0
8 | NO | 50.2901 | 32.0499 | 0.0010241 | 0.00634 | 0.0025543 | -0.0037857 | [6 empty] | 3.4949 | 31.5627 | 31.5625 | -0.0002 | 0
8 | NO | 3.1996 | 31.6392 | 0.00079751 | -0.0020733 | 0.0025609 | 0.0046342 | [6 empty] | 3.5886 | 31.4575 | 31.4778 | 0.0203 | 0
9 | YES | 210.719 | 33.8323 | 0.00027626 | 0.0024719 | 0.0025318 | 5.9849e-05 | [6 empty] | 4.0369 | 31.3385 | 31.3381 | -0.0004 | 2
9 | NO | 50.7408 | 32.0866 | 0.00071258 | 0.39051 | 0.0025542 | -0.38795 | [6 empty] | 30.0677 | 31.8888 | 31.8879 | -0.0009 | 2
9 | NO | 3.3457 | 31.6698 | 0.0090728 | -0.0094871 | 0.0025609 | 0.012048 | [6 empty] | 39.695 | 31.9415 | 31.9401 | -0.0014 | 2
10 | YES | 263.72 | 33.9943 | 0.00027606 | 0.0027695 | 0.0025243 | -0.00024514 | [6 empty] | 49.5681 | 32.2862 | 32.2846 | -0.0016 | 2
10 | NO | 49.9404 | 32.2355 | 0.00044425 | -0.0084572 | 0.0025543 | 0.011012 | [6 empty] | 49.6786 | 31.7843 | 31.7852 | 0.0009 | 2
10 | NO | 2.9342 | 31.7265 | 0.010378 | -0.002718 | 0.0025609 | 0.0052789 | [6 empty] | 49.7255 | 31.943 | 31.9389 | -0.0041 | 2
11 | NO | 128.743 | 32.866 | 0.0033648 | 0.021137 | 0.0025433 | -0.018594 | [6 empty] | 49.8227 | 32.9284 | 32.9265 | -0.0019 | 2
11 | NO | 50.0249 | 32.0169 | 0.00083681 | 0.0028229 | 0.0025543 | -0.00026856 | [6 empty] | 49.877 | 31.78 | 31.779 | -0.001 | 2
11 | NO | 2.9477 | 31.7119 | 0.00032576 | -0.0015984 | 0.0025609 | 0.0041593 | [6 empty] | 49.9358 | 32.4248 | 32.4229 | -0.0019 | 2
12 | YES | 538.71 | 33.1063 | 0.0002814 | 0.0031395 | 0.0024857 | -0.00065376 | [6 empty] | 49.9404 | 32.2355 | 32.2346 | -0.0009 | 2
13 | YES | 514.151 | 33.1014 | 0.00040745 | 0.0026588 | 0.0024892 | -0.00016965 | [6 empty] | 49.9683 | 32.0875 | 32.0864 | -0.0011 | 2
14 | NO | 208.936 | 32.4415 | 0.0012289 | 0.028267 | 0.002532 | -0.025735 | [6 empty] | 49.9734 | 32.1396 | 32.1458 | 0.0062 | 2
14 | NO | 50.8915 | 31.5901 | 0.00075518 | -0.01112 | 0.0025542 | 0.013674 | [6 empty] | 49.9854 | 32.0744 | 32.0726 | -0.0018 | 2
14 | NO | 2.6901 | 18.4252 | 0.7604 | 5.7751 | 0.002561 | -5.7725 | [6 empty] | 50.0249 | 32.0169 | 31.9701 | -0.0468 | 2
15 | YES | 312.244 | 32.9004 | 0.00029195 | 0.0039139 | 0.0025175 | -0.0013964 | [6 empty] | 50.153 | 31.811 | 31.81 | -0.001 | 2
15 | NO | 50.153 | 31.811 | 0.00031591 | -0.039988 | 0.0025543 | 0.042542 | [6 empty] | 50.225 | 32.1474 | 32.147 | -0.0004 | 2
15 | NO | 2.8618 | 11.6066 | 0.070905 | -0.33944 | 0.0025609 | 0.342 | [6 empty] | 50.2482 | 31.8472 | 31.8443 | -0.0029 | 2
16 | NO | 235.799 | 32.8808 | 0.0013955 | 0.0028229 | 0.0025282 | -0.00029463 | [6 empty] | 50.2536 | 32.9776 | 32.978 | 0.0004 | 2
16 | NO | 49.877 | 31.78 | 0.0013151 | -0.062737 | 0.0025543 | 0.065291 | [6 empty] | 50.2901 | 32.0499 | 32.0485 | -0.0014 | 2
16 | NO | 2.9188 | 8.1823 | 0.62227 | 0.63624 | 0.0025609 | -0.63368 | [6 empty] | 50.3164 | 31.9382 | 31.9383 | 0.0001 | 2
17 | NO | 371.752 | 32.9655 | 0.00027956 | 0.012016 | 0.0025092 | -0.0095071 | [6 empty] | 50.5729 | 32.3192 | 32.318 | -0.0012 | 2
17 | NO | 49.9854 | 32.0744 | 0.0015139 | -0.022095 | 0.0025543 | 0.024649 | [6 empty] | 50.7408 | 32.0866 | 32.0865 | -0.0001 | 2
17 | NO | 3.0935 | 16.6409 | 0.42385 | 2.7284 | 0.0025609 | -2.7258 | [6 empty] | 50.8915 | 31.5901 | 31.5913 | 0.0012 | 2
18 | YES | 420.414 | 33.0892 | 0.00022742 | 0.0041428 | 0.0025023 | -0.0016404 | [6 empty] | 50.207 | 30.6863 | 31.7644 | 1.0781 | 2 | x
18 | NO | 49.7255 | 31.943 | 0.003586 | -0.061087 | 0.0025544 | 0.063641 | [6 empty] | 163.912 | 33.5407 | 33.5386 | -0.0021 | 1
18 | NO | 2.6558 | 25.2808 | 0.0025983 | -0.068272 | 0.002561 | 0.070833 | [6 empty] | 202.38 | 33.2847 | 33.2837 | -0.001 | 1
19 | YES | 199.775 | 33.9626 | 0.00029894 | 0.0019646 | 0.0025333 | 0.00056873 | [6 empty] | 236.428 | 33.9395 | 33.939 | -0.0005 | 1
19 | NO | 50.3164 | 31.9382 | 0.00044702 | 0.0018978 | 0.0025543 | 0.00065647 | [6 empty] | 840.841 | 34.267 | 34.259 | -0.008 | 1
19 | NO | 3.4949 | 31.5627 | 0.00026709 | -0.0036964 | 0.0025608 | 0.0062573 | [6 empty] | 49.8825 | 32.0885 | 32.0899 | 0.0014 | 1
20 | NO | 183.336 | 33.7111 | 0.00032413 | -0.029858 | 0.0025356 | 0.032393 | [6 empty] | 2019.05 | 34.5951 | 34.5927 | -0.0024 | 1
20 | NO | 50.2482 | 31.8472 | 0.0005394 | -0.0059681 | 0.0025543 | 0.0085224 | [6 empty] | 430.702 | 34.0721 | 34.0711 | -0.001 | 1
20 | NO | 3.0954 | 31.3213 | 0.00026152 | -0.013882 | 0.0025609 | 0.016443 | [6 empty] | 499.777 | 34.0829 | 34.0819 | -0.001 | 1
21 | NO | 100.738 | 32.8921 | 0.0069906 | 0.064373 | 0.0025472 | -0.061826 | [6 empty] | 210.719 | 33.8323 | 33.8318 | -0.0005 | 1
21 | NO | 49.6786 | 31.7843 | 0.0036991 | -0.0017643 | 0.0025544 | 0.0043187 | [6 empty] | 263.72 | 33.9943 | 33.9938 | -0.0005 | 1
21 | NO | 3.2811 | 31.4725 | 0.00098855 | -0.0055447 | 0.0025609 | 0.0081055 | [6 empty] | 128.743 | 32.866 | 32.8652 | -0.0008 | 1
22 | NO | 126.933 | 32.5236 | 0.00086326 | 0.026775 | 0.0025435 | -0.024232 | [6 empty] | 538.71 | 33.1063 | 33.1053 | -0.001 | 1
23 | YES | 109.574 | 33.506 | 0.0004482 | 0.0035629 | 0.002546 | -0.001017 | [6 empty] | 514.151 | 33.1014 | 33.1004 | -0.001 | 1
23 | NO | 50.225 | 32.1474 | 0.0022134 | 0.0077858 | 0.0025543 | -0.0052315 | [6 empty] | 208.936 | 32.4415 | 32.4405 | -0.001 | 1
23 | NO | 3.2662 | 31.8842 | 0.0019056 | 0.011581 | 0.0025609 | -0.0090205 | [6 empty] | 312.244 | 32.9004 | 32.8999 | -0.0005 | 1
24 | YES | 267.451 | 33.7511 | 0.00024288 | 0.00075913 | 0.0025238 | 0.0017647 | [6 empty] | 235.799 | 32.8808 | 32.8805 | -0.0003 | 1
24 | NO | 49.9358 | 32.4248 | 0.0041813 | 0.0023499 | 0.0025543 | 0.00020448 | [6 empty] | 371.752 | 32.9655 | 32.965 | -0.0005 | 1
24 | NO | 3.1515 | 31.6637 | 0.0046674 | 0.037766 | 0.0025609 | -0.035205 | [6 empty] | 420.414 | 33.0892 | 33.0884 | -0.0008 | 1
25 | NO | 340.793 | 33.308 | 0.0014653 | 0.0017662 | 0.0025135 | 0.00074731 | [6 empty] | 199.775 | 33.9626 | 33.9625 | -0.0001 | 1
25 | NO | 50.207 | 30.6863 | 0.0031864 | -1.096 | 0.0025543 | 1.0986 | [6 empty] | 183.336 | 33.7111 | 33.7436 | 0.0325 | 1
25 | NO | 2.9377 | 21.6994 | 0.011866 | -0.61671 | 0.0025609 | 0.61927 | [6 empty] | 100.738 | 32.8921 | 32.8892 | -0.0029 | 1
26 | NO | 3.0381 | 17.3882 | 0.023729 | -0.033106 | 0.0025609 | 0.035667 | [6 empty] | 126.933 | 32.5236 | 32.5183 | -0.0053 | 1
27 | NO | 2.7481 | 17.8871 | 0.022999 | 1.2756 | 0.002561 | -1.2731 | [6 empty] | 109.574 | 33.506 | 33.5056 | -0.0004 | 1
28 | NO | 2.8333 | 8.7911 | 1.2601 | 2.7138 | 0.0025609 | -2.7112 | [6 empty] | 267.451 | 33.7511 | 33.7487 | -0.0024 | 1
29 | NO | 3.128 | 17.1805 | 0.01071 | 0.0429 | 0.0025609 | -0.040339 | [6 empty] | 340.793 | 33.308 | 33.3058 | -0.0022 | 1
30 | YES | 288.023 | 32.0286 | 0.0002071 | 0.001873 | 0.0025209 | 0.0006479 | [6 empty] | 288.023 | 32.0286 | 32.0268 | -0.0018 | 1
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Sec vs Press
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.10733 |  | X | CALC Y
m= | -9.764e-07 | 7.5256e-07 |  | Std Dev of Resid |  | 0.0013082 |  | 183.336 | 0.0018384
b= | 0.0020174 | 0.00047971 |  | Resid Sum of Squares |  | 2.396e-05 |  | 2019.05 | 4.6041e-05
# of Values Extracted = |  |  | 74
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 163.912 | 33.5386 | 0.0034708 | 0.0035362 | 0.0018574 | -0.0016788 |  | 236.428 | 0.0016289
1 | NO | 50.2536 | 32.978 | 0.0048724 | 0.015938 | 0.0019684 | -0.013969 |  | 840.841 | 0.0019531
1 | NO | 4.0369 | 31.3381 | 0.031003 | 0.029615 | 0.0020135 | -0.027602 |  | 2019.05 | -0.0002327
2 | NO | 202.38 | 33.2837 | 0.0010825 | -0.0014763 | 0.0018198 | 0.0032961 |  | 430.702 | 0.00091171
2 | NO | 49.8227 | 32.9265 | 0.00083884 | -0.018852 | 0.0019688 | 0.020821 |  | 499.777 | 0.00048828
2 | NO | 3.2034 | 30.7591 | 0.04037 | -0.08692 | 0.0020143 | 0.088934 |  | 210.719 | 0.0019989
3 | YES | 236.428 | 33.939 | 0.00037755 | 0.0016289 | 0.0017866 | 0.00015771 |  | 263.72 | 0.0022736
3 | NO | 49.9734 | 32.1458 | 0.010481 | 0.027916 | 0.0019686 | -0.025947 |  | 538.71 | 0.0020714
3 | NO | 3.5886 | 31.4778 | 0.0014839 | -0.015661 | 0.0020139 | 0.017675 |  | 514.151 | 0.0017204
4 | YES | 840.841 | 34.259 | 0.00068983 | 0.0019531 | 0.0011964 | -0.00075668 |  | 312.244 | 0.0033722
4 | NO | 49.5681 | 32.2846 | 0.00034363 | -0.0047875 | 0.001969 | 0.0067565 |  | 235.799 | 0.0025101
4 | NO | 3.2156 | 31.7241 | 0.00029678 | -0.0026646 | 0.0020143 | 0.0046789 |  | 420.414 | 0.0033264
5 | NO | 49.8825 | 32.0899 | 0.0018925 | -0.01442 | 0.0019687 | 0.016388 |  | 199.775 | 0.0018806
5 | NO | 39.695 | 31.9401 | 0.0038413 | 0.0016308 | 0.0019787 | 0.0003479 |  | 183.336 | 0.0026474
5 | NO | 30.0677 | 31.8879 | 0.00042725 | 0.0035038 | 0.0019881 | -0.0015157 |  | 267.451 | -0.0016098
6 | YES | 2019.05 | 34.5927 | 0.00034688 | -0.0002327 | 4.6041e-05 | 0.00027874 |  | 288.023 | 5.3406e-05 | avg | stdev | count
6 | NO | 50.5729 | 32.318 | 0.00049642 | 0.00033188 | 0.0019681 | 0.0016362 |  |  |  | 0.0015621 | 0.0013377 | 16
6 | NO | 3.2815 | 32.0792 | 0.00033396 | -0.002079 | 0.0020142 | 0.0040932
7 | YES | 430.702 | 34.0711 | 0.00030578 | 0.00091171 | 0.0015969 | 0.00068518
7 | NO | 49.9683 | 32.0864 | 0.00047114 | 0.0047531 | 0.0019686 | -0.0027845
7 | NO | 3.1946 | 31.6309 | 0.0017145 | -0.0016232 | 0.0020143 | 0.0036375
8 | YES | 499.777 | 34.0819 | 0.000335 | 0.00048828 | 0.0015295 | 0.0010412
8 | NO | 50.2901 | 32.0485 | 0.00081446 | 0.004879 | 0.0019683 | -0.0029107
8 | NO | 3.1996 | 31.6383 | 0.000406 | -0.0029812 | 0.0020143 | 0.0049955
9 | YES | 210.719 | 33.8318 | 0.00034566 | 0.0019989 | 0.0018117 | -0.00018721
9 | NO | 50.7408 | 32.0865 | 0.00078907 | 0.3904 | 0.0019679 | -0.38843
9 | NO | 3.3457 | 31.6698 | 0.0053901 | -0.0095158 | 0.0020142 | 0.01153
10 | YES | 263.72 | 33.9938 | 0.00032443 | 0.0022736 | 0.0017599 | -0.00051362
10 | NO | 49.9404 | 32.2346 | 0.00054407 | -0.0093574 | 0.0019687 | 0.011326
10 | NO | 2.9342 | 31.726 | 0.003726 | -0.0032005 | 0.0020146 | 0.0052151
11 | NO | 128.743 | 32.8652 | 0.0029227 | 0.020328 | 0.0018917 | -0.018437
11 | NO | 50.0249 | 31.9701 | 0.0010453 | -0.043963 | 0.0019686 | 0.045931
11 | NO | 2.9477 | 31.6965 | 0.00033502 | -0.017017 | 0.0020146 | 0.019032
12 | YES | 538.71 | 33.1053 | 0.00032833 | 0.0020714 | 0.0014914 | -0.00057994
13 | YES | 514.151 | 33.1004 | 0.00044995 | 0.0017204 | 0.0015154 | -0.00020501
14 | NO | 208.936 | 32.4405 | 0.001261 | 0.027348 | 0.0018134 | -0.025534
14 | NO | 50.8915 | 31.5913 | 0.00067647 | -0.0099106 | 0.0019677 | 0.011878
14 | NO | 2.6901 | 18.9134 | 0.486 | 6.2633 | 0.0020148 | -6.2613
15 | YES | 312.244 | 32.8999 | 0.00035085 | 0.0033722 | 0.0017126 | -0.0016596
15 | NO | 50.153 | 31.81 | 0.00037853 | -0.041037 | 0.0019685 | 0.043005
15 | NO | 2.8618 | 11.5666 | 0.085467 | -0.37939 | 0.0020146 | 0.3814
16 | YES | 235.799 | 32.8805 | 0.00038582 | 0.0025101 | 0.0017872 | -0.00072287
16 | NO | 49.877 | 31.779 | 0.0012117 | -0.063713 | 0.0019687 | 0.065682
16 | NO | 2.9188 | 8.3365 | 0.67847 | 0.79037 | 0.0020146 | -0.78835
17 | NO | 371.752 | 32.965 | 0.00037385 | 0.01152 | 0.0016545 | -0.0098659
17 | NO | 49.9854 | 32.0726 | 0.0019616 | -0.023853 | 0.0019686 | 0.025822
17 | NO | 3.0935 | 16.2556 | 0.47476 | 2.3432 | 0.0020144 | -2.3411
18 | YES | 420.414 | 33.0884 | 0.00099183 | 0.0033264 | 0.0016069 | -0.0017195
18 | NO | 49.7255 | 31.9389 | 0.0044716 | -0.065227 | 0.0019689 | 0.067196
18 | NO | 2.6558 | 25.2799 | 0.0019701 | -0.069242 | 0.0020148 | 0.071257
19 | YES | 199.775 | 33.9625 | 0.00033653 | 0.0018806 | 0.0018224 | -5.8276e-05
19 | NO | 50.3164 | 31.9383 | 0.00049994 | 0.0020008 | 0.0019683 | -3.2506e-05
19 | NO | 3.4949 | 31.5625 | 0.00096643 | -0.0038681 | 0.002014 | 0.0058821
20 | YES | 183.336 | 33.7436 | 0.0003824 | 0.0026474 | 0.0018384 | -0.00080898
20 | NO | 50.2482 | 31.8443 | 0.00058572 | -0.0089493 | 0.0019684 | 0.010918
20 | NO | 3.0954 | 31.2917 | 0.0018341 | -0.043537 | 0.0020144 | 0.045552
21 | NO | 100.738 | 32.8892 | 0.0057274 | 0.061489 | 0.0019191 | -0.05957
21 | NO | 49.6786 | 31.7852 | 0.0037884 | -0.00085258 | 0.0019689 | 0.0028215
21 | NO | 3.2811 | 31.4606 | 0.0010137 | -0.017389 | 0.0020142 | 0.019404
22 | NO | 126.933 | 32.5183 | 0.00075076 | 0.021462 | 0.0018935 | -0.019568
23 | NO | 109.574 | 33.5056 | 0.00046076 | 0.0032349 | 0.0019104 | -0.0013244
23 | NO | 50.225 | 32.147 | 0.0029106 | 0.0073891 | 0.0019684 | -0.0054207
23 | NO | 3.2662 | 31.8838 | 0.0015452 | 0.011192 | 0.0020142 | -0.0091781
24 | YES | 267.451 | 33.7487 | 0.00029823 | -0.0016098 | 0.0017563 | 0.0033661
24 | NO | 49.9358 | 32.4229 | 0.0060499 | 0.00047302 | 0.0019687 | 0.0014957
24 | NO | 3.1515 | 31.6603 | 0.0036247 | 0.03441 | 0.0020144 | -0.032396
25 | NO | 340.793 | 33.3058 | 0.0011863 | -0.00039291 | 0.0016847 | 0.0020776
25 | NO | 50.207 | 31.7644 | 0.00079936 | -0.017939 | 0.0019684 | 0.019907
25 | NO | 2.9377 | 22.3424 | 0.0067861 | 0.026281 | 0.0020146 | -0.024267
26 | NO | 3.0381 | 17.3742 | 0.021559 | -0.047123 | 0.0020145 | 0.049137
27 | NO | 2.7481 | 17.8837 | 0.017932 | 1.2722 | 0.0020147 | -1.2702
28 | NO | 2.8333 | 9.8752 | 1.8003 | 3.7979 | 0.0020147 | -3.7959
29 | NO | 3.128 | 17.1758 | 0.010311 | 0.038225 | 0.0020144 | -0.036211
30 | YES | 288.023 | 32.0268 | 0.00031393 | 5.3406e-05 | 0.0017362 | 0.0016828
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## 50m study
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.010302 |  | X | CALC Y
m= | 0.077192 | 0.16918 |  | Std Dev of Resid |  | 0.25647 |  | 49.5681 | -0.081753
b= | -3.908 | 8.4768 |  | Resid Sum of Squares |  | 1.3155 |  | 50.8915 | 0.020402
# of Values Extracted = |  |  | 74
# of Values Used in Fit = |  |  | 22
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 163.912 | 33.5407 | 0.0037476 | 0.0056419 | 8.7447 | 8.739 |  | 50.2536 | 0.015518
1 | YES | 50.2536 | 32.9776 | 0.0041908 | 0.015518 | -0.028838 | -0.044357 |  | 49.8227 | -0.017044
1 | NO | 4.0369 | 31.3385 | 0.029767 | 0.029976 | -3.5964 | -3.6264 |  | 49.9734 | 0.021709
2 | NO | 202.38 | 33.2847 | 0.0011054 | -0.00045776 | 11.7141 | 11.7145 |  | 49.5681 | -0.0032272
2 | YES | 49.8227 | 32.9284 | 0.0011048 | -0.017044 | -0.0621 | -0.045056 |  | 49.8825 | -0.015846
2 | NO | 3.2034 | 30.7527 | 0.050211 | -0.093286 | -3.6607 | -3.5674 |  | 50.5729 | 0.0015259
3 | NO | 236.428 | 33.9395 | 0.00025133 | 0.0020561 | 14.3423 | 14.3402 |  | 49.9683 | 0.0058632
3 | YES | 49.9734 | 32.1396 | 0.0081725 | 0.021709 | -0.050468 | -0.072177 |  | 50.2901 | 0.00634
3 | NO | 3.5886 | 31.4575 | 0.0022211 | -0.036047 | -3.631 | -3.595 |  | 50.7408 | 0.39051 | x
4 | NO | 840.841 | 34.267 | 0.00062014 | 0.0099983 | 60.998 | 60.988 |  | 49.9404 | -0.0084572
4 | YES | 49.5681 | 32.2862 | 0.00036144 | -0.0032272 | -0.081753 | -0.078526 |  | 50.0249 | 0.0028229
4 | NO | 3.2156 | 31.7256 | 0.00022027 | -0.001236 | -3.6598 | -3.6585 |  | 50.8915 | -0.01112
5 | YES | 49.8825 | 32.0885 | 0.0023874 | -0.015846 | -0.057484 | -0.041638 |  | 50.153 | -0.039988
5 | NO | 39.695 | 31.9415 | 0.007999 | 0.0030022 | -0.84388 | -0.84688 |  | 49.877 | -0.062737
5 | NO | 30.0677 | 31.8888 | 0.00039077 | 0.0044041 | -1.587 | -1.5914 |  | 49.9854 | -0.022095
6 | NO | 2019.05 | 34.5951 | 0.00024873 | 0.002224 | 151.9461 | 151.9439 |  | 49.7255 | -0.061087
6 | YES | 50.5729 | 32.3192 | 0.00038292 | 0.0015259 | -0.004191 | -0.0057169 |  | 50.3164 | 0.0018978
6 | NO | 3.2815 | 32.0801 | 0.00029116 | -0.0011826 | -3.6547 | -3.6535 |  | 50.2482 | -0.0059681
7 | NO | 430.702 | 34.0721 | 0.00024925 | 0.0018997 | 29.3387 | 29.3368 |  | 49.6786 | -0.0017643
7 | YES | 49.9683 | 32.0875 | 0.0007323 | 0.0058632 | -0.050861 | -0.056724 |  | 50.225 | 0.0077858
7 | NO | 3.1946 | 31.6313 | 0.0013804 | -0.0012417 | -3.6614 | -3.6602 |  | 49.9358 | 0.0023499
8 | NO | 499.777 | 34.0829 | 0.00024653 | 0.0015373 | 34.6707 | 34.6691 |  | 50.207 | -1.096 | x
8 | YES | 50.2901 | 32.0499 | 0.0010241 | 0.00634 | -0.026021 | -0.032361 |  |  |  | upcast sampling around 50m - excluding 2 outliers - one high, one low
8 | NO | 3.1996 | 31.6392 | 0.00079751 | -0.0020733 | -3.661 | -3.6589 |  |  |  | -0.062737 | min
9 | NO | 210.719 | 33.8323 | 0.00027626 | 0.0024719 | 12.3578 | 12.3553 |  |  |  | 0.021709 | max
9 | YES | 50.7408 | 32.0866 | 0.00071258 | 0.39051 | 0.0087695 | -0.38174 |  |  |  | -0.009176 | avg
9 | NO | 3.3457 | 31.6698 | 0.0090728 | -0.0094871 | -3.6497 | -3.6403
10 | NO | 263.72 | 33.9943 | 0.00027606 | 0.0027695 | 16.449 | 16.4462
10 | YES | 49.9404 | 32.2355 | 0.00044425 | -0.0084572 | -0.053015 | -0.044558
10 | NO | 2.9342 | 31.7265 | 0.010378 | -0.002718 | -3.6815 | -3.6788
11 | NO | 128.743 | 32.866 | 0.0033648 | 0.021137 | 6.0299 | 6.0088
11 | YES | 50.0249 | 32.0169 | 0.00083681 | 0.0028229 | -0.046492 | -0.049315
11 | NO | 2.9477 | 31.7119 | 0.00032576 | -0.0015984 | -3.6805 | -3.6789
12 | NO | 538.71 | 33.1063 | 0.0002814 | 0.0031395 | 37.676 | 37.6729
13 | NO | 514.151 | 33.1014 | 0.00040745 | 0.0026588 | 35.7802 | 35.7776
14 | NO | 208.936 | 32.4415 | 0.0012289 | 0.028267 | 12.2201 | 12.1919
14 | YES | 50.8915 | 31.5901 | 0.00075518 | -0.01112 | 0.020402 | 0.031522
14 | NO | 2.6901 | 18.4252 | 0.7604 | 5.7751 | -3.7004 | -9.4755
15 | NO | 312.244 | 32.9004 | 0.00029195 | 0.0039139 | 20.1947 | 20.1908
15 | YES | 50.153 | 31.811 | 0.00031591 | -0.039988 | -0.036604 | 0.0033837
15 | NO | 2.8618 | 11.6066 | 0.070905 | -0.33944 | -3.6871 | -3.3477
16 | NO | 235.799 | 32.8808 | 0.0013955 | 0.0028229 | 14.2937 | 14.2909
16 | YES | 49.877 | 31.78 | 0.0013151 | -0.062737 | -0.057909 | 0.0048277
16 | NO | 2.9188 | 8.1823 | 0.62227 | 0.63624 | -3.6827 | -4.3189
17 | NO | 371.752 | 32.9655 | 0.00027956 | 0.012016 | 24.7882 | 24.7762
17 | YES | 49.9854 | 32.0744 | 0.0015139 | -0.022095 | -0.049541 | -0.027447
17 | NO | 3.0935 | 16.6409 | 0.42385 | 2.7284 | -3.6692 | -6.3976
18 | NO | 420.414 | 33.0892 | 0.00022742 | 0.0041428 | 28.5445 | 28.5404
18 | YES | 49.7255 | 31.943 | 0.003586 | -0.061087 | -0.069603 | -0.0085167
18 | NO | 2.6558 | 25.2808 | 0.0025983 | -0.068272 | -3.703 | -3.6347
19 | NO | 199.775 | 33.9626 | 0.00029894 | 0.0019646 | 11.513 | 11.511
19 | YES | 50.3164 | 31.9382 | 0.00044702 | 0.0018978 | -0.023991 | -0.025889
19 | NO | 3.4949 | 31.5627 | 0.00026709 | -0.0036964 | -3.6382 | -3.6345
20 | NO | 183.336 | 33.7111 | 0.00032413 | -0.029858 | 10.244 | 10.2739
20 | YES | 50.2482 | 31.8472 | 0.0005394 | -0.0059681 | -0.029255 | -0.023287
20 | NO | 3.0954 | 31.3213 | 0.00026152 | -0.013882 | -3.6691 | -3.6552
21 | NO | 100.738 | 32.8921 | 0.0069906 | 0.064373 | 3.8681 | 3.8038
21 | YES | 49.6786 | 31.7843 | 0.0036991 | -0.0017643 | -0.073224 | -0.071459
21 | NO | 3.2811 | 31.4725 | 0.00098855 | -0.0055447 | -3.6547 | -3.6492
22 | NO | 126.933 | 32.5236 | 0.00086326 | 0.026775 | 5.8902 | 5.8634
23 | NO | 109.574 | 33.506 | 0.0004482 | 0.0035629 | 4.5502 | 4.5466
23 | YES | 50.225 | 32.1474 | 0.0022134 | 0.0077858 | -0.031046 | -0.038832
23 | NO | 3.2662 | 31.8842 | 0.0019056 | 0.011581 | -3.6559 | -3.6675
24 | NO | 267.451 | 33.7511 | 0.00024288 | 0.00075913 | 16.737 | 16.7363
24 | YES | 49.9358 | 32.4248 | 0.0041813 | 0.0023499 | -0.05337 | -0.05572
24 | NO | 3.1515 | 31.6637 | 0.0046674 | 0.037766 | -3.6647 | -3.7025
25 | NO | 340.793 | 33.308 | 0.0014653 | 0.0017662 | 22.3984 | 22.3967
25 | YES | 50.207 | 30.6863 | 0.0031864 | -1.096 | -0.032436 | 1.0636
25 | NO | 2.9377 | 21.6994 | 0.011866 | -0.61671 | -3.6812 | -3.0645
26 | NO | 3.0381 | 17.3882 | 0.023729 | -0.033106 | -3.6735 | -3.6404
27 | NO | 2.7481 | 17.8871 | 0.022999 | 1.2756 | -3.6959 | -4.9715
28 | NO | 2.8333 | 8.7911 | 1.2601 | 2.7138 | -3.6893 | -6.4031
29 | NO | 3.128 | 17.1805 | 0.01071 | 0.0429 | -3.6665 | -3.7094
30 | NO | 288.023 | 32.0286 | 0.0002071 | 0.001873 | 18.325 | 18.3231
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
YES
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Pri vs File Pair #
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0088823 |  | X | CALC Y
m= | 0.0096286 | 0.011987 |  | Std Dev of Resid |  | 0.83253 |  | 1 | 0.029722
b= | 0.020093 | 0.19162 |  | Resid Sum of Squares |  | 49.9031 |  | 30 | 0.30895
# of Values Extracted = |  |  | 74
# of Values Used in Fit = |  |  | 74
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 163.912 | 33.5407 | 0.0037476 | 0.0056419 | 0.029722 | 0.02408 |  | 1 | 0.0056419
1 | YES | 50.2536 | 32.9776 | 0.0041908 | 0.015518 | 0.029722 | 0.014204 |  | 1 | 0.015518
1 | YES | 4.0369 | 31.3385 | 0.029767 | 0.029976 | 0.029722 | -0.00025411 |  | 1 | 0.029976
2 | YES | 202.38 | 33.2847 | 0.0011054 | -0.00045776 | 0.03935 | 0.039808 |  | 2 | -0.00045776
2 | YES | 49.8227 | 32.9284 | 0.0011048 | -0.017044 | 0.03935 | 0.056394 |  | 2 | -0.017044
2 | YES | 3.2034 | 30.7527 | 0.050211 | -0.093286 | 0.03935 | 0.13264 |  | 2 | -0.093286
3 | YES | 236.428 | 33.9395 | 0.00025133 | 0.0020561 | 0.048979 | 0.046923 |  | 3 | 0.0020561
3 | YES | 49.9734 | 32.1396 | 0.0081725 | 0.021709 | 0.048979 | 0.02727 |  | 3 | 0.021709
3 | YES | 3.5886 | 31.4575 | 0.0022211 | -0.036047 | 0.048979 | 0.085026 |  | 3 | -0.036047
4 | YES | 840.841 | 34.267 | 0.00062014 | 0.0099983 | 0.058608 | 0.048609 |  | 4 | 0.0099983
4 | YES | 49.5681 | 32.2862 | 0.00036144 | -0.0032272 | 0.058608 | 0.061835 |  | 4 | -0.0032272
4 | YES | 3.2156 | 31.7256 | 0.00022027 | -0.001236 | 0.058608 | 0.059844 |  | 4 | -0.001236
5 | YES | 49.8825 | 32.0885 | 0.0023874 | -0.015846 | 0.068236 | 0.084082 |  | 5 | -0.015846
5 | YES | 39.695 | 31.9415 | 0.007999 | 0.0030022 | 0.068236 | 0.065234 |  | 5 | 0.0030022
5 | YES | 30.0677 | 31.8888 | 0.00039077 | 0.0044041 | 0.068236 | 0.063832 |  | 5 | 0.0044041
6 | YES | 2019.05 | 34.5951 | 0.00024873 | 0.002224 | 0.077865 | 0.075641 |  | 6 | 0.002224
6 | YES | 50.5729 | 32.3192 | 0.00038292 | 0.0015259 | 0.077865 | 0.076339 |  | 6 | 0.0015259
6 | YES | 3.2815 | 32.0801 | 0.00029116 | -0.0011826 | 0.077865 | 0.079047 |  | 6 | -0.0011826
7 | YES | 430.702 | 34.0721 | 0.00024925 | 0.0018997 | 0.087493 | 0.085594 |  | 7 | 0.0018997
7 | YES | 49.9683 | 32.0875 | 0.0007323 | 0.0058632 | 0.087493 | 0.08163 |  | 7 | 0.0058632
7 | YES | 3.1946 | 31.6313 | 0.0013804 | -0.0012417 | 0.087493 | 0.088735 |  | 7 | -0.0012417
8 | YES | 499.777 | 34.0829 | 0.00024653 | 0.0015373 | 0.097122 | 0.095585 |  | 8 | 0.0015373
8 | YES | 50.2901 | 32.0499 | 0.0010241 | 0.00634 | 0.097122 | 0.090782 |  | 8 | 0.00634
8 | YES | 3.1996 | 31.6392 | 0.00079751 | -0.0020733 | 0.097122 | 0.099195 |  | 8 | -0.0020733
9 | YES | 210.719 | 33.8323 | 0.00027626 | 0.0024719 | 0.10675 | 0.10428 |  | 9 | 0.0024719
9 | YES | 50.7408 | 32.0866 | 0.00071258 | 0.39051 | 0.10675 | -0.28376 |  | 9 | 0.39051
9 | YES | 3.3457 | 31.6698 | 0.0090728 | -0.0094871 | 0.10675 | 0.11624 |  | 9 | -0.0094871
10 | YES | 263.72 | 33.9943 | 0.00027606 | 0.0027695 | 0.11638 | 0.11361 |  | 10 | 0.0027695
10 | YES | 49.9404 | 32.2355 | 0.00044425 | -0.0084572 | 0.11638 | 0.12484 |  | 10 | -0.0084572
10 | YES | 2.9342 | 31.7265 | 0.010378 | -0.002718 | 0.11638 | 0.1191 |  | 10 | -0.002718
11 | YES | 128.743 | 32.866 | 0.0033648 | 0.021137 | 0.12601 | 0.10487 |  | 11 | 0.021137
11 | YES | 50.0249 | 32.0169 | 0.00083681 | 0.0028229 | 0.12601 | 0.12318 |  | 11 | 0.0028229
11 | YES | 2.9477 | 31.7119 | 0.00032576 | -0.0015984 | 0.12601 | 0.12761 |  | 11 | -0.0015984
12 | YES | 538.71 | 33.1063 | 0.0002814 | 0.0031395 | 0.13564 | 0.1325 |  | 12 | 0.0031395
13 | YES | 514.151 | 33.1014 | 0.00040745 | 0.0026588 | 0.14526 | 0.14261 |  | 13 | 0.0026588
14 | YES | 208.936 | 32.4415 | 0.0012289 | 0.028267 | 0.15489 | 0.12663 |  | 14 | 0.028267
14 | YES | 50.8915 | 31.5901 | 0.00075518 | -0.01112 | 0.15489 | 0.16601 |  | 14 | -0.01112
14 | YES | 2.6901 | 18.4252 | 0.7604 | 5.7751 | 0.15489 | -5.6202 |  | 14 | 5.7751
15 | YES | 312.244 | 32.9004 | 0.00029195 | 0.0039139 | 0.16452 | 0.16061 |  | 15 | 0.0039139
15 | YES | 50.153 | 31.811 | 0.00031591 | -0.039988 | 0.16452 | 0.20451 |  | 15 | -0.039988
15 | YES | 2.8618 | 11.6066 | 0.070905 | -0.33944 | 0.16452 | 0.50397 |  | 15 | -0.33944
16 | YES | 235.799 | 32.8808 | 0.0013955 | 0.0028229 | 0.17415 | 0.17133 |  | 16 | 0.0028229
16 | YES | 49.877 | 31.78 | 0.0013151 | -0.062737 | 0.17415 | 0.23689 |  | 16 | -0.062737
16 | YES | 2.9188 | 8.1823 | 0.62227 | 0.63624 | 0.17415 | -0.46209 |  | 16 | 0.63624
17 | YES | 371.752 | 32.9655 | 0.00027956 | 0.012016 | 0.18378 | 0.17176 |  | 17 | 0.012016
17 | YES | 49.9854 | 32.0744 | 0.0015139 | -0.022095 | 0.18378 | 0.20587 |  | 17 | -0.022095
17 | YES | 3.0935 | 16.6409 | 0.42385 | 2.7284 | 0.18378 | -2.5446 |  | 17 | 2.7284
18 | YES | 420.414 | 33.0892 | 0.00022742 | 0.0041428 | 0.19341 | 0.18927 |  | 18 | 0.0041428
18 | YES | 49.7255 | 31.943 | 0.003586 | -0.061087 | 0.19341 | 0.25449 |  | 18 | -0.061087
18 | YES | 2.6558 | 25.2808 | 0.0025983 | -0.068272 | 0.19341 | 0.26168 |  | 18 | -0.068272
19 | YES | 199.775 | 33.9626 | 0.00029894 | 0.0019646 | 0.20304 | 0.20107 |  | 19 | 0.0019646
19 | YES | 50.3164 | 31.9382 | 0.00044702 | 0.0018978 | 0.20304 | 0.20114 |  | 19 | 0.0018978
19 | YES | 3.4949 | 31.5627 | 0.00026709 | -0.0036964 | 0.20304 | 0.20673 |  | 19 | -0.0036964
20 | YES | 183.336 | 33.7111 | 0.00032413 | -0.029858 | 0.21267 | 0.24252 |  | 20 | -0.029858
20 | YES | 50.2482 | 31.8472 | 0.0005394 | -0.0059681 | 0.21267 | 0.21863 |  | 20 | -0.0059681
20 | YES | 3.0954 | 31.3213 | 0.00026152 | -0.013882 | 0.21267 | 0.22655 |  | 20 | -0.013882
21 | YES | 100.738 | 32.8921 | 0.0069906 | 0.064373 | 0.22229 | 0.15792 |  | 21 | 0.064373
21 | YES | 49.6786 | 31.7843 | 0.0036991 | -0.0017643 | 0.22229 | 0.22406 |  | 21 | -0.0017643
21 | YES | 3.2811 | 31.4725 | 0.00098855 | -0.0055447 | 0.22229 | 0.22784 |  | 21 | -0.0055447
22 | YES | 126.933 | 32.5236 | 0.00086326 | 0.026775 | 0.23192 | 0.20515 |  | 22 | 0.026775
23 | YES | 109.574 | 33.506 | 0.0004482 | 0.0035629 | 0.24155 | 0.23799 |  | 23 | 0.0035629
23 | YES | 50.225 | 32.1474 | 0.0022134 | 0.0077858 | 0.24155 | 0.23377 |  | 23 | 0.0077858
23 | YES | 3.2662 | 31.8842 | 0.0019056 | 0.011581 | 0.24155 | 0.22997 |  | 23 | 0.011581
24 | YES | 267.451 | 33.7511 | 0.00024288 | 0.00075913 | 0.25118 | 0.25042 |  | 24 | 0.00075913
24 | YES | 49.9358 | 32.4248 | 0.0041813 | 0.0023499 | 0.25118 | 0.24883 |  | 24 | 0.0023499
24 | YES | 3.1515 | 31.6637 | 0.0046674 | 0.037766 | 0.25118 | 0.21341 |  | 24 | 0.037766
25 | YES | 340.793 | 33.308 | 0.0014653 | 0.0017662 | 0.26081 | 0.25904 |  | 25 | 0.0017662
25 | YES | 50.207 | 30.6863 | 0.0031864 | -1.096 | 0.26081 | 1.3568 |  | 25 | -1.096
25 | YES | 2.9377 | 21.6994 | 0.011866 | -0.61671 | 0.26081 | 0.87752 |  | 25 | -0.61671
26 | YES | 3.0381 | 17.3882 | 0.023729 | -0.033106 | 0.27044 | 0.30354 |  | 26 | -0.033106
27 | YES | 2.7481 | 17.8871 | 0.022999 | 1.2756 | 0.28007 | -0.99556 |  | 27 | 1.2756
28 | YES | 2.8333 | 8.7911 | 1.2601 | 2.7138 | 0.28969 | -2.4241 |  | 28 | 2.7138
29 | YES | 3.128 | 17.1805 | 0.01071 | 0.0429 | 0.29932 | 0.25642 |  | 29 | 0.0429
30 | YES | 288.023 | 32.0286 | 0.0002071 | 0.001873 | 0.30895 | 0.30708 |  | 30 | 0.001873
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Sec vs File Pair #
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.022349 |  | X | CALC Y
m= | 0.016532 | 0.012886 |  | Std Dev of Resid |  | 0.89502 |  | 1 | -0.019504
b= | -0.036037 | 0.206 |  | Resid Sum of Squares |  | 57.6769 |  | 30 | 0.45994
# of Values Extracted = |  |  | 74
# of Values Used in Fit = |  |  | 74
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 163.912 | 33.5386 | 0.0034708 | 0.0035362 | -0.019504 | -0.02304 |  | 1 | 0.0035362
1 | YES | 50.2536 | 32.978 | 0.0048724 | 0.015938 | -0.019504 | -0.035442 |  | 1 | 0.015938
1 | YES | 4.0369 | 31.3381 | 0.031003 | 0.029615 | -0.019504 | -0.04912 |  | 1 | 0.029615
2 | YES | 202.38 | 33.2837 | 0.0010825 | -0.0014763 | -0.0029718 | -0.0014956 |  | 2 | -0.0014763
2 | YES | 49.8227 | 32.9265 | 0.00083884 | -0.018852 | -0.0029718 | 0.01588 |  | 2 | -0.018852
2 | YES | 3.2034 | 30.7591 | 0.04037 | -0.08692 | -0.0029718 | 0.083948 |  | 2 | -0.08692
3 | YES | 236.428 | 33.939 | 0.00037755 | 0.0016289 | 0.013561 | 0.011932 |  | 3 | 0.0016289
3 | YES | 49.9734 | 32.1458 | 0.010481 | 0.027916 | 0.013561 | -0.014355 |  | 3 | 0.027916
3 | YES | 3.5886 | 31.4778 | 0.0014839 | -0.015661 | 0.013561 | 0.029222 |  | 3 | -0.015661
4 | YES | 840.841 | 34.259 | 0.00068983 | 0.0019531 | 0.030093 | 0.02814 |  | 4 | 0.0019531
4 | YES | 49.5681 | 32.2846 | 0.00034363 | -0.0047875 | 0.030093 | 0.03488 |  | 4 | -0.0047875
4 | YES | 3.2156 | 31.7241 | 0.00029678 | -0.0026646 | 0.030093 | 0.032758 |  | 4 | -0.0026646
5 | YES | 49.8825 | 32.0899 | 0.0018925 | -0.01442 | 0.046625 | 0.061045 |  | 5 | -0.01442
5 | YES | 39.695 | 31.9401 | 0.0038413 | 0.0016308 | 0.046625 | 0.044995 |  | 5 | 0.0016308
5 | YES | 30.0677 | 31.8879 | 0.00042725 | 0.0035038 | 0.046625 | 0.043122 |  | 5 | 0.0035038
6 | YES | 2019.05 | 34.5927 | 0.00034688 | -0.0002327 | 0.063158 | 0.06339 |  | 6 | -0.0002327
6 | YES | 50.5729 | 32.318 | 0.00049642 | 0.00033188 | 0.063158 | 0.062826 |  | 6 | 0.00033188
6 | YES | 3.2815 | 32.0792 | 0.00033396 | -0.002079 | 0.063158 | 0.065237 |  | 6 | -0.002079
7 | YES | 430.702 | 34.0711 | 0.00030578 | 0.00091171 | 0.07969 | 0.078778 |  | 7 | 0.00091171
7 | YES | 49.9683 | 32.0864 | 0.00047114 | 0.0047531 | 0.07969 | 0.074937 |  | 7 | 0.0047531
7 | YES | 3.1946 | 31.6309 | 0.0017145 | -0.0016232 | 0.07969 | 0.081313 |  | 7 | -0.0016232
8 | YES | 499.777 | 34.0819 | 0.000335 | 0.00048828 | 0.096223 | 0.095734 |  | 8 | 0.00048828
8 | YES | 50.2901 | 32.0485 | 0.00081446 | 0.004879 | 0.096223 | 0.091344 |  | 8 | 0.004879
8 | YES | 3.1996 | 31.6383 | 0.000406 | -0.0029812 | 0.096223 | 0.099204 |  | 8 | -0.0029812
9 | YES | 210.719 | 33.8318 | 0.00034566 | 0.0019989 | 0.11275 | 0.11076 |  | 9 | 0.0019989
9 | YES | 50.7408 | 32.0865 | 0.00078907 | 0.3904 | 0.11275 | -0.27764 |  | 9 | 0.3904
9 | YES | 3.3457 | 31.6698 | 0.0053901 | -0.0095158 | 0.11275 | 0.12227 |  | 9 | -0.0095158
10 | YES | 263.72 | 33.9938 | 0.00032443 | 0.0022736 | 0.12929 | 0.12701 |  | 10 | 0.0022736
10 | YES | 49.9404 | 32.2346 | 0.00054407 | -0.0093574 | 0.12929 | 0.13864 |  | 10 | -0.0093574
10 | YES | 2.9342 | 31.726 | 0.003726 | -0.0032005 | 0.12929 | 0.13249 |  | 10 | -0.0032005
11 | YES | 128.743 | 32.8652 | 0.0029227 | 0.020328 | 0.14582 | 0.12549 |  | 11 | 0.020328
11 | YES | 50.0249 | 31.9701 | 0.0010453 | -0.043963 | 0.14582 | 0.18978 |  | 11 | -0.043963
11 | YES | 2.9477 | 31.6965 | 0.00033502 | -0.017017 | 0.14582 | 0.16284 |  | 11 | -0.017017
12 | YES | 538.71 | 33.1053 | 0.00032833 | 0.0020714 | 0.16235 | 0.16028 |  | 12 | 0.0020714
13 | YES | 514.151 | 33.1004 | 0.00044995 | 0.0017204 | 0.17888 | 0.17716 |  | 13 | 0.0017204
14 | YES | 208.936 | 32.4405 | 0.001261 | 0.027348 | 0.19542 | 0.16807 |  | 14 | 0.027348
14 | YES | 50.8915 | 31.5913 | 0.00067647 | -0.0099106 | 0.19542 | 0.20533 |  | 14 | -0.0099106
14 | YES | 2.6901 | 18.9134 | 0.486 | 6.2633 | 0.19542 | -6.0679 |  | 14 | 6.2633
15 | YES | 312.244 | 32.8999 | 0.00035085 | 0.0033722 | 0.21195 | 0.20858 |  | 15 | 0.0033722
15 | YES | 50.153 | 31.81 | 0.00037853 | -0.041037 | 0.21195 | 0.25299 |  | 15 | -0.041037
15 | YES | 2.8618 | 11.5666 | 0.085467 | -0.37939 | 0.21195 | 0.59134 |  | 15 | -0.37939
16 | YES | 235.799 | 32.8805 | 0.00038582 | 0.0025101 | 0.22848 | 0.22597 |  | 16 | 0.0025101
16 | YES | 49.877 | 31.779 | 0.0012117 | -0.063713 | 0.22848 | 0.29219 |  | 16 | -0.063713
16 | YES | 2.9188 | 8.3365 | 0.67847 | 0.79037 | 0.22848 | -0.56188 |  | 16 | 0.79037
17 | YES | 371.752 | 32.965 | 0.00037385 | 0.01152 | 0.24501 | 0.23349 |  | 17 | 0.01152
17 | YES | 49.9854 | 32.0726 | 0.0019616 | -0.023853 | 0.24501 | 0.26887 |  | 17 | -0.023853
17 | YES | 3.0935 | 16.2556 | 0.47476 | 2.3432 | 0.24501 | -2.0981 |  | 17 | 2.3432
18 | YES | 420.414 | 33.0884 | 0.00099183 | 0.0033264 | 0.26155 | 0.25822 |  | 18 | 0.0033264
18 | YES | 49.7255 | 31.9389 | 0.0044716 | -0.065227 | 0.26155 | 0.32677 |  | 18 | -0.065227
18 | YES | 2.6558 | 25.2799 | 0.0019701 | -0.069242 | 0.26155 | 0.33079 |  | 18 | -0.069242
19 | YES | 199.775 | 33.9625 | 0.00033653 | 0.0018806 | 0.27808 | 0.2762 |  | 19 | 0.0018806
19 | YES | 50.3164 | 31.9383 | 0.00049994 | 0.0020008 | 0.27808 | 0.27608 |  | 19 | 0.0020008
19 | YES | 3.4949 | 31.5625 | 0.00096643 | -0.0038681 | 0.27808 | 0.28195 |  | 19 | -0.0038681
20 | YES | 183.336 | 33.7436 | 0.0003824 | 0.0026474 | 0.29461 | 0.29196 |  | 20 | 0.0026474
20 | YES | 50.2482 | 31.8443 | 0.00058572 | -0.0089493 | 0.29461 | 0.30356 |  | 20 | -0.0089493
20 | YES | 3.0954 | 31.2917 | 0.0018341 | -0.043537 | 0.29461 | 0.33815 |  | 20 | -0.043537
21 | YES | 100.738 | 32.8892 | 0.0057274 | 0.061489 | 0.31114 | 0.24965 |  | 21 | 0.061489
21 | YES | 49.6786 | 31.7852 | 0.0037884 | -0.00085258 | 0.31114 | 0.312 |  | 21 | -0.00085258
21 | YES | 3.2811 | 31.4606 | 0.0010137 | -0.017389 | 0.31114 | 0.32853 |  | 21 | -0.017389
22 | YES | 126.933 | 32.5183 | 0.00075076 | 0.021462 | 0.32768 | 0.30621 |  | 22 | 0.021462
23 | YES | 109.574 | 33.5056 | 0.00046076 | 0.0032349 | 0.34421 | 0.34097 |  | 23 | 0.0032349
23 | YES | 50.225 | 32.147 | 0.0029106 | 0.0073891 | 0.34421 | 0.33682 |  | 23 | 0.0073891
23 | YES | 3.2662 | 31.8838 | 0.0015452 | 0.011192 | 0.34421 | 0.33302 |  | 23 | 0.011192
24 | YES | 267.451 | 33.7487 | 0.00029823 | -0.0016098 | 0.36074 | 0.36235 |  | 24 | -0.0016098
24 | YES | 49.9358 | 32.4229 | 0.0060499 | 0.00047302 | 0.36074 | 0.36027 |  | 24 | 0.00047302
24 | YES | 3.1515 | 31.6603 | 0.0036247 | 0.03441 | 0.36074 | 0.32633 |  | 24 | 0.03441
25 | YES | 340.793 | 33.3058 | 0.0011863 | -0.00039291 | 0.37727 | 0.37767 |  | 25 | -0.00039291
25 | YES | 50.207 | 31.7644 | 0.00079936 | -0.017939 | 0.37727 | 0.39521 |  | 25 | -0.017939
25 | YES | 2.9377 | 22.3424 | 0.0067861 | 0.026281 | 0.37727 | 0.35099 |  | 25 | 0.026281
26 | YES | 3.0381 | 17.3742 | 0.021559 | -0.047123 | 0.39381 | 0.44093 |  | 26 | -0.047123
27 | YES | 2.7481 | 17.8837 | 0.017932 | 1.2722 | 0.41034 | -0.86188 |  | 27 | 1.2722
28 | YES | 2.8333 | 9.8752 | 1.8003 | 3.7979 | 0.42687 | -3.3711 |  | 28 | 3.7979
29 | YES | 3.128 | 17.1758 | 0.010311 | 0.038225 | 0.4434 | 0.40518 |  | 29 | 0.038225
30 | YES | 288.023 | 32.0268 | 0.00031393 | 5.3406e-05 | 0.45994 | 0.45988 |  | 30 | 5.3406e-05
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE