## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

PROCESSING NOTES

Cruises: CFMETR Nanoose

Agency: Canadian Forces

Project: Canadian Forces Maritime Experimental Test Range

Area: Nanoose

Date: 10 January 2024 –  10 December 2024

Platform: Redacted

Processed by: Germaine Gatien

Date of Processing: 17 June 2024 – 19 June 2024

Number of original Hex files: 28	Number of casts processed: 25

INSTRUMENT SUMMARY

Three Sea Bird Model SBE 19 SEACAT CTDs (serial #1449 and 1511) and one SBE19+ CTD (#4342) were used with altimeters attached. The SBE19 CTDs had a sampling interval of 0.5s. The SBE 19+ was used for only 1 cast (N24121001) and had a sampling interval of 0.25s.

SUMMARY OF QUALITY AND CONCERNS

These data form part of a long-standing time-series. They cover sampling by the Canadian Forces Maritime Experimental and Test Ranges during 2024 in Nanoose Bay, BC. The platforms used are unknown since that information is redacted.

Calibration information for the CTDs could not be confirmed; the SBE19s  had not been recalibrated since 2014 and have been used in previous years. The SBE19+ was recalibrated in 2015. Some calibration drift is likely.

To assist in analysis, event numbers are helpful and the processing software in use will only allow 4 digits which suits most cruises. However, a 9-character system (Nyymmdd0#) is used for this project based on the letter N for Nanoose plus the date and 2 digits for cases with multiple casts on a single day. For use as an event number a 4-character format was derived from those IDs based on the month and day of each cast. This means the same event # will appear if there is more than 1 cast on 1 day, as occurred on 2 days.

The soak period varied greatly, mostly between 20 seconds and 2 minutes, and one with no soak period. It is unknown what pump delay was set or if data logging was delayed. It is recommended that the SBE19+ be soaked for at least 2 minutes to improve salinity quality, but for most casts the conductivity appears to have equilibrated before pressure begins to change.

There was no salinity calibration sampling. Seabird 19 salinity is prone to error due to mismatch of conductivity and temperature response times, especially when the descent rate is non-uniform.  Seabird 19 salinity errors are expected to be as high as 0.05psu in areas of high gradients. Away from high gradients errors in salinity are expected to be on the order of 0.005psu. Other errors are expected due to calibration drift.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files are *.cnv.

2. Preliminary Steps

28 hex and con files were delivered for 2024. There were CNV files for all but one.

The file names were non-standard and contain the letter N followed by the date in YYMMDD format and 2 digits to indicate the sequential casts on a single day. While names are non-standard they are in the usual format for this project.

- Conversion of Raw Data

- The raw data were converted by matching the configuration file to the input file name.

- The last cast had a different CTD type with a different temperature channel name, tv290C, instead of t090C and prdM instead of prSM. Research suggests these have the same definition. The channel names were changed to enable conversion to IOS Header format and to enable simpler processing. That cast also has a different sampling rate, 4Hz where all other casts are 2Hz.

- There are several cases of 2 casts on one day; most are downcasts well separated in time. However, the first cast on November 14th was a downcast while the second file contained the upcast. The upcast may be useful since the downcast looks bad.

- Data were acquired at the surface for between 20 seconds to 2 minutes with the exception of the final cast in December for which there was no soak recorded but data starts at about 6m so some initial data may not have been lost. It is unknown what pump delay was set or if data logging was delayed. A 2-minute soak is generally advised for the best salinity data. For most casts the conductivity seems to have reached equilibrium before the cast began.

- Temperature and conductivity generally look ok.

- The altimetry generally looks fine. The CTD did not get within 15m for some casts; the altimetry will not get entered into the IOS Headers in those cases.

- WILDEDIT

No notable spikes were noted in the data so WILDEDIT was not run.

- FILTER

For previous Nanoose data sets, tests were run to determine the best setting for a low-pass filter applied to the conductivity to force it to have the same response as the temperature. A time constant of 0.5 seconds proved best as judged by the effect on T-S plots. That setting was used and the results looked good.

The pressure was not filtered since it is quite smooth; no reversals were noted though there are some areas where pressure was almost constant. In previous years, tests showed that filtering made things worse in sections where pressure was constant.

- ALIGNCTD

An initial run with no alignment applied to the temperature channel produced poor results with instabilities in T-S plots. Temperature was advanced by 0.73s relative to pressure since that has worked well for data from this project in previous years. A few casts were checked and the results were good, but the 1 cast with a higher sampling rate worked best using 0.33s. Alignment can be fine-tuned later using SHIFT if further adjustment is found useful.

- DERIVE

Program DERIVE was run to calculate salinity.

T-S plots show most unstable features were removed by the previous steps.

7.  Conversion to IOS Headers

The IOSSHELL routine for Sea Bird ASCII files was used to convert the Sea-Bird data to IOS Headers.

- A spreadsheet “2024 CFMETR CTD Locations for DFO.xlsx” was provided with positions for casts.

- The spreadsheet provided was saved as 2024-009Nanoose_CTD_Stations_merge_hdr.csv. Some re-formatting was required and additions were made:

- The format of latitude and longitude were changed to: 49 19.86134 N  ! (deg min) and 124 5.15635 W  ! (deg min).  This was easily done given the format used in the xlsx file.

- A column LOC:Station was added with every row having “Nanoose” entered.

- A column of event numbers was added to the CSV file using MMDD part of the file name as event number.

- A column INS:Serial Number was added with serial numbers of the CTDs.

The program MERGE CSV FILES TO HEADERS was then used to add positions, station name, event numbers and project name to the headers.

A few adjustments were needed to the spreadsheet. There were files listed for Nov. 3 and 4 but no data were found. However, there were 2 files for each of August 29 and Sept. 13 but only 1 was listed for each of those days in the spreadsheet. After adding the 2 missing files to the list, using the same positions as for the first cast, no further problems were found.

8. Checking Headers

- Track Plot was used to ensure positions look normal. There are no problematic outliers though, as usual, there is scatter in locations.

- Header Check was run. No problems were noted except some spiky values expected at this stage of processing..

- The altimetry header information from each file was exported to a spreadsheet. Most casts got within 15m of the bottom.  No bottom depths were available, so no checks could be made to check for problems with either altimetry accuracy or sounder depth.

- A cross-reference list was produced. The times are reported to be in UTC. In previous years local time was reported, though in 2023 it was UTC. Most casts are at ~8:00 hours or 16:00 which suggests these are local times. So times will need to be adjusted.

ADD TIME CHANNEL was run to adjust the times by adding 7 or 8 hours depending on whether PST or PDT was in use at the time.

- Surface check was run and values ranged from -0.1 to +6.6db, with an average of 0.98db. (That excludes 2 upcast files.)  There were a number of CTDs in use. Given the sampling rate and the specifications for these types of CTD, these values are reasonable. The only exception is the final file in December which had a starting pressure of 6.6db. This CTD was only used for 1 cast, so it cannot be determined if this indicates a problem with pressure calibration or not. It may have had some method to delay acquisition or some data were accidentally clipped in uploading. The starting values do look appropriate for the depth.

9. CLIP

The CLIP step was skipped as there was no deep soak and DELETE will remove appropriate surface data.

At this point a few files were identified as unsuitable for archival:

- The first cast on November 14th (N24111403.cnv) contained only surface data, so it was dropped from the file list. The second cast on November 14th was from the upcast. Those data look useful.

- The second cast on August 23rd (N24091302.cnv) was from an upcast and there are many unstable features. The downcast from earlier on that day look ok, so the 2nd cast will not be processed further.

- The first cast on Sept. 13 was very shallow and the 2nd cast was run immediately after. Only the 2nd cast will be processed further.

10. SHIFT

These data were aligned earlier in the process, but tests were run to see if a further shift might reduce unstable features. For most casts a shift of -0.2 records improved the stability.

SHIFT was run on all casts using that setting.

11. FILTER

This step has not proved useful in the past for data from this project and there is no indication of a problem with noise, so this step was skipped.

12. DELETE

DELETE was run on the clipped files using the following parameters:

Surface Record Removal: Last Press Min    Maximum Surface Pressure (relative): 10.00

Surface Swell Pressure Tolerance: 1.0	     Pressure not filtered

Swells deleted. Warning message if pressure difference of 2.00

Minimum Drop Rate 0.2m/s over 5 records between 10db and 10db above maximum pressure

The only warning concerned an data at the bottom of one cast.

Cast N24111403 was put through REVERSE and then DELETE.

13. CTDEDIT

The DEL files were copied to EDT.

There are many small-scale unstable features; most will be removed in bin-averaging, but a few such features look like they are due to mismatch in T and C and are large enough that they will affect the average. CTDEDIT was used to edit 3 files.

The output files EDU were copied to EDT.

14. BIN AVERAGE

The following Bin Average values were used:

Bin channel = pressure      	Averaging interval = 1.000

Minimum bin value = .000	Average value will be used.

Interpolated values are NOT used for empty bins

Profile plots were examined on-screen.

T-S plots were examined. Most look fine though there are some slightly unstable features that may be real or due to slightly misalignment in T and C.

15. Quality checks

Historic ranges – Profile plots of temperature and salinity data were examined with the local seasonal climatology ranges superimposed. All temperature profiles fell within the climatology. Salinity values were slightly above the historic maximum near the bottom of casts in late August but they fit well within the autumn climatology. Similarly, salinity at the bottom of the December cast was a little higher than the climatology for winter, but fit well within the autumn climatology. So this is likely an indication of limits in the climatology rather than calibration problems.

Intercomparisons

3 different CTDs were used, but no 2 were used on the same day. Two casts were checked that used different CTDs about a week apart. Values were similar near the surface and bottom of the casts, with larger differences at mid-depths. But given the time gap, the differences are not significant. No other comparisons were close enough in time to compare CTDs.

16. CALIBRATION

No recalibration was applied.

17. REMOVE and HEADEDIT

The following channels were removed from all casts: Scan_Number, Descent_Rate, Altimetry and Flag. (Note that if the CTD went within 15m of bottom, the altimetry reading is in the file headers.). REMOVE was run a second time because Descent_Rate was entered twice in the channel names.

The HEADEDIT routine was used to fix formats and to add the following comment to the headers:

-----------------------------------------------------------------------------------------

Seabird 19 salinity is prone to error due to a mismatch of conductivity and

temperature response times, especially when the descent rate is non-uniform.

Such errors are likely to be larger than calibration errors. Such salinity

errors are expected to be as high as 0.05psu in areas of high gradients,

but on the order of 0.005psu where gradients are low and descent rate steady.

There were no salinity calibration data available for this cruise and no recent

factory calibrations, so significant drift in calibration is likely.

CTD sensors #1449 and #1511 had not been calibrated since 2014.

CTD sensor #4342 was calibrated in 2015.

For processing details see 2024-099_Processing_Report.doc.

.-----------------------------------------------------------------------------------------

The standards check routine was run and no problems were found.

T-S plots were examined and no problems were found.

18. Producing final files

a.) The final files were renamed *.ctd.

b.) A cross-reference listing and header check were produced. No errors were found.

Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#:	Nanoose Test Range

Dates: 	Start:	 10 January 2024	    End:	10 December 2024

Location: Nanoose Test Range 	Vessel:    Redacted

CTDs

| CTD# | Make | Model | Serial# | Altimeter | Months in which used |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 19 | 1449 | 1094 | Jan, Feb &-June-Nov |
| 2 | SEABIRD | 19 | 1511 | 1095 | Feb-April |
| 3 | SEABIRD | 19+ | 4342 | 47578 | Dec |